## PJM Summary (Rolled Up)
Inflation Rate
| PJM Membership Cost Analysis - Case 1: Mid Fuel; No CO2 Reductions Regulations ($M) | [18 empty] | 2%
| Costs | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
| PJM Admin Fee Cost | -19.1691 | -19.6149 | -20.5322 | -20.9735 | -21.2954 | -21.6495 | -22.057 | -22.5371 | -22.9129 | -23.3421 | -23.8095 | -24.3696 | -24.7963 | -25.3249 | -25.8322 | -26.4394 | Updated - See PJM Detail #1
| PJM Energy Uplift (BOR) Cost | -4.9575 | -4.9733 | -5.1039 | -5.1113 | -5.088 | -5.0712 | -5.0653 | -5.0741 | -5.0576 | -5.0513 | -5.0514 | -5.0688 | -5.0565 | -5.063 | -5.0632 | -5.0806 | Updated - See PJM Detail #1
| PJM Transmission Expansion Cost | -20.4878 | -20.0376 | -19.5873 | -19.1371 | -18.6869 | -18.2367 | -17.7865 | -17.7865 | -17.7865 | -17.7865 | -17.7865 | -17.7865 | -17.7865 | -17.7865 | -17.7865 | -17.7865 | Based on PJM tcic spreadsheet from Apr 2022 using EKPC as proxy. Detail #2
| LG&E/KU Internal Implementation | -0.80642 | -0.78432 | -0.755 | -0.73005 | -0.70821 | -0.68767 | -0.66712 | -0.6482 | -0.63253 | -0.61848 | -0.60442 | -0.59037 | -0.57632 | -0.56227 | -0.54822 | -0.53417 | Gen Rev meters and soft/hardware, PJM detail #3
| LG&E/KU Lost Transmission Revenue | -2.96 | -3.8823 | -3.2139 | -3.7201 | -4.7068 | -4.727 | -5.0841 | -4.4005 | -4.5586 | -4.3209 | -3.836 | -4.1327 | -6.7041 | -6.3855 | -5.74 | -8.6077 | Updated based on 2023 BP - 10/17/2022 See detail #4
| LG&E/KU Lost Joint Party Settlement Revenue | -1.4968 | -1.5267 | -1.5573 | -1.5884 | -1.6202 | -1.6526 | -1.6856 | -1.7194 | -1.7537 | -1.7888 | -1.8246 | -1.8611 | -1.8983 | -1.9363 | -1.975 | -2.0145 | See PJM detail #5. Based on current Joint Party Settlement annual payment
|  | -49.8776 | -50.8192 | -50.7496 | -51.2605 | -52.1056 | -52.0247 | -52.3456 | -52.1657 | -52.7019 | -52.9082 | -52.9124 | -53.8091 | -56.818 | -57.0584 | -56.9451 | -60.4629
| Benefits | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
| PJM Energy Market Benefits/(Costs) | 2.5456 | 11.1928 | -8.8111 | 37.6162 | -120.6551 | -96.6787 | -122.7684 | -119.8901 | -116.8826 | 17.2841 | -95.4044 | -184.9002 | -146.5782 | -150.6518 | -61.6367 | -112.8391
| PJM Capacity Market Benefits/(Costs) | 0.1 | 0.1 | 0.03 | 0 | 0 | 0 | 0 | 0 | 0.034005 | 0.034005 | 0.034005 | 0.034005 | 0.034005 | 0.034005 | 0.034005 | 0.034005
| Avoided Capacity Savings | 0 | 0 | 15.6271 | -0.24934 | 73.1571 | 73.3173 | 71.6981 | 70.1266 | 68.6935 | -28.6677 | 17.9507 | 157.1051 | 124.4501 | 151.5862 | 67.0477 | 277.7163
| Avoided Fees (FERC, TVA RC, ITO, TEE) | 6.994 | 7.103 | 7.2135 | 7.3264 | 7.4399 | 7.5559 | 7.6734 | 7.7004 | 7.728 | 7.7561 | 7.7848 | 7.814 | 7.8439 | 7.8743 | 7.9054 | 7.937 | Updated - based on 2023 BP, PJM detail #7
| LKE Elimination of De-Pancaking | 21.6073 | 22.1852 | 12.7123 | 13.08 | 4.5526 | 0.43775 | 0.43775 | 0.43775 | 0.43775 | 0.43775 | 0.43775 | 0.43775 | 0.43775 | 0.43775 | 0.43775 | 0.43775 | Updated - based on 2023 BP, PJM detail #8
|  | 31.2469 | 40.581 | 26.7718 | 57.7732 | -35.5055 | -15.3677 | -42.9591 | -41.6253 | -39.9893 | -3.1558 | -69.1971 | -19.5093 | -13.8124 | 9.2805 | 13.7882 | 173.286
Case 1 - Mid Fuel/No CO2 Regs. | Net Benefits/(Costs) | -18.6307 | -10.2382 | -23.9778 | 6.5127 | -87.611 | -67.3924 | -95.3048 | -93.791 | -92.6912 | -56.064 | -122.1096 | -73.3184 | -70.6304 | -47.7779 | -43.1569 | 112.8231 |  | -783.3585
| 2021 RTO Analysis Mid-Case | 25.3 | 24.5 | 16.8 | -20.6 | -29.9 | -34.6 | -34.6 | -35 | -35.5 | -36.7 | -36.9 | -38 |  |  |  |  | Just included for internal comparison
Yellow highlights indicate Needs updated.
|  | 2.6456 | 11.2928 | 6.846 | 37.3668 | -47.498 | -23.3614 | -51.0703 | -49.7635 | -48.1551 | -11.3496 | -77.4197 | -27.7611 | -22.0941 | 0.96841 | 5.4451 | 164.9112
Notes:
Analysis does not include potential Cost/Benefits of cost sharing of LKE Transmission Expansion other than "Backbone" identified above
Analysis assumes we continue employing same planning reserve margin we do today
Analysis does not include potential volatility of Congestion Cost/FTR&ARRs values
Analysis does not include potential cost/benefit due to allocation of the over collection of marginal losses
Increased travel cost to participate in PJM meetings
Regulatory environment - As a result of RTO membership realignment since 2006, more customer choice states and deregulated/IPP generation
- more likely to alter long term LKE business model
- enhanced potential for "zero sum" policy conflicts with PPL. | bar: 2040
Assumes no additional cost due to regional transmission cost sharing in SERPT region for Order 1000 compliance.
| Case2 | 6.8207 | -2.045 | -22.8998 | 29.2601 | -222.4442 | -222.5364 | -239.8737 | -250.3414 | -263.655 | 53.3682 | -188.308 | -350.0527 | -228.4397 | -227.0464 | -72.8534 | -149.1225
| Case3 | 3.9703 | -6.8489 | -17.2377 | -24.035 | -260.9743 | -272.897 | -291.733 | -304.6023 | -300.6529 | 34.666 | -216.3106 | -366.2823 | -231.6664 | -249.1673 | -68.4069 | -125.9669
| Case4 | 128.5172 | 148.9476 | 153.9956 | 137.6476 | -253.9833 | -263.469 | -302.4328 | -325.2343 | -276.4075 | 104.6985 | -283.5129 | -522.0897 | -315.9512 | -323.3319 | -83.7092 | -192.5828
PJM Membership Cost Analysis - Case 2: Mid Fuel; With CO2 Reductions Regulations ($M)
| Costs | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
| PJM Admin Fee Cost | -19.1691 | -19.6149 | -20.5322 | -20.9735 | -21.2954 | -21.6495 | -22.057 | -22.5371 | -22.9129 | -23.3421 | -23.8095 | -24.3696 | -24.7963 | -25.3249 | -25.8322 | -26.4394
| PJM Energy Uplift (BOR) Cost | -4.9575 | -4.9733 | -5.1039 | -5.1113 | -5.088 | -5.0712 | -5.0653 | -5.0741 | -5.0576 | -5.0513 | -5.0514 | -5.0688 | -5.0565 | -5.063 | -5.0632 | -5.0806
| PJM Transmission Expansion Cost | -20.4878 | -20.0376 | -19.5873 | -19.1371 | -18.6869 | -18.2367 | -17.7865 | -17.7865 | -17.7865 | -17.7865 | -17.7865 | -17.7865 | -17.7865 | -17.7865 | -17.7865 | -17.7865
| LG&E/KU Internal Implementation | -0.80642 | -0.78432 | -0.755 | -0.73005 | -0.70821 | -0.68767 | -0.66712 | -0.6482 | -0.63253 | -0.61848 | -0.60442 | -0.59037 | -0.57632 | -0.56227 | -0.54822 | -0.53417
| LG&E/KU Lost Transmission Revenue | -2.96 | -3.8823 | -3.2139 | -3.7201 | -4.7068 | -4.727 | -5.0841 | -4.4005 | -4.5586 | -4.3209 | -3.836 | -4.1327 | -6.7041 | -6.3855 | -5.74 | -8.6077
| LG&E/KU Lost Joint Party Settlement Revenue | -1.4968 | -1.5267 | -1.5573 | -1.5884 | -1.6202 | -1.6526 | -1.6856 | -1.7194 | -1.7537 | -1.7888 | -1.8246 | -1.8611 | -1.8983 | -1.9363 | -1.975 | -2.0145
|  | -49.8776 | -50.8192 | -50.7496 | -51.2605 | -52.1056 | -52.0247 | -52.3456 | -52.1657 | -52.7019 | -52.9082 | -52.9124 | -53.8091 | -56.818 | -57.0584 | -56.9451 | -60.4629
| Benefits | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
| PJM Energy Market Benefits/(Costs) | 6.8207 | -2.045 | -22.8998 | 29.2601 | -222.4442 | -222.5364 | -239.8737 | -250.3414 | -263.655 | 53.3682 | -188.308 | -350.0527 | -228.4397 | -227.0464 | -72.8534 | -149.1225
| PJM Capacity Market Benefits/(Costs) | 0.1 | 0.1 | 0.03 | 0 | 0 | 0 | 0 | 0 | 0.034005 | 0.034005 | 0.034005 | 0.034005 | 0.034005 | 0.034005 | 0.034005 | 0.034005
| Avoided Capacity Savings | 0 | 0 | 15.6271 | -0.24934 | 73.1571 | 73.3173 | 71.6981 | 70.1266 | 68.6935 | -28.6677 | 17.9507 | 157.1051 | 124.4501 | 151.5862 | 67.0477 | 277.7163
| Avoided Fees (FERC, TVA RC, ITO, TEE) | 6.994 | 7.103 | 7.2135 | 7.3264 | 7.4399 | 7.5559 | 7.6734 | 7.7004 | 7.728 | 7.7561 | 7.7848 | 7.814 | 7.8439 | 7.8743 | 7.9054 | 7.937
| LKE Elimination of De-Pancaking | 21.6073 | 22.1852 | 12.7123 | 13.08 | 4.5526 | 0.43775 | 0.43775 | 0.43775 | 0.43775 | 0.43775 | 0.43775 | 0.43775 | 0.43775 | 0.43775 | 0.43775 | 0.43775
|  | 35.522 | 27.3432 | 12.683 | 49.4172 | -137.2945 | -141.2255 | -160.0644 | -172.0767 | -186.7617 | 32.9283 | -162.1007 | -184.6618 | -95.674 | -67.1142 | 2.5715 | 137.0026
Case 2 - Mid Fuel/With CO2 Regs. | Net Benefits/(Costs) | -14.3556 | -23.476 | -38.0666 | -1.8434 | -189.4001 | -193.2502 | -212.4101 | -224.2424 | -239.4636 | -19.9798 | -215.0131 | -238.4708 | -152.4919 | -124.1726 | -54.3736 | 76.5398 |  | -1864.4701
|  | 6.9207 | -1.945 | -7.2427 | 29.0108 | -149.2871 | -149.2191 | -168.1756 | -180.2148 | -194.9275 | 24.7345 | -170.3232 | -192.9136 | -103.9556 | -75.4263 | -5.7716 | 128.6279
PJM Membership Cost Analysis - Case 3: High Fuel; No CO2 Reductions Regulations ($M)
| Costs | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
| PJM Admin Fee Cost | -19.1691 | -19.6149 | -20.5322 | -20.9735 | -21.2954 | -21.6495 | -22.057 | -22.5371 | -22.9129 | -23.3421 | -23.8095 | -24.3696 | -24.7963 | -25.3249 | -25.8322 | -26.4394
| PJM Energy Uplift (BOR) Cost | -4.9575 | -4.9733 | -5.1039 | -5.1113 | -5.088 | -5.0712 | -5.0653 | -5.0741 | -5.0576 | -5.0513 | -5.0514 | -5.0688 | -5.0565 | -5.063 | -5.0632 | -5.0806
| PJM Transmission Expansion Cost | -20.4878 | -20.0376 | -19.5873 | -19.1371 | -18.6869 | -18.2367 | -17.7865 | -17.7865 | -17.7865 | -17.7865 | -17.7865 | -17.7865 | -17.7865 | -17.7865 | -17.7865 | -17.7865
| LG&E/KU Internal Implementation | -0.80642 | -0.78432 | -0.755 | -0.73005 | -0.70821 | -0.68767 | -0.66712 | -0.6482 | -0.63253 | -0.61848 | -0.60442 | -0.59037 | -0.57632 | -0.56227 | -0.54822 | -0.53417
| LG&E/KU Lost Transmission Revenue | -2.96 | -3.8823 | -3.2139 | -3.7201 | -4.7068 | -4.727 | -5.0841 | -4.4005 | -4.5586 | -4.3209 | -3.836 | -4.1327 | -6.7041 | -6.3855 | -5.74 | -8.6077
| LG&E/KU Lost Joint Party Settlement Revenue | -1.4968 | -1.5267 | -1.5573 | -1.5884 | -1.6202 | -1.6526 | -1.6856 | -1.7194 | -1.7537 | -1.7888 | -1.8246 | -1.8611 | -1.8983 | -1.9363 | -1.975 | -2.0145
|  | -49.8776 | -50.8192 | -50.7496 | -51.2605 | -52.1056 | -52.0247 | -52.3456 | -52.1657 | -52.7019 | -52.9082 | -52.9124 | -53.8091 | -56.818 | -57.0584 | -56.9451 | -60.4629
| Benefits | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
| PJM Energy Market Benefits/(Costs) | 3.9703 | -6.8489 | -17.2377 | -24.035 | -260.9743 | -272.897 | -291.733 | -304.6023 | -300.6529 | 34.666 | -216.3106 | -366.2823 | -231.6664 | -249.1673 | -68.4069 | -125.9669
| PJM Capacity Market Benefits/(Costs) | 0.1 | 0.1 | 0.03 | 0 | 0 | 0 | 0 | 0 | 0.034005 | 0.034005 | 0.034005 | 0.034005 | 0.034005 | 0.034005 | 0.034005 | 0.034005
| Avoided Capacity Savings | 0 | 0 | 15.6271 | -0.24934 | 73.1571 | 73.3173 | 71.6981 | 70.1266 | 68.6935 | -28.6677 | 17.9507 | 157.1051 | 124.4501 | 151.5862 | 67.0477 | 277.7163
| Avoided Fees (FERC, TVA RC, ITO, TEE) | 6.994 | 7.103 | 7.2135 | 7.3264 | 7.4399 | 7.5559 | 7.6734 | 7.7004 | 7.728 | 7.7561 | 7.7848 | 7.814 | 7.8439 | 7.8743 | 7.9054 | 7.937
| LKE Elimination of De-Pancaking | 21.6073 | 22.1852 | 12.7123 | 13.08 | 4.5526 | 0.43775 | 0.43775 | 0.43775 | 0.43775 | 0.43775 | 0.43775 | 0.43775 | 0.43775 | 0.43775 | 0.43775 | 0.43775
|  | 32.6717 | 22.5392 | 18.3452 | -3.8779 | -175.8246 | -191.586 | -211.9237 | -226.3375 | -223.7596 | 14.2261 | -190.1033 | -200.8914 | -98.9007 | -89.2351 | 7.018 | 160.1582
Case 3 - High Fuel/No CO2 Regs. | Net Benefits/(Costs) | -17.206 | -28.2799 | -32.4044 | -55.1384 | -227.9302 | -243.6108 | -264.2693 | -278.5033 | -276.4615 | -38.6821 | -243.0158 | -254.7004 | -155.7186 | -146.2935 | -49.9271 | 99.6954 |  | -2212.4459
|  | 4.0703 | -6.7489 | -1.5806 | -24.2843 | -187.8171 | -199.5797 | -220.0348 | -234.4757 | -231.9254 | 6.0323 | -198.3259 | -209.1432 | -107.1823 | -97.5472 | -1.3251 | 151.7834 |  | -1558.0842
PJM Membership Cost Analysis - Case 4: High Fuel; With CO2 Reductions Regulations ($M)
| Costs | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
| PJM Admin Fee Cost | -19.1691 | -19.6149 | -20.5322 | -20.9735 | -21.2954 | -21.6495 | -22.057 | -22.5371 | -22.9129 | -23.3421 | -23.8095 | -24.3696 | -24.7963 | -25.3249 | -25.8322 | -26.4394
| PJM Energy Uplift (BOR) Cost | -4.9575 | -4.9733 | -5.1039 | -5.1113 | -5.088 | -5.0712 | -5.0653 | -5.0741 | -5.0576 | -5.0513 | -5.0514 | -5.0688 | -5.0565 | -5.063 | -5.0632 | -5.0806
| PJM Transmission Expansion Cost | -20.4878 | -20.0376 | -19.5873 | -19.1371 | -18.6869 | -18.2367 | -17.7865 | -17.7865 | -17.7865 | -17.7865 | -17.7865 | -17.7865 | -17.7865 | -17.7865 | -17.7865 | -17.7865
| LG&E/KU Internal Implementation | -0.80642 | -0.78432 | -0.755 | -0.73005 | -0.70821 | -0.68767 | -0.66712 | -0.6482 | -0.63253 | -0.61848 | -0.60442 | -0.59037 | -0.57632 | -0.56227 | -0.54822 | -0.53417
| LG&E/KU Lost Transmission Revenue | -2.96 | -3.8823 | -3.2139 | -3.7201 | -4.7068 | -4.727 | -5.0841 | -4.4005 | -4.5586 | -4.3209 | -3.836 | -4.1327 | -6.7041 | -6.3855 | -5.74 | -8.6077
| LG&E/KU Lost Joint Party Settlement Revenue | -1.4968 | -1.5267 | -1.5573 | -1.5884 | -1.6202 | -1.6526 | -1.6856 | -1.7194 | -1.7537 | -1.7888 | -1.8246 | -1.8611 | -1.8983 | -1.9363 | -1.975 | -2.0145
|  | -49.8776 | -50.8192 | -50.7496 | -51.2605 | -52.1056 | -52.0247 | -52.3456 | -52.1657 | -52.7019 | -52.9082 | -52.9124 | -53.8091 | -56.818 | -57.0584 | -56.9451 | -60.4629
| Benefits | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
| PJM Energy Market Benefits/(Costs) | 128.5172 | 148.9476 | 153.9956 | 137.6476 | -253.9833 | -263.469 | -302.4328 | -325.2343 | -276.4075 | 104.6985 | -283.5129 | -522.0897 | -315.9512 | -323.3319 | -83.7092 | -192.5828
| PJM Capacity Market Benefits/(Costs) | 0.1 | 0.1 | 0.03 | 0 | 0 | 0 | 0 | 0 | 0.034005 | 0.034005 | 0.034005 | 0.034005 | 0.034005 | 0.034005 | 0.034005 | 0.034005
| Avoided Capacity Savings | 0 | 0 | 15.6271 | -0.24934 | 73.1571 | 73.3173 | 71.6981 | 70.1266 | 68.6935 | -28.6677 | 17.9507 | 157.1051 | 124.4501 | 151.5862 | 67.0477 | 277.7163
| Avoided Fees (FERC, TVA RC, ITO, TEE) | 6.994 | 7.103 | 7.2135 | 7.3264 | 7.4399 | 7.5559 | 7.6734 | 7.7004 | 7.728 | 7.7561 | 7.7848 | 7.814 | 7.8439 | 7.8743 | 7.9054 | 7.937
| LKE Elimination of De-Pancaking | 21.6073 | 22.1852 | 12.7123 | 13.08 | 4.5526 | 0.43775 | 0.43775 | 0.43775 | 0.43775 | 0.43775 | 0.43775 | 0.43775 | 0.43775 | 0.43775 | 0.43775 | 0.43775
|  | 157.2185 | 178.3357 | 189.5784 | 157.8047 | -168.8336 | -182.1581 | -222.6235 | -246.9695 | -199.5142 | 84.2586 | -257.3056 | -356.6988 | -183.1855 | -163.3996 | -8.2844 | 93.5423
Case 4 - High Fuel/With CO2 Regs. | Net Benefits/(Costs) | 107.3409 | 127.5166 | 138.8289 | 106.5441 | -220.9392 | -234.1828 | -274.9691 | -299.1353 | -252.2161 | 31.3505 | -310.218 | -410.5078 | -240.0034 | -220.458 | -65.2295 | 33.0794 |  | -1983.199
|  | 128.6172 | 149.0476 | 169.6527 | 137.3983 | -180.8262 | -190.1517 | -230.7346 | -255.1077 | -207.68 | 76.0648 | -265.5281 | -364.9506 | -191.4671 | -171.7117 | -16.6275 | 85.1675
Case 1 - Mid Fuel/No CO2 Regs. | Net Benefits/(Costs) | -18.6307 | -10.2382 | -23.9778 | 6.5127 | -87.611 | -67.3924 | -95.3048 | -93.791 | -92.6912 | -56.064 | -122.1096 | -73.3184 | -70.6304 | -47.7779 | -43.1569 | 112.8231 |  | -783.3585
Case 2 - Mid Fuel/With CO2 Regs. | Net Benefits/(Costs) | -14.3556 | -23.476 | -38.0666 | -1.8434 | -189.4001 | -193.2502 | -212.4101 | -224.2424 | -239.4636 | -19.9798 | -215.0131 | -238.4708 | -152.4919 | -124.1726 | -54.3736 | 76.5398 |  | -1864.4701
Case 3 - High Fuel/No CO2 Regs. | Net Benefits/(Costs) | -17.206 | -28.2799 | -32.4044 | -55.1384 | -227.9302 | -243.6108 | -264.2693 | -278.5033 | -276.4615 | -38.6821 | -243.0158 | -254.7004 | -155.7186 | -146.2935 | -49.9271 | 99.6954 |  | -2212.4459
Case 4 - High Fuel/With CO2 Regs. | Net Benefits/(Costs) | 107.3409 | 127.5166 | 138.8289 | 106.5441 | -220.9392 | -234.1828 | -274.9691 | -299.1353 | -252.2161 | 31.3505 | -310.218 | -410.5078 | -240.0034 | -220.458 | -65.2295 | 33.0794 |  | -1983.199
[7 empty] | PV | 2022 |  | WACC | 6.43% |  |  | Real Dollars
|  | Case 1 | Case 2 | Case 3 | Case 4 |  | Case 1 | Case 2 | Case 3 | Case 4 |  |  |  | Case 1 | Case 2 | Case 3 | Case 4 |  | Inflation index to 2020
| 2025 | -18.6307 | -14.3556 | -17.206 | 107.3409 |  | -15.4539 | -11.9078 | -14.2721 | 89.0375 |  |  |  | -15.3816 | -11.852 | -14.2053 | 88.6209 |  | 0.21124
| 2026 | -10.2382 | -23.476 | -28.2799 | 127.5166 |  | -7.9793 | -18.2965 | -22.0405 | 99.3826 |  |  |  | -8.1668 | -18.7264 | -22.5584 | 101.7179 |  | 0.25363
| 2027 | -23.9778 | -38.0666 | -32.4044 | 138.8289 |  | -17.5586 | -27.8756 | -23.7292 | 101.6622 |  |  |  | -18.6009 | -29.5304 | -25.1379 | 107.6973 |  | 0.28907
| 2028 | 6.5127 | -1.8434 | -55.1384 | 106.5441 |  | 4.481 | -1.2683 | -37.9376 | 73.307 |  |  |  | 4.9319 | -1.3959 | -41.7552 | 80.6837 |  | 0.32052
| 2029 | -87.611 | -189.4001 | -227.9302 | -220.9392 |  | -56.6383 | -122.4424 | -147.3511 | -142.8316 |  |  |  | -64.7606 | -140.0014 | -168.4822 | -163.3146 |  | 0.35284
| 2030 | -67.3924 | -193.2502 | -243.6108 | -234.1828 |  | -40.9354 | -117.3836 | -147.9735 | -142.2468 |  |  |  | -48.6365 | -139.4668 | -175.8116 | -169.0075 |  | 0.38564
| 2031 | -95.3048 | -212.4101 | -264.2693 | -274.9691 |  | -54.3924 | -121.2268 | -150.8239 | -156.9305 |  |  |  | -67.1836 | -149.7352 | -186.2926 | -193.8353 |  | 0.41857
| 2032 | -93.791 | -224.2424 | -278.5033 | -299.1353 |  | -50.2945 | -120.2478 | -149.3446 | -160.4084 |  |  |  | -64.6026 | -154.4567 | -191.8312 | -206.0424 |  | 0.45181
| 2033 | -92.6912 | -239.4636 | -276.4615 | -252.2161 |  | -46.7018 | -120.6521 | -139.2932 | -127.0773 |  |  |  | -62.3883 | -161.1775 | -186.0799 | -169.7609 |  | 0.48571
| 2034 | -56.064 | -19.9798 | -38.6821 | 31.3505 |  | -26.5409 | -9.4585 | -18.3122 | 14.8414 |  |  |  | -36.8744 | -13.1411 | -25.4419 | 20.6198 |  | 0.52041
| 2035 | -122.1096 | -215.0131 | -243.0158 | -310.218 |  | -54.3146 | -95.6384 | -108.094 | -137.9857 |  |  |  | -78.4813 | -138.1915 | -156.1892 | -199.3809 |  | 0.55591
| 2036 | -73.3184 | -238.4708 | -254.7004 | -410.5078 |  | -30.6419 | -99.664 | -106.4468 | -171.5634 |  |  |  | -46.0474 | -149.7709 | -159.9639 | -257.8183 |  | 0.59224
| 2037 | -70.6304 | -152.4919 | -155.7186 | -240.0034 |  | -27.7352 | -59.8806 | -61.1476 | -94.2446 |  |  |  | -43.3471 | -93.5869 | -95.5672 | -147.2942 |  | 0.62942
| 2038 | -47.7779 | -124.1726 | -146.2935 | -220.458 |  | -17.628 | -45.8143 | -53.9759 | -81.3394 |  |  |  | -28.6531 | -74.468 | -87.7342 | -132.2117 |  | 0.66746
| 2039 | -43.1569 | -54.3736 | -49.9271 | -65.2295 |  | -14.961 | -18.8495 | -17.308 | -22.6128 |  |  |  | -25.2912 | -31.8646 | -29.2588 | -38.2264 |  | 0.7064
| 2040 | 112.8231 | 76.5398 | 99.6954 | 33.0794 |  | 36.749 | 24.9307 | 32.473 | 10.7747 |  |  |  | 64.6091 | 43.8311 | 57.0914 | 18.9432 |  | 0.74624
|  | -783.3585 | -1864.4701 | -2212.4459 | -1983.199 |  | -420.5458 | -965.6753 | -1165.5775 | -848.2352 |  |  |  | -538.8744 | -1263.5343 | -1509.2181 | -1258.6093
[7 empty] | PV | 2022 |  | WACC | 6.43%
|  | Case 1 | Case 2 | Case 3 | Case 4 |  | Case 1 | Case 2 | Case 3 | Case 4
| 2025 | 2025: 2.6456; 2026: 6.9207; 2027: 4.0703; 2028: 128.6172; 2030: 2.1945; 2031: 5.7406; 2032: 3.3763; 2033: 106.6858
| 2026 | 2025: 11.2928; 2026: -1.945; 2027: -6.7489; 2028: 149.0476; 2030: 8.8013; 2031: -1.5159; 2032: -5.2599; 2033: 116.1632
| 2027 | 2025: 6.846; 2026: -7.2427; 2027: -1.5806; 2028: 169.6527; 2030: 5.0132; 2031: -5.3037; 2032: -1.1574; 2033: 124.234
| 2028 | 2025: 37.3668; 2026: 29.0108; 2027: -24.2843; 2028: 137.3983; 2030: 25.71; 2031: 19.9607; 2032: -16.7087; 2033: 94.5359
| 2029 | 2025: -47.498; 2026: -149.2871; 2027: -187.8171; 2028: -180.8262; 2030: -30.7063; 2031: -96.5103; 2032: -121.419; 2033: -116.8995
| 2030 | 2025: -23.3614; 2026: -149.2191; 2027: -199.5797; 2028: -190.1517; 2030: -14.1901; 2031: -90.6383; 2032: -121.2283; 2033: -115.5015
| 2031 | 2025: -51.0703; 2026: -168.1756; 2027: -220.0348; 2028: -230.7346; 2030: -29.1468; 2031: -95.9812; 2032: -125.5784; 2033: -131.685
| 2032 | 2025: -49.7635; 2026: -180.2148; 2027: -234.4757; 2028: -255.1077; 2030: -26.6852; 2031: -96.6384; 2032: -125.7353; 2033: -136.799
| 2033 | 2025: -48.1551; 2026: -194.9275; 2027: -231.9254; 2028: -207.68; 2030: -24.2626; 2031: -98.2129; 2032: -116.854; 2033: -104.6381
| 2034 | 2025: -11.3496; 2026: 24.7345; 2027: 6.0323; 2028: 76.0648; 2030: -5.373; 2031: 11.7094; 2032: 2.8557; 2033: 36.0093
| 2035 | 2025: -77.4197; 2026: -170.3232; 2027: -198.3259; 2028: -265.5281; 2030: -34.4365; 2031: -75.7602; 2032: -88.2158; 2033: -118.1076
| 2036 | 2025: -27.7611; 2026: -192.9136; 2027: -209.1432; 2028: -364.9506; 2030: -11.6022; 2031: -80.6243; 2032: -87.4071; 2033: -152.5237
| 2037 | 2025: -22.0941; 2026: -103.9556; 2027: -107.1823; 2028: -191.4671; 2030: -8.6759; 2031: -40.8213; 2032: -42.0884; 2033: -75.1854
| 2038 | 2025: 0.96841; 2026: -75.4263; 2027: -97.5472; 2028: -171.7117; 2030: 0.3573; 2031: -27.829; 2032: -35.9907; 2033: -63.3541
| 2039 | 2025: 5.4451; 2026: -5.7716; 2027: -1.3251; 2028: -16.6275; 2030: 1.8876; 2031: -2.0008; 2032: -0.45937; 2033: -5.7642
| 2040 | 2025: 164.9112; 2026: 128.6279; 2027: 151.7834; 2028: 85.1675; 2030: 53.7152; 2031: 41.8969; 2032: 49.4392; 2033: 27.7409
|  | -128.9968 | -1210.1084 | -1558.0842 | -1328.8373 |  | -87.3995 | -632.529 | -832.4312 | -515.0889

## PJM Details
[6 empty] | Inflation | 2%
[5 empty] | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Detail #
1 |  | LKE Admin Charges in PJM
|  | LKE Energy for Load |  |  | 33050197 | 33155652 | 34025758 | 34075501 | 33920100 | 33808022 | 33768870 | 33827370 | 33717107 | 33675260 | 33675950 | 33792306 | 33709834 | 33753359 | 33754477 | 33870433 | Updated with data from Sales Analysis and Forecasting 10/19/2022
|  | PJM Admin Charges ($/Mwh) |  |  | 0.58 | 0.5916 | 0.60343 | 0.6155 | 0.62781 | 0.64037 | 0.65317 | 0.66624 | 0.67956 | 0.69315 | 0.70702 | 0.72116 | 0.73558 | 0.75029 | 0.7653 | 0.7806 | Updated from IMM 2021 report then escalated
|  | LKE PJM Admin Fees ($M) |  |  | -19.1691 | -19.6149 | -20.5322 | -20.9735 | -21.2954 | -21.6495 | -22.057 | -22.5371 | -22.9129 | -23.3421 | -23.8095 | -24.3696 | -24.7963 | -25.3249 | -25.8322 | -26.4394
|  | Energy Uplift (BOR) balancing operating reserves |  | 0.15 | -4.9575 | -4.9733 | -5.1039 | -5.1113 | -5.088 | -5.0712 | -5.0653 | -5.0741 | -5.0576 | -5.0513 | -5.0514 | -5.0688 | -5.0565 | -5.063 | -5.0632 | -5.0806 | Based on PJM's avg cost per MWh ($0.15) charged to load, 2019 through 2021 SOM reports (Updated 10/17/22)
|  | Total for admin & BOR |  |  | -24.1266 | -24.5882 | -25.6361 | -26.0848 | -26.3834 | -26.7207 | -27.1223 | -27.6112 | -27.9704 | -28.3934 | -28.8609 | -29.4384 | -29.8528 | -30.3879 | -30.8954 | -31.5199
2 |  | PJM Backbone XM Expansion
|  | LKE Estimate from PJM TCIC Spreadsheet |  |  | -21.3414 | -20.8724 | -20.4035 | -19.9345 | -19.4656 | -18.9966 | -18.5276 | -18.5276 | -18.5276 | -18.5276 | -18.5276 | -18.5276 | -18.5276 | -18.5276 | -18.5276 | -18.5276 | Update 9/27/2022 based on PJM TCIC spreadsheet dated 4/2022 and same methodology as previous analysis See PJM TCIC Calc worksheet
|  | Adjusted Down 4% for LKE Added Load in PJM |  | 0.96 | -20.4878 | -20.0376 | -19.5873 | -19.1371 | -18.6869 | -18.2367 | -17.7865 | -17.7865 | -17.7865 | -17.7865 | -17.7865 | -17.7865 | -17.7865 | -17.7865 | -17.7865 | -17.7865
3 |  | Implementation Cost
|  | Generation Unit net output metering ($M) |  |  | -0.49197 | -0.46987 | -0.44055 | -0.4156 | -0.39376 | -0.37322 | -0.35267 | -0.33375 | -0.31808 | -0.30403 | -0.28997 | -0.27592 | -0.26187 | -0.24782 | -0.23377 | -0.21972 | Updated based on "Low" estimate in GenNetMeters sheet.
|  | Computer hardware/ software? |  |  | -0.31445 | -0.31445 | -0.31445 | -0.31445 | -0.31445 | -0.31445 | -0.31445 | -0.31445 | -0.31445 | -0.31445 | -0.31445 | -0.31445 | -0.31445 | -0.31445 | -0.31445 | -0.31445 | Updated in 2021 based upon 2020 data.
|  | Implementation Cost |  |  | -0.80642 | -0.78432 | -0.755 | -0.73005 | -0.70821 | -0.68767 | -0.66712 | -0.6482 | -0.63253 | -0.61848 | -0.60442 | -0.59037 | -0.57632 | -0.56227 | -0.54822 | -0.53417
Headcount change
|  | Trading/Dispatch |  | 88.72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Zero'd out on 6/5/2018 per Chris Balmer
|  | Accounting |  | 88.72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Zero'd out on 6/5/2018 per Chris Balmer
|  | Simpsonville Ops |  | 92.2688 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Zero'd out on 6/5/2018 per Chris Balmer
|  | Legal/Fed Policy |  | 150.824 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Zero'd out on 6/5/2018 per Chris Balmer
|  | LKE Staffing |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | LKE Staffing & Meter Performance |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | LKE Internal Staffing, Meter Upgrade, Implementation |  |  | -0.80642 | -0.78432 | -0.755 | -0.73005 | -0.70821 | -0.68767 | -0.66712 | -0.6482 | -0.63253 | -0.61848 | -0.60442 | -0.59037 | -0.57632 | -0.56227 | -0.54822 | -0.53417
4
|  | LGEE transmission Expense for OSS ($) |  |  | -2.36 | -3.2823 | -2.6139 | -3.1201 | -4.1068 | -4.127 | -4.4841 | -3.8005 | -3.9586 | -3.7209 | -3.236 | -3.5327 | -6.1041 | -5.7855 | -5.14 | -8.0077 | ($) from Business Plan OSS Income Sheet (transmission expense)
|  | LKE Lost XM Revenue from 3rd Parties |  |  | -0.6 | -0.6 | -0.6 | -0.6 | -0.6 | -0.6 | -0.6 | -0.6 | -0.6 | -0.6 | -0.6 | -0.6 | -0.6 | -0.6 | -0.6 | -0.6 | Updated from 2023 BP for 3rd party sales
|  | Total Lost XM Revenue |  |  | -2.96 | -3.8823 | -3.2139 | -3.7201 | -4.7068 | -4.727 | -5.0841 | -4.4005 | -4.5586 | -4.3209 | -3.836 | -4.1327 | -6.7041 | -6.3855 | -5.74 | -8.6077
5 |  | PJM Transmission Revenue Allocation
|  | PJM Revenue Firm PTP ($M) | [18 empty] | Updated to 2016 actual ($59 mil PTP) from PJM Annual Report, then escalated | NOT USED
|  | LKE Allocation ($M) |  | 2.13% | [16 empty] | Updated rev req ratio
|  | PJM Annual XM Revenue Requirement ($M) |  | 6891 | [16 empty] | Based on PJM posted Revenue Revenue Requirements posted 6/1/2017
|  | LKE Annual XM Revenue Requirement ($M) |  | 150 | [16 empty] | Based on recent Attachment O
|  | LKE Lost Joint Party Settlement Revenue |  |  | -1.4968 | -1.5267 | -1.5573 | -1.5884 | -1.6202 | -1.6526 | -1.6856 | -1.7194 | -1.7537 | -1.7888 | -1.8246 | -1.8611 | -1.8983 | -1.9363 | -1.975 | -2.0145 | Updated 9-26-2022 - Based on current Joint Party Settlement annual payment escalated 2%/year (per the agreement)
6 |  | Energy Market Benefits | min | max
|  | Low | 8.649 | 10.096 | 2025: 8.754; Inflation 2026: 8.649; 2% 2027: 10.096 | I:\Recurring\RTOAnalysis\2021Analysis\PROSYM\20210929_out_unityr.xlsx
|  | Mid | 12.59 | 14.031 | 2025: 12.59; Inflation 2026: 13.949; 2% 2027: 14.031
|  | High | 16.289 | 17.845 | 2025: 17.845; Inflation 2026: 16.289; 2% 2027: 17.5
7
|  | LKE Elimination of TVA RC Cost ($M) |  |  | 2.887 | 2.93 | 2.974 | 3.019 | 3.064 | 3.11 | 3.156 | 3.156 | 3.156 | 3.156 | 3.156 | 3.156 | 3.156 | 3.156 | 3.156 | 3.156 | Updated 10/5/2022 - based on 2023 BP thru 2032, then constant
|  | LKE Elimination of ITO Cost ($M) |  |  | 2.807 | 2.849 | 2.891 | 2.934 | 2.977 | 3.021 | 3.066 | 3.066 | 3.066 | 3.066 | 3.066 | 3.066 | 3.066 | 3.066 | 3.066 | 3.066 | Updated 10/5/2022 - based on 2023 BP thru 2032, then constant
|  | LKE Elimination of TEE Group Admin Charge ($M) |  |  | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | Did not change from previous analysis
|  | LKE Current FERC Fees |  |  | 1.2 | 1.224 | 1.2485 | 1.2734 | 1.2989 | 1.3249 | 1.3514 | 1.3784 | 1.406 | 1.4341 | 1.4628 | 1.492 | 1.5219 | 1.5523 | 1.5834 | 1.615 | Updated 9/27/2022 based on FERC Form 1 actual for 2021 increased 2% per year
|  | Total of Avoided Fees |  |  | 6.994 | 7.103 | 7.2135 | 7.3264 | 7.4399 | 7.5559 | 7.6734 | 7.7004 | 7.728 | 7.7561 | 7.7848 | 7.814 | 7.8439 | 7.8743 | 7.9054 | 7.937
8
Depancaking
|  | Total |  |  | 28.5 | 29.1 | 17 | 17.4 | 6.1 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | Updated 10/5/2022 - based on 2023 BP thru 2032, then constant
|  | Charges based on 26A |  |  | 3.82 | 3.76 | 2.48 | 2.46 | 0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Assume 26A charges DO NOT go away for PJM - Basedon 2023BP 26A charges
|  | Total (net of 26A) | Rates Allocation Factor | LKE's % of Coinc. Peak | 24.68 | 25.34 | 14.52 | 14.94 | 5.2 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5
|  | Paid by 3rd Parties | 83% | 85% | 3.0727 | 3.1548 | 1.8077 | 1.86 | 0.6474 | 0.06225 | 0.06225 | 0.06225 | 0.06225 | 0.06225 | 0.06225 | 0.06225 | 0.06225 | 0.06225 | 0.06225 | 0.06225 | Reduced to align with what is charged to LG&E/KU customers only
|  | Net Paid by LG&E/KU Customers |  |  | 21.6073 | 22.1852 | 12.7123 | 13.08 | 4.5526 | 0.43775 | 0.43775 | 0.43775 | 0.43775 | 0.43775 | 0.43775 | 0.43775 | 0.43775 | 0.43775 | 0.43775 | 0.43775
9 |  | PJM Capacity Auction Benefits
| 55 | Low |  |  | 2025: -6.6601; Inflation 2026: -6.0321; 2% 2027: -4.9397 | Updated 10/6/2021
| 41 | Mid |  |  | 2025: 6.9239; Inflation 2026: 7.5138; 2% 2027: 8.6062 | 20211006 Capacity Calculation - PJM_D04.xlsx
| 27 | High |  |  | 2025: 18.7673; Inflation 2026: 19.3156; 2% 2027: 20.408
10
Depancaking - High Case
|  | Total |  |  | 38.1 | 39.8 | 40.3 | 42.2 | 42.6 | 43.9 | 46.1 | 48.5 | 48.5 | 48.5 | 48.5 | 48.5 | 48.5 | 48.5 | 48.5 | 48.5 | Updated 10/5/2022 - based on 2023 BP Vacated Order thru 2032, then constant
|  | Charges based on 26A |  |  | 3.82 | 3.78 | 3.75 | 3.71 | 3.68 | 3.65 | 3.61 | 3.6 | 3.6 | 3.6 | 3.6 | 3.6 | 3.6 | 3.6 | 3.6 | 3.6 | Assume 26A charges DO NOT go away for PJM - Basedon 2023BP vacated order 26A charges
|  | Total (net of 26A) | Rates Allocation Factor | LKE's % of Coinc. Peak | 34.28 | 36.02 | 36.55 | 38.49 | 38.92 | 40.25 | 42.49 | 44.9 | 44.9 | 44.9 | 44.9 | 44.9 | 44.9 | 44.9 | 44.9 | 44.9
|  | Paid by 3rd Parties | 83% | 85% | 4.2679 | 4.4845 | 4.5505 | 4.792 | 4.8455 | 5.0111 | 5.29 | 5.5901 | 5.5901 | 5.5901 | 5.5901 | 5.5901 | 5.5901 | 5.5901 | 5.5901 | 5.5901 | Reduced to align with what is charged to LG&E/KU customers only
|  | Net Paid by LG&E/KU Customers |  |  | 30.0121 | 31.5355 | 31.9995 | 33.698 | 34.0745 | 35.2389 | 37.2 | 39.31 | 39.31 | 39.31 | 39.31 | 39.31 | 39.31 | 39.31 | 39.31 | 39.31

## GenNetMeters
Revenue quality NET metering upgrades
Station Name | Unit number | Unit Name | Unit Type | Generator Nameplate | Low | Rough Estimated Cost (2022$) | High |  | $M | Capital Cost | Rev. Req. profile | Rev Req
Ohio Falls | 2 | Ohio Falls 2 | Hydro | 12.58 | 0 | 100000 |  |  | 2025 | 3.4 | 0.1447 | 0.49197
Ohio Falls | 4 | Ohio Falls 4 | Hydro | 12.58 | 0 | 100000 |  |  | 2026 |  | 0.1382 | 0.46987
Ohio Falls | 8 | Ohio Falls 8 | Hydro | 12.58 | 0 | 100000 |  |  | 2027 | 0 | 0.12957 | 0.44055
Dix Dam | 1 | Dix Dam 1 | Hydro | 12.58 | 0 | 100000 |  |  | 2028 |  | 0.12224 | 0.4156
Dix Dam | 2 | Dix Dam 2 | Hydro | 12.58 | 0 | 100000 |  |  | 2029 |  | 0.11581 | 0.39376
Dix Dam | 3 | Dix Dam 3 | Hydro | 12.58 | 0 | 100000 |  |  | 2030 |  | 0.10977 | 0.37322
Ohio Falls | 5 | Ohio Falls 5 | Hydro | 12.58 | 0 | 100000 |  |  | 2031 |  | 0.10373 | 0.35267
Ohio Falls | 1 | Ohio Falls 1 | Hydro | 12.6 | 0 | 100000 |  |  | 2032 |  | 0.098162 | 0.33375
Ohio Falls | 3 | Ohio Falls 3 | Hydro | 12.6 | 0 | 100000 |  |  | 2033 |  | 0.093552 | 0.31808
Ohio Falls | 6 | Ohio Falls 6 | Hydro | 12.6 | 0 | 100000 |  |  | 2034 |  | 0.089419 | 0.30403
Ohio Falls | 7 | Ohio Falls 7 | Hydro | 12.6 | 0 | 100000 |  |  | 2035 |  | 0.085287 | 0.28997
Paddys Run | 11 | Paddys Run 11 | Peaking | 16 | 0 | 0 |  |  | 2036 |  | 0.081154 | 0.27592
Cane Run | 11 | Cane Run 11 | Peaking | 16.32 | 0 | 0 |  |  | 2037 |  | 0.077021 | 0.26187
Zorn | 1 | Zorn 1 | Peaking | 18 | 0 | 0 |  |  | 2038 |  | 0.072888 | 0.24782
Haefling | 1 | Haefling 1 | Peaking | 20.7 | 0 | 100000 |  |  | 2039 |  | 0.068755 | 0.23377
Haefling | 2 | Haefling 2 | Peaking | 20.7 | 0 | 100000 |  |  | 2040 |  | 0.064622 | 0.21972
Paddys Run | 12 | Paddys Run 12 | Peaking | 32.64 | 0 | 100000 |  |  | 2041 |  | 1.8386e-19 | 6.2514e-19
Brown | 1 | Brown 1 | Coal | 113.6356 | 0 | 0 |  |  | 2042 |  | 1.8386e-19 | 6.2514e-19
Brown | 5 | Brown 5 | Peaking | 123.3 | 0 | 100000 |  |  | 2043 |  | 5.0723e-09 | 1.7246e-08
Brown | 8 | Brown 8 | Peaking | 126 | 0 | 100000 |  |  | 2044 |  | 5.0723e-09 | 1.7246e-08
Brown | 9 | Brown 9 | Peaking | 126 | 0 | 100000 |  |  | 2045 |  | 5.0723e-09 | 1.7246e-08
Brown | 10 | Brown 10 | Peaking | 126 | 0 | 100000 |  |  | 2046 |  | 5.0723e-09 | 1.7246e-08
Brown | 11 | Brown 11 | Peaking | 126 | 0 | 100000 |  |  | 2047 |  | 5.0723e-09 | 1.7246e-08
Brown | 6 | Brown 6 | Peaking | 177 | 0 | 100000
Brown | 7 | Brown 7 | Peaking | 177 | 0 | 100000
Paddys Run | 13 | Paddys Run 13 | Peaking | 178.2 | 0 | 100000
Brown | 2 | Brown 2 | Coal | 179.52 | 0 | 0
Trimble | 5 | Trimble 5 | Peaking | 198.9 | 0 | 100000
Trimble | 6 | Trimble 6 | Peaking | 198.9 | 0 | 100000
Trimble | 7 | Trimble 7 | Peaking | 198.9 | 0 | 100000
Trimble | 8 | Trimble 8 | Peaking | 198.9 | 0 | 100000
Trimble | 9 | Trimble 9 | Peaking | 198.9 | 0 | 100000
Trimble | 10 | Trimble 10 | Peaking | 198.9 | 0 | 100000
Mill Creek | 1 | Mill Creek 1 | Coal | 355.5 |  | 100000
Mill Creek | 2 | Mill Creek 2 | Coal | 355.5 |  | 100000
Trimble | 1 | Trimble 1 | Coal | 424.575 |  | 0 |  | Revenue quality meter added during IMEA pseudo-tie
Mill Creek | 3 | Mill Creek 3 | Coal | 462.6 |  | 100000
Brown | 3 | Brown 3 | Coal | 464 |  | 100000
Mill Creek | 4 | Mill Creek 4 | Coal | 543.6 |  | 100000
Ghent | 4 | Ghent 4 | Coal | 556.2 |  | 100000
Ghent | 2 | Ghent 2 | Coal | 556.38 |  | 100000
Ghent | 3 | Ghent 3 | Coal | 556.56 |  | 100000
Ghent | 1 | Ghent 1 | Coal | 556.92 |  | 100000
Trimble | 2 | Trimble 2 | Coal | 628.5 |  | 0 |  | Revenue quality meter added during IMEA pseudo-tie
Cane Run | 7 | Cane Run 7 | NGCC | 691 |  | 300000 |  | 3 x $100,000. One meter needed for each GSU connection
[5 empty] | 0 | 3400000 | 0
PJM Manual 1; Section 5.3.8 Generation Billing Metering Any generation unit participating in the PJM Energy Market is required to have a metering system capable of recording generation net MWh output. When metering limitations require variance from this standard, the metering system must be mutually agreed upon by the parties involved. All metered generator data values are to be supplied to the required parties in “net” form. “Net” or “net wholesale injection” is defined as “gross” output minus all unit station light and power components. When “net” measured values are not available due to metering system limitations, “gross” measured values may sometimes be used in conjunction with an approved “gross” to “net” calculation method. Any such use of a “gross” to “net” calculation must be approved by PJM.
MISO Generator Interconnection Agreement: 7.5 Metering Data. At Interconnection Customer’s expense, the metered data shall be telemetered to one or more locations designated by Transmission Provider and Transmission Owner and one or more locations designated by Interconnection Customer. Such telemetered data shall be used, under normal operating conditions, as the official measurement of the amount of energy delivered from the Generating Facility to the Point of Interconnection.
Note on L2: CHW: Revenue requirements profile based on - overnight construction - 7 year tax life - 16 year book life See support file at "I:\Projects\0308_2022RFP\01_Screening\20220816_RevenueRequirementProfiles_0302D06.xlsx"

## Spinning Calculation
Reserves | PJM | LKE
LKE load would pay for operating reserves on a load ratio share in a market (estimated LKE contribution as % of PJM 2020-21 load) | 3.932%
Contingency Reserve
LKE Current requirement for 2022 for TEE CRSG (MW) |  | 243 | Updated for 2022
Contingency Reserve Requirement Avg of 2020 and 2021 hourly values in Data Miner | 2269 | 89.2219 | Updated for 2022
Regulating Reserve
LKE currently carries 75MW Regulating reserves |  | 75
PJM BA’s hourly regulating reserve requirement is either 525MW or 800MW depending on the season and time of day. [low] | 525 | 20.6441 | Unchanged for 2022
PJM BA’s hourly regulating reserve requirement is either 525MW or 800MW depending on the season and time of day. [High] | 800 | 31.4577 | Unchanged for 2022
Effective January 1, 2022 the Underforecasted LFE error component of the Day-ahead Scheduling Reserve is 2.03%. | 2.03% |  | Updated for 2022
LKE Mean Load and Load Ratio share of LFE error component based on Mean Load | 3556.8206 | 72.2035 | Updated to 20-21 load
Effective January 1, 2022 the FOR error component of the Day-ahead Scheduling Reserve is 2.38% for PJM. | 2.38% |  | Forced Outage Rate (FOR) error and overlaps contingencies. | Updated for 2022
LKE Mean Load and Load Ratio share of Day-ahead Scheduling Reserve based on Mean Load | 3556.8206 | 84.6523
Effective January 1, 2022 the Day-ahead Scheduling Reserve for RFC and EKPC regions of PJM is 4.40% times Peak Load Forecast for RFC plus EKPC. | 4.4% | 156.8558 | 156.5001 | Updated for 2022
LKE Peak Load and max DASR based on peak. | 7100 | 312.4
LKE Projected average Day-ahead Scheduling Reserve requirement + Regulating Reserve |  | 182.551
Less 100MW of quick-start |  | -100
|  | 82.551 | Used 97 in 2021 analysis and used 119 in 2020 analysis
LKE Projected total Operating Reserve requirements (based on mean load) for Contingency Reserve + Regulating Reserve + LFE error |  | 187.4763
Less 100MW of quick-start |  | -100
87.4763
See pages 19 and 20 of PJM Manual 13 V64.
http://www.pjm.com/-/media/documents/manuals/m13.ashx
See Page 22 of Manual 10 V35.
http://www.pjm.com/-/media/documents/manuals/m10.ashx
The PJM RTO’s Regulating Requirement is 525 effective MW during non-ramp hours and 800 effective MW during ramp hours.
Note on A8: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: PJM Manual 12 - 4.4.3

## 20-21 PJM Load Ratio Analysis
| *All data is exclusive of municiple load |  |  |  | Bins | All Data | 2020 | 2021
| PJM Load (MWh) | LKE Load (MWh) | Combined Load (MWh) | LGE % of Combined Load | 2.336% | 1 | 1 | 0
Min | 54936.829 | 2094.9999 | 57636.795 | 2.336% | 2.479% | 15 | 10 | 5
Max | 148770.347 | 6122.75 | 154301.079 | 6.322% | 2.621% | 53 | 33 | 20
Range | 93833.518 | 4027.7501 | 96664.284 | 3.986% | 2.763% | 181 | 100 | 81
Mean | 87774.5266 | 3556.8206 | 91331.3472 | 3.932% | 2.906% | 364 | 183 | 181
Median | 85262.753 | 3434.5925 | 88798.5915 | 3.88% | 3.048% | 661 | 329 | 332
[5 empty] | 3.19% | 891 | 453 | 438
[5 empty] | 3.333% | 1057 | 503 | 554
[5 empty] | 3.475% | 1219 | 583 | 636
[5 empty] | 3.617% | 1426 | 691 | 735
[5 empty] | 3.76% | 1535 | 767 | 768
[5 empty] | 3.902% | 1588 | 837 | 751
[5 empty] | 4.044% | 1525 | 771 | 754
[5 empty] | 4.187% | 1348 | 678 | 670
[5 empty] | 4.329% | 1212 | 581 | 631
[5 empty] | 4.471% | 1050 | 521 | 529
[5 empty] | 4.614% | 827 | 414 | 413
[5 empty] | 4.756% | 687 | 320 | 367
[5 empty] | 4.898% | 482 | 262 | 220
[5 empty] | 5.041% | 373 | 190 | 183
[5 empty] | 5.183% | 312 | 159 | 153
[5 empty] | 5.325% | 278 | 135 | 143
[5 empty] | 5.468% | 183 | 89 | 94
[5 empty] | 5.61% | 127 | 75 | 52
[5 empty] | 5.752% | 84 | 43 | 41
[5 empty] | 5.895% | 38 | 19 | 19
[5 empty] | 6.037% | 15 | 9 | 6
[5 empty] | 6.179% | 8 | 1 | 7
[5 empty] | 6.322% | 3 | 2 | 1
[5 empty] | 6.464% | 1 | 1 | 0
[5 empty] | 6.607% | 0 | 0 | 0
[5 empty] | 6.749% | 0 | 0 | 0
[5 empty] | 6.891% | 0 | 0 | 0

## PJM TCIC Calc
| $/MW Load for the EKPC Zone from the Future Monthly Zonal Charges Tab | Assumed LG&E/KU Peak Load | Annual XM Cost | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
2024-01-01 | 280.44 | 6481 | 21810379.68 | -21.8104 | -21.3414 | -20.8724 | -20.4035 | -19.9345 | -19.4656 | -18.9966 | -18.5276 | -18.5276 | -18.5276 | -18.5276 | -18.5276 | -18.5276 | -18.5276 | -18.5276 | -18.5276 | -18.5276
2025-01-01 | 274.41 | 6481 | 21341414.52
2026-01-01 | 268.38 | 6481 | 20872449.36
2027-01-01 | 262.35 | 6481 | 20403484.2
2028-01-01 | 256.32 | 6481 | 19934519.04
2029-01-01 | 250.29 | 6481 | 19465553.88
2030-01-01 | 244.26 | 6481 | 18996588.72
2031-01-01 | 238.23 | 6481 | 18527623.56
2032-01-01 | 238.23 | 6481 | 18527623.56
2033-01-01 | 238.23 | 6481 | 18527623.56
2034-01-01 | 238.23 | 6481 | 18527623.56
Does not include impact of EKPC projects which are all 100% assigned to EKPC
| Updated 9/26/2022 | Updated 9/27/22 from 2022 MOD-032 data