## Sheet1
CT Capacity | 60 | MW | # of CT | 4
| Summer | Winter
Peak Load | 6319 | 6104
Existing Supply w/o Solar | 7544 | 7774
Additional CT | 240 | 240
Total Supply | 7784 | 8014
Total Reserve Margin w/o Solar (%) | 23.18% | 31.29%