## PJM
I. Non-firm hourly transmission for July 28, 2023
The table below lists the hourly non-firm transmission on the PJM system (for flows to LGEE) for the hours of July 28, 2023. This was a high-load summer day when Louisville temperatures reached 96 deg F.
Date | HE | PJM to LGEE (MW)
2023-07-28 | 1 | 1213
2023-07-28 | 2 | 1257
2023-07-28 | 3 | 1201
2023-07-28 | 4 | 1235
2023-07-28 | 5 | 1257
2023-07-28 | 6 | 1257
2023-07-28 | 7 | 1257
2023-07-28 | 8 | 1257
2023-07-28 | 9 | 1257
2023-07-28 | 10 | 1165
2023-07-28 | 11 | 1287
2023-07-28 | 12 | 1287
2023-07-28 | 13 | 1287
2023-07-28 | 14 | 1287
2023-07-28 | 15 | 1287
2023-07-28 | 16 | 0
2023-07-28 | 17 | 0
2023-07-28 | 18 | 0
2023-07-28 | 19 | 591
2023-07-28 | 20 | 1287
2023-07-28 | 21 | 1262
2023-07-28 | 22 | 1262
2023-07-28 | 23 | 1262
2023-07-28 | 24 | 1260
II. Firm daily transmission for January 1, 2023 - July 28, 2023
The data below details the daily firm transmission available for purchase one day prior on both the PJM and LGEE systems.
Day (2023) | PJM daily firm transmission to LGEE available day ahead (MW) | LGEE daily firm transmission from PJM available day ahead (MW)
1-Jan | 532 | 1643
2-Jan | 2430 | 1686
3-Jan | 1848 | 785
4-Jan | 1329 | 655
5-Jan | 921 | 0
6-Jan | 0 | 2182
7-Jan | 1440 | 1102
8-Jan | 2228 | 626
9-Jan | 1949 | 522
10-Jan | 2755 | 400
11-Jan | 2755 | 400
12-Jan | 2755 | 1296
13-Jan | 2755 | 1296
14-Jan | 94 | 2457
15-Jan | 128 | 2206
16-Jan | 0 | 1383
17-Jan | 0 | 0
18-Jan | 2262 | 951
19-Jan | 2170 | 855
20-Jan | 1322 | 909
21-Jan | 2300 | 1063
22-Jan | 2419 | 1626
23-Jan | 1954 | 1259
24-Jan | 1893 | 1222
25-Jan | 1694 | 623
26-Jan | 1882 | 259
27-Jan | 1385 | 617
28-Jan | 0 | 0
29-Jan | 0 | 0
30-Jan | 0 | 0
31-Jan | 0 | 0
1-Feb | 2058 | 1275
2-Feb | 2755 | 944
3-Feb | 2010 | 1410
4-Feb | 2334 | 555
5-Feb | 0 | 0
6-Feb | 0 | 0
7-Feb | 2755 | 1011
8-Feb | 2755 | 1278
9-Feb | 2755 | 1208
10-Feb | 119 | 2032
11-Feb | 0 | 0
12-Feb | 1621 | 1774
13-Feb | 1300 | 1758
14-Feb | 1163 | 0
15-Feb | 1557 | 0
16-Feb | 1557 | 0
17-Feb | 1557 | 830
18-Feb | 1481 | 1334
19-Feb | 1649 | 2714
20-Feb | 2436 | 2503
21-Feb | 1856 | 1325
22-Feb | 2144 | 1323
23-Feb | 1798 | 1319
24-Feb | 1798 | 1319
25-Feb | 242 | 1717
26-Feb | 345 | 1654
27-Feb | 394 | 1471
28-Feb
1-Mar | 2285 | 1476
2-Mar | 2755 | 1556
3-Mar | 1528 | 1335
4-Mar | 1928 | 1623
5-Mar | 2187 | 1563
6-Mar | 2365 | 84
7-Mar | 2406 | 67
8-Mar | 1540 | 1010
9-Mar | 849 | 768
10-Mar | 2010 | 789
11-Mar | 2118 | 0
12-Mar | 2755 | 1510
13-Mar | 0 | 0
14-Mar | 0 | 1537
15-Mar | 1503 | 2358
16-Mar | 863 | 1788
17-Mar | 1307 | 856
18-Mar | 2398 | 664
19-Mar | 1355 | 2204
20-Mar | 0 | 1836
21-Mar | 2259 | 974
22-Mar | 2054 | 960
23-Mar | 2461 | 1067
24-Mar | 0 | 1164
25-Mar | 0 | 1926
26-Mar | 1596 | 1399
27-Mar | 1890 | 1108
28-Mar | 1341 | 0
29-Mar | 1118 | 2013
30-Mar | 1499 | 1101
31-Mar | 1893 | 1195
1-Apr | 2390 | 1697
2-Apr | 1703 | 1625
3-Apr | 1498 | 1575
4-Apr | 1488 | 1126
5-Apr | 981 | 1470
6-Apr | 1413 | 1323
7-Apr | 1413 | 1323
8-Apr | 1206 | 1360
9-Apr | 2004 | 1342
10-Apr | 519 | 1274
11-Apr | 1283 | 1321
12-Apr | 0 | 0
13-Apr | 2755 | 1753
14-Apr | 806 | 2589
15-Apr | 2755 | 2473
16-Apr | 1705 | 1426
17-Apr | 2755 | 1597
18-Apr | 2755 | 1564
19-Apr | 2755 | 1875
20-Apr | 2560 | 0
21-Apr | 2755 | 1585
22-Apr | 2755 | 1482
23-Apr | 2755 | 1482
24-Apr | 2755 | 1482
25-Apr | 2755 | 1482
26-Apr | 2755 | 1422
27-Apr | 2755 | 1191
28-Apr | 2755 | 387
29-Apr | 2755 | 1511
30-Apr | 2755 | 1130
1-May | 2755 | 0
2-May | 2755 | 1254
3-May | 2755 | 1121
4-May | 2755 | 1265
5-May | 487 | 0
6-May | 0 | 0
7-May | 1969 | 1110
8-May | 2755 | 296
9-May | 0 | 0
10-May | 2755 | 1578
11-May | 2281 | 1425
12-May | 2206 | 1512
13-May | 2206 | 1512
14-May | 1097 | 1746
15-May | 1514 | 1386
16-May | 1507 | 1003
17-May | 0 | 0
18-May | 1477 | 836
19-May | 1477 | 836
20-May | 488 | 629
21-May | 0 | 381
22-May | 1720 | 54
23-May | 0 | 0
24-May | 1385 | 0
25-May | 516 | 1338
26-May | 0 | 1346
27-May | 0 | 770
28-May | 0 | 1155
29-May | 0 | 1178
30-May
31-May | 2755 | 1082
1-Jun | 1685 | 0
2-Jun | 1496 | 80
3-Jun | 1661 | 0
4-Jun | 1661 | 0
5-Jun | 1661 | 0
6-Jun | 1661 | 0
7-Jun | 2252 | 608
8-Jun | 0 | 222
9-Jun | 0 | 532
10-Jun | 2755 | 0
11-Jun | 0 | 0
12-Jun | 0 | 0
13-Jun | 0 | 144
14-Jun | 0 | 297
15-Jun | 2144 | 506
16-Jun | 0 | 0
17-Jun | 0 | 0
18-Jun | 0 | 0
19-Jun | 0 | 0
20-Jun | 0 | 0
21-Jun | 0 | 0
22-Jun | 0 | 0
23-Jun | 0 | 0
24-Jun | 0 | 0
25-Jun | 0 | 0
26-Jun | 0 | 0
27-Jun | 0 | 0
28-Jun | 0 | 0
29-Jun | 0 | 0
30-Jun | 0 | 0
1-Jul | 0 | 0
2-Jul | 0 | 0
3-Jul | 0 | 83
4-Jul | 0 | 0
5-Jul | 0 | 1148
6-Jul | 0 | 1817
7-Jul | 2755 | 1115
8-Jul | 0 | 0
9-Jul | 0 | 1503
10-Jul | 2755 | 1465
11-Jul | 0 | 974
12-Jul | 68 | 0
13-Jul | 232 | 0
14-Jul | 308 | 152
15-Jul | 467 | 1778
16-Jul | 0 | 1616
17-Jul | 0 | 1710
18-Jul | 0 | 1710
19-Jul | 0 | 1701
20-Jul | 0 | 754
21-Jul | 0 | 1538
22-Jul | 0 | 1669
23-Jul | 0 | 1670
24-Jul | 0 | 1722
25-Jul | 0 | 552
26-Jul | 0 | 0
27-Jul | 0 | 294
28-Jul | 0 | 0
III. Firm monthly transmission for July - November 2023
The screen-shot below lists the monthly firm transmission available on the PJM system for flows to LGEE for July through November 2023 (see the "Available" column).
IV. Yearly firm transmission
The PJM OATT (https://www.pjm.com/directory/merged-tariffs/oatt.pdf) requires an application for service. The approval process may include the need to perform a System Impact Study.

## MISO
I. Non-firm hourly transmission for July 28, 2023
The table below lists the hourly non-firm transmission on the MISO system (for flows to LGEE) for the hours of July 28, 2023. This was a high-load summer day when Louisville temperatures reached 96 deg F.
Date | HE | MISO to LGEE (MW)
2023-07-28 | 1 | 0
2023-07-28 | 2 | 0
2023-07-28 | 3 | 0
2023-07-28 | 4 | 0
2023-07-28 | 5 | 0
2023-07-28 | 6 | 0
2023-07-28 | 7 | 0
2023-07-28 | 8 | 431
2023-07-28 | 9 | 0
2023-07-28 | 10 | 828
2023-07-28 | 11 | 644
2023-07-28 | 12 | 0
2023-07-28 | 13 | 0
2023-07-28 | 14 | 0
2023-07-28 | 15 | 0
2023-07-28 | 16 | 0
2023-07-28 | 17 | 0
2023-07-28 | 18 | 0
2023-07-28 | 19 | 0
2023-07-28 | 20 | 0
2023-07-28 | 21 | 0
2023-07-28 | 22 | 0
2023-07-28 | 23 | 0
2023-07-28 | 24 | 0
II. Firm daily transmission for January 1, 2023 - July 28, 2023
The data below details the daily firm transmission available for purchase one day prior on both the MISO and LGEE systems.
Day (2023) | MISO daily firm transmission to LGEE available day ahead (MW) | LGEE daily firm transmission from MISO available day ahead (MW)
1-Jan | 0 | 1066
2-Jan | 1023 | 645
3-Jan | 1040 | 61
4-Jan | 1405 | 636
5-Jan | 463 | 0
6-Jan | 0 | 2151
7-Jan | 1959 | 0
8-Jan | 1454 | 0
9-Jan | 2243 | 0
10-Jan | 0 | 0
11-Jan | 0 | 0
12-Jan | 1172 | 200
13-Jan | 1172 | 200
14-Jan | 0 | 2516
15-Jan | 0 | 0
16-Jan | 0 | 1391
17-Jan | 0 | 0
18-Jan | 0 | 78
19-Jan | 1669 | 60
20-Jan | 0 | 0
21-Jan | 2231 | 0
22-Jan | 1626 | 0
23-Jan | 1738 | 0
24-Jan | 2634 | 0
25-Jan | 2132 | 0
26-Jan | 3457 | 0
27-Jan | 0 | 0
28-Jan | 0 | 0
29-Jan | 0 | 0
30-Jan | 0 | 0
31-Jan | 0 | 0
1-Feb | 3940 | 0
2-Feb | 3332 | 0
3-Feb | 3306 | 12
4-Feb | 0 | 0
5-Feb | 0 | 0
6-Feb | 0 | 0
7-Feb | 0 | 0
8-Feb | 0 | 171
9-Feb | 1382 | 143
10-Feb | 0 | 2071
11-Feb | 0 | 0
12-Feb | 0 | 1810
13-Feb | 0 | 0
14-Feb | 0 | 0
15-Feb | 0 | 0
16-Feb | 0 | 0
17-Feb | 0 | 0
18-Feb | 0 | 0
19-Feb | 0 | 3446
20-Feb | 1424 | 13
21-Feb | 1526 | 0
22-Feb | 1569 | 0
23-Feb | 0 | 0
24-Feb | 0 | 0
25-Feb | 0 | 0
26-Feb | 0 | 1690
27-Feb | 0 | 0
28-Feb
1-Mar | 0 | 2419
2-Mar | 0 | 1476
3-Mar | 137 | 1401
4-Mar | 0 | 0
5-Mar | 339 | 0
6-Mar | 20 | 25
7-Mar | 185 | 277
8-Mar | 528 | 1134
9-Mar | 0 | 862
10-Mar | 754 | 884
11-Mar | 293 | 0
12-Mar | 0 | 1484
13-Mar | 0 | 0
14-Mar | 0 | 0
15-Mar | 0 | 0
16-Mar | 0 | 0
17-Mar | 0 | 0
18-Mar | 0 | 0
19-Mar | 433 | 2609
20-Mar | 0 | 0
21-Mar | 0 | 0
22-Mar | 0 | 0
23-Mar | 0 | 0
24-Mar | 0 | 0
25-Mar | 0 | 771
26-Mar | 0 | 516
27-Mar | 0 | 0
28-Mar | 956 | 0
29-Mar | 493 | 0
30-Mar | 0 | 617
31-Mar | 701 | 665
1-Apr | 0 | 0
2-Apr | 0 | 170
3-Apr | 1263 | 0
4-Apr | 0 | 0
5-Apr | 501 | 38
6-Apr | 540 | 0
7-Apr | 540 | 0
8-Apr | 0 | 0
9-Apr | 0 | 0
10-Apr | 0 | 0
11-Apr | 0 | 0
12-Apr | 0 | 0
13-Apr | 937 | 0
14-Apr | 0 | 0
15-Apr | 0 | 0
16-Apr | 2176 | 0
17-Apr | 0 | 380
18-Apr | 0 | 0
19-Apr | 0 | 0
20-Apr | 0 | 0
21-Apr | 0 | 0
22-Apr | 0 | 0
23-Apr | 0 | 0
24-Apr | 0 | 0
25-Apr | 0 | 0
26-Apr | 0 | 0
27-Apr | 0 | 102
28-Apr | 0 | 0
29-Apr | 565 | 416
30-Apr | 238 | 0
1-May | 0 | 1368
2-May | 0 | 0
3-May | 0 | 0
4-May | 0 | 0
5-May | 0 | 0
6-May | 0 | 0
7-May | 0 | 0
8-May | 1495 | 0
9-May | 0 | 0
10-May | 2546 | 0
11-May | 1966 | 0
12-May | 2073 | 0
13-May | 2073 | 0
14-May | 2043 | 0
15-May | 1769 | 0
16-May | 0 | 0
17-May | 0 | 0
18-May | 462 | 0
19-May | 462 | 0
20-May | 1693 | 0
21-May | 1935 | 442
22-May | 0 | 62
23-May | 0 | 0
24-May | 0 | 0
25-May | 0 | 1379
26-May | 0 | 114
27-May | 0 | 0
28-May | 3331 | 436
29-May | 3016 | 106
30-May
31-May | 2098 | 0
1-Jun | 0 | 0
2-Jun | 0 | 0
3-Jun | 0 | 0
4-Jun | 0 | 0
5-Jun | 0 | 0
6-Jun | 0 | 0
7-Jun | 0 | 0
8-Jun | 0 | 0
9-Jun | 0 | 0
10-Jun | 0 | 0
11-Jun | 0 | 0
12-Jun | 0 | 0
13-Jun | 0 | 0
14-Jun | 0 | 0
15-Jun | 0 | 0
16-Jun | 0 | 0
17-Jun | 0 | 0
18-Jun | 0 | 0
19-Jun | 0 | 0
20-Jun | 0 | 0
21-Jun | 0 | 0
22-Jun | 0 | 0
23-Jun | 23 | 0
24-Jun | 0 | 0
25-Jun | 0 | 0
26-Jun | 0 | 0
27-Jun | 0 | 0
28-Jun | 0 | 0
29-Jun | 0 | 0
30-Jun | 0 | 0
1-Jul | 0 | 0
2-Jul | 0 | 0
3-Jul | 0 | 0
4-Jul | 0 | 0
5-Jul | 0 | 0
6-Jul | 0 | 0
7-Jul | 0 | 0
8-Jul | 0 | 0
9-Jul | 0 | 0
10-Jul | 0 | 0
11-Jul | 0 | 0
12-Jul | 0 | 0
13-Jul | 0 | 0
14-Jul | 0 | 0
15-Jul | 0 | 0
16-Jul | 0 | 0
17-Jul | 0 | 0
18-Jul | 0 | 0
19-Jul | 0 | 0
20-Jul | 0 | 0
21-Jul | 0 | 0
22-Jul | 0 | 0
23-Jul | 0 | 0
24-Jul | 0 | 0
25-Jul | 0 | 0
26-Jul | 0 | 0
27-Jul | 0 | 0
28-Jul | 0 | 0
III. Firm monthly transmission for August 2023 - July 2024
The screen-shot below lists the MISO monthly firm transmission available on the MISO system for flows to LGEE for August 2023 through July 2024 (see the "ATC-FIRM" column).
IV. Yearly firm transmission
MISO requires customers seeking long-term transmission service (https://www.misoenergy.org/planning/transmission-planning/long-term-transmission-service-requests/) to apply using OASIS (http://oasis.midwestiso.org/OASIS/MISO). The approval process may include the need to perform a System Impact Study.

## TVA
I. Non-firm hourly transmission for July 28, 2023
The table below lists the hourly non-firm transmission on the TVA system (for flows to LGEE) for the hours of July 28, 2023. This was a high-load summer day when Louisville temperatures reached 96 deg F.
Date | Hour Ending | TVA to LGEE (MW)
2023-07-28 | 1 | 1468
2023-07-28 | 2 | 1147
2023-07-28 | 3 | 992
2023-07-28 | 4 | 919
2023-07-28 | 5 | 901
2023-07-28 | 6 | 721
2023-07-28 | 7 | 984
2023-07-28 | 8 | 683
2023-07-28 | 9 | 558
2023-07-28 | 10 | 592
2023-07-28 | 11 | 552
2023-07-28 | 12 | 595
2023-07-28 | 13 | 1675
2023-07-28 | 14 | 2586
2023-07-28 | 15 | 2585
2023-07-28 | 16 | 2585
2023-07-28 | 17 | 2585
2023-07-28 | 18 | 2585
2023-07-28 | 19 | 2587
2023-07-28 | 20 | 2588
2023-07-28 | 21 | 2590
2023-07-28 | 22 | 2647
2023-07-28 | 23 | 2441
2023-07-28 | 24 | 1818
II. Firm daily transmission for January 1, 2023 - July 28, 2023
The data below details the daily firm transmission available for purchase one day prior on both the TVA and LGEE systems.
Day (2023) | TVA daily firm transmission to LGEE available day ahead (MW) | LGEE daily firm transmission from TVA available day ahead (MW)
1-Jan | 0 | 0
2-Jan | 63 | 1764
3-Jan | 0 | 22
4-Jan | 770 | 0
5-Jan | 1089 | 0
6-Jan | 2186 | 2174
7-Jan | 259 | 0
8-Jan | 0 | 0
9-Jan | 971 | 0
10-Jan | 0 | 0
11-Jan | 0 | 0
12-Jan | 344 | 88
13-Jan | 344 | 88
14-Jan | 0 | 2419
15-Jan | 0 | 2357
16-Jan | 488 | 1463
17-Jan | 0 | 0
18-Jan | 520 | 33
19-Jan | 794 | 25
20-Jan | 999 | 0
21-Jan | 1162 | 0
22-Jan | 670 | 0
23-Jan | 641 | 0
24-Jan | 476 | 0
25-Jan | 131 | 0
26-Jan | 375 | 0
27-Jan | 0 | 0
28-Jan | 400 | 0
29-Jan | 400 | 0
30-Jan | 400 | 0
31-Jan | 400 | 0
1-Feb | 1360 | 0
2-Feb | 0 | 0
3-Feb | 0 | 5
4-Feb | 0 | 0
5-Feb | 0 | 0
6-Feb | 0 | 0
7-Feb | 0 | 0
8-Feb | 0 | 69
9-Feb | 0 | 59
10-Feb | 369 | 2175
11-Feb | 0 | 0
12-Feb | 0 | 1904
13-Feb | 571 | 1899
14-Feb | 1113 | 0
15-Feb | 757 | 0
16-Feb | 757 | 0
17-Feb | 757 | 0
18-Feb | 0 | 0
19-Feb | 647 | 2415
20-Feb | 648 | 5
21-Feb | 667 | 0
22-Feb | 684 | 0
23-Feb | 539 | 0
24-Feb | 539 | 0
25-Feb | 931 | 1807
26-Feb | 760 | 1744
27-Feb | 0 | 1678
28-Feb
1-Mar | 0 | 2008
2-Mar | 0 | 1424
3-Mar | 0 | 1424
4-Mar | 0 | 1348
5-Mar | 115 | 0
6-Mar | 96 | 11
7-Mar | 170 | 53
8-Mar | 0 | 1247
9-Mar | 173 | 951
10-Mar | 202 | 969
11-Mar | 81 | 0
12-Mar | 0 | 1424
13-Mar | 0 | 0
14-Mar | 0 | 0
15-Mar | 0 | 0
16-Mar | 0 | 0
17-Mar | 440 | 0
18-Mar | 0 | 0
19-Mar | 0 | 1424
20-Mar | 0 | 1424
21-Mar | 0 | 0
22-Mar | 29 | 0
23-Mar | 0 | 0
24-Mar | 0 | 1204
25-Mar | 0 | 320
26-Mar | 0 | 215
27-Mar | 0 | 749
28-Mar | 958 | 0
29-Mar | 838 | 1392
30-Mar | 0 | 0
31-Mar | 0 | 0
1-Apr | 0 | 174
2-Apr | 641 | 3
3-Apr | 685 | 0
4-Apr | 0 | 1371
5-Apr | 291 | 0
6-Apr | 0 | 46
7-Apr | 0 | 46
8-Apr | 0 | 745
9-Apr | 0 | 1118
10-Apr | 0 | 646
11-Apr | 0 | 682
12-Apr | 0 | 0
13-Apr | 441 | 0
14-Apr | 0 | 1424
15-Apr | 0 | 1424
16-Apr | 1229 | 173
17-Apr | 1195 | 0
18-Apr | 0 | 0
19-Apr | 853 | 0
20-Apr | 771 | 0
21-Apr | 1039 | 132
22-Apr | 1511 | 23
23-Apr | 1511 | 23
24-Apr | 1511 | 23
25-Apr | 1511 | 23
26-Apr | 1513 | 0
27-Apr | 1451 | 0
28-Apr | 309 | 104
29-Apr | 618 | 184
30-Apr | 0 | 761
1-May | 0 | 0
2-May | 0 | 0
3-May | 1043 | 0
4-May | 1864 | 0
5-May | 0 | 0
6-May | 0 | 0
7-May | 1919 | 12
8-May | 1717 | 0
9-May | 0 | 0
10-May | 1616 | 0
11-May | 1443 | 0
12-May | 1570 | 0
13-May | 1570 | 0
14-May | 1659 | 0
15-May | 1689 | 0
16-May | 0 | 0
17-May | 0 | 0
18-May | 417 | 0
19-May | 417 | 0
20-May | 562 | 703
21-May | 403 | 0
22-May | 0 | 0
23-May | 0 | 0
24-May | 0 | 0
25-May | 0 | 1424
26-May | 0 | 46
27-May | 0 | 883
28-May | 851 | 172
29-May | 194 | 48
30-May
31-May | 1253 | 1424
1-Jun | 0 | 767
2-Jun | 0 | 1125
3-Jun | 0 | 0
4-Jun | 0 | 0
5-Jun | 0 | 0
6-Jun | 0 | 0
7-Jun | 0 | 0
8-Jun | 1320 | 0
9-Jun | 1105 | 65
10-Jun | 1026 | 0
11-Jun | 0 | 0
12-Jun | 0 | 0
13-Jun | 0 | 180
14-Jun | 0 | 0
15-Jun | 1313 | 0
16-Jun | 0 | 420
17-Jun | 0 | 247
18-Jun | 923 | 0
19-Jun | 0 | 0
20-Jun | 0 | 0
21-Jun | 934 | 0
22-Jun | 263 | 0
23-Jun | 882 | 0
24-Jun | 334 | 0
25-Jun | 0 | 0
26-Jun | 0 | 0
27-Jun | 0 | 0
28-Jun | 0 | 0
29-Jun | 0 | 0
30-Jun | 0 | 0
1-Jul | 440 | 0
2-Jul | 471 | 0
3-Jul | 0 | 0
4-Jul | 0 | 0
5-Jul | 0 | 0
6-Jul | 0 | 0
7-Jul | 0 | 0
8-Jul | 0 | 0
9-Jul | 0 | 0
10-Jul | 0 | 0
11-Jul | 861 | 0
12-Jul | 276 | 0
13-Jul | 1239 | 335
14-Jul | 1209 | 236
15-Jul | 1158 | 0
16-Jul | 490 | 0
17-Jul | 1094 | 0
18-Jul | 1094 | 0
19-Jul | 1097 | 0
20-Jul | 1037 | 0
21-Jul | 1266 | 265
22-Jul | 0 | 0
23-Jul | 982 | 0
24-Jul | 0 | 0
25-Jul | 0 | 0
26-Jul | 0 | 0
27-Jul | 924 | 0
28-Jul | 0 | 0
III. Firm monthly transmission for September 2023 - April 2024
The screen-shot below lists the monthly firm transmission available on the TVA system for flows to LGEE for September through December 2023 (see the "Capacity" column).
IV. Yearly firm transmission
TVA requires an application for service (http://www.oatioasis.com/woa/docs/TVA/TVAdocs/TSG FY2023.pdf). A System Impact Study may be required.