## OriginalBid
Portfolio | Retirements | Additions | LOLE (days/10 years) |  |  | LOLH (hours/10 years) |  |  | EUE (MWh/10 years) |  |  | Absolute PVRR ($M) | [5 empty] | PVRR Relative to CPCN Recommended Portfolio ($M) | [7 empty] | PVRR Relative to CPCN Recommended Portfolio less Brown BESS ($M)
|  |  | Summer (Mar-Nov) | Winter (Jan-Feb, Dec) | Full Year | Summer (Mar-Nov) | Winter (Jan-Feb, Dec) | Full Year | Summer (Mar-Nov) | Winter (Jan-Feb, Dec) | Full Year | Low Gas, Mid CTG | Mid Gas, Mid CTG | High Gas, Mid CTG | Low Gas, High CTG | High Gas, Low CTG | High Gas, Current CTG | Low Gas, Mid CTG | Mid Gas, Mid CTG | High Gas, Mid CTG | Low Gas, High CTG | High Gas, Low CTG | High Gas, Current CTG | Avg of Mid CTG | Avg Excl High Gas, Curr CTG | Low Gas, Mid CTG | Mid Gas, Mid CTG | High Gas, Mid CTG | Low Gas, High CTG | High Gas, Low CTG | High Gas, Current CTG | Avg of Mid CTG | Avg Excl High Gas, Curr CTG
a | N/A | N/A | 0.49251 | 0.24354 | 0.73605 | 0.87414 | 0.58367 | 1.4578 | 156.7947 | 123.3133 | 280.108 | 34799.4778 | 39221.933 | 48633.9412 | 35262.7944 | 47074.8337 | 58315.3602 | [8 empty] | 474.1991 | 736.0221 | 1379.1326 | 653.8274 | 885.2476 | 4984.215 | 863.1179 | 825.6858
b | MC1/HF1-2/PR12 | MC5 | 0.10884 | 0.062585 | 0.17143 | 0.1966 | 0.14082 | 0.33741 | 42.7609 | 30.0059 | 72.7668 | 34961.4979 | 39388.6839 | 48728.8346 | 35351.1344 | 47322.572 | 56950.6256 | [8 empty] | 636.2192 | 902.773 | 1474.026 | 742.1674 | 1132.9858 | 3619.4803 | 1004.3394 | 977.6343
c | MC1/HF1-2/PR12 | BR12 | 0.10884 | 0.062585 | 0.17143 | 0.1966 | 0.14082 | 0.33741 | 42.7609 | 30.0059 | 72.7668 | 35026.873 | 39445.7763 | 48792.2012 | 35416.4999 | 47388.1062 | 57047.7956 | [8 empty] | 701.5943 | 959.8654 | 1537.3926 | 807.5329 | 1198.52 | 3716.6504 | 1066.2841 | 1040.981
d | MC1-2/HF1-2/PR12 | MC5 | 0.47279 | 0.22925 | 0.70204 | 0.84829 | 0.58095 | 1.4292 | 160.5395 | 129.1439 | 289.6834 | 34682.4936 | 39123.6578 | 48554.5654 | 35072.1206 | 47215.5747 | 56678.9954 | [8 empty] | 357.2149 | 637.7469 | 1299.7567 | 463.1536 | 1025.9885 | 3347.8501 | 764.9062 | 756.7721
e | MC1-2/HF1-2/PR12 | MC5/Owned Solar | 0.18775 | 0.24217 | 0.42993 | 0.32993 | 0.54217 | 0.8721 | 61.7424 | 117.2011 | 178.9435 | 34873.2152 | 39231.2071 | 48493.6943 | 35252.0083 | 47167.066 | 56468.8134 | [8 empty] | 547.9365 | 745.2962 | 1238.8857 | 643.0413 | 977.4799 | 3137.6682 | 844.0395 | 830.5279
f | MC1-2/HF1-2/PR12 | MC5/Owned Solar/Solar PPAs | 0.02653 | 0.18231 | 0.20884 | 0.039455 | 0.3449 | 0.38435 | 6.6857 | 82.9402 | 89.6258 | 34902.1344 | 39026.9557 | 47732.279 | 35257.789 | 46443.9674 | 55250.7699 | [8 empty] | 576.8556 | 541.0448 | 477.4704 | 648.8221 | 254.3813 | 1919.6247 | 531.7903 | 499.7148
g | MC1-2/HF1-2/PR12 | MC5/Owned Solar/Solar PPAs/Brown BESS | 0.012245 | 0.10748 | 0.11973 | 0.020408 | 0.19252 | 0.21292 | 3.4367 | 38.3242 | 41.7609 | 35036.2878 | 39159.5664 | 47848.5926 | 35391.431 | 46539.0969 | 55353.2196 | 580.5381 | 546.5758 | 498.4377 | 652.2114 | 271.7179 | 1943.3821 | 541.8505 | 509.8962
h | MC1/BR3/HF1-2/PR12 | BR12 | 0.6721 | 0.32449 | 0.99659 | 1.1932 | 0.75986 | 1.953 | 217.2003 | 162.4048 | 379.6051 | 34445.9473 | 38877.8297 | 48300.2672 | 34839.306 | 46956.5967 | 56401.902 | [8 empty] | 120.6686 | 391.9188 | 1045.4586 | 230.3391 | 767.0106 | 3070.7567 | 519.3487 | 511.0791
i | MC1/BR3/HF1-2/PR12 | BR12/Owned Solar | 0.28163 | 0.30748 | 0.58911 | 0.53197 | 0.66802 | 1.2 | 99.1808 | 143.5499 | 242.7307 | 34645.0507 | 39009.8589 | 48252.7936 | 35029.0599 | 46931.7202 | 56234.5757 | [8 empty] | 319.772 | 523.948 | 997.985 | 420.093 | 742.1341 | 2903.4304 | 613.9017 | 600.7864
j | MC1/BR3/HF1-2/PR12 | BR12/Owned Solar/Solar PPAs | 0.033333 | 0.29592 | 0.32925 | 0.048299 | 0.59727 | 0.64557 | 8.5203 | 130.1765 | 138.6968 | 34680.5225 | 38798.0172 | 47490.0801 | 35034.9219 | 46199.9583 | 55004.5616 | [8 empty] | 355.2438 | 312.1063 | 235.2714 | 425.955 | 10.3721 | 1673.4164 | 300.8738 | 267.7897
k | MC1/BR3/HF1-2/PR12 | BR12/Owned Solar/Solar PPAs/Brown BESS | 0.011565 | 0.17347 | 0.18503 | 0.015646 | 0.32177 | 0.33741 | 1.7408 | 72.7219 | 74.4627 | 34812.3365 | 38929.2975 | 47599.3365 | 35168.138 | 46287.1994 | 55104.2873 | 356.5868 | 316.307 | 249.1816 | 428.9184 | 19.8205 | 1694.4499 | 307.3585 | 274.1628
l | MC1-2/BR3/HF1-2/PR12 | MC5 | 2.47 | 0.917 | 3.387 | 4.8496 | 2.4428 | 7.2925 | 1024.604 | 609.9543 | 1634.5584 | 34283.1409 | 38743.6426 | 48321.0184 | 34669.0968 | 47041.2349 | 56199.2726 | [8 empty] | -42.1378 | 257.7317 | 1066.2098 | 60.1298 | 851.6488 | 2868.1273 | 427.2679 | 438.7164
m | MC1-2/BR3/HF1-2/PR12 | MC5/Owned Solar | 1.1292 | 0.84693 | 1.9762 | 2.2088 | 2.1313 | 4.3401 | 425.4272 | 530.8651 | 956.2923 | 34441.688 | 38830.0019 | 48213.8719 | 34819.9135 | 46950.4648 | 55971.0934 | [8 empty] | 116.4093 | 344.091 | 959.0633 | 210.9466 | 760.8787 | 2639.9482 | 473.1878 | 478.2778
n | MC1-2/BR3/HF1-2/PR12 | MC5/Owned Solar/Solar PPAs | 0.19456 | 0.75714 | 0.95169 | 0.29319 | 1.6775 | 1.9707 | 49.9976 | 399.1968 | 449.1944 | 34407.0067 | 38536.3053 | 47333.5541 | 34760.6981 | 46101.5921 | 54684.8305 | [8 empty] | 81.728 | 50.3944 | 78.7455 | 151.7311 | -87.994 | 1353.6853 | 70.2893 | 54.921
o | MC1-2/BR3/HF1-2/PR12 | MC5/Owned Solar/Solar PPAs/Brown BESS | 0.095237 | 0.55374 | 0.64897 | 0.14354 | 1.2211 | 1.3646 | 20.6407 | 271.8529 | 292.4936 | 34540.1358 | 38664.7933 | 47429.5153 | 34893.7487 | 46169.8578 | 54793.0476 | 84.3861 | 51.8027 | 79.3604 | 154.5291 | -97.5212 | 1383.2102 | 71.8497 | 54.5114
p | MC1/BR3/HF1-2/PR12, MC2/GH2 Ozone | BR12 | 16.0216 | 0.34081 | 16.3625 | 36.2154 | 0.78435 | 36.9997 | 8672.3898 | 182.8822 | 8855.272 | 34403.9755 | 38873.3288 | 48392.5804 | 34775.784 | 47117.8661 | 56249.5476 | [8 empty] | 78.6968 | 387.4179 | 1137.7718 | 166.8171 | 928.2799 | 2918.4024 | 534.6288 | 539.7967
q | MC1/BR3/HF1-2/PR12, MC2/GH2 Ozone | BR12/Owned Solar | 8.3115 | 0.30476 | 8.6163 | 18.4434 | 0.69251 | 19.1359 | 4105.8386 | 150.4763 | 4256.3149 | 34587.9899 | 38988.9348 | 48320.9508 | 34955.777 | 47058.9629 | 56045.707 | [8 empty] | 262.7111 | 503.0239 | 1066.1422 | 346.81 | 869.3768 | 2714.5618 | 610.6257 | 609.6128
r | MC1/BR3/HF1-2/PR12, MC2/GH2 Ozone | BR12/Owned Solar/Solar PPAs | 1.6435 | 0.27007 | 1.9136 | 2.6435 | 0.54761 | 3.1911 | 517.055 | 115.0317 | 632.0868 | 34563.6939 | 38705.1709 | 47455.3115 | 34913.5668 | 46213.3618 | 54789.0318 | [8 empty] | 238.4152 | 219.26 | 200.5029 | 304.5998 | 23.7757 | 1457.8866 | 219.3927 | 197.3107
s | MC1/BR3/HF1-2/PR12, MC2/GH2 Ozone | BR12/Owned Solar/Solar PPAs/Brown BESS | 0.91156 | 0.16326 | 1.0748 | 1.4428 | 0.33061 | 1.7735 | 266.3346 | 72.2525 | 338.5871 | 34698.0911 | 38834.2654 | 47556.8779 | 35045.9958 | 46287.8478 | 54897.6488 | 242.3414 | 221.2748 | 206.723 | 306.7762 | 20.4689 | 1487.8113 | 223.4464 | 199.5169
t | MC1-2/BR3/HF1-2/PR12, GH2 Ozone | MC5/Owned Solar/Solar PPAs/Brown BESS | 0.90884 | 0.52449 | 1.4333 | 1.4333 | 1.2034 | 2.6367 | 259.2061 | 308.9853 | 568.1914 | 34464.8458 | 38621.5097 | 47421.697 | 34811.7942 | 46181.8889 | 54697.1264 | 9.0961 | 8.5191 | 71.5421 | 72.5745 | -85.49 | 1287.2889 | 29.7191 | 15.2484
u | MC1-2/BR3/HF1-2/PR12, GH2 Ozone | BR12/Owned Solar/Solar PPAs/Brown BESS | 0.90884 | 0.52449 | 1.4333 | 1.4333 | 1.2034 | 2.6367 | 259.2061 | 308.9853 | 568.1914 | 34501.2051 | 38665.266 | 47465.448 | 34849.3858 | 46227.6426 | 54772.6231 | 45.4553 | 52.2754 | 115.2931 | 110.1662 | -39.7363 | 1362.7856 | 71.008 | 56.6908
|  |  | LOLE (days/10 years) |  |  | LOLH (hours/10 years) |  |  | EUE (MWh/10 years) |  |  | Absolute PVRR ($M)
|  |  | Summer (Mar-Nov) | Winter (Jan-Feb, Dec) | Full Year | Summer (Mar-Nov) | Winter (Jan-Feb, Dec) | Full Year | Summer (Mar-Nov) | Winter (Jan-Feb, Dec) | Full Year | Low Gas, Mid CTG | Mid Gas, Mid CTG | High Gas, Mid CTG | Low Gas, High CTG | High Gas, Low CTG | High Gas, Current CTG
|  | Portfolio 8 from SB4 Analysis (CPCN Recommended Portfolio; PVRR $M) | 0.03 | 0.25 | 0.28 | 0.03 | 0.54 | 0.57 | 5 | 126 | 131 | 34455.7497 | 38612.9906 | 47350.1549 | 34739.2196 | 46267.3789 | 53409.8375
[12 empty] | Low Gas, Mid CTG | Mid Gas, Mid CTG | High Gas, Mid CTG | Low Gas, High CTG | High Gas, Low CTG | High Gas, Current CTG
[11 empty] | Table 22, Impact of Brown BESS on PVRR from Mar-2023 Update to Exhibit SAW-1 ($M) | 130.471 | 127.0797 | 95.3463 | 130.2527 | 77.7928 | 78.6923
PVRR Observations:
1. These results reflect the estimated capital costs in this proceeding and assume no cost for CO2 emissions.
2. On average over the three Mid CTG fuel price scenarios (see columns Z and AH), the Companies’ proposed portfolio is favorable to all of the alternative portfolios.

## UpdatedBid
CONFIDENTIAL INFORMATION HIGHLIGHTED
| Portfolio | Retirements | Additions | LOLE (days/10 years) |  |  | LOLH (hours/10 years) |  |  | EUE (MWh/10 years) |  |  | Absolute PVRR ($M) | [5 empty] | PVRR Relative to CPCN Recommended Portfolio ($M) | [7 empty] | PVRR Relative to CPCN Recommended Portfolio less Brown BESS ($M)
|  |  |  | Summer (Mar-Nov) | Winter (Jan-Feb, Dec) | Full Year | Summer (Mar-Nov) | Winter (Jan-Feb, Dec) | Full Year | Summer (Mar-Nov) | Winter (Jan-Feb, Dec) | Full Year | Low Gas, Mid CTG | Mid Gas, Mid CTG | High Gas, Mid CTG | Low Gas, High CTG | High Gas, Low CTG | High Gas, Current CTG | Low Gas, Mid CTG | Mid Gas, Mid CTG | High Gas, Mid CTG | Low Gas, High CTG | High Gas, Low CTG | High Gas, Current CTG | Avg of Mid CTG | Avg Excl High Gas, Curr CTG | Low Gas, Mid CTG | Mid Gas, Mid CTG | High Gas, Mid CTG | Low Gas, High CTG | High Gas, Low CTG | High Gas, Current CTG | Avg of Mid CTG | Avg Excl High Gas, Curr CTG
| a | N/A | N/A | 0.49251 | 0.24354 | 0.73605 | 0.87414 | 0.58367 | 1.4578 | 156.7947 | 123.3133 | 280.108 | 34799.4778 | 39221.933 | 48633.9412 | 35262.7944 | 47074.8337 | 58315.3602
| b | MC1/HF1-2/PR12 | MC5 | 0.10884 | 0.062585 | 0.17143 | 0.1966 | 0.14082 | 0.33741 | 42.7609 | 30.0059 | 72.7668
| c | MC1/HF1-2/PR12 | BR12 | 0.10884 | 0.062585 | 0.17143 | 0.1966 | 0.14082 | 0.33741 | 42.7609 | 30.0059 | 72.7668
| d | MC1-2/HF1-2/PR12 | MC5 | 0.47279 | 0.22925 | 0.70204 | 0.84829 | 0.58095 | 1.4292 | 160.5395 | 129.1439 | 289.6834
| e | MC1-2/HF1-2/PR12 | MC5/Owned Solar | 0.18775 | 0.24217 | 0.42993 | 0.32993 | 0.54217 | 0.8721 | 61.7424 | 117.2011 | 178.9435
| f | MC1-2/HF1-2/PR12 | MC5/Owned Solar/Solar PPAs | 0.02653 | 0.18231 | 0.20884 | 0.039455 | 0.3449 | 0.38435 | 6.6857 | 82.9402 | 89.6258
| g | MC1-2/HF1-2/PR12 | MC5/Owned Solar/Solar PPAs/Brown BESS | 0.012245 | 0.10748 | 0.11973 | 0.020408 | 0.19252 | 0.21292 | 3.4367 | 38.3242 | 41.7609
| h | MC1/BR3/HF1-2/PR12 | BR12 | 0.6721 | 0.32449 | 0.99659 | 1.1932 | 0.75986 | 1.953 | 217.2003 | 162.4048 | 379.6051
| i | MC1/BR3/HF1-2/PR12 | BR12/Owned Solar | 0.28163 | 0.30748 | 0.58911 | 0.53197 | 0.66802 | 1.2 | 99.1808 | 143.5499 | 242.7307
| j | MC1/BR3/HF1-2/PR12 | BR12/Owned Solar/Solar PPAs | 0.033333 | 0.29592 | 0.32925 | 0.048299 | 0.59727 | 0.64557 | 8.5203 | 130.1765 | 138.6968
| k | MC1/BR3/HF1-2/PR12 | BR12/Owned Solar/Solar PPAs/Brown BESS | 0.011565 | 0.17347 | 0.18503 | 0.015646 | 0.32177 | 0.33741 | 1.7408 | 72.7219 | 74.4627
| l | MC1-2/BR3/HF1-2/PR12 | MC5 | 2.47 | 0.917 | 3.387 | 4.8496 | 2.4428 | 7.2925 | 1024.604 | 609.9543 | 1634.5584
| m | MC1-2/BR3/HF1-2/PR12 | MC5/Owned Solar | 1.1292 | 0.84693 | 1.9762 | 2.2088 | 2.1313 | 4.3401 | 425.4272 | 530.8651 | 956.2923
| n | MC1-2/BR3/HF1-2/PR12 | MC5/Owned Solar/Solar PPAs | 0.19456 | 0.75714 | 0.95169 | 0.29319 | 1.6775 | 1.9707 | 49.9976 | 399.1968 | 449.1944
| o | MC1-2/BR3/HF1-2/PR12 | MC5/Owned Solar/Solar PPAs/Brown BESS | 0.095237 | 0.55374 | 0.64897 | 0.14354 | 1.2211 | 1.3646 | 20.6407 | 271.8529 | 292.4936
| p | MC1/BR3/HF1-2/PR12, MC2/GH2 Ozone | BR12 | 16.0216 | 0.34081 | 16.3625 | 36.2154 | 0.78435 | 36.9997 | 8672.3898 | 182.8822 | 8855.272
| q | MC1/BR3/HF1-2/PR12, MC2/GH2 Ozone | BR12/Owned Solar | 8.3115 | 0.30476 | 8.6163 | 18.4434 | 0.69251 | 19.1359 | 4105.8386 | 150.4763 | 4256.3149
| r | MC1/BR3/HF1-2/PR12, MC2/GH2 Ozone | BR12/Owned Solar/Solar PPAs | 1.6435 | 0.27007 | 1.9136 | 2.6435 | 0.54761 | 3.1911 | 517.055 | 115.0317 | 632.0868
| s | MC1/BR3/HF1-2/PR12, MC2/GH2 Ozone | BR12/Owned Solar/Solar PPAs/Brown BESS | 0.91156 | 0.16326 | 1.0748 | 1.4428 | 0.33061 | 1.7735 | 266.3346 | 72.2525 | 338.5871
| t | MC1-2/BR3/HF1-2/PR12, GH2 Ozone | MC5/Owned Solar/Solar PPAs/Brown BESS | 0.90884 | 0.52449 | 1.4333 | 1.4333 | 1.2034 | 2.6367 | 259.2061 | 308.9853 | 568.1914
| u | MC1-2/BR3/HF1-2/PR12, GH2 Ozone | BR12/Owned Solar/Solar PPAs/Brown BESS | 0.90884 | 0.52449 | 1.4333 | 1.4333 | 1.2034 | 2.6367 | 259.2061 | 308.9853 | 568.1914
|  |  |  | LOLE (days/10 years) |  |  | LOLH (hours/10 years) |  |  | EUE (MWh/10 years) |  |  | Absolute PVRR ($M)
|  |  |  | Summer (Mar-Nov) | Winter (Jan-Feb, Dec) | Full Year | Summer (Mar-Nov) | Winter (Jan-Feb, Dec) | Full Year | Summer (Mar-Nov) | Winter (Jan-Feb, Dec) | Full Year | Low Gas, Mid CTG | Mid Gas, Mid CTG | High Gas, Mid CTG | Low Gas, High CTG | High Gas, Low CTG | High Gas, Current CTG
|  |  | Portfolio 8 from SB4 Analysis (CPCN Recommended Portfolio; PVRR $M) | 0.03 | 0.25 | 0.28 | 0.03 | 0.54 | 0.57 | 5 | 126 | 131
[13 empty] | Low Gas, Mid CTG | Mid Gas, Mid CTG | High Gas, Mid CTG | Low Gas, High CTG | High Gas, Low CTG | High Gas, Current CTG
[12 empty] | Table 22, Impact of Brown BESS on PVRR from Mar-2023 Update to Exhibit SAW-1 ($M) | 130.471 | 127.0797 | 95.3463 | 130.2527 | 77.7928 | 78.6923