## Sheet1
Incremental Changes in Total and Dispatchable Capacity (MW)
Fuel Price Scenario (Gas, CTG Price Ratio) |  | Net Summer/Winter Capacity |  |  | Dispatchable Summer/Winter Range (Net Max less Net Min) |  |  | Retired Capacity |  | New Capacity |  | Net Capacity |  | Retired Dispatchable Range |  | New Dispatchable Range |  | Net Dispatchable Range
|  | Retired Resources | New Resources | Diff: New less Retired | Retired Resources | New Resources | Diff: New less Retired | Summer | Winter | Summer | Winter | Summer | Winter | Summer | Winter | Summer | Winter | Summer | Winter
Expected CTG | Low Gas, Mid CTG Ratio | 1,576/1,565 | 1,419/1,282 | (157)/(283) | 864/845 | 790/760 | (74)/(85) | 1576 | 1565 | 1419 | 1282 | -157 | -283 | 864 | 845 | 790 | 760 | -74 | -85
| Mid Gas, Mid CTG Ratio | 1,576/1,565 | 1,501/1,282 | (75)/(283) | 864/845 | 790/760 | (74)/(85) | 1576 | 1565 | 1501 | 1282 | -75 | -283 | 864 | 845 | 790 | 760 | -74 | -85
| High Gas, Mid CTG Ratio | 1,095/1,083 | 1,299/641 | 204/(442) | 608/588 | 395/380 | (213)/(208) | 1095 | 1083 | 1299 | 641 | 204 | -442 | 608 | 588 | 395 | 380 | -213 | -208
Atypical CTG | Low Gas, High CTG Ratio | 1,576/1,565 | 1,419/1,282 | (157)/(283) | 864/845 | 790/760 | (74)/(85) | 1576 | 1565 | 1419 | 1282 | -157 | -283 | 864 | 845 | 790 | 760 | -74 | -85
| High Gas, Low CTG Ratio | 1,095/1,083 | 1,100/641 | 5/(442) | 608/588 | 395/380 | (213)/(208) | 1095 | 1083 | 1100 | 641 | 5 | -442 | 608 | 588 | 395 | 380 | -213 | -208
| High Gas, Current CTG Ratio | 1,576/1,565 | 3,244/1,282 | 1,668/(283) | 864/845 | 790/760 | (74)/(85) | 1576 | 1565 | 3244 | 1282 | 1668 | -283 | 864 | 845 | 790 | 760 | -74 | -85