## Sheet1
MEASURE BASED SAVINGS AND COSTS
Measures aligned with potential PAYS participant customer in KY | Full Project Cost Estimate | Annual kWh Savings | kW savings | Source Data
DI-Low-Flow Showerhead | 16.0792 | 448.1901 | 0.029824 | LG&E and KU Data: CAC (nonprofit): The cost for their standard 1.5 GPM is $13.72. SEEL: The cost for their standard 1.5 GPM is $18.00. Nexant: The cost for their standard 1.5 GPM is $6.87. Scaled up by 25% to account for 2022 dollars
Appliance-Dryer - ENERGY STAR | 716 | 160.2341 | 0.020139 | Illinois TRM v 11
HVAC-DWH-Central Air Conditioner - ENERGY STAR | 3077 | 80.7913 | 0.19584 | Illinois TRM v 11. SEER 16 952 per ton plus 221, assume 3 tons
HVAC-DWH-Heat Pump Water Heater - ENERGY STAR | 2460.25 | 1663.4995 | 0.11069 | Illinois TRM v 11
Weatherization-Ceiling Insulation (KY) - Code | 1778.5342 | 289.9551 | 0.11607 | RSMeans scaled up by 25% to account for 2022 dollars
Estimated Totals | 8047.8634 | 2642.6701 | 0.47257
Full Project Cost per Mtn Assoc and used in analysis | 7592