## Sheet1
Service Area | Asset Desc | Orig. Cost
KY-Delaplain | Property Acquistion | 22000
KY-Airview | Fencing | 25000
KY-Airview | Plant Steel Cleanup | 4539.26
KY-Airview | Safety Rails/Walkways for Aeration tank and Clarifier | 3367.25
KY-Airview | Safety Rails/Walkways for Aeration tank and Clarifier | 6088.88
KY-Airview | Safety Rails/Walkways for Aeration tank and Clarifier | 26168.26
KY-Airview | Site Cleanup | 735
KY-Airview | Site Cleanup | 19765.38
KY-Airview | Sludge Holding Tank Renovation | 7000
KY-Airview | Treatment & Disposal Equipment | 1072.49
KY-Brocklyn | equipment/operator rate, pumping of lagoon, disposal fee | 226484.87
KY-Brocklyn | New Control Panel | 9035.87
KY-Brocklyn | New Walkway | 6438.04
KY-Brocklyn | Site Cleanup | 4043.08
KY-Carriage Park | Access Road | 13403
KY-Fox Run | Built new Shed | 3129.94
KY-Fox Run | Fencing & Road Updates | 6778.28
KY-Fox Run | Plant & Site Cleanup | 3768.46
KY-Fox Run | Site work Cleanup | 22203.04
KY-Golden Acres | Concrete Pad for Blower | 2766.66
KY-Golden Acres | patch cracks/add concrete around colvert & driveway | 2612.52
KY-Golden Acres | Rock for Road | 6447.12
KY-Golden Acres | Sitework | 1494.24
KY-Great Oaks | Gate | 2221
KY-Great Oaks | painting steps & handrails | 980
KY-Great Oaks | Plant structure upgrades - paint, tank coating, floor work | 6600.47
KY-Great Oaks | Refurbish plant grounds | 1012.5
KY-Great Oaks | Sludge Holding Tank | 17136
KY-Herrington Haven | Gravel Driveway | 2000
KY-Herrington Haven | Structural Grating & Hand Rails | 4000
KY-Kingswood | Paint & Weld Handrails | 2485
KY-Kingswood | Plant Structure Upgrades | 6771.76
KY-Kingswood | Plant Structure Upgrades | 10201.13
KY-Kingswood | Site work cleanup | 5812.25
KY-Kingswood | Sitework | 7822.16
KY-Lake Columbia | Site improvements | 12881.85
KY-Lake Columbia | Site Work; fence, paint tank | 24867.89
KY-Lake Columbia | Sludge Holding Tank & Blower | 30986
KY-Lake Columbia | Upgrade to Plant Structure | 843.06
KY-Lake Columbia | Upgrade to Plant Structure | 8138.25
KY-LH Treatment | Safety Rails | 614.62
KY-LH Treatment | Site Work | 2532
KY-Persimmon Ridge | Fencing | 6605
KY-Persimmon Ridge | Gravel Road Repair | 8843.5
KY-Persimmon Ridge | install gate & put fence around perimeter | 5470.95
KY-Persimmon Ridge | Site Work | 4889.01
KY-Randview | Lift Station 1 | 10000
KY-Randview | Road Repair | 1098.48
KY-River Bluffs | Bar Grating, riprap, construction materials | 62113.82
KY-River Bluffs | Grading/Cleanup | 15000
KY-River Bluffs | Installed conduit and lighting over aeration two | 6856.18
KY-River Bluffs | new cross supports & grating on digester | 17529.1
KY-River Bluffs | Operations | 2575
KY-River Bluffs | Repair Building | 4000
KY-River Bluffs | Site Cleanup | 1440.12
KY-River Bluffs | Structural steel and cat walks | 25265
KY-Timberland | Site Work | 560
KY-Timberland | Site work | 28233.96
KY-Timberland | Treatment Facility Repairs | 60935
KY-Woodland Acres | Grating to Eliminate Fall Hazard | 1500
KY-Woodland Acres | Reseeding aeration bay with seed sludge | 1390
KY-Airview | Manhole Risers | 19742.71
KY-Airview | Collection System Repair | 19031.46
KY-Airview | Collection System Repair | 14609.91
KY-Brocklyn | Jet Sewer Lines | 6392.6
KY-Fox Run | LS Repair | 16629.16
KY-Golden Acres | Build LS Control Panels | 4179.71
KY-Golden Acres | Collection System Repair | 15811
KY-Golden Acres | Smoke test TREKK | 5316.28
KY-Great Oaks | LS Refurbishment | 15049.45
KY-Great Oaks | Ran push camera in sewer lines | 2335
KY-Great Oaks | Refurbish LS/clairifier | 1820
KY-Great Oaks | Site work, Lateral repair | 3480
KY-Great Oaks | Weld and installed lift station force main | 4987.96
KY-Kingswood | Check Valves | 700
KY-Kingswood | Recondition sewer lines/LS | 10085.68
KY-Lake Columbia | Manhole/LS Project | 1448
KY-Lake Columbia | Refurbish and jet sewer lines | 18510.04
KY-Persimmon Ridge | Remote Monitoring Equipment | 825.02
KY-Persimmon Ridge | LS work | 5012.58
KY-Persimmon Ridge | Manhole/LS Project | 1203
KY-River Bluffs | LS Work | 6821.37
KY-Timberland | LS Rehab | 15464.34
KY-Fox Run | Repair Leaks | 4962.32
KY-Lake Columbia | Pump Holding Tank at lift station | 1365
KY-LH Treatment | Clean Collection System | 18729.43
KY-Persimmon Ridge | Install manhole risers | 1120
KY-Golden Acres | Flow Monitor | 7898.73
KY-Timberland | Flowmeter | 3405.35
KY-Airview | New Motor-Starter for LS | 3583.88
KY-Airview | New Motor-Starter for Pump | 635
KY-Airview | Pump | 932.5
KY-Airview | Pumping Equipment | 9047.09
KY-Airview | Pumping Equipment | 1223.19
KY-Brocklyn | Pump | 5363.84
KY-Delaplain | Pump | 23285.39
KY-Fox Run | Install Pump Station | 28168.13
KY-Fox Run | Refurbish Pump | 620
KY-Golden Acres | New Pump | 3878.69
KY-Great Oaks | Pump for LS | 2676.49
KY-Kingswood | LS Pump | 3183.24
KY-Kingswood | Pump | 10921.24
KY-Persimmon Ridge | Capacitor, check pumps and lift stations | 1681.13
KY-Persimmon Ridge | Rebuilt 2 pumps | 31442.45
KY-River Bluffs | LS pump failed- pump & haul from station | 6474.51
KY-River Bluffs | Pump | 5040.24
KY-River Bluffs | Sludge tank Work | 21504.19
KY-Springcrest | Pump Replacement | 4627
KY-Timberland | LS Pump | 6565.41
KY-Timberland | Unclog LS Manhole | 1187.5
KY-LH Treatment | Site Work | 14784
KY-Randview | Site Work | 2500
KY-Airview | Clear Lagoon Berm | 35000
KY-Airview | Aeration system & Blower work | 2610.25
KY-Airview | Blower Repair | 5560.19
KY-Airview | Plant Improvements, Paint, install new bar screen | 9287.84
KY-Airview | Treatment & Disposal Equipment | 10018.61
KY-Airview | Treatment & Disposal Equipment | 867.54
KY-Airview | Upgrades to plant | 9251.16
KY-Airview | Aeration Equipment Repair | 2164.16
KY-Airview | Aeration Equipment Repair | 2514.99
KY-Airview | Aeration Equipment Repair | 1439.58
KY-Airview | Aeration Equipment Repair | 3544.76
KY-Brocklyn | Aeration System & Blower Parts & Control Panel | 14615.48
KY-Brocklyn | Bar Grating | 4082.55
KY-Brocklyn | Blower | 6995.46
KY-Brocklyn | Installed Blower | 2306.19
KY-Brocklyn | New Blower | 21011.21
KY-Fox Run | Blower/Pump Refurb | 24960.6
KY-Fox Run | Blower/Pump Refurb | 21100.77
KY-Golden Acres | Blower + New control panel | 19490.47
KY-Golden Acres | D.O. Aeration | 2245
KY-Golden Acres | New main in control panel, replace motor pulleys, | 8143.13
KY-Golden Acres | Pipes, Plugs, Panel, Timing Range | 3447.62
KY-Great Oaks | Blower + equipment/labor | 16545.84
KY-Great Oaks | Blowers | 15000
KY-Great Oaks | Build new Aeration System | 8560.01
KY-Great Oaks | Cleaned Clarifiers | 6806.81
KY-Great Oaks | Refurbish digester | 25744.38
KY-Great Oaks | Refurbish sludge holding/pumping equip | 10088.13
KY-Kingswood | Diffusers | 13076
KY-Kingswood | new clarifier skimmer arm | 10490
KY-Kingswood | Rebuild Blower | 11500.14
KY-Kingswood | Site Renovations/Replace Skimmer Motor | 4250.25
KY-Kingswood | Startup Ops & Plant Eval | 10250.14
KY-Lake Columbia | Aeration Install | 4637
KY-Lake Columbia | Baffle reconstruction, new wiring, new Weir | 33923.03
KY-Lake Columbia | Disinfection Equipment Install Bar Screen | 12315.46
KY-Lake Columbia | Motor for Blower | 5062
KY-LH Treatment | Chemical Tank | 9082.36
KY-LH Treatment | Digester Improvements | 4712.49
KY-LH Treatment | Repair Blower/Basin | 9045.67
KY-Persimmon Ridge | Aerator | 49818.91
KY-Persimmon Ridge | Lagoon Baffle Repair | 4993
KY-Persimmon Ridge | Lagoon reconditioning | 1165
KY-Persimmon Ridge | Replace Chemical Discharge | 8778.89
KY-River Bluffs | Aeration | 35000
KY-River Bluffs | Aeration/Digester Installation | 7625
KY-River Bluffs | Assemble Digester Air Manifold | 1100
KY-River Bluffs | Blowers | 20000
KY-River Bluffs | Clean Contact Tank | 9765
KY-River Bluffs | Grinder Pump | 8869.75
KY-Timberland | Blowers & Diffusers | 25000
KY-Great Oaks | Yard Piping | 3446
KY-Golden Acres | Effluent Pipe Replacement | 22240
KY-Airview | Effluent Lines | 652.5
KY-Airview | Foundation/Brackets/Conduit | 1887.09
KY-Airview | Installed Gravity Effluent at Plant | 3583.88
KY-Airview | Outfall sewer lines | 520
KY-Airview | Rework facility Outflow | 1212.07
KY-River Bluffs | Reinstalled on pump with rail brackets, Hydromatic 5HP | 6348.5
KY-Kingswood | Remote Monitoring Equipment | 6256.09
KY-Airview | Remote Monitoring Equipment | 9084.92
KY-Airview | Remote Monitoring Equipment | 2979.1
KY-Airview | Remote Monitoring Equipment | 2979.1
KY-Airview | Remote Monitoring Equipment | 7001.47
KY-Brocklyn | Remote Monitoring Equipment | 3087.74
KY-Brocklyn | Remote Monitoring Equipment | 1174.72
KY-Brocklyn | Remote Monitoring Equipment | 2843.72
KY-Delaplain | Remote Monitoring Equipment | 3111.59
KY-Delaplain | Remote Monitoring Equipment | 3111.59
KY-Delaplain | Remote Monitoring Equipment | 3111.59
KY-Delaplain | Remote Monitoring Equipment | 3111.59
KY-Delaplain | Remote Monitoring Equipment | 3111.59
KY-Delaplain | Remote Monitoring Equipment | 3111.59
KY-Fox Run | Remote Monitoring Equipment | 6291.1
KY-Fox Run | Remote Monitoring Equipment | 4558.01
KY-Golden Acres | Remote Monitoring Equipment | 6371.1
KY-Great Oaks | Remote Monitoring Equipment | 4195.04
KY-Great Oaks | Remote Monitoring Equipment | 4619.9
KY-Herrington Haven | Remote Monitoring Equipment | 2965.7
KY-Lake Columbia | Remote Monitoring Equipment | 1554.28
KY-Lake Columbia | Remote Monitoring Equipment | 1310
KY-LH Treatment | Remote Monitoring Equipment | 4184.16
KY-Persimmon Ridge | Remote Monitoring Equipment | 2880
KY-Persimmon Ridge | Remote Monitoring Equipment | 22097.88
KY-Persimmon Ridge | Remote Monitoring Equipment | 4025.18
KY-River Bluffs | Remote Monitoring Equipment | 29717.95
KY-Springcrest | Remote Monitoring Equipment | 3782.14
KY-Timberland | Remote Monitoring Equipment | 3088.17
KY-Woodland Acres | Remote Monitoring Equipment | 2965.7
KY-Kingswood | Remote Monitoring Equipment | 5000