## Item 2
LICKING VALLEY RECC
CASE NO. 2023-00014
Page 1 of 2
CALCULATION OF 12-MONTH AVERAGE LINE LOSS BY MONTH | [5 empty] | RECONCILIATION
12-MONTH
| KWH |  |  | KWH | AVG |  | Unrounded
| PURCHASED | KWH SOLD | COOP USE | LOSSES | LINE LOSS | Form A | Form A | Difference
| 251252947 | 235596967 | 151932 | 15504048 | 6.171% | 6.171% | 6.171% | -7.005e-06%
2019-11-30 | 23521161 | 22738830 | 16350 | 765981
2020-11-30 | 20166653 | 21791408 | 13485 | -1638240
| 247898439 | 234649545 | 149067 | 13099827 | 5.284% | 5.284% | 5.284% | -4.764e-05%
2019-12-31 | 25345598 | 23209428 | 19668 | 2116502
2020-12-31 | 28065686 | 26458538 | 20930 | 1586218
| 250618527 | 237898655 | 150329 | 12569543 | 5.015% | 5.015% | 5.015% | 8.538e-06%
2020-01-31 | 25001942 | 23579383 | 18284 | 1404275
2021-01-28 | 28722100 | 28629392 | 21458 | 71250
| 254338685 | 242948664 | 153503 | 11236518 | 4.418% | 4.418% | 4.418% | 3.509e-05%
2020-02-28 | 23799444 | 21731722 | 23446 | 2044276
2021-02-28 | 26636618 | 22889782 | 24584 | 3722252
| 257175859 | 244106724 | 154641 | 12914494 | 5.022% | 5.022% | 5.022% | -4.126e-05%
2020-03-31 | 19502095 | 17106816 | 15261 | 2380018
2021-03-31 | 20716968 | 17739141 | 15005 | 2962822
| 258390732 | 244739049 | 154385 | 13497298 | 5.224% | 5.224% | 5.224% | -1.071e-07%
2020-04-30 | 17517704 | 16758922 | 12321 | 746461
2021-04-30 | 17959722 | 15965554 | 11648 | 1982520
| 258832750 | 243945681 | 153712 | 14733357 | 5.692% | 5.692% | 5.692% | 3.06e-05%
2020-05-31 | 17828331 | 17691607 | 9104 | 127620
2021-05-31 | 16875827 | 16765709 | 6500 | 103618
| 257880246 | 243019783 | 151108 | 14709355 | 5.704% | 5.704% | 5.704% | 4.795e-05%
2020-06-30 | 18829016 | 19098939 | 5946 | -275869
2021-06-30 | 19269495 | 19156276 | 6940 | 106279
| 258320725 | 243077120 | 152102 | 15091503 | 5.842% | 5.842% | 5.842% | -4.274e-05%
2020-07-31 | 24358181 | 22281000 | 8297 | 2068884
2021-07-31 | 21704334 | 20697504 | 7836 | 998994
| 255666878 | 241493624 | 151641 | 14021613 | 5.484% | 5.484% | 5.484% | 2.91e-05%
2020-08-31 | 21707660 | 20123288 | 9101 | 1575271
2021-08-31 | 22292995 | 19953873 | 9275 | 2329847
| 256252213 | 241324209 | 151815 | 14776189 | 5.766% | 5.766% | 5.766% | -3.214e-05%
2020-09-30 | 17364270 | 14729765 | 6394 | 2628111
2021-09-30 | 17200794 | 15830973 | 6568 | 1363253
| 256088737 | 242425417 | 151989 | 13511331 | 5.276% | 5.276% | 5.276% | 3.485e-05%
2020-10-31 | 16477545 | 16547267 | 7760 | -77482
2021-10-31 | 16792199 | 17655242 | 7591 | -870634
| 256403391 | 243533392 | 151820 | 12718179 | 4.96% | 4.96% | 4.96% | 2.262e-05%
2020-11-30 | 20166653 | 21791408 | 13485 | -1638240
2021-11-30 | 23115257 | 22026861 | 14156 | 1074240
| 259351995 | 243768845 | 152491 | 15430659 | 5.95% | 5.95% | 5.95% | -2.563e-06%
2020-12-31 | 28065686 | 26458538 | 20930 | 1586218
2021-12-31 | 22945100 | 23939801 | 15459 | -1010160
| 254231409 | 241250108 | 147020 | 12834281 | 5.048% | 5.048% | 5.048% | -3.273e-05%
2021-01-31 | 28722100 | 28629392 | 21458 | 71250
2022-01-31 | 32056628 | 29843400 | 23867 | 2189361
| 257565937 | 242464116 | 149429 | 14952392 | 5.805% | 5.805% | 5.805% | -3.236e-05%
2021-02-28 | 26636618 | 22889782 | 24584 | 3722252
2022-02-28 | 24572212 | 20365193 | 17664 | 4189355
| 255501531 | 239939527 | 142509 | 15419495 | 6.035% | 6.035% | 6.035% | -8.765e-06%
2021-03-31 | 20716968 | 17739141 | 15005 | 2962822
2022-03-31 | 21135132 | 19970444 | 13860 | 1150828
| 255919695 | 242170830 | 141364 | 13607501 | 5.317% | 5.317% | 5.317% | -1.994e-06%
2021-04-30 | 17959722 | 15965554 | 11648 | 1982520
2022-04-30 | 17694953 | 15088411 | 11020 | 2595522
| 255654926 | 241293687 | 140736 | 14220503 | 5.562% | 5.562% | 5.562% | -1.823e-05%
2021-05-31 | 16875827 | 16765709 | 6500 | 103618
2022-05-31 | 16920784 | 17014634 | 4169 | -98019
Page 2 of 2
CALCULATION OF 12-MONTH AVERAGE LINE LOSS BY MONTH | [5 empty] | RECONCILIATION
12-MONTH
| KWH |  |  | KWH | AVG |  | Unrounded
| PURCHASED | KWH SOLD | COOP USE | LOSSES | LINE LOSS | Form A | Form A | Difference
| 255699883 | 241542612 | 138405 | 14018866 | 5.483% | 5.482% | 5.482% | 4.69e-05%
2021-06-30 | 19269495 | 19156276 | 6940 | 106279
2022-06-30 | 20078874 | 20084136 | 8013 | -13275
| 256509262 | 242470472 | 139478 | 13899312 | 5.419% | 5.419% | 5.419% | 3.943e-05%
2021-07-31 | 21704334 | 20697504 | 7836 | 998994
2022-07-31 | 22475792 | 21810006 | 8596 | 657190
| 257280720 | 243582974 | 140238 | 13557508 | 5.27% | 5.269% | 5.269% | 3.905e-05%
2021-08-31 | 22292995 | 19953873 | 9275 | 2329847
2022-08-31 | 21598069 | 19041678 | 7593 | 2548798
| 256585794 | 242670779 | 138556 | 13776459 | 5.369% | 5.369% | 5.369% | 4.331e-05%
2021-09-30 | 17200794 | 15830973 | 6568 | 1363253
2022-09-30 | 17231371 | 15683276 | 6349 | 1541746
| 256616371 | 242523082 | 138337 | 13954952 | 5.438%
2021-10-31 | 16792199 | 17655242 | 7591 | -870634
2022-10-31 | 18119632 | 16627715 | 10215 | 1481702
| 257943804 | 241495555 | 140961 | 16307288 | 6.322%
Note on A7: Pull schedule 1 of the monthly fuel filing. The schedule 1 month used here will correspond with the Disposition of Energy month on the Fuel Adj Report. Example: For November's report, Fuel Adj report thats titled "Disposition of Energy for the Month of November".
Note on F10: ROLLING LINE LOSS FROM THE FUEL ADJ REPORTS FILED WITH PSC EACH MONTH.
Note on E11: Confirm "KWH LOSSES" to schedule 1 you are entering data from
Note on A73: Pull schedule 1 of the monthly fuel filing. The schedule 1 month used here will correspond with the Disposition of Energy month on the Fuel Adj Report. Example: For November's report, Fuel Adj report thats titled "Disposition of Energy for the Month of November".