## Capacity Position wPP
CLR 5-20-22_Regulatory_wo_Mitchell
Item | Description | 2029/2030
A | Internal Demand (a) | 909.6573
B | Interruptible Demand Response (b) | 5.4157
C | Forecast Pool Requirement © | 1.0894
D | Total UCAP Obligation (A-B)*C | 985.0994
X | Capacity Obligation excluding FPR | 904.2416
E | ICAP Existing Capacity & Planned Changes(e) | 295
E1 | Preferred Plan New ICAP (Thermal) | 480
E2 | Preferred Plan New ICAP (Renewable) | 1200
F | AEP EFORd | 2.9%
F1 | Solar ELCC | 31%
F2 | Wind ELCC | 12%
G | Net Installed Capacity (UCAP) = (E+E1)*(1-F) +(New Solar*F1)+(New Wind*F2) | 1029.525
H | Net Position = G-D | 44.4256
Y | PJM Holdback (3% of X) | 27.1272
Z | Available for RPM auction if FRR (=H-Y if >0) | 17.2983
I | Capacity Obligation Less Effects of IDR+IRM | 990.2433
J | Reserve Margin above IRM (=H/I) | 4.486%
K | Total Reserve Margin (=IRM + J) | 19.19%
IRM | PJM IRM | 14.7%
(a) | Includes effects of proposed EE programs
(b) | DR approved by PJM
"(c) | Forecast Pool Requirement (FPR) = (1 + IRM) * (1 - PJM EFORd)

## FRR_RPM Analysis
RPM Analysis
Kentucky Power Payment as LSE |  |  | Kentucky Revenue as LSE
KPCO Capacity Obligation excluding FPR | 904.2416 |  | Kentucky Power UCAP Capacity | 1029.525
PJM CT Clearing Price (BRA 2024/2025) | 28.92 |  | PJM CT Clearing Price (BRA 2024/2025) | 28.92
RPM Reserve (2024/2025 BRA) | 1.217 |  | Days in Planning Year | 365
RPM Capacity Obligation | 1100 |  | Kentucky Power Capacity REV | 10867459.995
Days in Planning Year | 365
Kentucky Power Payment to PJM | 11611380 |  | Net Payment Received | -743920.005
Kentucky Power elects FRR, sells surplus power |  |  | FRR Benefit (excl addl capacity rqmts costs) | 182597.6685
Capacity available for auction | 17.2983 |  | RPM Benefit (Cost) | -743920.005
PJM CT Clearing Price (BRA RM) | 28.92 |  | Net Benefit FRR over RPM | 926517.6735
Days in Planning Year | 365
Kentucky Power Payment to PJM | 182597.6685
FPR Obligation | 1.0894
Under a single entity construct, as an RPM Utility, the 17 MW additional length is not available under RPM
If Big Sandy were to be curtailed by: | 100 | MW
KPCO Capacity Obligation excluding FPR | 904.2416 |  | Kentucky Power UCAP Capacity | 1000
PJM CT Clearing Price (BRA RM) | 28.92 |  | PJM CT Clearing Price (BRA RM) | 28.92
RPM Reserve (2024/2025 BRA) | 1.217 |  | Days in Planning Year | 365
RPM Capacity Obligation | 1100.462 | 2029/2030 PY | Kentucky Power Payment to PJM | 10555800
Days in Planning Year | 365
Kentucky Power Payment to PJM | 11616257.0631 |  | Net Payment Received | -1060457.0631
|  |  | Capacity Shortfall: | -100.462
Additional RPM UCAP Required over PP | 70.475
Estimate Nameplate Solar Capacity | 227.3387

## ELCC
Solar | [6 empty] | 4-hr Storage
| REF | REF+HighCost | CETA | ECR | NCR | Winter |  | REF | REF+HighCost | CETA | ECR | NCR | Winter
2022 | 0.54 | 0.54 | 0.54 | 0.54 | 0.54 | 0.02 | 2022 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82
2023 | 0.54 | 0.54 | 0.54 | 0.54 | 0.54 | 0.02 | 2023 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82
2024 | 0.54 | 0.54 | 0.54 | 0.54 | 0.54 | 0.02 | 2024 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82
2025 | 0.5 | 0.53 | 0.53 | 0.53 | 0.54 | 0.02 | 2025 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82
2026 | 0.43 | 0.47 | 0.47 | 0.49 | 0.44 | 0.02 | 2026 | 0.82 | 0.82 | 0.77 | 0.82 | 0.82
2027 | 0.39 | 0.38 | 0.38 | 0.34 | 0.34 | 0.02 | 2027 | 0.82 | 0.82 | 0.72 | 0.82 | 0.8
2028 | 0.35 | 0.33 | 0.33 | 0.34 | 0.34 | 0.02 | 2028 | 0.82 | 0.82 | 0.71 | 0.82 | 0.8
2029 | 0.31 | 0.32 | 0.32 | 0.33 | 0.33 | 0.02 | 2029 | 0.82 | 0.82 | 0.69 | 0.82 | 0.8
2030 | 0.31 | 0.32 | 0.31 | 0.33 | 0.33 | 0.02 | 2030 | 0.79 | 0.82 | 0.69 | 0.82 | 0.8
2031 | 0.3 | 0.32 | 0.3 | 0.31 | 0.31 | 0.02 | 2031 | 0.77 | 0.82 | 0.69 | 0.82 | 0.8
2032 | 0.3 | 0.3 | 0.28 | 0.3 | 0.3 | 0.02 | 2032 | 0.74 | 0.82 | 0.69 | 0.82 | 0.8
2033 | 0.29 | 0.29 | 0.26 | 0.29 | 0.29 | 0.02 | 2033 | 0.71 | 0.82 | 0.69 | 0.82 | 0.8
2034 | 0.28 | 0.29 | 0.25 | 0.29 | 0.28 | 0.02 | 2034 | 0.69 | 0.8 | 0.66 | 0.82 | 0.8
2035 | 0.27 | 0.29 | 0.25 | 0.29 | 0.28 | 0.02 | 2035 | 0.69 | 0.8 | 0.66 | 0.82 | 0.8
2036 | 0.27 | 0.29 | 0.24 | 0.28 | 0.28 | 0.02 | 2036 | 0.68 | 0.75 | 0.66 | 0.8 | 0.8
2037 | 0.26 | 0.28 | 0.23 | 0.27 | 0.28 | 0.02 | 2037 | 0.66 | 0.72 | 0.62 | 0.8 | 0.77
2038 | 0.25 | 0.28 | 0.2 | 0.26 | 0.28 | 0.02 | 2038 | 0.66 | 0.71 | 0.59 | 0.77 | 0.75
2039 | 0.24 | 0.27 | 0.18 | 0.25 | 0.28 | 0.02 | 2039 | 0.65 | 0.71 | 0.53 | 0.77 | 0.75
2040 | 0.23 | 0.27 | 0.17 | 0.25 | 0.28 | 0.02 | 2040 | 0.65 | 0.69 | 0.47 | 0.75 | 0.72
Onshore Wind | [6 empty] | Offshore Wind
| REF | REF+HighCost | CETA | ECR | NCR | Winter |  | REF | REF+HighCost | CETA | ECR | NCR
2022 | 0.16 | 0.16 | 0.16 | 0.16 | 0.16 | 0.19 | 2022 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
2023 | 0.16 | 0.16 | 0.16 | 0.14 | 0.16 | 0.19 | 2023 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
2024 | 0.16 | 0.14 | 0.16 | 0.14 | 0.14 | 0.17 | 2024 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
2025 | 0.14 | 0.12 | 0.13 | 0.13 | 0.14 | 0.17 | 2025 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
2026 | 0.13 | 0.11 | 0.11 | 0.11 | 0.14 | 0.16 | 2026 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
2027 | 0.13 | 0.11 | 0.11 | 0.11 | 0.14 | 0.16 | 2027 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
2028 | 0.12 | 0.11 | 0.11 | 0.11 | 0.13 | 0.15 | 2028 | 0.35 | 0.35 | 0.35 | 0.35 | 0.35
2029 | 0.12 | 0.11 | 0.11 | 0.11 | 0.12 | 0.14 | 2029 | 0.34 | 0.34 | 0.34 | 0.34 | 0.34
2030 | 0.11 | 0.12 | 0.12 | 0.12 | 0.12 | 0.14 | 2030 | 0.32 | 0.32 | 0.32 | 0.32 | 0.32
2031 | 0.11 | 0.12 | 0.12 | 0.12 | 0.12 | 0.14 | 2031 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3
2032 | 0.11 | 0.11 | 0.11 | 0.11 | 0.11 | 0.13 | 2032 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3
2033 | 0.11 | 0.11 | 0.11 | 0.11 | 0.11 | 0.13 | 2033 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3
2034 | 0.11 | 0.11 | 0.11 | 0.11 | 0.11 | 0.13 | 2034 | 0.29 | 0.29 | 0.25 | 0.25 | 0.29
2035 | 0.11 | 0.11 | 0.11 | 0.11 | 0.11 | 0.13 | 2035 | 0.26 | 0.29 | 0.25 | 0.25 | 0.29
2036 | 0.11 | 0.11 | 0.11 | 0.11 | 0.11 | 0.13 | 2036 | 0.26 | 0.25 | 0.25 | 0.25 | 0.25
2037 | 0.11 | 0.11 | 0.11 | 0.11 | 0.11 | 0.13 | 2037 | 0.24 | 0.25 | 0.22 | 0.22 | 0.25
2038 | 0.11 | 0.11 | 0.11 | 0.11 | 0.11 | 0.13 | 2038 | 0.24 | 0.25 | 0.22 | 0.22 | 0.25
2039 | 0.11 | 0.11 | 0.11 | 0.11 | 0.11 | 0.13 | 2039 | 0.24 | 0.22 | 0.22 | 0.19 | 0.22
2040 | 0.11 | 0.11 | 0.11 | 0.11 | 0.11 | 0.13 | 2040 | 0.23 | 0.22 | 0.19 | 0.19 | 0.22

## 2022 IRP Pref Plan
PrPort | PREF: Utility-Scale New Build Additions by Year (Nameplate MW)
PrPort | Year | Gas CT | Solar T1 | Solar T2 | Wind T1 | Wind T2 | Big Sandy Extension | Solar + Storage | 4hr – Li Ion Battery | Capacity Purchase | DSM
PrPort | 2023 | [8 empty] | 70* | 12
PrPort | 2024 | [8 empty] | 80* | 13.7
PrPort | 2025 | [8 empty] | 78 | 19.5
PrPort | 2026 |  |  |  | 100 |  |  |  |  | 39 | 29.5
PrPort | 2027 |  | 150 |  | 100 | 100 |  |  |  |  | 37.1
PrPort | 2028 |  | 150 | 300 | 100 | 100 |  |  |  | 407 | 43.4
PrPort | 2029 | 480 | 100 | [7 empty] | 48.6
PrPort | 2030 |  |  |  | 100 | [5 empty] | 52.6
PrPort | 2031 |  |  |  | 100 |  | 295 |  |  |  | 52.7
PrPort | 2032 | [9 empty] | 53.3
PrPort | 2033 | [9 empty] | 53.5
PrPort | 2034 | [9 empty] | 53.4
PrPort | 2035 | [7 empty] | 50 |  | 53.2
PrPort | 2036 | [9 empty] | 52.6
PrPort | 2037 |  | 50 | [7 empty] | 51.6
PrPort | Total | 480 | 450 | 300 | 500 | 200 | 295 | 0 | 50 | 2275