## Sheet1
Project | Plan Year | Work Type | Benefits
Grahn\Olive Hill Tie New Project 4 year project (Corey Rd) | 2024 | Reliability | Reduce CMI, Reliability Indices improvement
Olive Hill\Globe St Rt.174 Lawton Rd. Multi-Phase WindStream Poles In Some Locations | 2024 | Reliability | Reduce CMI, Reliability Indices improvement
Princess US 60 Feeder to Moore Hollow Sec 2 | 2024 | Reliability | Reduce CMI, Reliability Indices improvement
Princess US 60 Feeder to Moore Hollow Sec 1 | 2024 | Reliability | Reduce CMI, Reliability Indices improvement
Rt 503 to Indian Run - Part 3 | 2024 | Reliability | Reduce CMI, Reliability Indices improvement
Tygart Station - South Shore Feeder Tie | 2024 | New Distribution Sources | Reduce CMI, Reliability Indices improvement
BECKHAM - CARR CREEK DA | 2024 | Distribution Automation | Reduce CMI, Reliability Indices improvement
COLLIER - LOWER ROCKHOUSE DA | 2024 | Distribution Automation | Reduce CMI, Reliability Indices improvement
COLLIER - UPPER ROCKHOUSE DA | 2024 | Distribution Automation | Reduce CMI, Reliability Indices improvement
COLLIER -Smoot Cr. DA (2024) | 2024 | Distribution Automation | Reduce CMI, Reliability Indices improvement
Hazard\Hazard - Spacer Cable Windstream Poles | 2024 | Asset Renewal | Reduce CMI and outage time
HIGHWAY 80 54 SPAN RECONDUCTOR - Soft Shell Vest | 2024 | Reliability | Reduce CMI, Reliability Indices improvement
Line Fork - Tolson Tie Project (Tolson Tie) KY River R/W Sec 3 | 2024 | Reliability | Reduce CMI, Reliability Indices improvement
REEDY - DEANE DA | 2024 | Distribution Automation | Reduce CMI, Reliability Indices improvement
SOFT SHELL - LEBURN DA | 2024 | Distribution Automation | Reduce CMI, Reliability Indices improvement
SOFT SHELL - VEST DA | 2024 | Distribution Automation | Reduce CMI, Reliability Indices improvement
VICCO - REDFOX DA | 2024 | Distribution Automation | Reduce CMI, Reliability Indices improvement
Belfry\Toler - Belfry\Belfry Tie.(Orinoco) Double Circuit | 2024 | New Distribution Sources | Reduce CMI, Reliability Indices improvement
Betsy Layne\Mud Crk., Beaver Crk. \Ligon and McKinney\Maytown - Tie Line | 2024 | Reliability | Reduce CMI, Reliability Indices improvement
By-Pass Housing Project - Replace cable and xfmers | 2024 | Asset Renewal | Reduce CMI and outage time
Coleman\Calloway Circuit Tie Section B to C 20 FOREIGN POLES (RR Permit) | 2024 | Dist. Circuit Ties | Reduce CMI, Reliability Indices improvement
Coleman\Calloway Circuit Tie Section G 5.9KFT | 2024 | Dist. Circuit Ties | Reduce CMI, Reliability Indices improvement
Cross Cr. Underground\Rep Direct Buried Cable | 2024 | Asset Renewal | Reduce CMI and outage time
Index\ West Liberty Reconductor 4 - #2 to 4/0 B.Al From 38830849000051 to 388300776000001 11 miles | 2024 | Dist. Circuit Ties | Reduce CMI, Reliability Indices improvement
Johns Cr.\Meta - Zebulon Highway Eliminating Mountain Crossing 4.9Kft. | 2024 | Storm Hardening | Improve System Resiliency, reduce CMI
New Feds Cr.\Feds Cr. - Big Rock\Conaway Ckt Tie - Reconductor\Multiphase 8.8Kft. | 2024 | Dist. Circuit Ties | Reduce CMI, Reliability Indices improvement
New Lovely\Lovely - Mount Sterling Circuit Tie - 760ft Tie Line | 2024 | Dist. Circuit Ties | Reduce CMI, Reliability Indices improvement
Dewey\Inez Relocation (Telephone owned poles) | 2024 | Storm Hardening | Improve System Resiliency, reduce CMI
New circuit tie between the Lovely-Wolf Creek 34kV Circuit and the Dewey-Inez 34kV Circuit | 2024 | Dist. Circuit Ties | Reduce CMI, Reliability Indices improvement
New circuit tie between the Coleman-Calloway 34kV Circuit and the Coleman-Peter Creek 34kV Circuit (Split Multi Yrs) | 2024 | Dist. Circuit Ties | Reduce CMI, Reliability Indices improvement
Reedy-Deane to Elwood/Myra-Virgie Indian Creek 34kV Circuit Tie | 2024 | Dist. Circuit Ties | Reduce CMI, Reliability Indices improvement
Construct 12kV Circuit Tie Between Hayward-Lawton and Olive Hill-Glove 12kV Sec 1 | 2024 | Dist. Circuit Ties | Reduce CMI, Reliability Indices improvement
Reedy Station/Elwood/Myra Station DACR | 2024 | Distribution Automation | Reduce CMI, Reliability Indices improvement
Kewanee - D Line 34.5KV Robinson Creek Circuit to Fords Branch Robinson Creek Circuit | 2024 | New Distribution Sources | Reduce CMI, Reliability Indices improvement
Kewanee - D Line 34.5KV Shelby Circuit Tie to Fords Branch Shelby Circuit (Trans Funded) | 2024 | New Distribution Sources | Reduce CMI, Reliability Indices improvement
Line Fork - Tolson Fk. Reconductor Daisy-Leather Wood Sec 2 | 2024 | Reliability | Reduce CMI, Reliability Indices improvement
Leslie/Hyden Circuit - Wilder Br. Reconductor #2 ACSR to #2AA 5m SEC 2 | 2024 | Asset Renewal | Reduce CMI and outage time
Hazard/Hazard Circuit - Oakhurst Ave. Sky Line Drive Reconductor #6A to #2AA 1000ft | 2024 | Asset Renewal | Reduce CMI and outage time
Rebuild Right Fork of Millstone Sec 2 | 2024 | Reliability | Reduce CMI, Reliability Indices improvement
YFA Conversion Flatwoods | 2024 | Distribution Automation | Reduce CMI, Reliability Indices improvement
Reconductor Morton Blvd (Part of DA #2 wire to replace) | 2024 | Reliability | Reduce CMI, Reliability Indices improvement
Wurtland -Greenup/Wurtland Rt 503 - Horn Hollow Tie (Rt 503 to Rt 1) | 2024 | Reliability | Reduce CMI, Reliability Indices improvement
Talcum - Dline 12m 34.5 KV Conversion Circuit tie to Hindman and Haddix Stations | 2024 | New Distribution Sources | Reduce CMI, Reliability Indices improvement
New circuit tie between the Coleman-Calloway 34kV Circuit and the Coleman-Peter Creek 34kV Circuit (Split Multi Yrs) | 2025 | Dist. Circuit Ties | Reduce CMI, Reliability Indices improvement
Hoods Cr.- Hoods Cr Rural to Princess Rt.180 | 2025 | Reliability | Reduce CMI, Reliability Indices improvement
Line Fork - Tolson Tie Project (Tolson Tie) KY River R/W Sec 2 2023 | 2025 | Reliability | Reduce CMI, Reliability Indices improvement
Barrenshe\Pounding Mill Reconducor to Belfry\Toler Circuit Tie | 2025 | Asset Renewal | Reduce CMI and outage time
Belfry\Toler Circuit - Reconductor to Barrenshe\Pounding Mill Circuit Tie B to D | 2025 | Asset Renewal | Reduce CMI and outage time
Betsy Layne\Mud Crk., Beaver Crk. \Ligon and McKinney\Maytown - Tie Line | 2025 | Dist. Circuit Ties | Reduce CMI, Reliability Indices improvement
Coleman\Calloway Circuit Tie Section F 3.8KFT 4/0 3-4/0, 1-1/0 | 2025 | Dist. Circuit Ties | Reduce CMI, Reliability Indices improvement
New Camp\South Side and Sprigg - Sprigg - Tie line 17Kft Recond\Multi Ph. Phase 1 | 2025 | Reliability | Reduce CMI, Reliability Indices improvement
West Paintsville MayoTrail\Euclid -Hendrix Replacement, 556 at 3,000 ft | 2025 | Asset Renewal | Reduce CMI and outage time
New circuit tie between the Lovely-Wolf Creek 34kV Circuit and the Dewey-Inez 34kV Circuit | 2025 | Dist. Circuit Ties | Reduce CMI, Reliability Indices improvement
Construct 12kV Circuit Tie Between Hayward-Lawton and Olive Hill-Glove 12kV Sec 2 | 2025 | Dist. Circuit Ties | Reduce CMI, Reliability Indices improvement
Beckham Station/Talcum Station DACR | 2025 | Distribution Automation | Reduce CMI, Reliability Indices improvement
Chavies/Haddix/Engle/Bonnyman DACR | 2025 | Distribution Automation | Reduce CMI, Reliability Indices improvement
Hazard 12kV DACR (7 CKTS) | 2025 | Distribution Automation | Reduce CMI, Reliability Indices improvement
Bluegrass - Walker Town | 2025 | Distribution Automation | Reduce CMI, Reliability Indices improvement
Bluegrass - Hazard | 2025 | Distribution Automation | Reduce CMI, Reliability Indices improvement
Hazard - Hazard Circuit | 2025 | Distribution Automation | Reduce CMI, Reliability Indices improvement
Bulan - Ary-Heiner Circuit | 2025 | Distribution Automation | Reduce CMI, Reliability Indices improvement
Bulan - Ajax-Dwarf Circuit | 2025 | Distribution Automation | Reduce CMI, Reliability Indices improvement
Bulan - Lotts Creek Cir. | 2025 | Distribution Automation | Reduce CMI, Reliability Indices improvement
Jackson - S. Jackson Circuit | 2025 | Distribution Automation | Reduce CMI, Reliability Indices improvement
Jackson - Panbowl Circuit | 2025 | Distribution Automation | Reduce CMI, Reliability Indices improvement
TomWatkins - Distrinution Circuit | 2025 | Distribution Automation | Reduce CMI, Reliability Indices improvement
Myra - DLine Exits - Dorton, Virgie, Robinson Cr. (Hamilton Site) | 2025 | New Distribution Sources | Reduce CMI, Reliability Indices improvement
Leslie/Hyden Circuit - Wilder Br. Reconductor #2 ACSR to #2AA 5m SEC 1 | 2025 | Asset Renewal | Reduce CMI and outage time
Small Conductor on Laurel Fork of Lost Creek | 2025 | Asset Renewal | Reduce CMI and outage time
Burdine\Levisa Ckt. - Reconductor #6 to #2Al. 13Kft Side Taps | 2026 | Asset Renewal | Reduce CMI and outage time
Coleman\Calloway Circuit Tie Section E 8.5Kft 4/0 3-4/0, 1-1/0 | 2026 | Dist. Circuit Ties | Reduce CMI, Reliability Indices improvement
Dewey\Inez - Saltwell to Wolf Br.in Tomahawk-2mile Rebuild Phase 1 | 2026 | Reliability | Reduce CMI, Reliability Indices improvement
New Camp\South Side and Sprigg - Sprigg - Tie line 17Kft Recond\Multi Ph. Phase 2 (2022/23 Project) | 2026 | Reliability | Reduce CMI, Reliability Indices improvement
Construct 12kV Circuit Tie Between Hayward-Lawton and Olive Hill-Glove 12kV Sec 3 | 2026 | Dist. Circuit Ties | Reduce CMI, Reliability Indices improvement
Beckham - Hindman Circuit | 2026 | Distribution Automation | Reduce CMI, Reliability Indices improvement
Elwood - Dorton Circuit | 2026 | Distribution Automation | Reduce CMI, Reliability Indices improvement
Elwoood - Virgie Circuit | 2026 | Distribution Automation | Reduce CMI, Reliability Indices improvement
Fords Br - Robinson Cr. | 2026 | Distribution Automation | Reduce CMI, Reliability Indices improvement
Falcon - Oil Springs Circuit | 2026 | Distribution Automation | Reduce CMI, Reliability Indices improvement
Falcon - Oil Springs | 2026 | Distribution Automation | Reduce CMI, Reliability Indices improvement
Index - West Liberty Circuit | 2026 | Distribution Automation | Reduce CMI, Reliability Indices improvement
Index - Hospital Circuit | 2026 | Distribution Automation | Reduce CMI, Reliability Indices improvement
W. Paintsville - Plaza | 2026 | Distribution Automation | Reduce CMI, Reliability Indices improvement
Kenwood - West Vanlear | 2026 | Distribution Automation | Reduce CMI, Reliability Indices improvement
Kewood - Auxier Circuit | 2026 | Distribution Automation | Reduce CMI, Reliability Indices improvement
Kenwood - Hagerhill Circuit | 2026 | Distribution Automation | Reduce CMI, Reliability Indices improvement
W. Paintsville Plaza Circuit | 2026 | Distribution Automation | Reduce CMI, Reliability Indices improvement
Loop Feed for Little Smith Branch and Big Smith Branch | 2026 | Reliability | Reduce CMI, Reliability Indices improvement
Busseyville DA Expansion (7 Devices Replace 1 Recloser) | 2026 | Distribution Automation | Reduce CMI, Reliability Indices improvement
Grahn-Pleasantville - Olive Hill West Carter Elementary 8 mi Cir. Tie | 2026 | Dist. Circuit Ties | Reduce CMI, Reliability Indices improvement
Hayward-Haldeman Olive Hill Globe 3 mi Circuit Tie | 2026 | Dist. Circuit Ties | Reduce CMI, Reliability Indices improvement
Cranston Station - Construct New 12kV North of I-64 | 2026 | New Distribution Sources | Reduce CMI, Reliability Indices improvement
Hitchins-Willard - Big Sandy Fallsburg 12 mi Cir. Tie | 2026 | Dist. Circuit Ties | Reduce CMI, Reliability Indices improvement
Hoods Cr. Rural - Wurtland Rt 503 Circuit 6 mi Tie | 2026 | Dist. Circuit Ties | Reduce CMI, Reliability Indices improvement
Coalton - US 60 West - Hitchins Grayson Ckt. 7 mi Tie 12 KV | 2026 | Dist. Circuit Ties | Reduce CMI, Reliability Indices improvement
Coalton - Trace Cr. - Coalton US 60 4 mi Ckt Tie | 2026 | Dist. Circuit Ties | Reduce CMI, Reliability Indices improvement
Lovely - Wolf Creek - Dewey Inez 4 mi Ckt. Tie 34.5kV | 2026 | Dist. Circuit Ties | Reduce CMI, Reliability Indices improvement
Haddix -Troublesome Cr. - New Talcum Sta. 34.5 - 2.5 mi Tie | 2026 | Dist. Circuit Ties | Reduce CMI, Reliability Indices improvement
Haddix -Troublesome Cr. - New Talcum Sta. 34.5 - 2.5 mi Tie | 2026 | Dist. Circuit Ties | Reduce CMI, Reliability Indices improvement
Haddix -Troublesome Cr. - New Talcum Sta. 34.5 - 2.5 mi Tie | 2026 | Dist. Circuit Ties | Reduce CMI, Reliability Indices improvement
Haddix -Troublesome Cr. - New Talcum Sta. 34.5 - 2.5 mi Tie | 2026 | Dist. Circuit Ties | Reduce CMI, Reliability Indices improvement
Haddix -Troublesome Cr. - New Talcum Sta. 34.5 - 2.5 mi Tie | 2026 | Dist. Circuit Ties | Reduce CMI, Reliability Indices improvement
Salisbury-Martin- 12kV Tie to New Jacks Cr Sta. Cir. | 2026 | Dist. Circuit Ties | Reduce CMI, Reliability Indices improvement
Coleman-Peter Cr.- Coleman Calloway 2 mi 34.5 Cir Tie | 2026 | Dist. Circuit Ties | Reduce CMI, Reliability Indices improvement