## Report Instructions
Instructions for Management Annual Report
Enter system information and year on January page. Cells in the individual monthly pages must have an entry. Enter a zero if no value is available. Entries must match values from the Monthly Reports.
Enter begin date and end date for the billing period for each monthly report. (NOTE: Begin date for following month should be same as the end date of previous month.)
Water Cost
Line 1 & 2: Insert the cost per thousand gallons for water produced or purchased. Entries must be made in both cells. If water not produced or purchased enter a zero in the respective cell.
Water Produced or Purchased
Line 3 & 4: Insert the total gallons produced or purchased. Entries must be made in both cells. If water not produced or purchased enter a zero in the respective cell.
Water Sold
Line 7: Enter the total gallons sold to residential customers.
Line 8: Enter the total gallons sold to commercial customers such as businesses, stores, etc.
Line 9: Enter the total gallons sold to industrial customers such as factories, maunfacturers, etc.
Line 10: Enter the total gallons sold through bulk loading stations.
Line 11: Enter total gallons sold to other water systems or for special long term contracts, etc.
Line 12: Enter total gallons sold to public authorities such as fire stations, public pools, parks, etc.
Line 13: Enter total gallons sold that is not included in lines 7 through 12 above. An example would a temporary or one time sale to a farmer or home construction site. An explanation MUST be included.
Water Used
Line 16: Enter gallons used at the water treatment plant for production, filter backwash, basin cleaning, etc. Do not enter usage that occurs prior to the metered entry point to the distribution system.
Line 17: Enter gallons used at the wastewater treatment plant including chemical feed, basin cleaning, etc.
Line 18: Enter gallons used for hydrant flushing for routine and complaint flushing.
Line 19: Enter gallons used for hydrant flushing and forced tank overflow for DBP flushing.
Line 20: Enter gallons used for fire department usage for training and fire fighting.
Line 21: Enter total gallons used that is not included in lines 16 through 20 above. MUST explain.
Documented Water Lost
Line 23: Enter gallons lost due to documented tank overflows other than for DBP maintenance.
Line 24: Enter gallns for main line repairs for long term leaks during current month.
Line 25: Enter gallons for service line repairs for leaks during current month.
Line 26: Enter gallons lost such as from AWWA line leakage calculation, meter inaccuracies, meter mis-reads, computer and billing adjustments. Documentation MUST be on file for any line leaks entry.
Line 27: Enetr gallons lost for repairs made for short term "Excavation" breaks.
Line 28 Enter gallons lost due to theft during curent month. Documentation MUST be on file.
Unknown Loss
NOTE: Lines 31 through 36 provides information on water that was not sold, used, or lost in documented ways. The amount on line 31 is water lost in still undiscovered locations. This section of the report provides a breakdown of the amounts and costs of this "Unknown Loss".
NOTE: Line 37 is the percentage of water loss for ratemaking puposes for systems under PSC authority. The total gallons lost, known and unknown, is divided by the total produced and/or purchased to determine this percentage.

## January
Board and Management
Monthly Water Use Report
Water Utility: |  | Sharpsburg Water District |  |  |  | PWSID: | KY0060392
For the Month of: |  | January |  |  |  | Year: | 2022
Billing Period: |  | 2021-12-28 |  | to | 2022-01-28
1 | PRODUCTION COST PER THOUSAND |  |  |  | (insert cost)
2 | PURCHASE COST PER THOUSAND | [5 empty] | 3.88
| WATER PRODUCED or PURCHASED | [5 empty] | GALLONS
3 | Water Produced | [6 empty] | 0%
4 | Water Purchased |  |  |  | 34840.46 |  | 8979500 | 100%
5 | TOTAL PRODUCED AND PURCHASED | [5 empty] | 8979500
6 | #VALUE! |  | TOTAL COST |  | #VALUE!
WATER SOLD
7 | Residential | [5 empty] | 6203600
8 | Commercial | [5 empty] | 74600
9 | Industrial | [5 empty] | 56700
10 | Bulk Loading Stations | [5 empty] | 15200
11 | Wholesale | (other water systems, special contracts, etc.)
12 | Public Authorities |  | (fire departments, public pools, parks, etc.)
13 | Other Sales (explain)
14 | TOTAL WATER SOLD | [5 empty] | 6350100 | 70.72%
15 | TOTAL WATER NOT SOLD | [5 empty] | 2629400 | 29.28%
BREAKDOWN OF WATER USAGE
16 | Water Treatment Plant
17 | Wastewater Treatment Plant
18 | System Flushing |  | (routine and complaint flushing) |  |  |  | 215000 | #VALUE!
19 | DBP Flushing |  | (forced tank overflows and hydrant flushing)
20 | Fire Department |  | (documented for firefighting and training) |  |  |  | 2000 | #VALUE!
21 | Other Usage (explain)
22 | TOTAL USAGE | [5 empty] | 217000
BREAKDOWN OF WATER LOST
23 | Tank Overflows (other than for DBP maintenance)
24 | Main Line Breaks |  | (long term leakage during current month)
25 | Service Line Breaks |  | (repaired during current month)
26 | Line Leaks (calculated line leakage, meter inaccuracies, etc.)
27 | Excavation Damage Loss |  |  | (short term leakage)
28 | Theft | (documented) |  |  |  |  | 100000 | #VALUE!
29 | TOTAL DOCUMENTED WATER LOST | [5 empty] | 100000
30 | COST OF DOCUMENTED WATER LOST | [5 empty] | #VALUE!
"UNKNOWN LOSS" FLOW RATE AND COST:
31 | [5 empty] | "Unknown Loss" | 2312400
32 | [5 empty] | % "Unknown Loss" | 25.75%
33 | [5 empty] | Number of Days in Period | 31
34 | [5 empty] | "Unknown Loss" per Day (Gallons per Day) | 74593.5484
35 | [5 empty] | "Unknown Loss" per Minute (GPM) | 51.8011
36 | [5 empty] | "Unknown Loss" Cost for Month | #VALUE!
37 | WATER LOSS PERCENTAGE FOR PSC RATEMAKING PURPOSES | [6 empty] | 26.87%
© 2019
© 2019

## February
Board and Management
Monthly Water Use Report
Water Utility: |  | Sharpsburg Water District |  |  |  | PWSID: | KY0060392
For the Month of: |  | February |  |  |  | Year: | 2022
Billing Period: |  | 2022-01-28 |  | to | 2022-02-24
1 | PRODUCTION COST PER THOUSAND |  |  |  | (insert cost)
2 | PURCHASE COST PER THOUSAND | [5 empty] | 3.88
| WATER PRODUCED or PURCHASED | [5 empty] | GALLONS
3 | Water Produced | [6 empty] | 0%
4 | Water Purchased |  |  |  | 29163.244 |  | 7516300 | 100%
5 | TOTAL PRODUCED AND PURCHASED | [5 empty] | 7516300
6 | #VALUE! |  | TOTAL COST |  | #VALUE!
WATER SOLD
7 | Residential | [5 empty] | 6523200
8 | Commercial | [5 empty] | 35900
9 | Industrial | [5 empty] | 31700
10 | Bulk Loading Stations | [5 empty] | 11700
11 | Wholesale | (other water systems, special contracts, etc.)
12 | Public Authorities |  | (fire departments, public pools, parks, etc.)
13 | Other Sales (explain)
14 | TOTAL WATER SOLD | [5 empty] | 6602500 | 87.84%
15 | TOTAL WATER NOT SOLD | [5 empty] | 913800 | 12.16%
BREAKDOWN OF WATER USAGE
16 | Water Treatment Plant
17 | Wastewater Treatment Plant
18 | System Flushing |  | (routine and complaint flushing) |  |  |  | 1 | #VALUE!
19 | DBP Flushing |  | (forced tank overflows and hydrant flushing) |  |  |  | 150000 | #VALUE!
20 | Fire Department |  | (documented for firefighting and training) |  |  |  | 1500 | #VALUE!
21 | Other Usage (explain)
22 | TOTAL USAGE | [5 empty] | 151501
BREAKDOWN OF WATER LOST
23 | Tank Overflows (other than for DBP maintenance)
24 | Main Line Breaks |  | (long term leakage during current month)
25 | Service Line Breaks |  | (repaired during current month)
26 | Line Leaks (calculated line leakage, meter inaccuracies, etc.)
27 | Excavation Damage Loss |  |  | (short term leakage)
28 | Theft | (documented) |  |  |  |  | 75000 | #VALUE!
29 | TOTAL DOCUMENTED WATER LOST | [5 empty] | 75000
30 | COST OF DOCUMENTED WATER LOST | [5 empty] | #VALUE!
"UNKNOWN LOSS" FLOW RATE AND COST:
31 | [5 empty] | "Unknown Loss" | 687299
32 | [5 empty] | % "Unknown Loss" | 9.144%
33 | [5 empty] | Number of Days in Period | 27
34 | [5 empty] | "Unknown Loss" per Day (Gallons per Day) | 25455.5185
35 | [5 empty] | "Unknown Loss" per Minute (GPM) | 17.6774
36 | [5 empty] | "Unknown Loss" Cost for Month | #VALUE!
37 | WATER LOSS PERCENTAGE FOR PSC RATEMAKING PURPOSES | [6 empty] | 10.14%
© 2019
© 2019

## March
Board and Management
Monthly Water Use Report
Water Utility: |  | Sharpsburg Water District |  |  |  | PWSID: | KY0060392
For the Month of: |  | March |  |  |  | Year: | 2022
Billing Period: |  | 2022-02-24 |  | to | 2022-03-29
1 | PRODUCTION COST PER THOUSAND |  |  |  | (insert cost)
2 | PURCHASE COST PER THOUSAND | [5 empty] | 3.88
| WATER PRODUCED or PURCHASED | [5 empty] | GALLONS
3 | Water Produced | [6 empty] | 0%
4 | Water Purchased |  |  |  | 34425.3 |  | 8872500 | 100%
5 | TOTAL PRODUCED AND PURCHASED | [5 empty] | 8872500
6 | #VALUE! |  | TOTAL COST |  | #VALUE!
WATER SOLD
7 | Residential | [5 empty] | 6973900
8 | Commercial | [5 empty] | 92200
9 | Industrial | [5 empty] | 22300
10 | Bulk Loading Stations | [5 empty] | 17000
11 | Wholesale | (other water systems, special contracts, etc.)
12 | Public Authorities |  | (fire departments, public pools, parks, etc.)
13 | Other Sales (explain)
14 | TOTAL WATER SOLD | [5 empty] | 7105400 | 80.08%
15 | TOTAL WATER NOT SOLD | [5 empty] | 1767100 | 19.92%
BREAKDOWN OF WATER USAGE
16 | Water Treatment Plant
17 | Wastewater Treatment Plant
18 | System Flushing |  | (routine and complaint flushing) |  |  |  | 150000 | #VALUE!
19 | DBP Flushing |  | (forced tank overflows and hydrant flushing)
20 | Fire Department |  | (documented for firefighting and training) |  |  |  | 1000 | #VALUE!
21 | Other Usage (explain)
22 | TOTAL USAGE | [5 empty] | 151000
BREAKDOWN OF WATER LOST
23 | Tank Overflows (other than for DBP maintenance)
24 | Main Line Breaks |  | (long term leakage during current month)
25 | Service Line Breaks |  | (repaired during current month)
26 | Line Leaks (calculated line leakage, meter inaccuracies, etc.)
27 | Excavation Damage Loss |  |  | (short term leakage)
28 | Theft | (documented) |  |  |  |  | 75000 | #VALUE!
29 | TOTAL DOCUMENTED WATER LOST | [5 empty] | 75000
30 | COST OF DOCUMENTED WATER LOST | [5 empty] | #VALUE!
"UNKNOWN LOSS" FLOW RATE AND COST:
31 | [5 empty] | "Unknown Loss" | 1541100
32 | [5 empty] | % "Unknown Loss" | 17.37%
33 | [5 empty] | Number of Days in Period | 33
34 | [5 empty] | "Unknown Loss" per Day (Gallons per Day) | 46700
35 | [5 empty] | "Unknown Loss" per Minute (GPM) | 32.4306
36 | [5 empty] | "Unknown Loss" Cost for Month | #VALUE!
37 | WATER LOSS PERCENTAGE FOR PSC RATEMAKING PURPOSES | [6 empty] | 18.21%
© 2019
© 2019

## April
Board and Management
Monthly Water Use Report
Water Utility: |  | Sharpsburg Water District |  |  |  | PWSID: | KY0060392
For the Month of: |  | April |  |  |  | Year: | 2022
Billing Period: |  | 2022-03-29 |  | to | 2022-04-26
1 | PRODUCTION COST PER THOUSAND |  |  |  | (insert cost)
2 | PURCHASE COST PER THOUSAND | [5 empty] | 3.88
| WATER PRODUCED or PURCHASED | [5 empty] | GALLONS
3 | Water Produced | [6 empty] | 0%
4 | Water Purchased |  |  |  | 33856.492 |  | 8725900 | 100%
5 | TOTAL PRODUCED AND PURCHASED | [5 empty] | 8725900
6 | #VALUE! |  | TOTAL COST |  | #VALUE!
WATER SOLD
7 | Residential | [5 empty] | 5632500
8 | Commercial | [5 empty] | 52000
9 | Industrial | [5 empty] | 25300
10 | Bulk Loading Stations | [5 empty] | 13300
11 | Wholesale | (other water systems, special contracts, etc.)
12 | Public Authorities |  | (fire departments, public pools, parks, etc.)
13 | Other Sales (explain)
14 | TOTAL WATER SOLD | [5 empty] | 5723100 | 65.59%
15 | TOTAL WATER NOT SOLD | [5 empty] | 3002800 | 34.41%
BREAKDOWN OF WATER USAGE
16 | Water Treatment Plant
17 | Wastewater Treatment Plant
18 | System Flushing |  | (routine and complaint flushing) |  |  |  | 150000 | #VALUE!
19 | DBP Flushing |  | (forced tank overflows and hydrant flushing) |  |  |  | 200000 | #VALUE!
20 | Fire Department |  | (documented for firefighting and training) |  |  |  | 2000 | #VALUE!
21 | Other Usage (explain)
22 | TOTAL USAGE | [5 empty] | 352000
BREAKDOWN OF WATER LOST
23 | Tank Overflows (other than for DBP maintenance)
24 | Main Line Breaks |  | (long term leakage during current month)
25 | Service Line Breaks |  | (repaired during current month)
26 | Line Leaks (calculated line leakage, meter inaccuracies, etc.)
27 | Excavation Damage Loss |  |  | (short term leakage) |  |  | 100000 | #VALUE!
28 | Theft | (documented)
29 | TOTAL DOCUMENTED WATER LOST | [5 empty] | 100000
30 | COST OF DOCUMENTED WATER LOST | [5 empty] | #VALUE!
"UNKNOWN LOSS" FLOW RATE AND COST:
31 | [5 empty] | "Unknown Loss" | 2550800
32 | [5 empty] | % "Unknown Loss" | 29.23%
33 | [5 empty] | Number of Days in Period | 28
34 | [5 empty] | "Unknown Loss" per Day (Gallons per Day) | 91100
35 | [5 empty] | "Unknown Loss" per Minute (GPM) | 63.2639
36 | [5 empty] | "Unknown Loss" Cost for Month | #VALUE!
37 | WATER LOSS PERCENTAGE FOR PSC RATEMAKING PURPOSES | [6 empty] | 30.38%
© 2019
© 2019

## May
Board and Management
Monthly Water Use Report
Water Utility: |  | Sharpsburg Water District |  |  |  | PWSID: | KY0060392
For the Month of: |  | May |  |  |  | Year: | 2022
Billing Period: |  | 2022-04-26 |  | to | 2022-05-26
1 | PRODUCTION COST PER THOUSAND | [5 empty] | 3.88
2 | PURCHASE COST PER THOUSAND |  |  |  | (insert cost)
| WATER PRODUCED or PURCHASED | [5 empty] | GALLONS
3 | Water Produced |  |  |  | 0 |  |  | 0%
4 | Water Purchased | [5 empty] | 7262800 | 100%
5 | TOTAL PRODUCED AND PURCHASED | [5 empty] | 7262800
6 | #VALUE! |  | TOTAL COST |  | #VALUE!
WATER SOLD
7 | Residential | [5 empty] | 7143800
8 | Commercial | [5 empty] | 77800
9 | Industrial | [5 empty] | 60600
10 | Bulk Loading Stations | [5 empty] | 31400
11 | Wholesale | (other water systems, special contracts, etc.)
12 | Public Authorities |  | (fire departments, public pools, parks, etc.)
13 | Other Sales (explain)
14 | TOTAL WATER SOLD | [5 empty] | 7313600 | 100.7%
15 | TOTAL WATER NOT SOLD | [5 empty] | -50800 | -0.6995%
BREAKDOWN OF WATER USAGE
16 | Water Treatment Plant
17 | Wastewater Treatment Plant
18 | System Flushing |  | (routine and complaint flushing)
19 | DBP Flushing |  | (forced tank overflows and hydrant flushing) |  |  |  | 75000 | #VALUE!
20 | Fire Department |  | (documented for firefighting and training) |  |  |  | 2000 | #VALUE!
21 | Other Usage (explain)
22 | TOTAL USAGE | [5 empty] | 77000
BREAKDOWN OF WATER LOST
23 | Tank Overflows (other than for DBP maintenance)
24 | Main Line Breaks |  | (long term leakage during current month)
25 | Service Line Breaks |  | (repaired during current month)
26 | Line Leaks (calculated line leakage, meter inaccuracies, etc.)
27 | Excavation Damage Loss |  |  | (short term leakage)
28 | Theft | (documented)
ERROR - Unknown Loss cannot be a negative value.
29 | TOTAL DOCUMENTED WATER LOST | [5 empty] | 0
30 | COST OF DOCUMENTED WATER LOST | [5 empty] | #VALUE!
"UNKNOWN LOSS" FLOW RATE AND COST:
31 | [5 empty] | "Unknown Loss" | -127800
32 | [5 empty] | % "Unknown Loss" | -1.76%
33 | [5 empty] | Number of Days in Period | 30
34 | [5 empty] | "Unknown Loss" per Day (Gallons per Day) | -4260
35 | [5 empty] | "Unknown Loss" per Minute (GPM) | -2.9583
36 | [5 empty] | "Unknown Loss" Cost for Month | #VALUE!
37 | WATER LOSS PERCENTAGE FOR PSC RATEMAKING PURPOSES | [6 empty] | -1.76%
© 2019
© 2019

## June
Board and Management
Monthly Water Use Report
Water Utility: |  | Sharpsburg Water District |  |  |  | PWSID: | KY0060392
For the Month of: |  | June |  |  |  | Year: | 2022
Billing Period: |  | 2022-05-26 |  | to | 2022-06-28
1 | PRODUCTION COST PER THOUSAND |  |  |  | (insert cost)
2 | PURCHASE COST PER THOUSAND | [5 empty] | 3.88
| WATER PRODUCED or PURCHASED | [5 empty] | GALLONS
3 | Water Produced | [6 empty] | 0%
4 | Water Purchased |  |  |  | 36728.08 |  | 9466000 | 100%
5 | TOTAL PRODUCED AND PURCHASED | [5 empty] | 9466000
6 | #VALUE! |  | TOTAL COST |  | #VALUE!
WATER SOLD
7 | Residential | [5 empty] | 9119900
8 | Commercial | [5 empty] | 68800
9 | Industrial | [5 empty] | 139000
10 | Bulk Loading Stations | [5 empty] | 37600
11 | Wholesale | (other water systems, special contracts, etc.)
12 | Public Authorities |  | (fire departments, public pools, parks, etc.)
13 | Other Sales (explain)
14 | TOTAL WATER SOLD | [5 empty] | 9365300 | 98.94%
15 | TOTAL WATER NOT SOLD | [5 empty] | 100700 | 1.064%
BREAKDOWN OF WATER USAGE
16 | Water Treatment Plant
17 | Wastewater Treatment Plant
18 | System Flushing |  | (routine and complaint flushing) |  |  |  | 50000 | #VALUE!
19 | DBP Flushing |  | (forced tank overflows and hydrant flushing)
20 | Fire Department |  | (documented for firefighting and training) |  |  |  | 1500 | #VALUE!
21 | Other Usage (explain)
22 | TOTAL USAGE | [5 empty] | 51500
BREAKDOWN OF WATER LOST
23 | Tank Overflows (other than for DBP maintenance)
24 | Main Line Breaks |  | (long term leakage during current month)
25 | Service Line Breaks |  | (repaired during current month)
26 | Line Leaks (calculated line leakage, meter inaccuracies, etc.)
27 | Excavation Damage Loss |  |  | (short term leakage)
28 | Theft | (documented)
29 | TOTAL DOCUMENTED WATER LOST | [5 empty] | 0
30 | COST OF DOCUMENTED WATER LOST | [5 empty] | #VALUE!
"UNKNOWN LOSS" FLOW RATE AND COST:
31 | [5 empty] | "Unknown Loss" | 49200
32 | [5 empty] | % "Unknown Loss" | 0.5198%
33 | [5 empty] | Number of Days in Period | 33
34 | [5 empty] | "Unknown Loss" per Day (Gallons per Day) | 1490.9091
35 | [5 empty] | "Unknown Loss" per Minute (GPM) | 1.0354
36 | [5 empty] | "Unknown Loss" Cost for Month | #VALUE!
37 | WATER LOSS PERCENTAGE FOR PSC RATEMAKING PURPOSES | [6 empty] | 0.5198%
© 2019
© 2019

## July
Board and Management
Monthly Water Use Report
Water Utility: |  | Sharpsburg Water District |  |  |  | PWSID: | KY0060392
For the Month of: |  | July |  |  |  | Year: | 2022
Billing Period: |  | 2022-06-28 |  | to | 2022-07-26
1 | PRODUCTION COST PER THOUSAND |  |  |  | (insert cost)
2 | PURCHASE COST PER THOUSAND | [5 empty] | 3.88
| WATER PRODUCED or PURCHASED | [5 empty] | GALLONS
3 | Water Produced | [6 empty] | 0%
4 | Water Purchased |  |  |  | 41773.244 |  | 10766300 | 100%
5 | TOTAL PRODUCED AND PURCHASED | [5 empty] | 10766300
6 | #VALUE! |  | TOTAL COST |  | #VALUE!
WATER SOLD
7 | Residential | [5 empty] | 7663200
8 | Commercial | [5 empty] | 57700
9 | Industrial | [5 empty] | 65600
10 | Bulk Loading Stations | [5 empty] | 15900
11 | Wholesale | (other water systems, special contracts, etc.)
12 | Public Authorities |  | (fire departments, public pools, parks, etc.)
13 | Other Sales (explain)
14 | TOTAL WATER SOLD | [5 empty] | 7802400 | 72.47%
15 | TOTAL WATER NOT SOLD | [5 empty] | 2963900 | 27.53%
BREAKDOWN OF WATER USAGE
16 | Water Treatment Plant
17 | Wastewater Treatment Plant
18 | System Flushing |  | (routine and complaint flushing) |  |  |  | 125000 | #VALUE!
19 | DBP Flushing |  | (forced tank overflows and hydrant flushing) |  |  |  | 150000 | #VALUE!
20 | Fire Department |  | (documented for firefighting and training) |  |  |  | 2000 | #VALUE!
21 | Other Usage (explain)
22 | TOTAL USAGE | [5 empty] | 277000
BREAKDOWN OF WATER LOST
23 | Tank Overflows (other than for DBP maintenance)
24 | Main Line Breaks |  | (long term leakage during current month)
25 | Service Line Breaks |  | (repaired during current month)
26 | Line Leaks (calculated line leakage, meter inaccuracies, etc.)
27 | Excavation Damage Loss |  |  | (short term leakage)
28 | Theft | (documented)
29 | TOTAL DOCUMENTED WATER LOST | [5 empty] | 0
30 | COST OF DOCUMENTED WATER LOST | [5 empty] | #VALUE!
"UNKNOWN LOSS" FLOW RATE AND COST:
31 | [5 empty] | "Unknown Loss" | 2686900
32 | [5 empty] | % "Unknown Loss" | 24.96%
33 | [5 empty] | Number of Days in Period | 28
34 | [5 empty] | "Unknown Loss" per Day (Gallons per Day) | 95960.7143
35 | [5 empty] | "Unknown Loss" per Minute (GPM) | 66.6394
36 | [5 empty] | "Unknown Loss" Cost for Month | #VALUE!
37 | WATER LOSS PERCENTAGE FOR PSC RATEMAKING PURPOSES | [6 empty] | 24.96%
© 2019
© 2019

## August
Board and Management
Monthly Water Use Report
Water Utility: |  | Sharpsburg Water District |  |  |  | PWSID: | KY0060392
For the Month of: |  | August |  |  |  | Year: | 2022
Billing Period: |  | 2022-07-26 |  | to | 2022-08-26
1 | PRODUCTION COST PER THOUSAND |  |  |  | (insert cost)
2 | PURCHASE COST PER THOUSAND | [5 empty] | 3.89
| WATER PRODUCED or PURCHASED | [5 empty] | GALLONS
3 | Water Produced | [6 empty] | 0%
4 | Water Purchased |  |  |  | 48523.86 |  | 12474000 | 100%
5 | TOTAL PRODUCED AND PURCHASED | [5 empty] | 12474000
6 | #VALUE! |  | TOTAL COST |  | #VALUE!
WATER SOLD
7 | Residential | [5 empty] | 7752300
8 | Commercial | [5 empty] | 56300
9 | Industrial | [5 empty] | 56600
10 | Bulk Loading Stations | [5 empty] | 35200
11 | Wholesale | (other water systems, special contracts, etc.)
12 | Public Authorities |  | (fire departments, public pools, parks, etc.)
13 | Other Sales (explain)
14 | TOTAL WATER SOLD | [5 empty] | 7900400 | 63.33%
15 | TOTAL WATER NOT SOLD | [5 empty] | 4573600 | 36.67%
BREAKDOWN OF WATER USAGE
16 | Water Treatment Plant
17 | Wastewater Treatment Plant
18 | System Flushing |  | (routine and complaint flushing) |  |  |  | 215000 | #VALUE!
19 | DBP Flushing |  | (forced tank overflows and hydrant flushing) |  |  |  | 150000 | #VALUE!
20 | Fire Department |  | (documented for firefighting and training) |  |  |  | 2000 | #VALUE!
21 | Other Usage (explain)
22 | TOTAL USAGE | [5 empty] | 367000
BREAKDOWN OF WATER LOST
23 | Tank Overflows (other than for DBP maintenance)
24 | Main Line Breaks |  | (long term leakage during current month)
25 | Service Line Breaks |  | (repaired during current month)
26 | Line Leaks (calculated line leakage, meter inaccuracies, etc.)
27 | Excavation Damage Loss |  |  | (short term leakage)
28 | Theft | (documented)
29 | TOTAL DOCUMENTED WATER LOST | [5 empty] | 0
30 | COST OF DOCUMENTED WATER LOST | [5 empty] | #VALUE!
"UNKNOWN LOSS" FLOW RATE AND COST:
31 | [5 empty] | "Unknown Loss" | 4206600
32 | [5 empty] | % "Unknown Loss" | 33.72%
33 | [5 empty] | Number of Days in Period | 31
34 | [5 empty] | "Unknown Loss" per Day (Gallons per Day) | 135696.7742
35 | [5 empty] | "Unknown Loss" per Minute (GPM) | 94.2339
36 | [5 empty] | "Unknown Loss" Cost for Month | #VALUE!
37 | WATER LOSS PERCENTAGE FOR PSC RATEMAKING PURPOSES | [6 empty] | 33.72%
© 2019
© 2019

## September
Board and Management
Monthly Water Use Report
Water Utility: |  | Sharpsburg Water District |  |  |  | PWSID: | KY0060392
For the Month of: |  | September |  |  |  | Year: | 2022
Billing Period: |  | 2022-08-26 |  | to | 2022-09-27
1 | PRODUCTION COST PER THOUSAND |  |  |  | (insert cost)
2 | PURCHASE COST PER THOUSAND | [5 empty] | 3.89
| WATER PRODUCED or PURCHASED | [5 empty] | GALLONS
3 | Water Produced | [6 empty] | 0%
4 | Water Purchased |  |  |  | 29986.065 |  | 7708500 | 100%
5 | TOTAL PRODUCED AND PURCHASED | [5 empty] | 7708500
6 | #VALUE! |  | TOTAL COST |  | #VALUE!
WATER SOLD
7 | Residential | [5 empty] | 7704000
8 | Commercial | [5 empty] | 58300
9 | Industrial | [5 empty] | 61000
10 | Bulk Loading Stations | [5 empty] | 12000
11 | Wholesale | (other water systems, special contracts, etc.)
12 | Public Authorities |  | (fire departments, public pools, parks, etc.)
13 | Other Sales (explain)
14 | TOTAL WATER SOLD | [5 empty] | 7835300 | 101.6%
15 | TOTAL WATER NOT SOLD | [5 empty] | -126800 | -1.645%
BREAKDOWN OF WATER USAGE
16 | Water Treatment Plant
17 | Wastewater Treatment Plant
18 | System Flushing |  | (routine and complaint flushing) |  |  |  | 50000 | #VALUE!
19 | DBP Flushing |  | (forced tank overflows and hydrant flushing)
20 | Fire Department |  | (documented for firefighting and training)
21 | Other Usage (explain) | [5 empty] | 1500 | #VALUE!
(identify other usage )
22 | TOTAL USAGE | [5 empty] | 51500
BREAKDOWN OF WATER LOST
23 | Tank Overflows (other than for DBP maintenance)
24 | Main Line Breaks |  | (long term leakage during current month)
25 | Service Line Breaks |  | (repaired during current month)
26 | Line Leaks (calculated line leakage, meter inaccuracies, etc.)
27 | Excavation Damage Loss |  |  | (short term leakage)
28 | Theft | (documented)
ERROR - Unknown Loss cannot be a negative value.
29 | TOTAL DOCUMENTED WATER LOST | [5 empty] | 0
30 | COST OF DOCUMENTED WATER LOST | [5 empty] | #VALUE!
"UNKNOWN LOSS" FLOW RATE AND COST:
31 | [5 empty] | "Unknown Loss" | -178300
32 | [5 empty] | % "Unknown Loss" | -2.313%
33 | [5 empty] | Number of Days in Period | 32
34 | [5 empty] | "Unknown Loss" per Day (Gallons per Day) | -5571.875
35 | [5 empty] | "Unknown Loss" per Minute (GPM) | -3.8694
36 | [5 empty] | "Unknown Loss" Cost for Month | #VALUE!
37 | WATER LOSS PERCENTAGE FOR PSC RATEMAKING PURPOSES | [6 empty] | -2.313%
© 2019
© 2019

## October
Board and Management
Monthly Water Use Report
Water Utility: |  | Sharpsburg Water District |  |  |  | PWSID: | KY0060392
For the Month of: |  | October |  |  |  | Year: | 2022
Billing Period: |  | 2022-09-27 |  | to | 2022-10-25
1 | PRODUCTION COST PER THOUSAND |  |  |  | (insert cost)
2 | PURCHASE COST PER THOUSAND | [5 empty] | 3.89
| WATER PRODUCED or PURCHASED | [5 empty] | GALLONS
3 | Water Produced | [6 empty] | 0%
4 | Water Purchased |  |  |  | 35934.264 |  | 9237600 | 100%
5 | TOTAL PRODUCED AND PURCHASED | [5 empty] | 9237600
6 | #VALUE! |  | TOTAL COST |  | #VALUE!
WATER SOLD
7 | Residential | [5 empty] | 7008600
8 | Commercial | [5 empty] | 59600
9 | Industrial | [5 empty] | 29800
10 | Bulk Loading Stations | [5 empty] | 29900
11 | Wholesale | (other water systems, special contracts, etc.)
12 | Public Authorities |  | (fire departments, public pools, parks, etc.)
13 | Other Sales (explain)
14 | TOTAL WATER SOLD | [5 empty] | 7127900 | 77.16%
15 | TOTAL WATER NOT SOLD | [5 empty] | 2109700 | 22.84%
BREAKDOWN OF WATER USAGE
16 | Water Treatment Plant
17 | Wastewater Treatment Plant
18 | System Flushing |  | (routine and complaint flushing) |  |  |  | 175000 | #VALUE!
19 | DBP Flushing |  | (forced tank overflows and hydrant flushing) |  |  |  | 50000 | #VALUE!
20 | Fire Department |  | (documented for firefighting and training) |  |  |  | 2000 | #VALUE!
21 | Other Usage (explain)
22 | TOTAL USAGE | [5 empty] | 227000
BREAKDOWN OF WATER LOST
23 | Tank Overflows (other than for DBP maintenance)
24 | Main Line Breaks |  | (long term leakage during current month)
25 | Service Line Breaks |  | (repaired during current month)
26 | Line Leaks (calculated line leakage, meter inaccuracies, etc.)
27 | Excavation Damage Loss |  |  | (short term leakage)
28 | Theft | (documented)
29 | TOTAL DOCUMENTED WATER LOST | [5 empty] | 0
30 | COST OF DOCUMENTED WATER LOST | [5 empty] | #VALUE!
"UNKNOWN LOSS" FLOW RATE AND COST:
31 | [5 empty] | "Unknown Loss" | 1882700
32 | [5 empty] | % "Unknown Loss" | 20.38%
33 | [5 empty] | Number of Days in Period | 28
34 | [5 empty] | "Unknown Loss" per Day (Gallons per Day) | 67239.2857
35 | [5 empty] | "Unknown Loss" per Minute (GPM) | 46.6939
36 | [5 empty] | "Unknown Loss" Cost for Month | #VALUE!
37 | WATER LOSS PERCENTAGE FOR PSC RATEMAKING PURPOSES | [6 empty] | 20.38%
© 2019
© 2019

## November
Board and Management
Monthly Water Use Report
Water Utility: |  | Sharpsburg Water District |  |  |  | PWSID: | KY0060392
For the Month of: |  | November |  |  |  | Year: | 2022
Billing Period: |  | 2022-10-25 |  | to | 2022-11-30
1 | PRODUCTION COST PER THOUSAND |  |  |  | (insert cost)
2 | PURCHASE COST PER THOUSAND | [5 empty] | 3.89
| WATER PRODUCED or PURCHASED | [5 empty] | GALLONS
3 | Water Produced | [6 empty] | 0%
4 | Water Purchased |  |  |  | 35934.264 |  | 9237600 | 100%
5 | TOTAL PRODUCED AND PURCHASED | [5 empty] | 9237600
6 | #VALUE! |  | TOTAL COST |  | #VALUE!
WATER SOLD
7 | Residential | [5 empty] | 8517700
8 | Commercial | [5 empty] | 100600
9 | Industrial | [5 empty] | 41700
10 | Bulk Loading Stations | [5 empty] | 16700
11 | Wholesale | (other water systems, special contracts, etc.)
12 | Public Authorities |  | (fire departments, public pools, parks, etc.)
13 | Other Sales (explain)
14 | TOTAL WATER SOLD | [5 empty] | 8676700 | 93.93%
15 | TOTAL WATER NOT SOLD | [5 empty] | 560900 | 6.072%
BREAKDOWN OF WATER USAGE
16 | Water Treatment Plant
17 | Wastewater Treatment Plant
18 | System Flushing |  | (routine and complaint flushing) |  |  |  | 80000 | #VALUE!
19 | DBP Flushing |  | (forced tank overflows and hydrant flushing) |  |  |  | 75000 | #VALUE!
20 | Fire Department |  | (documented for firefighting and training) |  |  |  | 2000 | #VALUE!
21 | Other Usage (explain)
22 | TOTAL USAGE | [5 empty] | 157000
BREAKDOWN OF WATER LOST
23 | Tank Overflows (other than for DBP maintenance)
24 | Main Line Breaks |  | (long term leakage during current month)
25 | Service Line Breaks |  | (repaired during current month)
26 | Line Leaks (calculated line leakage, meter inaccuracies, etc.)
27 | Excavation Damage Loss |  |  | (short term leakage)
28 | Theft | (documented)
29 | TOTAL DOCUMENTED WATER LOST | [5 empty] | 0
30 | COST OF DOCUMENTED WATER LOST | [5 empty] | #VALUE!
"UNKNOWN LOSS" FLOW RATE AND COST:
31 | [5 empty] | "Unknown Loss" | 403900
32 | [5 empty] | % "Unknown Loss" | 4.372%
33 | [5 empty] | Number of Days in Period | 36
34 | [5 empty] | "Unknown Loss" per Day (Gallons per Day) | 11219.4444
35 | [5 empty] | "Unknown Loss" per Minute (GPM) | 7.7913
36 | [5 empty] | "Unknown Loss" Cost for Month | #VALUE!
37 | WATER LOSS PERCENTAGE FOR PSC RATEMAKING PURPOSES | [6 empty] | 4.372%
© 2019
© 2019

## December
Board and Management
Monthly Water Use Report
Water Utility: |  | Sharpsburg Water District |  |  |  | PWSID: | KY0060392
For the Month of: |  | December |  |  |  | Year: | 2022
Billing Period: |  | 2022-11-30 |  | to | 2022-12-28
1 | PRODUCTION COST PER THOUSAND | [5 empty] | 3.89
2 | PURCHASE COST PER THOUSAND |  |  |  | (insert cost)
| WATER PRODUCED or PURCHASED | [5 empty] | GALLONS
3 | Water Produced |  |  |  | 0 |  |  | 0%
4 | Water Purchased | [5 empty] | 10849300 | 100%
5 | TOTAL PRODUCED AND PURCHASED | [5 empty] | 10849300
6 | #VALUE! |  | TOTAL COST |  | #VALUE!
WATER SOLD
7 | Residential | [5 empty] | 7175600
8 | Commercial | [5 empty] | 70200
9 | Industrial | [5 empty] | 44200
10 | Bulk Loading Stations | [5 empty] | 13000
11 | Wholesale | (other water systems, special contracts, etc.)
12 | Public Authorities |  | (fire departments, public pools, parks, etc.)
13 | Other Sales (explain) |  | Estimated Readings |  |  |  | 1500000
14 | TOTAL WATER SOLD | [5 empty] | 8803000 | 81.14%
15 | TOTAL WATER NOT SOLD | [5 empty] | 2046300 | 18.86%
BREAKDOWN OF WATER USAGE
16 | Water Treatment Plant
17 | Wastewater Treatment Plant
18 | System Flushing |  | (routine and complaint flushing) |  |  |  | 60000 | #VALUE!
19 | DBP Flushing |  | (forced tank overflows and hydrant flushing)
20 | Fire Department |  | (documented for firefighting and training)
21 | Other Usage (explain)
22 | TOTAL USAGE | [5 empty] | 60000
BREAKDOWN OF WATER LOST
23 | Tank Overflows (other than for DBP maintenance)
24 | Main Line Breaks |  | (long term leakage during current month)
25 | Service Line Breaks |  | (repaired during current month)
26 | Line Leaks (calculated line leakage, meter inaccuracies, etc.)
27 | Excavation Damage Loss |  |  | (short term leakage)
28 | Theft | (documented)
29 | TOTAL DOCUMENTED WATER LOST | [5 empty] | 0
30 | COST OF DOCUMENTED WATER LOST | [5 empty] | #VALUE!
"UNKNOWN LOSS" FLOW RATE AND COST:
31 | [5 empty] | "Unknown Loss" | 1986300
32 | [5 empty] | % "Unknown Loss" | 18.31%
33 | [5 empty] | Number of Days in Period | 28
34 | [5 empty] | "Unknown Loss" per Day (Gallons per Day) | 70939.2857
35 | [5 empty] | "Unknown Loss" per Minute (GPM) | 49.2634
36 | [5 empty] | "Unknown Loss" Cost for Month | #VALUE!
37 | WATER LOSS PERCENTAGE FOR PSC RATEMAKING PURPOSES | [6 empty] | 18.31%
© 2019
© 2019

## Management Annual Report
Board and Management
Annual Water Use Report
Water Utility: |  | Sharpsburg Water District |  |  |  | PWSID: | KY0060392
[6 empty] | Year: | 2022
1 | PRODUCTION COST PER THOUSAND | [5 empty] | 3.885
2 | PURCHASE COST PER THOUSAND | [5 empty] | 3.884
| WATER PRODUCED or PURCHASED | [5 empty] | GALLONS
3 | Water Produced |  |  |  | 0 |  | 0 | 0%
4 | Water Purchased |  |  |  | 431498.0292 |  | 111096300 | 100%
5 | TOTAL PRODUCED AND PURCHASED | [5 empty] | 111096300
6 | 3.884 |  | TOTAL COST |  | 431498.0292
WATER SOLD
7 | Residential | [5 empty] | 87418300
8 | Commercial | [5 empty] | 804000
9 | Industrial | [5 empty] | 634500
10 | Bulk Loading Stations | [5 empty] | 248900
11 | Wholesale | (other water systems, special contracts, etc.) |  |  |  |  | 0
12 | Public Authorities |  | (fire departments, public pools, parks, etc.) |  |  |  | 0
13 | Other Sales (explain) |  | Refer to individual monthly reports |  |  |  | 1500000
14 | TOTAL WATER SOLD | [5 empty] | 90605700 | 81.56%
15 | TOTAL WATER NOT SOLD | [5 empty] | 20490600 | 18.44%
BREAKDOWN OF WATER USAGE
16 | Water Treatment Plant | [5 empty] | 0
17 | Wastewater Treatment Plant | [5 empty] | 0
18 | System Flushing |  | (routine and complaint flushing) |  |  |  | 1270001 | 4932.6839
19 | DBP Flushing |  | (forced tank overflows and hydrant flushing) |  |  |  | 850000 | 3301.4
20 | Fire Department |  | (documented for firefighting and training) |  |  |  | 18000 | 69.912
21 | Other Usage (explain) |  | Refer to individual monthly reports. |  |  |  | 1500 | 5.826
22 | TOTAL USAGE | [5 empty] | 2139501
BREAKDOWN OF WATER LOST
23 | Tank Overflows (other than for DBP maintenance) | [5 empty] | 0
24 | Main Line Breaks |  | (repaired long term leakage on main lines) |  |  |  | 0
25 | Service Line Breaks |  | (repaired prior to customer meters) |  |  |  | 0
26 | Line Leaks (calculated line leakage, meter inaccuracies, etc.) | [5 empty] | 0
27 | Excavation Damage Loss |  |  | (short term leakage) |  |  | 100000 | 388.4
28 | Theft | (documented) |  |  |  |  | 250000 | 971
29 | TOTAL DOCUMENTED WATER LOST | [5 empty] | 350000
30 | COST OF DOCUMENTED WATER LOST | [5 empty] | 1359.4
"UNKNOWN LOSS" FLOW RATE AND COST:
31 | [5 empty] | "Unknown Loss" | 18001099
32 | [5 empty] | % "Unknown Loss" | 16.2%
33 | [5 empty] | Number of Days in Period | 365
34 | [5 empty] | "Unknown Loss" per Day (Gallons per Day) | 49318.0795
35 | [5 empty] | "Unknown Loss" per Minute (GPM) | 34.2487
36 | [5 empty] | "Unknown Loss" Cost for Year | 69916.2685
37 | WATER LOSS PERCENTAGE FOR PSC RATEMAKING PURPOSES | [6 empty] | 16.52%
© 2019

## PSC Annual Report
PUBLIC SERVICE COMMISSION
Annual Water Loss Report
Water Utility: |  | Sharpsburg Water District |  | PWSID: | KY0060392
|  |  |  | Year: | 2022
LINE # |  |  | ITEM | GALLONS (Omit 000's)
1 | WATER PRODUCED, PURCHASED, & DISTRIBUTED
2 | Water Produced |  |  |  | 0
3 | Water Purchased |  |  |  | 111096.3
4 | TOTAL WATER PRODUCED AND PURCHASED |  |  |  | 111096.3
5
6 | WATER SALES
7 | Residential |  |  |  | 87418.3
8 | Commercial |  |  |  | 804
9 | Industrial |  |  |  | 634.5
10 | Bulk Loading Stations |  |  |  | 248.9
11 | Wholesale |  |  |  | 0
12 | Public Authorities |  |  |  | 0
13 | Other Sales (explain) |  |  |  | 1500
14 | TOTAL WATER SALES |  |  |  | 90605.7
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant |  |  |  | 0
18 | Wastewater Plant |  |  |  | 0
19 | System Flushing |  |  |  | 2120.001
20 | Fire Department |  |  |  | 18
21 | Other Usage (explain) |  |  |  | 1.5
22 | TOTAL OTHER WATER USED |  |  |  | 2139.501
23
24 | WATER LOSS
25 | Tank Overflows |  |  |  | 0
26 | Line Breaks |  |  |  | 0
27 | Line Leaks |  |  |  | 0
28 | Excavation Damages |  |  |  | 100
29 | Theft |  |  |  | 250
30 | Other Loss (explain) |  | Unknown Loss |  | 18001.099
31 | TOTAL LINE LOSS |  |  |  | 18351.099
32
33 | Note: Line 14 + Line 22 + Line 31 Must Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 Divided by Line 4) |  |  |  | 16.52%