## Report Instructions
Instructions for Management Annual Report
Enter system information and year on January page. Cells in the individual monthly pages must have an entry. Enter a zero if no value is available. Entries must match values from the Monthly Reports.
Enter begin date and end date for the billing period for each monthly report. (NOTE: Begin date for following month should be same as the end date of previous month.)
Water Cost
Line 1 & 2: Insert the cost per thousand gallons for water produced or purchased. Entries must be made in both cells. If water not produced or purchased enter a zero in the respective cell.
Water Produced or Purchased
Line 3 & 4: Insert the total gallons produced or purchased. Entries must be made in both cells. If water not produced or purchased enter a zero in the respective cell.
Water Sold
Line 7: Enter the total gallons sold to residential customers.
Line 8: Enter the total gallons sold to commercial customers such as businesses, stores, etc.
Line 9: Enter the total gallons sold to industrial customers such as factories, maunfacturers, etc.
Line 10: Enter the total gallons sold through bulk loading stations.
Line 11: Enter total gallons sold to other water systems or for special long term contracts, etc.
Line 12: Enter total gallons sold to public authorities such as fire stations, public pools, parks, etc.
Line 13: Enter total gallons sold that is not included in lines 7 through 12 above. An example would a temporary or one time sale to a farmer or home construction site. An explanation MUST be included.
Water Used
Line 16: Enter gallons used at the water treatment plant for production, filter backwash, basin cleaning, etc. Do not enter usage that occurs prior to the metered entry point to the distribution system.
Line 17: Enter gallons used at the wastewater treatment plant including chemical feed, basin cleaning, etc.
Line 18: Enter gallons used for hydrant flushing for routine and complaint flushing.
Line 19: Enter gallons used for hydrant flushing and forced tank overflow for DBP flushing.
Line 20: Enter gallons used for fire department usage for training and fire fighting.
Line 21: Enter total gallons used that is not included in lines 16 through 20 above. MUST explain.
Documented Water Lost
Line 23: Enter gallons lost due to documented tank overflows other than for DBP maintenance.
Line 24: Enter gallns for main line repairs for long term leaks during current month.
Line 25: Enter gallons for service line repairs for leaks during current month.
Line 26: Enter gallons lost such as from AWWA line leakage calculation, meter inaccuracies, meter mis-reads, computer and billing adjustments. Documentation MUST be on file for any line leaks entry.
Line 27: Enetr gallons lost for repairs made for short term "Excavation" breaks.
Line 28 Enter gallons lost due to theft during curent month. Documentation MUST be on file.
Unknown Loss
NOTE: Lines 31 through 36 provides information on water that was not sold, used, or lost in documented ways. The amount on line 31 is water lost in still undiscovered locations. This section of the report provides a breakdown of the amounts and costs of this "Unknown Loss".
NOTE: Line 37 is the percentage of water loss for ratemaking puposes for systems under PSC authority. The total gallons lost, known and unknown, is divided by the total produced and/or purchased to determine this percentage.

## January
Board and Management
Monthly Water Use Report
Water Utility: |  | Sharpsburg Water District |  |  |  | PWSID: | KY0060392
For the Month of: |  | January |  |  |  | Year: | 2023
Billing Period: |  | 2023-12-28 |  | to | 2023-01-30
1 | PRODUCTION COST PER THOUSAND |  |  |  | (insert cost)
2 | PURCHASE COST PER THOUSAND | [5 empty] | 3.88
| WATER PRODUCED or PURCHASED | [5 empty] | GALLONS
3 | Water Produced | [6 empty] | 0%
4 | Water Purchased |  |  |  | 36950.016 |  | 9523200 | 100%
5 | TOTAL PRODUCED AND PURCHASED | [5 empty] | 9523200
6 | #VALUE! |  | TOTAL COST |  | #VALUE!
WATER SOLD
7 | Residential | [5 empty] | 7040100
8 | Commercial | [5 empty] | 61100
9 | Industrial | [5 empty] | 15900
10 | Bulk Loading Stations | [5 empty] | 7100
11 | Wholesale | (other water systems, special contracts, etc.)
12 | Public Authorities |  | (fire departments, public pools, parks, etc.)
13 | Other Sales (explain)
14 | TOTAL WATER SOLD | [5 empty] | 7124200 | 74.81%
15 | TOTAL WATER NOT SOLD | [5 empty] | 2399000 | 25.19%
BREAKDOWN OF WATER USAGE
16 | Water Treatment Plant
17 | Wastewater Treatment Plant
18 | System Flushing |  | (routine and complaint flushing) |  |  |  | 150000 | #VALUE!
19 | DBP Flushing |  | (forced tank overflows and hydrant flushing) |  |  |  | 75000 | #VALUE!
20 | Fire Department |  | (documented for firefighting and training) |  |  |  | 21000 | #VALUE!
21 | Other Usage (explain)
22 | TOTAL USAGE | [5 empty] | 246000
BREAKDOWN OF WATER LOST
23 | Tank Overflows (other than for DBP maintenance) | [5 empty] | 25000 | #VALUE!
24 | Main Line Breaks |  | (long term leakage during current month)
25 | Service Line Breaks |  | (repaired during current month)
26 | Line Leaks (calculated line leakage, meter inaccuracies, etc.)
27 | Excavation Damage Loss |  |  | (short term leakage) |  |  | 50000 | #VALUE!
28 | Theft | (documented)
29 | TOTAL DOCUMENTED WATER LOST | [5 empty] | 75000
30 | COST OF DOCUMENTED WATER LOST | [5 empty] | #VALUE!
"UNKNOWN LOSS" FLOW RATE AND COST:
31 | [5 empty] | "Unknown Loss" | 2078000
32 | [5 empty] | % "Unknown Loss" | 21.82%
33 | [5 empty] | Number of Days in Period | -332
34 | [5 empty] | "Unknown Loss" per Day (Gallons per Day) | -6259.0361
35 | [5 empty] | "Unknown Loss" per Minute (GPM) | -4.3466
36 | [5 empty] | "Unknown Loss" Cost for Month | #VALUE!
37 | WATER LOSS PERCENTAGE FOR PSC RATEMAKING PURPOSES | [6 empty] | 22.61%
© 2019
© 2019

## February
Board and Management
Monthly Water Use Report
Water Utility: |  | Sharpsburg Water District |  |  |  | PWSID: | KY0060392
For the Month of: |  | February |  |  |  | Year: | 2023
Billing Period: |  | 2023-01-30 |  | to | 2023-02-24
1 | PRODUCTION COST PER THOUSAND |  |  |  | (insert cost)
2 | PURCHASE COST PER THOUSAND | [5 empty] | 3.88
| WATER PRODUCED or PURCHASED | [5 empty] | GALLONS
3 | Water Produced | [6 empty] | 0%
4 | Water Purchased |  |  |  | 35924.532 |  | 9258900 | 100%
5 | TOTAL PRODUCED AND PURCHASED | [5 empty] | 9258900
6 | #VALUE! |  | TOTAL COST |  | #VALUE!
WATER SOLD
7 | Residential | [5 empty] | 6093700
8 | Commercial | [5 empty] | 43000
9 | Industrial | [5 empty] | 26700
10 | Bulk Loading Stations | [5 empty] | 9400
11 | Wholesale | (other water systems, special contracts, etc.)
12 | Public Authorities |  | (fire departments, public pools, parks, etc.)
13 | Other Sales (explain)
14 | TOTAL WATER SOLD | [5 empty] | 6172800 | 66.67%
15 | TOTAL WATER NOT SOLD | [5 empty] | 3086100 | 33.33%
BREAKDOWN OF WATER USAGE
16 | Water Treatment Plant
17 | Wastewater Treatment Plant
18 | System Flushing |  | (routine and complaint flushing) |  |  |  | 150000 | #VALUE!
19 | DBP Flushing |  | (forced tank overflows and hydrant flushing) |  |  |  | 175000 | #VALUE!
20 | Fire Department |  | (documented for firefighting and training) |  |  |  | 18000 | #VALUE!
21 | Other Usage (explain)
22 | TOTAL USAGE | [5 empty] | 343000
BREAKDOWN OF WATER LOST
23 | Tank Overflows (other than for DBP maintenance)
24 | Main Line Breaks |  | (long term leakage during current month)
25 | Service Line Breaks |  | (repaired during current month)
26 | Line Leaks (calculated line leakage, meter inaccuracies, etc.)
27 | Excavation Damage Loss |  |  | (short term leakage)
28 | Theft | (documented)
29 | TOTAL DOCUMENTED WATER LOST | [5 empty] | 0
30 | COST OF DOCUMENTED WATER LOST | [5 empty] | #VALUE!
"UNKNOWN LOSS" FLOW RATE AND COST:
31 | [5 empty] | "Unknown Loss" | 2743100
32 | [5 empty] | % "Unknown Loss" | 29.63%
33 | [5 empty] | Number of Days in Period | 25
34 | [5 empty] | "Unknown Loss" per Day (Gallons per Day) | 109724
35 | [5 empty] | "Unknown Loss" per Minute (GPM) | 76.1972
36 | [5 empty] | "Unknown Loss" Cost for Month | #VALUE!
37 | WATER LOSS PERCENTAGE FOR PSC RATEMAKING PURPOSES | [6 empty] | 29.63%
© 2019
© 2019

## March
Board and Management
Monthly Water Use Report
Water Utility: |  | Sharpsburg Water District |  |  |  | PWSID: | KY0060392
For the Month of: |  | March |  |  |  | Year: | 2023
Billing Period: |  | 2023-02-24 |  | to | 2023-03-28
1 | PRODUCTION COST PER THOUSAND |  |  |  | (insert cost)
2 | PURCHASE COST PER THOUSAND | [5 empty] | 3.88
| WATER PRODUCED or PURCHASED | [5 empty] | GALLONS
3 | Water Produced | [6 empty] | 0%
4 | Water Purchased |  |  |  | 39318.368 |  | 10133600 | 100%
5 | TOTAL PRODUCED AND PURCHASED | [5 empty] | 10133600
6 | #VALUE! |  | TOTAL COST |  | #VALUE!
WATER SOLD
7 | Residential | [5 empty] | 7219700
8 | Commercial | [5 empty] | 70700
9 | Industrial | [5 empty] | 32000
10 | Bulk Loading Stations | [5 empty] | 10100
11 | Wholesale | (other water systems, special contracts, etc.)
12 | Public Authorities |  | (fire departments, public pools, parks, etc.)
13 | Other Sales (explain)
14 | TOTAL WATER SOLD | [5 empty] | 7332500 | 72.36%
15 | TOTAL WATER NOT SOLD | [5 empty] | 2801100 | 27.64%
BREAKDOWN OF WATER USAGE
16 | Water Treatment Plant
17 | Wastewater Treatment Plant
18 | System Flushing |  | (routine and complaint flushing) |  |  |  | 250000 | #VALUE!
19 | DBP Flushing |  | (forced tank overflows and hydrant flushing) |  |  |  | 75000 | #VALUE!
20 | Fire Department |  | (documented for firefighting and training) |  |  |  | 22000 | #VALUE!
21 | Other Usage (explain) |  | tank overflow telemetry mal function |  |  |  | 50000 | #VALUE!
22 | TOTAL USAGE | [5 empty] | 397000
BREAKDOWN OF WATER LOST
23 | Tank Overflows (other than for DBP maintenance)
24 | Main Line Breaks |  | (long term leakage during current month)
25 | Service Line Breaks |  | (repaired during current month)
26 | Line Leaks (calculated line leakage, meter inaccuracies, etc.)
27 | Excavation Damage Loss |  |  | (short term leakage)
28 | Theft | (documented)
29 | TOTAL DOCUMENTED WATER LOST | [5 empty] | 0
30 | COST OF DOCUMENTED WATER LOST | [5 empty] | #VALUE!
"UNKNOWN LOSS" FLOW RATE AND COST:
31 | [5 empty] | "Unknown Loss" | 2404100
32 | [5 empty] | % "Unknown Loss" | 23.72%
33 | [5 empty] | Number of Days in Period | 32
34 | [5 empty] | "Unknown Loss" per Day (Gallons per Day) | 75128.125
35 | [5 empty] | "Unknown Loss" per Minute (GPM) | 52.1723
36 | [5 empty] | "Unknown Loss" Cost for Month | #VALUE!
37 | WATER LOSS PERCENTAGE FOR PSC RATEMAKING PURPOSES | [6 empty] | 23.72%
© 2019
© 2019

## April
Board and Management
Monthly Water Use Report
Water Utility: |  | Sharpsburg Water District |  |  |  | PWSID: | KY0060392
For the Month of: |  | April |  |  |  | Year: | 2023
Billing Period: |  | 2023-03-28 |  | to | 2023-04-25
1 | PRODUCTION COST PER THOUSAND |  |  |  | (insert cost)
2 | PURCHASE COST PER THOUSAND | [5 empty] | 3.88
| WATER PRODUCED or PURCHASED | [5 empty] | GALLONS
3 | Water Produced | [6 empty] | 0%
4 | Water Purchased |  |  |  | 33268.672 |  | 8574400 | 100%
5 | TOTAL PRODUCED AND PURCHASED | [5 empty] | 8574400
6 | #VALUE! |  | TOTAL COST |  | #VALUE!
WATER SOLD
7 | Residential | [5 empty] | 6297700
8 | Commercial | [5 empty] | 55700
9 | Industrial | [5 empty] | 30000
10 | Bulk Loading Stations | [5 empty] | 17600
11 | Wholesale | (other water systems, special contracts, etc.)
12 | Public Authorities |  | (fire departments, public pools, parks, etc.)
13 | Other Sales (explain)
14 | TOTAL WATER SOLD | [5 empty] | 6401000 | 74.65%
15 | TOTAL WATER NOT SOLD | [5 empty] | 2173400 | 25.35%
BREAKDOWN OF WATER USAGE
16 | Water Treatment Plant
17 | Wastewater Treatment Plant
18 | System Flushing |  | (routine and complaint flushing) |  |  |  | 150000 | #VALUE!
19 | DBP Flushing |  | (forced tank overflows and hydrant flushing) |  |  |  | 50000 | #VALUE!
20 | Fire Department |  | (documented for firefighting and training) |  |  |  | 5000 | #VALUE!
21 | Other Usage (explain) |  | Scada system malfunction over flow tank |  |  |  | 50000 | #VALUE!
22 | TOTAL USAGE | [5 empty] | 255000
BREAKDOWN OF WATER LOST
23 | Tank Overflows (other than for DBP maintenance)
24 | Main Line Breaks |  | (long term leakage during current month)
25 | Service Line Breaks |  | (repaired during current month)
26 | Line Leaks (calculated line leakage, meter inaccuracies, etc.)
27 | Excavation Damage Loss |  |  | (short term leakage)
28 | Theft | (documented)
29 | TOTAL DOCUMENTED WATER LOST | [5 empty] | 0
30 | COST OF DOCUMENTED WATER LOST | [5 empty] | #VALUE!
"UNKNOWN LOSS" FLOW RATE AND COST:
31 | [5 empty] | "Unknown Loss" | 1918400
32 | [5 empty] | % "Unknown Loss" | 22.37%
33 | [5 empty] | Number of Days in Period | 28
34 | [5 empty] | "Unknown Loss" per Day (Gallons per Day) | 68514.2857
35 | [5 empty] | "Unknown Loss" per Minute (GPM) | 47.5794
36 | [5 empty] | "Unknown Loss" Cost for Month | #VALUE!
37 | WATER LOSS PERCENTAGE FOR PSC RATEMAKING PURPOSES | [6 empty] | 22.37%
© 2019
© 2019

## May
Board and Management
Monthly Water Use Report
Water Utility: |  | Sharpsburg Water District |  |  |  | PWSID: | KY0060392
For the Month of: |  | May |  |  |  | Year: | 2023
Billing Period: |  | 2023-04-25 |  | to | 2023-05-25
1 | PRODUCTION COST PER THOUSAND |  |  |  | (insert cost)
2 | PURCHASE COST PER THOUSAND | [5 empty] | 3.88
| WATER PRODUCED or PURCHASED | [5 empty] | GALLONS
3 | Water Produced | [6 empty] | 0%
4 | Water Purchased |  |  |  | 29285.464 |  | 7547800 | 100%
5 | TOTAL PRODUCED AND PURCHASED | [5 empty] | 7547800
6 | #VALUE! |  | TOTAL COST |  | #VALUE!
WATER SOLD
7 | Residential | [5 empty] | 7019700
8 | Commercial | [5 empty] | 74000
9 | Industrial | [5 empty] | 66800
10 | Bulk Loading Stations | [5 empty] | 13000
11 | Wholesale | (other water systems, special contracts, etc.)
12 | Public Authorities |  | (fire departments, public pools, parks, etc.)
13 | Other Sales (explain)
14 | TOTAL WATER SOLD | [5 empty] | 7173500 | 95.04%
15 | TOTAL WATER NOT SOLD | [5 empty] | 374300 | 4.959%
BREAKDOWN OF WATER USAGE
16 | Water Treatment Plant
17 | Wastewater Treatment Plant
18 | System Flushing |  | (routine and complaint flushing) |  |  |  | 150000 | #VALUE!
19 | DBP Flushing |  | (forced tank overflows and hydrant flushing)
20 | Fire Department |  | (documented for firefighting and training) |  |  |  | 2000 | #VALUE!
21 | Other Usage (explain) |  | Keith Markland put jumper in meter box |  |  |  | 21000 | #VALUE!
22 | TOTAL USAGE | [5 empty] | 173000
BREAKDOWN OF WATER LOST
23 | Tank Overflows (other than for DBP maintenance)
24 | Main Line Breaks |  | (long term leakage during current month)
25 | Service Line Breaks |  | (repaired during current month)
26 | Line Leaks (calculated line leakage, meter inaccuracies, etc.)
27 | Excavation Damage Loss |  |  | (short term leakage)
28 | Theft | (documented)
29 | TOTAL DOCUMENTED WATER LOST | [5 empty] | 0
30 | COST OF DOCUMENTED WATER LOST | [5 empty] | #VALUE!
"UNKNOWN LOSS" FLOW RATE AND COST:
31 | [5 empty] | "Unknown Loss" | 201300
32 | [5 empty] | % "Unknown Loss" | 2.667%
33 | [5 empty] | Number of Days in Period | 30
34 | [5 empty] | "Unknown Loss" per Day (Gallons per Day) | 6710
35 | [5 empty] | "Unknown Loss" per Minute (GPM) | 4.6597
36 | [5 empty] | "Unknown Loss" Cost for Month | #VALUE!
37 | WATER LOSS PERCENTAGE FOR PSC RATEMAKING PURPOSES | [6 empty] | 2.667%
© 2019
© 2019

## June
Board and Management
Monthly Water Use Report
Water Utility: |  | Sharpsburg Water District |  |  |  | PWSID: | KY0060392
For the Month of: |  | June |  |  |  | Year: | 2023
Billing Period: |  | 2023-05-25 |  | to | 2023-06-27
1 | PRODUCTION COST PER THOUSAND |  |  |  | (insert cost)
2 | PURCHASE COST PER THOUSAND | [5 empty] | 3.88
| WATER PRODUCED or PURCHASED | [5 empty] | GALLONS
3 | Water Produced | [6 empty] | 0%
4 | Water Purchased |  |  |  | 37520.764 |  | 9670300 | 100%
5 | TOTAL PRODUCED AND PURCHASED | [5 empty] | 9670300
6 | #VALUE! |  | TOTAL COST |  | #VALUE!
WATER SOLD
7 | Residential | [5 empty] | 9311900
8 | Commercial | [5 empty] | 80400
9 | Industrial | [5 empty] | 29500
10 | Bulk Loading Stations | [5 empty] | 24000
11 | Wholesale | (other water systems, special contracts, etc.)
12 | Public Authorities |  | (fire departments, public pools, parks, etc.)
13 | Other Sales (explain)
14 | TOTAL WATER SOLD | [5 empty] | 9445800 | 97.68%
15 | TOTAL WATER NOT SOLD | [5 empty] | 224500 | 2.322%
BREAKDOWN OF WATER USAGE
16 | Water Treatment Plant
17 | Wastewater Treatment Plant
18 | System Flushing |  | (routine and complaint flushing) |  |  |  | 50000 | #VALUE!
19 | DBP Flushing |  | (forced tank overflows and hydrant flushing)
20 | Fire Department |  | (documented for firefighting and training) |  |  |  | 28000 | #VALUE!
21 | Other Usage (explain)
22 | TOTAL USAGE | [5 empty] | 78000
BREAKDOWN OF WATER LOST
23 | Tank Overflows (other than for DBP maintenance)
24 | Main Line Breaks |  | (long term leakage during current month)
25 | Service Line Breaks |  | (repaired during current month)
26 | Line Leaks (calculated line leakage, meter inaccuracies, etc.)
27 | Excavation Damage Loss |  |  | (short term leakage)
28 | Theft | (documented)
29 | TOTAL DOCUMENTED WATER LOST | [5 empty] | 0
30 | COST OF DOCUMENTED WATER LOST | [5 empty] | #VALUE!
"UNKNOWN LOSS" FLOW RATE AND COST:
31 | [5 empty] | "Unknown Loss" | 146500
32 | [5 empty] | % "Unknown Loss" | 1.515%
33 | [5 empty] | Number of Days in Period | 33
34 | [5 empty] | "Unknown Loss" per Day (Gallons per Day) | 4439.3939
35 | [5 empty] | "Unknown Loss" per Minute (GPM) | 3.0829
36 | [5 empty] | "Unknown Loss" Cost for Month | #VALUE!
37 | WATER LOSS PERCENTAGE FOR PSC RATEMAKING PURPOSES | [6 empty] | 1.515%
© 2019
© 2019

## July
Board and Management
Monthly Water Use Report
Water Utility: |  | Sharpsburg Water District |  |  |  | PWSID: | KY0060392
For the Month of: |  | July |  |  |  | Year: | 2023
Billing Period: |  | 2023-06-27 |  | to | 2023-07-25
1 | PRODUCTION COST PER THOUSAND |  |  |  | (insert cost)
2 | PURCHASE COST PER THOUSAND | [5 empty] | 3.88
| WATER PRODUCED or PURCHASED | [5 empty] | GALLONS
3 | Water Produced | [6 empty] | 0%
4 | Water Purchased |  |  |  | 42432.456 |  | 10936200 | 100%
5 | TOTAL PRODUCED AND PURCHASED | [5 empty] | 10936200
6 | #VALUE! |  | TOTAL COST |  | #VALUE!
WATER SOLD
7 | Residential | [5 empty] | 7053600
8 | Commercial | [5 empty] | 61200
9 | Industrial | [5 empty] | 49200
10 | Bulk Loading Stations | [5 empty] | 13000
11 | Wholesale | (other water systems, special contracts, etc.)
12 | Public Authorities |  | (fire departments, public pools, parks, etc.)
13 | Other Sales (explain)
14 | TOTAL WATER SOLD | [5 empty] | 7177000 | 65.63%
15 | TOTAL WATER NOT SOLD | [5 empty] | 3759200 | 34.37%
BREAKDOWN OF WATER USAGE
16 | Water Treatment Plant
17 | Wastewater Treatment Plant
18 | System Flushing |  | (routine and complaint flushing) |  |  |  | 150000 | #VALUE!
19 | DBP Flushing |  | (forced tank overflows and hydrant flushing) |  |  |  | 50000 | #VALUE!
20 | Fire Department |  | (documented for firefighting and training) |  |  |  | 20000 | #VALUE!
21 | Other Usage (explain) |  | L. Bretz broke lock/Scada mal function tank |  |  |  | 50000 | #VALUE!
22 | TOTAL USAGE | [5 empty] | 270000
BREAKDOWN OF WATER LOST
23 | Tank Overflows (other than for DBP maintenance)
24 | Main Line Breaks |  | (long term leakage during current month)
25 | Service Line Breaks |  | (repaired during current month)
26 | Line Leaks (calculated line leakage, meter inaccuracies, etc.)
27 | Excavation Damage Loss |  |  | (short term leakage)
28 | Theft | (documented)
29 | TOTAL DOCUMENTED WATER LOST | [5 empty] | 0
30 | COST OF DOCUMENTED WATER LOST | [5 empty] | #VALUE!
"UNKNOWN LOSS" FLOW RATE AND COST:
31 | [5 empty] | "Unknown Loss" | 3489200
32 | [5 empty] | % "Unknown Loss" | 31.91%
33 | [5 empty] | Number of Days in Period | 28
34 | [5 empty] | "Unknown Loss" per Day (Gallons per Day) | 124614.2857
35 | [5 empty] | "Unknown Loss" per Minute (GPM) | 86.5377
36 | [5 empty] | "Unknown Loss" Cost for Month | #VALUE!
37 | WATER LOSS PERCENTAGE FOR PSC RATEMAKING PURPOSES | [6 empty] | 31.91%
© 2019
© 2019

## August
Board and Management
Monthly Water Use Report
Water Utility: |  | Sharpsburg Water District |  |  |  | PWSID: | KY0060392
For the Month of: |  | August |  |  |  | Year: | 2023
Billing Period: |  | 2023-07-25 |  | to | 2023-08-29
1 | PRODUCTION COST PER THOUSAND |  |  |  | (insert cost)
2 | PURCHASE COST PER THOUSAND | [5 empty] | 3.88
| WATER PRODUCED or PURCHASED | [5 empty] | GALLONS
3 | Water Produced | [6 empty] | 0%
4 | Water Purchased |  |  |  | 42432.456 |  | 10936200 | 100%
5 | TOTAL PRODUCED AND PURCHASED | [5 empty] | 10936200
6 | #VALUE! |  | TOTAL COST |  | #VALUE!
WATER SOLD
7 | Residential | [5 empty] | 8688200
8 | Commercial | [5 empty] | 95800
9 | Industrial | [5 empty] | 25200
10 | Bulk Loading Stations | [5 empty] | 20000
11 | Wholesale | (other water systems, special contracts, etc.)
12 | Public Authorities |  | (fire departments, public pools, parks, etc.)
13 | Other Sales (explain)
14 | TOTAL WATER SOLD | [5 empty] | 8829200 | 80.73%
15 | TOTAL WATER NOT SOLD | [5 empty] | 2107000 | 19.27%
BREAKDOWN OF WATER USAGE
16 | Water Treatment Plant
17 | Wastewater Treatment Plant
18 | System Flushing |  | (routine and complaint flushing) |  |  |  | 150000 | #VALUE!
19 | DBP Flushing |  | (forced tank overflows and hydrant flushing) |  |  |  | 90000 | #VALUE!
20 | Fire Department |  | (documented for firefighting and training) |  |  |  | 27000 | #VALUE!
21 | Other Usage (explain)
22 | TOTAL USAGE | [5 empty] | 267000
BREAKDOWN OF WATER LOST
23 | Tank Overflows (other than for DBP maintenance)
24 | Main Line Breaks |  | (long term leakage during current month)
25 | Service Line Breaks |  | (repaired during current month)
26 | Line Leaks (calculated line leakage, meter inaccuracies, etc.)
27 | Excavation Damage Loss |  |  | (short term leakage) |  |  | 50000 | #VALUE!
28 | Theft | (documented) |  |  |  |  | 20000 | #VALUE!
29 | TOTAL DOCUMENTED WATER LOST | [5 empty] | 70000
30 | COST OF DOCUMENTED WATER LOST | [5 empty] | #VALUE!
"UNKNOWN LOSS" FLOW RATE AND COST:
31 | [5 empty] | "Unknown Loss" | 1770000
32 | [5 empty] | % "Unknown Loss" | 16.18%
33 | [5 empty] | Number of Days in Period | 35
34 | [5 empty] | "Unknown Loss" per Day (Gallons per Day) | 50571.4286
35 | [5 empty] | "Unknown Loss" per Minute (GPM) | 35.119
36 | [5 empty] | "Unknown Loss" Cost for Month | #VALUE!
37 | WATER LOSS PERCENTAGE FOR PSC RATEMAKING PURPOSES | [6 empty] | 16.82%
© 2019
© 2019

## September
Board and Management
Monthly Water Use Report
Water Utility: |  | Sharpsburg Water District |  |  |  | PWSID: | KY0060392
For the Month of: |  | September |  |  |  | Year: | 2023
Billing Period: |  | 2023-08-29 |  | to | 2023-09-26
1 | PRODUCTION COST PER THOUSAND |  |  |  | (insert cost)
2 | PURCHASE COST PER THOUSAND | [5 empty] | 3.88
| WATER PRODUCED or PURCHASED | [5 empty] | GALLONS
3 | Water Produced | [6 empty] | 0%
4 | Water Purchased |  |  |  | 38723.176 |  | 9980200 | 100%
5 | TOTAL PRODUCED AND PURCHASED | [5 empty] | 9980200
6 | #VALUE! |  | TOTAL COST |  | #VALUE!
WATER SOLD
7 | Residential | [5 empty] | 7049200
8 | Commercial | [5 empty] | 80000
9 | Industrial | [5 empty] | 17100
10 | Bulk Loading Stations | [5 empty] | 25000
11 | Wholesale | (other water systems, special contracts, etc.)
12 | Public Authorities |  | (fire departments, public pools, parks, etc.)
13 | Other Sales (explain)
14 | TOTAL WATER SOLD | [5 empty] | 7171300 | 71.86%
15 | TOTAL WATER NOT SOLD | [5 empty] | 2808900 | 28.14%
BREAKDOWN OF WATER USAGE
16 | Water Treatment Plant
17 | Wastewater Treatment Plant
18 | System Flushing |  | (routine and complaint flushing) |  |  |  | 175000 | #VALUE!
19 | DBP Flushing |  | (forced tank overflows and hydrant flushing) |  |  |  | 80000 | #VALUE!
20 | Fire Department |  | (documented for firefighting and training) |  |  |  | 22000 | #VALUE!
21 | Other Usage (explain)
22 | TOTAL USAGE | [5 empty] | 277000
BREAKDOWN OF WATER LOST
23 | Tank Overflows (other than for DBP maintenance) | [5 empty] | 100000 | #VALUE!
24 | Main Line Breaks |  | (long term leakage during current month)
25 | Service Line Breaks |  | (repaired during current month)
26 | Line Leaks (calculated line leakage, meter inaccuracies, etc.)
27 | Excavation Damage Loss |  |  | (short term leakage) |  |  | 50000 | #VALUE!
28 | Theft | (documented)
29 | TOTAL DOCUMENTED WATER LOST | [5 empty] | 150000
30 | COST OF DOCUMENTED WATER LOST | [5 empty] | #VALUE!
"UNKNOWN LOSS" FLOW RATE AND COST:
31 | [5 empty] | "Unknown Loss" | 2381900
32 | [5 empty] | % "Unknown Loss" | 23.87%
33 | [5 empty] | Number of Days in Period | 28
34 | [5 empty] | "Unknown Loss" per Day (Gallons per Day) | 85067.8571
35 | [5 empty] | "Unknown Loss" per Minute (GPM) | 59.0749
36 | [5 empty] | "Unknown Loss" Cost for Month | #VALUE!
37 | WATER LOSS PERCENTAGE FOR PSC RATEMAKING PURPOSES | [6 empty] | 25.37%
© 2019
© 2019

## October
Board and Management
Monthly Water Use Report
Water Utility: |  | Sharpsburg Water District |  |  |  | PWSID: | KY0060392
For the Month of: |  | October |  |  |  | Year: | 2023
Billing Period: |  | 2023-09-26 |  | to | 2023-10-27
1 | PRODUCTION COST PER THOUSAND |  |  |  | (insert cost)
2 | PURCHASE COST PER THOUSAND | [5 empty] | 3.88
| WATER PRODUCED or PURCHASED | [5 empty] | GALLONS
3 | Water Produced | [6 empty] | 0%
4 | Water Purchased |  |  |  | 35893.88 |  | 9251000 | 100%
5 | TOTAL PRODUCED AND PURCHASED | [5 empty] | 9251000
6 | #VALUE! |  | TOTAL COST |  | #VALUE!
WATER SOLD
7 | Residential | [5 empty] | 7268800
8 | Commercial | [5 empty] | 88000
9 | Industrial | [5 empty] | 31800
10 | Bulk Loading Stations | [5 empty] | 21500
11 | Wholesale | (other water systems, special contracts, etc.)
12 | Public Authorities |  | (fire departments, public pools, parks, etc.)
13 | Other Sales (explain)
14 | TOTAL WATER SOLD | [5 empty] | 7410100 | 80.1%
15 | TOTAL WATER NOT SOLD | [5 empty] | 1840900 | 19.9%
BREAKDOWN OF WATER USAGE
16 | Water Treatment Plant
17 | Wastewater Treatment Plant
18 | System Flushing |  | (routine and complaint flushing) |  |  |  | 150000 | #VALUE!
19 | DBP Flushing |  | (forced tank overflows and hydrant flushing)
20 | Fire Department |  | (documented for firefighting and training) |  |  |  | 15000 | #VALUE!
21 | Other Usage (explain) |  | Telemetry mal function tank overflow |  |  |  | 100000 | #VALUE!
22 | TOTAL USAGE | [5 empty] | 265000
BREAKDOWN OF WATER LOST
23 | Tank Overflows (other than for DBP maintenance)
24 | Main Line Breaks |  | (long term leakage during current month)
25 | Service Line Breaks |  | (repaired during current month)
26 | Line Leaks (calculated line leakage, meter inaccuracies, etc.)
27 | Excavation Damage Loss |  |  | (short term leakage)
28 | Theft | (documented)
29 | TOTAL DOCUMENTED WATER LOST | [5 empty] | 0
30 | COST OF DOCUMENTED WATER LOST | [5 empty] | #VALUE!
"UNKNOWN LOSS" FLOW RATE AND COST:
31 | [5 empty] | "Unknown Loss" | 1575900
32 | [5 empty] | % "Unknown Loss" | 17.03%
33 | [5 empty] | Number of Days in Period | 31
34 | [5 empty] | "Unknown Loss" per Day (Gallons per Day) | 50835.4839
35 | [5 empty] | "Unknown Loss" per Minute (GPM) | 35.3024
36 | [5 empty] | "Unknown Loss" Cost for Month | #VALUE!
37 | WATER LOSS PERCENTAGE FOR PSC RATEMAKING PURPOSES | [6 empty] | 17.03%
© 2019
© 2019

## November
Board and Management
Monthly Water Use Report
Water Utility: |  | Sharpsburg Water District |  |  |  | PWSID: | KY0060392
For the Month of: |  | November |  |  |  | Year: | 2023
Billing Period: |  | 2023-10-27 |  | to | 2023-11-28
1 | PRODUCTION COST PER THOUSAND |  |  |  | (insert cost)
2 | PURCHASE COST PER THOUSAND | [5 empty] | 3.88
| WATER PRODUCED or PURCHASED | [5 empty] | GALLONS
3 | Water Produced | [6 empty] | 0%
4 | Water Purchased |  |  |  | 39697.444 |  | 10231300 | 100%
5 | TOTAL PRODUCED AND PURCHASED | [5 empty] | 10231300
6 | #VALUE! |  | TOTAL COST |  | #VALUE!
WATER SOLD
7 | Residential | [5 empty] | 7500900
8 | Commercial | [5 empty] | 77000
9 | Industrial | [5 empty] | 39900
10 | Bulk Loading Stations | [5 empty] | 13700
11 | Wholesale | (other water systems, special contracts, etc.)
12 | Public Authorities |  | (fire departments, public pools, parks, etc.)
13 | Other Sales (explain)
14 | TOTAL WATER SOLD | [5 empty] | 7631500 | 74.59%
15 | TOTAL WATER NOT SOLD | [5 empty] | 2599800 | 25.41%
BREAKDOWN OF WATER USAGE
16 | Water Treatment Plant
17 | Wastewater Treatment Plant
18 | System Flushing |  | (routine and complaint flushing) |  |  |  | 125000 | #VALUE!
19 | DBP Flushing |  | (forced tank overflows and hydrant flushing) |  |  |  | 75000 | #VALUE!
20 | Fire Department |  | (documented for firefighting and training) |  |  |  | 20000 | #VALUE!
21 | Other Usage (explain)
22 | TOTAL USAGE | [5 empty] | 220000
BREAKDOWN OF WATER LOST
23 | Tank Overflows (other than for DBP maintenance)
24 | Main Line Breaks |  | (long term leakage during current month)
25 | Service Line Breaks |  | (repaired during current month)
26 | Line Leaks (calculated line leakage, meter inaccuracies, etc.)
27 | Excavation Damage Loss |  |  | (short term leakage)
28 | Theft | (documented)
29 | TOTAL DOCUMENTED WATER LOST | [5 empty] | 0
30 | COST OF DOCUMENTED WATER LOST | [5 empty] | #VALUE!
"UNKNOWN LOSS" FLOW RATE AND COST:
31 | [5 empty] | "Unknown Loss" | 2379800
32 | [5 empty] | % "Unknown Loss" | 23.26%
33 | [5 empty] | Number of Days in Period | 32
34 | [5 empty] | "Unknown Loss" per Day (Gallons per Day) | 74368.75
35 | [5 empty] | "Unknown Loss" per Minute (GPM) | 51.645
36 | [5 empty] | "Unknown Loss" Cost for Month | #VALUE!
37 | WATER LOSS PERCENTAGE FOR PSC RATEMAKING PURPOSES | [6 empty] | 23.26%
© 2019
© 2019

## December
Board and Management
Monthly Water Use Report
Water Utility: |  | Sharpsburg Water District |  |  |  | PWSID: | KY0060392
For the Month of: |  | December |  |  |  | Year: | 2023
Billing Period: |  | 2023-11-28 |  | to | 2023-12-27
1 | PRODUCTION COST PER THOUSAND |  |  |  | (insert cost)
2 | PURCHASE COST PER THOUSAND | [5 empty] | 3.88
| WATER PRODUCED or PURCHASED | [5 empty] | GALLONS
3 | Water Produced | [6 empty] | 0%
4 | Water Purchased |  |  |  | 38812.416 |  | 10003200 | 100%
5 | TOTAL PRODUCED AND PURCHASED | [5 empty] | 10003200
6 | #VALUE! |  | TOTAL COST |  | #VALUE!
WATER SOLD
7 | Residential | [5 empty] | 6367400
8 | Commercial | [5 empty] | 117900
9 | Industrial | [5 empty] | 36200
10 | Bulk Loading Stations | [5 empty] | 6500
11 | Wholesale | (other water systems, special contracts, etc.)
12 | Public Authorities |  | (fire departments, public pools, parks, etc.)
13 | Other Sales (explain)
14 | TOTAL WATER SOLD | [5 empty] | 6528000 | 65.26%
15 | TOTAL WATER NOT SOLD | [5 empty] | 3475200 | 34.74%
BREAKDOWN OF WATER USAGE
16 | Water Treatment Plant
17 | Wastewater Treatment Plant
18 | System Flushing |  | (routine and complaint flushing) |  |  |  | 250000 | #VALUE!
19 | DBP Flushing |  | (forced tank overflows and hydrant flushing) |  |  |  | 175000 | #VALUE!
20 | Fire Department |  | (documented for firefighting and training) |  |  |  | 20000 | #VALUE!
21 | Other Usage (explain)
22 | TOTAL USAGE | [5 empty] | 445000
BREAKDOWN OF WATER LOST
23 | Tank Overflows (other than for DBP maintenance)
24 | Main Line Breaks |  | (long term leakage during current month)
25 | Service Line Breaks |  | (repaired during current month)
26 | Line Leaks (calculated line leakage, meter inaccuracies, etc.)
27 | Excavation Damage Loss |  |  | (short term leakage)
28 | Theft | (documented)
29 | TOTAL DOCUMENTED WATER LOST | [5 empty] | 0
30 | COST OF DOCUMENTED WATER LOST | [5 empty] | #VALUE!
"UNKNOWN LOSS" FLOW RATE AND COST:
31 | [5 empty] | "Unknown Loss" | 3030200
32 | [5 empty] | % "Unknown Loss" | 30.29%
33 | [5 empty] | Number of Days in Period | 29
34 | [5 empty] | "Unknown Loss" per Day (Gallons per Day) | 104489.6552
35 | [5 empty] | "Unknown Loss" per Minute (GPM) | 72.5623
36 | [5 empty] | "Unknown Loss" Cost for Month | #VALUE!
37 | WATER LOSS PERCENTAGE FOR PSC RATEMAKING PURPOSES | [6 empty] | 30.29%
© 2019
© 2019

## Management Annual Report
Board and Management
Annual Water Use Report
Water Utility: |  | Sharpsburg Water District |  |  |  | PWSID: | KY0060392
[6 empty] | Year: | 2023
1 | PRODUCTION COST PER THOUSAND |  |  |  | #DIV/0! |  | #DIV/0!
2 | PURCHASE COST PER THOUSAND | [5 empty] | 3.88
| WATER PRODUCED or PURCHASED | [5 empty] | GALLONS
3 | Water Produced |  |  |  | #DIV/0! |  | 0 | 0%
4 | Water Purchased |  |  |  | 450259.644 |  | 116046300 | 100%
5 | TOTAL PRODUCED AND PURCHASED | [5 empty] | 116046300
6 | #DIV/0! |  | TOTAL COST |  | #DIV/0!
WATER SOLD
7 | Residential | [5 empty] | 86910900
8 | Commercial | [5 empty] | 904800
9 | Industrial | [5 empty] | 400300
10 | Bulk Loading Stations | [5 empty] | 180900
11 | Wholesale | (other water systems, special contracts, etc.) |  |  |  |  | 0
12 | Public Authorities |  | (fire departments, public pools, parks, etc.) |  |  |  | 0
13 | Other Sales (explain) |  | Refer to individual monthly reports |  |  |  | 0
14 | TOTAL WATER SOLD | [5 empty] | 88396900 | 76.17%
15 | TOTAL WATER NOT SOLD | [5 empty] | 27649400 | 23.83%
BREAKDOWN OF WATER USAGE
16 | Water Treatment Plant | [5 empty] | 0
17 | Wastewater Treatment Plant | [5 empty] | 0
18 | System Flushing |  | (routine and complaint flushing) |  |  |  | 1900000 | #DIV/0!
19 | DBP Flushing |  | (forced tank overflows and hydrant flushing) |  |  |  | 845000 | #DIV/0!
20 | Fire Department |  | (documented for firefighting and training) |  |  |  | 220000 | #DIV/0!
21 | Other Usage (explain) |  | Refer to individual monthly reports. |  |  |  | 271000 | #DIV/0!
22 | TOTAL USAGE | [5 empty] | 3236000
BREAKDOWN OF WATER LOST
23 | Tank Overflows (other than for DBP maintenance) | [5 empty] | 125000 | #DIV/0!
24 | Main Line Breaks |  | (repaired long term leakage on main lines) |  |  |  | 0
25 | Service Line Breaks |  | (repaired prior to customer meters) |  |  |  | 0
26 | Line Leaks (calculated line leakage, meter inaccuracies, etc.) | [5 empty] | 0
27 | Excavation Damage Loss |  |  | (short term leakage) |  |  | 150000 | #DIV/0!
28 | Theft | (documented) |  |  |  |  | 20000 | #DIV/0!
29 | TOTAL DOCUMENTED WATER LOST | [5 empty] | 295000
30 | COST OF DOCUMENTED WATER LOST | [5 empty] | #DIV/0!
"UNKNOWN LOSS" FLOW RATE AND COST:
31 | [5 empty] | "Unknown Loss" | 24118400
32 | [5 empty] | % "Unknown Loss" | 20.78%
33 | [5 empty] | Number of Days in Period | -1
34 | [5 empty] | "Unknown Loss" per Day (Gallons per Day) | -24118400
35 | [5 empty] | "Unknown Loss" per Minute (GPM) | -16748.8889
36 | [5 empty] | "Unknown Loss" Cost for Year | #DIV/0!
37 | WATER LOSS PERCENTAGE FOR PSC RATEMAKING PURPOSES | [6 empty] | 21.04%
© 2019

## PSC Annual Report
PUBLIC SERVICE COMMISSION
Annual Water Loss Report
Water Utility: |  | Sharpsburg Water District |  | PWSID: | KY0060392
|  |  |  | Year: | 2023
LINE # |  |  | ITEM | GALLONS (Omit 000's)
1 | WATER PRODUCED, PURCHASED, & DISTRIBUTED
2 | Water Produced |  |  |  | 0
3 | Water Purchased |  |  |  | 116046.3
4 | TOTAL WATER PRODUCED AND PURCHASED |  |  |  | 116046.3
5
6 | WATER SALES
7 | Residential |  |  |  | 86910.9
8 | Commercial |  |  |  | 904.8
9 | Industrial |  |  |  | 400.3
10 | Bulk Loading Stations |  |  |  | 180.9
11 | Wholesale |  |  |  | 0
12 | Public Authorities |  |  |  | 0
13 | Other Sales (explain) |  |  |  | 0
14 | TOTAL WATER SALES |  |  |  | 88396.9
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant |  |  |  | 0
18 | Wastewater Plant |  |  |  | 0
19 | System Flushing |  |  |  | 2745
20 | Fire Department |  |  |  | 220
21 | Other Usage (explain) |  |  |  | 271
22 | TOTAL OTHER WATER USED |  |  |  | 3236
23
24 | WATER LOSS
25 | Tank Overflows |  |  |  | 125
26 | Line Breaks |  |  |  | 0
27 | Line Leaks |  |  |  | 0
28 | Excavation Damages |  |  |  | 150
29 | Theft |  |  |  | 20
30 | Other Loss (explain) |  | Unknown Loss |  | 24118.4
31 | TOTAL LINE LOSS |  |  |  | 24413.4
32
33 | Note: Line 14 + Line 22 + Line 31 Must Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 Divided by Line 4) |  |  |  | 21.04%