## Taylor County Summary
Taylor County RECC | [10 empty] | Taylor County RECC | [5 empty] | Taylor County RECC
Analysis of Depreciation Rates | [10 empty] | Analysis of Change in Depreciation Rates | [5 empty] | Comparison of Proposed Depreciation Rates to RUS Range
[14 empty] | Depreciation | Depreciation
|  | Survivor Curve |  | Average Srervice Life (ASL) |  | Net Salvage |  | Depreciation Rates |  |  |  |  | 2021-12-31 | Accrual at | Accrual at |  |  |  | Proposed
Account | Description | Current | Proposed | Current | Proposed | Current | Proposed | Proposed in Last Case | Approved in Last Case | Recommended | Account | Description | Investment | Current Rates | Current Rates | Difference | Account | Description | Rates | RUS Range
362 | Station Equipment | S6 |  | 15 |  | 0 |  | N/A |  | N/A | 362 | Station Equipment | 0 |  |  | 0 | 362 | Station Equipment |  | 2.7% | - | 3.2%
364 | Poles Towers & Fixtures | R1.5 | R1.5 | 34.3 | 43 | -21.5 | -52.2 | 3.54% | 3.54% | 3.54% | 364 | Poles Towers & Fixtures | 33707887 | 1193259.1998 | 1193259.1998 | 0 | 364 | Poles Towers & Fixtures | 3.54% | 3% | - | 4%
365 | Overhead Conductor & Devices | S0 | S5 | 46 | 46 | -27 | -27 | 2.76% | 2.76% | 2.76% | 365 | Overhead Conductor & Devices | 21945855 | 605705.598 | 605705.598 | 0 | 365 | Overhead Conductor & Devices | 2.76% | 2.3% | - | 2.8%
366 | Underground Conduit | R3 | R3 | 42.1 | 40 | 0 | 0 | 2.38% | 2.38% | 2.5% | 366 | Underground Conduit | 1669351 | 39730.5538 | 41733.775 | 2003.2212 | 366 | Underground Conduit | 2.5% | 1.8% | - | 2.3%
367 | Underground Conductor & Devices | L5 | R1.5 | 24.1 | 30 | -12 | -39.5 | 4.65% | 2.9% | 4.65% | 367 | Underground Conductor & Devices | 5607718 | 162623.822 | 260758.887 | 98135.065 | 367 | Underground Conductor & Devices | 4.65% | 2.4% | - | 2.9%
368 | Line Transformers | R3 | R5 | 33.6 | 38 | 0 | -13.3 | 2.98% | 2.98% | 2.98% | 368 | Line Transformers | 17738780 | 528615.644 | 528615.644 | 0 | 368 | Line Transformers | 2.98% | 2.6% | - | 3.1%
369 | Services | R5 | R4.5 | 29.4 | 41 | -13.5 | -30 | 3.86% | 3.6% | 3.17% | 369 | Services | 6464846 | 232734.456 | 204935.6182 | -27798.8378 | 369 | Services | 3.17% | 3.1% | - | 3.6%
370 | Meters - AMI | S6 | S6 | 15 | 15 | 0 | 0 | 6.67% | 6.67% | 6.67% | 370 | Meters - AMI | 6364644 | 424521.7548 | 424521.7548 | 0 | 370 | Meters - AMI | 6.67% | 2.9% | - | 3.4%
371 | Installations of Consumer Premises | L0 | L3 | 18.2 | 18 | -9.2 | -8 | 6% | 4.4% | 6% | 371 | Installations of Consumer Premises | 3124375 | 137472.5 | 187462.5 | 49990 | 371 | Installations of Consumer Premises | 6% | 3.9% | - | 4.4%
373 | Street Lighting & Signal Systems | S6 | S6 | 17 | 20 | -8.7 | -27.7 | 6.39% | 4.4% | 6.39% | 373 | Street Lighting & Signal Systems | 414638 | 18244.072 | 26495.3682 | 8251.2962 | 373 | Street Lighting & Signal Systems | 6.39% | 3.8% | - | 4.3%
[12 empty] | Total | 97038094 | 13946678.0731 | 14019017.5215 | 130580.7446