## Planning Parameters (3)
2025-2026 RPM Base Residual Auction Planning Parameters |  |  | 2023-06-02
| RTO | Notes:
Installed Reserve Margin (IRM) | 14.7% | 2022 IRM Study, endorsed at the October 4, 2022 MRC meeting...https://pjm.com/planning/resource-adequacy-planning/reserve-requirement-dev-process
Pool-Wide Average EFORd | 4.81% | 2022 IRM Study, endorsed at the October 4, 2022 MRC meeting.
Forecast Pool Requirement (FPR) | 1.0918 | 2022 IRM Study, endorsed at the October 4, 2022 MRC meeting.
Preliminary Forecast Peak Load | 151251.0457 | 2023 Load Report with adjustments for load served outside PJM.
Locational Deliverability Area
| RTO | MAAC | EMAAC | SWMAAC | PS | PS NORTH | DPL SOUTH | PEPCO | ATSI | ATSI-Cleveland | COMED | BGE | PL | DAYTON | DEOK
CETO | NA | -4650 | 3020 | 6240 | 5840 | 2710 | 1070 | 4320 | 4240 | 3320 | -3890 | 4780 | 230 | 2380 | 3110
CETL | NA | 6286 | 7381 | 7889 | 8439 | 4137 | 1894 | 6256 | 11159 | 4716 | 5170 | 5885 | 4853 | 3854 | 5548
Reliability Requirement | 165135.9 | 64309 | 35968 | 14667 | 11423 | 5889 | 3401 | 7461 | 13761 | 5195 | 23885 | 7607 | 10438 | 4031 | 6787
Total Peak Load of FRR Entities | 31165.0547 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 776.8169
Preliminary FRR Obligation | 34026 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 848.1
Reliability Requirement adjusted for FRR | 131109.9 | 64309 | 35968 | 14667 | 11423 | 5889 | 3401 | 7461 | 13761 | 5195 | 23885 | 7607 | 10438 | 4031 | 6593.6332
Gross CONE, $/MW-Day (UCAP Price) | 404.96 | 408.32 | 413.75 | 414.62 | 413.75 | 413.75 | 413.75 | 414.62 | 398.22 | 398.22 | 398.22 | 414.62 | 393.26 | 398.22 | 398.22
Net CONE, $/MW-Day (UCAP Price) | 256.12 | 262.02 | 297.68 | 197.69 | 322.43 | 322.43 | 269.97 | 254.65 | 254.13 | 254.13 | 298.54 | 140.73 | 264.31 | 222.45 | 233.04
EE Addback (UCAP) | 9751.0842 | 4233.8912 | 2372.6998 | 988.8433 | 831.1873 | 391.7378 | 168.9015 | 472.8586 | 739.367 | 71.9496 | 1316.7108 | 515.9847 | 474.3871 | 177.1991 | 219.1243
Variable Resource Requirement Curve:
Point (a) UCAP Price, $/MW-Day | 404.96 | 408.32 | 446.52 | 414.62 | 483.65 | 483.65 | 413.75 | 414.62 | 398.22 | 398.22 | 447.81 | 414.62 | 396.47 | 398.22 | 398.22
Point (b) UCAP Price, $/MW-Day | 192.09 | 196.52 | 223.26 | 148.27 | 241.82 | 241.82 | 202.48 | 190.99 | 190.6 | 190.6 | 223.91 | 105.55 | 198.23 | 166.84 | 174.78
Point (c) UCAP Price, $/MW-Day | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Point (a) UCAP Level, MW | 139489.2842 | 67870.0912 | 37964.3998 | 15502.4433 | 12134.6873 | 6219.1378 | 3534.3015 | 7855.7586 | 14356.367 | 5212.5496 | 24951.8108 | 8043.3847 | 10803.1871 | 4165.9991 | 6743.8243
Point (b) UCAP Level, MW | 143032.7842 | 69608.1912 | 38936.4998 | 15898.8433 | 12443.3873 | 6378.3378 | 3626.2015 | 8057.4586 | 14728.367 | 5353.0496 | 25597.4108 | 8248.9847 | 11085.2871 | 4274.9991 | 6922.0243
Point (c) UCAP Level, MW | 149776.8842 | 72916.0912 | 40786.5998 | 16653.2433 | 13030.9873 | 6681.2378 | 3801.2015 | 8441.2586 | 15436.167 | 5620.2496 | 26826.0108 | 8640.2847 | 11622.1871 | 4482.2991 | 7261.1243
Nominated PRD Value, MW | 252 | 252 | 17 | 235 | 0 | 0 | 0 | 75 | 0 | 0 | 0 | 160 | 0 | 0 | 0
VRR Curve adjusted for PRD:
Point (a1) UCAP Price, $/MW-Day | 404.96 | 408.32 | 446.52 | 414.62 |  |  | 413.75 | 414.62 |  |  |  | 414.62
Point (b1) UCAP Price, $/MW-Day | 192.09 | 196.52 | 223.26 | 148.27 |  |  | 202.48 | 190.99 |  |  |  | 105.55
Point (prd1) UCAP Price, $/MW-Day | 0.01 | 0.01 | 0.01 | 0.01 |  |  | 0.01 | 0.01 |  |  |  | 0.01
Point (prd2) UCAP Price, $/MW-Day | 0.01 | 0.01 | 0.01 | 0.01 |  |  | 0.01 | 0.01 |  |  |  | 0.01
Point (c) UCAP Price, $/MW-Day | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  |  |  | 0
Point (a1) UCAP Level, MW | 139214.2 | 67595 | 37945.8 | 15245.9 |  |  | 3534.3 | 7773.9 |  |  |  | 7868.7
Point (b1) UCAP Level, MW | 142757.7 | 69333.1 | 38917.9 | 15642.3 |  |  | 3626.2 | 7975.6 |  |  |  | 8074.3
Point (prd1) UCAP Level, MW | 149501.4 | 72640.8 | 40767.9 | 16396.6 |  |  | 3801.2 | 8359.3 |  |  |  | 8465.5
Point (prd2) UCAP Level, MW | 149776.5 | 72915.9 | 40786.5 | 16653.2 |  |  | 3801.2 | 8441.2 |  |  |  | 8640.2
Point (c) UCAP Level, MW | 149776.8842 | 72916.0912 | 40786.5998 | 16653.2433 |  |  | 3801.2015 | 8441.2586 |  |  |  | 8640.2847
Pre-Auction Credit Rate, $/MW | 46741.9 | 47818.65 | 54326.6 | 36078.43 | 58843.48 | 58843.48 | 49269.53 | 46473.63 | 46378.73 | 46378.73 | 54483.55 | 25683.23 | 48236.58 | 40597.13 | 42529.8
Post-Auction Credit Rate, $/MW
Participant-Funded ICTRs Awarded | NA | 1557 | 40 | NA | 1070 | 639 | 72 | NA | NA | NA | 1376 | 65.7 | NA | NA | 155
FRR Load Requirement (% Obligation):
Minimum Internal Resource Requirement | NA | 98.5% | 89.9% | 51.3% | 29.7% | NA | 62.8% | NA | 20.8% | NA | 91.3% | 25.5% | NA | NA | 22.8%
LDA CETO/CETL Data; Zonal Peak Loads, Base Zonal FRR Scaling Factors, and FRR load.
LDA/Zone | CETO (Capacity Emergency Transfer Objective) | CETL (Capacity Emergency Transfer Limit) | CETL to CETO Ratio % | 2022 Zonal W/N Coincident Peak Loads | Preliminary Zonal Peak Load Forecast | Base Zonal FRR Scaling Factor | FRR Portion of the Preliminary Peak Load Forecast | Preliminary Zonal Peak Load Forecast less FRR load | LDA/Zone
RTO | NA | NA | NA | 148901.3 | 151251.0457 | NA | 31165.0547 | 120085.991 | RTO
AE | 1590 | >1,828.5 | >115% | 2410 | 2262 | 0.93859 | 0 | 2262 | AE
AEP | -2390 | * | * | 21289.4 | 22042 | 1.0354 | 10796.4324 | 11245.5676 | AEP
APS | 2050 | >2,357.5 | >115% | 8370 | 8927 | 1.0665 | 0 | 8927 | APS
ATSI | 4240 | 11159 | 263.2% | 12140 | 11481 | 0.94572 | 0 | 11481 | ATSI
ATSI-CLEVELAND | 3320 | 4716 | 142% | NA | 3892.059 | NA | 0 | NA | ATSI-CLEVELAND
BGE | 4780 | 5885 | 123.1% | 6210 | 6179 | 0.99501 | 0 | 6179 | BGE
COMED | -3890 | 5170 | * | 20080 | 18771 | 0.93481 | 0 | 18771 | COMED
DAYTON | 2380 | 3854 | 161.9% | 3120 | 3089 | 0.99006 | 0 | 3089 | DAYTON
DEOK | 3110 | 5548 | 178.4% | 4930 | 4973 | 1.0087 | 776.8169 | 4196.1831 | DEOK
DLCO | 1510 | >1,736.5 | >115% | 2630 | 2625 | 0.9981 | 0 | 2625 | DLCO
DOM | 4570 | >5,255.5 | >115% | 19910 | 23058 | 1.1581 | 19571.8528 | 3486.1472 | DOM
DPL | 660 | >759.0 | >115% | 3790 | 3578 | 0.94406 | 0 | 3578 | DPL
DPL SOUTH | 970 | 1900 | 195.9% | NA | 2196.892 | NA | 0 | 2196.892 | DPL SOUTH
EKPC | 1070 | >1,230.5 | >115% | 1960 | 2263.0457 | 1.1546 | 19.9527 | 2243.0931 | EKPC
JCPL | 3180 | >3,657.0 | >115% | 5730 | 5637 | 0.98377 | 0 | 5637 | JCPL
METED | 1090 | >1,253.5 | >115% | 2880 | 2932 | 1.0181 | 0 | 2932 | METED
OVEC | NA | NA | NA | 60 | 60 | 1 | 0 | 60 | OVEC
PECO | 2770 | >3,185.5 | >115% | 8100 | 8047 | 0.99346 | 0 | 8047 | PECO
PENLC | -500 | * | * | 2760 | 2727 | 0.98804 | 0 | 2727 | PENLC
PEPCO | 4320 | 6256 | 144.8% | 5710 | 5914 | 1.0357 | 0 | 5914 | PEPCO
PL (incl. UGI) | 230 | 4853 | 1886% | 7051.9 | 7082 | 1.0043 | 0 | 7082 | PL (incl. UGI)
PS | 5840 | 8439 | 144.5% | 9390 | 9214 | 0.98126 | 0 | 9214 | PS
PS NORTH | 2710 | 4137 | 152.7% | NA | 4643.856 | NA | 0 | 4643.856 | PS NORTH
RECO | NA | NA | NA | 380 | 390 | 1.0263 | 0 | 390 | RECO
EMAAC | 2920 | 7381 | 252.8% | NA | 29128 | NA | 0 |  | EMAAC
SWMAAC | 6240 | 7889 | 126.4% | NA | 12093 | NA | 0 |  | SWMAAC
Western MAAC | -9600 | * | * | NA | 12741 | NA | 0 |  | Western MAAC
MAAC | -4760 | * | * | NA | 53962 | NA | 0 |  | MAAC
Western PJM | -7710 | * | * | NA | 74231.0457 | NA | 11593.2019 |  | Western PJM
* LDA has adequate internal resources to meet the reliability criterion.
Limiting conditions at the CETL for modeled LDAs:
LDA | Violation |  | Limiting Facility
MAAC | Mean Thermal |  | Loudoun - Morrisville 500 kV for the loss of Brister - Ox 500 kV Elmont - Ladysmith 500 kV for the loss of the Midlothian - North Anna 500 kV
EMAAC | Discrete Thermal |  | Elroy - Hosensack 500 kV for the loss of Alburtis - Branchburg 500 kV
SWMAAC | Mean Thermal |  | North West - Conastone 230 kV ckt 2310 for the loss of the North West - Conastone 230 kV ckt 2322
PS | Mean Thermal |  | Brunswick - Meadow Road 230 kV ckt Z2331 for the loss of Metuchen -Pierson Ave - Meadow Rd- Deans 230 kV ckt s2219 Aldene - Stanley Terrance 230kV for the loss of WEST ORANGE - ORANGE HEIGHTS 230 kV Roseland - Williams 230 kV for the loss of Roseland - Cedar Grove 230 kV
PSNORTH | Discrete Thermal |  | Aldene - Stanley Terrance 230kV for the loss of WEST ORANGE - ORANGE HEIGHTS 230 kV Aldene - Stanley Terrance 230kV for the loss of ALDENE TO SPRINGFIELD ROAD 230 kV ROSELAND - Williams PIPE 230 kV for the loss of Roseland - Cedar Grove 230 kV
DPLSOUTH | Discrete Thermal |  | Cool Spring - Milford 230 kV for the loss of the Indian River - Mildord 230 kV
PEPCO | Mean Thermal |  | North West - Conastone 230 kV ckt 2310 for the loss of the North West - Conastone 230 kV ckt 2322 North West - Conastone 230 kV ckt 2310 for the loss of the Conastone - Brighton 500 kV
ATSI | Discrete Voltage |  | Voltage drop at Ashtabula 345 for the loss of East Erie to Ashtabula 345 kV
ATSI-CLEVELAND | Mean/Discrete Thermal |  | Austinburg - Sanborn 138 kV for the loss of Stacy - Leroy Center 138 kV Barberton - Alcoa 138 kV for the loss of Juniper - Star 345 kV
COMED | Discrete Thermal |  | Allen - R.P. Mone 345 kV for the loss of Sorenson - Marysville 765 kV
BGE | Mean Voltage |  | Voltage drop at various buses including PUMPHREY 115 kV bus for the loss of Brighton - Conastone 500 kV line
PL | Mean Thermal |  | Wescosville 500/138 kV transformer pre-contingency
DAYTON | Mean/Discrete Thermal |  | Wylie Ridge - Toronto 345 kV for the loss of Wylie Ridge 345/138 kV transformer #3
DEOK | Discrete Thermal |  | Pierce 345/138 kV transformer for the loss of Pierce - Foster 345 kV line
3/6/23 - Reliability Requirement increase from Planned Generation greater than 1% will trigger Reliability Requirement review and adjustment as necessary during the auction clearing process. (FERC Order ER23-729-000) (PJM OATT Attachment DD, Section 5.4c)
4/11/23 - Violation type for MAAC LDA Limiting Condition corrected to Mean Thermal from Discrete Thermal
5/22/23 - Added FRR load data
6/2/23 - Adjusted CETO/CETL/RR data in MAAC, EMAAC and DPL-S to reflect deactivation of Vienna 8 and 10 units
6/2/23 - Added EE Addback data

## Net CONE (3)
RPM CONE and E&AS Values for 2025/2026 Base Residual Auction
ICAP to UCAP Conversion Factor:
UCAP Price = ICAP Price / (1 - Pool-Wide Average EFORd)
Pool-Wide Average EFORd for 2025/2026 BRA | [6 empty] | 4.81%
CONE Area 1: AE, DPL, JCPL, PECO, PS, RECO
CONE Area 2: BGE, PEPCO
CONE Area 3: AEP, APS, ATSI, ComEd, Dayton, DEOK, Dominion, Duquesne (DLCo), EKPC, OVEC
CONE Area 4: MetEd, Penelec, PPL
Zone/LDA | 2024/2025 BRA CONE: Levelized Revenue Requirement, $/MW-Year * | Escalation | 2025/2026 BRA CONE: Levelized Revenue Requirement, $/MW-Year | Gross CONE, $/MW-Day, UCAP Price | Historic Net Energy Revenue Offset, $/MW-Year | Ancillary Services Offset, $/MW-Year per Tariff | Net E&AS Revenue Offset, $/MW-Year | Net CONE, $/MW-Day, ICAP Price | Net CONE, $/MW-Day, UCAP Price | LDA Modeled with VRR Curve
CONE Area 1 | 123117.5818 | 1.1676 | 143753.1855 | 413.75
AE |  |  |  | 413.75 | 30540.4413 | 2199 | 32739.4413 | 304.1472 | 319.52
DPL |  |  |  | 413.75 | 47755.1944 | 2199 | 49954.1944 | 256.9835 | 269.97 | DPL SOUTH
JCPL |  |  |  | 413.75 | 31099.4153 | 2199 | 33298.4153 | 302.6158 | 317.91
PE |  |  |  | 413.75 | 53381.8289 | 2199 | 55580.8289 | 241.5681 | 253.77
PSEG |  |  |  | 413.75 | 29527.5056 | 2199 | 31726.5056 | 306.9224 | 322.43 | PS, PSEG NORTH
RECO |  |  |  | 413.75 | 36455.2857 | 2199 | 38654.2857 | 287.9422 | 302.49
EMAAC |  |  |  | 413.75 |  |  | 41842.85 | 283.36 | 297.68 | EMAAC
CONE Area 2 | 123919.5337 | 1.1625 | 144058.0931 | 414.62
BGE |  |  |  | 414.62 | 92964.6847 | 2199 | 95163.6847 | 133.9573 | 140.73 | BGE
PEPCO |  |  |  | 414.62 | 53381.8289 | 2199 | 55580.8289 | 242.4035 | 254.65 | PEPCO
SWMAAC |  |  |  | 414.62 |  |  | 75372.26 | 188.18 | 197.69 | SWMAAC
CONE Area 4 | 118504.999 | 1.153 | 136634.3501 | 393.26
METED |  |  |  | 393.26 | 59625.235 | 2199 | 61824.235 | 204.9592 | 215.32
PENELEC |  |  |  | 393.26 | 57590.5642 | 2199 | 59789.5642 | 210.5337 | 221.17
PPL |  |  |  | 393.26 | 42603.349 | 2199 | 44802.349 | 251.5945 | 264.31 | PPL
MAAC |  |  |  | 408.32 |  |  | 55472.05 | 249.42 | 262.02 | MAAC
CONE Area 3 | 118329.5519 | 1.1693 | 138360.6216 | 398.22
AEP |  |  |  | 398.22 | 58474.0442 | 2199 | 60673.0442 | 212.8427 | 223.6
APS |  |  |  | 398.22 | 67153.3175 | 2199 | 69352.3175 | 189.0638 | 198.62
ATSI |  |  |  | 398.22 | 47866.4032 | 2199 | 50065.4032 | 241.9047 | 254.13 | ATSI, ATSI CLEVELAND
COMED |  |  |  | 398.22 | 32434.2563 | 2199 | 34633.2563 | 284.1846 | 298.54 | COMED
DAYTON |  |  |  | 398.22 | 58871.0918 | 2199 | 61070.0918 | 211.7549 | 222.45 | DAYTON
DEOK |  |  |  | 398.22 | 55192.6543 | 2199 | 57391.6543 | 221.8328 | 233.04 | DEOK
DLCO |  |  |  | 398.22 | 53069.8477 | 2199 | 55268.8477 | 227.6487 | 239.15
DOM |  |  |  | 398.22 | 67568.172 | 2199 | 69767.172 | 187.9273 | 197.42
EKPC |  |  |  | 398.22 | 45339.9545 | 2199 | 47538.9545 | 248.8265 | 261.4
OVEC |  |  |  | 398.22 | 53398.4504 | 2199 | 55597.4504 | 226.7484 | 238.21
RTO | 120967.9166 |  | 140701.5626 | 404.96 | 49517.0496 | 2199 | 51716.0496 | 243.7959 | 256.12 | RTO
* The 2024/2025 BRA CONE values are based on PJM’s Quadrennial Review filing (Docket No. ER19-105) which was FERC approved on April 15, 2019.

## Key Transmission Upgrades ( (3)
New Key Transmission Upgrades included for 2025/2026 model
UpgradeId | Description | Transmission Owner
b3247 | Replace 13 towers with galvanized steel towers on Doubs - Goose Creek 500 kV. Reconductor 3 mile section with 3-1351.5 ACSR 45/7. Upgrade line terminal equipment at Goose Creek substation to support the 500 kV line rebuild. | Dominion
s2386 | Rebuild and reconductor the FE portion of the Doubs – Goose Creek 500 kV line (approximately 14.8 miles of steel lattice tower construction) utilizing existing Right-of-Way. Replace Breaker disconnect switches, line metering and relaying, substation conductor, and breakers at Doubs 500kV station. | APS
s2609.2 | Install (1) 1440 MVA 500-230 kV transformer at Goose Creek Substation. Extend the existing 500kV ring bus at Goose Creek Substation to be set up for a future six-breaker ring arrangement. One breaker to be installed initially creating a five-breaker ring bus. Install a new 230kV ring bus at Goose Creek Substation to be set up for a future four-breaker ring arrangement. Three 230kV breakers to be installed initially. Cut and extend line #227 Belmont-Beaumeade into Goose Creek Substation. | Dominion
b3718.14 | Construct a new 230 kV transmission line for ~3.5 miles along with substation upgrades at Wishing Star and Mars. New right-of-way will be needed and will share same structures with the 500 kV line. New conductor to have a minimum summer normal rating of 1573 MVA. | Dominion
b3718.13 | Cut and loop 230 kV Line #2079 (Sterling Park-Dranesville) into Davis Drive substation and install two GIS 230 kV breakers. | Dominion
b3718.12 | Upgrade 4-500 kV breakers (total) to 63 kA on either end of 500 kV Line #584 (Loudoun-Mosby) | Dominion
b3718.11 | Upgrade 4-500 kV breakers (total) to 63kA on either end of 500 kV Line #502 (Loudoun-Mosby) | Dominion
b3718.10 | Reconductor ~1.61 miles of 230 kV line #9349 (Sojourner-Mars) to achieve a summer rating of 1574 MVA. | Dominion
b3718.9 | Reconductor ~3.98 miles of 230 kV line #2218 (Sojourner-Runway-Shellhorn) to achieve a summer rating of 1574 MVA. | Dominion
b3718.8 | Reconductor ~0.84 miles of 230 kV line #2223 (Lockridge-Roundtable) to achieve a summer rating of 1574 MVA. | Dominion
b3718.7 | Reconductor ~2.17 miles of 230 kV line #2188 (Lockridge-Greenway-Shellhorn) to achieve a summer rating of 1574 MVA. | Dominion
b3718.6 | Reconductor ~0.64 miles of 230 kV line #2186 (Enterprise-Shellhorn) to achieve a summer rating of 1574 MVA. | Dominion
b3718.5 | Reconductor ~1.52 miles of 230 kV line #2031 (Enterprise-Greenway-Roundtable) to achieve a summer rating of 1574 MVA. | Dominion
b3718.4 | Reconductor ~0.62 miles of 230 kV line #2214 (Buttermilk-Roundtable) to achieve a summer rating of 1574 MVA. | Dominion
b3726 | Install two new 500 kV breakers on the existing open SVC string to create a new bay position. Relocate & Reterminate facilities as necessary to move the 500 kV SVC into the new bay position and Install a 500 kV breaker on the 500/138 kV #3 transformer. Upgrade relaying at Black Oak substation. | APS
Key Transmission Upgrades included for 2024/2025 model but not included for 2025/2026 model
Upgrade ID | Description | Transmission Owner
None

## Planning Parameters (2)
2024-2025 RPM Base Residual Auction Planning Parameters |  |  | 2023-02-28
| RTO | Notes:
Installed Reserve Margin (IRM) | 14.7% | 2021 IRM Study, endorsed at the October 20, 2021 MRC meeting...https://pjm.com/planning/resource-adequacy-planning/reserve-requirement-dev-process
Pool-Wide Average EFORd | 5.02% | 2021 IRM Study, endorsed at the October 20, 2021 MRC meeting.
Forecast Pool Requirement (FPR) | 1.0894 | 2021 IRM Study, endorsed at the October 20, 2021 MRC meeting.
Preliminary Forecast Peak Load | 150640.3154 | 2022 Load Report with adjustments for load served outside PJM.
Locational Deliverability Area
| RTO | MAAC | EMAAC | SWMAAC | PS | PS NORTH | DPL SOUTH | PEPCO | ATSI | ATSI-Cleveland | COMED | BGE | PL | DAYTON | DEOK
CETO | NA | -4760 | 2740 | 6060 | 5630 | 2560 | 1420 | 4220 | 5080 | 3560 | -4570 | 4660 | -30 | 2470 | 3270
CETL | NA | 5965 | 8594 | 7947 | 8287 | 4253 | 1962 | 7033 | 10465 | 4941 | 4640.4 | 5397 | 4337 | 3918 | 4999
Reliability Requirement | 164107.6 | 63518 | 35415 | 14299 | 11166 | 5715 | 3153 | 7151 | 14434 | 5374 | 23859 | 7514 | 10214 | 3922 | 6881
Total Peak Load of FRR Entities | 29421.6189 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 787.9243
Preliminary FRR Obligation | 32051.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 858.4
Reliability Requirement adjusted for FRR | 132055.7 | 63518 | 35415 | 14299 | 11166 | 5715 | 3153 | 7151 | 14434 | 5374 | 23859 | 7514 | 10214 | 3922 | 6589.144
Gross CONE, $/MW-Day (UCAP Price) | 348.94 | 351.93 | 355.14 | 357.45 | 355.14 | 355.14 | 355.14 | 357.45 | 341.33 | 341.33 | 341.33 | 357.45 | 341.83 | 341.33 | 341.33
Net CONE, $/MW-Day (UCAP Price) | 293.19 | 294.06 | 312.39 | 261.07 | 321.21 | 321.21 | 284.11 | 288.07 | 279.35 | 279.35 | 302.76 | 234.07 | 297.25 | 262.17 | 268.26
EE Addback (UCAP) | 7668.7 | 3393.8 | 1906.7 | 766.2 | 676.5 | 329.5 | 99.8 | 387.6 | 579.6 | 54.9 | 1063.3 | 378.6 | 379.1 | 127 | 183.9
Variable Resource Requirement Curve:
Point (a) UCAP Price, $/MW-Day | 439.79 | 441.09 | 468.59 | 391.61 | 481.82 | 481.82 | 426.17 | 432.11 | 419.03 | 419.03 | 454.14 | 357.45 | 445.88 | 393.26 | 402.39
Point (b) UCAP Price, $/MW-Day | 219.89 | 220.55 | 234.29 | 195.8 | 240.91 | 240.91 | 213.08 | 216.05 | 209.51 | 209.51 | 227.07 | 175.55 | 222.94 | 196.63 | 201.2
Point (c) UCAP Price, $/MW-Day | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Point (a) UCAP Level, MW | 138342.8 | 66247.3 | 36951.2 | 14915.6 | 11725.7 | 5984.7 | 3219.8 | 7463.8 | 14862.6 | 5372.7 | 24672.7 | 7814 | 10486.2 | 4008 | 6704.1
Point (b) UCAP Level, MW | 141911.9 | 67964 | 37908.3 | 15302.1 | 12027.5 | 6139.2 | 3305 | 7657.1 | 15252.7 | 5517.9 | 25317.5 | 8017.1 | 10762.3 | 4114 | 6882.2
Point (c) UCAP Level, MW | 148704.6 | 71231.2 | 39730 | 16037.6 | 12601.8 | 6433.1 | 3467.2 | 8024.9 | 15995.2 | 5794.4 | 26544.8 | 8403.6 | 11287.7 | 4315.7 | 7221.1
Nominated PRD Value, MW | 305 | 305 | 35 | 270 | 0 | 0 | 13 | 110 | 0 | 0 | 0 | 160 | 0 | 0 | 0
VRR Curve adjusted for PRD:
Point (a1) UCAP Price, $/MW-Day | 439.79 | 441.09 | 468.59 | 391.61 |  |  | 426.17 | 432.11 |  |  |  | 357.45
Point (b1) UCAP Price, $/MW-Day | 219.89 | 220.55 | 234.29 | 195.8 |  |  | 213.08 | 216.05 |  |  |  | 175.55
Point (prd1) UCAP Price, $/MW-Day | 0.01 | 0.01 | 0.01 | 0.01 |  |  | 0.01 | 0.01 |  |  |  | 0.01
Point (prd2) UCAP Price, $/MW-Day | 0.01 | 0.01 | 0.01 | 0.01 |  |  | 0.01 | 0.01 |  |  |  | 0.01
Point (c) UCAP Price, $/MW-Day | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  |  |  | 0
Point (a1) UCAP Level, MW | 138010.5 | 65915 | 36913.1 | 14621.5 |  |  | 3205.6 | 7344 |  |  |  | 7639.7
Point (b1) UCAP Level, MW | 141579.6 | 67631.7 | 37870.2 | 15008 |  |  | 3290.8 | 7537.3 |  |  |  | 7842.8
Point (prd1) UCAP Level, MW | 148372 | 70898.8 | 39691.8 | 15743.5 |  |  | 3453 | 7905.1 |  |  |  | 8229.3
Point (prd2) UCAP Level, MW | 148704.3 | 71231.1 | 39729.9 | 16037.6 |  |  | 3467.2 | 8024.9 |  |  |  | 8403.6
Point (c) UCAP Level, MW | 148704.6 | 71231.2 | 39730 | 16037.6 |  |  | 3467.2 | 8024.9 |  |  |  | 8403.6
Pre-Auction Credit Rate, $/MW | 53507.18 | 53665.95 | 57011.18 | 47645.28 | 58620.83 | 58620.83 | 51850.08 | 52572.78 | 50981.38 | 50981.38 | 55253.7 | 42717.78 | 54248.13 | 47846.03 | 48957.45
Post-Auction Credit Rate, $/MW | 53507.18 | 53665.95 | 57011.18 | 47645.28 | 58620.83 | 58620.83 | 51850.08 | 52572.78 | 50981.38 | 50981.38 | 55253.7 | 42717.78 | 54248.13 | 47846.03 | 48957.45
Participant-Funded ICTRs Awarded | NA | 1557 | 40 | NA | 1070 | 639 | 72 | NA | NA | NA | 1376 | 65.7 | NA | NA | 155
FRR Load Requirement (% Obligation):
Minimum Internal Resource Requirement | NA | 97.7% | 83.3% | 48.8% | 28.5% | NA | 46.3% | NA | 30.3% | NA | 89% | 31.3% | NA | NA | 34%
LDA CETO/CETL Data; Zonal Peak Loads, Base Zonal FRR Scaling Factors, and FRR load.
LDA/Zone | CETO (Capacity Emergency Transfer Objective) | CETL (Capacity Emergency Transfer Limit) | CETL to CETO Ratio % | 2021 Zonal W/N Coincident Peak Loads | Preliminary Zonal Peak Load Forecast | Base Zonal FRR Scaling Factor | FRR Portion of the Preliminary Peak Load Forecast | Preliminary Zonal Peak Load Forecast less FRR load | LDA/Zone
RTO | NA | NA | NA | 148881.4 | 150640.3154 | NA | 29421.6189 | 121218.6965 | RTO
AE | 1740 | >2,001.0 | >115% | 2430 | 2399 | 0.98724 | 0 | 2399 | AE
AEP | -2730 | * | * | 21304.3 | 21659 | 1.0166 | 10611.0729 | 11047.9271 | AEP
APS | 1500 | >1,725.0 | >115% | 8440 | 8535 | 1.0113 | 0 | 8535 | APS
ATSI | 5080 | 10465 | 206% | 11860 | 12014 | 1.013 | 0 | 12014 | ATSI
ATSI-CLEVELAND | 3560 | 4941 | 138.8% | NA | 4156.844 | NA | 0 | NA | ATSI-CLEVELAND
BGE | 4660 | 5397 | 115.8% | 6180 | 6211 | 1.005 | 0 | 6211 | BGE
COMED | -4570 | 4640.4 | * | 20290 | 19827 | 0.97718 | 0 | 19827 | COMED
DAYTON | 2470 | 3918 | 158.6% | 3150 | 3149 | 0.99968 | 0 | 3149 | DAYTON
DEOK | 3270 | 4999 | 152.9% | 4990 | 5087 | 1.0194 | 787.9243 | 4299.0757 | DEOK
DLCO | 1560 | >1,794.0 | >115% | 2660 | 2678 | 1.0068 | 0 | 2678 | DLCO
DOM | 2810 | >3,231.5 | >115% | 19447.9 | 21128 | 1.0864 | 18000.0665 | 3127.9335 | DOM
DPL | 690 | >793.5 | >115% | 3760 | 3787 | 1.0072 | 0 | 3787 | DPL
DPL SOUTH | 1420 | 1962 | 179.4% | NA | 2363.088 | NA | 0 | 2363.088 | DPL SOUTH
EKPC | 1240 | >1,426.0 | >115% | 2309.2 | 2411.3154 | 1.0442 | 22.5552 | 2388.7602 | EKPC
JCPL | 3070 | >3,530.5 | >115% | 5700 | 5585 | 0.97982 | 0 | 5585 | JCPL
METED | 980 | >1,127.0 | >115% | 2890 | 2859 | 0.98927 | 0 | 2859 | METED
OVEC | NA | NA | NA | 70 | 70 | 1 | 0 | 70 | OVEC
PECO | 2530 | >2,909.5 | >115% | 8140 | 8131 | 0.99889 | 0 | 8131 | PECO
PENLC | -570 | * | * | 2780 | 2708 | 0.9741 | 0 | 2708 | PENLC
PEPCO | 4220 | 7033 | 166.7% | 5750 | 5734 | 0.99722 | 0 | 5734 | PEPCO
PL (incl. UGI) | -30 | 4337 | * | 7080 | 7030 | 0.99294 | 0 | 7030 | PL (incl. UGI)
PS | 5630 | 8287 | 165.3% | 9270 | 9264 | 0.99935 | 0 | 9264 | PS
PS NORTH | 2560 | 4253 | 163.7% | NA | 4817.28 | NA | 0 | 4817.28 | PS NORTH
RECO | NA | NA | NA | 380 | 374 | 0.98421 | 0 | 374 | RECO
EMAAC | 2740 | 8594 | 319.7% | NA | 29540 | NA | 0 |  | EMAAC
SWMAAC | 6060 | 7947 | 131.1% | NA | 11945 | NA | 0 |  | SWMAAC
Western MAAC | -10060 | * | * | NA | 12597 | NA | 0 |  | Western MAAC
MAAC | -4760 | * | * | NA | 54082 | NA | 0 |  | MAAC
Western PJM | -7250 | * | * | NA | 75430.3154 | NA | 11421.5524 |  | Western PJM
* LDA has adequate internal resources to meet the reliability criterion.
Limiting conditions at the CETL for modeled LDAs:
LDA | Violation |  | Limiting Facility
MAAC | Thermal |  | Doubs - Brighton 500 kV for the loss of Burches Hill - Possum Point 500 kV
EMAAC | Voltage |  | Voltage drop at Black Oak 500 kV for the loss of the 500/138 kV transformer, SVC and Capacitor at Black Oak
SWMAAC | Voltage |  | Voltage collapse for the loss of Conastone - Brighton 500 kV line
PS | Thermal |  | Brunswick - Meadow Road 230 kV ckt Z2331 for the loss of Metuchen -Pierson Ave - Meadow Rd- Deans 230 kV ckt s2219 Aldene - Stanley Terrance 230kV for the loss of WEST ORANGE - ORANGE HEIGHTS 230 kV Roseland - Williams 230 kV for the loss of Roseland - Cedar Grove 230 kV
PSNORTH | Thermal |  | Aldene - Stanley Terrance 230kV for the loss of WEST ORANGE - ORANGE HEIGHTS 230 kV Aldene - Stanley Terrance 230kV for the loss of ALDENE TO SPRINGFIELD ROAD 230 kV ROSELAND - Williams PIPE 230 kV for the loss of Roseland - Cedar Grove 230 kV
DPLSOUTH | Thermal |  | Cedar Creek - Silver Run 230 kV for the loss of Cartanza - Silver Run 230 kV Keeney - Rock Springs 500 kV for the loss of Peach Bottom - Limerick 500 kV
PEPCO | Thermal |  | Brighton - Waugh Chapel 500 kV for the loss of Burches Hill - Possum Point 500 kV Chalk Point 500/230 kV transformer for the loss 223983 CHALK230 230 1 for Chalk Point 230 kV bus tie safe Horbor - Graceton 230 kV for the loss of Peach Bottom - Conastone 500 kV North West - Conastone 230 kV ckt 2310 for the loss of the North West - Conastone 230 kV ckt 2322
ATSI | Thermal |  | TIDD - Collier 345 kV for the loss of Wylie Ridge - Toronto 345 kV line
ATSI-CLEVELAND | Voltage |  | Voltage drop at Crestwood Q-1 and Crestwood Q-3 for the loss of ATSI_P1-2_CEI-138-006A_SRT-A
COMED | Thermal |  | Mitchell-Wilson 138 kV line for the loss of the Cabot-Keystone 500 kV line Bosserman-Michigan City 138 kV line for the loss of the Bosserman-Trail Creek 138 kV line New Carlisle-Bosserman 138 kV circuit No. 2 for the loss of the New Carlisle-Bosserman 138 kV circuit No.1 South Bend 138 kV bus tie for the loss of the Olive 345/138 kV No. 2 transformer Gosney Hill-Stull Run 138 kV for the loss of the Kammer 765/500 kV No. 5 transformer Krendale-Shanor Manor 138 kV for the loss of the Cabot-Cranberry 500 kV line
BGE | Voltage |  | Voltage collapse for the loss of the Conastone - Brighton 500 kV line
PL | Thermal |  | Eldred - Sunbury 230 kV for the loss of Montour - Columbia 230 kV Wescosville 500/230 kV transformer pre-contingency
DAYTON | Thermal |  | Shelby - Sidney 138 kV for the loss of the Miami - West Milton -Miami Fort 345 kV
DEOK | Thermal |  | PeachBottom-Conastone 500 kv Line pre contingency Beckjord - Pierce 138kV line for the loss of Pierce - Foster 345 kv line
Original 8/29/2022: Reliability Requirement not adjusted for FRR load.
10/24/22 update - Added FRR Capacity plan data and updated Reliability Requirements, CETL and CETO values for several LDAs related to Behind The Meter generation data adjustment.
11/18/22 update - Added EE data
12/2/22 update - Revised EE data
2/28/23 update - Added Post-Auction Credit Rate data
Note on E45: Bachus, Tim D: Not sure yet if this will be updated for 24/25 BRA using 22 summer loads
Note on H45: Bachus, Tim D: Pending final FRR plans SH: Added FRR amounts on 9/29

## Net CONE (2)
RPM CONE and E&AS Values for 2024/2025 Base Residual Auction
ICAP to UCAP Conversion Factor:
UCAP Price = ICAP Price / (1 - Pool-Wide Average EFORd)
Pool-Wide Average EFORd for 2023/2024 BRA | [6 empty] | 5.02%
CONE Area 1: AE, DPL, JCPL, PECO, PS, RECO
CONE Area 2: BGE, PEPCO
CONE Area 3: AEP, APS, ATSI, ComEd, Dayton, DEOK, Dominion, Duquesne (DLCo), EKPC, OVEC
CONE Area 4: MetEd, Penelec, PPL
Zone/LDA | 2023/2024 BRA CONE: Levelized Revenue Requirement, $/MW-Year * | Escalation | 2024/2025 BRA CONE: Levelized Revenue Requirement, $/MW-Year | Gross CONE, $/MW-Day, UCAP Price | Historic Net Energy Revenue Offset, $/MW-Year | Ancillary Services Offset, $/MW-Year per Tariff | Net E&AS Revenue Offset, $/MW-Year | Net CONE, $/MW-Day, ICAP Price | Net CONE, $/MW-Day, UCAP Price | LDA Modeled with VRR Curve
CONE Area 1 | 115311.3127 | 1.0677 | 123117.5818 | 355.14
AE |  |  |  | 355.14 | 9847.31 | 2199 | 12046.31 | 304.3049 | 320.39
DPL |  |  |  | 355.14 | 22422.45 | 2199 | 24621.45 | 269.8524 | 284.11 | DPL SOUTH
JCPL |  |  |  | 355.14 | 9798.49 | 2199 | 11997.49 | 304.4386 | 320.53
PE |  |  |  | 355.14 | 9905.77 | 2199 | 12104.77 | 304.1447 | 320.22
PSEG |  |  |  | 355.14 | 9563.04 | 2199 | 11762.04 | 305.0837 | 321.21 | PS, PSEG NORTH
RECO |  |  |  | 355.14 | 14195.31 | 2199 | 16394.31 | 292.3925 | 307.85
EMAAC |  |  |  | 355.14 |  |  |  | 296.71 | 312.39 | EMAAC
CONE Area 2 | 116593.1938 | 1.0628 | 123919.5337 | 357.45
BGE |  |  |  | 357.45 | 40572.89 | 2199 | 42771.89 | 222.3223 | 234.07 | BGE
PEPCO |  |  |  | 357.45 | 21852.59 | 2199 | 24051.59 | 273.6108 | 288.07 | PEPCO
SWMAAC |  |  |  | 357.45 |  |  |  | 247.96 | 261.07 | SWMAAC
CONE Area 4 | 111813.5832 | 1.0598 | 118504.999 | 341.83
METED |  |  |  | 341.83 | 20830.9 | 2199 | 23029.9 | 261.5756 | 275.4
PENELEC |  |  |  | 341.83 | 24250.94 | 2199 | 26449.94 | 252.2056 | 265.54
PPL |  |  |  | 341.83 | 13256.42 | 2199 | 15455.42 | 282.3276 | 297.25 | PPL
MAAC |  |  |  | 351.93 |  |  |  | 279.3 | 294.06 | MAAC
CONE Area 3 | 111730.7823 | 1.0591 | 118329.5519 | 341.33
AEP |  |  |  | 341.33 | 24383.12 | 2199 | 26582.12 | 251.3628 | 264.65
APS |  |  |  | 341.33 | 29845.91 | 2199 | 32044.91 | 236.3963 | 248.89
ATSI |  |  |  | 341.33 | 19285.96 | 2199 | 21484.96 | 265.3276 | 279.35 | ATSI, ATSI CLEVELAND
COMED |  |  |  | 341.33 | 11171.73 | 2199 | 13370.73 | 287.5584 | 302.76 | COMED
DAYTON |  |  |  | 341.33 | 25243.89 | 2199 | 27442.89 | 249.0046 | 262.17 | DAYTON
DEOK |  |  |  | 341.33 | 23130.93 | 2199 | 25329.93 | 254.7935 | 268.26 | DEOK
DLCO |  |  |  | 341.33 | 22846.92 | 2199 | 25045.92 | 255.5716 | 269.08
DOM |  |  |  | 341.33 | 22540.06 | 2199 | 24739.06 | 256.4123 | 269.96
EKPC |  |  |  | 341.33 | 17126.23 | 2199 | 19325.23 | 271.2447 | 285.58
OVEC |  |  |  | 341.33 | 21325.25 | 2199 | 23524.25 | 259.7406 | 273.47
RTO | 113862.218 |  | 120967.9166 | 348.94 | 17127.74 | 2199 | 19326.74 | 278.469 | 293.19 | RTO
* The 2023/2024 BRA CONE values are based on PJM’s Quadrennial Review filing (Docket No. ER19-105) which was FERC approved on April 15, 2019.

## Key Transmission Upgrades (2)
New Key Transmission Upgrades included for 2024/2025 model
Upgrade ID | Description | Transmission Owner
b3021 | Rebuild 500kV Line #581 Ladysmith to Chancellor - 15.2 miles long | Dominion
b3332 | Rerate the 23076 Steel-Milford 230 kV line | DPL
b3698 | Reconductor the 14.2 miles of the existing Juniata-Cumberland 230 kV line with 1272 ACSS/TW HS285 "Pheasant" conductor. | PPL
b3321 | Rebuild Cranes Corner-Stafford 230 kV line | Dominion
b3318 | Reconductor the Shanor Manor - Butler 138 kV line with an upgraded circuit breaker at Butler | APS
Key Transmission Upgrades included for 2023/2024 model but not included for 2024/2025 model
Upgrade ID | Description | Transmission Owner
None

## Planning Parameters
2023-2024 RPM Base Residual Auction Planning Parameters |  |  | 2022-06-21
| RTO | Notes:
Installed Reserve Margin (IRM) | 14.8% | 2021 IRM Study, endorsed at the October 20, 2021 MRC meeting.
Pool-Wide Average EFORd | 5.04% | 2021 IRM Study, endorsed at the October 20, 2021 MRC meeting.
Forecast Pool Requirement (FPR) | 1.0901 | 2021 IRM Study, endorsed at the October 20, 2021 MRC meeting.
Preliminary Forecast Peak Load | 149680 | 2022 Load Report with adjustments for load served outside PJM.
Locational Deliverability Area
| RTO | MAAC | EMAAC | SWMAAC | PS | PS NORTH | DPL SOUTH | PEPCO | ATSI | ATSI-Cleveland | COMED | BGE | PL | DAYTON | DEOK
CETO | NA | -4660 | 3210 | 5790 | 5450 | 2420 | 1360 | 3940 | 4230 | 3550 | -4060 | 4660 | 0 | 2510 | 3270
CETL | NA | 6381 | 8704 | 8389 | 9022 | 4349 | 2008 | 7160 | 10213 | 4728 | 5781 | 5615 | 4916 | 4022 | 5632
Reliability Requirement | 163166.2 | 63819 | 35590 | 14329 | 11217 | 5768 | 3141 | 7163 | 14649 | 5363 | 24077 | 7522 | 10251 | 3924 | 6847
Total Peak Load of FRR Entities | 28754.9875 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 782.8129
Preliminary FRR Obligation | 31345.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 853.3
Reliability Requirement adjusted for FRR | 131820.4 | 63819 | 35590 | 14329 | 11217 | 5768 | 3141 | 7163 | 14649 | 5363 | 24077 | 7522 | 10251 | 3924 | 6658.4207
Gross CONE, $/MW-Day (UCAP Price) | 327.61 | 329.71 | 331.78 | 335.47 | 331.78 | 331.78 | 331.78 | 335.47 | 321.48 | 321.48 | 321.48 | 335.47 | 321.72 | 321.48 | 321.48
Net CONE, $/MW-Day (UCAP Price) | 274.96 | 275.08 | 291.36 | 244.72 | 299.61 | 299.61 | 264.91 | 270 | 263.07 | 263.07 | 284.97 | 219.44 | 279.52 | 246.93 | 252.63
EE Addback (UCAP) | 5471.1 | 2198.2 | 1178.7 | 540.1 | 383.1 | 175.9 | 51.2 | 283.1 | 424.8 | 42.9 | 961.2 | 257 | 287.9 | 93.5 | 157.3
Variable Resource Requirement Curve:
Point (a) UCAP Price, $/MW-Day | 412.44 | 412.62 | 437.04 | 367.08 | 449.42 | 449.42 | 397.37 | 405 | 394.61 | 394.61 | 427.46 | 335.47 | 419.28 | 370.4 | 378.95
Point (b) UCAP Price, $/MW-Day | 206.22 | 206.31 | 218.52 | 183.54 | 224.71 | 224.71 | 198.68 | 202.5 | 197.3 | 197.3 | 213.73 | 164.58 | 209.64 | 185.2 | 189.47
Point (c) UCAP Price, $/MW-Day | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Point (a) UCAP Level, MW | 135913.6 | 65350.1 | 36396.7 | 14719.3 | 11482.8 | 5883.6 | 3159.4 | 7371.2 | 14920.7 | 5349.8 | 24786.5 | 7700.4 | 10431.7 | 3976.5 | 6746.1
Point (b) UCAP Level, MW | 139473.2 | 67073.4 | 37357.7 | 15106.3 | 11785.7 | 6039.4 | 3244.2 | 7564.7 | 15316.2 | 5494.7 | 25436.7 | 7903.5 | 10708.6 | 4082.4 | 6925.9
Point (c) UCAP Level, MW | 146247.9 | 70353.3 | 39186.8 | 15842.7 | 12362.2 | 6335.8 | 3405.6 | 7932.8 | 16069.1 | 5770.3 | 26674.1 | 8290.1 | 11235.4 | 4284.1 | 7268.1
Nominated PRD Value, MW | 235 | 235 | 38 | 197 | 0 | 0 | 15.4 | 110 | 0 | 0 | 0 | 87 | 0 | 0 | 0
VRR Curve adjusted for PRD:
Point (a1) UCAP Price, $/MW-Day | 412.44 | 412.62 | 437.04 | 367.08 |  |  | 397.37 | 405 |  |  |  | 335.47
Point (b1) UCAP Price, $/MW-Day | 206.22 | 206.31 | 218.52 | 183.54 |  |  | 198.68 | 202.5 |  |  |  | 164.58
Point (prd1) UCAP Price, $/MW-Day | 0.01 | 0.01 | 0.01 | 0.01 |  |  | 0.01 | 0.01 |  |  |  | 0.01
Point (prd2) UCAP Price, $/MW-Day | 0.01 | 0.01 | 0.01 | 0.01 |  |  | 0.01 | 0.01 |  |  |  | 0.01
Point (c) UCAP Price, $/MW-Day | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  |  |  | 0
Point (a1) UCAP Level, MW | 135657.4 | 65093.9 | 36355.3 | 14504.6 |  |  | 3142.6 | 7251.3 |  |  |  | 7605.6
Point (b1) UCAP Level, MW | 139217 | 66817.2 | 37316.3 | 14891.6 |  |  | 3227.4 | 7444.8 |  |  |  | 7808.7
Point (prd1) UCAP Level, MW | 145991.4 | 70096.9 | 39145.3 | 15628 |  |  | 3388.8 | 7812.9 |  |  |  | 8195.3
Point (prd2) UCAP Level, MW | 146247.6 | 70353.1 | 39186.7 | 15842.7 |  |  | 3405.6 | 7932.8 |  |  |  | 8290.1
Point (c) UCAP Level, MW | 146247.9 | 70353.3 | 39186.8 | 15842.7 |  |  | 3405.6 | 7932.8 |  |  |  | 8290.1
Pre-Auction Credit Rate, $/MW | 50317.68 | 50339.64 | 53318.88 | 44783.76 | 54828.63 | 54828.63 | 48478.53 | 49410 | 48141.81 | 48141.81 | 52149.51 | 40157.52 | 51152.16 | 45188.19 | 46231.29
Post-Auction Credit Rate, $/MW | 50317.68 | 50339.64 | 53318.88 | 44783.76 | 54828.63 | 54828.63 | 48478.53 | 49410 | 48141.81 | 48141.81 | 52149.51 | 40157.52 | 51152.16 | 45188.19 | 46231.29
Participant-Funded ICTRs Awarded | NA | 1557 | 40 | NA | 1070 | 639 | 72 | NA | NA | NA | 1376 | 65.7 | NA | NA | 155
FRR Load Requirement (% Obligation):
Minimum Internal Resource Requirement | NA | 97.5% | 83.5% | 45.7% | 21.7% | NA | NA | NA | 34.1% | NA | 84.1% | 28.2% | NA | NA | 22.1%
LDA CETO/CETL Data; Zonal Peak Loads, Base Zonal FRR Scaling Factors, and FRR load.
LDA/Zone | CETO | CETL | CETL to CETO Ratio % | 2021 Zonal W/N Coincident Peak Loads | Preliminary Zonal Peak Load Forecast | Base Zonal FRR Scaling Factor | FRR Portion of the Preliminary Peak Load Forecast | Preliminary Zonal Peak Load Forecast less FRR load | LDA/Zone
RTO | NA | NA | NA | 148881.4 | 149680 | NA | 28754.9875 | 120925.0125 | RTO
AE | 1730 | >1,990.0 | >115% | 2430 | 2400 | 0.98765 | 0 | 2400 | AE
AEP | -2770 | * | * | 21304.3 | 21544 | 1.0113 | 10554.7327 | 10989.2673 | AEP
APS | 570 | >656 | >115% | 8440 | 8492 | 1.0062 | 0 | 8492 | APS
ATSI | 4230 | 10213 | 241.4% | 11860 | 11927 | 1.0056 | 0 | 11927 | ATSI
ATSI-CLEVELAND | 3550 | 4728 | 133.2% | NA | 4126.7 | NA | 0 | NA | ATSI-CLEVELAND
BGE | 4660 | 5615 | 120.5% | 6180 | 6204 | 1.0039 | 0 | 6204 | BGE
COMED | -4060 | 5781 | * | 20290 | 19955 | 0.98349 | 0 | 19955 | COMED
DAYTON | 2510 | 4022 | 160.2% | 3150 | 3140 | 0.99683 | 0 | 3140 | DAYTON
DEOK | 3270 | 5632 | 172.2% | 4990 | 5054 | 1.0128 | 782.8129 | 4271.1871 | DEOK
DLCO | 1630 | >1,875.0 | >115% | 2660 | 2654 | 0.99774 | 0 | 2654 | DLCO
DOM | 860 | >989.0 | >115% | 19447.9 | 20418 | 1.0499 | 17395.1798 | 3022.8202 | DOM
DPL | 1010 | >1,162.0 | >115% | 3760 | 3762 | 1.0005 | 0 | 3762 | DPL
DPL SOUTH | 1360 | 2008 | 147.6% | NA | 2347.5 | NA | 0 | 2347.5 | DPL SOUTH
EKPC | 1210 | >1,392.0 | >115% | 2309.2 | 2380 | 1.0307 | 22.2621 | 2357.7379 | EKPC
JCPL | 3040 | >3,496.0 | >115% | 5700 | 5622 | 0.98632 | 0 | 5622 | JCPL
METED | 980 | >1,277.0 | >115% | 2890 | 2850 | 0.98616 | 0 | 2850 | METED
OVEC | NA | NA | NA | 70 | 70 | 1 | 0 | 70 | OVEC
PECO | 2520 | >2,898.0 | >115% | 8140 | 8110 | 0.99631 | 0 | 8110 | PECO
PENLC | -450 | * | * | 2780 | 2708 | 0.9741 | 0 | 2708 | PENLC
PEPCO | 3940 | 7160 | 181.7% | 5750 | 5726 | 0.99583 | 0 | 5726 | PEPCO
PL (incl. UGI) | 0 | 4916 | * | 7080 | 7015 | 0.99082 | 0 | 7015 | PL (incl. UGI)
PS | 5450 | 9022 | 165.5% | 9270 | 9273 | 1.0003 | 0 | 9273 | PS
PS NORTH | 2420 | 4349 | 179.7% | NA | 4822 | NA | 0 | 4822 | PS NORTH
RECO | NA | NA | NA | 380 | 376 | 0.98947 | 0 | 376 | RECO
EMAAC | 3210 | 8704 | 271.2% | NA | 29543 | NA | 0 |  | EMAAC
SWMAAC | 5790 | 8389 | 144.9% | NA | 11930 | NA | 0 |  | SWMAAC
Western MAAC | -10170 | * | * | NA | 12573 | NA | 0 |  | Western MAAC
MAAC | -4660 | 6381 | * | NA | 54046 | NA | 0 |  | MAAC
Western PJM | -8560 | * | * | NA | 75216 | NA | 11359.8077 |  | Western PJM
* LDA has adequate internal resources to meet the reliability criterion.
Limiting conditions at the CETL for modeled LDAs:
LDA | Violation |  | Limiting Facility
MAAC | Thermal |  | High Ridge - Sandy Spring 230 kV ckt 2314 for the loss of High Ridge - Sandy Spring - Burtonsville 230 kV ckt 2334 Elmont - Ladysmith 500 kV for the loss of the Midlothian - North Anna 500 kV
EMAAC | Thermal |  | Keeny - Rock Springs 500 kV for the loss of Peach Bottom - Limerick 500 kV Elroy - Hosensack 500 kV for the loss of Alburtis - Branchburg 500 kV
SWMAAC | Voltage |  | Voltage drop issue at Black Oak 500kv bus for the loss of Black Oak SVC, a switched shunt and 500/138 kV transformer
PS | Thermal |  | Roseland - Williams 230 kV for the loss of Roseland - Cedar Grove 230 kV Brunswick - Meadow Road 230 kV ckt Z2331 for the loss of Metuchen -Pierson Ave - Meadow Rd- Deans 230 kV ckt s2219 North Philadelphia - Waneeta 230 kV for the loss of Jenkingtown - Whitemarsh - Whitpain 230 kV
PSNORTH | Thermal |  | Roseland - Williams Pipeline 230 kV for the loss of Cedar Grove to Roseland 230 kV circuit Stanley Terrace - MC Carter 230 kV for the loss of West Orange - MC Carter 230 kV circuit
DPLSOUTH | Thermal |  | Vienna #13710 (Vienna-Vienna 8) 138kV line for the loss of Indian River - Milford 230kV line
PEPCO | Thermal |  | Northwest - Conastone 230 kV 'ckt 2322' for the loss of Northwest - Conastone 230 kV 'ckt 2310' Pleasant View - Edwards Ferry 230 kV for the loss of Burces Hill - Possom Point 500 kV
ATSI | Thermal |  | Overload of Grabill Ohio Power-Robison Park 138 kV for the loss of Auburn-Varner 138 kV Overload of Mitchell-Wilson 138 kV for the loss of Tidd-Collier 345 kV Overload of Butler-Shanor Manor 138 kV for the losso of Cabot-Cranberyy 500 kV
ATSI-CLEVELAND | Thermal |  | Low voltage at Hayes 345 kV for the loss of AC2-103 tap-Beaver 345 kV
COMED | Thermal |  | Overload of South Cadiz-Gable Switchign Station 138 kV for the loss of the Holloway 345/138 kV Transformer Overload of North Muskingum River-Philo 138 kV for the loss of Muskingum River-Ohio Central 345 kV Overload of South Bend-South Bend 2 138 kV for the loss of the Olive 345/138 kV Transformer Over load of New Carlisle-Bosserman 138 kV No. 2 circuit for the loss of New Carlisle-Bosserman 138 kV No.1 circuit Overload of Mitchell-Wilson 138 kV for the loss of Tidd-Collier 345 kV
BGE | Voltage |  | Voltage drop on several buses for the loss of the Conaston - Brighton 500 kV
PL | Thermal |  | Wescosville 500/230 kV transformer pre-contingency
DAYTON | Thermal |  | Shelby - Sidney 138 kV for the loss of the Miami - West Milton -Miami Fort 345 kV
DEOK | Thermal |  | Pierce 345/138 kV transformer #18 for the loss of the Pierce - Foster 345 kV circuit
Original 8/23/2021: Reliability Requirement not adjusted for FRR load.
Update 11/4/2021: Reliability Requirement of RTO and applicable LDAs adjusted for FRR load. CETO, Reliability Requirement and CETL values of affected LDAs were updated to reflect the following changes made to the original 2023/2024 models: ComEd LDA: Byron and Dresden units were added to the model to reflect withdrawn deactivation notifications; DEOK LDA: Zimmer 1 was removed from the model to reflect deactivation notification; DPL-South, MAAC and EMAAC LDAs: Indian River 4 was added to the model under assumption of continued operation until upgrades needed to resolve reliability violations associated with the unit’s deactivation can be placed in-service; EMAAC LDA CETL also updated to reflect correction of impedance values of two EMAAC 500 kV tie lines; ATSI LDA: CETO and Reliability Requirement updated to reflect 100 MW of planned generation meeting qualification to be included in the model.
Update 11/30/2021: EE addback represents the maximum amount of EE that can clear the auction. The VRR curve will be adjusted by an EE addback MW quantity that is equal to the amount of EE that clears the auction in accordance with Manual 18, section 2.4.5.
Update 2/28/22: IRM values, Peak Load Forecast, CETO, Reliability Requirements, CETL, and EE Addback due the 23/24 BRA being delayed. Net CONE values have been updated to reflect FERC Orders to reinstate historical Net EAS method and to remove 10% adder from Net EAS determination.
Update 6/21/22: Updated Post-Auction Credit Rate, the EE Addback to reflect the amount of EE that cleared the market, and the DEOK VRR curve to reflect the FRR portion served only in the DEOK footprint.

## Net CONE
RPM CONE and E&AS Values for 2023/2024 Base Residual Auction
ICAP to UCAP Conversion Factor:
UCAP Price = ICAP Price / (1 - Pool-Wide Average EFORd)
Pool-Wide Average EFORd for 2023/2024 BRA | [6 empty] | 5.04%
CONE Area 1: AE, DPL, JCPL, PECO, PS, RECO
CONE Area 2: BGE, PEPCO
CONE Area 3: AEP, APS, ATSI, ComEd, Dayton, DEOK, Dominion, Duquesne (DLCo), EKPC, OVEC
CONE Area 4: MetEd, Penelec, PPL
Zone/LDA | 2022/2023 BRA CONE: Levelized Revenue Requirement, $/MW-Year * | Escalation | 2023/2024 BRA CONE: Levelized Revenue Requirement, $/MW-Year | Gross CONE, $/MW-Day, UCAP Price | Historic Net Energy Revenue Offset, $/MW-Year | Ancillary Services Offset, $/MW-Year per Tariff | Net E&AS Revenue Offset, $/MW-Year | Net CONE, $/MW-Day, ICAP Price | Net CONE, $/MW-Day, UCAP Price | LDA Modeled with VRR Curve
CONE Area 1 | 108000 | 1.0677 | 115311.3127 | 331.78
AE |  |  |  | 331.78 | 9229.27 | 2199 | 11428.27 | 283.8334 | 298.9
DPL |  |  |  | 331.78 | 21042.56 | 2199 | 23241.56 | 251.5567 | 264.91 | DPL SOUTH
JCPL |  |  |  | 331.78 | 9193.58 | 2199 | 11392.58 | 283.931 | 299
PE |  |  |  | 331.78 | 9296.73 | 2199 | 11495.73 | 283.6491 | 298.7
PSEG |  |  |  | 331.78 | 8982.64 | 2199 | 11181.64 | 284.5073 | 299.61 | PS, PSEG NORTH
RECO |  |  |  | 331.78 | 13360.99 | 2199 | 15559.99 | 272.5446 | 287.01
EMAAC |  |  |  | 331.78 |  |  |  | 276.68 | 291.36 | EMAAC
CONE Area 2 | 109700 | 1.0628 | 116593.1938 | 335.47
BGE |  |  |  | 335.47 | 38125.65 | 2199 | 40324.65 | 208.384 | 219.44 | BGE
PEPCO |  |  |  | 335.47 | 20555.5 | 2199 | 22754.5 | 256.3899 | 270 | PEPCO
SWMAAC |  |  |  | 335.47 |  |  |  | 232.39 | 244.72 | SWMAAC
CONE Area 4 | 105500 | 1.0598 | 111813.5832 | 321.72
METED |  |  |  | 321.72 | 19621.99 | 2199 | 21820.99 | 245.8814 | 258.93
PENELEC |  |  |  | 321.72 | 22791.56 | 2199 | 24990.56 | 237.2214 | 249.81
PPL |  |  |  | 321.72 | 12467.47 | 2199 | 14666.47 | 265.4293 | 279.52 | PPL
MAAC |  |  |  | 329.71 |  |  |  | 261.22 | 275.08 | MAAC
CONE Area 3 | 105500 | 1.0591 | 111730.7823 | 321.48
AEP |  |  |  | 321.48 | 22906.44 | 2199 | 25105.44 | 236.6813 | 249.24
APS |  |  |  | 321.48 | 28042.44 | 2199 | 30241.44 | 222.6485 | 234.47
ATSI |  |  |  | 321.48 | 18099.54 | 2199 | 20298.54 | 249.8149 | 263.07 | ATSI, ATSI CLEVELAND
COMED |  |  |  | 321.48 | 10491.04 | 2199 | 12690.04 | 270.6031 | 284.97 | COMED
DAYTON |  |  |  | 321.48 | 23710.95 | 2199 | 25909.95 | 234.4831 | 246.93 | DAYTON
DEOK |  |  |  | 321.48 | 21729.19 | 2199 | 23928.19 | 239.8978 | 252.63 | DEOK
DLCO |  |  |  | 321.48 | 21451.21 | 2199 | 23650.21 | 240.6573 | 253.43
DOM |  |  |  | 321.48 | 21216.48 | 2199 | 23415.48 | 241.2986 | 254.11
EKPC |  |  |  | 321.48 | 16090.83 | 2199 | 18289.83 | 255.3031 | 268.85
OVEC |  |  |  | 321.48 | 20048.75 | 2199 | 22247.75 | 244.4892 | 257.47
RTO | 107175 |  | 113862.218 | 327.61 | 16100.87 | 2199 | 18299.87 | 261.0993 | 274.96 | RTO
* The 2022/2023 BRA CONE values are based on PJM’s Quadrennial Review filing (Docket No. ER19-105) which was FERC approved on April 15, 2019.

## Key Transmission Upgrades
New Key Transmission Upgrades included for 2023/2024 model
Upgrade ID | Description | Transmission Owner
b2759 | Rebuild Line #550 Mt. Storm – Valley 500kV | Dominion
b3019 | Rebuild 500kV Line #552 Bristers to Chancellor – 21.6 miles long | Dominion
b2977 | Portion of 2017_1-6A | DEOK
b2977.1 | Install a new 345kV breaker “1422” so Pierce 345/138KV transformer #18 is now fed in a double breaker, double bus configuration. | DEOK
b2977.2 | Remove X-533 No. 2 to the first tower outside the station. Install a new first tower for X-533 No.2. | DEOK
b2977.3 | Install new 345KV breaker B and move the Buffington-Pierce 345kV feeder to the B-C junction. Install a new tower at the first tower outside the station for Buffington-Pierce 345kV line. | DEOK
b2977.4 | Remove breaker A and move the Pierce 345/138kV transformer #17 feed to the C-D junction. | DEOK
b2977.5 | Replace breaker 822 at Beckjord 138kV substation to increase the rating from Pierce to Beckjord 138kV to 603MVA. | DEOK
s1267 | Replace underground submarine cables portion of the Brandon Shores - Riverside 230 kV circuits #2344 and #2345 with overhead conductors on towers | BGE
b2838 | Build a new 230/69 kV substation by tapping the Montour - Susquehanna 230 kV double circuits and Berwick - Hunlock & Berwick - Colombia 69 kV circuits | PPL
b2986.1 | Roseland-Branchburg 230kV corridor rebuild | PSEG
b2986.11 | Roseland-Branchburg 230kV corridor rebuild (Roseland - Readington) | PSEG
b2986.12 | Roseland-Branchburg 230kV corridor rebuild (Readington - Branchburg) | PSEG
b2986.2 | Branchburg-Pleasant Valley 230kV corridor rebuild | PSEG
b2986.22 | Branchburg-Pleasant Valley 230kV corridor rebuild (East Flemington - Pleasant Valley) | PSEG
b2986.23 | Branchburg-Pleasant Valley 230kV corridor rebuild (Pleasant Valley - Rocktown) | PSEG
b2986.24 | Branchburg-Pleasant Valley 230kV corridor rebuild (the PSEG portion of Rocktown - Buckingham) | PSEG
b3042 | Replace substation conductor at Raritan River 230 kV substation on the Kilmer line terminal | JCPL
Key Transmission Upgrades included for 2022/2023 model but not included for 2023/2024 model
Upgrade ID | Description | Transmission Owner
None