## Instructions
NOTES AND INSTRUCTIONS
A) | ANSWER ALL THE QUESTIONS ON PAGES 1, 2, 3, & 4.
Answer all the questions on each page completely before proceeding to the next page.
Click on the Link at the bottom of the page to "jump" to the corresponding page.
B) | PROCEED TO PAGE 5 FOR YOUR QUARTERLY METER REPORT.
Check to make sure the Quarterly Meter Report is completely filled out. If data is missing,
go back through pages 1, 2, 3, & 4 and make sure all questions have been answered.
C) | SAVE THE SPREADSHEET AND E-MAIL IT TO THE KENTUCKY PUBLIC SERVICE COMMISSION
Click on the Link below to proceed to e-mail, attach this completed spreadsheet and hit send
Division of Inspections: PSC.Water.Notice@ky.gov
D) | PRINT OUT THE QUARTERLY METER REPORT FOR YOUR RECORDS
E) | TABLE OF CONTENTS
Click on the Link below to proceed to that page
| 1 - GENERAL INFORMATION |  | Information pertaining to the utility and quarterly meter report.
| 2 - METER STATISTICS |  | Information pertaining to number of meters tested and in system.
| 3 - METER TESTING |  | Information pertaining to meter test results.
| 4 - METER & REFUND INFORMATION |  | Information pertaining to customers and refunds.
| 5 - QUARTERLY REPORT |  | Information summarized into the quarterly report for printing.
E) | REGULATION 807 KAR 5:066 Section 16. Periodic Tests.
(1) Each utility shall test periodically all water meters so that no meter will remain
in service without test for a period longer than specified in the following table:
|  | SIZE OF METER (inches) |  | INTERVAL BETWEEN TEST YEARS
|  | 5/8 |  | 10
|  | 5/8 x 3/4 |  | 10
|  | 3/4 |  | 10
|  | 1 |  | 10
|  | 1.25 |  | 4
|  | 1.5 |  | 4
|  | 2 |  | 4
|  | 3 |  | 2
|  | 4 and larger |  | 1

## 1 - General Information
PAGE 1. GENERAL INFORMATION
A) | What is the name of your utility? |  |  |  | BLACK MOUNTAIN UTILITY
B) | What is the street address of your utility? |  |  |  | 609 FOUR MILE ROAD
C) | What city is your utility in? |  |  |  | BAXTER
D) | What is your zip code? |  |  |  | 40806
E) | What test year are you reporting on? |  |  |  | 2023
F) | What quarter are you reporting on (1, 2, 3, or 4)? |  |  |  | 4
| GO TO: | INSTRUCTIONS | PAGE 2 | PAGE 3 | PAGE 4 | PAGE 5

## 2 - Meter Statistics
PAGE 2. METER STATISTICS
A) | How many 5/8" meters are in your system? | [5 empty] | 3800
B) | How many meters are to be tested this year? | [5 empty] | 1500
C) | How many meters have been tested this year (including this quarter)? | [5 empty] | 30
RESIDENTIAL
D) | How many metered residential customers are in your system? | [5 empty] | 3740
E) | How many non-metered residential customers are in your system? | [5 empty] | 0
COMMERCIAL
F) | How many metered commercial customers are in your system? | [5 empty] | 5
G) | How many non-metered commercial customers are in your system? | [5 empty] | 0
INDUSTRIAL
H) | How many metered industrial customers are in your system? | [5 empty] | 1
I) | How many non-metered industrial customers are in your system? | [5 empty] | 0
OTHER
J) | How many metered customers are in your system other than those listed above? | [5 empty] | 0
K) | How many non-metered customers are in your system other than those
| listed above? (includes fire hydrants) | [5 empty] | 25
| GO TO: | INSTRUCTIONS | PAGE 1 | PAGE 3 | PAGE 4 | PAGE 5

## 3 - Meter Testing
PAGE 3. METER TESTING
LAST 5 YEARS
A) | How many meters in your system were last tested within the past 5 years? | [5 empty] | 0
(include new meters put into service)
B) | How many of those were tested this quarter? | [5 empty] | 0
(include new meters put into service)
C) | How many of those tested within ±2% error limit? | [5 empty] | 0
D) | How many of those tested more than 2% fast? | [5 empty] | 0
E) | How many of those tested more than 2% slow? | [5 empty] | 0
F) | How many of those tested were non-registering? | [5 empty] | 0
5 - 8 YEARS
G) | How many meters in your system were last tested 5 - 8 years ago? | [5 empty] | 1023
H) | How many of those were tested this quarter? | [5 empty] | 0
I) | How many of those tested within ±2% error limit? | [5 empty] | 0
J) | How many of those tested more than 2% fast? | [5 empty] | 0
K) | How many of those tested more than 2% slow? | [5 empty] | 0
L) | How many of those tested were non-registering? | [5 empty] | 0
9 YEARS
M) | How many meters in your system were last tested 9 years ago? | [5 empty] | 338
N) | How many of those were tested this quarter? | [5 empty] | 0
O) | How many of those tested within ±2% error limit? | [5 empty] | 0
P) | How many of those tested more than 2% fast? | [5 empty] | 0
Q) | How many of those tested more than 2% slow? | [5 empty] | 0
R) | How many of those tested were non-registering? | [5 empty] | 0
10 YEARS
S) | How many meters in your system were last tested 10 years ago? | [5 empty] | 1479
T) | How many of those were tested this quarter?
U) | How many of those tested within ±2% error limit? | [5 empty] | 0
V) | How many of those tested more than 2% fast? | [5 empty] | 0
W) | How many of those tested more than 2% slow? | [5 empty] | 0
X) | How many of those tested were non-registering? | [5 empty] | 0
10+ YEARS
Y) | How many meters in your system were last tested more than 10 years ago?
Z) | How many of those were tested this quarter?
AA) | How many of those tested within ±2% error limit?
AB) | How many of those tested more than 2% fast?
AC) | How many of those tested more than 2% slow?
AD) | How many of those tested were non-registering?
UNKNOWN
AE) | How many meters in your system were last tested more than 10 years ago?
AF) | How many of those were tested this quarter?
AG) | How many of those tested within ±2% error limit?
AH) | How many of those tested more than 2% fast?
AI) | How many of those tested more than 2% slow?
AJ) | How many of those tested were non-registering?
| GO TO: | INSTRUCTIONS | PAGE 1 | PAGE 2 | PAGE 4 | PAGE 5

## 4 - Meter & Refund Info
PAGE 4. METER AND REFUND INFORMATION
METER INFORMATION
A-1) | Do you have a periodic meter test program (Yes or No)? | [7 empty] | YES
A-2) | If No, list Sample Method Plan and Case Number.
B) | How many meters were removed from service and tested for this reporting quarter?
C) | How many new service connections (meters) were installed this reporting quarter? | [7 empty] | 3
D) | Who tests the meters? |  |  |  | CIDCO WATER
E) | What does the utility do with meters that test more than 2% fast or 2% slow? | [6 empty] | DISCARD & REPLACE
F) | How many meters were tested at the request of a customer? | [7 empty] | 0
G) | How many meters were tested at the request of the Commission? | [7 empty] | 0
FOR THIS REPORTING QUARTER
H) | What is the number of meters on which refunds were made? | [7 empty] | 0
I) | What is the total amount of refunds made? | [7 empty] | 0
J) | How many customers were billed for slow meters? | [7 empty] | 0
K) | What is the total amount billed on slow meters? | [7 empty] | 0
L) | How many customers were billed for non-registering meters? | [7 empty] | 0
M) | What is the total amount billed on non-registering meters? | [7 empty] | 0
INFORMATION IN THIS REPORT
N) | Who is responsible for the information concerning meter testing? | [7 empty] | GRANT COOPER
O) | What is the title of the individual named in above question? | [7 empty] | MANAGER
P) | Who is responsible for the information concerning customers and refunds? | [7 empty] | GRANT COOPER
Q) | What is the title of the individual named in above question? | [7 empty] | MANAGER
R) | What is the date of submittal for this report? | [7 empty] | 2023-03-31
| GO TO: | INSTRUCTIONS | PAGE 1 | PAGE 2 |  | PAGE 3 | PAGE 5

## 5 - Quarterly Report
QUARTERLY METER REPORT
TO THE KENTUCKY PUBLIC SERVICE COMMISSION
GENERAL INFORMATION
NAME OF UTILITY |  | BLACK MOUNTAIN UTILITY | [6 empty] | QUARTER |  |  |  | (4) October - December
ADDRESS |  | 609 FOUR MILE ROAD | [6 empty] | TEST YEAR |  |  |  | 2023
0
CITY, STATE, ZIP |  | BAXTER, KY 40806 | [6 empty] | DATE SUBMITTED |  |  |  | 2023-12-15
METER STATISTICS
| CUSTOMER TYPE |  |  | METERED |  |  | NON-METERED |  |  |  |  | TOTAL
| RESIDENTIAL |  |  | 3740 |  |  | 0 |  |  |  |  | 3740
| COMMERCIAL |  |  | 5 |  |  | 0 |  |  |  |  | 5
| INDUSTRIAL |  |  | 1 |  |  | 0 |  |  |  |  | 1
| OTHER |  |  | 0 |  |  | 25 |  |  |  |  | 25
| TOTALS |  |  | 3746 |  |  | 25 |  |  |  |  | 3771
| STATUS OF METER TEST PROGRAM | [10 empty] | QUANTITY
| METERS TO BE TESTED THIS YEAR | [10 empty] | 1500
| METERS TESTED THIS YEAR (TO DATE) | [10 empty] | 30
| METERS STILL TO TEST THIS YEAR | [10 empty] | 1470
METER TESTING
YEARS SINCE METER |  | METER TEST RESULTS | [9 empty] | METERS |  | METERS
WAS LAST TESTED |  | WITHIN ±2% |  |  | > 2% FAST |  | > 2% SLOW |  |  |  | NR* | TESTED |  | NOT TESTED
NEW - 5 YEARS |  | 0 |  |  | 0 |  | 0 |  |  |  | 0 | 0 |  | 0
5 - 8 YEARS |  | 0 |  |  | 0 |  | 0 |  |  |  | 0 | 0 |  | 1023
9 YEARS |  | 0 |  |  | 0 |  | 0 |  |  |  | 0 | 0 |  | 338
10 YEARS |  | 0 |  |  | 0 |  | 0 |  |  |  | 0 | 0 |  | 1479
10+ YEARS |  | 0 |  |  | 0 |  | 0 |  |  |  | 0 | 0 |  | 0
UNKNOWN |  | 0 |  |  | 0 |  | 0 |  |  |  | 0 | 0 |  | 0
TOTALS |  | 0 |  |  | 0 |  | 0 |  |  |  | 0 | 0 |  | 2840
PERCENT |  | #DIV/0! |  |  | #DIV/0! |  | #DIV/0! |  |  |  | #DIV/0! | 0% |  | 100%
* Non-Registering
PERIODIC METER TEST PROGRAM | [9 empty] | YES
CASE NUMBER and/or SAMPLE METHOD PLAN | [9 empty] | 0
METERS REMOVED FROM SERVICE AND TESTED THIS QUARTER | [9 empty] | 0
NEW SERVICE CONNECTIONS (METERS) INSTALLED THIS QUARTER | [9 empty] | 3
TOTAL METERS TESTED THIS QUARTER | [9 empty] | 0
UTILITY OR APPROVED AGENCY DOING METER TESTING | [9 empty] | CIDCO WATER
METERS THAT TEST MORE THAN 2% FAST OR 2% SLOW | [9 empty] | DISCARD & REPLACE
CUSTOMER AND REFUND INFORMATION
NUMBER OF TESTS MADE AT CUSTOMER'S REQUEST | [9 empty] | 0
NUMBER OF TESTS MADE AT COMMISSION'S REQUEST | [9 empty] | 0
NUMBER OF METERS ON WHICH REFUNDS WERE MADE | [9 empty] | 0
TOTAL AMOUNT OF REFUNDS MADE DURING THIS QUARTER | [9 empty] | 0
NUMBER OF CUSTOMERS BILLED FOR SLOW METERS | [9 empty] | 0
TOTAL AMOUNT BILLED ON SLOW METERS | [9 empty] | 0
NUMBER OF CUSTOMERS BILLED FOR NON-REGISTERING METERS | [9 empty] | 0
TOTAL AMOUNT BILLED ON NON-REGISTERING METERS | [9 empty] | 0
METER TESTING INFORMATION APPROVED BY: | [7 empty] | CUSTOMER & REFUND INFORMATION APPROVED BY:
SIGNED | GRANT COOPER | [6 empty] | SIGNED |  | GRANT COOPER
TITLE | MANAGER | [6 empty] | TITLE |  | MANAGER
GO TO: | INSTRUCTIONS |  | PAGE 1 |  |  | PAGE 2 |  |  | PAGE 3 |  |  |  | PAGE 4
[8 empty] | LAST REVISED: |  |  |  | 2017-07-11