## Instructions
Commission Form Instructions:
Water Produced and Purchased
Line # | All Lines | Omit the last three zeros into the cell.
| 2 | Provide the number of thousands of gallons of water produced by the utility for the corresponding month.
| 3 | Provide the number of thousands of gallons of water purchased by the utility from third-parties for the corresponding month.
| 4 | The total of Water Produced and Water Purchased. This row will automatically calculate if the preceding lines are correctly filled out.
Water Sales
| 7-13 | Provide the number of thousands of gallons of water sold for each category listed.
| 12 | Sales to Public Authorities are typically sold under a special contract or tariff (e.g.fire department or other governmental entity.)
| 13 | If there are water sales for categories other than the ones listed in Lines 7-12 above, provide the thousands of gallons of water sold for "Other Sales" and an explanation that details the water sale. If an explanation is not given, the form will not calculate Line 14, and instead, will give an error message. The majority of the water sales should fall into the categories in Lines 7-12, such that most utilities will enter "0" into the "Other Sales" line.
| 14 | The sum of Lines 7-13 should match the amount of "Total Water Sales" in this row. This row will automatically calculate if the preceding lines are correctly filled out.
Other Water Used
| 17-21 | These categories include water that is properly used but not sold and, therefore, does not generate revenue for the utility. All gallons of water that are reported in these categories should be supported by records to be kept at the utility's office, which will be subject to examination by the Division of Inspections.
| 17 | Provide the thousands of gallons of water used solely for the purpose of the utility and/or water treatment use. This would include, for example, backwashing the filtration system of the water treatment plant.
| 18 | Provide the thousands of gallons of water used for wastewater use. This would include, but would not be limited to, for example, water used to wash down/clean the wastewater plant.
| 19 | Provide the thousands of gallons of water used for system flushing, which is typically water used to keep water fresh and chlorine residuals up, and water used to flush lines to protect from Total Trihalomethanes (known as TTHM) and Haleacetic acids (known as HAA).
| 20 | Provide the thousands of gallons of water used by the Fire Department that are not provided in "Sales to Public Authorities" in Line 12. Only enter galons for "Fire Department" use if the water is provided at no cost pursuant to the utility's tariff. All sales to fire departments should be entered in the sales category above. Pursuant to the requirements of KRS 278.170(3) and 807 KAR 5:095, Section 9(1), a utility that permits a fire department to use water at no charge or at reduced rates shall require the fire department to submit quarterly reports demonstrating its water usage. 807 KAR 5:095, Section 9(2), further requires a utility to include a penalty in its tariff for any fire department's failure to submit the required reports.
| 21 | If there are categories of legitimate, cost-free water usage other than the ones listed in Lines 17-20 above, provide the thousands of gallons of water used for "Other Usage" and an explanation that details what was used. If an explanation is not given, the form will not calculate Line 22, and instead, will give an error message. The majority of legitimate usage should fall into the categories on Lines 17-20, such that most utilities will enter "0" into the "Other Usage" line.
| 22 | The sum of Lines 17-21 should match the amount of "Total Other Water Used" in this row. This row will automatically calculate if the preceding lines are correctly filled out.
Water Loss
| 25-30 | All gallons of water reported for these lines represent all other water that is not billed or used in the production and transmission of water to customers. Any amounts included in these lines are part of the calculation of the Water Loss Percentage below. The utility should be prepared to support any amounts that appear in Lines 25-29 with records kept at the utility's office, which will be subject to examination by the Division of Inspections.
| 28 | Water reported in this category only includes water lost for excavation damages for which the water was neither billed, nor collected from the customer. If the amounts for excavation damages are recovered from the customer, these amounts should be reported in water sales.
| 29 | Water reported in this category only includes water lost for theft that was neither billed, nor collected from the customer. The water loss can be estimated by using the average monthly use for each class of customer. If amounts for water theft are recovered from the customer, these amounts should be reported in water sales.
| 30 | If there is water loss for categories other than those listed in Lines 25-29 above, provide the thousands of gallons of water loss for "Other Loss" and an explanation that details the specific water loss. If an explanation is not given, the form will not calculate Line 22, and instead, will give an error message. This would include, but not be limited to, malfunctioning meters, unknown loss, etc. The majority of the water loss should fall into the categories in Lines 25-29, such that most utilities will enter "0" into the "Other Loss" line.
| 31 | The sum of Lines 25-30 should match the amount of "Total Water Loss" in this row. This row will automatically calculate if the preceding lines are correctly filled out.
Water Loss Percentage
| 36 | The "Water Loss Percentage" in Line 36 will automatically calculate if all other lines on the form are filled out correctly. If the sum of Lines 14, 22, and 31 do not equal Line 4, the form will return an error in red that the Lines do not equal.

## Jan
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility: |  | BLACK MOUNTAIN UTILITY DISTRICT
For the Month of: |  | January | Year: | 2024
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced
3 | Water Purchased |  |  | 18689625
4 | TOTAL PRODUCED AND PURCHASED |  |  | 18689625
5
6 | WATER SALES
7 | Residential |  |  | 11560940
8 | Commercial
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 11560940
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant
18 | Wastewater Plant
19 | System Flushing
20 | Fire Department
21 | Other Usage (explain)
22 | TOTAL OTHER WATER USED |  |  | 0
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks
27 | Line Leaks |  |  | 7128685
28 | Excavation Damages
29 | Theft
30 | Other Loss
31 | TOTAL WATER LOSS |  |  | 7128685
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 38.14%

## Feb
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility: |  | BLACK MOUNTAIN UTILITY DISTRICT
For the Month of: |  | February | Year: | 2024
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced
3 | Water Purchased |  |  | 22685147
4 | TOTAL PRODUCED AND PURCHASED |  |  | 22685147
5
6 | WATER SALES
7 | Residential |  |  | 15890440
8 | Commercial
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 15890440
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant |  |  | 3500
18 | Wastewater Plant |  |  | 45000
19 | System Flushing |  |  | 387456
20 | Fire Department
21 | Other Usage (explain) | DBP |  | 487954
22 | TOTAL OTHER WATER USED |  |  | 923910
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks
27 | Line Leaks |  |  | 5870797
28 | Excavation Damages
29 | Theft
30 | Other Loss
31 | TOTAL WATER LOSS |  |  | 5870797
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 25.88%
ROLLING TOTALS

## Mar
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility: |  | BLACK MOUNTAIN UTILITY DISTRICT
For the Month of: |  | March | Year: | 2024
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced
3 | Water Purchased |  |  | 18953000
4 | TOTAL PRODUCED AND PURCHASED |  |  | 18953000
5
6 | WATER SALES
7 | Residential |  |  | 12588210
8 | Commercial
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 12588210
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant |  |  | 2500
18 | Wastewater Plant |  |  | 40000
19 | System Flushing
20 | Fire Department |  |  | 3500
21 | Other Usage (explain)
22 | TOTAL OTHER WATER USED |  |  | 46000
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks
27 | Line Leaks |  |  | 6318790
28 | Excavation Damages
29 | Theft
30 | Other Loss
31 | TOTAL WATER LOSS |  |  | 6318790
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 33.34%

## Apr
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility: |  | BLACK MOUNTAIN UTILITY DISTRICT
For the Month of: |  | April | Year: | 2024
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced
3 | Water Purchased |  |  | 21051233
4 | TOTAL PRODUCED AND PURCHASED |  |  | 21051233
5
6 | WATER SALES
7 | Residential |  |  | 12744470
8 | Commercial
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 12744470
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant |  |  | 7000
18 | Wastewater Plant |  |  | 25000
19 | System Flushing |  |  | 742125
20 | Fire Department |  |  | 8900
21 | Other Usage (explain) | DBP |  | 1245786
22 | TOTAL OTHER WATER USED |  |  | 2028811
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks
27 | Line Leaks |  |  | 6277952
28 | Excavation Damages
29 | Theft
30 | Other Loss
31 | TOTAL WATER LOSS |  |  | 6277952
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 29.82%

## May
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility: |  | BLACK MOUNTAIN UTILITY DISTRICT
For the Month of: |  | May | Year: | 2024
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced
3 | Water Purchased |  |  | 21423562
4 | TOTAL PRODUCED AND PURCHASED |  |  | 21423562
5
6 | WATER SALES
7 | Residential |  |  | 11602480
8 | Commercial
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 11602480
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant |  |  | 3500
18 | Wastewater Plant |  |  | 40000
19 | System Flushing |  |  | 547856
20 | Fire Department
21 | Other Usage (explain) | DBP |  | 658744
22 | TOTAL OTHER WATER USED |  |  | 1250100
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks |  |  | 2145785
27 | Line Leaks |  |  | 6425197
28 | Excavation Damages
29 | Theft
30 | Other Loss
31 | TOTAL WATER LOSS |  |  | 8570982
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 40.01%

## Jun
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility: |  | BLACK MOUNTAIN UTILITY DISTRICT
For the Month of: |  | June | Year: | 2024
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced
3 | Water Purchased |  |  | 20816620
4 | TOTAL PRODUCED AND PURCHASED |  |  | 20816620
5
6 | WATER SALES
7 | Residential |  |  | 11445570
8 | Commercial
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 11445570
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant |  |  | 4000
18 | Wastewater Plant |  |  | 25000
19 | System Flushing |  |  | 1354780
20 | Fire Department | WALLINS FIRE |  | 3500
21 | Other Usage (explain) | DBP |  | 745128
22 | TOTAL OTHER WATER USED |  |  | 2132408
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks
27 | Line Leaks |  |  | 7238642
28 | Excavation Damages
29 | Theft
30 | Other Loss
31 | TOTAL WATER LOSS |  |  | 7238642
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 34.77%

## July
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility: |  | BLACK MOUNTAIN UTILITY DISTRICT
For the Month of: |  | July | Year: | 2024
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced
3 | Water Purchased |  |  | 20296310
4 | TOTAL PRODUCED AND PURCHASED |  |  | 20296310
5
6 | WATER SALES
7 | Residential |  |  | 13192110
8 | Commercial
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 13192110
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant |  |  | 5000
18 | Wastewater Plant |  |  | 25000
19 | System Flushing |  |  | 924578
20 | Fire Department |  |  | 15000
21 | Other Usage (explain) | DBP |  | 687124
22 | TOTAL OTHER WATER USED |  |  | 1656702
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks |  |  | 1245762
27 | Line Leaks |  |  | 4201736
28 | Excavation Damages
29 | Theft
30 | Other Loss
31 | TOTAL WATER LOSS |  |  | 5447498
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 26.84%

## Aug
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility: |  | BLACK MOUNTAIN UTILITY DISTRICT
For the Month of: |  | August | Year: | 2024
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced
3 | Water Purchased |  |  | 22362120
4 | TOTAL PRODUCED AND PURCHASED |  |  | 22362120
5
6 | WATER SALES
7 | Residential |  |  | 11198660
8 | Commercial
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 11198660
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant |  |  | 4000
18 | Wastewater Plant |  |  | 50000
19 | System Flushing |  |  | 1789456
20 | Fire Department |  |  | 3800
21 | Other Usage (explain) | DBP |  | 1875134
22 | TOTAL OTHER WATER USED |  |  | 3722390
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks |  |  | 3256811
27 | Line Leaks |  |  | 4184259
28 | Excavation Damages
29 | Theft
30 | Other Loss
31 | TOTAL WATER LOSS |  |  | 7441070
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 33.28%

## Sept
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility: |  | BLACK MOUNTAIN UTILITY DISTRICT
For the Month of: |  | September | Year: | 2024
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced
3 | Water Purchased |  |  | 21083240
4 | TOTAL PRODUCED AND PURCHASED |  |  | 21083240
5
6 | WATER SALES
7 | Residential |  |  | 10929149
8 | Commercial
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 10929149
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant |  |  | 5000
18 | Wastewater Plant |  |  | 25000
19 | System Flushing |  |  | 1957842
20 | Fire Department |  |  | 47500
21 | Other Usage (explain) | DBP |  | 879534
22 | TOTAL OTHER WATER USED |  |  | 2914876
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks
27 | Line Leaks |  |  | 7239215
28 | Excavation Damages
29 | Theft
30 | Other Loss
31 | TOTAL WATER LOSS |  |  | 7239215
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 34.34%

## Oct
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility: |  | BLACK MOUNTAIN UTILITY DISTRICT
For the Month of: |  | October | Year: | 2024
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced
3 | Water Purchased |  |  | 21942980
4 | TOTAL PRODUCED AND PURCHASED |  |  | 21942980
5
6 | WATER SALES
7 | Residential |  |  | 11767500
8 | Commercial
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 11767500
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant |  |  | 4000
18 | Wastewater Plant |  |  | 50000
19 | System Flushing |  |  | 1654200
20 | Fire Department |  |  | 42000
21 | Other Usage (explain) | DBP |  | 1245000
22 | TOTAL OTHER WATER USED |  |  | 2995200
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks |  |  | 1245700
27 | Line Leaks |  |  | 5934580 | 5934580
28 | Excavation Damages
29 | Theft
30 | Other Loss
31 | TOTAL WATER LOSS |  |  | 7180280
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 32.72%

## Nov
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility: |  | BLACK MOUNTAIN UTILITY DISTRICT
For the Month of: |  | November | Year: | 2024
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced
3 | Water Purchased |  |  | 22065620
4 | TOTAL PRODUCED AND PURCHASED |  |  | 22065620
5
6 | WATER SALES
7 | Residential |  |  | 13014852
8 | Commercial
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 13014852
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant |  |  | 4000
18 | Wastewater Plant |  |  | 25000
19 | System Flushing |  |  | 984500
20 | Fire Department |  |  | 36000
21 | Other Usage (explain) | DBP |  | 742000
22 | TOTAL OTHER WATER USED |  |  | 1791500
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks |  |  | 1432560
27 | Line Leaks |  |  | 5826708
28 | Excavation Damages
29 | Theft
30 | Other Loss
31 | TOTAL WATER LOSS |  |  | 7259268
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 32.9%

## Dec
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility: |  | BLACK MOUNTAIN UTILITY DISTRICT
For the Month of: |  | DECEMBER | Year: | 2024
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced
3 | Water Purchased |  |  | 18350000
4 | TOTAL PRODUCED AND PURCHASED |  |  | 18350000
5
6 | WATER SALES
7 | Residential |  |  | 10613923
8 | Commercial
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 10613923
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant |  |  | 4000
18 | Wastewater Plant |  |  | 25000
19 | System Flushing |  |  | 645000
20 | Fire Department
21 | Other Usage (explain) | DBP |  | 310000
22 | TOTAL OTHER WATER USED |  |  | 984000
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks
27 | Line Leaks |  |  | 6752077
28 | Excavation Damages
29 | Theft
30 | Other Loss
31 | TOTAL WATER LOSS |  |  | 6752077
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 36.8%

## Annual
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility: |  | BLACK MOUNTAIN UTILITY DISTRICT
For the Month of: |  | Annual | Year: | 2024
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced |  |  | 0
3 | Water Purchased |  |  | 249719457
4 | TOTAL PRODUCED AND PURCHASED |  |  | 249719457
5
6 | WATER SALES
7 | Residential |  |  | 146548304
8 | Commercial |  |  | 0
9 | Industrial |  |  | 0
10 | Bulk Loading Stations |  |  | 0
11 | Wholesale |  |  | 0
12 | Public Authorities |  |  | 0
13 | Other Sales (explain) |  |  | 0
14 | TOTAL WATER SALES |  |  | 146548304
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant |  |  | 46500
18 | Wastewater Plant |  |  | 375000
19 | System Flushing |  |  | 10987793
20 | Fire Department |  |  | 160200
21 | Other Usage (explain) | DBP |  | 8876404
22 | TOTAL OTHER WATER USED |  |  | 20445897
23
24 | WATER LOSS
25 | Tank Overflows |  |  | 0
26 | Line Breaks |  |  | 9326618
27 | Line Leaks |  |  | 73398638
28 | Excavation Damages |  |  | 0
29 | Theft |  |  | 0
30 | Other Loss |  |  | 0
31 | TOTAL WATER LOSS |  |  | 82725256
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 33.13%