## Instructions
Commission Form Instructions:
Water Produced and Purchased
Line # | All Lines | Omit the last three zeros into the cell.
| 2 | Provide the number of thousands of gallons of water produced by the utility for the corresponding month.
| 3 | Provide the number of thousands of gallons of water purchased by the utility from third-parties for the corresponding month.
| 4 | The total of Water Produced and Water Purchased. This row will automatically calculate if the preceding lines are correctly filled out.
Water Sales
| 7-13 | Provide the number of thousands of gallons of water sold for each category listed.
| 12 | Sales to Public Authorities are typically sold under a special contract or tariff (e.g.fire department or other governmental entity.)
| 13 | If there are water sales for categories other than the ones listed in Lines 7-12 above, provide the thousands of gallons of water sold for "Other Sales" and an explanation that details the water sale. If an explanation is not given, the form will not calculate Line 14, and instead, will give an error message. The majority of the water sales should fall into the categories in Lines 7-12, such that most utilities will enter "0" into the "Other Sales" line.
| 14 | The sum of Lines 7-13 should match the amount of "Total Water Sales" in this row. This row will automatically calculate if the preceding lines are correctly filled out.
Other Water Used
| 17-21 | These categories include water that is properly used but not sold and, therefore, does not generate revenue for the utility. All gallons of water that are reported in these categories should be supported by records to be kept at the utility's office, which will be subject to examination by the Division of Inspections.
| 17 | Provide the thousands of gallons of water used solely for the purpose of the utility and/or water treatment use. This would include, for example, backwashing the filtration system of the water treatment plant.
| 18 | Provide the thousands of gallons of water used for wastewater use. This would include, but would not be limited to, for example, water used to wash down/clean the wastewater plant.
| 19 | Provide the thousands of gallons of water used for system flushing, which is typically water used to keep water fresh and chlorine residuals up, and water used to flush lines to protect from Total Trihalomethanes (known as TTHM) and Haleacetic acids (known as HAA).
| 20 | Provide the thousands of gallons of water used by the Fire Department that are not provided in "Sales to Public Authorities" in Line 12. Only enter gallons for "Fire Department" use if the water is provided at no cost pursuant to the utility's tariff. All sales to fire departments should be entered in the sales category above. Pursuant to the requirements of KRS 278.170(3) and 807 KAR 5:095, Section 9(1), a utility that permits a fire department to use water at no charge or at reduced rates shall require the fire department to submit quarterly reports demonstrating its water usage. 807 KAR 5:095, Section 9(2), further requires a utility to include a penalty in its tariff for any fire department's failure to submit the required reports.
| 21 | If there are categories of legitimate, cost-free water usage other than the ones listed in Lines 17-20 above, provide the thousands of gallons of water used for "Other Usage" and an explanation that details what was used. If an explanation is not given, the form will not calculate Line 22, and instead, will give an error message. The majority of legitimate usage should fall into the categories on Lines 17-20, such that most utilities will enter "0" into the "Other Usage" line.
| 22 | The sum of Lines 17-21 should match the amount of "Total Other Water Used" in this row. This row will automatically calculate if the preceding lines are correctly filled out.
Water Loss
| 25-30 | All gallons of water reported for these lines represent all other water that is not billed or used in the production and transmission of water to customers. Any amounts included in these lines are part of the calculation of the Water Loss Percentage below. The utility should be prepared to support any amounts that appear in Lines 25-29 with records kept at the utility's office, which will be subject to examination by the Division of Inspections.
| 28 | Water reported in this category only includes water lost for excavation damages for which the water was neither billed, nor collected from the responsible party. If the amounts for excavation damages are recovered from the responsible party, these amounts should be reported in water sales.
| 29 | Water reported in this category only includes water lost for theft that was neither billed, nor collected from the customer. The water loss can be estimated by using the average monthly use for each class of customer. If amounts for water theft are recovered from the customer, these amounts should be reported in water sales.
| 30 | If there is water loss for categories other than those listed in Lines 25-29 above, provide the thousands of gallons of water loss for "Other Loss" and an explanation that details the specific water loss. If an explanation is not given, the form will not calculate Line 31, and instead, will give an error message. This would include, but not be limited to, malfunctioning meters, unknown loss, etc. The majority of the water loss should fall into the categories in Lines 25-29, such that most utilities will enter "0" into the "Other Loss" line.
| 31 | The sum of Lines 25-30 should match the amount of "Total Water Loss" in this row. This row will automatically calculate if the preceding lines are correctly filled out.
Water Loss Percentage
| 36 | The "Water Loss Percentage" in Line 36 will automatically calculate if all other lines on the form are filled out correctly. If the sum of Lines 14, 22, and 31 do not equal Line 4, the form will return an error in red that the Lines do not equal.

## Jan
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility:
For the Month of: |  | January | Year:
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced
3 | Water Purchased |  |  | 39444700
4 | TOTAL PRODUCED AND PURCHASED |  |  | 39444700
5
6 | WATER SALES
7 | Residential |  |  | 24951100
8 | Commercial |  |  | 3011100
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale
12 | Public Authorities |  |  | 1659500
13 | Other Sales (explain) | Exempt and Church |  | 296700
14 | TOTAL WATER SALES |  |  | 29918400
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant
18 | Wastewater Plant
19 | System Flushing |  |  | 2622300
20 | Fire Department |  |  | 4000
21 | Other Usage (explain) | Tank Storage |  | 1500000
22 | TOTAL OTHER WATER USED |  |  | 4126300
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks
27 | Line Leaks |  |  | 5400000
28 | Excavation Damages
29 | Theft
30 | Other Loss (explain)
31 | TOTAL WATER LOSS |  |  | 5400000
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 13.69%

## Feb
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility:
For the Month of: |  | February | Year:
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced
3 | Water Purchased |  |  | 34876500
4 | TOTAL PRODUCED AND PURCHASED |  |  | 34876500
5
6 | WATER SALES
7 | Residential |  |  | 19476200
8 | Commercial |  |  | 3150300
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale
12 | Public Authorities |  |  | 1517300
13 | Other Sales (explain) | Exempt and Church |  | 179800
14 | TOTAL WATER SALES |  |  | 24323600
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant
18 | Wastewater Plant
19 | System Flushing |  |  | 3871300
20 | Fire Department |  |  | 53000
21 | Other Usage (explain) | Tank Storage |  | 1500000
22 | TOTAL OTHER WATER USED |  |  | 5424300
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks
27 | Line Leaks |  |  | 3708100
28 | Excavation Damages
29 | Theft |  |  | 1420500
30 | Other Loss (explain)
31 | TOTAL WATER LOSS |  |  | 5128600
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 14.71%

## Mar
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility:
For the Month of: |  | March | Year:
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced
3 | Water Purchased |  |  | 36236000
4 | TOTAL PRODUCED AND PURCHASED |  |  | 36236000
5
6 | WATER SALES
7 | Residential |  |  | 17747900
8 | Commercial |  |  | 2634400
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale
12 | Public Authorities |  |  | 2037700
13 | Other Sales (explain) | Exempt and Church Camp |  | 174900
14 | TOTAL WATER SALES |  |  | 22594900
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant
18 | Wastewater Plant
19 | System Flushing |  |  | 8335000
20 | Fire Department |  |  | 21000
21 | Other Usage (explain) | Tank Storage |  | 1500000
22 | TOTAL OTHER WATER USED |  |  | 9856000
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks
27 | Line Leaks |  |  | 3535100
28 | Excavation Damages
29 | Theft
30 | Other Loss (explain) | Leak Adjustments for customers |  | 250000
31 | TOTAL WATER LOSS |  |  | 3785100
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 10.45%

## Apr
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility:
For the Month of: |  | April | Year:
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced
3 | Water Purchased |  |  | 36536800
4 | TOTAL PRODUCED AND PURCHASED |  |  | 36536800
5
6 | WATER SALES
7 | Residential |  |  | 21867600
8 | Commercial |  |  | 2793800
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale
12 | Public Authorities |  |  | 2135000
13 | Other Sales (explain) | Exempt and Church Camp |  | 241300
14 | TOTAL WATER SALES |  |  | 27037700
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant
18 | Wastewater Plant
19 | System Flushing |  |  | 3038300
20 | Fire Department |  |  | 6500
21 | Other Usage (explain) | Tank Storage |  | 1500000
22 | TOTAL OTHER WATER USED |  |  | 4544800
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks
27 | Line Leaks |  |  | 4954300
28 | Excavation Damages
29 | Theft
30 | Other Loss (explain)
31 | TOTAL WATER LOSS |  |  | 4954300
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 13.56%

## May
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility:
For the Month of: |  | May | Year:
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced
3 | Water Purchased |  |  | 36864100
4 | TOTAL PRODUCED AND PURCHASED |  |  | 36864100
5
6 | WATER SALES
7 | Residential |  |  | 23663700
8 | Commercial |  |  | 3508200
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale
12 | Public Authorities |  |  | 2356200
13 | Other Sales (explain) | Exempt and Church Camp |  | 312700
14 | TOTAL WATER SALES |  |  | 29840800
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant
18 | Wastewater Plant
19 | System Flushing |  |  | 1050000
20 | Fire Department |  |  | 56000
21 | Other Usage (explain) | Tank Storage |  | 1500000
22 | TOTAL OTHER WATER USED |  |  | 2606000
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks
27 | Line Leaks |  |  | 4417300
28 | Excavation Damages
29 | Theft
30 | Other Loss (explain)
31 | TOTAL WATER LOSS |  |  | 4417300
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 11.98%

## Jun
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility:
For the Month of: |  | June | Year:
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced
3 | Water Purchased |  |  | 40755500
4 | TOTAL PRODUCED AND PURCHASED |  |  | 40755500
5
6 | WATER SALES
7 | Residential |  |  | 23773600
8 | Commercial |  |  | 3610200
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale |  |  | 1500000
12 | Public Authorities |  |  | 2298600
13 | Other Sales (explain) | Exempt and Church Camp |  | 253500
14 | TOTAL WATER SALES |  |  | 31435900
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant
18 | Wastewater Plant
19 | System Flushing |  |  | 3614200
20 | Fire Department |  |  | 2000
21 | Other Usage (explain) | Tank Storage |  | 1500000
22 | TOTAL OTHER WATER USED |  |  | 5116200
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks
27 | Line Leaks |  |  | 4203400
28 | Excavation Damages
29 | Theft
30 | Other Loss (explain)
31 | TOTAL WATER LOSS |  |  | 4203400
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 10.31%

## July
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility:
For the Month of: |  | July | Year:
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced
3 | Water Purchased |  |  | 39706200
4 | TOTAL PRODUCED AND PURCHASED |  |  | 39706200
5
6 | WATER SALES
7 | Residential |  |  | 25317700
8 | Commercial |  |  | 4215700
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale
12 | Public Authorities |  |  | 1699200
13 | Other Sales (explain) | Exempt and Church Camp |  | 656100
14 | TOTAL WATER SALES |  |  | 31888700
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant
18 | Wastewater Plant
19 | System Flushing |  |  | 2517500
20 | Fire Department
21 | Other Usage (explain) | Tank Storage |  | 1500000
22 | TOTAL OTHER WATER USED |  |  | 4017500
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks
27 | Line Leaks |  |  | 3800000
28 | Excavation Damages
29 | Theft
30 | Other Loss (explain)
31 | TOTAL WATER LOSS |  |  | 3800000
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 9.57%

## Aug
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility:
For the Month of: |  | August | Year:
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced
3 | Water Purchased |  |  | 40334500
4 | TOTAL PRODUCED AND PURCHASED |  |  | 40334500
5
6 | WATER SALES
7 | Residential |  |  | 26151700
8 | Commercial |  |  | 4011100
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale
12 | Public Authorities |  |  | 1591800
13 | Other Sales (explain) | Exempt and Church Camp |  | 413700
14 | TOTAL WATER SALES |  |  | 32168300
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant
18 | Wastewater Plant
19 | System Flushing |  |  | 2500000
20 | Fire Department |  |  | 2500
21 | Other Usage (explain) | Tank Storage |  | 1500000
22 | TOTAL OTHER WATER USED |  |  | 4002500
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks |  |  | 3500000
27 | Line Leaks |  |  | 663700
28 | Excavation Damages
29 | Theft
30 | Other Loss (explain)
31 | TOTAL WATER LOSS |  |  | 4163700
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 10.32%

## Sept
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility:
For the Month of: |  | September | Year:
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced
3 | Water Purchased |  |  | 35850400
4 | TOTAL PRODUCED AND PURCHASED |  |  | 35850400
5
6 | WATER SALES
7 | Residential |  |  | 24959500
8 | Commercial |  |  | 3054500
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale
12 | Public Authorities |  |  | 1415300
13 | Other Sales (explain) | Exempt and Church Camp |  | 317800
14 | TOTAL WATER SALES |  |  | 29747100
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant
18 | Wastewater Plant
19 | System Flushing |  |  | 1250000
20 | Fire Department
21 | Other Usage (explain) | Tank Storage |  | 1500000
22 | TOTAL OTHER WATER USED |  |  | 2750000
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks |  |  | 1828300
27 | Line Leaks |  |  | 1525000
28 | Excavation Damages
29 | Theft
30 | Other Loss (explain)
31 | TOTAL WATER LOSS |  |  | 3353300
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 9.354%

## Oct
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility:
For the Month of: |  | October | Year:
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced
3 | Water Purchased |  |  | 37319500
4 | TOTAL PRODUCED AND PURCHASED |  |  | 37319500
5
6 | WATER SALES
7 | Residential |  |  | 23654600
8 | Commercial |  |  | 5111900
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale
12 | Public Authorities |  |  | 1505300
13 | Other Sales (explain) | Exempt and Church Camp |  | 444000
14 | TOTAL WATER SALES |  |  | 30715800
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant
18 | Wastewater Plant
19 | System Flushing |  |  | 1600000
20 | Fire Department
21 | Other Usage (explain) | Tank Storage |  | 1500000
22 | TOTAL OTHER WATER USED |  |  | 3100000
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks |  |  | 2598000
27 | Line Leaks
28 | Excavation Damages
29 | Theft
30 | Other Loss (explain) | Drained Tank for repair |  | 905700
31 | TOTAL WATER LOSS |  |  | 3503700
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 9.388%

## Nov
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility:
For the Month of: |  | November | Year:
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced
3 | Water Purchased |  |  | 34004600
4 | TOTAL PRODUCED AND PURCHASED |  |  | 34004600
5
6 | WATER SALES
7 | Residential |  |  | 20473300
8 | Commercial |  |  | 3255700
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale |  |  | 1396700
12 | Public Authorities
13 | Other Sales (explain) | Exempt and Church Camp |  | 169200
14 | TOTAL WATER SALES |  |  | 25294900
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant
18 | Wastewater Plant
19 | System Flushing |  |  | 3250000
20 | Fire Department |  |  | 6000
21 | Other Usage (explain) | Tank Storage |  | 1500000
22 | TOTAL OTHER WATER USED |  |  | 4756000
23
24 | WATER LOSS
25 | Tank Overflows |  |  | 2000000
26 | Line Breaks |  |  | 1560000
27 | Line Leaks
28 | Excavation Damages
29 | Theft |  |  | 127000
30 | Other Loss (explain) | Drained tank |  | 266700
31 | TOTAL WATER LOSS |  |  | 3953700
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 11.63%

## Dec
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility:
For the Month of: |  | December | Year:
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced
3 | Water Purchased |  |  | 35745200
4 | TOTAL PRODUCED AND PURCHASED |  |  | 35745200
5
6 | WATER SALES
7 | Residential |  |  | 19865500
8 | Commercial |  |  | 2670800
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale
12 | Public Authorities |  |  | 1469900
13 | Other Sales (explain) | Exempt and Church Camp |  | 203000
14 | TOTAL WATER SALES |  |  | 24209200
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant
18 | Wastewater Plant
19 | System Flushing |  |  | 5000000
20 | Fire Department |  |  | 2500
21 | Other Usage (explain) | Tank Storage |  | 1500000
22 | TOTAL OTHER WATER USED |  |  | 6502500
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks |  |  | 2934900
27 | Line Leaks |  |  | 2098600
28 | Excavation Damages
29 | Theft
30 | Other Loss (explain)
31 | TOTAL WATER LOSS |  |  | 5033500
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 14.08%

## Annual
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility:
For the Month of: |  | Annual | Year:
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced |  |  | 0
3 | Water Purchased |  |  | 447674000
4 | TOTAL PRODUCED AND PURCHASED |  |  | 447674000
5
6 | WATER SALES
7 | Residential |  |  | 271902400
8 | Commercial |  |  | 41027700
9 | Industrial |  |  | 0
10 | Bulk Loading Stations |  |  | 0
11 | Wholesale |  |  | 2896700
12 | Public Authorities |  |  | 19685800
13 | Other Sales (explain) |  |  | 3662700
14 | TOTAL WATER SALES |  |  | 339175300
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant |  |  | 0
18 | Wastewater Plant |  |  | 0
19 | System Flushing |  |  | 38648600
20 | Fire Department |  |  | 153500
21 | Other Usage (explain) |  |  | 18000000
22 | TOTAL OTHER WATER USED |  |  | 56802100
23
24 | WATER LOSS
25 | Tank Overflows |  |  | 2000000
26 | Line Breaks |  |  | 12421200
27 | Line Leaks |  |  | 34305500
28 | Excavation Damages |  |  | 0
29 | Theft |  |  | 1547500
30 | Other Loss |  |  | 1422400
31 | TOTAL WATER LOSS |  |  | 51696600
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 11.55%