## Jan
Water Use Report
Water Utility: |  | Cumberland County Water District |  |  | PWSID: | KY0290271
For the Month of: |  | January |  |  | Year: | 2025
1 | PURCHASE/ALBANY COST PER THOUSAND |  |  |  |  | 2.1
2 | PURCHASE/BURKESVILLE COST PER THOUSAND |  |  |  |  | 2.47
| PURCHASE/COLUMBIA/ADAIR COST PER THOUSAND |  |  |  |  | 2.75
GALLONS
WATER PRODUCED or PURCHASED
3 | Albany purchased water |  |  | 4637.01 |  | 2208100 | 10.32%
4 | Burkesville purchased water |  |  |  |  | 18542900 | 86.64%
6 | Columbia/Adair purchased water |  |  | 1788.325 |  | 650300 | 3.039%
5 | TOTAL PRODUCED AND PURCHASED |  |  |  |  | 21401300
6 | 0.30023 |  | TOTAL COST | 6425.335
WATER SOLD
7 | Residential |  |  |  |  | 7802000
8 | Commercial |  |  |  |  | 1052000
9 | Industrial |  |  |  |  | 109000
10 | Bulk Loading Stations
11 | Wholesale
12 | Other Sales (explain) |  | DHSRP |  |  | 410000
13 | TOTAL WATER SOLD |  |  |  |  | 9373000 | 43.8%
14 | TOTAL WATER NOT SOLD |  |  |  |  | 12028300 | 56.2%
BREAKDOWN OF WATER USAGE
15 | Water Treatment Plant
16 | Wastewater Treatment Plant
17 | System Flushing |  |  |  |  | 601000
18 | Fire Department Usage |  |  |  |  | 1000
19 | Other Usage (explain)
20 | TOTAL USAGE |  |  |  |  | 602000
21 | WATER LOSS PERCENTAGE FOR RATE PURPOSES | [5 empty] | 53.39%
BREAKDOWN OF WATER LOST
22 | Tank Overflows
23 | Excavation Breaks
24 | Repaired Line Breaks |  |  |  |  | 3180000
25 | Unknown Loss |  |  |  |  | 8246300 | 38.53%
26 | TOTAL WATER NOT SOLD OR USED |  |  |  |  | 11426300
27 | COST OF WATER NOT SOLD OR USED |  |  |  |  | 3430.5302
"UNKNOWN LOSS" FLOW RATE AND COST:
28 |  |  |  |  | "Unknown Loss" | 8246300
29 |  |  |  |  | % "Unknown Loss" | 38.53%
30 |  |  |  |  | Number of Days in Period | 31
31 |  |  |  |  | "Unknown Loss" per Day (Gallons per Day) | 266009.6774
32 |  |  |  |  | "Unknown Loss" per Minute (GPM) | 184.7289
33 |  |  |  |  | "Unknown Loss" Cost for Month | 2475.7954

## Feb
Water Use Report
Water Utility: |  | Cumberland County Water District |  |  | PWSID: | KY0290271
For the Month of: |  | Feb |  |  | Year: | 2025
1 | PURCHASE/ALBANY COST PER THOUSAND |  |  |  |  | 2.1
2 | PURCHASE/BURKESVILLE COST PER THOUSAND |  |  |  |  | 2.47
3 | PURCHASE/COLUMBIA/ADAIR COST PER THOUSAND |  |  |  |  | 2.75
GALLONS
WATER PRODUCED or PURCHASED
3 | Albany purchased water |  |  | 4445.7 |  | 2117000 | 11.73%
4 | Burkesville purchased water |  |  | 37677.38 |  | 15254000 | 84.5%
6 | Columbia/Adair purchased water |  |  | 1875.5 |  | 682000 | 3.778%
5 | TOTAL PRODUCED AND PURCHASED |  |  |  |  | 18053000
6 | 2.4372 |  | TOTAL COST | 43998.58
WATER SOLD
7 | Residential |  |  |  |  | 10470000
8 | Commercial |  |  |  |  | 976000
9 | Industrial |  |  |  |  | 22000
10 | Bulk Loading Stations
11 | Wholesale
12 | Other Sales (explain) |  | DHSRP |  |  | 457000
13 | TOTAL WATER SOLD |  |  |  |  | 11925000 | 66.06%
14 | TOTAL WATER NOT SOLD |  |  |  |  | 6128000 | 33.94%
BREAKDOWN OF WATER USAGE
15 | Water Treatment Plant
16 | Wastewater Treatment Plant
17 | System Flushing |  |  |  |  | 431000
18 | Fire Department Usage |  |  |  |  | 8000
19 | Other Usage (explain)
20 | TOTAL USAGE |  |  |  |  | 439000
21 | WATER LOSS PERCENTAGE FOR RATE PURPOSES | [5 empty] | 31.51%
BREAKDOWN OF WATER LOST
22 | Tank Overflows
23 | Excavation Breaks
24 | Repaired Line Breaks |  |  |  |  | 5689000
25 | Unknown Loss |  |  |  |  | 0 | 0%
26 | TOTAL WATER NOT SOLD OR USED |  |  |  |  | 5689000
27 | COST OF WATER NOT SOLD OR USED |  |  |  |  | 13865.1704
"UNKNOWN LOSS" FLOW RATE AND COST:
28 |  |  |  |  | "Unknown Loss" | 0
29 |  |  |  |  | % "Unknown Loss" | 0%
30 |  |  |  |  | Number of Days in Period | 31
31 |  |  |  |  | "Unknown Loss" per Day (Gallons per Day) | 0
32 |  |  |  |  | "Unknown Loss" per Minute (GPM) | 0
33 |  |  |  |  | "Unknown Loss" Cost for Month | 0

## Mar
Water Use Report
Water Utility: |  | Cumberland County Water District |  |  | PWSID: | KY0290271
For the Month of: |  | March |  |  | Year: | 2025
1 | PURCHASE/ALBANY COST PER THOUSAND |  |  |  |  | 2.1
2 | PURCHASE/BURKESVILLE COST PER THOUSAND |  |  |  |  | 2.47
3 | PURCHASE/COLUMBIA/ADAIR COST PER THOUSAND |  |  |  |  | 2.75
GALLONS
WATER PRODUCED or PURCHASED
3 | Albany purchased water |  |  | 6862.8 |  | 3268000 | 22.92%
4 | Burkesville purchased water |  |  | 27137.89 |  | 10987000 | 77.06%
6 | Columbia/Adair purchased water |  |  | 7.425 |  | 2700 | 0.01894%
5 | TOTAL PRODUCED AND PURCHASED |  |  |  |  | 14257700
6 | 2.3852 |  | TOTAL COST | 34008.115
WATER SOLD
7 | Residential |  |  |  |  | 6874000
8 | Commercial |  |  |  |  | 135000
9 | Industrial |  |  |  |  | 25000
10 | Bulk Loading Stations
11 | Wholesale
12 | Other Sales (explain) |  | DHSRP |  |  | 663000
13 | TOTAL WATER SOLD |  |  |  |  | 7697000 | 53.98%
14 | TOTAL WATER NOT SOLD |  |  |  |  | 6560700 | 46.02%
BREAKDOWN OF WATER USAGE
15 | Water Treatment Plant
16 | Wastewater Treatment Plant
17 | System Flushing |  |  |  |  | 33000
18 | Fire Department Usage |  |  |  |  | 3000
19 | Other Usage (explain)
20 | TOTAL USAGE |  |  |  |  | 36000
21 | WATER LOSS PERCENTAGE FOR RATE PURPOSES | [5 empty] | 45.76%
BREAKDOWN OF WATER LOST
22 | Tank Overflows |  |  |  |  | 0
23 | Excavation Breaks
24 | Repaired Line Breaks |  |  |  |  | 1277000
25 | Unknown Loss |  |  |  |  | 5247700 | 36.81%
26 | TOTAL WATER NOT SOLD OR USED |  |  |  |  | 6524700
27 | COST OF WATER NOT SOLD OR USED |  |  |  |  | 15563.0114
"UNKNOWN LOSS" FLOW RATE AND COST:
28 |  |  |  |  | "Unknown Loss" | 5247700
29 |  |  |  |  | % "Unknown Loss" | 36.81%
30 |  |  |  |  | Number of Days in Period | 31
31 |  |  |  |  | "Unknown Loss" per Day (Gallons per Day) | 169280.6452
32 |  |  |  |  | "Unknown Loss" per Minute (GPM) | 117.556
33 |  |  |  |  | "Unknown Loss" Cost for Month | 12517.0529

## Apr
Water Use Report
Water Utility: |  | Cumberland County Water District |  |  | PWSID: | KY0290271
For the Month of: |  | April |  |  | Year: | 2025
1 | PURCHASE/ALBANY COST PER THOUSAND |  |  |  |  | 2.1
2 | PURCHASE/BURKESVILLE COST PER THOUSAND |  |  |  |  | 2.47
3 | PURCHASE/COLUMBIA/ADAIR COST PER THOUSAND |  |  |  |  | 2.75
GALLONS
WATER PRODUCED or PURCHASED
3 | Albany purchased water |  |  | 0 |  | 0
4 | Burkesville purchased water |  |  | 0 |  | 0
6 | Columbia/Adair purchased water |  |  | 0 |  | 0
5 | TOTAL PRODUCED AND PURCHASED |  |  |  |  | 0
6 | #VALUE! |  | TOTAL COST
WATER SOLD
7 | Residential |  |  |  |  | 0
8 | Commercial |  |  |  |  | 0
9 | Industrial |  |  |  |  | 0
10 | Bulk Loading Stations
11 | Wholesale
12 | Other Sales (explain) |  | DHSRP |  |  | 0
13 | TOTAL WATER SOLD |  |  |  |  | 0
14 | TOTAL WATER NOT SOLD |  |  |  |  | 0
BREAKDOWN OF WATER USAGE
15 | Water Treatment Plant
16 | Wastewater Treatment Plant
17 | System Flushing |  |  |  |  | 0
18 | Fire Department Usage
19 | Other Usage (explain)
20 | TOTAL USAGE |  |  |  |  | 0
21 | WATER LOSS PERCENTAGE FOR RATE PURPOSES
BREAKDOWN OF WATER LOST
22 | Tank Overflows
23 | Excavation Breaks
24 | Repaired Line Breaks |  |  |  |  | 0
25 | Unknown Loss |  |  |  |  | 0
26 | TOTAL WATER NOT SOLD OR USED |  |  |  |  | 0
27 | COST OF WATER NOT SOLD OR USED
"UNKNOWN LOSS" FLOW RATE AND COST:
28 |  |  |  |  | "Unknown Loss" | 0
29 |  |  |  |  | % "Unknown Loss"
30 |  |  |  |  | Number of Days in Period | 30
31 |  |  |  |  | "Unknown Loss" per Day (Gallons per Day) | 0
32 |  |  |  |  | "Unknown Loss" per Minute (GPM) | 0
33 |  |  |  |  | "Unknown Loss" Cost for Month

## May
Water Use Report
Water Utility: |  | Cumberland County Water District |  |  | PWSID: | KY0290271
For the Month of: |  | May |  |  | Year: | 2025
1 | PURCHASE/ALBANY COST PER THOUSAND |  |  |  |  | 2.1
2 | PURCHASE/BURKESVILLE COST PER THOUSAND |  |  |  |  | 2.47
3 | PURCHASE/COLUMBIA/ADAIR COST PER THOUSAND |  |  |  |  | 2.75
GALLONS
WATER PRODUCED or PURCHASED
3 | Albany purchased water |  |  | 0 |  | 0
4 | Burkesville purchased water |  |  | 0 |  | 0
6 | Columbia/Adair purchased water |  |  | 0 |  | 0
5 | TOTAL PRODUCED AND PURCHASED |  |  |  |  | 0
6 | #VALUE! |  | TOTAL COST
WATER SOLD
7 | Residential |  |  |  |  | 0
8 | Commercial |  |  |  |  | 0
9 | Industrial |  |  |  |  | 0
10 | Bulk Loading Stations
11 | Wholesale
12 | Other Sales (explain) |  | DHSRP |  |  | 0
13 | TOTAL WATER SOLD |  |  |  |  | 0
14 | TOTAL WATER NOT SOLD |  |  |  |  | 0
BREAKDOWN OF WATER USAGE
15 | Water Treatment Plant
16 | Wastewater Treatment Plant
17 | System Flushing |  |  |  |  | 0
18 | Fire Department Usage |  |  |  |  | 0
19 | Other Usage (explain)
20 | TOTAL USAGE |  |  |  |  | 0
21 | WATER LOSS PERCENTAGE FOR RATE PURPOSES
BREAKDOWN OF WATER LOST
22 | Tank Overflows
23 | Excavation Breaks |  |  |  |  | 0
24 | Repaired Line Breaks
25 | Unknown Loss |  |  |  |  | 0
26 | TOTAL WATER NOT SOLD OR USED |  |  |  |  | 0
27 | COST OF WATER NOT SOLD OR USED
"UNKNOWN LOSS" FLOW RATE AND COST:
28 |  |  |  |  | "Unknown Loss" | 0
29 |  |  |  |  | % "Unknown Loss"
30 |  |  |  |  | Number of Days in Period | 31
31 |  |  |  |  | "Unknown Loss" per Day (Gallons per Day) | 0
32 |  |  |  |  | "Unknown Loss" per Minute (GPM) | 0
33 |  |  |  |  | "Unknown Loss" Cost for Month

## Jun
Water Use Report
Water Utility: |  | Cumberland County Water District |  |  | PWSID: | KY0290271
For the Month of: |  | June |  |  | Year: | 2025
1 | PURCHASE/ALBANY COST PER THOUSAND |  |  |  |  | 2.1
2 | PURCHASE/BURKESVILLE COST PER THOUSAND |  |  |  |  | 2.47
3 | PURCHASE/COLUMBIA/ADAIR COST PER THOUSAND |  |  |  |  | 2.75
GALLONS
WATER PRODUCED or PURCHASED
3 | Albany purchased water |  |  | 0
4 | Burkesville purchased water |  |  | 0
6 | Columbia/Adair purchased water |  |  | 0
5 | TOTAL PRODUCED AND PURCHASED |  |  |  |  | 0
6 | #VALUE! |  | TOTAL COST
WATER SOLD
7 | Residential
8 | Commercial
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale
12 | Other Sales (explain) |  | DHSRP
13 | TOTAL WATER SOLD |  |  |  |  | 0
14 | TOTAL WATER NOT SOLD |  |  |  |  | 0
BREAKDOWN OF WATER USAGE
15 | Water Treatment Plant
16 | Wastewater Treatment Plant
17 | System Flushing
18 | Fire Department Usage
19 | Other Usage (explain)
20 | TOTAL USAGE |  |  |  |  | 0
21 | WATER LOSS PERCENTAGE FOR RATE PURPOSES
BREAKDOWN OF WATER LOST
22 | Tank Overflows
23 | Excavation Breaks
24 | Repaired Line Breaks
25 | Unknown Loss |  |  |  |  | 0
26 | TOTAL WATER NOT SOLD OR USED |  |  |  |  | 0
27 | COST OF WATER NOT SOLD OR USED
"UNKNOWN LOSS" FLOW RATE AND COST:
28 |  |  |  |  | "Unknown Loss" | 0
29 |  |  |  |  | % "Unknown Loss"
30 |  |  |  |  | Number of Days in Period | 30
31 |  |  |  |  | "Unknown Loss" per Day (Gallons per Day) | 0
32 |  |  |  |  | "Unknown Loss" per Minute (GPM) | 0
33 |  |  |  |  | "Unknown Loss" Cost for Month

## Jul
Water Use Report
Water Utility: |  | Cumberland County Water District |  |  | PWSID: | KY0290271
For the Month of: |  | July |  |  | Year: | 2025
1 | PURCHASE/ALBANY COST PER THOUSAND |  |  |  |  | 2.1
2 | PURCHASE/BURKESVILLE COST PER THOUSAND |  |  |  |  | 2.47
3 | PURCHASE/COLUMBIA/ADAIR COST PER THOUSAND |  |  |  |  | 2.75
GALLONS
WATER PRODUCED or PURCHASED
3 | Albany purchased water |  |  | 0 |  | 0
4 | Burkesville purchased water |  |  | 0 |  | 0
6 | Columbia/Adair purchased water |  |  | 0 |  | 0
5 | TOTAL PRODUCED AND PURCHASED |  |  |  |  | 0
6 | #VALUE! |  | TOTAL COST
WATER SOLD
7 | Residential |  |  |  |  | 0
8 | Commercial |  |  |  |  | 0
9 | Industrial |  |  |  |  | 0
10 | Bulk Loading Stations
11 | Wholesale
12 | Other Sales (explain) |  | DHSRP |  |  | 0
13 | TOTAL WATER SOLD |  |  |  |  | 0
14 | TOTAL WATER NOT SOLD |  |  |  |  | 0
BREAKDOWN OF WATER USAGE
15 | Water Treatment Plant
16 | Wastewater Treatment Plant
17 | System Flushing |  |  |  |  | 0
18 | Fire Department Usage |  |  |  |  | 0
19 | Other Usage (explain)
20 | TOTAL USAGE |  |  |  |  | 0
21 | WATER LOSS PERCENTAGE FOR RATE PURPOSES
BREAKDOWN OF WATER LOST
22 | Tank Overflows
23 | Excavation Breaks
24 | Repaired Line Breaks |  |  |  |  | 0
25 | Unknown Loss |  |  |  |  | 0
26 | TOTAL WATER NOT SOLD OR USED |  |  |  |  | 0
27 | COST OF WATER NOT SOLD OR USED
"UNKNOWN LOSS" FLOW RATE AND COST:
28 |  |  |  |  | "Unknown Loss" | 0
29 |  |  |  |  | % "Unknown Loss"
30 |  |  |  |  | Number of Days in Period | 31
31 |  |  |  |  | "Unknown Loss" per Day (Gallons per Day) | 0
32 |  |  |  |  | "Unknown Loss" per Minute (GPM) | 0
33 |  |  |  |  | "Unknown Loss" Cost for Month

## Aug
Water Use Report
Water Utility: |  | Cumberland County Water District |  |  | PWSID: | KY0290271
For the Month of: |  | Augest |  |  | Year: | 2025
1 | PURCHASE/ALBANY COST PER THOUSAND |  |  |  |  | 2.1
2 | PURCHASE/BURKESVILLE COST PER THOUSAND |  |  |  |  | 2.47
3 | PURCHASE/COLUMBIA/ADAIR COST PER THOUSAND |  |  |  |  | 2.75
GALLONS
WATER PRODUCED or PURCHASED
3 | Albany purchased water |  |  | 0 |  | 0
4 | Burkesville purchased water |  |  | 0 |  | 0
6 | Columbia/Adair purchased water |  |  | 0 |  | 0
5 | TOTAL PRODUCED AND PURCHASED |  |  |  |  | 0
6 | #VALUE! |  | TOTAL COST
WATER SOLD
7 | Residential |  |  |  |  | 0
8 | Commercial |  |  |  |  | 0
9 | Industrial |  |  |  |  | 0
10 | Bulk Loading Stations
11 | Wholesale
12 | Other Sales (explain) |  | DHSRP |  |  | 0
13 | TOTAL WATER SOLD |  |  |  |  | 0
14 | TOTAL WATER NOT SOLD |  |  |  |  | 0
BREAKDOWN OF WATER USAGE
15 | Water Treatment Plant
16 | Wastewater Treatment Plant
17 | System Flushing |  |  |  |  | 0
18 | Fire Department Usage |  |  |  |  | 0
19 | Other Usage (explain)
20 | TOTAL USAGE |  |  |  |  | 0
21 | WATER LOSS PERCENTAGE FOR RATE PURPOSES
BREAKDOWN OF WATER LOST
22 | Tank Overflows
23 | Excavation Breaks
24 | Repaired Line Breaks |  |  |  |  | 0
25 | Unknown Loss |  |  |  |  | 0
26 | TOTAL WATER NOT SOLD OR USED |  |  |  |  | 0
27 | COST OF WATER NOT SOLD OR USED
"UNKNOWN LOSS" FLOW RATE AND COST:
28 |  |  |  |  | "Unknown Loss" | 0
29 |  |  |  |  | % "Unknown Loss"
30 |  |  |  |  | Number of Days in Period | 31
31 |  |  |  |  | "Unknown Loss" per Day (Gallons per Day) | 0
32 |  |  |  |  | "Unknown Loss" per Minute (GPM) | 0
33 |  |  |  |  | "Unknown Loss" Cost for Month

## Sep
Water Use Report
Water Utility: |  | Cumberland County Water District |  |  | PWSID: | KY0290271
For the Month of: |  | September |  |  | Year: | 2025
1 | PURCHASE/ALBANY COST PER THOUSAND |  |  |  |  | 2.1
2 | PURCHASE/BURKESVILLE COST PER THOUSAND |  |  |  |  | 2.47
3 | PURCHASE/COLUMBIA/ADAIR COST PER THOUSAND |  |  |  |  | 2.75
GALLONS
WATER PRODUCED or PURCHASED
3 | Albany purchased water |  |  | 0 |  | 0
4 | Burkesville purchased water |  |  | 0 |  | 0
6 | Columbia/Adair purchased water |  |  | 0 |  | 0
5 | TOTAL PRODUCED AND PURCHASED |  |  |  |  | 0
6 | #VALUE! |  | TOTAL COST
WATER SOLD
7 | Residential |  |  |  |  | 0
8 | Commercial |  |  |  |  | 0
9 | Industrial |  |  |  |  | 0
10 | Bulk Loading Stations
11 | Wholesale
12 | Other Sales (explain) |  | DHSRP |  |  | 0
13 | TOTAL WATER SOLD |  |  |  |  | 0
14 | TOTAL WATER NOT SOLD |  |  |  |  | 0
BREAKDOWN OF WATER USAGE
15 | Water Treatment Plant
16 | Wastewater Treatment Plant
17 | System Flushing |  |  |  |  | 0
18 | Fire Department Usage |  |  |  |  | 0
19 | Other Usage (explain)
20 | TOTAL USAGE |  |  |  |  | 0
21 | WATER LOSS PERCENTAGE FOR RATE PURPOSES
BREAKDOWN OF WATER LOST
22 | Tank Overflows
23 | Excavation Breaks
24 | Repaired Line Breaks |  |  |  |  | 0
25 | Unknown Loss |  |  |  |  | 0
26 | TOTAL WATER NOT SOLD OR USED |  |  |  |  | 0
27 | COST OF WATER NOT SOLD OR USED
"UNKNOWN LOSS" FLOW RATE AND COST:
28 |  |  |  |  | "Unknown Loss" | 0
29 |  |  |  |  | % "Unknown Loss"
30 |  |  |  |  | Number of Days in Period | 30
31 |  |  |  |  | "Unknown Loss" per Day (Gallons per Day) | 0
32 |  |  |  |  | "Unknown Loss" per Minute (GPM) | 0
33 |  |  |  |  | "Unknown Loss" Cost for Month

## Oct
Water Use Report
Water Utility: |  | Cumberland County Water District |  |  | PWSID: | KY0290271
For the Month of: |  | October |  |  | Year: | 2025
1 | PURCHASE/ALBANY COST PER THOUSAND |  |  |  |  | 2.1
2 | PURCHASE/BURKESVILLE COST PER THOUSAND |  |  |  |  | 2.47
2 | PURCHASE/BURKESVILLE COST PER THOUSAND |  |  |  |  | 2.47
GALLONS
WATER PRODUCED or PURCHASED
3 | Albany purchased water |  |  | 0 |  | 0
4 | Burkesville purchased water |  |  | 0 |  | 0
6 | Columbia/Adair purchased water |  |  | 0 |  | 0
5 | TOTAL PRODUCED AND PURCHASED |  |  |  |  | 0
6 | #VALUE! |  | TOTAL COST
WATER SOLD
7 | Residential |  |  |  |  | 0
8 | Commercial |  |  |  |  | 0
9 | Industrial |  |  |  |  | 0
10 | Bulk Loading Stations
11 | Wholesale
12 | Other Sales (explain) |  | DHSRP |  |  | 0
13 | TOTAL WATER SOLD |  |  |  |  | 0
14 | TOTAL WATER NOT SOLD |  |  |  |  | 0
BREAKDOWN OF WATER USAGE
15 | Water Treatment Plant
16 | Wastewater Treatment Plant
17 | System Flushing
18 | Fire Department Usage |  |  |  |  | 0
19 | Other Usage (explain)
20 | TOTAL USAGE |  |  |  |  | 0
21 | WATER LOSS PERCENTAGE FOR RATE PURPOSES
BREAKDOWN OF WATER LOST
22 | Tank Overflows
23 | Excavation Breaks
24 | Repaired Line Breaks |  |  |  |  | 0
25 | Unknown Loss |  |  |  |  | 0
26 | TOTAL WATER NOT SOLD OR USED |  |  |  |  | 0
27 | COST OF WATER NOT SOLD OR USED
"UNKNOWN LOSS" FLOW RATE AND COST:
28 |  |  |  |  | "Unknown Loss" | 0
29 |  |  |  |  | % "Unknown Loss"
30 |  |  |  |  | Number of Days in Period | 30
31 |  |  |  |  | "Unknown Loss" per Day (Gallons per Day) | 0
32 |  |  |  |  | "Unknown Loss" per Minute (GPM) | 0
33 |  |  |  |  | "Unknown Loss" Cost for Month

## Nov
Water Use Report
Water Utility: |  | Cumberland County Water District |  |  | PWSID: | KY0290271
For the Month of: |  | November |  |  | Year: | 2025
1 | PURCHASE/ALBANY COST PER THOUSAND |  |  |  |  | 2.1
2 | PURCHASE/BURKESVILLE COST PER THOUSAND |  |  |  |  | 2.47
2 | PURCHASE/BURKESVILLE COST PER THOUSAND |  |  |  |  | 2.47
GALLONS
WATER PRODUCED or PURCHASED
3 | Albany purchased water |  |  | 0 |  | 0
4 | Burkesville purchased water |  |  | 0 |  | 0
6 | Columbia/Adair purchased water |  |  | 0 |  | 0
5 | TOTAL PRODUCED AND PURCHASED |  |  |  |  | 0
6 | #VALUE! |  | TOTAL COST
WATER SOLD
7 | Residential |  |  |  |  | 0
8 | Commercial |  |  |  |  | 0
9 | Industrial |  |  |  |  | 0
10 | Bulk Loading Stations
11 | Wholesale
12 | Other Sales (explain) |  | DHSRP |  |  | 0
13 | TOTAL WATER SOLD |  |  |  |  | 0
14 | TOTAL WATER NOT SOLD |  |  |  |  | 0
BREAKDOWN OF WATER USAGE
15 | Water Treatment Plant
16 | Wastewater Treatment Plant
17 | System Flushing |  |  |  |  | 0
18 | Fire Department Usage |  |  |  |  | 0
19 | Other Usage (explain)
20 | TOTAL USAGE |  |  |  |  | 0
21 | WATER LOSS PERCENTAGE FOR RATE PURPOSES
BREAKDOWN OF WATER LOST
22 | Tank Overflows
23 | Excavation Breaks
24 | Repaired Line Breaks |  |  |  |  | 0
25 | Unknown Loss |  |  |  |  | 0
26 | TOTAL WATER NOT SOLD OR USED |  |  |  |  | 0
27 | COST OF WATER NOT SOLD OR USED
"UNKNOWN LOSS" FLOW RATE AND COST:
28 |  |  |  |  | "Unknown Loss" | 0
29 |  |  |  |  | % "Unknown Loss"
30 |  |  |  |  | Number of Days in Period | 30
31 |  |  |  |  | "Unknown Loss" per Day (Gallons per Day) | 0
32 |  |  |  |  | "Unknown Loss" per Minute (GPM) | 0
33 |  |  |  |  | "Unknown Loss" Cost for Month

## Dec
Water Use Report
Water Utility: |  | Cumberland County Water District |  |  | PWSID: | KY0290271
For the Month of: |  | December |  |  | Year: | 2025
1 | PURCHASE/ALBANY COST PER THOUSAND |  |  |  |  | 2.1
2 | PURCHASE/BURKESVILLE COST PER THOUSAND |  |  |  |  | 2.47
3 | PURCHASE/COLUMBIA/ADAIR COST PER THOUSAND |  |  |  |  | 2.75
GALLONS
WATER PRODUCED or PURCHASED
4 | Albany purchased water |  |  | 0 |  | 0
5 | Burkesville purchased water |  |  | 0 |  | 0
6 | Columbia/Adair purchased water |  |  | 0 |  | 0
7 | TOTAL PRODUCED AND PURCHASED |  |  |  |  | 0
8 | #VALUE! |  | TOTAL COST
WATER SOLD
9 | Residential |  |  |  |  | 0
10 | Commercial |  |  |  |  | 0
11 | Industrial |  |  |  |  | 0
12 | Bulk Loading Stations
13 | Wholesale
14 | Other Sales (explain) |  | DHSRP |  |  | 0
15 | TOTAL WATER SOLD |  |  |  |  | 0
16 | TOTAL WATER NOT SOLD |  |  |  |  | 0
BREAKDOWN OF WATER USAGE
17 | Water Treatment Plant
18 | Wastewater Treatment Plant
19 | System Flushing |  |  |  |  | 0
20 | Fire Department Usage |  |  |  |  | 0
21 | Other Usage (explain)
22 | TOTAL USAGE |  |  |  |  | 0
23 | WATER LOSS PERCENTAGE FOR RATE PURPOSES
BREAKDOWN OF WATER LOST
24 | Tank Overflows
25 | Excavation Breaks
26 | Repaired Line Breaks |  |  |  |  | 0
27 | Unknown Loss |  |  |  |  | 0
28 | TOTAL WATER NOT SOLD OR USED |  |  |  |  | 0
29 | COST OF WATER NOT SOLD OR USED
"UNKNOWN LOSS" FLOW RATE AND COST:
30 |  |  |  |  | "Unknown Loss" | 0
31 |  |  |  |  | % "Unknown Loss"
32 |  |  |  |  | Number of Days in Period | 31
33 |  |  |  |  | "Unknown Loss" per Day (Gallons per Day) | 0
34 |  |  |  |  | "Unknown Loss" per Minute (GPM) | 0
35 |  |  |  |  | "Unknown Loss" Cost for Month

## Annual
Annual Water Use Report
Water Utility: |  | Cumberland County Water District |  |  | PWSID: | KY0290271
[5 empty] | Year: | 2025
1 | PURCHASE/ALBANY COST PER THOUSAND |  |  |  |  | 2.1
2 | PURCHASE/BURKESVILLE COST PER THOUSAND |  |  |  |  | 2.47
3 | PURCHASE/COLUMBIA/ADAIR COST PER THOUSAND |  |  |  |  | 2.75
GALLONS
WATER PRODUCED or PURCHASED
4 | Albany purchased water |  |  | 15945.51 |  | 7593100 | 14.14%
5 | Burkesville purchased water |  |  | 110616.233 |  | 44783900 | 83.38%
6 | Columbia/Adair purchased water |  |  | 3671.25 |  | 1335000 | 2.485%
7 | TOTAL PRODUCED AND PURCHASED |  |  |  |  | 53712000
8 | 1.5719 |  | TOTAL COST | 84432.03
WATER SOLD
9 | Residential |  |  |  |  | 25146000
10 | Commercial |  |  |  |  | 2163000
11 | Industrial |  |  |  |  | 156000
12 | Bulk Loading Stations |  |  |  |  | 0
13 | Wholesale |  |  |  |  | 0
14 | Other Sales (explain) |  | DHSRP |  |  | 1530000
15 | TOTAL WATER SOLD |  |  |  |  | 28995000 | 53.98%
16 | TOTAL WATER NOT SOLD |  |  |  |  | 24717000 | 46.02%
BREAKDOWN OF WATER USAGE
17 | Water Treatment Plant |  |  |  |  | 0
18 | Wastewater Treatment Plant |  |  |  |  | 0
19 | System Flushing |  |  |  |  | 1065000
20 | Fire Department Usage |  |  |  |  | 12000
21 | Other Usage |  |  |  |  | 0
22 | TOTAL USAGE |  |  |  |  | 1077000
23 | WATER LOSS PERCENTAGE FOR RATE PURPOSES | [5 empty] | 44.01%
BREAKDOWN OF WATER LOST
24 | Tank Overflows |  |  |  |  | 0
25 | Excavation Breaks |  |  |  |  | 0
26 | Repaired Line Breaks |  |  |  |  | 10146000
27 | Unknown Loss |  |  |  |  | 13494000 | 25.12%
28 | TOTAL WATER NOT SOLD OR USED |  |  |  |  | 23640000
29 | COST OF WATER NOT SOLD OR USED |  |  |  |  | 32858.712
"UNKNOWN LOSS" FLOW RATE AND COST:
30 |  |  |  |  | "Unknown Loss" for Period | 13494000
31 |  |  |  |  | % "Unknown Loss" for Period | 25.12%
32 |  |  |  |  | Number of Days in Period | 367
33 |  |  |  |  | Average "Unknown Loss" per Day (Gallons per Day) | 36768.3924
34 |  |  |  |  | Average "Unknown Loss" per Minute (GPM) | 25.5336
35 |  |  |  |  | "Unknown Loss" Cost for Period | 14992.8483