## KU-LGE Rating
Kentucky Utilities Company / Louisville Gas and Electric Company
Generator Ratings (MW)
2022-07-19
| Generator | Net
| Nameplate | Winter 2
Plant Name | Ratings
Brown 3 | 464 | 416
Total Brown 3 | 464 | 416
Brown 5 | 123.3 | 130
Brown 6 | 177 | 171
Brown 7 | 177 | 171
Brown 8 | 126 | 128
Brown 9 | 126 | 138
Brown 10 | 126 | 138
Brown 11 | 126 | 128
Total Brown CT | 981.3 | 1004
Brown Solar3 | 10 | 0
Total Brown Solar | 10 | 0
Cane Run 7 | 808 | 683
Cane Run 7-1 |  | 226
Cane Run 7-2 |  | 226
Cane Run 7-Steam |  | 231
Total Cane Run | 808 | 683
Dix Dam 1 | 11.2 | 10.5
Dix Dam 2 | 11.2 | 10.5
Dix Dam 3 | 11.2 | 10.5
Total Dix Dam | 33.6 | 31.5
Ghent 1 | 556.92 | 479
Ghent 2 | 556.38 | 486
Ghent 3 | 556.56 | 476
Ghent 4 | 556.2 | 478
Total Ghent | 2226.06 | 1919
Haefling 1 | 20.7 | 13.6667
Haefling 2 | 20.7 | 13.6667
Total Haefling | 41.4 | 27.3333
Mill Creek 1 | 355.5 | 300
Mill Creek 2 | 355.5 | 297
Mill Creek 3 | 462.6 | 394
Mill Creek 4 | 543.6 | 486
Total Mill Creek | 1717.2 | 1477
Ohio Falls 1 | 12.58 | 5
Ohio Falls 2 | 12.58 | 5
Ohio Falls 3 | 12.58 | 5
Ohio Falls 4 | 12.58 | 5
Ohio Falls 5 | 12.58 | 5
Ohio Falls 6 | 12.58 | 5
Ohio Falls 7 | 12.58 | 5
Ohio Falls 8 | 12.58 | 5
Total Ohio Falls Hydro | 100.64 | 40
Paddy's Run 12 | 32.64 | 28
Paddy's Run 13 | 178.2 | 175
Total Paddys Run CT | 210.84 | 203
Simpsonville Solar 1 | 0.42 | 0
Simpsonville Solar 2 | 0.42 | 0
Simpsonville Solar 3 | 0.42 | 0
Simpsonville Solar 4 | 0.42 | 0
Simpsonville Solar 5 | 0.42 | 0
Total Simpsonville Solar | 2.1 | 0
Trimble County 1 1 | 424.575 | 369.75
Trimble County 2 1 | 628.5 | 570
Total Trimble County 1-2 | 1053.075 | 939.75
Trimble County 5 | 198.9 | 179
Trimble County 6 | 198.9 | 179
Trimble County 7 | 198.9 | 179
Trimble County 8 | 198.9 | 179
Trimble County 9 | 198.9 | 179
Trimble County 10 | 198.9 | 179
Total Trimble CT | 1193.4 | 1074
1 Ratings represent LG&E/KU's ownership (75%) of Trimble County Units 1 & 2
2 Winter Rating Period: Dec-Feb
3 Solar output is very sensitive to time of day. Ratings reflect the expected output during peak demand in each season.

## NITS (hidden)
Gen Name | Ratings Sheet Name | Capacity Designated | NITS information provided by Compliance.
BROWN 3 | Brown 3 | 416
BROWN CT 10 | Brown 10 6 | 138
BROWN CT 11 | Brown 11 6 | 128
BROWN CT 5 | Brown 5 6 | 130
BROWN CT 6 | Brown 6 | 171
BROWN CT 7 | Brown 7 | 171
BROWN CT 8 | Brown 8 6 | 128
BROWN CT 9 | Brown 9 6 | 138
BROWN SOLAR | Brown Solar11 | 10
CANE RUN 7 | Cane Run 7 8 | 691
DIX DAM 1-3 | Total Dix Dam | 34
GHENT 1 | Ghent 1 | 481
GHENT 2 | Ghent 2 | 495
GHENT 3 | Ghent 3 | 489
GHENT 4 | Ghent 4 | 491
HAEFLING 1 | Haefling 1 | 14
HAEFLING 2 | Haefling 2 | 14
MILL CREEK 1 | Mill Creek 1 | 303
MILL CREEK 2 | Mill Creek 2 | 301
MILL CREEK 3 | Mill Creek 3 | 394
MILL CREEK 4 | Mill Creek 4 | 486
OHIO FALLS 1-8 | Total Ohio Falls Hydro | 101
PADDYS RUN 11 | Paddy's Run 11 | 13
PADDYS RUN 12 | Paddy's Run 12 | 28
PADDYS RUN 13 | Paddy's Run 13 | 175
TRIMBLE COUNTY 1 | Trimble County 1 1 | 386
TRIMBLE COUNTY 2 | Trimble County 2 1 | 575
TRIMBLE COUNTY CT 10 | Trimble County 10 7 | 180
TRIMBLE COUNTY CT 5 | Trimble County 5 7 | 180
TRIMBLE COUNTY CT 6 | Trimble County 6 7 | 180
TRIMBLE COUNTY CT 7 | Trimble County 7 7 | 180
TRIMBLE COUNTY CT 8 | Trimble County 8 7 | 180
TRIMBLE COUNTY CT 9 | Trimble County 9 7 | 180
ZORN | Zorn 1 | 16
OVEC | Total OVEC | 179