## Instructions
Commission Form Instructions:
Water Produced and Purchased
Line # | All Lines | Omit the last three zeros into the cell.
| 2 | Provide the number of thousands of gallons of water produced by the utility for the corresponding month.
| 3 | Provide the number of thousands of gallons of water purchased by the utility from third-parties for the corresponding month.
| 4 | The total of Water Produced and Water Purchased. This row will automatically calculate if the preceding lines are correctly filled out.
Water Sales
| 7-13 | Provide the number of thousands of gallons of water sold for each category listed.
| 12 | Sales to Public Authorities are typically sold under a special contract or tariff (e.g.fire department or other governmental entity.)
| 13 | If there are water sales for categories other than the ones listed in Lines 7-12 above, provide the thousands of gallons of water sold for "Other Sales" and an explanation that details the water sale. If an explanation is not given, the form will not calculate Line 14, and instead, will give an error message. The majority of the water sales should fall into the categories in Lines 7-12, such that most utilities will enter "0" into the "Other Sales" line.
| 14 | The sum of Lines 7-13 should match the amount of "Total Water Sales" in this row. This row will automatically calculate if the preceding lines are correctly filled out.
Other Water Used
| 17-21 | These categories include water that is properly used but not sold and, therefore, does not generate revenue for the utility. All gallons of water that are reported in these categories should be supported by records to be kept at the utility's office, which will be subject to examination by the Division of Inspections.
| 17 | Provide the thousands of gallons of water used solely for the purpose of the utility and/or water treatment use. This would include, for example, backwashing the filtration system of the water treatment plant.
| 18 | Provide the thousands of gallons of water used for wastewater use. This would include, but would not be limited to, for example, water used to wash down/clean the wastewater plant.
| 19 | Provide the thousands of gallons of water used for system flushing, which is typically water used to keep water fresh and chlorine residuals up, and water used to flush lines to protect from Total Trihalomethanes (known as TTHM) and Haleacetic acids (known as HAA).
| 20 | Provide the thousands of gallons of water used by the Fire Department that are not provided in "Sales to Public Authorities" in Line 12. Only enter gallons for "Fire Department" use if the water is provided at no cost pursuant to the utility's tariff. All sales to fire departments should be entered in the sales category above. Pursuant to the requirements of KRS 278.170(3) and 807 KAR 5:095, Section 9(1), a utility that permits a fire department to use water at no charge or at reduced rates shall require the fire department to submit quarterly reports demonstrating its water usage. 807 KAR 5:095, Section 9(2), further requires a utility to include a penalty in its tariff for any fire department's failure to submit the required reports.
| 21 | If there are categories of legitimate, cost-free water usage other than the ones listed in Lines 17-20 above, provide the thousands of gallons of water used for "Other Usage" and an explanation that details what was used. If an explanation is not given, the form will not calculate Line 22, and instead, will give an error message. The majority of legitimate usage should fall into the categories on Lines 17-20, such that most utilities will enter "0" into the "Other Usage" line.
| 22 | The sum of Lines 17-21 should match the amount of "Total Other Water Used" in this row. This row will automatically calculate if the preceding lines are correctly filled out.
Water Loss
| 25-30 | All gallons of water reported for these lines represent all other water that is not billed or used in the production and transmission of water to customers. Any amounts included in these lines are part of the calculation of the Water Loss Percentage below. The utility should be prepared to support any amounts that appear in Lines 25-29 with records kept at the utility's office, which will be subject to examination by the Division of Inspections.
| 28 | Water reported in this category only includes water lost for excavation damages for which the water was neither billed, nor collected from the responsible party. If the amounts for excavation damages are recovered from the responsible party, these amounts should be reported in water sales.
| 29 | Water reported in this category only includes water lost for theft that was neither billed, nor collected from the customer. The water loss can be estimated by using the average monthly use for each class of customer. If amounts for water theft are recovered from the customer, these amounts should be reported in water sales.
| 30 | If there is water loss for categories other than those listed in Lines 25-29 above, provide the thousands of gallons of water loss for "Other Loss" and an explanation that details the specific water loss. If an explanation is not given, the form will not calculate Line 31, and instead, will give an error message. This would include, but not be limited to, malfunctioning meters, unknown loss, etc. The majority of the water loss should fall into the categories in Lines 25-29, such that most utilities will enter "0" into the "Other Loss" line.
| 31 | The sum of Lines 25-30 should match the amount of "Total Water Loss" in this row. This row will automatically calculate if the preceding lines are correctly filled out.
Water Loss Percentage
| 36 | The "Water Loss Percentage" in Line 36 will automatically calculate if all other lines on the form are filled out correctly. If the sum of Lines 14, 22, and 31 do not equal Line 4, the form will return an error in red that the Lines do not equal.

## Jan
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility: |  | Butler County Water System Inc.
For the Month of: |  | January | Year: | 2023
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced |  |  | 30297.015
3 | Water Purchased
4 | TOTAL PRODUCED AND PURCHASED |  |  | 30297.015
5
6 | WATER SALES
7 | Residential |  |  | 20110.788
8 | Commercial |  |  | 4074.683
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 24185.471
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant |  |  | 5
18 | Wastewater Plant
19 | System Flushing |  |  | 83.374
20 | Fire Department |  |  | 2
21 | Other Usage (explain)
22 | TOTAL OTHER WATER USED |  |  | 90.374
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks
27 | Line Leaks |  |  | 5980.202
28 | Excavation Damages
29 | Theft
30 | Other Loss (explain) | Busted meter bottoms, yokes, cutoffs, regulators |  | 40.968
31 | TOTAL WATER LOSS |  |  | 6021.17
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 19.87%

## Feb
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility: |  | Butler County Water System Inc.
For the Month of: |  | February | Year: | 2023
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced |  |  | 29269.11
3 | Water Purchased
4 | TOTAL PRODUCED AND PURCHASED |  |  | 29269.11
5
6 | WATER SALES
7 | Residential |  |  | 19703.46
8 | Commercial |  |  | 3291.511
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 22994.971
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant
18 | Wastewater Plant
19 | System Flushing |  |  | 314.378
20 | Fire Department
21 | Other Usage (explain)
22 | TOTAL OTHER WATER USED |  |  | 314.378
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks
27 | Line Leaks |  |  | 5865
28 | Excavation Damages |  |  | 24
29 | Theft
30 | Other Loss (explain) | Busted meter bottoms, yokes, cutoffs, regulators |  | 70.761
31 | TOTAL WATER LOSS |  |  | 5959.761
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 20.36%

## Mar
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility: |  | Butler County Water System Inc.
For the Month of: |  | March | Year: | 2023
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced |  |  | 25214.26
3 | Water Purchased
4 | TOTAL PRODUCED AND PURCHASED |  |  | 25214.26
5
6 | WATER SALES
7 | Residential |  |  | 16288.019
8 | Commercial |  |  | 2944.431
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 19232.45
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant
18 | Wastewater Plant
19 | System Flushing |  |  | 111.93
20 | Fire Department |  |  | 15.305
21 | Other Usage (explain)
22 | TOTAL OTHER WATER USED |  |  | 127.235
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks
27 | Line Leaks |  |  | 5810.343
28 | Excavation Damages |  |  | 42
29 | Theft
30 | Other Loss (explain) | Busted meter bottoms, yokes, cutoffs, regulators |  | 2.232
31 | TOTAL WATER LOSS |  |  | 5854.575
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 23.22%

## Apr
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility: |  | Butler County Water System Inc.
For the Month of: |  | April | Year: | 2023
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced |  |  | 25443.941
3 | Water Purchased
4 | TOTAL PRODUCED AND PURCHASED |  |  | 25443.941
5
6 | WATER SALES
7 | Residential |  |  | 16746.969
8 | Commercial |  |  | 2851.573
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 19598.542
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant
18 | Wastewater Plant
19 | System Flushing |  |  | 231.02
20 | Fire Department |  |  | 2.225
21 | Other Usage (explain)
22 | TOTAL OTHER WATER USED |  |  | 233.245
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks
27 | Line Leaks |  |  | 5484.997
28 | Excavation Damages |  |  | 84
29 | Theft
30 | Other Loss (explain) | Busted meter bottoms, yokes, cutoffs, regulators |  | 43.157
31 | TOTAL WATER LOSS |  |  | 5612.154
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 22.06%

## May
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility: |  | Butler County Water System Inc.
For the Month of: |  | May | Year: | 2023
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced |  |  | 27783.9
3 | Water Purchased
4 | TOTAL PRODUCED AND PURCHASED |  |  | 27783.9
5
6 | WATER SALES
7 | Residential |  |  | 18351.734
8 | Commercial |  |  | 3457.88
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 21809.614
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant
18 | Wastewater Plant
19 | System Flushing |  |  | 273.6
20 | Fire Department
21 | Other Usage (explain)
22 | TOTAL OTHER WATER USED |  |  | 273.6
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks
27 | Line Leaks |  |  | 5696.366
28 | Excavation Damages
29 | Theft
30 | Other Loss (explain) | Busted meter bottoms, yokes, cutoffs, regulators |  | 4.32
31 | TOTAL WATER LOSS |  |  | 5700.686
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 20.52%

## Jun
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility: |  | Butler County Water System Inc.
For the Month of: |  | June | Year: | 2023
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced |  |  | 29676.113
3 | Water Purchased
4 | TOTAL PRODUCED AND PURCHASED |  |  | 29676.113
5
6 | WATER SALES
7 | Residential |  |  | 19921.807
8 | Commercial |  |  | 4050.594
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 23972.401
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant
18 | Wastewater Plant
19 | System Flushing |  |  | 130.44
20 | Fire Department |  |  | 8.5
21 | Other Usage (explain)
22 | TOTAL OTHER WATER USED |  |  | 138.94
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks
27 | Line Leaks |  |  | 5528.512
28 | Excavation Damages
29 | Theft
30 | Other Loss (explain) | Busted meter bottoms, yokes, cutoffs, regulators |  | 36.26
31 | TOTAL WATER LOSS |  |  | 5564.772
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 18.75%

## July
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility: |  | Butler County Water System Inc.
For the Month of: |  | July | Year: | 2023
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced |  |  | 30636.724
3 | Water Purchased
4 | TOTAL PRODUCED AND PURCHASED |  |  | 30636.724
5
6 | WATER SALES
7 | Residential |  |  | 22029.624
8 | Commercial |  |  | 3012.134
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 25041.758
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant
18 | Wastewater Plant
19 | System Flushing |  |  | 115.809
20 | Fire Department |  |  | 0.5
21 | Other Usage (explain)
22 | TOTAL OTHER WATER USED |  |  | 116.309
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks |  |  | 105
27 | Line Leaks |  |  | 5327.577
28 | Excavation Damages
29 | Theft
30 | Other Loss (explain) | Busted meter bottoms, yokes, cutoffs, regulators |  | 46.08
31 | TOTAL WATER LOSS |  |  | 5478.657
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 17.88%

## Aug
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility: |  | Butler County Water System Inc.
For the Month of: |  | August | Year: | 2023
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced |  |  | 29105.269
3 | Water Purchased
4 | TOTAL PRODUCED AND PURCHASED |  |  | 29105.269
5
6 | WATER SALES
7 | Residential |  |  | 19505.605
8 | Commercial |  |  | 3962.145
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 23467.75
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant
18 | Wastewater Plant
19 | System Flushing |  |  | 368.752
20 | Fire Department |  |  | 1
21 | Other Usage (explain)
22 | TOTAL OTHER WATER USED |  |  | 369.752
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks
27 | Line Leaks |  |  | 5092.615
28 | Excavation Damages |  |  | 93
29 | Theft
30 | Other Loss (explain) | Busted meter bottoms, yokes, cutoffs, regulators |  | 82.152
31 | TOTAL WATER LOSS |  |  | 5267.767
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 18.1%

## Sept
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility: |  | Butler County Water System Inc.
For the Month of: |  | September | Year: | 2023
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced |  |  | 28295.907
3 | Water Purchased
4 | TOTAL PRODUCED AND PURCHASED |  |  | 28295.907
5
6 | WATER SALES
7 | Residential |  |  | 19115.139
8 | Commercial |  |  | 3120.156
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 22235.295
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant
18 | Wastewater Plant
19 | System Flushing |  |  | 352.807
20 | Fire Department |  |  | 5.2
21 | Other Usage (explain)
22 | TOTAL OTHER WATER USED |  |  | 358.007
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks
27 | Line Leaks |  |  | 5654.7
28 | Excavation Damages |  |  | 40.8
29 | Theft
30 | Other Loss (explain) | Busted meter bottoms, yokes, cutoffs, regulators |  | 7.105
31 | TOTAL WATER LOSS |  |  | 5702.605
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 20.15%

## Oct
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility: |  | Butler County Water System Inc.
For the Month of: |  | October | Year: | 2023
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced |  |  | 28400.158
3 | Water Purchased
4 | TOTAL PRODUCED AND PURCHASED |  |  | 28400.158
5
6 | WATER SALES
7 | Residential |  |  | 18932.475
8 | Commercial |  |  | 3433.635
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 22366.11
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant
18 | Wastewater Plant
19 | System Flushing |  |  | 316.772
20 | Fire Department
21 | Other Usage (explain)
22 | TOTAL OTHER WATER USED |  |  | 316.772
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks
27 | Line Leaks |  |  | 5677.033
28 | Excavation Damages |  |  | 33
29 | Theft
30 | Other Loss (explain) | Busted meter bottoms, yokes, cutoffs, regulators |  | 7.243
31 | TOTAL WATER LOSS |  |  | 5717.276
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 20.13%

## Nov
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility: |  | Butler County Water System Inc.
For the Month of: |  | November | Year: | 2023
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced |  |  | 27488.053
3 | Water Purchased
4 | TOTAL PRODUCED AND PURCHASED |  |  | 27488.053
5
6 | WATER SALES
7 | Residential |  |  | 18193.223
8 | Commercial |  |  | 3059.431
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 21252.654
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant
18 | Wastewater Plant
19 | System Flushing |  |  | 731.995
20 | Fire Department |  |  | 12.65
21 | Other Usage (explain)
22 | TOTAL OTHER WATER USED |  |  | 744.645
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks |  |  | 66
27 | Line Leaks |  |  | 5417.554
28 | Excavation Damages |  |  | 7.2
29 | Theft
30 | Other Loss (explain)
31 | TOTAL WATER LOSS |  |  | 5490.754
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 19.98%

## Dec
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility: |  | Butler County Water System Inc.
For the Month of: |  | December | Year: | 2023
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced |  |  | 26895.955
3 | Water Purchased
4 | TOTAL PRODUCED AND PURCHASED |  |  | 26895.955
5
6 | WATER SALES
7 | Residential |  |  | 18076.748
8 | Commercial |  |  | 3384.089
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale
12 | Public Authorities
13 | Other Sales (explain)
14 | TOTAL WATER SALES |  |  | 21460.837
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant
18 | Wastewater Plant
19 | System Flushing |  |  | 482.719
20 | Fire Department |  |  | 20
21 | Other Usage (explain)
22 | TOTAL OTHER WATER USED |  |  | 502.719
23
24 | WATER LOSS
25 | Tank Overflows
26 | Line Breaks |  |  | 18
27 | Line Leaks |  |  | 4814.553
28 | Excavation Damages |  |  | 15.75
29 | Theft
30 | Other Loss (explain) | Busted meter bottoms, yokes, cutoffs, regulators |  | 84.096
31 | TOTAL WATER LOSS |  |  | 4932.399
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 18.34%

## Annual
PUBLIC SERVICE COMMISSION
Monthly Water Loss Report
Water Utility: |  | Butler County Water System Inc.
For the Month of: |  | Annual | Year: | 2023
LINE # |  | ITEM |  | GALLONS (Omit 000's)
1 | WATER PRODUCED AND PURCHASED
2 | Water Produced |  |  | 338506.405
3 | Water Purchased |  |  | 0
4 | TOTAL PRODUCED AND PURCHASED |  |  | 338506.405
5
6 | WATER SALES
7 | Residential |  |  | 226975.591
8 | Commercial |  |  | 40642.262
9 | Industrial |  |  | 0
10 | Bulk Loading Stations |  |  | 0
11 | Wholesale |  |  | 0
12 | Public Authorities |  |  | 0
13 | Other Sales (explain) |  |  | 0
14 | TOTAL WATER SALES |  |  | 267617.853
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant |  |  | 5
18 | Wastewater Plant |  |  | 0
19 | System Flushing |  |  | 3513.596
20 | Fire Department |  |  | 67.38
21 | Other Usage (explain) |  |  | 0
22 | TOTAL OTHER WATER USED |  |  | 3585.976
23
24 | WATER LOSS
25 | Tank Overflows |  |  | 0
26 | Line Breaks |  |  | 189
27 | Line Leaks |  |  | 66349.452
28 | Excavation Damages |  |  | 339.75
29 | Theft |  |  | 0
30 | Other Loss |  |  | 424.374
31 | TOTAL WATER LOSS |  |  | 67302.576
32
33 | Note: Line 14 + Line 22 + Line 31 MUST Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 divided by Line 4) |  |  | 19.88%