## Home Energy Improvement Program
AEP Operating Company |  |  |  | Kentucky Power
Program Name |  |  |  | Home Energy Improvement Program
Program Year |  |  |  | 2025 - 2027
Implementation Contractor |  |  |  | TRC Companies
PROGRAM YEAR 1
Measure | Max Incentive Level ($) | Unit | Est. Participation | Unit Gross kWh Savings | Unit Gross kW Savings (Summer) | Unit Gross kW Savings (Winter) | Total Incentive Level ($) | Total Gross Annual kWh Savings | Total Gross kW Savings (Summer) | Total Gross kW Savings (Winter) | Net-to-Gross Ratio | Net kWh | Net kW (Summer) | Net kW (Winter)
Weatherization
Residential Attic Insulation | 230 | per home | 6 | 456 | 0.78616 | 0.063817 | 1380 | 2736 | 4.7169 | 0.3829 | 0.8 | 2188.8 | 3.7736 | 0.30632
Residential Air Sealing | 70 | per home | 5 | 751 | 0.22269 | 0.10513 | 350 | 3755 | 1.1135 | 0.52563 | 0.8 | 3004 | 0.89077 | 0.42051
Residential Duct Sealing & Insulation | 150 | per home | 1 | 533 | 0.13129 | 0.074623 | 150 | 533 | 0.13129 | 0.074623 | 0.8 | 426.4 | 0.10503 | 0.059699
Residential Floor Insulation Above Crawlspace | 220 | per home | 6 | 1093 | 0.78528 | 0.15308 | 1320 | 6558 | 4.7117 | 0.9185 | 0.8 | 5246.4 | 3.7693 | 0.7348
HVAC
Residential Air Source Heat Pump | 500 | per system | 68 | 3325 | 0.48624 | 0.46574 | 34000 | 226100 | 33.0643 | 31.67 | 0.8 | 180880 | 26.4514 | 25.336
Residential Central Air Conditioner | 250 | per system | 32 | 299 | 0.39142 | 0 | 8000 | 9568 | 12.5254 | 0 | 0.8 | 7654.4 | 10.0203 | 0
Residential Ductless AC | 200 | per system | 9 | 161 | 0.20327 | 0 | 1800 | 1449 | 1.8294 | 0 | 0.8 | 1159.2 | 1.4635 | 0
Residential Ductless Heat Pump | 400 | per system | 80 | 1622 | 0.47671 | 0.22686 | 32000 | 129760 | 38.1367 | 18.1486 | 0.8 | 103808 | 30.5094 | 14.5189
Residential ENERGY STAR Room Air Conditioner | 20 | per system | 230 | 72.6 | 0.068877 | 0 | 4600 | 16698 | 15.8417 | 0 | 0.8 | 13358.4 | 12.6734 | 0
Residential Heat Pump Water Heater | 500 | per system | 5 | 1910 | 0.09527 | 0.69865 | 2500 | 9550 | 0.47635 | 3.4932 | 0.8 | 7640 | 0.38108 | 2.7946
Residential Smart Thermostat | 50 | per thermostat | 166 | 462.6 | 0.13459 | 0.80946 | 8300 | 76791.6 | 22.3419 | 134.3699 | 0.8 | 61433.28 | 17.8735 | 107.496
Home Audit
Assessment Recommendations | 400 | per home | 53 | 21.6 | 0.002 | 0.002 | 21200 | 1144.8 | 0.106 | 0.106 | 0.8 | 915.84 | 0.0848 | 0.0848 | 1771229.9287 | 469.2506 | 654.909
Low-flow Showerhead | 20 | per measure | 40.964 | 217 | 0.022097 | 0.022097 | 819.28 | 8889.188 | 0.9052 | 0.9052 | 0.8 | 7111.3504 | 0.72416 | 0.72416
Low-flow Bathroom Faucet Aerator | 10 | per measure | 40.964 | 35.5 | 0.007 | 0.007 | 409.64 | 1454.222 | 0.28675 | 0.28675 | 0.8 | 1163.3776 | 0.2294 | 0.2294
Low-flow Kitchen Faucet Aerator | 10 | per measure | 20.482 | 213 | 0.042 | 0.042 | 204.82 | 4362.666 | 0.86024 | 0.86024 | 0.8 | 3490.1328 | 0.6882 | 0.6882
Domestic Hot Water Pipe Insulation | 4 | per measure | 122.892 | 89.4 | 0.01 | 0.01 | 491.568 | 10986.5448 | 1.2289 | 1.2289 | 0.8 | 8789.2358 | 0.98314 | 0.98314
Water Heater Temperature Setback | 15 | per measure | 11.3334 | 120.7 | 0.0138 | 0.0138 | 170.0006 | 1367.9382 | 0.1564 | 0.1564 | 0.8 | 1094.3505 | 0.12512 | 0.12512
Water Heater Wrap | 75 | per measure | 8.5 | 246 | 0.028 | 0.028 | 637.5023 | 2091.0074 | 0.238 | 0.238 | 0.8 | 1672.8059 | 0.1904 | 0.1904
Caulking, Sealing, Tape | 20 | per measure | 35.112 | 12.58 | 0.0034 | 0.0034 | 702.24 | 441.709 | 0.11938 | 0.11938 | 0.8 | 353.3672 | 0.095505 | 0.095505
Outlet and Switch Gaskets | 5 | per measure | 175.56 | 21 | 0.0002 | 0.0002 | 877.8 | 3686.76 | 0.035112 | 0.035112 | 0.8 | 2949.408 | 0.02809 | 0.02809
Door Sweep | 50 | per measure | 70.224 | 12.58 | 0.0034 | 0.0034 | 3511.2 | 883.4179 | 0.23876 | 0.23876 | 0.8 | 706.7343 | 0.19101 | 0.19101
Window/Door Weatherstripping | 40 | per measure | 35.112 | 12.58 | 0.0034 | 0.0034 | 1404.48 | 441.709 | 0.11938 | 0.11938 | 0.8 | 353.3672 | 0.095505 | 0.095505
Advanced Power Strip - Tier 1 | 30 | per measure | 26.6 | 80 | 0.009 | 0.009 | 798 | 2128 | 0.2394 | 0.2394 | 0.8 | 1702.4 | 0.19152 | 0.19152
Blower Door Test | 250 | per test | 45.6 | 0 | 0 | 0 | 11400 | 0 | 0 | 0 | 1 | 0 | 0 | 0
[7 empty] | 137026.5309 | 521376.5622 | 139.4227 | 194.1171 |  | 417101.2497 | 111.5381 | 155.2936
PROGRAM YEAR 2
Measure | Max Incentive Level ($) | Unit | Est. Participation | Unit Gross kWh Savings | Unit Gross kW Savings (Summer) | Unit Gross kW Savings (Winter) | Total Incentive Level ($) | Total Gross Annual kWh Savings | Total Gross kW Savings (Summer) | Total Gross kW Savings (Winter) | Net-to-Gross Ratio | Net kWh | Net kW (Summer) | Net kW (Winter)
Weatherization
Residential Attic Insulation | 230 | per home (avg) | 8 | 456 | 0.78616 | 0.063817 | 1840 | 3648 | 6.2893 | 0.51053 | 0.8 | 2918.4 | 5.0314 | 0.40843
Residential Air Sealing | 70 | per home (avg) | 7 | 751 | 0.22269 | 0.10513 | 490 | 5257 | 1.5589 | 0.73589 | 0.8 | 4205.6 | 1.2471 | 0.58871
Residential Duct Sealing & Insulation | 150 | per home (avg) | 2 | 533 | 0.13129 | 0.074623 | 300 | 1066 | 0.26258 | 0.14925 | 0.8 | 852.8 | 0.21006 | 0.1194
Residential Floor Insulation Above Crawlspace | 220 | per home (avg) | 8 | 1093 | 0.78528 | 0.15308 | 1760 | 8744 | 6.2822 | 1.2247 | 0.8 | 6995.2 | 5.0258 | 0.97974
HVAC
Residential Air Source Heat Pump | 500 | per system | 95 | 3325 | 0.48624 | 0.46574 | 47500 | 315875 | 46.1928 | 44.2449 | 0.8 | 252700 | 36.9542 | 35.3959
Residential Central Air Conditioner | 250 | per system | 45 | 299 | 0.39142 | 0 | 11250 | 13455 | 17.6138 | 0 | 0.8 | 10764 | 14.091 | 0
Residential Ductless AC | 200 | per system | 13 | 161 | 0.20327 | 0 | 2600 | 2093 | 2.6425 | 0 | 0.8 | 1674.4 | 2.114 | 0
Residential Ductless Heat Pump | 400 | per system | 111 | 1622 | 0.47671 | 0.22686 | 44400 | 180042 | 52.9147 | 25.1812 | 0.8 | 144033.6 | 42.3317 | 20.145
Residential ENERGY STAR Room Air Conditioner | 20 | per system | 322 | 72.6 | 0.068877 | 0 | 6440 | 23377.2 | 22.1784 | 0 | 0.8 | 18701.76 | 17.7427 | 0
Residential Heat Pump Water Heater | 500 | per system | 7 | 1910 | 0.09527 | 0.69865 | 3500 | 13370 | 0.66689 | 4.8905 | 0.8 | 10696 | 0.53351 | 3.9124
Residential Smart Thermostat | 50 | per thermostat | 233 | 462.6 | 0.13459 | 0.80946 | 11650 | 107785.8 | 31.3594 | 188.6036 | 0.8 | 86228.64 | 25.0875 | 150.8829
Home Audit
Assessment Recommendations | 400 | per home | 107 | 21.6 | 0.002 | 0.002 | 42800 | 2311.2 | 0.214 | 0.214 | 0.8 | 1848.96 | 0.1712 | 0.1712
Low-flow Showerhead | 20 | per measure | 81.928 | 217 | 0.022097 | 0.022097 | 1638.56 | 17778.376 | 1.8104 | 1.8104 | 0.8 | 14222.7008 | 1.4483 | 1.4483
Low-flow Bathroom Faucet Aerator | 10 | per measure | 81.928 | 35.5 | 0.007 | 0.007 | 819.28 | 2908.444 | 0.5735 | 0.5735 | 0.8 | 2326.7552 | 0.4588 | 0.4588
Low-flow Kitchen Faucet Aerator | 10 | per measure | 40.964 | 213 | 0.042 | 0.042 | 409.64 | 8725.332 | 1.7205 | 1.7205 | 0.8 | 6980.2656 | 1.3764 | 1.3764
Domestic Hot Water Pipe Insulation | 4 | per measure | 245.784 | 89.4 | 0.01 | 0.01 | 983.136 | 21973.0896 | 2.4578 | 2.4578 | 0.8 | 17578.4717 | 1.9663 | 1.9663
Water Heater Temperature Setback | 15 | per measure | 22.6667 | 120.7 | 0.0138 | 0.0138 | 340.0012 | 2735.8763 | 0.3128 | 0.3128 | 0.8 | 2188.7011 | 0.25024 | 0.25024
Water Heater Wrap | 75 | per measure | 17.0001 | 246 | 0.028 | 0.028 | 1275.0045 | 4182.0148 | 0.476 | 0.476 | 0.8 | 3345.6118 | 0.3808 | 0.3808
Caulking, Sealing, Tape | 20 | per measure | 70.224 | 12.58 | 0.0034 | 0.0034 | 1404.48 | 883.4179 | 0.23876 | 0.23876 | 0.8 | 706.7343 | 0.19101 | 0.19101
Outlet and Switch Gaskets | 5 | per measure | 351.12 | 21 | 0.0002 | 0.0002 | 1755.6 | 7373.52 | 0.070224 | 0.070224 | 0.8 | 5898.816 | 0.056179 | 0.056179
Door Sweep | 50 | per measure | 140.448 | 12.58 | 0.0034 | 0.0034 | 7022.4 | 1766.8358 | 0.47752 | 0.47752 | 0.8 | 1413.4687 | 0.38202 | 0.38202
Window/Door Weatherstripping | 40 | per measure | 70.224 | 12.58 | 0.0034 | 0.0034 | 2808.96 | 883.4179 | 0.23876 | 0.23876 | 0.8 | 706.7343 | 0.19101 | 0.19101
Advanced Power Strip - Tier 1 | 30 | per measure | 53.2 | 80 | 0.009 | 0.009 | 1596 | 4256 | 0.4788 | 0.4788 | 0.8 | 3404.8 | 0.38304 | 0.38304
Blower Door Test | 250 | per test | 91.2 | 0 | 0 | 0 | 22800 | 0 | 0 | 0 | 1 | 0 | 0 | 0
[7 empty] | 217383.0617 | 750490.5244 | 197.0304 | 274.6097 |  | 600392.4195 | 157.6243 | 219.6878
PROGRAM YEAR 3
Measure | Max Incentive Level ($) | Unit | Est. Participation | Unit Gross kWh Savings | Unit Gross kW Savings (Summer) | Unit Gross kW Savings (Winter) | Total Incentive Level ($) | Total Gross Annual kWh Savings | Total Gross kW Savings (Summer) | Total Gross kW Savings (Winter) | Net-to-Gross Ratio | Net kWh | Net kW (Summer) | Net kW (Winter)
Weatherization
Residential Attic Insulation | 230 | per home (avg) | 10 | 456 | 0.78616 | 0.063817 | 2300 | 4560 | 7.8616 | 0.63817 | 0.8 | 3648 | 6.2893 | 0.51053
Residential Air Sealing | 70 | per home (avg) | 9 | 751 | 0.22269 | 0.10513 | 630 | 6759 | 2.0042 | 0.94614 | 0.8 | 5407.2 | 1.6034 | 0.75691
Residential Duct Sealing & Insulation | 150 | per home (avg) | 2 | 533 | 0.13129 | 0.074623 | 300 | 1066 | 0.26258 | 0.14925 | 0.8 | 852.8 | 0.21006 | 0.1194
Residential Floor Insulation Above Crawlspace | 220 | per home (avg) | 10 | 1093 | 0.78528 | 0.15308 | 2200 | 10930 | 7.8528 | 1.5308 | 0.8 | 8744 | 6.2822 | 1.2247
HVAC
Residential Air Source Heat Pump | 500 | per system | 122 | 3325 | 0.48624 | 0.46574 | 61000 | 405650 | 59.3213 | 56.8197 | 0.8 | 324520 | 47.457 | 45.4558
Residential Central Air Conditioner | 250 | per system | 58 | 299 | 0.39142 | 0 | 14500 | 17342 | 22.7022 | 0 | 0.8 | 13873.6 | 18.1618 | 0
Residential Ductless AC | 200 | per system | 16 | 161 | 0.20327 | 0 | 3200 | 2576 | 3.2523 | 0 | 0.8 | 2060.8 | 2.6018 | 0
Residential Ductless Heat Pump | 400 | per system | 143 | 1622 | 0.47671 | 0.22686 | 57200 | 231946 | 68.1694 | 32.4407 | 0.8 | 185556.8 | 54.5355 | 25.9525
Residential ENERGY STAR Room Air Conditioner | 20 | per system | 414 | 72.6 | 0.068877 | 0 | 8280 | 30056.4 | 28.5151 | 0 | 0.8 | 24045.12 | 22.8121 | 0
Residential Heat Pump Water Heater | 500 | per system | 9 | 1910 | 0.09527 | 0.69865 | 4500 | 17190 | 0.85743 | 6.2878 | 0.8 | 13752 | 0.68595 | 5.0303
Residential Smart Thermostat | 50 | per thermostat | 299 | 462.6 | 0.13459 | 0.80946 | 14950 | 138317.4 | 40.2423 | 242.0278 | 0.8 | 110653.92 | 32.1938 | 193.6222
Home Audit
Assessment Recommendations | 400 | per home | 107 | 21.6 | 0.002 | 0.002 | 42800 | 2311.2 | 0.214 | 0.214 | 0.8 | 1848.96 | 0.1712 | 0.1712
Low-flow Showerhead | 20 | per measure | 81.928 | 217 | 0.022097 | 0.022097 | 1638.56 | 17778.376 | 1.8104 | 1.8104 | 0.8 | 14222.7008 | 1.4483 | 1.4483
Low-flow Bathroom Faucet Aerator | 10 | per measure | 81.928 | 35.5 | 0.007 | 0.007 | 819.28 | 2908.444 | 0.5735 | 0.5735 | 0.8 | 2326.7552 | 0.4588 | 0.4588
Low-flow Kitchen Faucet Aerator | 10 | per measure | 40.964 | 213 | 0.042 | 0.042 | 409.64 | 8725.332 | 1.7205 | 1.7205 | 0.8 | 6980.2656 | 1.3764 | 1.3764
Domestic Hot Water Pipe Insulation | 4 | per measure | 245.784 | 89.4 | 0.01 | 0.01 | 983.136 | 21973.0896 | 2.4578 | 2.4578 | 0.8 | 17578.4717 | 1.9663 | 1.9663
Water Heater Temperature Setback | 15 | per measure | 22.6667 | 120.7 | 0.0138 | 0.0138 | 340.0012 | 2735.8763 | 0.3128 | 0.3128 | 0.8 | 2188.7011 | 0.25024 | 0.25024
Water Heater Wrap | 75 | per measure | 17.0001 | 246 | 0.028 | 0.028 | 1275.0045 | 4182.0148 | 0.476 | 0.476 | 0.8 | 3345.6118 | 0.3808 | 0.3808
Caulking, Sealing, Tape | 20 | per measure | 70.224 | 12.58 | 0.0034 | 0.0034 | 1404.48 | 883.4179 | 0.23876 | 0.23876 | 0.8 | 706.7343 | 0.19101 | 0.19101
Outlet and Switch Gaskets | 5 | per measure | 351.12 | 21 | 0.0002 | 0.0002 | 1755.6 | 7373.52 | 0.070224 | 0.070224 | 0.8 | 5898.816 | 0.056179 | 0.056179
Door Sweep | 50 | per measure | 140.448 | 12.58 | 0.0034 | 0.0034 | 7022.4 | 1766.8358 | 0.47752 | 0.47752 | 0.8 | 1413.4687 | 0.38202 | 0.38202
Window/Door Weatherstripping | 40 | per measure | 70.224 | 12.58 | 0.0034 | 0.0034 | 2808.96 | 883.4179 | 0.23876 | 0.23876 | 0.8 | 706.7343 | 0.19101 | 0.19101
Advanced Power Strip - Tier 1 | 30 | per measure | 53.2 | 80 | 0.009 | 0.009 | 1596 | 4256 | 0.4788 | 0.4788 | 0.8 | 3404.8 | 0.38304 | 0.38304
Blower Door Test | 250 | per test | 91.2 | 0 | 0 | 0 | 22800 | 0 | 0 | 0 | 1 | 0 | 0 | 0
[7 empty] | 254713.0617 | 942170.3244 | 250.1102 | 349.9096 |  | 753736.2595 | 200.0882 | 279.9276

## Commercial Energy Solutions
AEP Operating Company |  |  |  | Kentucky Power
Program Name |  |  |  | Commercial Energy Solutions Program
Program Year |  |  |  | 2025 - 2027
Implementation Contractor |  |  |  | TRC Companies
PROGRAM YEAR 1
Measure | Max Incentive Level ($) | Unit | Est. Participation | Unit Gross kWh Savings | Unit Gross kW Savings (Summer) | Unit Gross kW Savings (Winter) | Total Incentive Level ($) | Total Gross Annual kWh Savings | Total Gross kW Savings (Summer) | Total Gross kW Savings (Winter) | Net-to-Gross Ratio | Net kWh | Net kW (Summer) | Net kW (Winter)
Prescriptive Lighting
LED Downlight Fixture | 9 | per fixture | 610 | 143.0959 | 0.018162 | 0.017198 | 0.017198 | 87288.4761 | 11.0788 | 10.4909 | 0.8 | 69830.7809 | 8.8631 | 8.3927
LED High Bay Fixture | 75 | per fixture | 79 | 1929.6942 | 0.24413 | 0.23192 | 0.23192 | 152445.8387 | 19.2861 | 18.3217 | 0.8 | 121956.6709 | 15.4289 | 14.6574
LED Low Bay Fixture | 10 | per fixture | 498 | 369.1153 | 0.047236 | 0.044357 | 4980 | 183819.4337 | 23.5238 | 22.0897 | 0.8 | 147055.547 | 18.819 | 17.6717
LED Exterior Area Lighting | 75 | per fixture | 721 | 760.1949 | 0 | 0.08836 | 54075 | 548100.5107 | 0 | 63.7076 | 0.8 | 438480.4086 | 0 | 50.9661
LED Refrigerated Display Case Lighting | 3.67 | per measure | 2613 | 84.4771 | 0.011607 | 0.0094531 | 9589.71 | 220738.7146 | 30.3288 | 24.7008 | 0.8 | 176590.9716 | 24.263 | 19.7607
LED Linear Tube Replacement | 3 | per lamp | 18133 | 60.8631 | 0.0076249 | 0.0072801 | 54399 | 1103630.2584 | 138.2626 | 132.0106 | 0.8 | 882904.2067 | 110.6101 | 105.6084
LED Troffer | 20 | per fixture | 593 | 154.8696 | 0.019442 | 0.018577 | 11860 | 91837.6525 | 11.5293 | 11.0163 | 0.8 | 73470.122 | 9.2234 | 8.8131
LED Wallpack | 75 | per fixture | 483 | 566.7051 | 0 | 0.065867 | 36225 | 273718.5633 | 0 | 31.8138 | 0.8 | 218974.8506 | 0 | 25.4511
Network Lighting Controls | 0.2 | per measure | 181614 | 1.2152 | 0.00015269 | 0.00014498 | 36322.8 | 220701.0725 | 27.7308 | 26.3307 | 0.8 | 176560.858 | 22.1846 | 21.0646
Occupancy Sensors | 30 | per control | 872 | 143.4123 | 0.018107 | 0.017539 | 26160 | 125055.4882 | 15.7896 | 15.294 | 0.8 | 100044.3906 | 12.6317 | 12.2352
Daylighting Controls | 20 | per control | 793 | 208.1343 | 0.026033 | 0.024584 | 15860 | 165050.4632 | 20.6438 | 19.4948 | 0.8 | 132040.3706 | 16.5151 | 15.5958
[7 empty] | 249471.7591 | 3172386.4718 | 298.1736 | 375.2709 |  | 2537909.1775 | 238.5388 | 300.2167 | 8862709.3885 | 851.1108 | 1047.8231
PROGRAM YEAR 2
Measure | Max Incentive Level ($) | Unit | Est. Participation | Unit Gross kWh Savings | Unit Gross kW Savings (Summer) | Unit Gross kW Savings (Winter) | Total Incentive Level ($) | Total Gross Annual kWh Savings | Total Gross kW Savings (Summer) | Total Gross kW Savings (Winter) | Net-to-Gross Ratio | Net kWh | Net kW (Summer) | Net kW (Winter)
Prescriptive Lighting
LED Downlight Fixture | 9 | per fixture | 701 | 143.0959 | 0.018162 | 0.017198 | 6309 | 100310.1996 | 12.7316 | 12.0559 | 0.8 | 80248.1596 | 10.1853 | 9.6447
LED High Bay Fixture | 75 | per fixture | 90 | 1929.6942 | 0.24413 | 0.23192 | 6750 | 173672.4744 | 21.9715 | 20.8728 | 0.8 | 138937.9795 | 17.5772 | 16.6982
LED Low Bay Fixture | 10 | per fixture | 573 | 369.1153 | 0.047236 | 0.044357 | 5730 | 211503.0834 | 27.0665 | 25.4164 | 0.8 | 169202.4667 | 21.6532 | 20.3331
LED Exterior Area Lighting | 75 | per fixture | 829 | 760.1949 | 0 | 0.08836 | 62175 | 630201.5581 | 0 | 73.2505 | 0.8 | 504161.2465 | 0 | 58.6004
LED Refrigerated Display Case Lighting | 3.67 | per foot | 3005 | 84.4771 | 0.011607 | 0.0094531 | 11028.35 | 253853.7456 | 34.8787 | 28.4064 | 0.8 | 203082.9965 | 27.903 | 22.7252
LED Linear Tube Replacement | 3 | per lamp | 20852 | 60.8631 | 0.0076249 | 0.0072801 | 62556 | 1269116.9772 | 158.9947 | 151.8052 | 0.8 | 1015293.5818 | 127.1958 | 121.4442
LED Troffer | 20 | per fixture | 681 | 154.8696 | 0.019442 | 0.018577 | 13620 | 105466.1742 | 13.2402 | 12.6511 | 0.8 | 84372.9394 | 10.5922 | 10.1209
LED Wallpack | 75 | per fixture | 555 | 566.7051 | 0 | 0.065867 | 41625 | 314521.3305 | 0 | 36.5563 | 0.8 | 251617.0644 | 0 | 29.245
Network Lighting Controls | 0.2 | per watt reduced | 208856 | 1.2152 | 0.00015269 | 0.00014498 | 41771.2 | 253806.1119 | 31.8904 | 30.2803 | 0.8 | 203044.8895 | 25.5123 | 24.2242
Occupancy Sensors | 30 | per control | 1002 | 143.4123 | 0.018107 | 0.017539 | 30060 | 143699.0816 | 18.1436 | 17.5741 | 0.8 | 114959.2653 | 14.5148 | 14.0592
Daylighting Controls | 20 | per control | 911 | 208.1343 | 0.026033 | 0.024584 | 18220 | 189610.3051 | 23.7157 | 22.3956 | 0.8 | 151688.2441 | 18.9725 | 17.9165
Prescriptive HVAC | [10 empty] | 0.8
Commercial Air Conditioner | 40 | per ton | 5 | 186.5974 | 0.051971 | 0.006312 | 0.006312 | 932.9868 | 0.25986 | 0.03156 | 0.8 | 746.3894 | 0.20789 | 0.025248
Commercial Smart Thermostat | 50 | per thermostat | 44 | 399.353 | 0.20392 | 0.0033314 | 2200 | 17571.5312 | 8.9726 | 0.14658 | 0.8 | 14057.225 | 7.1781 | 0.11726
Packaged Terminal Heat Pumps | 250 | per ton | 3 | 220.7024 | 0.0379 | 0.048826 | 750 | 662.1073 | 0.1137 | 0.14648 | 0.8 | 529.6858 | 0.090959 | 0.11718
Geothermal Heat Pump | 1000 | per system | 2 | 112.2651 | 0.018772 | 0.025897 | 2000 | 224.5303 | 0.037543 | 0.051795 | 0.8 | 179.6242 | 0.030034 | 0.041436
Commercial Air Source Heat Pump | 1000 | per system | 10 | 228.1501 | 0.038646 | 0.053644 | 10000 | 2281.5013 | 0.38646 | 0.53644 | 0.8 | 1825.2011 | 0.30917 | 0.42915
Commercial Heat Pump Water Heater | 500 | per system | 6 | 2877.2545 | 0.37892 | 0.43996 | 3000 | 17263.5268 | 2.2735 | 2.6398 | 0.8 | 13810.8215 | 1.8188 | 2.1118
[7 empty] | 317794.5563 | 3684697.2255 | 354.6766 | 434.8174 |  | 2947757.7804 | 283.7412 | 347.8539
PROGRAM YEAR 3
Measure | Max Incentive Level ($) | Unit | Est. Participation | Unit Gross kWh Savings | Unit Gross kW Savings (Summer) | Unit Gross kW Savings (Winter) | Total Incentive Level ($) | Total Gross Annual kWh Savings | Total Gross kW Savings (Summer) | Total Gross kW Savings (Winter) | Net-to-Gross Ratio | Net kWh | Net kW (Summer) | Net kW (Winter)
Prescriptive Lighting
LED Downlight Fixture | 9 | per fixture | 792 | 143.0959 | 0.018162 | 0.017198 | 7128 | 113331.923 | 14.3843 | 13.621 | 0.8 | 90665.5384 | 11.5074 | 10.8968
LED High Bay Fixture | 75 | per fixture | 102 | 1929.6942 | 0.24413 | 0.23192 | 7650 | 196828.8043 | 24.901 | 23.6559 | 0.8 | 157463.0435 | 19.9208 | 18.9247
LED Low Bay Fixture | 10 | per fixture | 647 | 369.1153 | 0.047236 | 0.044357 | 6470 | 238817.6177 | 30.562 | 28.6988 | 0.8 | 191054.0941 | 24.4496 | 22.9591
LED Exterior Area Lighting | 75 | per fixture | 937 | 760.1949 | 0 | 0.08836 | 70275 | 712302.6055 | 0 | 82.7934 | 0.8 | 569842.0844 | 0 | 66.2347
LED Refrigerated Display Case Lighting | 3.5 | per foot | 3397 | 84.4771 | 0.011607 | 0.0094531 | 11889.5 | 286968.7766 | 39.4286 | 32.112 | 0.8 | 229575.0213 | 31.5429 | 25.6896
LED Linear Tube Replacement | 3 | per lamp | 23572 | 60.8631 | 0.0076249 | 0.0072801 | 70716 | 1434664.5591 | 179.7345 | 171.6072 | 0.8 | 1147731.6473 | 143.7876 | 137.2857
LED Troffer | 20 | per fixture | 770 | 154.8696 | 0.019442 | 0.018577 | 15400 | 119249.5656 | 14.9706 | 14.3045 | 0.8 | 95399.6525 | 11.9764 | 11.4436
LED Wallpack | 75 | per fixture | 628 | 566.7051 | 0 | 0.065867 | 47100 | 355890.8028 | 0 | 41.3646 | 0.8 | 284712.6422 | 0 | 33.0917
Network Lighting Controls | 0.2 | per square foot | 236098 | 1.2152 | 0.00015269 | 0.00014498 | 47219.6 | 286911.1512 | 36.05 | 34.2299 | 0.8 | 229528.921 | 28.84 | 27.3839
Occupancy Sensors | 30 | per sensor | 1133 | 143.4123 | 0.018107 | 0.017539 | 33990 | 162486.0873 | 20.5156 | 19.8717 | 0.8 | 129988.8699 | 16.4125 | 15.8973
Daylighting Controls | 20 | per sensor | 1030 | 208.1343 | 0.026033 | 0.024584 | 20600 | 214378.2813 | 26.8136 | 25.3211 | 0.8 | 171502.6251 | 21.4508 | 20.2568
Prescriptive HVAC | [10 empty] | 0.8
Commercial Air Conditioner | 40 | per ton | 20 | 186.5974 | 0.051971 | 0.006312 | 800 | 3731.9472 | 1.0394 | 0.12624 | 0.8 | 2985.5578 | 0.83154 | 0.10099
Commercial Smart Thermostat | 50 | per thermostat | 50 | 399.353 | 0.20392 | 0.0033314 | 2500 | 19967.6491 | 10.1962 | 0.16657 | 0.8 | 15974.1193 | 8.1569 | 0.13325
Packaged Terminal Heat Pumps | 250 | per ton | 3 | 220.7024 | 0.0379 | 0.048826 | 750 | 662.1073 | 0.1137 | 0.14648 | 0.8 | 529.6858 | 0.090959 | 0.11718
Geothermal Heat Pump | 1000 | per system | 3 | 112.2651 | 0.018772 | 0.025897 | 3000 | 336.7954 | 0.056315 | 0.077692 | 0.8 | 269.4363 | 0.045052 | 0.062153
Commercial Air Source Heat Pump | 1000 | per system | 12 | 228.1501 | 0.038646 | 0.053644 | 12000 | 2737.8016 | 0.46375 | 0.64373 | 0.8 | 2190.2413 | 0.371 | 0.51498
Commercial Heat Pump Water Heater | 500 | per system | 7 | 2877.2545 | 0.37892 | 0.43996 | 3500 | 20140.7813 | 2.6525 | 3.0797 | 0.8 | 16112.6251 | 2.122 | 2.4638
Prescriptive Food Service & Misc. | [10 empty] | 0.8
Commercial Combination Ovens | 1400 | per oven | 2 | 9057.7722 | 1.7706 | 1.2956 | 2800 | 18115.5444 | 3.5412 | 2.5912 | 0.8 | 14492.4355 | 2.8329 | 2.0729
Commercial Fryers | 500 | per fryer | 2 | 3274 | 0.63999 | 0.4683 | 1000 | 6548 | 1.28 | 0.93659 | 0.8 | 5238.4 | 1.024 | 0.74927
Commercial Steam Cookers | 1400 | per cooker | 1 | 9863.2374 | 1.4039 | 1.6187 | 1400 | 9863.2374 | 1.4039 | 1.6187 | 0.8 | 7890.5899 | 1.1231 | 1.295
Commercial Dishwasher | 220 | per dishwasher | 1 | 17369 | 2.9314 | 2.7237 | 220 | 17369 | 2.9314 | 2.7237 | 0.8 | 13895.2 | 2.3451 | 2.179
[7 empty] | 366408.1 | 4221303.0384 | 411.0384 | 499.6906 |  | 3377042.4307 | 328.8307 | 399.7525