## Farmdale_Waterlines
Purpose | Size (inches) | Material | Transmission Type | Year Installed | Shape__Length (feet) | Total length of all pipes
Service Line | 0.75 | CTS |  |  | 38.5892
Service Line | 1 | CTS |  |  | 305.6976 | 417836.1186 | ft
Service Line | 1 | CTS |  |  | 200.9647 | 79.1356 | miles
Main Line | 2 | PVC | Finished Water | 1973 | 450.1638
Main Line | 2 | PVC | Finished Water | 1973 | 466.4857 | Total length of pipes with no diameter specified
Main Line | 2 | PVC | Finished Water | 1973 | 4223.9989
Main Line | 2 | PVC | Finished Water | 1973 | 363.5925 | 76517.6537 | ft
Main Line | 2 | PVC | Finished Water | 1973 | 3985.3169 | 14.492 | miles
Main Line | 2 | PVC | Finished Water | 1973 | 1896.9033
Main Line | 2 | PVC | Finished Water | 1989 | 1488.9198 | Total length of pipe by diameter
Hydrant Line | 2 | PVC | Finished Water | 2005 | 30.0142
Main Line | 2 | PVC | Finished Water | 1973 | 11.4843 | .75" | 38.5892 | ft | 0.0073086 | miles
Main Line | 2 | PVC | Finished Water | 1989 | 23.1297 | 1" | 506.6623 | ft | 0.095959 | miles
Main Line | 2 | PVC | Finished Water | 1973 | 592.2203 | 2" | 15441.994 | ft | 2.9246 | miles
Main Line | 2 | PVC | Finished Water | 0 | 1152.6222 | 3" | 72713.4231 | ft | 13.7715 | miles
Main Line | 2 | Other | Finished Water | 2021 | 757.1425 | 4" | 124249.4033 | ft | 23.5321 | miles
Main Line | 3 | AC | Finished Water | 1968 | 1361.9673 | 6" | 120656.1741 | ft | 22.8515 | miles
Main Line | 3 | PVC | Finished Water | 1973 | 941.817 | 8" | 20.3398 | ft | 0.0038522 | miles
Main Line | 3 | PVC | Finished Water | 1975 | 528.866 | 10" | 5796.8563 | ft | 1.0979 | miles
Main Line | 3 | PVC | Finished Water | 1975 | 721.6343 | 12" | 1895.023 | ft | 0.35891 | miles
Main Line | 3 | PVC | Finished Water | 1977 | 565.0994 | Unknown | 76517.6537 | ft | 14.492 | miles
Main Line | 3 | PVC | Finished Water | 1977 | 668.2848
Main Line | 3 | PVC | Finished Water | 1973 | 364.0127 | Total length of pipe by material
Main Line | 3 | PVC | Finished Water | 1975 | 432.408 | AC
Main Line | 3 | PVC | Finished Water | 1975 | 1199.7507 | 51320.8794 | ft | 9.7199 | miles
Main Line | 3 | PVC | Finished Water | 1973 | 786.3077
Main Line | 3 | PVC | Finished Water | 1975 | 158.5167 | PVC
Main Line | 3 | PVC | Finished Water | 1975 | 527.1806 | 361350.1649 | ft | 68.4375 | miles
Main Line | 3 | PVC | Finished Water | 1975 | 217.5058
Main Line | 3 | PVC | Finished Water | 1975 | 1483.1039 | Other
Main Line | 3 | PVC | Finished Water | 1977 | 1401.5458 | 4619.8229 | ft | 0.87497 | miles
Main Line | 3 | PVC | Finished Water | 1973 | 320.5345
Main Line | 3 | PVC | Finished Water | 1975 | 311.8067 | CTS
Main Line | 3 | AC | Finished Water | 1968 | 909.1082 | 545.2515 | ft | 0.10327 | miles
Main Line | 3 | AC | Finished Water | 1982 | 681.5735
Main Line | 3 | PVC | Finished Water | 1977 | 983.4212
Main Line | 3 | AC | Finished Water | 1968 | 837.0076
Main Line | 3 | PVC | Finished Water | 1975 | 445.8043
Main Line | 3 | PVC | Finished Water | 1975 | 419.4818
Main Line | 3 | PVC | Finished Water | 1973 | 983.9982
Main Line | 3 | PVC | Finished Water | 1973 | 1290.1376
Main Line | 3 | PVC | Finished Water | 1975 | 386.3796
Main Line | 3 | AC | Finished Water | 1968 | 565.6237
Main Line | 3 | PVC | Finished Water | 1973 | 4676.8084
Main Line | 3 | PVC | Finished Water | 1975 | 251.4024
Main Line | 3 | PVC | Finished Water | 1975 | 276.7833
Main Line | 3 | PVC | Finished Water | 1975 | 279.4049
Main Line | 3 | PVC | Finished Water | 1975 | 1627.7744
Main Line | 3 | AC | Finished Water | 1968 | 761.1913
Main Line | 3 | PVC | Finished Water | 1975 | 498.9175
Main Line | 3 | PVC | Finished Water | 1977 | 2851.3383
Main Line | 3 | PVC | Finished Water | 1973 | 786.4991
Main Line | 3 | PVC | Finished Water | 2011 | 486.1632
Main Line | 3 | PVC | Finished Water | 1977 | 1283.4562
Main Line | 3 | PVC | Finished Water | 1977 | 289.4594
Main Line | 3 | PVC | Finished Water | 1975 | 755.1238
Main Line | 3 | PVC | Finished Water | 1975 | 345.8783
Main Line | 3 | PVC | Finished Water | 1975 | 914.4228
Main Line | 3 | PVC | Finished Water | 1975 | 185.4582
Main Line | 3 | PVC | Finished Water | 1975 | 972.1504
Main Line | 3 | PVC | Finished Water | 1975 | 313.107
Main Line | 3 | PVC | Finished Water | 1973 | 712.1248
Main Line | 3 | PVC | Finished Water | 1975 | 394.0011
Main Line | 3 | PVC | Finished Water | 1973 | 182.1864
Main Line | 3 | PVC | Finished Water | 1973 | 546.0818
Main Line | 3 | PVC | Finished Water | 1973 | 4194.4947
Main Line | 3 | PVC | Finished Water | 1975 | 588.8867
Main Line | 3 | PVC | Finished Water | 1973 | 2609.1196
Main Line | 3 | PVC | Finished Water | 1981 | 166.3125
Main Line | 3 | PVC | Finished Water | 1975 | 265.0983
Main Line | 3 | PVC | Finished Water | 1977 | 1088.4199
Main Line | 3 | AC | Finished Water | 1968 | 2016.9411
Main Line | 3 | PVC | Finished Water | 1975 | 1139.6469
Main Line | 3 | PVC | Finished Water | 1973 | 3516.4501
Main Line | 3 | PVC | Finished Water | 1975 | 353.287
Main Line | 3 | AC | Finished Water | 1968 | 2647.4767
Main Line | 3 | PVC | Finished Water | 1975 | 803.3994
Main Line | 3 | PVC | Finished Water | 1975 | 692.85
Main Line | 3 | AC | Finished Water | 1982 | 187.7711
Main Line | 3 | PVC | Finished Water | 1975 | 133.3976
Main Line | 3 | PVC | Finished Water | 1973 | 29.2663
Main Line | 3 | PVC | Finished Water | 1975 | 30.7862
Main Line | 3 | PVC | Finished Water | 1975 | 46.3463
Hydrant Line | 3 | AC | Finished Water | 1968 | 10.1095
Main Line | 3 | PVC | Finished Water | 1973 | 38.1149
Main Line | 3 | AC | Finished Water | 1982 | 593.762
Main Line | 3 | PVC | Finished Water | 1975 | 770.0018
Main Line | 3 | PVC | Finished Water | 1977 | 1863.6427
Main Line | 3 | PVC | Finished Water | 1973 | 19.675
Main Line | 3 | AC | Finished Water | 1968 | 46.3078
Main Line | 3 | PVC | Finished Water | 1975 | 1291.5272
Main Line | 3 | PVC | Finished Water | 1973 | 2052.9534
Main Line | 3 | PVC | Finished Water | 1975 | 46.5803
Main Line | 3 | PVC | Finished Water | 1975 | 322.6507
Main Line | 3 | PVC | Finished Water | 1975 | 15.6875
Main Line | 3 | PVC | Finished Water | 1973 | 222.2891
Main Line | 3 | PVC | Finished Water | 1973 | 169.2384
Main Line | 3 | PVC | Finished Water | 1975 | 136.8513
Main Line | 3 | PVC | Finished Water | 1975 | 256.4066
Main Line | 3 | PVC | Finished Water | 1975 | 39.4757
Main Line | 3 | PVC | Finished Water | 1973 | 357.2575
Hydrant Line | 3 | PVC | Finished Water | 1973 | 4.7186
Main Line | 3 | PVC | Finished Water | 1977 | 34.3681
Hydrant Line | 3 | PVC | Finished Water | 1973 | 1.9298
Main Line | 3 | PVC | Finished Water | 1973 | 1053.9783
Main Line | 3 | PVC | Finished Water | 1973 | 2634.9949
Main Line | 3 | PVC | Finished Water | 1977 | 942.5908
Main Line | 3 | PVC | Finished Water | 1975 | 8.8308
Main Line | 3 | PVC | Finished Water | 1973 | 1.7957
Main Line | 3 | PVC | Finished Water | 2011 | 4.752
Main Line | 3 | PVC | Finished Water | 1973 | 6.7023
Main Line | 3 | PVC | Finished Water | 1973 | 373.6694
Main Line | 4 | AC | Finished Water | 1968 | 311.3479
Main Line | 4 | PVC | Finished Water | 1976 | 585.6628
Main Line | 4 | PVC | Finished Water | 1976 | 476.1958
Main Line | 4 | PVC | Finished Water | 1972 | 3727.8882
Main Line | 4 | PVC | Finished Water | 1976 | 585.2073
Main Line | 4 | AC | Finished Water | 1968 | 5637.3206
Main Line | 4 | PVC | Finished Water | 1984 | 1383.9762
Main Line | 4 | PVC | Finished Water | 1976 | 477.0802
Main Line | 4 | PVC | Finished Water | 1976 | 455.8077
Main Line | 4 | PVC | Finished Water | 1968 | 10443.5987
Main Line | 4 | AC | Finished Water | 1968 | 199.799
Main Line | 4 | PVC | Finished Water | 1984 | 8024.9467
Main Line | 4 | PVC | Finished Water | 1968 | 4458.7568
Main Line | 4 | AC | Finished Water | 1968 | 454.2094
Main Line | 4 | PVC | Finished Water | 1976 | 468.7185
Main Line | 4 | PVC | Finished Water | 1976 | 522.3153
Main Line | 4 | PVC | Finished Water | 1973 | 6233.6654
Main Line | 4 | PVC | Finished Water | 1984 | 5036.2866
Main Line | 4 | PVC | Finished Water | 1973 | 1769.1516
Main Line | 4 | PVC | Finished Water | 1992 | 543.1964
Main Line | 4 | PVC | Finished Water | 1973 | 2283.2013
Main Line | 4 | AC | Finished Water | 1968 | 2088.4044
Main Line | 4 | PVC | Finished Water | 1976 | 316.8029
Main Line | 4 | PVC | Finished Water | 1984 | 3533.1842
Main Line | 4 | PVC | Finished Water | 1984 | 1730.0035
Main Line | 4 | PVC | Finished Water | 1991 | 861.607
Main Line | 4 | AC | Finished Water | 1968 | 201.7722
Main Line | 4 | PVC | Finished Water | 1976 | 617.991
Main Line | 4 | PVC | Finished Water | 1973 | 884.4252
Main Line | 4 | PVC | Finished Water | 1973 | 58.0584
Main Line | 4 | PVC | Finished Water | 1973 | 662.4925
Main Line | 4 | PVC | Finished Water | 1973 | 427.7566
Main Line | 4 | AC | Finished Water | 1968 | 2041.4618
Main Line | 4 | PVC | Finished Water | 2006 | 750.3745
Main Line | 4 | PVC | Finished Water | 2007 | 5967.348
Main Line | 4 | PVC | Finished Water | 1973 | 372.8531
Main Line | 4 | AC | Finished Water | 1968 | 511.446
Main Line | 4 | PVC | Finished Water | 1973 | 599.7418
Main Line | 4 | PVC | Finished Water | 1976 | 552.5959
Main Line | 4 | PVC | Finished Water | 1968 | 3935.9722
Main Line | 4 | AC | Finished Water | 1968 | 433.481
Main Line | 4 | PVC | Finished Water | 1973 | 7436.0012
Main Line | 4 | PVC | Finished Water | 1976 | 815.1241
Main Line | 4 | PVC | Finished Water | 1973 | 4355.0942
Main Line | 4 | PVC | Finished Water | 1984 | 2952.5601
Main Line | 4 | AC | Finished Water | 1968 | 1635.5764
Main Line | 4 | PVC | Finished Water | 1976 | 514.977
Main Line | 4 | PVC | Finished Water | 1973 | 121.1371
Main Line | 4 | PVC | Finished Water | 2007 | 244.0164
Main Line | 4 | PVC | Finished Water | 2007 | 24.6704
Main Line | 4 | PVC | Finished Water | 1984 | 2432.9741
Main Line | 4 | PVC | Finished Water | 1976 | 160.4715
Hydrant Line | 4 | PVC | Finished Water | 1976 | 17.755
Main Line | 4 | PVC | Finished Water | 1976 | 84.9631
Main Line | 4 | PVC | Finished Water | 1991 | 377.2532
Main Line | 4 | PVC | Finished Water | 2007 | 1755.8253
Main Line | 4 | PVC | Finished Water | 2007 | 1615.1381
Main Line | 4 | PVC | Finished Water | 2007 | 3017.2818
Main Line | 4 | PVC | Finished Water | 1973 | 17.0237
Main Line | 4 | PVC | Finished Water | 1973 | 27.2203
Main Line | 4 | PVC | Finished Water | 1976 | 425.7203
Main Line | 4 | PVC | Finished Water | 1976 | 15.8003
Main Line | 4 | PVC | Finished Water | 1976 | 14.2398
Main Line | 4 | PVC | Finished Water | 1976 | 15.999
Main Line | 4 | PVC | Finished Water | 1976 | 198.7407
Main Line | 4 | PVC | Finished Water | 1973 | 853.688
Main Line | 4 | PVC | Finished Water | 1976 | 39.7118
Main Line | 4 | PVC | Finished Water | 1976 | 36.7306
Main Line | 4 | PVC | Finished Water | 1992 | 857.1204
Main Line | 4 | PVC | Finished Water | 1991 | 689.2294
Main Line | 4 | PVC | Finished Water | 1968 | 6.3609
Main Line | 4 | PVC | Finished Water | 1972 | 1137.4421
Main Line | 4 | PVC | Finished Water | 1976 | 375.7696
Hydrant Line | 4 | PVC | Finished Water | 1973 | 7.8182
Main Line | 4 | PVC | Finished Water | 1973 | 3085.8149
Hydrant Line | 4 | AC | Finished Water | 1968 | 1444.0527
Main Line | 4 | PVC | Finished Water | 1968 | 10.336
Main Line | 4 | AC | Finished Water | 1968 | 8.3305
Main Line | 4 | PVC | Finished Water | 1973 | 7.6465
Main Line | 4 | PVC | Finished Water | 1973 | 8.3861
Main Line | 4 | PVC | Finished Water | 1973 | 455.6854
Main Line | 4 | PVC | Finished Water | 1973 | 117.5088
Hydrant Line | 4 | PVC | Finished Water | 1975 | 4.3704
Hydrant Line | 4 | AC | Finished Water | 1968 | 2.7645
Main Line | 4 | PVC | Finished Water | 2011 | 473.3985
Main Line | 4 | PVC | Finished Water | 2011 | 5.7514
Main Line | 4 | PVC | Finished Water | 1973 | 693.9271
Main Line | 4 | AC | Finished Water | 1968 | 830.4245
Main Line | 4 | PVC | Finished Water | 2006 | 409.2355
Main Line | 4 | PVC | Finished Water | 1975 | 910.1816
Main Line | 4 | PVC | Finished Water | 1984 | 130.9768
Main Line | 4 | AC | Finished Water | 1968 | 15.6372
Main Line | 4 | PVC | Finished Water | 1973 | 1.4723
Hydrant Line | 4 | PVC | Finished Water | 1973 | 2.3341
Main Line | 4 | PVC | Finished Water | 1973 | 2.2137
Main Line | 4 | AC | Finished Water | 0 | 2723.4166
Main Line | 6 | PVC | Finished Water | 1987 | 148.025
Main Line | 6 | PVC | Finished Water | 1975 | 329.9845
Main Line | 6 | PVC | Finished Water | 1968 | 2831.4397
Main Line | 6 | PVC | Finished Water | 1973 | 384.2634
Main Line | 6 | PVC | Finished Water | 1988 | 870.3556
Main Line | 6 | PVC | Finished Water | 1973 | 935.2036
Main Line | 6 | PVC | Finished Water | 1987 | 332.5702
Main Line | 6 | PVC | Finished Water | 1973 | 533.0327
Main Line | 6 | PVC | Finished Water | 1968 | 1226.2888
Main Line | 6 | PVC | Finished Water | 1973 | 390.85
Main Line | 6 | PVC | Finished Water | 1997 | 458.0863
Main Line | 6 | PVC | Finished Water | 1987 | 485.0524
Hydrant Line | 6 | PVC | Finished Water | 1968 | 15.9606
Main Line | 6 | PVC | Finished Water | 1973 | 351.3506
Main Line | 6 | PVC | Finished Water | 1973 | 338.4673
Main Line | 6 | PVC | Finished Water | 1973 | 1802.918
Main Line | 6 | PVC | Finished Water | 1973 | 4470.0296
Main Line | 6 | PVC | Finished Water | 1975 | 285.8266
Main Line | 6 | PVC | Finished Water | 1973 | 561.5202
Main Line | 6 | PVC | Finished Water | 1973 | 562.481
Main Line | 6 | PVC | Finished Water | 1973 | 2774.861
Main Line | 6 | PVC | Finished Water | 2006 | 420.3847
Main Line | 6 | PVC | Finished Water | 1987 | 607.3502
Main Line | 6 | PVC | Finished Water | 1973 | 559.5984
Main Line | 6 | PVC | Finished Water | 2009 | 742.5234
Main Line | 6 | PVC | Finished Water | 1973 | 4374.2267
Main Line | 6 | PVC | Finished Water | 1987 | 204.5353
Main Line | 6 | PVC | Finished Water | 2006 | 624.2575
Main Line | 6 | PVC | Finished Water | 1987 | 201.9646
Main Line | 6 | PVC | Finished Water | 1975 | 283.376
Main Line | 6 | PVC | Finished Water | 1997 | 99.2319
Main Line | 6 | PVC | Finished Water | 1973 | 1439.0633
Main Line | 6 | PVC | Finished Water | 1973 | 299.3471
Main Line | 6 | PVC | Finished Water | 1973 | 1090.3716
Main Line | 6 | PVC | Finished Water | 1997 | 459.7843
Main Line | 6 | PVC | Finished Water | 1973 | 241.3661
Main Line | 6 | PVC | Finished Water | 1973 | 296.2516
Main Line | 6 | PVC | Finished Water | 1987 | 600.9604
Main Line | 6 | PVC | Finished Water | 1997 | 357.5065
Main Line | 6 | PVC | Finished Water | 1997 | 240.8119
Main Line | 6 | PVC | Finished Water | 2006 | 304.8222
Main Line | 6 | PVC | Finished Water | 2006 | 438.8598
Main Line | 6 | AC | Finished Water | 2007 | 1711.1431
Main Line | 6 | PVC | Finished Water | 1987 | 235.8287
Main Line | 6 | PVC | Finished Water | 2006 | 373.4255
Main Line | 6 | PVC | Finished Water | 2006 | 427.2994
Main Line | 6 | PVC | Finished Water | 1975 | 266.2784
Main Line | 6 | PVC | Finished Water | 1982 | 859.9256
Hydrant Line | 6 | PVC | Finished Water | 1997 | 269.6123
Main Line | 6 | PVC | Finished Water | 2002 | 4421.44
Main Line | 6 | PVC | Finished Water | 1987 | 674.8941
Main Line | 6 | PVC | Finished Water | 1968 | 3081.3212
Main Line | 6 | PVC | Finished Water | 1987 | 81.0933
Main Line | 6 | PVC | Finished Water | 1987 | 308.7227
Main Line | 6 | PVC | Finished Water | 2006 | 800.5915
Main Line | 6 | PVC | Finished Water | 2006 | 446.7519
Main Line | 6 | PVC | Finished Water | 2006 | 498.3082
Main Line | 6 | PVC | Finished Water | 2006 | 504.8132
Main Line | 6 | PVC | Finished Water | 2006 | 66.1722
Main Line | 6 | PVC | Finished Water | 1987 | 541.3834
Main Line | 6 | PVC | Finished Water | 1975 | 283.0786
Main Line | 6 | PVC | Finished Water | 1987 | 353.9728
Main Line | 6 | PVC | Finished Water | 1973 | 431.1199
Main Line | 6 | PVC | Finished Water | 1973 | 187.2204
Main Line | 6 | PVC | Finished Water | 2002 | 1905.7844
Main Line | 6 | PVC | Finished Water | 1987 | 268.4275
Main Line | 6 | PVC | Finished Water | 1973 | 509.0147
Main Line | 6 | PVC | Finished Water | 1987 | 202.9204
Main Line | 6 | PVC | Finished Water | 1997 | 225.0985
Main Line | 6 | PVC | Finished Water | 2002 | 1473.7673
Main Line | 6 | PVC | Finished Water | 1987 | 271.4
Main Line | 6 | PVC | Finished Water | 1997 | 455.2754
Main Line | 6 | PVC | Finished Water | 2006 | 51.9626
Main Line | 6 | PVC | Finished Water | 2006 | 623.7589
Main Line | 6 | PVC | Finished Water | 2006 | 2099.2538
Main Line | 6 | PVC | Finished Water | 2002 | 1884.9132
Main Line | 6 | PVC | Finished Water | 1987 | 574.2653
Main Line | 6 | PVC | Finished Water | 1997 | 474.302
Hydrant Line | 6 | PVC | Finished Water | 1987 | 288.0279
Main Line | 6 | PVC | Finished Water | 1987 | 141.959
Main Line | 6 | PVC | Finished Water | 1973 | 1095.3799
Main Line | 6 | PVC | Finished Water | 1987 | 741.7138
Main Line | 6 | PVC | Finished Water | 1987 | 356.5945
Main Line | 6 | PVC | Finished Water | 2002 | 996.8012
Main Line | 6 | PVC | Finished Water | 1973 | 367.9839
Main Line | 6 | PVC | Finished Water | 1987 | 172.2923
Main Line | 6 | PVC | Finished Water | 2002 | 1479.4113
Main Line | 6 | PVC | Finished Water | 1973 | 358.1707
Main Line | 6 | PVC | Finished Water | 1973 | 649.8082
Main Line | 6 | PVC | Finished Water | 1975 | 288.8714
Main Line | 6 | PVC | Finished Water | 1975 | 269.3366
Main Line | 6 | PVC | Finished Water | 1975 | 153.2665
Main Line | 6 | PVC | Finished Water | 1968 | 841.7871
Main Line | 6 | PVC | Finished Water | 1973 | 1085.0841
Main Line | 6 | PVC | Finished Water | 1973 | 768.7783
Main Line | 6 | PVC | Finished Water | 1973 | 162.6384
Main Line | 6 | PVC | Finished Water | 1975 | 271.8577
Main Line | 6 | PVC | Finished Water | 1973 | 652.2576
Main Line | 6 | PVC | Finished Water | 1997 | 451.7769
Main Line | 6 | PVC | Finished Water | 1973 | 2717.2032
Main Line | 6 | AC | Finished Water | 1968 | 59.4311
Main Line | 6 | PVC | Finished Water | 1987 | 194.1066
Main Line | 6 | PVC | Finished Water | 1973 | 807.8478
Main Line | 6 | PVC | Finished Water | 1975 | 139.0943
Main Line | 6 | PVC | Finished Water | 1973 | 212.4086
Main Line | 6 | PVC | Finished Water | 1975 | 286.5166
Main Line | 6 | PVC | Finished Water | 1987 | 203.5402
Main Line | 6 | PVC | Finished Water | 2006 | 333.7379
Main Line | 6 | PVC | Finished Water | 2006 | 631.9187
Main Line | 6 | PVC | Finished Water | 2006 | 314.9248
Main Line | 6 | PVC | Finished Water | 1968 | 2500.814
Main Line | 6 | PVC | Finished Water | 2006 | 300.4186
Main Line | 6 | PVC | Finished Water | 1982 | 665.6153
Main Line | 6 | PVC | Finished Water | 1982 | 40.7347
Main Line | 6 | PVC | Finished Water | 1988 | 732.2239
Main Line | 6 | PVC | Finished Water | 2006 | 410.1806
Main Line | 6 | PVC | Finished Water | 1973 | 2075.4039
Main Line | 6 | PVC | Finished Water | 1973 | 124.7991
Main Line | 6 | PVC | Finished Water | 1987 | 56.0199
Main Line | 6 | PVC | Finished Water | 1987 | 13.3556
Hydrant Line | 6 | PVC | Finished Water | 1987 | 34.6061
Main Line | 6 | PVC | Finished Water | 1973 | 10.3276
Main Line | 6 | PVC | Finished Water | 1997 | 30.48
Main Line | 6 | PVC | Finished Water | 1997 | 158.7111
Main Line | 6 | PVC | Finished Water | 1997 | 224.6339
Main Line | 6 | PVC | Finished Water | 1973 | 45.0024
Main Line | 6 | PVC | Finished Water | 1973 | 10.3426
Main Line | 6 | PVC | Finished Water | 1973 | 8.4316
Main Line | 6 | PVC | Finished Water | 1978 | 433.5455
Main Line | 6 | AC | Finished Water | 1968 | 272.9337
Main Line | 6 | PVC | Finished Water | 2009 | 9.7068
Main Line | 6 | AC | Finished Water | 1968 | 66.2263
Hydrant Line | 6 | PVC | Finished Water | 1987 | 10.8296
Main Line | 6 | PVC | Finished Water | 1973 | 39.5254
Main Line | 6 | PVC | Finished Water | 1973 | 13.0097
Main Line | 6 | PVC | Finished Water | 1973 | 14.3049
Main Line | 6 | PVC | Finished Water | 2006 | 19.5254
Main Line | 6 | PVC | Finished Water | 1975 | 8.5161
Main Line | 6 | PVC | Finished Water | 1973 | 572.6703
Main Line | 6 | PVC | Finished Water | 1973 | 249.1059
Main Line | 6 | PVC | Finished Water | 1973 | 44.5305
Main Line | 6 | PVC | Finished Water | 1973 | 248.2696
Main Line | 6 | AC | Finished Water | 2007 | 30.0824
Main Line | 6 | PVC | Finished Water | 1997 | 214.4724
Main Line | 6 | PVC | Finished Water | 1997 | 169.6932
Main Line | 6 | PVC | Finished Water | 1997 | 104.0387
Main Line | 6 | PVC | Finished Water | 1997 | 353.0895
Main Line | 6 | PVC | Finished Water | 1997 | 332.4613
Main Line | 6 | PVC | Finished Water | 1997 | 423.2327
Hydrant Line | 6 | PVC | Finished Water | 1972 | 20.0139
Main Line | 6 | AC | Finished Water | 1968 | 15.7261
Hydrant Line | 6 | PVC | Finished Water | 1973 | 6.435
Main Line | 6 | PVC | Finished Water | 1998 | 570.8673
Main Line | 6 | PVC | Finished Water | 1998 | 176.3873
Main Line | 6 | PVC | Finished Water | 1998 | 345.978
Main Line | 6 | PVC | Finished Water | 2006 | 49.7052
Hydrant Line | 6 | PVC | Finished Water | 2006 | 11.64
Main Line | 6 | PVC | Finished Water | 2006 | 25.037
Main Line | 6 | PVC | Finished Water | 2006 | 15.123
Main Line | 6 | PVC | Finished Water | 2006 | 67.1229
Hydrant Line | 6 | PVC | Finished Water | 2005 | 15.0781
Hydrant Line | 6 | PVC | Finished Water | 2005 | 6.0367
Main Line | 6 | AC | Finished Water | 1968 | 61.6498
Main Line | 6 | PVC | Finished Water | 2006 | 171.2552
Main Line | 6 | PVC | Finished Water | 2002 | 1732.2936
Main Line | 6 | PVC | Finished Water | 2002 | 49.2166
Main Line | 6 | PVC | Finished Water | 2002 | 1922.2484
Hydrant Line | 6 | PVC | Finished Water | 1975 | 21.6919
Main Line | 6 | PVC | Finished Water | 1975 | 27.8353
Main Line | 6 | PVC | Finished Water | 1975 | 10.8797
Main Line | 6 | PVC | Finished Water | 1975 | 2331.8225
Main Line | 6 | PVC | Finished Water | 1975 | 16.1202
Hydrant Line | 6 | PVC | Finished Water | 1973 | 1844.9699
Main Line | 6 | PVC | Finished Water | 2006 | 4.5358
Hydrant Line | 6 | PVC | Finished Water | 1973 | 6.7762
Main Line | 6 | PVC | Finished Water | 1987 | 488.4013
Main Line | 6 | PVC | Finished Water | 1987 | 10.1377
Main Line | 6 | PVC | Finished Water | 1987 | 112.278
Main Line | 6 | PVC | Finished Water | 1973 | 13.4218
Hydrant Line | 6 | PVC | Finished Water | 1987 | 6.5223
Main Line | 6 | PVC | Finished Water | 1975 | 11.57
Main Line | 6 | PVC | Finished Water | 1975 | 11.8442
Hydrant Line | 6 | PVC | Finished Water | 1997 | 3.6839
Main Line | 6 | PVC | Finished Water | 1982 | 951.3697
Main Line | 6 | PVC | Finished Water | 1982 | 12.9349
Main Line | 6 | PVC | Finished Water | 1982 | 831.1601
Main Line | 6 | PVC | Finished Water | 1982 | 12.621
Main Line | 6 | PVC | Finished Water | 2006 | 12.5484
Main Line | 6 | PVC | Finished Water | 1977 | 17.3595
Hydrant Line | 6 | PVC | Finished Water | 1987 | 3.9623
Main Line | 6 | PVC | Finished Water | 1975 | 9.3404
Hydrant Line | 6 | PVC | Finished Water | 1987 | 4.7067
Main Line | 6 | PVC | Finished Water | 1987 | 302.7529
Main Line | 6 | PVC | Finished Water | 1987 | 7.7965
Main Line | 6 | PVC | Finished Water | 1987 | 177.1439
Hydrant Line | 6 | PVC | Finished Water | 1987 | 3.8749
Main Line | 6 | PVC | Finished Water | 2006 | 299.672
Main Line | 6 | PVC | Finished Water | 1987 | 4.1365
Main Line | 6 | PVC | Finished Water | 1987 | 310.6115
Main Line | 6 | PVC | Finished Water | 1973 | 7.2227
Main Line | 6 | PVC | Finished Water | 1987 | 10.0267
Hydrant Line | 6 | PVC | Finished Water | 1991 | 5.7438
Hydrant Line | 6 | PVC | Finished Water | 1991 | 8.9717
Hydrant Line | 6 | PVC | Finished Water | 1992 | 4.6998
Main Line | 6 | PVC | Finished Water | 1982 | 331.5809
Main Line | 6 | PVC | Finished Water | 1982 | 264.6195
Main Line | 6 | PVC | Finished Water | 1968 | 5.296
Main Line | 6 | PVC | Finished Water | 1968 | 2622.2104
Main Line | 6 | AC | Finished Water | 1968 | 11.1476
Hydrant Line | 6 | PVC | Finished Water | 1997 | 3.3429
Main Line | 6 | PVC | Finished Water | 1973 | 3.2014
Main Line | 6 | PVC | Finished Water | 1975 | 18.0142
Main Line | 6 | PVC | Finished Water | 1987 | 160.3756
Hydrant Line | 6 | PVC | Finished Water | 1973 | 1.8247
Hydrant Line | 6 | PVC | Finished Water | 1973 | 4.1872
Hydrant Line | 6 | PVC | Finished Water | 1973 | 5.402
Hydrant Line | 6 | PVC | Finished Water | 1973 | 6.9363
Main Line | 6 | PVC | Finished Water | 1973 | 1.137
Main Line | 6 | PVC | Finished Water | 1987 | 13.0112
Main Line | 6 | PVC | Finished Water | 1987 | 129.6107
Main Line | 6 | PVC | Finished Water | 1973 | 165.603
Hydrant Line | 6 | PVC | Finished Water | 1973 | 6.7051
Main Line | 6 | PVC | Finished Water | 1982 | 25.182
Hydrant Line | 6 | PVC | Finished Water | 1982 | 1.6964
Main Line | 6 | PVC | Finished Water | 1975 | 11.8593
Main Line | 6 | PVC | Finished Water | 1975 | 882.5968
Main Line | 6 | PVC | Finished Water | 1975 | 817.1689
Hydrant Line | 6 | PVC | Finished Water | 1997 | 1.8839
Hydrant Line | 6 | PVC | Finished Water | 1997 | 17.0698
Hydrant Line | 6 | PVC | Finished Water | 2006 | 6.7784
Hydrant Line | 6 | PVC | Finished Water | 2006 | 0.073919
Hydrant Line | 6 | PVC | Finished Water | 2006 | 3.1857
Main Line | 6 | PVC | Finished Water | 2006 | 48.4087
Hydrant Line | 6 | PVC | Finished Water | 1982 | 0.28605
Hydrant Line | 6 | PVC | Finished Water | 2006 | 6.1579
Main Line | 6 | PVC | Finished Water | 1975 | 15.2948
Main Line | 6 | PVC | Finished Water | 1987 | 194.649
Hydrant Line | 6 | PVC | Finished Water | 1987 | 5.8727
Main Line | 6 | PVC | Finished Water | 1973 | 0.38093
Hydrant Line | 6 | PVC | Finished Water | 1973 | 3.9039
Main Line | 6 | PVC | Finished Water | 1973 | 7.7827
Hydrant Line | 6 | PVC | Finished Water | 1987 | 0.54374
Main Line | 6 | PVC | Finished Water | 1987 | 420.1784
Main Line | 6 | PVC | Finished Water | 1977 | 17.4257
Main Line | 6 | PVC | Finished Water | 1977 | 9.2315
Main Line | 6 | PVC | Finished Water | 1975 | 21.8863
Main Line | 6 | PVC | Finished Water | 1987 | 157.9913
Main Line | 6 | PVC | Finished Water | 1975 | 10.2942
Hydrant Line | 6 | PVC | Finished Water | 2002 | 1.7795
Hydrant Line | 6 | AC | Finished Water | 1968 | 1.3633
Hydrant Line | 6 | PVC | Finished Water | 1975 | 1.7129
Hydrant Line | 6 | AC | Finished Water | 1968 | 0.59617
Hydrant Line | 6 | PVC | Finished Water | 1975 | 8.1534
Main Line | 6 | PVC | Finished Water | 1982 | 22.4872
Main Line | 6 | PVC | Finished Water | 1975 | 2554.7299
Main Line | 6 | PVC | Finished Water | 1973 | 326.8516
Hydrant Line | 6 | PVC | Finished Water | 1973 | 4.7222
Main Line | 6 | PVC | Finished Water | 1987 | 13.6796
Main Line | 6 | PVC | Finished Water | 1987 | 10.6554
Main Line | 6 | PVC | Finished Water | 1987 | 14.0894
Hydrant Line | 6 | PVC | Finished Water | 1975 | 4.8863
Main Line | 6 | PVC | Finished Water | 1975 | 59.998
Hydrant Line | 6 | PVC | Finished Water | 1975 | 2.2556
Hydrant Line | 6 | PVC | Finished Water | 1982 | 5.802
Main Line | 6 | PVC | Finished Water | 2002 | 662.6999
Hydrant Line | 6 | PVC | Finished Water | 1982 | 3.0383
Main Line | 6 | PVC | Finished Water | 2006 | 104.3299
Main Line | 6 | PVC | Finished Water | 1987 | 176.751
Hydrant Line | 6 | PVC | Finished Water | 1997 | 3.2933
Hydrant Line | 6 | PVC | Finished Water | 2002 | 2.8769
Hydrant Line | 6 | PVC | Finished Water | 2002 | 2.7188
Main Line | 6 | PVC | Finished Water | 2002 | 0.16931
Main Line | 6 | PVC | Finished Water | 1982 | 26.9124
Main Line | 6 | PVC | Finished Water | 1973 | 57.5922
Hydrant Line | 6 | PVC | Finished Water | 1997 | 2.6025
Hydrant Line | 6 | PVC | Finished Water | 1997 | 3.2808
Hydrant Line | 6 | PVC | Finished Water | 1997 | 2.2272
Hydrant Line | 6 | PVC | Finished Water | 1982 | 3.7007
Hydrant Line | 6 | PVC | Finished Water | 1973 | 6.5213
Main Line | 6 | PVC | Finished Water | 1973 | 330.902
Main Line | 6 | PVC | Finished Water | 1977 | 10.7956
Hydrant Line | 6 | PVC | Finished Water | 2006 | 2.1425
Main Line | 6 | PVC | Finished Water | 2006 | 178.7055
Main Line | 6 | AC | Finished Water | 1968 | 9.8199
Main Line | 6 | PVC | Finished Water | 1982 | 21.912
Main Line | 6 | PVC | Finished Water | 2006 | 6.5806
Main Line | 6 | PVC | Finished Water | 2006 | 16.2748
Hydrant Line | 6 | PVC | Finished Water | 1973 | 3.1245
Hydrant Line | 6 | PVC | Finished Water | 1968 | 3.0344
Main Line | 6 | PVC | Finished Water | 1973 | 139.8311
Main Line | 6 | PVC | Finished Water | 1973 | 11.3327
Hydrant Line | 6 | PVC | Finished Water | 1982 | 6.5825
Hydrant Line | 6 | PVC | Finished Water | 1973 | 4.3999
Main Line | 6 | PVC | Finished Water | 1973 | 10.5971
Main Line | 6 | PVC | Finished Water | 1973 | 125.9697
Main Line | 6 | PVC | Finished Water | 1997 | 456.4453
Hydrant Line | 6 | PVC | Finished Water | 1997 | 3.0422
Main Line | 6 | PVC | Finished Water | 1975 | 29.9902
Hydrant Line | 6 | PVC | Finished Water | 1976 | 4.7913
Hydrant Line | 6 | PVC | Finished Water | 1976 | 3.2906
Hydrant Line | 6 | PVC | Finished Water | 1976 | 0.16996
Hydrant Line | 6 | PVC | Finished Water | 1976 | 7.8788
Main Line | 6 | PVC | Finished Water | 1975 | 14.2208
Hydrant Line | 6 | PVC | Finished Water | 2006 | 2.257
Main Line | 6 | PVC | Finished Water | 1975 | 17.1274
Main Line | 6 | PVC | Finished Water | 1975 | 3.232
Hydrant Line | 6 | PVC | Finished Water | 0 | 7.2522
Hydrant Line | 6 | PVC | Finished Water | 0 | 4.7084
Hydrant Line | 6 | PVC | Finished Water | 0 | 3.1186
Main Line | 6 | PVC | Finished Water | 0 | 3.0151
Main Line | 6 | PVC | Finished Water | 0 | 2.9461
Main Line | 6 | PVC | Finished Water | 0 | 1.3333
Main Line | 6 | PVC | Finished Water | 0 | 1.2079
Main Line | 6 | PVC | Finished Water | 0 | 3.2631
Main Line | 6 | PVC | Finished Water | 0 | 2.9916
Main Line | 6 | AC | Finished Water | 1968 | 1.5133
Main Line | 6 | AC | Finished Water | 0 | 18.9965
Main Line | 6 | PVC | Finished Water | 2006 | 2.2983
Main Line | 6 | PVC | Finished Water | 1968 | 3.9083
Main Line | 6 | PVC | Finished Water | 1973 | 4.9469
Main Line | 6 | PVC | Finished Water | 1973 | 26.1707
Main Line | 6 | AC | Finished Water | 0 | 1.7996
Main Line | 6 | PVC | Finished Water | 2006 | 2.3975
Hydrant Line | 6 | PVC | Finished Water | 2006 | 5.4963
Hydrant Line | 6 | PVC | Finished Water | 1968 | 2.9262
Main Line | 6 | PVC | Finished Water | 2006 | 2.8945
Hydrant Line | 6 | PVC | Finished Water | 1997 | 2.5193
Main Line | 6 | PVC | Finished Water | 2006 | 4.1818
Main Line | 6 | PVC | Finished Water | 1973 | 6.1548
Hydrant Line | 6 | PVC | Finished Water | 1968 | 2.2084
Main Line | 6 | PVC | Finished Water | 1973 | 1322.3278
Hydrant Line | 6 | PVC | Finished Water | 1973 | 4.2543
Hydrant Line | 6 | PVC | Finished Water | 1973 | 3.1033
Main Line | 6 | PVC | Finished Water | 1973 | 10.296
Hydrant Line | 6 | PVC | Finished Water | 1973 | 2.7411
Hydrant Line | 6 | PVC | Finished Water | 1973 | 0.93683
Hydrant Line | 6 | PVC | Finished Water | 1973 | 1.7802
Hydrant Line | 6 | PVC | Finished Water | 2006 | 1.3583
Hydrant Line | 6 | PVC | Finished Water | 2005 | 2.1885
Hydrant Line | 6 | PVC | Finished Water | 2006 | 1.9247
Hydrant Line | 6 | PVC | Finished Water | 2006 | 1.9882
Hydrant Line | 6 | PVC | Finished Water | 2005 | 3.3498
Hydrant Line | 6 | PVC | Finished Water | 2006 | 4.3649
Main Line | 6 | PVC | Finished Water | 1973 | 419.1892
Main Line | 6 | PVC | Finished Water | 2006 | 1.436
Main Line | 6 | PVC | Finished Water | 2006 | 636.7774
Main Line | 6 | PVC | Finished Water | 0 | 1164.9361
Main Line | 6 | PVC | Finished Water | 0 | 1426.9967
Hydrant Line | 8 | PVC | Finished Water | 1968 | 3.6781
Main Line | 8 | AC | Finished Water | 1968 | 13.4535
Hydrant Line | 8 | PVC | Finished Water | 1968 | 3.2082
Main Line | 10 | PVC | Finished Water | 2010 | 5129.9728
Main Line | 10 | PVC | Finished Water | 2010 | 666.8835
Main Line | 12 | AC | Finished Water | 1968 | 1895.023
Main Line |  | PVC | Finished Water | 2012 | 1666.6409
Main Line |  | Other | Finished Water | 2012 | 136.9436
Main Line |  | PVC | Finished Water | 2012 | 3440.3796
Main Line |  | Other | Finished Water | 2012 | 287.4666
Main Line |  | PVC | Finished Water | 2012 | 5132.5437
Main Line |  | PVC | Finished Water | 2012 | 1372.3466
Main Line |  | Other | Finished Water | 2012 | 113.1411
Main Line |  | PVC | Finished Water | 2012 | 1530.8926
Main Line |  | PVC | Finished Water | 0 | 8.5317
Main Line |  | PVC | Finished Water | 0 | 7.1737
Main Line |  | PVC | Finished Water | 2012 | 8.4474
Main Line |  | PVC | Finished Water | 2012 | 781.0666
Main Line |  | PVC | Finished Water | 0 | 1.5073
Main Line |  | PVC | Finished Water | 0 | 1.0864
Main Line |  | PVC | Finished Water | 2012 | 1624.1745
Main Line |  | PVC | Finished Water | 0 | 3.8065
Main Line |  | PVC | Finished Water | 0 | 3.0542
Main Line |  | PVC | Finished Water | 0 | 1.4204
Main Line |  | PVC | Finished Water | 0 | 2.2567
Main Line |  | PVC | Finished Water | 0 | 1.2553
Main Line |  | PVC | Finished Water | 2012 | 429.394
Main Line |  | PVC | Finished Water | 2012 | 579.1995
Main Line |  | PVC | Finished Water | 2012 | 349.4479
Main Line |  | PVC | Finished Water | 2012 | 148.8451
Main Line |  | PVC | Finished Water | 2012 | 8.6872
Main Line |  | PVC | Finished Water | 0 | 2.7713
Main Line |  | PVC | Finished Water | 0 | 2.4962
Main Line |  | PVC | Finished Water | 2012 | 1287.6597
Main Line |  | PVC | Finished Water | 2012 | 2.4205
Main Line |  | PVC | Finished Water | 2012 | 1.9968
Main Line |  | PVC | Finished Water | 2012 | 1252.8095
Main Line |  | AC | Finished Water | 0 | 838.8584
Main Line |  | PVC | Finished Water | 0 | 736.4535
Main Line |  | AC | Finished Water | 0 | 3118.5191
Main Line |  | PVC | Finished Water | 0 | 1.8777
Main Line |  | PVC | Finished Water | 0 | 10.9518
Main Line |  | PVC | Finished Water | 0 | 6.4393
Main Line |  | AC | Finished Water | 0 | 3.7666
Main Line |  | AC | Finished Water | 0 | 3665.1778
Main Line |  | PVC | Finished Water | 0 | 2.7473
Main Line |  | AC | Finished Water | 0 | 344.716
Main Line |  | AC | Finished Water | 0 | 1037.004
Main Line |  | AC | Finished Water | 0 | 1683.1083
Main Line |  | AC | Finished Water | 0 | 46.6405
Main Line |  | AC | Finished Water | 0 | 2834.4231
Main Line |  | AC | Finished Water | 0 | 3.3301
Main Line |  | PVC | Finished Water | 0 | 1.4005
Main Line |  | PVC | Finished Water | 0 | 0.58275
Main Line |  | PVC | Finished Water | 0 | 18.1861
Main Line |  | PVC | Finished Water | 0 | 5.8432
Main Line |  | PVC | Finished Water | 0 | 1.6725
Main Line |  | PVC | Finished Water | 2012 | 395.3389
Main Line |  | PVC | Finished Water | 0 | 6.1666
Main Line |  | PVC | Finished Water | 0 | 4.2709
Main Line |  | PVC | Finished Water | 2012 | 1.9293
Main Line |  | PVC | Finished Water | 2012 | 1633.8743
Main Line |  | PVC | Finished Water | 0 | 0.71321
Main Line |  | PVC | Finished Water | 0 | 13.1587
Main Line |  | PVC | Finished Water | 0 | 2199.5396
Main Line |  | AC | Finished Water | 0 | 845.9979
Main Line |  | Other | Finished Water | 0 | 739.368
Main Line |  | AC | Finished Water | 0 | 28.4245
Main Line |  | AC | Finished Water | 0 | 3300.8247
Main Line |  | PVC | Finished Water | 0 | 203.4586
Main Line |  | PVC | Finished Water | 2012 | 65.5426
Main Line |  | PVC | Finished Water | 2012 | 8.1933
Main Line |  | PVC | Finished Water | 0 | 5.4624
Main Line |  | AC | Finished Water | 0 | 240.8985
Main Line |  | PVC | Finished Water | 0 | 365.9684
Main Line |  | PVC | Finished Water | 0 | 1282.6376
Main Line |  | PVC | Finished Water | 0 | 206.2782
Main Line |  | PVC | Finished Water | 0 | 131.0725
Main Line |  | PVC | Finished Water | 0 | 1271.6258
Main Line |  | PVC | Finished Water | 0 | 1271.6258
Main Line |  | PVC | Finished Water | 0 | 10.807
Main Line |  | PVC | Finished Water | 0 | 8.2633
Main Line |  | PVC | Finished Water | 0 | 2.6646
Main Line |  | PVC | Finished Water | 0 | 5.042
Main Line |  | PVC | Finished Water | 0 | 2.8803
Main Line |  | PVC | Finished Water | 0 | 2.2894
Main Line |  | PVC | Finished Water | 0 | 3.9584
Main Line |  | PVC | Finished Water | 0 | 2.5313
Main Line |  | PVC | Finished Water | 0 | 11.3501
Main Line |  | PVC | Finished Water | 0 | 5.1554
Main Line |  | PVC | Finished Water | 0 | 3.9619
Main Line |  | PVC | Finished Water | 0 | 3.4174
Main Line |  | PVC | Finished Water | 0 | 4.1314
Main Line |  | PVC | Finished Water | 0 | 5.7657
Main Line |  | PVC | Finished Water | 0 | 4.8649
Main Line |  | PVC | Finished Water | 0 | 3.6634
Main Line |  | PVC | Finished Water | 0 | 28.26
Main Line |  | PVC | Finished Water | 0 | 7.9227
Main Line |  | PVC | Finished Water | 0 | 6.5935
Main Line |  | PVC | Finished Water | 0 | 5.7672
Main Line |  | PVC | Finished Water | 0 | 4.5114
Main Line |  | PVC | Finished Water | 0 | 2.1341
Main Line |  | Other | Finished Water | 0 | 689.6562
Main Line |  | Other | Finished Water | 0 | 358.0515
Main Line |  | Other | Finished Water | 0 | 478.1638
Main Line |  | PVC | Finished Water | 0 | 1783.5934
Main Line |  | PVC | Finished Water | 0 | 30.4724
Main Line |  | PVC | Finished Water | 0 | 215.6536
Main Line |  | PVC | Finished Water | 0 | 70.5943
Main Line |  | PVC | Finished Water | 0 | 6.5729
Main Line |  | PVC | Finished Water | 0 | 5.7592
Main Line |  | Other | Finished Water | 0 | 5.6055
Main Line |  | Other | Finished Water | 0 | 0.62382
Main Line |  | Other | Finished Water | 0 | 1.9774
Main Line |  | Other | Finished Water | 0 | 5.3286
Main Line |  | Other | Finished Water | 0 | 8.3599
Main Line |  | PVC | Finished Water | 0 | 1.1937
Main Line |  | PVC | Finished Water | 0 | 4649.4731
Main Line |  | PVC | Finished Water | 0 | 411.876
Main Line |  | PVC | Finished Water | 0 | 1099.0275
Main Line |  | PVC | Finished Water | 0 | 2440.5541
Main Line |  | PVC | Finished Water | 0 | 1638.6588
Main Line |  | PVC | Finished Water | 0 | 67.8667
Main Line |  | PVC | Finished Water | 0 | 181.8491
Main Line |  | PVC | Finished Water | 0 | 1206.1173
Main Line |  | PVC | Finished Water | 0 | 666.7799
Main Line |  | PVC | Finished Water | 0 | 929.3523
Main Line |  | PVC | Finished Water | 0 | 7555.1232
Main Line |  | PVC | Finished Water | 0 | 36.7378
Main Line |  | PVC | Finished Water | 0 | 25.7353
Main Line |  | Other | Finished Water | 0 | 672.7532
Main Line |  | Other | Finished Water | 0 | 365.2411
Main Line |  | PVC | Finished Water | 0 | 1790.2269
Main Line |  | PVC | Finished Water | 0 | 40.5298
Main Line |  | PVC | Finished Water | 0 | 13.1771
Main Line |  | PVC | Finished Water | 0 | 84.5062
Main Line |  | PVC | Finished Water | 0 | 70.5943

## Sheet1
Main Line | 3 | AC | Finished Water | 1968 | 1361.9673
Main Line | 3 | AC | Finished Water | 1968 | 909.1082
Main Line | 3 | AC | Finished Water | 1982 | 681.5735
Main Line | 3 | AC | Finished Water | 1968 | 837.0076
Main Line | 3 | AC | Finished Water | 1968 | 565.6237
Main Line | 3 | AC | Finished Water | 1968 | 761.1913
Main Line | 3 | AC | Finished Water | 1968 | 2016.9411
Main Line | 3 | AC | Finished Water | 1968 | 2647.4767
Main Line | 3 | AC | Finished Water | 1982 | 187.7711
Hydrant Line | 3 | AC | Finished Water | 1968 | 10.1095
Main Line | 3 | AC | Finished Water | 1982 | 593.762
Main Line | 3 | AC | Finished Water | 1968 | 46.3078
Main Line | 4 | AC | Finished Water | 1968 | 311.3479
Main Line | 4 | AC | Finished Water | 1968 | 5637.3206
Main Line | 4 | AC | Finished Water | 1968 | 199.799
Main Line | 4 | AC | Finished Water | 1968 | 454.2094
Main Line | 4 | AC | Finished Water | 1968 | 2088.4044
Main Line | 4 | AC | Finished Water | 1968 | 201.7722
Main Line | 4 | AC | Finished Water | 1968 | 2041.4618
Main Line | 4 | AC | Finished Water | 1968 | 511.446
Main Line | 4 | AC | Finished Water | 1968 | 433.481
Main Line | 4 | AC | Finished Water | 1968 | 1635.5764
Hydrant Line | 4 | AC | Finished Water | 1968 | 1444.0527
Main Line | 4 | AC | Finished Water | 1968 | 8.3305
Hydrant Line | 4 | AC | Finished Water | 1968 | 2.7645
Main Line | 4 | AC | Finished Water | 1968 | 830.4245
Main Line | 4 | AC | Finished Water | 1968 | 15.6372
Main Line | 4 | AC | Finished Water | 0 | 2723.4166
Main Line | 6 | AC | Finished Water | 2007 | 1711.1431
Main Line | 6 | AC | Finished Water | 1968 | 59.4311
Main Line | 6 | AC | Finished Water | 1968 | 272.9337
Main Line | 6 | AC | Finished Water | 1968 | 66.2263
Main Line | 6 | AC | Finished Water | 2007 | 30.0824
Main Line | 6 | AC | Finished Water | 1968 | 15.7261
Main Line | 6 | AC | Finished Water | 1968 | 61.6498
Main Line | 6 | AC | Finished Water | 1968 | 11.1476
Hydrant Line | 6 | AC | Finished Water | 1968 | 1.3633
Hydrant Line | 6 | AC | Finished Water | 1968 | 0.59617
Main Line | 6 | AC | Finished Water | 1968 | 9.8199
Main Line | 6 | AC | Finished Water | 1968 | 1.5133
Main Line | 6 | AC | Finished Water | 0 | 18.9965
Main Line | 6 | AC | Finished Water | 0 | 1.7996
Main Line | 8 | AC | Finished Water | 1968 | 13.4535
Main Line | 12 | AC | Finished Water | 1968 | 1895.023
Main Line |  | AC | Finished Water | 0 | 838.8584
Main Line |  | AC | Finished Water | 0 | 3118.5191
Main Line |  | AC | Finished Water | 0 | 3.7666
Main Line |  | AC | Finished Water | 0 | 3665.1778
Main Line |  | AC | Finished Water | 0 | 344.716
Main Line |  | AC | Finished Water | 0 | 1037.004
Main Line |  | AC | Finished Water | 0 | 1683.1083
Main Line |  | AC | Finished Water | 0 | 46.6405
Main Line |  | AC | Finished Water | 0 | 2834.4231
Main Line |  | AC | Finished Water | 0 | 3.3301
Main Line |  | AC | Finished Water | 0 | 845.9979
Main Line |  | AC | Finished Water | 0 | 28.4245
Main Line |  | AC | Finished Water | 0 | 3300.8247
Main Line |  | AC | Finished Water | 0 | 240.8985
Service Line | 0.75 | CTS |  |  | 38.5892
Service Line | 1 | CTS |  |  | 305.6976
Service Line | 1 | CTS |  |  | 200.9647
Main Line | 2 | Other | Finished Water | 2021 | 757.1425
Main Line |  | Other | Finished Water | 2012 | 136.9436
Main Line |  | Other | Finished Water | 2012 | 287.4666
Main Line |  | Other | Finished Water | 2012 | 113.1411
Main Line |  | Other | Finished Water | 0 | 739.368
Main Line |  | Other | Finished Water | 0 | 689.6562
Main Line |  | Other | Finished Water | 0 | 358.0515
Main Line |  | Other | Finished Water | 0 | 478.1638
Main Line |  | Other | Finished Water | 0 | 5.6055
Main Line |  | Other | Finished Water | 0 | 0.62382
Main Line |  | Other | Finished Water | 0 | 1.9774
Main Line |  | Other | Finished Water | 0 | 5.3286
Main Line |  | Other | Finished Water | 0 | 8.3599
Main Line |  | Other | Finished Water | 0 | 672.7532
Main Line |  | Other | Finished Water | 0 | 365.2411
Main Line | 2 | PVC | Finished Water | 1973 | 450.1638
Main Line | 2 | PVC | Finished Water | 1973 | 466.4857
Main Line | 2 | PVC | Finished Water | 1973 | 4223.9989
Main Line | 2 | PVC | Finished Water | 1973 | 363.5925
Main Line | 2 | PVC | Finished Water | 1973 | 3985.3169
Main Line | 2 | PVC | Finished Water | 1973 | 1896.9033
Main Line | 2 | PVC | Finished Water | 1989 | 1488.9198
Hydrant Line | 2 | PVC | Finished Water | 2005 | 30.0142
Main Line | 2 | PVC | Finished Water | 1973 | 11.4843
Main Line | 2 | PVC | Finished Water | 1989 | 23.1297
Main Line | 2 | PVC | Finished Water | 1973 | 592.2203
Main Line | 2 | PVC | Finished Water | 0 | 1152.6222
Main Line | 3 | PVC | Finished Water | 1973 | 941.817
Main Line | 3 | PVC | Finished Water | 1975 | 528.866
Main Line | 3 | PVC | Finished Water | 1975 | 721.6343
Main Line | 3 | PVC | Finished Water | 1977 | 565.0994
Main Line | 3 | PVC | Finished Water | 1977 | 668.2848
Main Line | 3 | PVC | Finished Water | 1973 | 364.0127
Main Line | 3 | PVC | Finished Water | 1975 | 432.408
Main Line | 3 | PVC | Finished Water | 1975 | 1199.7507
Main Line | 3 | PVC | Finished Water | 1973 | 786.3077
Main Line | 3 | PVC | Finished Water | 1975 | 158.5167
Main Line | 3 | PVC | Finished Water | 1975 | 527.1806
Main Line | 3 | PVC | Finished Water | 1975 | 217.5058
Main Line | 3 | PVC | Finished Water | 1975 | 1483.1039
Main Line | 3 | PVC | Finished Water | 1977 | 1401.5458
Main Line | 3 | PVC | Finished Water | 1973 | 320.5345
Main Line | 3 | PVC | Finished Water | 1975 | 311.8067
Main Line | 3 | PVC | Finished Water | 1977 | 983.4212
Main Line | 3 | PVC | Finished Water | 1975 | 445.8043
Main Line | 3 | PVC | Finished Water | 1975 | 419.4818
Main Line | 3 | PVC | Finished Water | 1973 | 983.9982
Main Line | 3 | PVC | Finished Water | 1973 | 1290.1376
Main Line | 3 | PVC | Finished Water | 1975 | 386.3796
Main Line | 3 | PVC | Finished Water | 1973 | 4676.8084
Main Line | 3 | PVC | Finished Water | 1975 | 251.4024
Main Line | 3 | PVC | Finished Water | 1975 | 276.7833
Main Line | 3 | PVC | Finished Water | 1975 | 279.4049
Main Line | 3 | PVC | Finished Water | 1975 | 1627.7744
Main Line | 3 | PVC | Finished Water | 1975 | 498.9175
Main Line | 3 | PVC | Finished Water | 1977 | 2851.3383
Main Line | 3 | PVC | Finished Water | 1973 | 786.4991
Main Line | 3 | PVC | Finished Water | 2011 | 486.1632
Main Line | 3 | PVC | Finished Water | 1977 | 1283.4562
Main Line | 3 | PVC | Finished Water | 1977 | 289.4594
Main Line | 3 | PVC | Finished Water | 1975 | 755.1238
Main Line | 3 | PVC | Finished Water | 1975 | 345.8783
Main Line | 3 | PVC | Finished Water | 1975 | 914.4228
Main Line | 3 | PVC | Finished Water | 1975 | 185.4582
Main Line | 3 | PVC | Finished Water | 1975 | 972.1504
Main Line | 3 | PVC | Finished Water | 1975 | 313.107
Main Line | 3 | PVC | Finished Water | 1973 | 712.1248
Main Line | 3 | PVC | Finished Water | 1975 | 394.0011
Main Line | 3 | PVC | Finished Water | 1973 | 182.1864
Main Line | 3 | PVC | Finished Water | 1973 | 546.0818
Main Line | 3 | PVC | Finished Water | 1973 | 4194.4947
Main Line | 3 | PVC | Finished Water | 1975 | 588.8867
Main Line | 3 | PVC | Finished Water | 1973 | 2609.1196
Main Line | 3 | PVC | Finished Water | 1981 | 166.3125
Main Line | 3 | PVC | Finished Water | 1975 | 265.0983
Main Line | 3 | PVC | Finished Water | 1977 | 1088.4199
Main Line | 3 | PVC | Finished Water | 1975 | 1139.6469
Main Line | 3 | PVC | Finished Water | 1973 | 3516.4501
Main Line | 3 | PVC | Finished Water | 1975 | 353.287
Main Line | 3 | PVC | Finished Water | 1975 | 803.3994
Main Line | 3 | PVC | Finished Water | 1975 | 692.85
Main Line | 3 | PVC | Finished Water | 1975 | 133.3976
Main Line | 3 | PVC | Finished Water | 1973 | 29.2663
Main Line | 3 | PVC | Finished Water | 1975 | 30.7862
Main Line | 3 | PVC | Finished Water | 1975 | 46.3463
Main Line | 3 | PVC | Finished Water | 1973 | 38.1149
Main Line | 3 | PVC | Finished Water | 1975 | 770.0018
Main Line | 3 | PVC | Finished Water | 1977 | 1863.6427
Main Line | 3 | PVC | Finished Water | 1973 | 19.675
Main Line | 3 | PVC | Finished Water | 1975 | 1291.5272
Main Line | 3 | PVC | Finished Water | 1973 | 2052.9534
Main Line | 3 | PVC | Finished Water | 1975 | 46.5803
Main Line | 3 | PVC | Finished Water | 1975 | 322.6507
Main Line | 3 | PVC | Finished Water | 1975 | 15.6875
Main Line | 3 | PVC | Finished Water | 1973 | 222.2891
Main Line | 3 | PVC | Finished Water | 1973 | 169.2384
Main Line | 3 | PVC | Finished Water | 1975 | 136.8513
Main Line | 3 | PVC | Finished Water | 1975 | 256.4066
Main Line | 3 | PVC | Finished Water | 1975 | 39.4757
Main Line | 3 | PVC | Finished Water | 1973 | 357.2575
Hydrant Line | 3 | PVC | Finished Water | 1973 | 4.7186
Main Line | 3 | PVC | Finished Water | 1977 | 34.3681
Hydrant Line | 3 | PVC | Finished Water | 1973 | 1.9298
Main Line | 3 | PVC | Finished Water | 1973 | 1053.9783
Main Line | 3 | PVC | Finished Water | 1973 | 2634.9949
Main Line | 3 | PVC | Finished Water | 1977 | 942.5908
Main Line | 3 | PVC | Finished Water | 1975 | 8.8308
Main Line | 3 | PVC | Finished Water | 1973 | 1.7957
Main Line | 3 | PVC | Finished Water | 2011 | 4.752
Main Line | 3 | PVC | Finished Water | 1973 | 6.7023
Main Line | 3 | PVC | Finished Water | 1973 | 373.6694
Main Line | 4 | PVC | Finished Water | 1976 | 585.6628
Main Line | 4 | PVC | Finished Water | 1976 | 476.1958
Main Line | 4 | PVC | Finished Water | 1972 | 3727.8882
Main Line | 4 | PVC | Finished Water | 1976 | 585.2073
Main Line | 4 | PVC | Finished Water | 1984 | 1383.9762
Main Line | 4 | PVC | Finished Water | 1976 | 477.0802
Main Line | 4 | PVC | Finished Water | 1976 | 455.8077
Main Line | 4 | PVC | Finished Water | 1968 | 10443.5987
Main Line | 4 | PVC | Finished Water | 1984 | 8024.9467
Main Line | 4 | PVC | Finished Water | 1968 | 4458.7568
Main Line | 4 | PVC | Finished Water | 1976 | 468.7185
Main Line | 4 | PVC | Finished Water | 1976 | 522.3153
Main Line | 4 | PVC | Finished Water | 1973 | 6233.6654
Main Line | 4 | PVC | Finished Water | 1984 | 5036.2866
Main Line | 4 | PVC | Finished Water | 1973 | 1769.1516
Main Line | 4 | PVC | Finished Water | 1992 | 543.1964
Main Line | 4 | PVC | Finished Water | 1973 | 2283.2013
Main Line | 4 | PVC | Finished Water | 1976 | 316.8029
Main Line | 4 | PVC | Finished Water | 1984 | 3533.1842
Main Line | 4 | PVC | Finished Water | 1984 | 1730.0035
Main Line | 4 | PVC | Finished Water | 1991 | 861.607
Main Line | 4 | PVC | Finished Water | 1976 | 617.991
Main Line | 4 | PVC | Finished Water | 1973 | 884.4252
Main Line | 4 | PVC | Finished Water | 1973 | 58.0584
Main Line | 4 | PVC | Finished Water | 1973 | 662.4925
Main Line | 4 | PVC | Finished Water | 1973 | 427.7566
Main Line | 4 | PVC | Finished Water | 2006 | 750.3745
Main Line | 4 | PVC | Finished Water | 2007 | 5967.348
Main Line | 4 | PVC | Finished Water | 1973 | 372.8531
Main Line | 4 | PVC | Finished Water | 1973 | 599.7418
Main Line | 4 | PVC | Finished Water | 1976 | 552.5959
Main Line | 4 | PVC | Finished Water | 1968 | 3935.9722
Main Line | 4 | PVC | Finished Water | 1973 | 7436.0012
Main Line | 4 | PVC | Finished Water | 1976 | 815.1241
Main Line | 4 | PVC | Finished Water | 1973 | 4355.0942
Main Line | 4 | PVC | Finished Water | 1984 | 2952.5601
Main Line | 4 | PVC | Finished Water | 1976 | 514.977
Main Line | 4 | PVC | Finished Water | 1973 | 121.1371
Main Line | 4 | PVC | Finished Water | 2007 | 244.0164
Main Line | 4 | PVC | Finished Water | 2007 | 24.6704
Main Line | 4 | PVC | Finished Water | 1984 | 2432.9741
Main Line | 4 | PVC | Finished Water | 1976 | 160.4715
Hydrant Line | 4 | PVC | Finished Water | 1976 | 17.755
Main Line | 4 | PVC | Finished Water | 1976 | 84.9631
Main Line | 4 | PVC | Finished Water | 1991 | 377.2532
Main Line | 4 | PVC | Finished Water | 2007 | 1755.8253
Main Line | 4 | PVC | Finished Water | 2007 | 1615.1381
Main Line | 4 | PVC | Finished Water | 2007 | 3017.2818
Main Line | 4 | PVC | Finished Water | 1973 | 17.0237
Main Line | 4 | PVC | Finished Water | 1973 | 27.2203
Main Line | 4 | PVC | Finished Water | 1976 | 425.7203
Main Line | 4 | PVC | Finished Water | 1976 | 15.8003
Main Line | 4 | PVC | Finished Water | 1976 | 14.2398
Main Line | 4 | PVC | Finished Water | 1976 | 15.999
Main Line | 4 | PVC | Finished Water | 1976 | 198.7407
Main Line | 4 | PVC | Finished Water | 1973 | 853.688
Main Line | 4 | PVC | Finished Water | 1976 | 39.7118
Main Line | 4 | PVC | Finished Water | 1976 | 36.7306
Main Line | 4 | PVC | Finished Water | 1992 | 857.1204
Main Line | 4 | PVC | Finished Water | 1991 | 689.2294
Main Line | 4 | PVC | Finished Water | 1968 | 6.3609
Main Line | 4 | PVC | Finished Water | 1972 | 1137.4421
Main Line | 4 | PVC | Finished Water | 1976 | 375.7696
Hydrant Line | 4 | PVC | Finished Water | 1973 | 7.8182
Main Line | 4 | PVC | Finished Water | 1973 | 3085.8149
Main Line | 4 | PVC | Finished Water | 1968 | 10.336
Main Line | 4 | PVC | Finished Water | 1973 | 7.6465
Main Line | 4 | PVC | Finished Water | 1973 | 8.3861
Main Line | 4 | PVC | Finished Water | 1973 | 455.6854
Main Line | 4 | PVC | Finished Water | 1973 | 117.5088
Hydrant Line | 4 | PVC | Finished Water | 1975 | 4.3704
Main Line | 4 | PVC | Finished Water | 2011 | 473.3985
Main Line | 4 | PVC | Finished Water | 2011 | 5.7514
Main Line | 4 | PVC | Finished Water | 1973 | 693.9271
Main Line | 4 | PVC | Finished Water | 2006 | 409.2355
Main Line | 4 | PVC | Finished Water | 1975 | 910.1816
Main Line | 4 | PVC | Finished Water | 1984 | 130.9768
Main Line | 4 | PVC | Finished Water | 1973 | 1.4723
Hydrant Line | 4 | PVC | Finished Water | 1973 | 2.3341
Main Line | 4 | PVC | Finished Water | 1973 | 2.2137
Main Line | 6 | PVC | Finished Water | 1987 | 148.025
Main Line | 6 | PVC | Finished Water | 1975 | 329.9845
Main Line | 6 | PVC | Finished Water | 1968 | 2831.4397
Main Line | 6 | PVC | Finished Water | 1973 | 384.2634
Main Line | 6 | PVC | Finished Water | 1988 | 870.3556
Main Line | 6 | PVC | Finished Water | 1973 | 935.2036
Main Line | 6 | PVC | Finished Water | 1987 | 332.5702
Main Line | 6 | PVC | Finished Water | 1973 | 533.0327
Main Line | 6 | PVC | Finished Water | 1968 | 1226.2888
Main Line | 6 | PVC | Finished Water | 1973 | 390.85
Main Line | 6 | PVC | Finished Water | 1997 | 458.0863
Main Line | 6 | PVC | Finished Water | 1987 | 485.0524
Hydrant Line | 6 | PVC | Finished Water | 1968 | 15.9606
Main Line | 6 | PVC | Finished Water | 1973 | 351.3506
Main Line | 6 | PVC | Finished Water | 1973 | 338.4673
Main Line | 6 | PVC | Finished Water | 1973 | 1802.918
Main Line | 6 | PVC | Finished Water | 1973 | 4470.0296
Main Line | 6 | PVC | Finished Water | 1975 | 285.8266
Main Line | 6 | PVC | Finished Water | 1973 | 561.5202
Main Line | 6 | PVC | Finished Water | 1973 | 562.481
Main Line | 6 | PVC | Finished Water | 1973 | 2774.861
Main Line | 6 | PVC | Finished Water | 2006 | 420.3847
Main Line | 6 | PVC | Finished Water | 1987 | 607.3502
Main Line | 6 | PVC | Finished Water | 1973 | 559.5984
Main Line | 6 | PVC | Finished Water | 2009 | 742.5234
Main Line | 6 | PVC | Finished Water | 1973 | 4374.2267
Main Line | 6 | PVC | Finished Water | 1987 | 204.5353
Main Line | 6 | PVC | Finished Water | 2006 | 624.2575
Main Line | 6 | PVC | Finished Water | 1987 | 201.9646
Main Line | 6 | PVC | Finished Water | 1975 | 283.376
Main Line | 6 | PVC | Finished Water | 1997 | 99.2319
Main Line | 6 | PVC | Finished Water | 1973 | 1439.0633
Main Line | 6 | PVC | Finished Water | 1973 | 299.3471
Main Line | 6 | PVC | Finished Water | 1973 | 1090.3716
Main Line | 6 | PVC | Finished Water | 1997 | 459.7843
Main Line | 6 | PVC | Finished Water | 1973 | 241.3661
Main Line | 6 | PVC | Finished Water | 1973 | 296.2516
Main Line | 6 | PVC | Finished Water | 1987 | 600.9604
Main Line | 6 | PVC | Finished Water | 1997 | 357.5065
Main Line | 6 | PVC | Finished Water | 1997 | 240.8119
Main Line | 6 | PVC | Finished Water | 2006 | 304.8222
Main Line | 6 | PVC | Finished Water | 2006 | 438.8598
Main Line | 6 | PVC | Finished Water | 1987 | 235.8287
Main Line | 6 | PVC | Finished Water | 2006 | 373.4255
Main Line | 6 | PVC | Finished Water | 2006 | 427.2994
Main Line | 6 | PVC | Finished Water | 1975 | 266.2784
Main Line | 6 | PVC | Finished Water | 1982 | 859.9256
Hydrant Line | 6 | PVC | Finished Water | 1997 | 269.6123
Main Line | 6 | PVC | Finished Water | 2002 | 4421.44
Main Line | 6 | PVC | Finished Water | 1987 | 674.8941
Main Line | 6 | PVC | Finished Water | 1968 | 3081.3212
Main Line | 6 | PVC | Finished Water | 1987 | 81.0933
Main Line | 6 | PVC | Finished Water | 1987 | 308.7227
Main Line | 6 | PVC | Finished Water | 2006 | 800.5915
Main Line | 6 | PVC | Finished Water | 2006 | 446.7519
Main Line | 6 | PVC | Finished Water | 2006 | 498.3082
Main Line | 6 | PVC | Finished Water | 2006 | 504.8132
Main Line | 6 | PVC | Finished Water | 2006 | 66.1722
Main Line | 6 | PVC | Finished Water | 1987 | 541.3834
Main Line | 6 | PVC | Finished Water | 1975 | 283.0786
Main Line | 6 | PVC | Finished Water | 1987 | 353.9728
Main Line | 6 | PVC | Finished Water | 1973 | 431.1199
Main Line | 6 | PVC | Finished Water | 1973 | 187.2204
Main Line | 6 | PVC | Finished Water | 2002 | 1905.7844
Main Line | 6 | PVC | Finished Water | 1987 | 268.4275
Main Line | 6 | PVC | Finished Water | 1973 | 509.0147
Main Line | 6 | PVC | Finished Water | 1987 | 202.9204
Main Line | 6 | PVC | Finished Water | 1997 | 225.0985
Main Line | 6 | PVC | Finished Water | 2002 | 1473.7673
Main Line | 6 | PVC | Finished Water | 1987 | 271.4
Main Line | 6 | PVC | Finished Water | 1997 | 455.2754
Main Line | 6 | PVC | Finished Water | 2006 | 51.9626
Main Line | 6 | PVC | Finished Water | 2006 | 623.7589
Main Line | 6 | PVC | Finished Water | 2006 | 2099.2538
Main Line | 6 | PVC | Finished Water | 2002 | 1884.9132
Main Line | 6 | PVC | Finished Water | 1987 | 574.2653
Main Line | 6 | PVC | Finished Water | 1997 | 474.302
Hydrant Line | 6 | PVC | Finished Water | 1987 | 288.0279
Main Line | 6 | PVC | Finished Water | 1987 | 141.959
Main Line | 6 | PVC | Finished Water | 1973 | 1095.3799
Main Line | 6 | PVC | Finished Water | 1987 | 741.7138
Main Line | 6 | PVC | Finished Water | 1987 | 356.5945
Main Line | 6 | PVC | Finished Water | 2002 | 996.8012
Main Line | 6 | PVC | Finished Water | 1973 | 367.9839
Main Line | 6 | PVC | Finished Water | 1987 | 172.2923
Main Line | 6 | PVC | Finished Water | 2002 | 1479.4113
Main Line | 6 | PVC | Finished Water | 1973 | 358.1707
Main Line | 6 | PVC | Finished Water | 1973 | 649.8082
Main Line | 6 | PVC | Finished Water | 1975 | 288.8714
Main Line | 6 | PVC | Finished Water | 1975 | 269.3366
Main Line | 6 | PVC | Finished Water | 1975 | 153.2665
Main Line | 6 | PVC | Finished Water | 1968 | 841.7871
Main Line | 6 | PVC | Finished Water | 1973 | 1085.0841
Main Line | 6 | PVC | Finished Water | 1973 | 768.7783
Main Line | 6 | PVC | Finished Water | 1973 | 162.6384
Main Line | 6 | PVC | Finished Water | 1975 | 271.8577
Main Line | 6 | PVC | Finished Water | 1973 | 652.2576
Main Line | 6 | PVC | Finished Water | 1997 | 451.7769
Main Line | 6 | PVC | Finished Water | 1973 | 2717.2032
Main Line | 6 | PVC | Finished Water | 1987 | 194.1066
Main Line | 6 | PVC | Finished Water | 1973 | 807.8478
Main Line | 6 | PVC | Finished Water | 1975 | 139.0943
Main Line | 6 | PVC | Finished Water | 1973 | 212.4086
Main Line | 6 | PVC | Finished Water | 1975 | 286.5166
Main Line | 6 | PVC | Finished Water | 1987 | 203.5402
Main Line | 6 | PVC | Finished Water | 2006 | 333.7379
Main Line | 6 | PVC | Finished Water | 2006 | 631.9187
Main Line | 6 | PVC | Finished Water | 2006 | 314.9248
Main Line | 6 | PVC | Finished Water | 1968 | 2500.814
Main Line | 6 | PVC | Finished Water | 2006 | 300.4186
Main Line | 6 | PVC | Finished Water | 1982 | 665.6153
Main Line | 6 | PVC | Finished Water | 1982 | 40.7347
Main Line | 6 | PVC | Finished Water | 1988 | 732.2239
Main Line | 6 | PVC | Finished Water | 2006 | 410.1806
Main Line | 6 | PVC | Finished Water | 1973 | 2075.4039
Main Line | 6 | PVC | Finished Water | 1973 | 124.7991
Main Line | 6 | PVC | Finished Water | 1987 | 56.0199
Main Line | 6 | PVC | Finished Water | 1987 | 13.3556
Hydrant Line | 6 | PVC | Finished Water | 1987 | 34.6061
Main Line | 6 | PVC | Finished Water | 1973 | 10.3276
Main Line | 6 | PVC | Finished Water | 1997 | 30.48
Main Line | 6 | PVC | Finished Water | 1997 | 158.7111
Main Line | 6 | PVC | Finished Water | 1997 | 224.6339
Main Line | 6 | PVC | Finished Water | 1973 | 45.0024
Main Line | 6 | PVC | Finished Water | 1973 | 10.3426
Main Line | 6 | PVC | Finished Water | 1973 | 8.4316
Main Line | 6 | PVC | Finished Water | 1978 | 433.5455
Main Line | 6 | PVC | Finished Water | 2009 | 9.7068
Hydrant Line | 6 | PVC | Finished Water | 1987 | 10.8296
Main Line | 6 | PVC | Finished Water | 1973 | 39.5254
Main Line | 6 | PVC | Finished Water | 1973 | 13.0097
Main Line | 6 | PVC | Finished Water | 1973 | 14.3049
Main Line | 6 | PVC | Finished Water | 2006 | 19.5254
Main Line | 6 | PVC | Finished Water | 1975 | 8.5161
Main Line | 6 | PVC | Finished Water | 1973 | 572.6703
Main Line | 6 | PVC | Finished Water | 1973 | 249.1059
Main Line | 6 | PVC | Finished Water | 1973 | 44.5305
Main Line | 6 | PVC | Finished Water | 1973 | 248.2696
Main Line | 6 | PVC | Finished Water | 1997 | 214.4724
Main Line | 6 | PVC | Finished Water | 1997 | 169.6932
Main Line | 6 | PVC | Finished Water | 1997 | 104.0387
Main Line | 6 | PVC | Finished Water | 1997 | 353.0895
Main Line | 6 | PVC | Finished Water | 1997 | 332.4613
Main Line | 6 | PVC | Finished Water | 1997 | 423.2327
Hydrant Line | 6 | PVC | Finished Water | 1972 | 20.0139
Hydrant Line | 6 | PVC | Finished Water | 1973 | 6.435
Main Line | 6 | PVC | Finished Water | 1998 | 570.8673
Main Line | 6 | PVC | Finished Water | 1998 | 176.3873
Main Line | 6 | PVC | Finished Water | 1998 | 345.978
Main Line | 6 | PVC | Finished Water | 2006 | 49.7052
Hydrant Line | 6 | PVC | Finished Water | 2006 | 11.64
Main Line | 6 | PVC | Finished Water | 2006 | 25.037
Main Line | 6 | PVC | Finished Water | 2006 | 15.123
Main Line | 6 | PVC | Finished Water | 2006 | 67.1229
Hydrant Line | 6 | PVC | Finished Water | 2005 | 15.0781
Hydrant Line | 6 | PVC | Finished Water | 2005 | 6.0367
Main Line | 6 | PVC | Finished Water | 2006 | 171.2552
Main Line | 6 | PVC | Finished Water | 2002 | 1732.2936
Main Line | 6 | PVC | Finished Water | 2002 | 49.2166
Main Line | 6 | PVC | Finished Water | 2002 | 1922.2484
Hydrant Line | 6 | PVC | Finished Water | 1975 | 21.6919
Main Line | 6 | PVC | Finished Water | 1975 | 27.8353
Main Line | 6 | PVC | Finished Water | 1975 | 10.8797
Main Line | 6 | PVC | Finished Water | 1975 | 2331.8225
Main Line | 6 | PVC | Finished Water | 1975 | 16.1202
Hydrant Line | 6 | PVC | Finished Water | 1973 | 1844.9699
Main Line | 6 | PVC | Finished Water | 2006 | 4.5358
Hydrant Line | 6 | PVC | Finished Water | 1973 | 6.7762
Main Line | 6 | PVC | Finished Water | 1987 | 488.4013
Main Line | 6 | PVC | Finished Water | 1987 | 10.1377
Main Line | 6 | PVC | Finished Water | 1987 | 112.278
Main Line | 6 | PVC | Finished Water | 1973 | 13.4218
Hydrant Line | 6 | PVC | Finished Water | 1987 | 6.5223
Main Line | 6 | PVC | Finished Water | 1975 | 11.57
Main Line | 6 | PVC | Finished Water | 1975 | 11.8442
Hydrant Line | 6 | PVC | Finished Water | 1997 | 3.6839
Main Line | 6 | PVC | Finished Water | 1982 | 951.3697
Main Line | 6 | PVC | Finished Water | 1982 | 12.9349
Main Line | 6 | PVC | Finished Water | 1982 | 831.1601
Main Line | 6 | PVC | Finished Water | 1982 | 12.621
Main Line | 6 | PVC | Finished Water | 2006 | 12.5484
Main Line | 6 | PVC | Finished Water | 1977 | 17.3595
Hydrant Line | 6 | PVC | Finished Water | 1987 | 3.9623
Main Line | 6 | PVC | Finished Water | 1975 | 9.3404
Hydrant Line | 6 | PVC | Finished Water | 1987 | 4.7067
Main Line | 6 | PVC | Finished Water | 1987 | 302.7529
Main Line | 6 | PVC | Finished Water | 1987 | 7.7965
Main Line | 6 | PVC | Finished Water | 1987 | 177.1439
Hydrant Line | 6 | PVC | Finished Water | 1987 | 3.8749
Main Line | 6 | PVC | Finished Water | 2006 | 299.672
Main Line | 6 | PVC | Finished Water | 1987 | 4.1365
Main Line | 6 | PVC | Finished Water | 1987 | 310.6115
Main Line | 6 | PVC | Finished Water | 1973 | 7.2227
Main Line | 6 | PVC | Finished Water | 1987 | 10.0267
Hydrant Line | 6 | PVC | Finished Water | 1991 | 5.7438
Hydrant Line | 6 | PVC | Finished Water | 1991 | 8.9717
Hydrant Line | 6 | PVC | Finished Water | 1992 | 4.6998
Main Line | 6 | PVC | Finished Water | 1982 | 331.5809
Main Line | 6 | PVC | Finished Water | 1982 | 264.6195
Main Line | 6 | PVC | Finished Water | 1968 | 5.296
Main Line | 6 | PVC | Finished Water | 1968 | 2622.2104
Hydrant Line | 6 | PVC | Finished Water | 1997 | 3.3429
Main Line | 6 | PVC | Finished Water | 1973 | 3.2014
Main Line | 6 | PVC | Finished Water | 1975 | 18.0142
Main Line | 6 | PVC | Finished Water | 1987 | 160.3756
Hydrant Line | 6 | PVC | Finished Water | 1973 | 1.8247
Hydrant Line | 6 | PVC | Finished Water | 1973 | 4.1872
Hydrant Line | 6 | PVC | Finished Water | 1973 | 5.402
Hydrant Line | 6 | PVC | Finished Water | 1973 | 6.9363
Main Line | 6 | PVC | Finished Water | 1973 | 1.137
Main Line | 6 | PVC | Finished Water | 1987 | 13.0112
Main Line | 6 | PVC | Finished Water | 1987 | 129.6107
Main Line | 6 | PVC | Finished Water | 1973 | 165.603
Hydrant Line | 6 | PVC | Finished Water | 1973 | 6.7051
Main Line | 6 | PVC | Finished Water | 1982 | 25.182
Hydrant Line | 6 | PVC | Finished Water | 1982 | 1.6964
Main Line | 6 | PVC | Finished Water | 1975 | 11.8593
Main Line | 6 | PVC | Finished Water | 1975 | 882.5968
Main Line | 6 | PVC | Finished Water | 1975 | 817.1689
Hydrant Line | 6 | PVC | Finished Water | 1997 | 1.8839
Hydrant Line | 6 | PVC | Finished Water | 1997 | 17.0698
Hydrant Line | 6 | PVC | Finished Water | 2006 | 6.7784
Hydrant Line | 6 | PVC | Finished Water | 2006 | 0.073919
Hydrant Line | 6 | PVC | Finished Water | 2006 | 3.1857
Main Line | 6 | PVC | Finished Water | 2006 | 48.4087
Hydrant Line | 6 | PVC | Finished Water | 1982 | 0.28605
Hydrant Line | 6 | PVC | Finished Water | 2006 | 6.1579
Main Line | 6 | PVC | Finished Water | 1975 | 15.2948
Main Line | 6 | PVC | Finished Water | 1987 | 194.649
Hydrant Line | 6 | PVC | Finished Water | 1987 | 5.8727
Main Line | 6 | PVC | Finished Water | 1973 | 0.38093
Hydrant Line | 6 | PVC | Finished Water | 1973 | 3.9039
Main Line | 6 | PVC | Finished Water | 1973 | 7.7827
Hydrant Line | 6 | PVC | Finished Water | 1987 | 0.54374
Main Line | 6 | PVC | Finished Water | 1987 | 420.1784
Main Line | 6 | PVC | Finished Water | 1977 | 17.4257
Main Line | 6 | PVC | Finished Water | 1977 | 9.2315
Main Line | 6 | PVC | Finished Water | 1975 | 21.8863
Main Line | 6 | PVC | Finished Water | 1987 | 157.9913
Main Line | 6 | PVC | Finished Water | 1975 | 10.2942
Hydrant Line | 6 | PVC | Finished Water | 2002 | 1.7795
Hydrant Line | 6 | PVC | Finished Water | 1975 | 1.7129
Hydrant Line | 6 | PVC | Finished Water | 1975 | 8.1534
Main Line | 6 | PVC | Finished Water | 1982 | 22.4872
Main Line | 6 | PVC | Finished Water | 1975 | 2554.7299
Main Line | 6 | PVC | Finished Water | 1973 | 326.8516
Hydrant Line | 6 | PVC | Finished Water | 1973 | 4.7222
Main Line | 6 | PVC | Finished Water | 1987 | 13.6796
Main Line | 6 | PVC | Finished Water | 1987 | 10.6554
Main Line | 6 | PVC | Finished Water | 1987 | 14.0894
Hydrant Line | 6 | PVC | Finished Water | 1975 | 4.8863
Main Line | 6 | PVC | Finished Water | 1975 | 59.998
Hydrant Line | 6 | PVC | Finished Water | 1975 | 2.2556
Hydrant Line | 6 | PVC | Finished Water | 1982 | 5.802
Main Line | 6 | PVC | Finished Water | 2002 | 662.6999
Hydrant Line | 6 | PVC | Finished Water | 1982 | 3.0383
Main Line | 6 | PVC | Finished Water | 2006 | 104.3299
Main Line | 6 | PVC | Finished Water | 1987 | 176.751
Hydrant Line | 6 | PVC | Finished Water | 1997 | 3.2933
Hydrant Line | 6 | PVC | Finished Water | 2002 | 2.8769
Hydrant Line | 6 | PVC | Finished Water | 2002 | 2.7188
Main Line | 6 | PVC | Finished Water | 2002 | 0.16931
Main Line | 6 | PVC | Finished Water | 1982 | 26.9124
Main Line | 6 | PVC | Finished Water | 1973 | 57.5922
Hydrant Line | 6 | PVC | Finished Water | 1997 | 2.6025
Hydrant Line | 6 | PVC | Finished Water | 1997 | 3.2808
Hydrant Line | 6 | PVC | Finished Water | 1997 | 2.2272
Hydrant Line | 6 | PVC | Finished Water | 1982 | 3.7007
Hydrant Line | 6 | PVC | Finished Water | 1973 | 6.5213
Main Line | 6 | PVC | Finished Water | 1973 | 330.902
Main Line | 6 | PVC | Finished Water | 1977 | 10.7956
Hydrant Line | 6 | PVC | Finished Water | 2006 | 2.1425
Main Line | 6 | PVC | Finished Water | 2006 | 178.7055
Main Line | 6 | PVC | Finished Water | 1982 | 21.912
Main Line | 6 | PVC | Finished Water | 2006 | 6.5806
Main Line | 6 | PVC | Finished Water | 2006 | 16.2748
Hydrant Line | 6 | PVC | Finished Water | 1973 | 3.1245
Hydrant Line | 6 | PVC | Finished Water | 1968 | 3.0344
Main Line | 6 | PVC | Finished Water | 1973 | 139.8311
Main Line | 6 | PVC | Finished Water | 1973 | 11.3327
Hydrant Line | 6 | PVC | Finished Water | 1982 | 6.5825
Hydrant Line | 6 | PVC | Finished Water | 1973 | 4.3999
Main Line | 6 | PVC | Finished Water | 1973 | 10.5971
Main Line | 6 | PVC | Finished Water | 1973 | 125.9697
Main Line | 6 | PVC | Finished Water | 1997 | 456.4453
Hydrant Line | 6 | PVC | Finished Water | 1997 | 3.0422
Main Line | 6 | PVC | Finished Water | 1975 | 29.9902
Hydrant Line | 6 | PVC | Finished Water | 1976 | 4.7913
Hydrant Line | 6 | PVC | Finished Water | 1976 | 3.2906
Hydrant Line | 6 | PVC | Finished Water | 1976 | 0.16996
Hydrant Line | 6 | PVC | Finished Water | 1976 | 7.8788
Main Line | 6 | PVC | Finished Water | 1975 | 14.2208
Hydrant Line | 6 | PVC | Finished Water | 2006 | 2.257
Main Line | 6 | PVC | Finished Water | 1975 | 17.1274
Main Line | 6 | PVC | Finished Water | 1975 | 3.232
Hydrant Line | 6 | PVC | Finished Water | 0 | 7.2522
Hydrant Line | 6 | PVC | Finished Water | 0 | 4.7084
Hydrant Line | 6 | PVC | Finished Water | 0 | 3.1186
Main Line | 6 | PVC | Finished Water | 0 | 3.0151
Main Line | 6 | PVC | Finished Water | 0 | 2.9461
Main Line | 6 | PVC | Finished Water | 0 | 1.3333
Main Line | 6 | PVC | Finished Water | 0 | 1.2079
Main Line | 6 | PVC | Finished Water | 0 | 3.2631
Main Line | 6 | PVC | Finished Water | 0 | 2.9916
Main Line | 6 | PVC | Finished Water | 2006 | 2.2983
Main Line | 6 | PVC | Finished Water | 1968 | 3.9083
Main Line | 6 | PVC | Finished Water | 1973 | 4.9469
Main Line | 6 | PVC | Finished Water | 1973 | 26.1707
Main Line | 6 | PVC | Finished Water | 2006 | 2.3975
Hydrant Line | 6 | PVC | Finished Water | 2006 | 5.4963
Hydrant Line | 6 | PVC | Finished Water | 1968 | 2.9262
Main Line | 6 | PVC | Finished Water | 2006 | 2.8945
Hydrant Line | 6 | PVC | Finished Water | 1997 | 2.5193
Main Line | 6 | PVC | Finished Water | 2006 | 4.1818
Main Line | 6 | PVC | Finished Water | 1973 | 6.1548
Hydrant Line | 6 | PVC | Finished Water | 1968 | 2.2084
Main Line | 6 | PVC | Finished Water | 1973 | 1322.3278
Hydrant Line | 6 | PVC | Finished Water | 1973 | 4.2543
Hydrant Line | 6 | PVC | Finished Water | 1973 | 3.1033
Main Line | 6 | PVC | Finished Water | 1973 | 10.296
Hydrant Line | 6 | PVC | Finished Water | 1973 | 2.7411
Hydrant Line | 6 | PVC | Finished Water | 1973 | 0.93683
Hydrant Line | 6 | PVC | Finished Water | 1973 | 1.7802
Hydrant Line | 6 | PVC | Finished Water | 2006 | 1.3583
Hydrant Line | 6 | PVC | Finished Water | 2005 | 2.1885
Hydrant Line | 6 | PVC | Finished Water | 2006 | 1.9247
Hydrant Line | 6 | PVC | Finished Water | 2006 | 1.9882
Hydrant Line | 6 | PVC | Finished Water | 2005 | 3.3498
Hydrant Line | 6 | PVC | Finished Water | 2006 | 4.3649
Main Line | 6 | PVC | Finished Water | 1973 | 419.1892
Main Line | 6 | PVC | Finished Water | 2006 | 1.436
Main Line | 6 | PVC | Finished Water | 2006 | 636.7774
Main Line | 6 | PVC | Finished Water | 0 | 1164.9361
Main Line | 6 | PVC | Finished Water | 0 | 1426.9967
Hydrant Line | 8 | PVC | Finished Water | 1968 | 3.6781
Hydrant Line | 8 | PVC | Finished Water | 1968 | 3.2082
Main Line | 10 | PVC | Finished Water | 2010 | 5129.9728
Main Line | 10 | PVC | Finished Water | 2010 | 666.8835
Main Line |  | PVC | Finished Water | 2012 | 1666.6409
Main Line |  | PVC | Finished Water | 2012 | 3440.3796
Main Line |  | PVC | Finished Water | 2012 | 5132.5437
Main Line |  | PVC | Finished Water | 2012 | 1372.3466
Main Line |  | PVC | Finished Water | 2012 | 1530.8926
Main Line |  | PVC | Finished Water | 0 | 8.5317
Main Line |  | PVC | Finished Water | 0 | 7.1737
Main Line |  | PVC | Finished Water | 2012 | 8.4474
Main Line |  | PVC | Finished Water | 2012 | 781.0666
Main Line |  | PVC | Finished Water | 0 | 1.5073
Main Line |  | PVC | Finished Water | 0 | 1.0864
Main Line |  | PVC | Finished Water | 2012 | 1624.1745
Main Line |  | PVC | Finished Water | 0 | 3.8065
Main Line |  | PVC | Finished Water | 0 | 3.0542
Main Line |  | PVC | Finished Water | 0 | 1.4204
Main Line |  | PVC | Finished Water | 0 | 2.2567
Main Line |  | PVC | Finished Water | 0 | 1.2553
Main Line |  | PVC | Finished Water | 2012 | 429.394
Main Line |  | PVC | Finished Water | 2012 | 579.1995
Main Line |  | PVC | Finished Water | 2012 | 349.4479
Main Line |  | PVC | Finished Water | 2012 | 148.8451
Main Line |  | PVC | Finished Water | 2012 | 8.6872
Main Line |  | PVC | Finished Water | 0 | 2.7713
Main Line |  | PVC | Finished Water | 0 | 2.4962
Main Line |  | PVC | Finished Water | 2012 | 1287.6597
Main Line |  | PVC | Finished Water | 2012 | 2.4205
Main Line |  | PVC | Finished Water | 2012 | 1.9968
Main Line |  | PVC | Finished Water | 2012 | 1252.8095
Main Line |  | PVC | Finished Water | 0 | 736.4535
Main Line |  | PVC | Finished Water | 0 | 1.8777
Main Line |  | PVC | Finished Water | 0 | 10.9518
Main Line |  | PVC | Finished Water | 0 | 6.4393
Main Line |  | PVC | Finished Water | 0 | 2.7473
Main Line |  | PVC | Finished Water | 0 | 1.4005
Main Line |  | PVC | Finished Water | 0 | 0.58275
Main Line |  | PVC | Finished Water | 0 | 18.1861
Main Line |  | PVC | Finished Water | 0 | 5.8432
Main Line |  | PVC | Finished Water | 0 | 1.6725
Main Line |  | PVC | Finished Water | 2012 | 395.3389
Main Line |  | PVC | Finished Water | 0 | 6.1666
Main Line |  | PVC | Finished Water | 0 | 4.2709
Main Line |  | PVC | Finished Water | 2012 | 1.9293
Main Line |  | PVC | Finished Water | 2012 | 1633.8743
Main Line |  | PVC | Finished Water | 0 | 0.71321
Main Line |  | PVC | Finished Water | 0 | 13.1587
Main Line |  | PVC | Finished Water | 0 | 2199.5396
Main Line |  | PVC | Finished Water | 0 | 203.4586
Main Line |  | PVC | Finished Water | 2012 | 65.5426
Main Line |  | PVC | Finished Water | 2012 | 8.1933
Main Line |  | PVC | Finished Water | 0 | 5.4624
Main Line |  | PVC | Finished Water | 0 | 365.9684
Main Line |  | PVC | Finished Water | 0 | 1282.6376
Main Line |  | PVC | Finished Water | 0 | 206.2782
Main Line |  | PVC | Finished Water | 0 | 131.0725
Main Line |  | PVC | Finished Water | 0 | 1271.6258
Main Line |  | PVC | Finished Water | 0 | 1271.6258
Main Line |  | PVC | Finished Water | 0 | 10.807
Main Line |  | PVC | Finished Water | 0 | 8.2633
Main Line |  | PVC | Finished Water | 0 | 2.6646
Main Line |  | PVC | Finished Water | 0 | 5.042
Main Line |  | PVC | Finished Water | 0 | 2.8803
Main Line |  | PVC | Finished Water | 0 | 2.2894
Main Line |  | PVC | Finished Water | 0 | 3.9584
Main Line |  | PVC | Finished Water | 0 | 2.5313
Main Line |  | PVC | Finished Water | 0 | 11.3501
Main Line |  | PVC | Finished Water | 0 | 5.1554
Main Line |  | PVC | Finished Water | 0 | 3.9619
Main Line |  | PVC | Finished Water | 0 | 3.4174
Main Line |  | PVC | Finished Water | 0 | 4.1314
Main Line |  | PVC | Finished Water | 0 | 5.7657
Main Line |  | PVC | Finished Water | 0 | 4.8649
Main Line |  | PVC | Finished Water | 0 | 3.6634
Main Line |  | PVC | Finished Water | 0 | 28.26
Main Line |  | PVC | Finished Water | 0 | 7.9227
Main Line |  | PVC | Finished Water | 0 | 6.5935
Main Line |  | PVC | Finished Water | 0 | 5.7672
Main Line |  | PVC | Finished Water | 0 | 4.5114
Main Line |  | PVC | Finished Water | 0 | 2.1341
Main Line |  | PVC | Finished Water | 0 | 1783.5934
Main Line |  | PVC | Finished Water | 0 | 30.4724
Main Line |  | PVC | Finished Water | 0 | 215.6536
Main Line |  | PVC | Finished Water | 0 | 70.5943
Main Line |  | PVC | Finished Water | 0 | 6.5729
Main Line |  | PVC | Finished Water | 0 | 5.7592
Main Line |  | PVC | Finished Water | 0 | 1.1937
Main Line |  | PVC | Finished Water | 0 | 4649.4731
Main Line |  | PVC | Finished Water | 0 | 411.876
Main Line |  | PVC | Finished Water | 0 | 1099.0275
Main Line |  | PVC | Finished Water | 0 | 2440.5541
Main Line |  | PVC | Finished Water | 0 | 1638.6588
Main Line |  | PVC | Finished Water | 0 | 67.8667
Main Line |  | PVC | Finished Water | 0 | 181.8491
Main Line |  | PVC | Finished Water | 0 | 1206.1173
Main Line |  | PVC | Finished Water | 0 | 666.7799
Main Line |  | PVC | Finished Water | 0 | 929.3523
Main Line |  | PVC | Finished Water | 0 | 7555.1232
Main Line |  | PVC | Finished Water | 0 | 36.7378
Main Line |  | PVC | Finished Water | 0 | 25.7353
Main Line |  | PVC | Finished Water | 0 | 1790.2269
Main Line |  | PVC | Finished Water | 0 | 40.5298
Main Line |  | PVC | Finished Water | 0 | 13.1771
Main Line |  | PVC | Finished Water | 0 | 84.5062
Main Line |  | PVC | Finished Water | 0 | 70.5943