## Sheet1
Comparison of Alternatives
|  | Alternative 1 | Alternative 2 | Alternative 3 | Alternative 4
|  | AMI Proactive Deployment | AMI Reactive Deployment | SCM+ Proactive Deployment | SCM+ Reactive Deployment | Reference
Impact
Customer Impact ($M) (NPV) |  | -39.3 | -28.7 | 57 | 52.4 | Figure LMK-2 and Exhibit LMK-1
TRC Test |  | 2.78 | 2.21 | 0 | 0 | Figure LMK-2 and Exhibit LMK-1
Technology
Two-way Communication |  | ü | ü | û | û | Blankenship-4:5
| Obviate the Need for Manual or Drive By Readings | ü | ü | û | û | Blankenship-8;12
| Receive Information Back from the AMI Meters for Expansive Insight into the System | ü | ü | û | û | Blankenship-8
Deployment
Targeted Based on Economies of Scale |  | ü | û | ü | û | Blankenship-6
Customer Benefits
Improved Reliability |  | ü | ü | û | û | Blankenship-10:11
| Immediate Detection of Power Interruption | ü | ü | û | û | Blankenship-8;10
| Proactively Equipment Failure Prediction Before Failure Causes an Outage | ü | ü | û | û | Blankenship-10
Improved Service Reconnections (Near Real Time) |  | ü | ü | û | û | Blankenship-9
| Better Storm Response Due to Pinpoint Outage Detection | ü | ü | û | û | Blankenship-8;11
Enhanced Customer Service |  | ü | ü | û | û | Cobern-13:14
Enhanced Customer Engagement Platform |  | ü | ü | û | û | Cobern-7:12
| Personalized High Bill Alerts | ü | ü | û | û | Cobern-9;11
| Weekly Energy Alerts (Email Required) | ü | ü | û | û | Cobern-11
| Enhanced Home Energy Analysis Audit | ü | ü | û | û | Cobern-9:10
| Enhanced Bill Comparison | ü | ü | û | û | Cobern-9
| Highest Use Day | ü | ü | û | û | Cobern-10
35,000 Data Points a Year for Each Customer |  | ü | ü | û | û | Cobern-13
Increased Customer (and First Responders) Protection During an Emergency |  | ü | ü | û | û | Blankenship-9:10
Ability to "Self" Monitor and Report Meter Health - Improved Power Quality and Voltage to Customers |  | ü | ü | û | û | Blankenship-11
Enhanced Detection of Meter Failure or Damage |  | ü | ü | û | û | Blankenship-10
Operational Benefits
Reduced Truck Rolls |  | ü | ü | û | û | Blankenship-8
| Improved Company and Contractor Safety | ü | ü | û | û | Blankenship-13:14
Mitigate Tamper and Theft |  | ü | ü | û | û | Blankenship-9
Infrastructure Synergies Such as Volt/VAR Optimization |  | ü | ü | û | û | Blankenship-12
More Accurate Meter Readings |  | ü | ü | û | û | Blankenship-13