## Standard Events
[1] Primary Power Down
[2] Primary Power Up
[3] Time Changed - Old Time- Time tag if used equals old time.
[4] Time Changed - New Time- Time tag if used equals new time.
[7] End Device Accessed for Read
[11] End Device Programmed
[12] Communication Terminated Normally
[13] Communication Terminated Abnormally
[14] Reset List Pointers- LIST(INT8) defined in procedure 4
[15] Update List Pointers- LIST (UINT8) defined in procedure 5
[16] History Log Cleared
[17] History Log Pointers Updated- Value of Procedure Parameter (UINT16)
[18] Event Log Cleared
[19] Event Log Pointers Updated- Value of Procedure Parameter (UINT16)
[20] Demand Reset Occurred
[21] Self Read Occurred
[22] Daylight Saving Time On
[23] Daylight Saving Time Off
[24] Season Change- New Season Number (UINT8)
[25] Rate Change- New Tier drive (UINT8).
[26] Special Schedule Activation- New Special Schedule (UINT8).
[27] Tier Switch / Change- New Current Tier (UINT8).
[28] Pending Table Activated- Table number (TABLE_IDA_BFLD).
[29] Pending Table Activation Cleared- Table number (TABLE_IDA_BFLD). Table removed from end device prior to activation.
[32] Test Mode Started
[33] Test Mode Stopped
[36] End Device Reprogrammed
[37] Configuration Error Detected
[38] Self Check Error Detected
[39] RAM Failure Detected
[40] ROM Failure Detected
[41] Nonvolatile Memory Failure Detected
[42] Clock Error Detected- Enter standby mode due to clock error.
[43] Measurement Error Detected
[46] Demand Overload Detected- Parameter: has a parameter bits set for demand channels on which demand overload is detected. First bit will be set on first channel demand overload.
[47] Tamper Attempt Detected
[48] Reverse Rotation Detected
[56] End Device Sealed
[57] End Device Unsealed

## Manufacturer Events
[0] Authentication Enabled- MFG event 0: C12.21 two-way session-level authentication is enabled
[1] Log On Failure- MFG event 1: Meter Log On failure. The parameter designates which channel (1 = Optical or 0 = Remote) on which the failure occurred
[2] Voltage Sag or Swell Started or Stopped- MFG event 2: voltage sag or swell started or stopped. First byte shows stop bits for sag and swell on all 3 phases. Second byte shows start bits for sag and swell on all 3 phases.
[3] Temperature Threshold Exceeded Error- MFG event 3: Temperature Threshold Exceeded Error. If the instantaneous temperature value in "MFG Table 34 - Gyrbox Data and Instantaneous Measurements" (TEMPERATURE) exceeds the user temperature error threshold in "MFG Table 26 - Thresholds" (USER_TEMPERATURE_ERROR_THRESHOLD), and MFG error 6 in STD table 3 (the "User programmable temperature threshold exceeded error") is not set, then the error in STD table 3 is set, and MFG event 3 (the "Temperature Threshold Exceeded Error") is generated. This is checked every minute at 50 seconds after the start of the minute. As such, once the error is set, this event parameter won't occur again until the error (MFG error 6) is cleared.
[4] Excessive Leading Current- MFG event 4: Indicates conditions were detected that are consistent with magnetic/DC tamper
[5] Enter/Exit Real Time Rate- MFG event 5: Enter/Exit real time rate
[6] Cold Start- MFG event 6: Cold Start
[7] Unauthorized Request- MFG Event 7: Unauthorized Request
[8] Meter Flash- MFG event 8: Meter Flash Event
[10] Overheat Warning- MFG event 10:At 50 seconds after the start of every minute, if the Compensated temperature exceeds the currently active threshold (Overheat Night/Day Warning Threshold ) then this event is generated . Once set, the event will not be generated again until the error is cleared by issuing Std procedure 8 (Clear Manufacturer Status Flags).
[11] Standby Exit- MFG event 11: Standby Mode Exited
[12] Meter FW Image Verification- MFG event 12: Meter FW Image Verification Event.
[13] Meter Upgrade- MFG event 13: Meter upgrade (LP, etc.) event
[14] End Device Programming Started- MFG event 14: A configuration table was written initiating meter programming. Refer to MISC_ID in Std. Table 6 for more information regarding the meter's config ID and this event.
[15] Tilt Detected- MFG event 15: has a parameter that is either (1) tilt detected on meter removal or (2) tilt detected on meter insertion
[16] VHoldUp Event Detected- MFG event 16: Loss of DC to the Application processor. This event has no parameter.
[17] Flash Pointers Corrupted- MFG event 17: Flash pointers have been corrupted. All firmware images in the meter are invalid.
[18] Meter ROM Verification- MFG event 18: Meter ROM verification Event
[19] Arm seal bit cleared due to tamper- MFG event 19: The meter cleared the arm seal bit since the cover was removed during power down and the meter was armed to seal.
[20] Enter Factory Mode- MFG event 20: Meter entered factory mode.
[21] Exit Factory Mode- MFG event 21: Meter exited factory mode.
[22] Overheat Alarm- MFG event 22: At 50 seconds after the start of every minute, if the Compensated temperature exceeds the currently active threshold (Overheat Night/Day Alarm Threshold ) then this event is generated. Once set, the event will not be generated again until the error is cleared by issuing Std procedure 8 (Clear Manufacturer Status Flags).
[23] Expected Sequence Number- MFG event 23: This event contains the expected sequence number of the restored backup on power up.
[24] Actual Sequence Number- MFG event 24: This event contains the actual sequence number from the restored backup.
[25] Unused Mfg event 25- MFG event 25: This event is deprecated in Revelo firmware versions 1.02 and later.
[26] Cover Was Installed- MFG event 26: This event occurs when the cover is installed.
[27] Cover Was Removed- MFG event 27: This event occurs when the cover is removed.
[28] L5/AMR Security Is Disabled By Programming- MFG event 28: L5/AMR Security is disabled by programming.
[29] L5/AMR Security Is Re-enabled By Under-Cover Switch Sequence (Menu Mode)- MFG event 29: L5/AMR Security is re-enabled by under-cover switch sequence (menu mode).
[30] Disable OPT Port LOCKOUT via MFG Procedure 19- MFG event 30: Disable OPT port LOCKOUT via MFG procedure 19.
[31] Disable OPT Port Demotion via MFG Procedure 22- MFG event 31: Disable OPT port demotion via MFG procedure 22.
[32] Warm Start- MFG event 32: A Warm Start procedure was sent to restart the meter, or a warm start was triggered from the menu system.
[33] Power Down Cover Removal- MFG event 33: Indicates the most recent power down cover removal event that has occurred since the last check and contains its sequence number.
[34] Service Disconnect Operation- MFG event 40: Triggered on a "Service Disconnect Switch Error (LS Volt.)" error. An event parameter will distinguish the particular situation-- low load side voltage when the switch was last commanded closed, or load side voltage present when the switch was last commanded open. 1132Com will interpret the parameter and include its description in the event name appearing in the report. The load side voltage is monitored continuously; this event will be triggered at any time the load side voltage is not consistent with the last commanded switch state. Additionally the event will be triggered with an appropriate event parameter when the error is cleared because load side voltage became consistent with the last commanded switch state.
[35] Service Disconnect Operation Error- MFG event 35:Triggered on a "Service Disconnect Switch Error (LS Volt.)" error. An event parameter will distinguish the particular situation: low load side voltage when the switch was last commanded closed, or load side voltage present when the switch was last commanded open. 1132Com will interpret the parameter and include its description in the event name appearing in the report. The load side voltage is monitored continuously; this event will be triggered at any time the load side voltage is not consistent with the last commanded switch state. Additionally the event will be triggered with an appropriate event parameter when the error is cleared because load side voltage became consistent with the last commanded switch state.
[36] Energy Registers Modified- MFG event 36:The Current Register Data table (STD Table 23) was written, either directly or using the "Preload Energy Values" option in 1132Com.
[37] Power Down Cover Installed- MFG event 37: Indicates the most recent power down cover installed event that has occurred since the last check and contains its sequence number.
[40] Orientation Change- MFG event 40: Orientation change to be added along with parameter information of Roll, Pitch and Yaw values from Mfg table 34.
[41] EIC Data Link Error Change- MFG event 41: This event occurs when the EIC USB Link Error changes indicating EIC data streaming has been halted for greater than 2 minutes or has been restored.
[42] Accelerometer Communication Error- MFG event 42: This event will take place if the number of accelerometer communication errors per day reaches to value 255 and it stops further incrementing. The number of accelerometer communication error is incremented with each accelerometer communication error.
[43] Digest Event Started- MFG event 43: This event will occur when the occurrence of particular event exceeds the number of EVENT_FLOOD_COUNTS_THRESHOLD within a EVENT_FLOOD_TIME_THRESHOLD.
[44] Digest Event Stopped- MFG event 44: This event will occur when the occurrence of particular event less than the number of EVENT_FLOOD_COUNTS_THRESHOLD within a EVENT_FLOOD_TIME_THRESHOLD.
[45] Pending Table Activation Error- MFG event 45: This event will occur when a pending table write fails due to table access lockout by another PSEM session.
[46] Critical RAM Block Error- MFG event 46: This event will occur when the checksum on the Critical RAM Block fails to match the expected checksum.
[47] Meter Location Coordinates Written- >MFG event 47: This event will occur when there is a change in any of the meter location parameters in STD Table 6, namely latitude (COORDINATE_1), longitude (COORDINATE_2), or COORDINATE_3.

## Load Profile Recording Channels
Load Profile recorder 1 and 2 each support up to 16 channels of load profile data (total of 32 channels if both recorders set to 16 channels.) The number of channels is programmable. The metric for each load profile channel is selectable with 1132Prog and may be different from the additional metric used elsewhere for energy and demand calculation. Each channel has a configuration byte defining its selected metric. All calculations are based on the meter's internal pulse constant. (Not to be confused with the calibration LED pulse constant.) These configuration bytes may be read out. The metrics available are as follows (all channels must use the same interval lengths within each of the two recorders):