## DEK SOG Status
SOG Year | Feeder | SOG Status | Notes
N/A | Aero 31 | Not Eligible | Dedicated feeder with 1/customer
N/A | Aero 33 | Not Eligible | Dedicated feeder with 1/customer | Classification | Circuit Count | Percent | Percent of Eligible at Meets SOG Now
N/A | Aero 35 | Not Eligible | Dedicated feeder with 1/customer | (a) Meets SOG now | 58 | 37.42% | 43.94%
N/A | Aero 36 | Not Eligible | Dedicated feeder with 1/customer | (b) Will Meet SOG in future | 46 | 29.68%
N/A | Aero 37 | Not Eligible | Dedicated feeder with 1/customer | (c) Not Eligible for SOG | 23 | 14.84%
N/A | Aero 38 | Not Eligible | Dedicated feeder with 1/customer | (d) Impractical to implement SOG | 11 | 7.097%
N/A | Aero 41 | Not Eligible | All UG | (e) Still Evaluating | 17 | 10.97%
N/A | Aero 42 | Not Eligible | All UG | Total circuits (a+b+c+d+e) | 155 | 100%
N/A | Aero 43 | Not Eligible | All UG
N/A | Aero 44 | Not Eligible | All UG
2029 | ALEXANDRIA SOUTH 41 | Will meet | T-Pole underbuilld postponed
2029 | ATLAS 41 | Meets
2025 | AUGUSTINE 41 | Will meet |  | Circuit Count By Year | Total SOG
2025 | AUGUSTINE 42 | Will meet |  | 2019 | 2
2025 | AUGUSTINE 43 | Will meet |  | 2020 | 1
2025 | AUGUSTINE 44 | Will meet |  | 2021 | 0
2025 | AUGUSTINE 45 | Will meet |  | 2022 | 17
2024 | AUGUSTINE 46 | Meets |  | 2023 | 12
2024 | Beaver 41 | Meets |  | 2024 | 15
2024 | Beaver 42 | Meets |  | 2025 | 20
2026 | BELLEVUE 41 | Will meet |  | 2026 | 15
2026 | BELLEVUE 42 | Will meet |  | 2027 | 12
2026 | BELLEVUE 43 | Will meet |  | 2028 | 13
2026 | BELLEVUE 44 | Will meet |  | 2029 | 14
2022 | BUFFINGTON 41 | Meets |  | Total | 121
2027 | BUFFINGTON 42 | Will meet
2027 | BUFFINGTON 43 | Will meet
2022 | BUFFINGTON 44 | Meets
2022 | BUFFINGTON 45 | Meets
2027 | BUFFINGTON 46 | Will meet
2022 | BUFFINGTON 47 | Meets
2024 | CLARYVILLE 41 | Meets
N/A | CLARYVILLE 42 | Impractical | Impractical to SOG. Too few adjacent circuits.
N/A | CLARYVILLE 43 | Impractical | Impractical to SOG. Handful of industrial customers.
N/A | COLD SPRING 41 | Impractical | T-Pole construction issues.
2024 | COLD SPRING 42 | Meets
2024 | COLD SPRING 49 | Meets
2019 | Constance 41 | Meets
2019 | Constance 42 | Meets
N/A | Constance 43 | Not Eligible | All UG
2022 | Constance 44 | Meets
N/A | Constance 45 | Not Eligible | Dedicated feeder with 1/customer
2028 | COVINGTON KY 41 | Still Evaluating | new transformer bank being installed, plan TBD
2028 | COVINGTON KY 42 | Still Evaluating | new transformer bank being installed, plan TBD
2028 | COVINGTON KY 43 | Still Evaluating | new transformer bank being installed, plan TBD
2028 | COVINGTON KY 44 | Still Evaluating | new transformer bank being installed, plan TBD
2023 | CRESCENT 41 | Meets
2023 | CRESCENT 42 | Meets
2023 | CRESCENT 43 | Meets
2023 | CRESCENT 44 | Meets
N/A | CRESCENT 45 | Impractical | Impractical to SOG. Extensive single-phase residential primary.
2029 | CRESCENT 46 | Still Evaluating
2025 | CRITTENDEN 41 | Will meet
2025 | CRITTENDEN 42 | Will meet
2024 | DAYTON 41 | Meets | Reclosers installed in 2024
2024 | DAYTON 42 | Meets | Reclosers installed in 2024
2024 | DAYTON 43 | Meets
2025 | DECOURSEY 41 | Will meet | Will meet SOG requirements when split as Taylor Mill 41 & 42.
2029 | Dixie 41 | Will meet | Can possibly be added to SHT in 2029
2029 | Dixie 42 | Meets | Team 55 no longer exists; More devices can be added to create more ties. Could be put on team with Mt. Zion 43 & 42 for now
2029 | Dixie 43 | Meets
2029 | Dixie 44 | Will meet | Can possibly be added to SHT in 2029
2029 | Dixie 45 | Will meet | Can possibly be added to SHT in 2029
2029 | Dixie 46 | Will meet | Can possibly be added to SHT in 2029
2028 | DONALDSON 41 | Meets
2028 | DONALDSON 42 | Still Evaluating
2022 | DONALDSON 43 | Meets
2022 | DONALDSON 44 | Meets
2022 | DONALDSON 45 | Meets
2022 | DONALDSON 46 | Meets
2022 | DONALDSON 47 | Meets
2022 | DONALDSON 48 | Meets
2028 | DRY RIDGE 41 | Still Evaluating
2028 | DRY RIDGE 42 | Still Evaluating
2028 | DRY RIDGE 43 | Still Evaluating
2026 | Empire 41 | Meets
N/A | Empire 42 | Not Eligible | Dedicated feeder with 1/customer
N/A | Florence 41 | Not Eligible | All UG
2022 | Florence 42 | Meets
N/A | Florence 43 | Not Eligible | All UG
2022 | Florence 44 | Meets
2022 | Florence 45 | Meets
2028 | Florence 46 | Will meet | May be able to add another device for improved segmentation
2022 | Florence 47 | Meets
2029 | GRANT 41 | Still Evaluating
N/A | GRANT 42 | Not Eligible | Essentially a bus-tie between TB1 & TB2
N/A | GRANT 43 | Not Eligible | Dedicated feeder with 1/customer
2024 | HANDS 41 | Meets | Reclosers installed in 2024
2024 | HANDS 42 | Meets
2024 | HANDS 43 | Meets
2024 | HANDS 44 | Meets
2024 | HANDS 45 | Meets | Reclosers installed in 2024
2024 | Hebron 41 | Meets
N/A | Hebron 42 | Impractical | Device being installed currently to SOG circuit. Only ties are to Hebron 41 and Limaburg 42 which are both on team 36 (Large Team)
N/A | Hebron 43 | Not Eligible | Almost all UG
N/A | Hebron 44 | Not Eligible | All UG
2020 | Hebron 45 | Meets
2027 | KENTON 41 | Will meet
2027 | KENTON 42 | Will meet
N/A | KENTON 43 | Impractical | Impractical to SOG. Too few adjacent circuits.
2027 | KENTON 44 | Will meet
2027 | KENTON 45 | Will meet
2027 | KENTON 46 | Will meet
N/A | KY UNIV 41 | Not Eligible | Dedicated feeder with 1/customer
N/A | KY UNIV 42 | Impractical | Impractical to SOG. Extensive single-phase residential primary.
N/A | KY UNIV 43 | Impractical | Impractical to SOG. Extensive single-phase residential primary.
N/A | KY UNIV 44 | Not Eligible | All UG
N/A | KY UNIV 45 | Not Eligible | Dedicated feeder with 1/customer
2023 | Limaburg 41 | Meets
2023 | Limaburg 42 | Meets
N/A | Limaburg 43 | Not Eligible | Dedicated feeder with 1/customer
2027 | Longbranch 41 | Will meet
2027 | Longbranch 42 | Will meet
2027 | Longbranch 43 | Meets
2027 | Longbranch 44 | Will meet
N/A | MARSHALL 41 | Impractical | Impractical to SOG. Extensive single-phase residential primary.
2025 | Mt Zion 41 | Will meet | Can possibly be added to SHT in 2025
2025 | Mt Zion 42 | Meets | Can possibly be added to SHT in 2025 or be put on team with Dixie 42 and Mt Zion 43 for now
2025 | Mt Zion 43 | Will meet | Can possibly be added to SHT in 2025 or be put on team with Dixie 42 and Mt Zion 42 for now
N/A | Mt Zion 44 | Impractical | Most of Feeder is through ROW with no way to add Vipers feasibly. Would only need 1 Viper to segment, but no accessible location to add one
2022 | Oakbrook 41 | Meets
2022 | Oakbrook 42 | Meets
2023 | Richwood 41 | Meets
2023 | Richwood 42 | Meets
2023 | Richwood 43 | Meets
2029 | Richwood 44 | Still Evaluating | New Feeder, Not yet cut in
2029 | SILVER GROVE 41 | Still Evaluating
2029 | SILVER GROVE 42 | Still Evaluating
2029 | SILVER GROVE 43 | Still Evaluating
2026 | THOMAS MORE 41 | Meets | Currently working through potential Co-Gen setup with St. E's
2026 | THOMAS MORE 42 | Will meet
2026 | VERONA 41 | Will meet
2026 | VERONA 42 | Will meet
2028 | VERONA 43 | Still Evaluating | N.O. ties planned, may just need a single recloser fully SOG
2025 | VILLA 41 | Meets
2025 | VILLA 42 | Meets
2025 | VILLA 43 | Meets
2025 | VILLA 44 | Will meet
2028 | WEST END 1524 | Still Evaluating
2028 | WEST END 41 | Still Evaluating
2023 | WHITE TOWER 41 | Meets
2023 | WHITE TOWER 42 | Meets
2023 | WHITE TOWER 43 | Meets
N/A | WILDER 40 | Impractical | Impractical to SOG. Circuit has maineline underground.
2025 | WILDER 41 | Will meet
2025 | WILDER 42 | Will meet
2025 | WILDER 43 | Will meet
2026 | WILDER 44 | Will meet
2026 | WILDER 45 | Will meet
2025 | WILDER 46 | Will meet
2026 | WILDER 47 | Will meet
2025 | WILDER 48 | Will meet
2026 | YORK 41 | Will meet
2026 | YORK 42 | Will meet
2026 | YORK 43 | Will meet