open branch from bus '7ALCALDE 345.0' to bus '5ALCALDE 161.0' ckt 1 / 324100 7ALCALDE 345 324130 5ALCALDE 161 1
open branch from bus '5PINEVILLE 1 161.0' to bus '5PINEVILE SW 161.0' ckt 1 / 324155 5PINEVILLE 1 161 324156 5PINEVILE SW 161 1
end
contingency "P6:2353" / 1327 N11_Vdrop
open branch from bus '5COOPER2 161.0' to bus '5DENNY 161.0' ckt 1 / 342718 5COOPER2 161 342727 5DENNY 161 1
open branch from bus '5DENNY 161.0' to bus '2DENNY 69.00' ckt 1 / 342727 5DENNY 161 341392 2DENNY 69.0 1
open branch from bus '5ALCALDE 161.0' to bus '5ELIHU 161.0' ckt 1 / 324130 5ALCALDE 161 324141 5ELIHU 161 1
open branch from bus '5ELIHU 161.0' to bus '5COOPER2 161.0' ckt 1 / 324141 5ELIHU 161 342718 5COOPER2 161 1
open branch from bus '5ELIHU 161.0' to bus '2ELIHU 69.00' ckt 1 / 324141 5ELIHU 161 324514 2ELIHU 69.0 1
open branch from bus '5ELIHU 161.0' to bus '2ELIHU 69.00' ckt 2 / 324141 5ELIHU 161 324514 2ELIHU 69.0 2
end
contingency "P6:12979" / 1328 N11_Vdrop
open branch from bus '5ALCALDE 161.0' to bus '5ELIHU 161.0' ckt 1 / 324130 5ALCALDE 161 324141 5ELIHU 161 1
open branch from bus '5ELIHU 161.0' to bus '5COOPER2 161.0' ckt 1 / 324141 5ELIHU 161 342718 5COOPER2 161 1
open branch from bus '5ELIHU 161.0' to bus '2ELIHU 69.00' ckt 1 / 324141 5ELIHU 161 324514 2ELIHU 69.0 1
open branch from bus '5ELIHU 161.0' to bus '2ELIHU 69.00' ckt 2 / 324141 5ELIHU 161 324514 2ELIHU 69.0 2
open branch from bus '5COOPER2 161.0' to bus '5DENNY 161.0' ckt 1 / 342718 5COOPER2 161 342727 5DENNY 161 1
open branch from bus '5DENNY 161.0' to bus '2DENNY 69.00' ckt 1 / 342727 5DENNY 161 341392 2DENNY 69.0 1
end
contingency "P6:1057" / 1329 N11_Vdrop
open branch from bus '2GRENSBRG KU 69.00' to bus '2GREEN CO 69.00' ckt 1 / 324554 2GRENSBRG KU 69.0 341563 2GREEN CO 69.0 1
open branch from bus '2GRENSBRG KU 69.00' to bus '2CAMPBELV EK 69.00' ckt 1 / 324554 2GRENSBRG KU 69.0 324830 2CAMPBELV EK 69.0 1
open branch from bus '2GR RVR PLAZ 69.00' to bus '2CAMPBELV EK 69.00' ckt 1 / 324557 2GR RVR PLAZ 69.0 324830 2CAMPBELV EK 69.0 1
open branch from bus '2GR RVR PLAZ 69.00' to bus '2CAMPBELVIL1 69.00' ckt 1 / 324557 2GR RVR PLAZ 69.0 324829 2CAMPBELVIL1 69.0 1
open branch from bus '2MILE LAN TP 69.00' to bus '2CAMPBELVIL1 69.00' ckt 1 / 324641 2MILE LAN TP 69.0 324829 2CAMPBELVIL1 69.0 1
open branch from bus '2MILE LAN TP 69.00' to bus '2MILE LAN EK 69.00' ckt 1 / 324641 2MILE LAN TP 69.0 326970 2MILE LAN EK 69.0 1
open branch from bus '2MILE LAN TP 69.00' to bus '2TAYLOR CO 69.00' ckt 1 / 324641 2MILE LAN TP 69.0 324751 2TAYLOR CO 69.0 1
open branch from bus '5ALCALDE 161.0' to bus '5ELIHU 161.0' ckt 1 / 324130 5ALCALDE 161 324141 5ELIHU 161 1
open branch from bus '5ELIHU 161.0' to bus '5COOPER2 161.0' ckt 1 / 324141 5ELIHU 161 342718 5COOPER2 161 1
open branch from bus '5ELIHU 161.0' to bus '2ELIHU 69.00' ckt 1 / 324141 5ELIHU 161 324514 2ELIHU 69.0 1
open branch from bus '5ELIHU 161.0' to bus '2ELIHU 69.00' ckt 2 / 324141 5ELIHU 161 324514 2ELIHU 69.0 2
end
contingency "P6:12971" / 1330 N11_Vdrop
open branch from bus '5ALCALDE 161.0' to bus '5ELIHU 161.0' ckt 1 / 324130 5ALCALDE 161 324141 5ELIHU 161 1
open branch from bus '5ELIHU 161.0' to bus '5COOPER2 161.0' ckt 1 / 324141 5ELIHU 161 342718 5COOPER2 161 1
open branch from bus '5ELIHU 161.0' to bus '2ELIHU 69.00' ckt 1 / 324141 5ELIHU 161 324514 2ELIHU 69.0 1
open branch from bus '5ELIHU 161.0' to bus '2ELIHU 69.00' ckt 2 / 324141 5ELIHU 161 324514 2ELIHU 69.0 2
open branch from bus '2GRENSBRG KU 69.00' to bus '2GREEN CO 69.00' ckt 1 / 324554 2GRENSBRG KU 69.0 341563 2GREEN CO 69.0 1
open branch from bus '2GRENSBRG KU 69.00' to bus '2CAMPBELV EK 69.00' ckt 1 / 324554 2GRENSBRG KU 69.0 324830 2CAMPBELV EK 69.0 1
open branch from bus '2GR RVR PLAZ 69.00' to bus '2CAMPBELV EK 69.00' ckt 1 / 324557 2GR RVR PLAZ 69.0 324830 2CAMPBELV EK 69.0 1
open branch from bus '2GR RVR PLAZ 69.00' to bus '2CAMPBELVIL1 69.00' ckt 1 / 324557 2GR RVR PLAZ 69.0 324829 2CAMPBELVIL1 69.0 1
open branch from bus '2MILE LAN TP 69.00' to bus '2CAMPBELVIL1 69.00' ckt 1 / 324641 2MILE LAN TP 69.0 324829 2CAMPBELVIL1 69.0 1
open branch from bus '2MILE LAN TP 69.00' to bus '2MILE LAN EK 69.00' ckt 1 / 324641 2MILE LAN TP 69.0 326970 2MILE LAN EK 69.0 1
open branch from bus '2MILE LAN TP 69.00' to bus '2TAYLOR CO 69.00' ckt 1 / 324641 2MILE LAN TP 69.0 324751 2TAYLOR CO 69.0 1
end
contingency "P6:2307" / 1331 N11_Vdrop
open branch from bus '5COOPER2 161.0' to bus '5DENNY 161.0' ckt 1 / 342718 5COOPER2 161 342727 5DENNY 161 1
open branch from bus '5DENNY 161.0' to bus '2DENNY 69.00' ckt 1 / 342727 5DENNY 161 341392 2DENNY 69.0 1
open branch from bus '5ALCALDE 161.0' to bus '5ELIHU 161.0' ckt 1 / 324130 5ALCALDE 161 324141 5ELIHU 161 1
end
contingency "P6:1011" / 1332 N11_Vdrop
open branch from bus '2GRENSBRG KU 69.00' to bus '2GREEN CO 69.00' ckt 1 / 324554 2GRENSBRG KU 69.0 341563 2GREEN CO 69.0 1
open branch from bus '2GRENSBRG KU 69.00' to bus '2CAMPBELV EK 69.00' ckt 1 / 324554 2GRENSBRG KU 69.0 324830 2CAMPBELV EK 69.0 1
open branch from bus '2GR RVR PLAZ 69.00' to bus '2CAMPBELV EK 69.00' ckt 1 / 324557 2GR RVR PLAZ 69.0 324830 2CAMPBELV EK 69.0 1
open branch from bus '2GR RVR PLAZ 69.00' to bus '2CAMPBELVIL1 69.00' ckt 1 / 324557 2GR RVR PLAZ 69.0 324829 2CAMPBELVIL1 69.0 1
open branch from bus '2MILE LAN TP 69.00' to bus '2CAMPBELVIL1 69.00' ckt 1 / 324641 2MILE LAN TP 69.0 324829 2CAMPBELVIL1 69.0 1
open branch from bus '2MILE LAN TP 69.00' to bus '2MILE LAN EK 69.00' ckt 1 / 324641 2MILE LAN TP 69.0 326970 2MILE LAN EK 69.0 1
open branch from bus '2MILE LAN TP 69.00' to bus '2TAYLOR CO 69.00' ckt 1 / 324641 2MILE LAN TP 69.0 324751 2TAYLOR CO 69.0 1
open branch from bus '5ALCALDE 161.0' to bus '5ELIHU 161.0' ckt 1 / 324130 5ALCALDE 161 324141 5ELIHU 161 1
end
contingency "P6:1381" / 1333 N11_Vdrop
open branch from bus '4FAWKES EK 138.0' to bus '4W BEREA 138.0' ckt 1 / 342577 4FAWKES EK 138 342691 4W BEREA 138 1
open branch from bus '4W BEREA 138.0' to bus '2W BEREA 69.00' ckt 1 / 342691 4W BEREA 138 342430 2W BEREA 69.0 1
open branch from bus '5ALCALDE 161.0' to bus '5ELIHU 161.0' ckt 1 / 324130 5ALCALDE 161 324141 5ELIHU 161 1
open branch from bus '5ELIHU 161.0' to bus '5COOPER2 161.0' ckt 1 / 324141 5ELIHU 161 342718 5COOPER2 161 1
open branch from bus '5ELIHU 161.0' to bus '2ELIHU 69.00' ckt 1 / 324141 5ELIHU 161 324514 2ELIHU 69.0 1
open branch from bus '5ELIHU 161.0' to bus '2ELIHU 69.00' ckt 2 / 324141 5ELIHU 161 324514 2ELIHU 69.0 2
end
contingency "P6:5519" / 1334 N11_Vdrop
open branch from bus '5ALCALDE 161.0' to bus '5ELIHU 161.0' ckt 1 / 324130 5ALCALDE 161 324141 5ELIHU 161 1
open branch from bus '2GRENSBRG KU 69.00' to bus '2GREEN CO 69.00' ckt 1 / 324554 2GRENSBRG KU 69.0 341563 2GREEN CO 69.0 1
open branch from bus '2GRENSBRG KU 69.00' to bus '2CAMPBELV EK 69.00' ckt 1 / 324554 2GRENSBRG KU 69.0 324830 2CAMPBELV EK 69.0 1
open branch from bus '2GR RVR PLAZ 69.00' to bus '2CAMPBELV EK 69.00' ckt 1 / 324557 2GR RVR PLAZ 69.0 324830 2CAMPBELV EK 69.0 1
open branch from bus '2GR RVR PLAZ 69.00' to bus '2CAMPBELVIL1 69.00' ckt 1 / 324557 2GR RVR PLAZ 69.0 324829 2CAMPBELVIL1 69.0 1
open branch from bus '2MILE LAN TP 69.00' to bus '2CAMPBELVIL1 69.00' ckt 1 / 324641 2MILE LAN TP 69.0 324829 2CAMPBELVIL1 69.0 1
open branch from bus '2MILE LAN TP 69.00' to bus '2MILE LAN EK 69.00' ckt 1 / 324641 2MILE LAN TP 69.0 326970 2MILE LAN EK 69.0 1
open branch from bus '2MILE LAN TP 69.00' to bus '2TAYLOR CO 69.00' ckt 1 / 324641 2MILE LAN TP 69.0 324751 2TAYLOR CO 69.0 1
end
contingency "P6:9147" / 1335 N11_Vdrop
open branch from bus '4BROWN PLANT 138.0' to bus '4DANVILE N T 138.0' ckt 1 / 324217 4BROWN PLANT 138 324239 4DANVILE N T 138 1
open branch from bus '7ALCALDE 345.0' to bus '7BROWN NORTH 345.0' ckt 1 / 324100 7ALCALDE 345 324102 7BROWN NORTH 345 1
open branch from bus '7ALCALDE 345.0' to bus '7PINEVILLE 345.0' ckt 1 / 324100 7ALCALDE 345 324112 7PINEVILLE 345 1
open branch from bus '7ALCALDE 345.0' to bus '5ALCALDE 161.0' ckt 1 / 324100 7ALCALDE 345 324130 5ALCALDE 161 1
end
contingency "P6:11401" / 1336 N11_Vdrop
open branch from bus '7ALCALDE 345.0' to bus '7BROWN NORTH 345.0' ckt 1 / 324100 7ALCALDE 345 324102 7BROWN NORTH 345 1
open branch from bus '7ALCALDE 345.0' to bus '7PINEVILLE 345.0' ckt 1 / 324100 7ALCALDE 345 324112 7PINEVILLE 345 1
open branch from bus '7ALCALDE 345.0' to bus '5ALCALDE 161.0' ckt 1 / 324100 7ALCALDE 345 324130 5ALCALDE 161 1
open branch from bus '4BROWN PLANT 138.0' to bus '4DANVILE N T 138.0' ckt 1 / 324217 4BROWN PLANT 138 324239 4DANVILE N T 138 1
end
contingency "P6:12973" / 1337 N11_Vdrop
open branch from bus '5ALCALDE 161.0' to bus '5ELIHU 161.0' ckt 1 / 324130 5ALCALDE 161 324141 5ELIHU 161 1
open branch from bus '5ELIHU 161.0' to bus '5COOPER2 161.0' ckt 1 / 324141 5ELIHU 161 342718 5COOPER2 161 1
open branch from bus '5ELIHU 161.0' to bus '2ELIHU 69.00' ckt 1 / 324141 5ELIHU 161 324514 2ELIHU 69.0 1
open branch from bus '5ELIHU 161.0' to bus '2ELIHU 69.00' ckt 2 / 324141 5ELIHU 161 324514 2ELIHU 69.0 2
open branch from bus '4FAWKES EK 138.0' to bus '4W BEREA 138.0' ckt 1 / 342577 4FAWKES EK 138 342691 4W BEREA 138 1
open branch from bus '4W BEREA 138.0' to bus '2W BEREA 69.00' ckt 1 / 342691 4W BEREA 138 342430 2W BEREA 69.0 1
end
contingency "P6:3170" / 1338 N11_Vdrop
open branch from bus '5MCCREARY CO 161.0' to bus '5WAYNE CO KY 161.0' ckt 1 / 342778 5MCCREARY CO 161 360486 5WAYNE CO KY 161 1
open branch from bus '5WOLF CRK HP 161.0' to bus '5WAYNE CO KY 161.0' ckt 1 / 360448 5WOLF CRK HP 161 360486 5WAYNE CO KY 161 1
open branch from bus '5WAYNE CO 161.0' to bus '5WAYNE CO KY 161.0' ckt 1 / 342823 5WAYNE CO 161 360486 5WAYNE CO KY 161 1
open branch from bus '5WAYNE CO 161.0' to bus '2WAYNE CO 69.00' ckt 1 / 342823 5WAYNE CO 161 342478 2WAYNE CO 69.0 1
open branch from bus '5SUMMER SHAD 161.0' to bus '5LAFAYETT TN 161.0' ckt 1 / 360334 5SUMMER SHAD 161 360354 5LAFAYETT TN 161 1
end
contingency "P6:13061" / 1339 N11_Vdrop
open branch from bus '5ALCALDE 161.0' to bus '5ELIHU 161.0' ckt 1 / 324130 5ALCALDE 161 324141 5ELIHU 161 1
open branch from bus '5ELIHU 161.0' to bus '5COOPER2 161.0' ckt 1 / 324141 5ELIHU 161 342718 5COOPER2 161 1
open branch from bus '5ELIHU 161.0' to bus '2ELIHU 69.00' ckt 1 / 324141 5ELIHU 161 324514 2ELIHU 69.0 1
open branch from bus '5ELIHU 161.0' to bus '2ELIHU 69.00' ckt 2 / 324141 5ELIHU 161 324514 2ELIHU 69.0 2
open branch from bus '5S GLASGOW 161.0' to bus '5E GLASGOW T 161.0' ckt 1 / 360607 5S GLASGOW 161 361603 5E GLASGOW T 161 1
end
contingency "P6:14118" / 1340 N11_Vdrop
open branch from bus '5SUMMER SHAD 161.0' to bus '5LAFAYETT TN 161.0' ckt 1 / 360334 5SUMMER SHAD 161 360354 5LAFAYETT TN 161 1
open branch from bus '5MCCREARY CO 161.0' to bus '5WAYNE CO KY 161.0' ckt 1 / 342778 5MCCREARY CO 161 360486 5WAYNE CO KY 161 1
open branch from bus '5WOLF CRK HP 161.0' to bus '5WAYNE CO KY 161.0' ckt 1 / 360448 5WOLF CRK HP 161 360486 5WAYNE CO KY 161 1
open branch from bus '5WAYNE CO 161.0' to bus '5WAYNE CO KY 161.0' ckt 1 / 342823 5WAYNE CO 161 360486 5WAYNE CO KY 161 1
open branch from bus '5WAYNE CO 161.0' to bus '2WAYNE CO 69.00' ckt 1 / 342823 5WAYNE CO 161 342478 2WAYNE CO 69.0 1
end
contingency "P6:15637" / 1341 N11_Vdrop
open branch from bus '5S GLASGOW 161.0' to bus '5E GLASGOW T 161.0' ckt 1 / 360607 5S GLASGOW 161 361603 5E GLASGOW T 161 1
open branch from bus '5ALCALDE 161.0' to bus '5ELIHU 161.0' ckt 1 / 324130 5ALCALDE 161 324141 5ELIHU 161 1
open branch from bus '5ELIHU 161.0' to bus '5COOPER2 161.0' ckt 1 / 324141 5ELIHU 161 342718 5COOPER2 161 1
open branch from bus '5ELIHU 161.0' to bus '2ELIHU 69.00' ckt 1 / 324141 5ELIHU 161 324514 2ELIHU 69.0 1
open branch from bus '5ELIHU 161.0' to bus '2ELIHU 69.00' ckt 2 / 324141 5ELIHU 161 324514 2ELIHU 69.0 2
end
contingency "P6:419" / 1342 N11_Vdrop
open branch from bus '2FERGUSON SO 69.00' to bus '2SOMERSET KU 69.00' ckt 1 / 324531 2FERGUSON SO 69.0 342287 2SOMERSET KU 69.0 1
open branch from bus '2ELIHU 69.00' to bus '2FERGUSON SO 69.00' ckt 1 / 324514 2ELIHU 69.0 324531 2FERGUSON SO 69.0 1
open branch from bus '5SUMMER SHAD 161.0' to bus '5TOMPKNSV TP 161.0' ckt 1 / 360334 5SUMMER SHAD 161 361064 5TOMPKNSV TP 161 1
end
contingency "P6:14584" / 1343 N11_Vdrop
open branch from bus '5SUMMER SHAD 161.0' to bus '5TOMPKNSV TP 161.0' ckt 1 / 360334 5SUMMER SHAD 161 361064 5TOMPKNSV TP 161 1
open branch from bus '2FERGUSON SO 69.00' to bus '2SOMERSET KU 69.00' ckt 1 / 324531 2FERGUSON SO 69.0 342287 2SOMERSET KU 69.0 1
open branch from bus '2ELIHU 69.00' to bus '2FERGUSON SO 69.00' ckt 1 / 324514 2ELIHU 69.0 324531 2FERGUSON SO 69.0 1
end
contingency "P6:1335" / 1344 N11_Vdrop
open branch from bus '4FAWKES EK 138.0' to bus '4W BEREA 138.0' ckt 1 / 342577 4FAWKES EK 138 342691 4W BEREA 138 1
open branch from bus '4W BEREA 138.0' to bus '2W BEREA 69.00' ckt 1 / 342691 4W BEREA 138 342430 2W BEREA 69.0 1
open branch from bus '5ALCALDE 161.0' to bus '5ELIHU 161.0' ckt 1 / 324130 5ALCALDE 161 324141 5ELIHU 161 1
end
contingency "P6:5521" / 1345 N11_Vdrop
open branch from bus '5ALCALDE 161.0' to bus '5ELIHU 161.0' ckt 1 / 324130 5ALCALDE 161 324141 5ELIHU 161 1
open branch from bus '4FAWKES EK 138.0' to bus '4W BEREA 138.0' ckt 1 / 342577 4FAWKES EK 138 342691 4W BEREA 138 1
open branch from bus '4W BEREA 138.0' to bus '2W BEREA 69.00' ckt 1 / 342691 4W BEREA 138 342430 2W BEREA 69.0 1
end
contingency "P6:3123" / 1346 N11_Vdrop
open branch from bus '5MCCREARY CO 161.0' to bus '5WAYNE CO KY 161.0' ckt 1 / 342778 5MCCREARY CO 161 360486 5WAYNE CO KY 161 1
open branch from bus '5WOLF CRK HP 161.0' to bus '5WAYNE CO KY 161.0' ckt 1 / 360448 5WOLF CRK HP 161 360486 5WAYNE CO KY 161 1
open branch from bus '5WAYNE CO 161.0' to bus '5WAYNE CO KY 161.0' ckt 1 / 342823 5WAYNE CO 161 360486 5WAYNE CO KY 161 1
open branch from bus '5WAYNE CO 161.0' to bus '2WAYNE CO 69.00' ckt 1 / 342823 5WAYNE CO 161 342478 2WAYNE CO 69.0 1
open branch from bus '4DANVILE N T 138.0' to bus '4LEBANON 138.0' ckt 1 / 324239 4DANVILE N T 138 324271 4LEBANON 138 1
end
contingency "P6:6504" / 1347 N11_Vdrop
open branch from bus '4DANVILE N T 138.0' to bus '4LEBANON 138.0' ckt 1 / 324239 4DANVILE N T 138 324271 4LEBANON 138 1
open branch from bus '5MCCREARY CO 161.0' to bus '5WAYNE CO KY 161.0' ckt 1 / 342778 5MCCREARY CO 161 360486 5WAYNE CO KY 161 1
open branch from bus '5WOLF CRK HP 161.0' to bus '5WAYNE CO KY 161.0' ckt 1 / 360448 5WOLF CRK HP 161 360486 5WAYNE CO KY 161 1
open branch from bus '5WAYNE CO 161.0' to bus '5WAYNE CO KY 161.0' ckt 1 / 342823 5WAYNE CO 161 360486 5WAYNE CO KY 161 1
open branch from bus '5WAYNE CO 161.0' to bus '2WAYNE CO 69.00' ckt 1 / 342823 5WAYNE CO 161 342478 2WAYNE CO 69.0 1
end
contingency "P6:13053" / 1348 N11_Vdrop
open branch from bus '5ALCALDE 161.0' to bus '5ELIHU 161.0' ckt 1 / 324130 5ALCALDE 161 324141 5ELIHU 161 1
open branch from bus '5ELIHU 161.0' to bus '5COOPER2 161.0' ckt 1 / 324141 5ELIHU 161 342718 5COOPER2 161 1
open branch from bus '5ELIHU 161.0' to bus '2ELIHU 69.00' ckt 1 / 324141 5ELIHU 161 324514 2ELIHU 69.0 1
open branch from bus '5ELIHU 161.0' to bus '2ELIHU 69.00' ckt 2 / 324141 5ELIHU 161 324514 2ELIHU 69.0 2
open branch from bus '5SUMMER SHAD 161.0' to bus '5WOLF CRK HP 161.0' ckt 1 / 360334 5SUMMER SHAD 161 360448 5WOLF CRK HP 161 1
end
contingency "P6:14341" / 1349 N11_Vdrop
open branch from bus '5SUMMER SHAD 161.0' to bus '5WOLF CRK HP 161.0' ckt 1 / 360334 5SUMMER SHAD 161 360448 5WOLF CRK HP 161 1
open branch from bus '5ALCALDE 161.0' to bus '5ELIHU 161.0' ckt 1 / 324130 5ALCALDE 161 324141 5ELIHU 161 1
open branch from bus '5ELIHU 161.0' to bus '5COOPER2 161.0' ckt 1 / 324141 5ELIHU 161 342718 5COOPER2 161 1
open branch from bus '5ELIHU 161.0' to bus '2ELIHU 69.00' ckt 1 / 324141 5ELIHU 161 324514 2ELIHU 69.0 1
open branch from bus '5ELIHU 161.0' to bus '2ELIHU 69.00' ckt 2 / 324141 5ELIHU 161 324514 2ELIHU 69.0 2
end
contingency "P6:3639" / 1350 N11_Vdrop
open branch from bus '5LAUREL CO 161.0' to bus '5PITTSBURG 161.0' ckt 1 / 342754 5LAUREL CO 161 342781 5PITTSBURG 161 1
open branch from bus '5PITTSBURG 161.0' to bus '2PITTSBRG KU 69.00' ckt 1 / 342781 5PITTSBURG 161 324688 2PITTSBRG KU 69.0 1
open branch from bus '5PITTSBURG 161.0' to bus '5TYNER 161.0' ckt 1 / 342781 5PITTSBURG 161 342820 5TYNER 161 1
open branch from bus '7ALCALDE 345.0' to bus '7BROWN NORTH 345.0' ckt 1 / 324100 7ALCALDE 345 324102 7BROWN NORTH 345 1
open branch from bus '7ALCALDE 345.0' to bus '7PINEVILLE 345.0' ckt 1 / 324100 7ALCALDE 345 324112 7PINEVILLE 345 1
open branch from bus '7ALCALDE 345.0' to bus '5ALCALDE 161.0' ckt 1 / 324100 7ALCALDE 345 324130 5ALCALDE 161 1
end
contingency "P6:11367" / 1351 N11_Vdrop
open branch from bus '7ALCALDE 345.0' to bus '7BROWN NORTH 345.0' ckt 1 / 324100 7ALCALDE 345 324102 7BROWN NORTH 345 1
open branch from bus '7ALCALDE 345.0' to bus '7PINEVILLE 345.0' ckt 1 / 324100 7ALCALDE 345 324112 7PINEVILLE 345 1
open branch from bus '7ALCALDE 345.0' to bus '5ALCALDE 161.0' ckt 1 / 324100 7ALCALDE 345 324130 5ALCALDE 161 1
open branch from bus '5LAUREL CO 161.0' to bus '5PITTSBURG 161.0' ckt 1 / 342754 5LAUREL CO 161 342781 5PITTSBURG 161 1
open branch from bus '5PITTSBURG 161.0' to bus '2PITTSBRG KU 69.00' ckt 1 / 342781 5PITTSBURG 161 324688 2PITTSBRG KU 69.0 1
open branch from bus '5PITTSBURG 161.0' to bus '5TYNER 161.0' ckt 1 / 342781 5PITTSBURG 161 342820 5TYNER 161 1
end
contingency "P6:5601" / 1352 N11_Vdrop
open branch from bus '5ALCALDE 161.0' to bus '5ELIHU 161.0' ckt 1 / 324130 5ALCALDE 161 324141 5ELIHU 161 1
open branch from bus '5SUMMER SHAD 161.0' to bus '5WOLF CRK HP 161.0' ckt 1 / 360334 5SUMMER SHAD 161 360448 5WOLF CRK HP 161 1
end
contingency "P6:3126" / 1353 N11_Vdrop
open branch from bus '5MCCREARY CO 161.0' to bus '5WAYNE CO KY 161.0' ckt 1 / 342778 5MCCREARY CO 161 360486 5WAYNE CO KY 161 1
open branch from bus '5WOLF CRK HP 161.0' to bus '5WAYNE CO KY 161.0' ckt 1 / 360448 5WOLF CRK HP 161 360486 5WAYNE CO KY 161 1
open branch from bus '5WAYNE CO 161.0' to bus '5WAYNE CO KY 161.0' ckt 1 / 342823 5WAYNE CO 161 360486 5WAYNE CO KY 161 1
open branch from bus '5WAYNE CO 161.0' to bus '2WAYNE CO 69.00' ckt 1 / 342823 5WAYNE CO 161 342478 2WAYNE CO 69.0 1
open branch from bus '7ALCALDE 345.0' to bus '7BROWN NORTH 345.0' ckt 1 / 324100 7ALCALDE 345 324102 7BROWN NORTH 345 1
end
contingency "P6:3216" / 1354 N11_Vdrop
open branch from bus '5MCCREARY CO 161.0' to bus '5WAYNE CO KY 161.0' ckt 1 / 342778 5MCCREARY CO 161 360486 5WAYNE CO KY 161 1
open branch from bus '5WOLF CRK HP 161.0' to bus '5WAYNE CO KY 161.0' ckt 1 / 360448 5WOLF CRK HP 161 360486 5WAYNE CO KY 161 1
open branch from bus '5WAYNE CO 161.0' to bus '5WAYNE CO KY 161.0' ckt 1 / 342823 5WAYNE CO 161 360486 5WAYNE CO KY 161 1
open branch from bus '5WAYNE CO 161.0' to bus '2WAYNE CO 69.00' ckt 1 / 342823 5WAYNE CO 161 342478 2WAYNE CO 69.0 1
open branch from bus '5S GLASGOW 161.0' to bus '5GLASGOW TP 161.0' ckt 1 / 360607 5S GLASGOW 161 361113 5GLASGOW TP 161 1
end
contingency "P6:6990" / 1355 N11_Vdrop
open branch from bus '7ALCALDE 345.0' to bus '7BROWN NORTH 345.0' ckt 1 / 324100 7ALCALDE 345 324102 7BROWN NORTH 345 1
open branch from bus '5MCCREARY CO 161.0' to bus '5WAYNE CO KY 161.0' ckt 1 / 342778 5MCCREARY CO 161 360486 5WAYNE CO KY 161 1
open branch from bus '5WOLF CRK HP 161.0' to bus '5WAYNE CO KY 161.0' ckt 1 / 360448 5WOLF CRK HP 161 360486 5WAYNE CO KY 161 1
open branch from bus '5WAYNE CO 161.0' to bus '5WAYNE CO KY 161.0' ckt 1 / 342823 5WAYNE CO 161 360486 5WAYNE CO KY 161 1
open branch from bus '5WAYNE CO 161.0' to bus '2WAYNE CO 69.00' ckt 1 / 342823 5WAYNE CO 161 342478 2WAYNE CO 69.0 1
end
contingency "P6:21570" / 1356 N11_Vdrop
open branch from bus '5S GLASGOW 161.0' to bus '5GLASGOW TP 161.0' ckt 1 / 360607 5S GLASGOW 161 361113 5GLASGOW TP 161 1
open branch from bus '5MCCREARY CO 161.0' to bus '5WAYNE CO KY 161.0' ckt 1 / 342778 5MCCREARY CO 161 360486 5WAYNE CO KY 161 1
open branch from bus '5WOLF CRK HP 161.0' to bus '5WAYNE CO KY 161.0' ckt 1 / 360448 5WOLF CRK HP 161 360486 5WAYNE CO KY 161 1
open branch from bus '5WAYNE CO 161.0' to bus '5WAYNE CO KY 161.0' ckt 1 / 342823 5WAYNE CO 161 360486 5WAYNE CO KY 161 1
open branch from bus '5WAYNE CO 161.0' to bus '2WAYNE CO 69.00' ckt 1 / 342823 5WAYNE CO 161 342478 2WAYNE CO 69.0 1
end
contingency "P6:1371" / 1357 N11_Vdrop
open branch from bus '4FAWKES EK 138.0' to bus '4W BEREA 138.0' ckt 1 / 342577 4FAWKES EK 138 342691 4W BEREA 138 1
open branch from bus '4W BEREA 138.0' to bus '2W BEREA 69.00' ckt 1 / 342691 4W BEREA 138 342430 2W BEREA 69.0 1
open branch from bus '7ALCALDE 345.0' to bus '7BROWN NORTH 345.0' ckt 1 / 324100 7ALCALDE 345 324102 7BROWN NORTH 345 1
open branch from bus '7ALCALDE 345.0' to bus '7PINEVILLE 345.0' ckt 1 / 324100 7ALCALDE 345 324112 7PINEVILLE 345 1
open branch from bus '7ALCALDE 345.0' to bus '5ALCALDE 161.0' ckt 1 / 324100 7ALCALDE 345 324130 5ALCALDE 161 1
end
contingency "P6:11353" / 1358 N11_Vdrop
open branch from bus '7ALCALDE 345.0' to bus '7BROWN NORTH 345.0' ckt 1 / 324100 7ALCALDE 345 324102 7BROWN NORTH 345 1
open branch from bus '7ALCALDE 345.0' to bus '7PINEVILLE 345.0' ckt 1 / 324100 7ALCALDE 345 324112 7PINEVILLE 345 1
open branch from bus '7ALCALDE 345.0' to bus '5ALCALDE 161.0' ckt 1 / 324100 7ALCALDE 345 324130 5ALCALDE 161 1
open branch from bus '4FAWKES EK 138.0' to bus '4W BEREA 138.0' ckt 1 / 342577 4FAWKES EK 138 342691 4W BEREA 138 1
open branch from bus '4W BEREA 138.0' to bus '2W BEREA 69.00' ckt 1 / 342691 4W BEREA 138 342430 2W BEREA 69.0 1
end
contingency "P6:13058" / 1359 N11_Vdrop
open branch from bus '5ALCALDE 161.0' to bus '5ELIHU 161.0' ckt 1 / 324130 5ALCALDE 161 324141 5ELIHU 161 1
open branch from bus '5ELIHU 161.0' to bus '5COOPER2 161.0' ckt 1 / 324141 5ELIHU 161 342718 5COOPER2 161 1
open branch from bus '5ELIHU 161.0' to bus '2ELIHU 69.00' ckt 1 / 324141 5ELIHU 161 324514 2ELIHU 69.0 1
open branch from bus '5ELIHU 161.0' to bus '2ELIHU 69.00' ckt 2 / 324141 5ELIHU 161 324514 2ELIHU 69.0 2
open branch from bus '5WOLF CRK HP 161.0' to bus '5KELSEY RD 161.0' ckt 1 / 360448 5WOLF CRK HP 161 361618 5KELSEY RD 161 1
end
contingency "P6:15151" / 1360 N11_Vdrop
open branch from bus '5WOLF CRK HP 161.0' to bus '5KELSEY RD 161.0' ckt 1 / 360448 5WOLF CRK HP 161 361618 5KELSEY RD 161 1
open branch from bus '5ALCALDE 161.0' to bus '5ELIHU 161.0' ckt 1 / 324130 5ALCALDE 161 324141 5ELIHU 161 1
open branch from bus '5ELIHU 161.0' to bus '5COOPER2 161.0' ckt 1 / 324141 5ELIHU 161 342718 5COOPER2 161 1
open branch from bus '5ELIHU 161.0' to bus '2ELIHU 69.00' ckt 1 / 324141 5ELIHU 161 324514 2ELIHU 69.0 1
open branch from bus '5ELIHU 161.0' to bus '2ELIHU 69.00' ckt 2 / 324141 5ELIHU 161 324514 2ELIHU 69.0 2
end
contingency "P6:410" / 1361 N11_Vdrop
open branch from bus '2FERGUSON SO 69.00' to bus '2SOMERSET KU 69.00' ckt 1 / 324531 2FERGUSON SO 69.0 342287 2SOMERSET KU 69.0 1
open branch from bus '2ELIHU 69.00' to bus '2FERGUSON SO 69.00' ckt 1 / 324514 2ELIHU 69.0 324531 2FERGUSON SO 69.0 1
open branch from bus '4DANVILE N T 138.0' to bus '4LEBANON 138.0' ckt 1 / 324239 4DANVILE N T 138 324271 4LEBANON 138 1
open branch from bus '4LEBANON WES 138.0' to bus '4LEBANON 138.0' ckt 1 / 324270 4LEBANON WES 138 324271 4LEBANON 138 1
open branch from bus '4LEBANON 138.0' to bus '4MARION CO 138.0' ckt 1 / 324271 4LEBANON 138 342770 4MARION CO 138 1
open branch from bus '4LEBANON 138.0' to bus '2LEBANON 69.00' ckt 1 / 324271 4LEBANON 138 324606 2LEBANON 69.0 1
open branch from bus '4LEBANON 138.0' to bus '2LEBANON 69.00' ckt 2 / 324271 4LEBANON 138 324606 2LEBANON 69.0 2
end
contingency "P6:13126" / 1362 N11_Vdrop
open branch from bus '4DANVILE N T 138.0' to bus '4LEBANON 138.0' ckt 1 / 324239 4DANVILE N T 138 324271 4LEBANON 138 1
open branch from bus '4LEBANON WES 138.0' to bus '4LEBANON 138.0' ckt 1 / 324270 4LEBANON WES 138 324271 4LEBANON 138 1
open branch from bus '4LEBANON 138.0' to bus '4MARION CO 138.0' ckt 1 / 324271 4LEBANON 138 342770 4MARION CO 138 1
open branch from bus '4LEBANON 138.0' to bus '2LEBANON 69.00' ckt 1 / 324271 4LEBANON 138 324606 2LEBANON 69.0 1
open branch from bus '4LEBANON 138.0' to bus '2LEBANON 69.00' ckt 2 / 324271 4LEBANON 138 324606 2LEBANON 69.0 2
open branch from bus '2FERGUSON SO 69.00' to bus '2SOMERSET KU 69.00' ckt 1 / 324531 2FERGUSON SO 69.0 342287 2SOMERSET KU 69.0 1
open branch from bus '2ELIHU 69.00' to bus '2FERGUSON SO 69.00' ckt 1 / 324514 2ELIHU 69.0 324531 2FERGUSON SO 69.0 1
end
contingency "P6:11478" / 1363 N11_Vdrop
open branch from bus '7ALCALDE 345.0' to bus '7BROWN NORTH 345.0' ckt 1 / 324100 7ALCALDE 345 324102 7BROWN NORTH 345 1
open branch from bus '7ALCALDE 345.0' to bus '7PINEVILLE 345.0' ckt 1 / 324100 7ALCALDE 345 324112 7PINEVILLE 345 1
open branch from bus '7ALCALDE 345.0' to bus '5ALCALDE 161.0' ckt 1 / 324100 7ALCALDE 345 324130 5ALCALDE 161 1
open branch from bus '5S GLASGOW 161.0' to bus '5GLASGOW TP 161.0' ckt 1 / 360607 5S GLASGOW 161 361113 5GLASGOW TP 161 1
end
contingency "P6:21621" / 1364 N11_Vdrop
open branch from bus '5S GLASGOW 161.0' to bus '5GLASGOW TP 161.0' ckt 1 / 360607 5S GLASGOW 161 361113 5GLASGOW TP 161 1
open branch from bus '7ALCALDE 345.0' to bus '7BROWN NORTH 345.0' ckt 1 / 324100 7ALCALDE 345 324102 7BROWN NORTH 345 1
open branch from bus '7ALCALDE 345.0' to bus '7PINEVILLE 345.0' ckt 1 / 324100 7ALCALDE 345 324112 7PINEVILLE 345 1
open branch from bus '7ALCALDE 345.0' to bus '5ALCALDE 161.0' ckt 1 / 324100 7ALCALDE 345 324130 5ALCALDE 161 1
end
contingency "P6:5606" / 1365 N11_Vdrop
open branch from bus '5ALCALDE 161.0' to bus '5ELIHU 161.0' ckt 1 / 324130 5ALCALDE 161 324141 5ELIHU 161 1
open branch from bus '5WOLF CRK HP 161.0' to bus '5KELSEY RD 161.0' ckt 1 / 360448 5WOLF CRK HP 161 361618 5KELSEY RD 161 1
end
contingency "P6:12961" / 1366 N11_Vdrop
open branch from bus '5ALCALDE 161.0' to bus '5ELIHU 161.0' ckt 1 / 324130 5ALCALDE 161 324141 5ELIHU 161 1
open branch from bus '5ELIHU 161.0' to bus '5COOPER2 161.0' ckt 1 / 324141 5ELIHU 161 342718 5COOPER2 161 1
open branch from bus '5ELIHU 161.0' to bus '2ELIHU 69.00' ckt 1 / 324141 5ELIHU 161 324514 2ELIHU 69.0 1
open branch from bus '5ELIHU 161.0' to bus '2ELIHU 69.00' ckt 2 / 324141 5ELIHU 161 324514 2ELIHU 69.0 2
open branch from bus '2ALCAN 69.00' to bus '2W BEREA 69.00' ckt 1 / 341008 2ALCAN 69.0 342430 2W BEREA 69.0 1
open branch from bus '2ALCAN 69.00' to bus '2PPG J 69.00' ckt 1 / 341008 2ALCAN 69.0 342106 2PPG J 69.0 1
open branch from bus '2BEREAKU T 69.00' to bus '2PPG J 69.00' ckt 1 / 341098 2BEREAKU T 69.0 342106 2PPG J 69.0 1
open branch from bus '2PPG 69.00' to bus '2PPG J 69.00' ckt 1 / 342103 2PPG 69.0 342106 2PPG J 69.0 1
open branch from bus '2HICKORY PL 69.00' to bus '2PPG 69.00' ckt 1 / 341611 2HICKORY PL 69.0 342103 2PPG 69.0 1
open branch from bus '2CROOKSVIL T 69.00' to bus '2HICKORY PL 69.00' ckt 1 / 341362 2CROOKSVIL T 69.0 341611 2HICKORY PL 69.0 1
open branch from bus '2CROOKSVIL 69.00' to bus '2CROOKSVIL T 69.00' ckt 1 / 341359 2CROOKSVIL 69.0 341362 2CROOKSVIL T 69.0 1
open branch from bus '2FAWKES 69.00' to bus '2DUNCAN LN T 69.00' ckt 1 / 324530 2FAWKES 69.0 341406 2DUNCAN LN T 69.0 1
end
contingency "P6:13062" / 1367 N11_Vdrop
open branch from bus '5ALCALDE 161.0' to bus '5ELIHU 161.0' ckt 1 / 324130 5ALCALDE 161 324141 5ELIHU 161 1
open branch from bus '5ELIHU 161.0' to bus '5COOPER2 161.0' ckt 1 / 324141 5ELIHU 161 342718 5COOPER2 161 1
open branch from bus '5ELIHU 161.0' to bus '2ELIHU 69.00' ckt 1 / 324141 5ELIHU 161 324514 2ELIHU 69.0 1
open branch from bus '5ELIHU 161.0' to bus '2ELIHU 69.00' ckt 2 / 324141 5ELIHU 161 324514 2ELIHU 69.0 2
open branch from bus '5TOMPKNSV TP 161.0' to bus '5W TOMPKINST 161.0' ckt 1 / 361064 5TOMPKNSV TP 161 361246 5W TOMPKINST 161 1
end
contingency "P6:15799" / 1368 N11_Vdrop
open branch from bus '5TOMPKNSV TP 161.0' to bus '5W TOMPKINST 161.0' ckt 1 / 361064 5TOMPKNSV TP 161 361246 5W TOMPKINST 161 1
open branch from bus '5ALCALDE 161.0' to bus '5ELIHU 161.0' ckt 1 / 324130 5ALCALDE 161 324141 5ELIHU 161 1
open branch from bus '5ELIHU 161.0' to bus '5COOPER2 161.0' ckt 1 / 324141 5ELIHU 161 342718 5COOPER2 161 1
open branch from bus '5ELIHU 161.0' to bus '2ELIHU 69.00' ckt 1 / 324141 5ELIHU 161 324514 2ELIHU 69.0 1
open branch from bus '5ELIHU 161.0' to bus '2ELIHU 69.00' ckt 2 / 324141 5ELIHU 161 324514 2ELIHU 69.0 2
end
contingency "P6:5509" / 1369 N11_Vdrop
open branch from bus '5ALCALDE 161.0' to bus '5ELIHU 161.0' ckt 1 / 324130 5ALCALDE 161 324141 5ELIHU 161 1
open branch from bus '2ALCAN 69.00' to bus '2W BEREA 69.00' ckt 1 / 341008 2ALCAN 69.0 342430 2W BEREA 69.0 1
open branch from bus '2ALCAN 69.00' to bus '2PPG J 69.00' ckt 1 / 341008 2ALCAN 69.0 342106 2PPG J 69.0 1
open branch from bus '2BEREAKU T 69.00' to bus '2PPG J 69.00' ckt 1 / 341098 2BEREAKU T 69.0 342106 2PPG J 69.0 1
open branch from bus '2PPG 69.00' to bus '2PPG J 69.00' ckt 1 / 342103 2PPG 69.0 342106 2PPG J 69.0 1
open branch from bus '2HICKORY PL 69.00' to bus '2PPG 69.00' ckt 1 / 341611 2HICKORY PL 69.0 342103 2PPG 69.0 1
open branch from bus '2CROOKSVIL T 69.00' to bus '2HICKORY PL 69.00' ckt 1 / 341362 2CROOKSVIL T 69.0 341611 2HICKORY PL 69.0 1
open branch from bus '2CROOKSVIL 69.00' to bus '2CROOKSVIL T 69.00' ckt 1 / 341359 2CROOKSVIL 69.0 341362 2CROOKSVIL T 69.0 1
open branch from bus '2FAWKES 69.00' to bus '2DUNCAN LN T 69.00' ckt 1 / 324530 2FAWKES 69.0 341406 2DUNCAN LN T 69.0 1
end
contingency "P6:346" / 1370 N11_Vdrop
open branch from bus '2FERGUSON SO 69.00' to bus '2SOMERSET KU 69.00' ckt 1 / 324531 2FERGUSON SO 69.0 342287 2SOMERSET KU 69.0 1
open branch from bus '2ELIHU 69.00' to bus '2FERGUSON SO 69.00' ckt 1 / 324514 2ELIHU 69.0 324531 2FERGUSON SO 69.0 1
open branch from bus '5CASEY CO 161.0' to bus '5LIBERTY J 161.0' ckt 1 / 342703 5CASEY CO 161 342760 5LIBERTY J 161 1
open branch from bus '5CASEY CO 161.0' to bus '2CASEY CO 69.00' ckt 1 / 342703 5CASEY CO 161 341269 2CASEY CO 69.0 1
open branch from bus '5CASEY CO 161.0' to bus '5MARION CO 161.0' ckt 1 / 342703 5CASEY CO 161 342769 5MARION CO 161 1
end
contingency "P6:2758" / 1371 N11_Vdrop
open branch from bus '5CASEY CO 161.0' to bus '5LIBERTY J 161.0' ckt 1 / 342703 5CASEY CO 161 342760 5LIBERTY J 161 1
open branch from bus '5CASEY CO 161.0' to bus '2CASEY CO 69.00' ckt 1 / 342703 5CASEY CO 161 341269 2CASEY CO 69.0 1
open branch from bus '5CASEY CO 161.0' to bus '5MARION CO 161.0' ckt 1 / 342703 5CASEY CO 161 342769 5MARION CO 161 1
open branch from bus '2FERGUSON SO 69.00' to bus '2SOMERSET KU 69.00' ckt 1 / 324531 2FERGUSON SO 69.0 342287 2SOMERSET KU 69.0 1
open branch from bus '2ELIHU 69.00' to bus '2FERGUSON SO 69.00' ckt 1 / 324514 2ELIHU 69.0 324531 2FERGUSON SO 69.0 1
end
contingency "P6:5610" / 1372 N11_Vdrop
open branch from bus '5ALCALDE 161.0' to bus '5ELIHU 161.0' ckt 1 / 324130 5ALCALDE 161 324141 5ELIHU 161 1
open branch from bus '5TOMPKNSV TP 161.0' to bus '5W TOMPKINST 161.0' ckt 1 / 361064 5TOMPKNSV TP 161 361246 5W TOMPKINST 161 1
end
contingency "P6:9625" / 1373 N11_Vdrop
open branch from bus '7ALCALDE 345.0' to bus '5ALCALDE 161.0' ckt 1 / 324100 7ALCALDE 345 324130 5ALCALDE 161 1
open branch from bus '4BROWN PLANT 138.0' to bus '4DANVILE N T 138.0' ckt 1 / 324217 4BROWN PLANT 138 324239 4DANVILE N T 138 1
open branch from bus '4DANVILLE N 138.0' to bus '4DANVILE N T 138.0' ckt 1 / 324238 4DANVILLE N 138 324239 4DANVILE N T 138 1
open branch from bus '4DANVILE N T 138.0' to bus '4LEBANON 138.0' ckt 1 / 324239 4DANVILE N T 138 324271 4LEBANON 138 1
end
contingency "P6:10108" / 1374 N11_Vdrop
open branch from bus '4BROWN PLANT 138.0' to bus '4DANVILE N T 138.0' ckt 1 / 324217 4BROWN PLANT 138 324239 4DANVILE N T 138 1
open branch from bus '4DANVILLE N 138.0' to bus '4DANVILE N T 138.0' ckt 1 / 324238 4DANVILLE N 138 324239 4DANVILE N T 138 1
open branch from bus '4DANVILE N T 138.0' to bus '4LEBANON 138.0' ckt 1 / 324239 4DANVILE N T 138 324271 4LEBANON 138 1
open branch from bus '7ALCALDE 345.0' to bus '5ALCALDE 161.0' ckt 1 / 324100 7ALCALDE 345 324130 5ALCALDE 161 1
end
contingency "P6:895" / 1375 N11_Vdrop
open branch from bus '2MCCREARY CO 69.00' to bus '2REVELO KU T 69.00' ckt 1 / 341845 2MCCREARY CO 69.0 342139 2REVELO KU T 69.0 1
open branch from bus '2REVELO KU 69.00' to bus '2REVELO KU T 69.00' ckt 1 / 342136 2REVELO KU 69.0 342139 2REVELO KU T 69.0 1
open branch from bus '2PINE KNOT 69.00' to bus '2REVELO KU T 69.00' ckt 1 / 342076 2PINE KNOT 69.0 342139 2REVELO KU T 69.0 1
open branch from bus '2E PINE KNOT 69.00' to bus '2PINE KNOT 69.00' ckt 1 / 341416 2E PINE KNOT 69.0 342076 2PINE KNOT 69.0 1
open branch from bus '2JELLICO C T 69.00' to bus '2PINE KNOT 69.00' ckt 1 / 341686 2JELLICO C T 69.0 342076 2PINE KNOT 69.0 1
open branch from bus '2JELLICO C T 69.00' to bus '2JELLICO CRK 69.00' ckt 1 / 341686 2JELLICO C T 69.0 341689 2JELLICO CRK 69.0 1
open branch from bus '2GOLDBUG 69.00' to bus '2JELLICO C T 69.00' ckt 1 / 341539 2GOLDBUG 69.0 341686 2JELLICO C T 69.0 1
open branch from bus '2WOFFORD 69.00' to bus '2GOLDBUG 69.00' ckt 1 / 324784 2WOFFORD 69.0 341539 2GOLDBUG 69.0 1
open branch from bus '5ALCALDE 161.0' to bus '5ELIHU 161.0' ckt 1 / 324130 5ALCALDE 161 324141 5ELIHU 161 1
open branch from bus '5ELIHU 161.0' to bus '5COOPER2 161.0' ckt 1 / 324141 5ELIHU 161 342718 5COOPER2 161 1
open branch from bus '5ELIHU 161.0' to bus '2ELIHU 69.00' ckt 1 / 324141 5ELIHU 161 324514 2ELIHU 69.0 1
open branch from bus '5ELIHU 161.0' to bus '2ELIHU 69.00' ckt 2 / 324141 5ELIHU 161 324514 2ELIHU 69.0 2
end
contingency "P6:3103" / 1376 N11_Vdrop
open branch from bus '5MCCREARY CO 161.0' to bus '5WAYNE CO KY 161.0' ckt 1 / 342778 5MCCREARY CO 161 360486 5WAYNE CO KY 161 1
open branch from bus '5WOLF CRK HP 161.0' to bus '5WAYNE CO KY 161.0' ckt 1 / 360448 5WOLF CRK HP 161 360486 5WAYNE CO KY 161 1
open branch from bus '5WAYNE CO 161.0' to bus '5WAYNE CO KY 161.0' ckt 1 / 342823 5WAYNE CO 161 360486 5WAYNE CO KY 161 1
open branch from bus '5WAYNE CO 161.0' to bus '2WAYNE CO 69.00' ckt 1 / 342823 5WAYNE CO 161 342478 2WAYNE CO 69.0 1
open branch from bus '5MCCREARY CO 161.0' to bus '5JELLICO TN 161.0' ckt 1 / 342778 5MCCREARY CO 161 360473 5JELLICO TN 161 1
end
contingency "P6:3264" / 1377 N11_Vdrop
open branch from bus '5MCCREARY CO 161.0' to bus '5JELLICO TN 161.0' ckt 1 / 342778 5MCCREARY CO 161 360473 5JELLICO TN 161 1
open branch from bus '5MCCREARY CO 161.0' to bus '5WAYNE CO KY 161.0' ckt 1 / 342778 5MCCREARY CO 161 360486 5WAYNE CO KY 161 1
open branch from bus '5WOLF CRK HP 161.0' to bus '5WAYNE CO KY 161.0' ckt 1 / 360448 5WOLF CRK HP 161 360486 5WAYNE CO KY 161 1
open branch from bus '5WAYNE CO 161.0' to bus '5WAYNE CO KY 161.0' ckt 1 / 342823 5WAYNE CO 161 360486 5WAYNE CO KY 161 1
open branch from bus '5WAYNE CO 161.0' to bus '2WAYNE CO 69.00' ckt 1 / 342823 5WAYNE CO 161 342478 2WAYNE CO 69.0 1
end
contingency "P6:12967" / 1378 N11_Vdrop
open branch from bus '5ALCALDE 161.0' to bus '5ELIHU 161.0' ckt 1 / 324130 5ALCALDE 161 324141 5ELIHU 161 1
open branch from bus '5ELIHU 161.0' to bus '5COOPER2 161.0' ckt 1 / 324141 5ELIHU 161 342718 5COOPER2 161 1
open branch from bus '5ELIHU 161.0' to bus '2ELIHU 69.00' ckt 1 / 324141 5ELIHU 161 324514 2ELIHU 69.0 1
open branch from bus '5ELIHU 161.0' to bus '2ELIHU 69.00' ckt 2 / 324141 5ELIHU 161 324514 2ELIHU 69.0 2
open branch from bus '2MCCREARY CO 69.00' to bus '2REVELO KU T 69.00' ckt 1 / 341845 2MCCREARY CO 69.0 342139 2REVELO KU T 69.0 1
open branch from bus '2REVELO KU 69.00' to bus '2REVELO KU T 69.00' ckt 1 / 342136 2REVELO KU 69.0 342139 2REVELO KU T 69.0 1
open branch from bus '2PINE KNOT 69.00' to bus '2REVELO KU T 69.00' ckt 1 / 342076 2PINE KNOT 69.0 342139 2REVELO KU T 69.0 1
open branch from bus '2E PINE KNOT 69.00' to bus '2PINE KNOT 69.00' ckt 1 / 341416 2E PINE KNOT 69.0 342076 2PINE KNOT 69.0 1
open branch from bus '2JELLICO C T 69.00' to bus '2PINE KNOT 69.00' ckt 1 / 341686 2JELLICO C T 69.0 342076 2PINE KNOT 69.0 1
open branch from bus '2JELLICO C T 69.00' to bus '2JELLICO CRK 69.00' ckt 1 / 341686 2JELLICO C T 69.0 341689 2JELLICO CRK 69.0 1
open branch from bus '2GOLDBUG 69.00' to bus '2JELLICO C T 69.00' ckt 1 / 341539 2GOLDBUG 69.0 341686 2JELLICO C T 69.0 1
open branch from bus '2WOFFORD 69.00' to bus '2GOLDBUG 69.00' ckt 1 / 324784 2WOFFORD 69.0 341539 2GOLDBUG 69.0 1
end
contingency "P6:849" / 1379 N11_Vdrop
open branch from bus '2MCCREARY CO 69.00' to bus '2REVELO KU T 69.00' ckt 1 / 341845 2MCCREARY CO 69.0 342139 2REVELO KU T 69.0 1
open branch from bus '2REVELO KU 69.00' to bus '2REVELO KU T 69.00' ckt 1 / 342136 2REVELO KU 69.0 342139 2REVELO KU T 69.0 1
open branch from bus '2PINE KNOT 69.00' to bus '2REVELO KU T 69.00' ckt 1 / 342076 2PINE KNOT 69.0 342139 2REVELO KU T 69.0 1
open branch from bus '2E PINE KNOT 69.00' to bus '2PINE KNOT 69.00' ckt 1 / 341416 2E PINE KNOT 69.0 342076 2PINE KNOT 69.0 1
open branch from bus '2JELLICO C T 69.00' to bus '2PINE KNOT 69.00' ckt 1 / 341686 2JELLICO C T 69.0 342076 2PINE KNOT 69.0 1
open branch from bus '2JELLICO C T 69.00' to bus '2JELLICO CRK 69.00' ckt 1 / 341686 2JELLICO C T 69.0 341689 2JELLICO CRK 69.0 1
open branch from bus '2GOLDBUG 69.00' to bus '2JELLICO C T 69.00' ckt 1 / 341539 2GOLDBUG 69.0 341686 2JELLICO C T 69.0 1
open branch from bus '2WOFFORD 69.00' to bus '2GOLDBUG 69.00' ckt 1 / 324784 2WOFFORD 69.0 341539 2GOLDBUG 69.0 1
open branch from bus '5ALCALDE 161.0' to bus '5ELIHU 161.0' ckt 1 / 324130 5ALCALDE 161 324141 5ELIHU 161 1
end
contingency "P6:5515" / 1380 N11_Vdrop
open branch from bus '5ALCALDE 161.0' to bus '5ELIHU 161.0' ckt 1 / 324130 5ALCALDE 161 324141 5ELIHU 161 1
open branch from bus '2MCCREARY CO 69.00' to bus '2REVELO KU T 69.00' ckt 1 / 341845 2MCCREARY CO 69.0 342139 2REVELO KU T 69.0 1
open branch from bus '2REVELO KU 69.00' to bus '2REVELO KU T 69.00' ckt 1 / 342136 2REVELO KU 69.0 342139 2REVELO KU T 69.0 1
open branch from bus '2PINE KNOT 69.00' to bus '2REVELO KU T 69.00' ckt 1 / 342076 2PINE KNOT 69.0 342139 2REVELO KU T 69.0 1
open branch from bus '2E PINE KNOT 69.00' to bus '2PINE KNOT 69.00' ckt 1 / 341416 2E PINE KNOT 69.0 342076 2PINE KNOT 69.0 1
open branch from bus '2JELLICO C T 69.00' to bus '2PINE KNOT 69.00' ckt 1 / 341686 2JELLICO C T 69.0 342076 2PINE KNOT 69.0 1
open branch from bus '2JELLICO C T 69.00' to bus '2JELLICO CRK 69.00' ckt 1 / 341686 2JELLICO C T 69.0 341689 2JELLICO CRK 69.0 1
open branch from bus '2GOLDBUG 69.00' to bus '2JELLICO C T 69.00' ckt 1 / 341539 2GOLDBUG 69.0 341686 2JELLICO C T 69.0 1
open branch from bus '2WOFFORD 69.00' to bus '2GOLDBUG 69.00' ckt 1 / 324784 2WOFFORD 69.0 341539 2GOLDBUG 69.0 1
end
contingency "P6:3145" / 1381 N11_Vdrop
open branch from bus '5MCCREARY CO 161.0' to bus '5WAYNE CO KY 161.0' ckt 1 / 342778 5MCCREARY CO 161 360486 5WAYNE CO KY 161 1
open branch from bus '5WOLF CRK HP 161.0' to bus '5WAYNE CO KY 161.0' ckt 1 / 360448 5WOLF CRK HP 161 360486 5WAYNE CO KY 161 1
open branch from bus '5WAYNE CO 161.0' to bus '5WAYNE CO KY 161.0' ckt 1 / 342823 5WAYNE CO 161 360486 5WAYNE CO KY 161 1
open branch from bus '5WAYNE CO 161.0' to bus '2WAYNE CO 69.00' ckt 1 / 342823 5WAYNE CO 161 342478 2WAYNE CO 69.0 1
open branch from bus '4BROWN PLANT 138.0' to bus '4DANVILE N T 138.0' ckt 1 / 324217 4BROWN PLANT 138 324239 4DANVILE N T 138 1
open branch from bus '4DANVILLE N 138.0' to bus '4DANVILE N T 138.0' ckt 1 / 324238 4DANVILLE N 138 324239 4DANVILE N T 138 1
open branch from bus '4DANVILE N T 138.0' to bus '4LEBANON 138.0' ckt 1 / 324239 4DANVILE N T 138 324271 4LEBANON 138 1
end
contingency "P6:10068" / 1382 N11_Vdrop
open branch from bus '4BROWN PLANT 138.0' to bus '4DANVILE N T 138.0' ckt 1 / 324217 4BROWN PLANT 138 324239 4DANVILE N T 138 1
open branch from bus '4DANVILLE N 138.0' to bus '4DANVILE N T 138.0' ckt 1 / 324238 4DANVILLE N 138 324239 4DANVILE N T 138 1
open branch from bus '4DANVILE N T 138.0' to bus '4LEBANON 138.0' ckt 1 / 324239 4DANVILE N T 138 324271 4LEBANON 138 1
open branch from bus '5MCCREARY CO 161.0' to bus '5WAYNE CO KY 161.0' ckt 1 / 342778 5MCCREARY CO 161 360486 5WAYNE CO KY 161 1
open branch from bus '5WOLF CRK HP 161.0' to bus '5WAYNE CO KY 161.0' ckt 1 / 360448 5WOLF CRK HP 161 360486 5WAYNE CO KY 161 1
open branch from bus '5WAYNE CO 161.0' to bus '5WAYNE CO KY 161.0' ckt 1 / 342823 5WAYNE CO 161 360486 5WAYNE CO KY 161 1
open branch from bus '5WAYNE CO 161.0' to bus '2WAYNE CO 69.00' ckt 1 / 342823 5WAYNE CO 161 342478 2WAYNE CO 69.0 1
end
contingency "P6:9634" / 1383 N11_Vdrop
open branch from bus '7ALCALDE 345.0' to bus '5ALCALDE 161.0' ckt 1 / 324100 7ALCALDE 345 324130 5ALCALDE 161 1
open branch from bus '7PINEVILLE 345.0' to bus '5PINEVILLE 2 161.0' ckt 1 / 324112 7PINEVILLE 345 324167 5PINEVILLE 2 161 1
open branch from bus '5PINEVILLE 2 161.0' to bus '2PINEVILLE 69.00' ckt 2 / 324167 5PINEVILLE 2 161 324686 2PINEVILLE 69.0 2
end
contingency "P6:11566" / 1384 N11_Vdrop
open branch from bus '7PINEVILLE 345.0' to bus '5PINEVILLE 2 161.0' ckt 1 / 324112 7PINEVILLE 345 324167 5PINEVILLE 2 161 1
open branch from bus '5PINEVILLE 2 161.0' to bus '2PINEVILLE 69.00' ckt 2 / 324167 5PINEVILLE 2 161 324686 2PINEVILLE 69.0 2
open branch from bus '7ALCALDE 345.0' to bus '5ALCALDE 161.0' ckt 1 / 324100 7ALCALDE 345 324130 5ALCALDE 161 1
end
contingency "P6:2667" / 1385 N11_Vdrop
open branch from bus '5COOPER1 161.0' to bus '5PULASK CO J 161.0' ckt 1 / 342715 5COOPER1 161 342790 5PULASK CO J 161 1
open branch from bus '5PULASK CO 161.0' to bus '5PULASK CO J 161.0' ckt 1 / 342787 5PULASK CO 161 342790 5PULASK CO J 161 1
open branch from bus '5PULASK CO 161.0' to bus '2PULASK CO 69.00' ckt 1 / 342787 5PULASK CO 161 342115 2PULASK CO 69.0 1
open branch from bus '5LIBERTY J 161.0' to bus '5PULASK CO J 161.0' ckt 1 / 342760 5LIBERTY J 161 342790 5PULASK CO J 161 1
open branch from bus '7ALCALDE 345.0' to bus '7BROWN NORTH 345.0' ckt 1 / 324100 7ALCALDE 345 324102 7BROWN NORTH 345 1
open branch from bus '7ALCALDE 345.0' to bus '7PINEVILLE 345.0' ckt 1 / 324100 7ALCALDE 345 324112 7PINEVILLE 345 1
open branch from bus '7ALCALDE 345.0' to bus '5ALCALDE 161.0' ckt 1 / 324100 7ALCALDE 345 324130 5ALCALDE 161 1
end
contingency "P6:11361" / 1386 N11_Vdrop
open branch from bus '7ALCALDE 345.0' to bus '7BROWN NORTH 345.0' ckt 1 / 324100 7ALCALDE 345 324102 7BROWN NORTH 345 1
open branch from bus '7ALCALDE 345.0' to bus '7PINEVILLE 345.0' ckt 1 / 324100 7ALCALDE 345 324112 7PINEVILLE 345 1
open branch from bus '7ALCALDE 345.0' to bus '5ALCALDE 161.0' ckt 1 / 324100 7ALCALDE 345 324130 5ALCALDE 161 1
open branch from bus '5COOPER1 161.0' to bus '5PULASK CO J 161.0' ckt 1 / 342715 5COOPER1 161 342790 5PULASK CO J 161 1
open branch from bus '5PULASK CO 161.0' to bus '5PULASK CO J 161.0' ckt 1 / 342787 5PULASK CO 161 342790 5PULASK CO J 161 1
open branch from bus '5PULASK CO 161.0' to bus '2PULASK CO 69.00' ckt 1 / 342787 5PULASK CO 161 342115 2PULASK CO 69.0 1
open branch from bus '5LIBERTY J 161.0' to bus '5PULASK CO J 161.0' ckt 1 / 342760 5LIBERTY J 161 342790 5PULASK CO J 161 1
end
contingency "P6:13063" / 1387 N11_Vdrop
open branch from bus '5ALCALDE 161.0' to bus '5ELIHU 161.0' ckt 1 / 324130 5ALCALDE 161 324141 5ELIHU 161 1
open branch from bus '5ELIHU 161.0' to bus '5COOPER2 161.0' ckt 1 / 324141 5ELIHU 161 342718 5COOPER2 161 1
open branch from bus '5ELIHU 161.0' to bus '2ELIHU 69.00' ckt 1 / 324141 5ELIHU 161 324514 2ELIHU 69.0 1
open branch from bus '5ELIHU 161.0' to bus '2ELIHU 69.00' ckt 2 / 324141 5ELIHU 161 324514 2ELIHU 69.0 2
open branch from bus '5TOMPKNSV TP 161.0' to bus '5BURKSVLTP 161.0' ckt 1 / 361064 5TOMPKNSV TP 161 361666 5BURKSVLTP 161 1
end
contingency "P6:15961" / 1388 N11_Vdrop
open branch from bus '5TOMPKNSV TP 161.0' to bus '5BURKSVLTP 161.0' ckt 1 / 361064 5TOMPKNSV TP 161 361666 5BURKSVLTP 161 1
open branch from bus '5ALCALDE 161.0' to bus '5ELIHU 161.0' ckt 1 / 324130 5ALCALDE 161 324141 5ELIHU 161 1
open branch from bus '5ELIHU 161.0' to bus '5COOPER2 161.0' ckt 1 / 324141 5ELIHU 161 342718 5COOPER2 161 1
open branch from bus '5ELIHU 161.0' to bus '2ELIHU 69.00' ckt 1 / 324141 5ELIHU 161 324514 2ELIHU 69.0 1
open branch from bus '5ELIHU 161.0' to bus '2ELIHU 69.00' ckt 2 / 324141 5ELIHU 161 324514 2ELIHU 69.0 2
end
contingency "P6:13099" / 1389 N11_Vdrop
open branch from bus '5ALCALDE 161.0' to bus '5ELIHU 161.0' ckt 1 / 324130 5ALCALDE 161 324141 5ELIHU 161 1
open branch from bus '5ELIHU 161.0' to bus '5COOPER2 161.0' ckt 1 / 324141 5ELIHU 161 342718 5COOPER2 161 1
open branch from bus '5ELIHU 161.0' to bus '2ELIHU 69.00' ckt 1 / 324141 5ELIHU 161 324514 2ELIHU 69.0 1
open branch from bus '5ELIHU 161.0' to bus '2ELIHU 69.00' ckt 2 / 324141 5ELIHU 161 324514 2ELIHU 69.0 2
open branch from bus '5TOMPKNSV PS 161.0' to bus '5W TOMPKINST 161.0' ckt 1 / 361117 5TOMPKNSV PS 161 361246 5W TOMPKINST 161 1
end
contingency "P6:21793" / 1390 N11_Vdrop
open branch from bus '5TOMPKNSV PS 161.0' to bus '5W TOMPKINST 161.0' ckt 1 / 361117 5TOMPKNSV PS 161 361246 5W TOMPKINST 161 1
open branch from bus '5ALCALDE 161.0' to bus '5ELIHU 161.0' ckt 1 / 324130 5ALCALDE 161 324141 5ELIHU 161 1
open branch from bus '5ELIHU 161.0' to bus '5COOPER2 161.0' ckt 1 / 324141 5ELIHU 161 342718 5COOPER2 161 1
open branch from bus '5ELIHU 161.0' to bus '2ELIHU 69.00' ckt 1 / 324141 5ELIHU 161 324514 2ELIHU 69.0 1
open branch from bus '5ELIHU 161.0' to bus '2ELIHU 69.00' ckt 2 / 324141 5ELIHU 161 324514 2ELIHU 69.0 2
end
contingency "P6:5611" / 1391 N11_Vdrop
open branch from bus '5ALCALDE 161.0' to bus '5ELIHU 161.0' ckt 1 / 324130 5ALCALDE 161 324141 5ELIHU 161 1
open branch from bus '5TOMPKNSV TP 161.0' to bus '5BURKSVLTP 161.0' ckt 1 / 361064 5TOMPKNSV TP 161 361666 5BURKSVLTP 161 1
end
contingency "P6:5647" / 1392 N11_Vdrop
open branch from bus '5ALCALDE 161.0' to bus '5ELIHU 161.0' ckt 1 / 324130 5ALCALDE 161 324141 5ELIHU 161 1
open branch from bus '5TOMPKNSV PS 161.0' to bus '5W TOMPKINST 161.0' ckt 1 / 361117 5TOMPKNSV PS 161 361246 5W TOMPKINST 161 1
end
contingency "P6:13101" / 1393 N11_Vdrop
open branch from bus '5ALCALDE 161.0' to bus '5ELIHU 161.0' ckt 1 / 324130 5ALCALDE 161 324141 5ELIHU 161 1
open branch from bus '5ELIHU 161.0' to bus '5COOPER2 161.0' ckt 1 / 324141 5ELIHU 161 342718 5COOPER2 161 1
open branch from bus '5ELIHU 161.0' to bus '2ELIHU 69.00' ckt 1 / 324141 5ELIHU 161 324514 2ELIHU 69.0 1
open branch from bus '5ELIHU 161.0' to bus '2ELIHU 69.00' ckt 2 / 324141 5ELIHU 161 324514 2ELIHU 69.0 2
open branch from bus '5BURKSVLTP 161.0' to bus '5BURKESVL KY 161.0' ckt 1 / 361666 5BURKSVLTP 161 361667 5BURKESVL KY 161 1
end
contingency "P6:22117" / 1394 N11_Vdrop
open branch from bus '5BURKSVLTP 161.0' to bus '5BURKESVL KY 161.0' ckt 1 / 361666 5BURKSVLTP 161 361667 5BURKESVL KY 161 1
open branch from bus '5ALCALDE 161.0' to bus '5ELIHU 161.0' ckt 1 / 324130 5ALCALDE 161 324141 5ELIHU 161 1
open branch from bus '5ELIHU 161.0' to bus '5COOPER2 161.0' ckt 1 / 324141 5ELIHU 161 342718 5COOPER2 161 1
open branch from bus '5ELIHU 161.0' to bus '2ELIHU 69.00' ckt 1 / 324141 5ELIHU 161 324514 2ELIHU 69.0 1
open branch from bus '5ELIHU 161.0' to bus '2ELIHU 69.00' ckt 2 / 324141 5ELIHU 161 324514 2ELIHU 69.0 2
end
contingency "P6:5649" / 1395 N11_Vdrop
open branch from bus '5ALCALDE 161.0' to bus '5ELIHU 161.0' ckt 1 / 324130 5ALCALDE 161 324141 5ELIHU 161 1
open branch from bus '5BURKSVLTP 161.0' to bus '5BURKESVL KY 161.0' ckt 1 / 361666 5BURKSVLTP 161 361667 5BURKESVL KY 161 1
end
contingency "P6:3164" / 1396 N11_Vdrop
open branch from bus '5MCCREARY CO 161.0' to bus '5WAYNE CO KY 161.0' ckt 1 / 342778 5MCCREARY CO 161 360486 5WAYNE CO KY 161 1
open branch from bus '5WOLF CRK HP 161.0' to bus '5WAYNE CO KY 161.0' ckt 1 / 360448 5WOLF CRK HP 161 360486 5WAYNE CO KY 161 1
open branch from bus '5WAYNE CO 161.0' to bus '5WAYNE CO KY 161.0' ckt 1 / 342823 5WAYNE CO 161 360486 5WAYNE CO KY 161 1
open branch from bus '5WAYNE CO 161.0' to bus '2WAYNE CO 69.00' ckt 1 / 342823 5WAYNE CO 161 342478 2WAYNE CO 69.0 1
open branch from bus '4DANVILE N T 138.0' to bus '4LEBANON 138.0' ckt 1 / 324239 4DANVILE N T 138 324271 4LEBANON 138 1
open branch from bus '4LEBANON WES 138.0' to bus '4LEBANON 138.0' ckt 1 / 324270 4LEBANON WES 138 324271 4LEBANON 138 1
open branch from bus '4LEBANON 138.0' to bus '4MARION CO 138.0' ckt 1 / 324271 4LEBANON 138 342770 4MARION CO 138 1
open branch from bus '4LEBANON 138.0' to bus '2LEBANON 69.00' ckt 1 / 324271 4LEBANON 138 324606 2LEBANON 69.0 1
open branch from bus '4LEBANON 138.0' to bus '2LEBANON 69.00' ckt 2 / 324271 4LEBANON 138 324606 2LEBANON 69.0 2
end
contingency "P6:13146" / 1397 N11_Vdrop
open branch from bus '4DANVILE N T 138.0' to bus '4LEBANON 138.0' ckt 1 / 324239 4DANVILE N T 138 324271 4LEBANON 138 1
open branch from bus '4LEBANON WES 138.0' to bus '4LEBANON 138.0' ckt 1 / 324270 4LEBANON WES 138 324271 4LEBANON 138 1
open branch from bus '4LEBANON 138.0' to bus '4MARION CO 138.0' ckt 1 / 324271 4LEBANON 138 342770 4MARION CO 138 1
open branch from bus '4LEBANON 138.0' to bus '2LEBANON 69.00' ckt 1 / 324271 4LEBANON 138 324606 2LEBANON 69.0 1
open branch from bus '4LEBANON 138.0' to bus '2LEBANON 69.00' ckt 2 / 324271 4LEBANON 138 324606 2LEBANON 69.0 2
open branch from bus '5MCCREARY CO 161.0' to bus '5WAYNE CO KY 161.0' ckt 1 / 342778 5MCCREARY CO 161 360486 5WAYNE CO KY 161 1
open branch from bus '5WOLF CRK HP 161.0' to bus '5WAYNE CO KY 161.0' ckt 1 / 360448 5WOLF CRK HP 161 360486 5WAYNE CO KY 161 1
open branch from bus '5WAYNE CO 161.0' to bus '5WAYNE CO KY 161.0' ckt 1 / 342823 5WAYNE CO 161 360486 5WAYNE CO KY 161 1
open branch from bus '5WAYNE CO 161.0' to bus '2WAYNE CO 69.00' ckt 1 / 342823 5WAYNE CO 161 342478 2WAYNE CO 69.0 1
end
contingency "P6:345" / 1398 N11_Vdrop
open branch from bus '2FERGUSON SO 69.00' to bus '2SOMERSET KU 69.00' ckt 1 / 324531 2FERGUSON SO 69.0 342287 2SOMERSET KU 69.0 1
open branch from bus '2ELIHU 69.00' to bus '2FERGUSON SO 69.00' ckt 1 / 324514 2ELIHU 69.0 324531 2FERGUSON SO 69.0 1
open branch from bus '5COOPER1 161.0' to bus '5PULASK CO J 161.0' ckt 1 / 342715 5COOPER1 161 342790 5PULASK CO J 161 1
open branch from bus '5PULASK CO 161.0' to bus '5PULASK CO J 161.0' ckt 1 / 342787 5PULASK CO 161 342790 5PULASK CO J 161 1
open branch from bus '5PULASK CO 161.0' to bus '2PULASK CO 69.00' ckt 1 / 342787 5PULASK CO 161 342115 2PULASK CO 69.0 1
open branch from bus '5LIBERTY J 161.0' to bus '5PULASK CO J 161.0' ckt 1 / 342760 5LIBERTY J 161 342790 5PULASK CO J 161 1
end
contingency "P6:2596" / 1399 N11_Vdrop
open branch from bus '5COOPER1 161.0' to bus '5PULASK CO J 161.0' ckt 1 / 342715 5COOPER1 161 342790 5PULASK CO J 161 1
open branch from bus '5PULASK CO 161.0' to bus '5PULASK CO J 161.0' ckt 1 / 342787 5PULASK CO 161 342790 5PULASK CO J 161 1
open branch from bus '5PULASK CO 161.0' to bus '2PULASK CO 69.00' ckt 1 / 342787 5PULASK CO 161 342115 2PULASK CO 69.0 1
open branch from bus '5LIBERTY J 161.0' to bus '5PULASK CO J 161.0' ckt 1 / 342760 5LIBERTY J 161 342790 5PULASK CO J 161 1
open branch from bus '2FERGUSON SO 69.00' to bus '2SOMERSET KU 69.00' ckt 1 / 324531 2FERGUSON SO 69.0 342287 2SOMERSET KU 69.0 1
open branch from bus '2ELIHU 69.00' to bus '2FERGUSON SO 69.00' ckt 1 / 324514 2ELIHU 69.0 324531 2FERGUSON SO 69.0 1
end
contingency "P6:8656" / 1400 N11_Vdrop
open branch from bus '5LAKE REBA T 161.0' to bus '5W IRVINE T 161.0' ckt 1 / 324152 5LAKE REBA T 161 324165 5W IRVINE T 161 1
open branch from bus '5ALCALDE 161.0' to bus '5FARLEY 161.0' ckt 1 / 324130 5ALCALDE 161 324143 5FARLEY 161 1
open branch from bus '5ARTEMUS TAP 161.0' to bus '5FARLEY 161.0' ckt 1 / 324132 5ARTEMUS TAP 161 324143 5FARLEY 161 1
open branch from bus '5FARLEY 161.0' to bus '2FARLEY KU 69.00' ckt 1 / 324143 5FARLEY 161 324527 2FARLEY KU 69.0 1
end
contingency "P6:10588" / 1401 N11_Vdrop
open branch from bus '5ALCALDE 161.0' to bus '5FARLEY 161.0' ckt 1 / 324130 5ALCALDE 161 324143 5FARLEY 161 1
open branch from bus '5ARTEMUS TAP 161.0' to bus '5FARLEY 161.0' ckt 1 / 324132 5ARTEMUS TAP 161 324143 5FARLEY 161 1
open branch from bus '5FARLEY 161.0' to bus '2FARLEY KU 69.00' ckt 1 / 324143 5FARLEY 161 324527 2FARLEY KU 69.0 1
open branch from bus '5LAKE REBA T 161.0' to bus '5W IRVINE T 161.0' ckt 1 / 324152 5LAKE REBA T 161 324165 5W IRVINE T 161 1
end
contingency "P6:3789" / 1402 N11_Vdrop
open branch from bus '5GREEN HAL T 161.0' to bus '5TYNER 161.0' ckt 1 / 342736 5GREEN HAL T 161 342820 5TYNER 161 1
open branch from bus '5GREEN HAL T 161.0' to bus '5GREEN HALL 161.0' ckt 1 / 342736 5GREEN HAL T 161 342739 5GREEN HALL 161 1
open branch from bus '5DELVINTA 161.0' to bus '5GREEN HAL T 161.0' ckt 1 / 324138 5DELVINTA 161 342736 5GREEN HAL T 161 1
open branch from bus '8POCKET N 500.0' to bus '5POCKET N 161.0' ckt 1 / 324073 8POCKET N 500 324157 5POCKET N 161 1
end
contingency "P6:3805" / 1403 N11_Vdrop
open branch from bus '5GREEN HAL T 161.0' to bus '5TYNER 161.0' ckt 1 / 342736 5GREEN HAL T 161 342820 5TYNER 161 1
open branch from bus '5GREEN HAL T 161.0' to bus '5GREEN HALL 161.0' ckt 1 / 342736 5GREEN HAL T 161 342739 5GREEN HALL 161 1
open branch from bus '5DELVINTA 161.0' to bus '5GREEN HAL T 161.0' ckt 1 / 324138 5DELVINTA 161 342736 5GREEN HAL T 161 1
open branch from bus '8POCKET N 500.0' to bus '8PHIPPS B NP 500.0' ckt 1 / 324073 8POCKET N 500 360102 8PHIPPS B NP 500 1
end
contingency "P6:9424" / 1404 N11_Vdrop
open branch from bus '8POCKET N 500.0' to bus '5POCKET N 161.0' ckt 1 / 324073 8POCKET N 500 324157 5POCKET N 161 1
open branch from bus '5GREEN HAL T 161.0' to bus '5TYNER 161.0' ckt 1 / 342736 5GREEN HAL T 161 342820 5TYNER 161 1
open branch from bus '5GREEN HAL T 161.0' to bus '5GREEN HALL 161.0' ckt 1 / 342736 5GREEN HAL T 161 342739 5GREEN HALL 161 1
open branch from bus '5DELVINTA 161.0' to bus '5GREEN HAL T 161.0' ckt 1 / 324138 5DELVINTA 161 342736 5GREEN HAL T 161 1
end
contingency "P6:12016" / 1405 N11_Vdrop
open branch from bus '8POCKET N 500.0' to bus '8PHIPPS B NP 500.0' ckt 1 / 324073 8POCKET N 500 360102 8PHIPPS B NP 500 1
open branch from bus '5GREEN HAL T 161.0' to bus '5TYNER 161.0' ckt 1 / 342736 5GREEN HAL T 161 342820 5TYNER 161 1
open branch from bus '5GREEN HAL T 161.0' to bus '5GREEN HALL 161.0' ckt 1 / 342736 5GREEN HAL T 161 342739 5GREEN HALL 161 1
open branch from bus '5DELVINTA 161.0' to bus '5GREEN HAL T 161.0' ckt 1 / 324138 5DELVINTA 161 342736 5GREEN HAL T 161 1
end
contingency "P6:9462" / 1406 N11_Vdrop
open branch from bus '8POCKET N 500.0' to bus '5POCKET N 161.0' ckt 1 / 324073 8POCKET N 500 324157 5POCKET N 161 1
open branch from bus '7PINEVILLE 345.0' to bus '5PINEVILLE 2 161.0' ckt 1 / 324112 7PINEVILLE 345 324167 5PINEVILLE 2 161 1
end
contingency "P6:10438" / 1407 N11_Vdrop
open branch from bus '5DELVINTA 161.0' to bus '5W IRVINE T 161.0' ckt 1 / 324138 5DELVINTA 161 324165 5W IRVINE T 161 1
open branch from bus '5LAKE REBA T 161.0' to bus '5W IRVINE T 161.0' ckt 1 / 324152 5LAKE REBA T 161 324165 5W IRVINE T 161 1
open branch from bus '5WEST IRVINE 161.0' to bus '5W IRVINE T 161.0' ckt 1 / 324163 5WEST IRVINE 161 324165 5W IRVINE T 161 1
open branch from bus '5WEST IRVINE 161.0' to bus '2WEST IRVINE 69.00' ckt 1 / 324163 5WEST IRVINE 161 324767 2WEST IRVINE 69.0 1
open branch from bus '5ALCALDE 161.0' to bus '5FARLEY 161.0' ckt 1 / 324130 5ALCALDE 161 324143 5FARLEY 161 1
open branch from bus '5ARTEMUS TAP 161.0' to bus '5FARLEY 161.0' ckt 1 / 324132 5ARTEMUS TAP 161 324143 5FARLEY 161 1
open branch from bus '5FARLEY 161.0' to bus '2FARLEY KU 69.00' ckt 1 / 324143 5FARLEY 161 324527 2FARLEY KU 69.0 1
end
contingency "P6:10599" / 1408 N11_Vdrop
open branch from bus '5ALCALDE 161.0' to bus '5FARLEY 161.0' ckt 1 / 324130 5ALCALDE 161 324143 5FARLEY 161 1
open branch from bus '5ARTEMUS TAP 161.0' to bus '5FARLEY 161.0' ckt 1 / 324132 5ARTEMUS TAP 161 324143 5FARLEY 161 1
open branch from bus '5FARLEY 161.0' to bus '2FARLEY KU 69.00' ckt 1 / 324143 5FARLEY 161 324527 2FARLEY KU 69.0 1
open branch from bus '5DELVINTA 161.0' to bus '5W IRVINE T 161.0' ckt 1 / 324138 5DELVINTA 161 324165 5W IRVINE T 161 1
open branch from bus '5LAKE REBA T 161.0' to bus '5W IRVINE T 161.0' ckt 1 / 324152 5LAKE REBA T 161 324165 5W IRVINE T 161 1
open branch from bus '5WEST IRVINE 161.0' to bus '5W IRVINE T 161.0' ckt 1 / 324163 5WEST IRVINE 161 324165 5W IRVINE T 161 1
open branch from bus '5WEST IRVINE 161.0' to bus '2WEST IRVINE 69.00' ckt 1 / 324163 5WEST IRVINE 161 324767 2WEST IRVINE 69.0 1
end
contingency "P6:9952" / 1409 N11_Vdrop
open branch from bus '7PINEVILLE 345.0' to bus '5PINEVILLE 2 161.0' ckt 1 / 324112 7PINEVILLE 345 324167 5PINEVILLE 2 161 1
open branch from bus '5ALCALDE 161.0' to bus '5FARLEY 161.0' ckt 1 / 324130 5ALCALDE 161 324143 5FARLEY 161 1
open branch from bus '5ARTEMUS TAP 161.0' to bus '5FARLEY 161.0' ckt 1 / 324132 5ARTEMUS TAP 161 324143 5FARLEY 161 1
open branch from bus '5FARLEY 161.0' to bus '2FARLEY KU 69.00' ckt 1 / 324143 5FARLEY 161 324527 2FARLEY KU 69.0 1
end
contingency "P6:10596" / 1410 N11_Vdrop
open branch from bus '5ALCALDE 161.0' to bus '5FARLEY 161.0' ckt 1 / 324130 5ALCALDE 161 324143 5FARLEY 161 1
open branch from bus '5ARTEMUS TAP 161.0' to bus '5FARLEY 161.0' ckt 1 / 324132 5ARTEMUS TAP 161 324143 5FARLEY 161 1
open branch from bus '5FARLEY 161.0' to bus '2FARLEY KU 69.00' ckt 1 / 324143 5FARLEY 161 324527 2FARLEY KU 69.0 1
open branch from bus '7PINEVILLE 345.0' to bus '5PINEVILLE 2 161.0' ckt 1 / 324112 7PINEVILLE 345 324167 5PINEVILLE 2 161 1
end
contingency "P6:3879" / 1411 N11_Vdrop
open branch from bus '5GREEN HAL T 161.0' to bus '5TYNER 161.0' ckt 1 / 342736 5GREEN HAL T 161 342820 5TYNER 161 1
open branch from bus '5GREEN HAL T 161.0' to bus '5GREEN HALL 161.0' ckt 1 / 342736 5GREEN HAL T 161 342739 5GREEN HALL 161 1
open branch from bus '5DELVINTA 161.0' to bus '5GREEN HAL T 161.0' ckt 1 / 324138 5DELVINTA 161 342736 5GREEN HAL T 161 1
remove swshunt from bus '5SUMMER SHAD 161.0' /* 360334 5SUMMER SHAD 161
end
contingency "P6:24004" / 1412 N11_Vdrop
open branch from bus '5GREEN HAL T 161.0' to bus '5TYNER 161.0' ckt 1 / 342736 5GREEN HAL T 161 342820 5TYNER 161 1
open branch from bus '5GREEN HAL T 161.0' to bus '5GREEN HALL 161.0' ckt 1 / 342736 5GREEN HAL T 161 342739 5GREEN HALL 161 1
open branch from bus '5DELVINTA 161.0' to bus '5GREEN HAL T 161.0' ckt 1 / 324138 5DELVINTA 161 342736 5GREEN HAL T 161 1
remove swshunt from bus '5SUMMER SHAD 161.0' /* 360334 5SUMMER SHAD 161
end
contingency "P6:9472" / 1413 N11_Vdrop
open branch from bus '8POCKET N 500.0' to bus '5POCKET N 161.0' ckt 1 / 324073 8POCKET N 500 324157 5POCKET N 161 1
open branch from bus '7PINEVILLE 345.0' to bus '5PINEVILLE 2 161.0' ckt 1 / 324112 7PINEVILLE 345 324167 5PINEVILLE 2 161 1
open branch from bus '5PINEVILLE 2 161.0' to bus '2PINEVILLE 69.00' ckt 2 / 324167 5PINEVILLE 2 161 324686 2PINEVILLE 69.0 2
end
contingency "P6:11565" / 1414 N11_Vdrop
open branch from bus '7PINEVILLE 345.0' to bus '5PINEVILLE 2 161.0' ckt 1 / 324112 7PINEVILLE 345 324167 5PINEVILLE 2 161 1
open branch from bus '5PINEVILLE 2 161.0' to bus '2PINEVILLE 69.00' ckt 2 / 324167 5PINEVILLE 2 161 324686 2PINEVILLE 69.0 2
open branch from bus '8POCKET N 500.0' to bus '5POCKET N 161.0' ckt 1 / 324073 8POCKET N 500 324157 5POCKET N 161 1
end
contingency "P6:3774" / 1415 N11_Vdrop
open branch from bus '5GREEN HAL T 161.0' to bus '5TYNER 161.0' ckt 1 / 342736 5GREEN HAL T 161 342820 5TYNER 161 1
open branch from bus '5GREEN HAL T 161.0' to bus '5GREEN HALL 161.0' ckt 1 / 342736 5GREEN HAL T 161 342739 5GREEN HALL 161 1
open branch from bus '5DELVINTA 161.0' to bus '5GREEN HAL T 161.0' ckt 1 / 324138 5DELVINTA 161 342736 5GREEN HAL T 161 1
open branch from bus '7ALCALDE 345.0' to bus '7BROWN NORTH 345.0' ckt 1 / 324100 7ALCALDE 345 324102 7BROWN NORTH 345 1
end
contingency "P6:6994" / 1416 N11_Vdrop
open branch from bus '7ALCALDE 345.0' to bus '7BROWN NORTH 345.0' ckt 1 / 324100 7ALCALDE 345 324102 7BROWN NORTH 345 1
open branch from bus '5GREEN HAL T 161.0' to bus '5TYNER 161.0' ckt 1 / 342736 5GREEN HAL T 161 342820 5TYNER 161 1
open branch from bus '5GREEN HAL T 161.0' to bus '5GREEN HALL 161.0' ckt 1 / 342736 5GREEN HAL T 161 342739 5GREEN HALL 161 1
open branch from bus '5DELVINTA 161.0' to bus '5GREEN HAL T 161.0' ckt 1 / 324138 5DELVINTA 161 342736 5GREEN HAL T 161 1
end
contingency "P6:3778" / 1417 N11_Vdrop
open branch from bus '5GREEN HAL T 161.0' to bus '5TYNER 161.0' ckt 1 / 342736 5GREEN HAL T 161 342820 5TYNER 161 1
open branch from bus '5GREEN HAL T 161.0' to bus '5GREEN HALL 161.0' ckt 1 / 342736 5GREEN HAL T 161 342739 5GREEN HALL 161 1
open branch from bus '5DELVINTA 161.0' to bus '5GREEN HAL T 161.0' ckt 1 / 324138 5DELVINTA 161 342736 5GREEN HAL T 161 1
open branch from bus '5ALCALDE 161.0' to bus '5FARLEY 161.0' ckt 1 / 324130 5ALCALDE 161 324143 5FARLEY 161 1
end
contingency "P6:7642" / 1418 N11_Vdrop
open branch from bus '5ALCALDE 161.0' to bus '5FARLEY 161.0' ckt 1 / 324130 5ALCALDE 161 324143 5FARLEY 161 1
open branch from bus '5GREEN HAL T 161.0' to bus '5TYNER 161.0' ckt 1 / 342736 5GREEN HAL T 161 342820 5TYNER 161 1
open branch from bus '5GREEN HAL T 161.0' to bus '5GREEN HALL 161.0' ckt 1 / 342736 5GREEN HAL T 161 342739 5GREEN HALL 161 1
open branch from bus '5DELVINTA 161.0' to bus '5GREEN HAL T 161.0' ckt 1 / 324138 5DELVINTA 161 342736 5GREEN HAL T 161 1
end
contingency "P6:9965" / 1419 N11_Vdrop
open branch from bus '7PINEVILLE 345.0' to bus '5PINEVILLE 2 161.0' ckt 1 / 324112 7PINEVILLE 345 324167 5PINEVILLE 2 161 1
open branch from bus '8PINEVILLE 500.0' to bus '8POCKET N 500.0' ckt 1 / 324072 8PINEVILLE 500 324073 8POCKET N 500 1
open branch from bus '8POCKET N 500.0' to bus '8PHIPPS B NP 500.0' ckt 1 / 324073 8POCKET N 500 360102 8PHIPPS B NP 500 1
open branch from bus '8POCKET N 500.0' to bus '5POCKET N 161.0' ckt 1 / 324073 8POCKET N 500 324157 5POCKET N 161 1
open branch from bus '8PINEVILLE 500.0' to bus '7PINEVILLE 345.0' ckt 1 / 324072 8PINEVILLE 500 324112 7PINEVILLE 345 1
end
contingency "P6:12702" / 1420 N11_Vdrop
open branch from bus '8PINEVILLE 500.0' to bus '8POCKET N 500.0' ckt 1 / 324072 8PINEVILLE 500 324073 8POCKET N 500 1
open branch from bus '8POCKET N 500.0' to bus '8PHIPPS B NP 500.0' ckt 1 / 324073 8POCKET N 500 360102 8PHIPPS B NP 500 1
open branch from bus '8POCKET N 500.0' to bus '5POCKET N 161.0' ckt 1 / 324073 8POCKET N 500 324157 5POCKET N 161 1
open branch from bus '8PINEVILLE 500.0' to bus '7PINEVILLE 345.0' ckt 1 / 324072 8PINEVILLE 500 324112 7PINEVILLE 345 1
open branch from bus '7PINEVILLE 345.0' to bus '5PINEVILLE 2 161.0' ckt 1 / 324112 7PINEVILLE 345 324167 5PINEVILLE 2 161 1
end
contingency "P6:10613" / 1421 N11_Vdrop
open branch from bus '5ALCALDE 161.0' to bus '5FARLEY 161.0' ckt 1 / 324130 5ALCALDE 161 324143 5FARLEY 161 1
open branch from bus '5ARTEMUS TAP 161.0' to bus '5FARLEY 161.0' ckt 1 / 324132 5ARTEMUS TAP 161 324143 5FARLEY 161 1
open branch from bus '5FARLEY 161.0' to bus '2FARLEY KU 69.00' ckt 1 / 324143 5FARLEY 161 324527 2FARLEY KU 69.0 1
open branch from bus '8PINEVILLE 500.0' to bus '8POCKET N 500.0' ckt 1 / 324072 8PINEVILLE 500 324073 8POCKET N 500 1
open branch from bus '8POCKET N 500.0' to bus '8PHIPPS B NP 500.0' ckt 1 / 324073 8POCKET N 500 360102 8PHIPPS B NP 500 1
open branch from bus '8POCKET N 500.0' to bus '5POCKET N 161.0' ckt 1 / 324073 8POCKET N 500 324157 5POCKET N 161 1
open branch from bus '8PINEVILLE 500.0' to bus '7PINEVILLE 345.0' ckt 1 / 324072 8PINEVILLE 500 324112 7PINEVILLE 345 1
end
contingency "P6:12706" / 1422 N11_Vdrop
open branch from bus '8PINEVILLE 500.0' to bus '8POCKET N 500.0' ckt 1 / 324072 8PINEVILLE 500 324073 8POCKET N 500 1
open branch from bus '8POCKET N 500.0' to bus '8PHIPPS B NP 500.0' ckt 1 / 324073 8POCKET N 500 360102 8PHIPPS B NP 500 1
open branch from bus '8POCKET N 500.0' to bus '5POCKET N 161.0' ckt 1 / 324073 8POCKET N 500 324157 5POCKET N 161 1
open branch from bus '8PINEVILLE 500.0' to bus '7PINEVILLE 345.0' ckt 1 / 324072 8PINEVILLE 500 324112 7PINEVILLE 345 1
open branch from bus '5ALCALDE 161.0' to bus '5FARLEY 161.0' ckt 1 / 324130 5ALCALDE 161 324143 5FARLEY 161 1
open branch from bus '5ARTEMUS TAP 161.0' to bus '5FARLEY 161.0' ckt 1 / 324132 5ARTEMUS TAP 161 324143 5FARLEY 161 1
open branch from bus '5FARLEY 161.0' to bus '2FARLEY KU 69.00' ckt 1 / 324143 5FARLEY 161 324527 2FARLEY KU 69.0 1
end
contingency "P6:11585" / 1423 N11_Vdrop
open branch from bus '7PINEVILLE 345.0' to bus '5PINEVILLE 2 161.0' ckt 1 / 324112 7PINEVILLE 345 324167 5PINEVILLE 2 161 1
open branch from bus '5PINEVILLE 2 161.0' to bus '2PINEVILLE 69.00' ckt 2 / 324167 5PINEVILLE 2 161 324686 2PINEVILLE 69.0 2
open branch from bus '8PINEVILLE 500.0' to bus '8POCKET N 500.0' ckt 1 / 324072 8PINEVILLE 500 324073 8POCKET N 500 1
open branch from bus '8POCKET N 500.0' to bus '8PHIPPS B NP 500.0' ckt 1 / 324073 8POCKET N 500 360102 8PHIPPS B NP 500 1
open branch from bus '8POCKET N 500.0' to bus '5POCKET N 161.0' ckt 1 / 324073 8POCKET N 500 324157 5POCKET N 161 1
open branch from bus '8PINEVILLE 500.0' to bus '7PINEVILLE 345.0' ckt 1 / 324072 8PINEVILLE 500 324112 7PINEVILLE 345 1
end
contingency "P6:12712" / 1424 N11_Vdrop
open branch from bus '8PINEVILLE 500.0' to bus '8POCKET N 500.0' ckt 1 / 324072 8PINEVILLE 500 324073 8POCKET N 500 1
open branch from bus '8POCKET N 500.0' to bus '8PHIPPS B NP 500.0' ckt 1 / 324073 8POCKET N 500 360102 8PHIPPS B NP 500 1
open branch from bus '8POCKET N 500.0' to bus '5POCKET N 161.0' ckt 1 / 324073 8POCKET N 500 324157 5POCKET N 161 1
open branch from bus '8PINEVILLE 500.0' to bus '7PINEVILLE 345.0' ckt 1 / 324072 8PINEVILLE 500 324112 7PINEVILLE 345 1
open branch from bus '7PINEVILLE 345.0' to bus '5PINEVILLE 2 161.0' ckt 1 / 324112 7PINEVILLE 345 324167 5PINEVILLE 2 161 1
open branch from bus '5PINEVILLE 2 161.0' to bus '2PINEVILLE 69.00' ckt 2 / 324167 5PINEVILLE 2 161 324686 2PINEVILLE 69.0 2
end
contingency "P6:3781" / 1425 N11_Vdrop
open branch from bus '5GREEN HAL T 161.0' to bus '5TYNER 161.0' ckt 1 / 342736 5GREEN HAL T 161 342820 5TYNER 161 1
open branch from bus '5GREEN HAL T 161.0' to bus '5GREEN HALL 161.0' ckt 1 / 342736 5GREEN HAL T 161 342739 5GREEN HALL 161 1
open branch from bus '5DELVINTA 161.0' to bus '5GREEN HAL T 161.0' ckt 1 / 324138 5DELVINTA 161 342736 5GREEN HAL T 161 1
open branch from bus '5ARTEMUS TAP 161.0' to bus '5FARLEY 161.0' ckt 1 / 324132 5ARTEMUS TAP 161 324143 5FARLEY 161 1
end
contingency "P6:8128" / 1426 N11_Vdrop
open branch from bus '5ARTEMUS TAP 161.0' to bus '5FARLEY 161.0' ckt 1 / 324132 5ARTEMUS TAP 161 324143 5FARLEY 161 1
open branch from bus '5GREEN HAL T 161.0' to bus '5TYNER 161.0' ckt 1 / 342736 5GREEN HAL T 161 342820 5TYNER 161 1
open branch from bus '5GREEN HAL T 161.0' to bus '5GREEN HALL 161.0' ckt 1 / 342736 5GREEN HAL T 161 342739 5GREEN HALL 161 1
open branch from bus '5DELVINTA 161.0' to bus '5GREEN HAL T 161.0' ckt 1 / 324138 5DELVINTA 161 342736 5GREEN HAL T 161 1
end