## Pump Start data
|  | Account Number | Address
200 Mary Ingles Fort Thomas, KY 41075
Date | Reason | # of pump starts
2023-09-22 | communication failure with our monitoring equipment | 1
2023-10-26 | DE Power Outage with ETR at 3:45p.m caused pump start outside of time window 12-4a.m | 1
2023-12-11 | Preventative Maintenance | 1
1-12/24-1/15/24 | pump troubleshooting | multiple
2024-02-28 | equipment failure | 1
2024-04-30 | power failure | 1
2024-05-16 | install new pump motor | 2
2024-06-07 | Maintenance and Resivoir Cleaning - Pumps were off and needed to be started were started inside of window | 3
2024-07-31 | Pump malfunction causes an additional pump start in its place at 2:05p.m | 1
2024-08-07 | Maintenance at pumps at ORPS 1- 3 additional pump starts during daytime hours | 3
2024-08-27 | Three additional starts between 8am-10a.m- annual maintenance | 3
2024-08-30 | Accidental pump start | 1
2024-09-24 | DE Power Outage- Two additional starts 7:47 AM | 2
2024-12-05 | Mechanical Issues - 1 pump start befroe midnight | 1
3/4/25-4/25/25 | Went back to normal operation while the special contract was not in effect | multiple/day
2025-05-12 | annual electrical preventative maintenance tests | 2
2025-05-13 | annual electrical preventative maintenance tests | 2
2025-06-24 | SCADA Programming Issue - high production due to heat 2 pump starts | 2