## PSC 1-16
Excel File Attachment for Response to PSC 1-16
Highest Cost Fuel Unit and Forced Outage Purchased Power
November 2023 - April 2024
| Highest Cost Fuel Unit $/MWH * | Identifiable Fuel Cost (Substitute for Forced Outage) $ | Plus Fuel (Substitue Cost During Forced Outage) $ | Less Fuel (Assigned Cost During Forced Outage) $ | Forced Outage Purchased Power Recovered through Non-FAC PPA $
Nov-23 | 265.1906 | 1088514 | 0 | -640622 | 447892
Dec-23 | 52.114 | 836526 | 0 | -740084 | 96442
Jan-24 | 29.9873 | 893262 | 573209 | -1466471 | 0
Feb-24 | 44.8119 | 766710 | 1897 | -627269 | 141338
Mar-24 | 43.0517 | 11218 | 19462 | -30680 | 0
Apr-24 | 32.3342 | 47018 | 5713 | -52731 | 0
NOTES:
-The Highest Cost Fuel Unit $/MWH is the highest generating fuel cost from the monthly "FuelBurned" sheets (Column K).
- Identifiable Fuel Cost (Substitute for Forced Outage) $ is included in the monthly Form A filing, page 2, part B.
- Fuel (Substitute Cost for Forced Outage) $ is included in the monthly Form A filing, page 2, part A.
- Fuel (Assigned Cost during Forced Outage) $ is included in the monthly Form A filing, page 2, part A.
Case No. 2025-00078
Witness: Becky Shelton

## Form B FuelBurned 11.2023
ComTrac
BIG RIVERS ELECTRIC CORPORATION
FUEL BURNED
| MONTH OF | 2023-11-30
TRUE
| TON/GAL/MCF | Cost | Gross KWH | NET KWH | Mills/KWH
Reid |  | 0 | 0 | 0 | 0
Coal | 0 | 0
Oil | 0 | 0
Gas Turbine |  | 7083.24 | 115580 | 26710 | 265.1906
Oil | 0 | 0
Gas | 2016 | 7083.24
Wilson |  | 5601001.85 | 259528460 | 239341000 | 23.4018
Coal | 110536.91 | 5262482.75
PetCoke | 0 | 0
Oil | 109104.11 | 338519.1
H1 (net of city take) |  | 0 | 0 | -40668 | 0
Coal | 0 | 0
Oil | 0 | 0
H2 (net of city take) |  | 0 | 0 | -40667 | 0
Coal | 0 | 0
Oil | 0 | 0
Station Two |  | 0 | 0 | -81335 | 0
Coal | 0 | 0
Oil | 0 | 0
G1 |  | 282786.26 | 7621700 | 5736164 | 49.2988
Coal | 0 | 0
PetCoke | 0 | 0
Gas | 82313 | 282786.26
G2 |  | 0 | 0 | -1206133 | 0
Coal | 0 | 0
PetCoke | 0 | 0
Gas | 0 | 0
Green |  | 282786.26 | 7621700 | 4530031 | 62.4248
Coal | 0 | 0
PetCoke | 0 | 0
Gas | 82313 | 282786.26
SYSTEM TOTAL |  | 5890871.35 | 267265740 | 243816406 | 24.1611
|  | Line Losses |  | 10427842
|  | System Average |  | 233388564 | 25.2406
| Less: Energy Used by Idled/Retired Units (Reid & Station II) |  |  | -81335
| Total (Net of Line Losses & Energy Used by Idled Units) |  |  | 233469899 | 25.2318
| Coal | 5262482.75
| Pet Coke | 0
| Oil | 338519.1
| Gas | 289869.5
5890871.35

## Form B FuelBurned 12.2023
ComTrac
BIG RIVERS ELECTRIC CORPORATION | [6 empty] | Reid Combustion Turbine - Highest Cost Available Unit
FUEL BURNED
| MONTH OF | 2023-12-31 |  |  |  |  | 2023-12-01
|  |  |  | TRUE |  |  |  | Estimated |  | Estimated |  | Gross | Adjusted Gross | Cost Per
| TON/GAL/MCF | Cost | Gross KWH | NET KWH | Mills/KWH |  |  | Gas | Gross Mw's | Nat Gas Burn | Estimated | Heat Rate | Heat Rate (X%) | Gross Megawatt
[7 empty] | Date | Price |  | (MCF/HR) | BTU/HR | (BTU/KWH) | (BTU/KWH) | ($/mwh)
Reid |  | 0 | 0 | 0 | 0 |  | 2023-12-01 | 3.33 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 40.2652
Coal | 0 | 0 |  |  |  |  | 2023-12-02 | 3.19 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 38.5724
Oil | 0 | 0 |  |  |  |  | 2023-12-03 | 3.19 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 38.5724
[7 empty] | 2023-12-04 | 3.19 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 38.5724
[7 empty] | 2023-12-05 | 3.16 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 38.2096
Gas Turbine |  | 1310.75 | 29420 | -77000 | -17.0227 | * | 2023-12-06 | 3.21 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 38.8142
Oil | 0 | 0 |  |  |  |  | 2023-12-07 | 3.38 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 40.8698
Gas | 405 | 1310.75 |  |  |  |  | 2023-12-08 | 3.15 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 38.0887
[7 empty] | 2023-12-09 | 2.94 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 35.5495
Wilson |  | 5789757.35 | 279105640 | 258403340 | 22.4059 |  | 2023-12-10 | 2.94 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 35.5495
Coal | 118690.7 | 5638402.21 |  |  |  |  | 2023-12-11 | 2.94 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 35.5495
PetCoke | 0 | 0 |  |  |  |  | 2023-12-12 | 2.76 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 33.373
Oil | 54045.15 | 151355.14 |  |  |  |  | 2023-12-13 | 2.86 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 34.5821
[7 empty] | 2023-12-14 | 2.93 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 35.4286
H1 (net of city take) |  | 0 | 0 | -48703 | 0 |  | 2023-12-15 | 2.92 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 35.3076
Coal | 0 | 0 |  |  |  |  | 2023-12-16 | 2.92 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 35.3076
Oil | 0 | 0 |  |  |  |  | 2023-12-17 | 2.92 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 35.3076
[7 empty] | 2023-12-18 | 2.92 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 35.3076
H2 (net of city take) |  | 0 | 0 | -48702 | 0 |  | 2023-12-19 | 3.09 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 37.3632
Coal | 0 | 0 |  |  |  |  | 2023-12-20 | 3.05 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 36.8796
Oil | 0 | 0 |  |  |  |  | 2023-12-21 | 2.92 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 35.3076
[7 empty] | 2023-12-22 | 2.97 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 35.9122
Station Two |  | 0 | 0 | -97405 | 0 |  | 2023-12-23 | 2.92 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 35.3076
Coal | 0 | 0 |  |  |  |  | 2023-12-24 | 2.92 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 35.3076
Oil | 0 | 0 |  |  |  |  | 2023-12-25 | 2.92 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 35.3076
[7 empty] | 2023-12-26 | 2.92 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 35.3076
G1 |  | 258184.52 | 7114322 | 4954226 | 52.114 |  | 2023-12-27 | 2.32 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 28.0527
Coal | 0 | 0 |  |  |  |  | 2023-12-28 | 2.77 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 33.4939
PetCoke | 0 | 0 |  |  |  |  | 2023-12-29 | 2.78 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 33.6148
Gas | 82913 | 258184.52 |  |  |  |  | 2023-12-30 | 2.9 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 35.0658
[7 empty] | 2023-12-31 | 2.9 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 35.0658
G2 |  | 0 | 0 | -1363663 | 0 |  | Average | 3.0743 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 37.1738
Coal | 0 | 0
PetCoke | 0 | 0
Gas | 0 | 0 |  |  |  |  | December Average | [5 empty] | 37.1738 | $/MwH
[7 empty] | December Lowest Gas Price | [5 empty] | 28.0527 | $/MwH
Green |  | 258184.52 | 7114322 | 3590563 | 71.9064
Coal | 0 | 0
PetCoke | 0 | 0
Gas | 82913 | 258184.52
SYSTEM TOTAL |  | 6049252.62 | 286249382 | 261819498 | 23.1047
|  | Line Losses |  | 12088085
|  | System Average |  | 249731413 | 24.223
| Less: Energy Used by Idled/Retired Units (Reid & Station II) |  |  | -97405
| Total (Net of Line Losses & Energy Used by Idled Units) |  |  | 249828818 | 24.2136
| Coal | 5638402.21
| Pet Coke | 0
| Oil | 151355.14
| Gas | 259495.27
6049252.62
* For the Reid CT, if it was AVAILABLE at some time during the month, but never ran during the month,or ran but had negative net generation,
use the lowest estimated $/MWH for the CT provided by ACES for the month for determining whether it was the highest cost available unit during the month.

## Form B FuelBurned 01.2024
ComTrac
BIG RIVERS ELECTRIC CORPORATION | [6 empty] | Reid Combustion Turbine - Highest Cost Available Unit
FUEL BURNED
| MONTH OF | 2024-01-31 |  |  |  |  | 2024-01-01
|  |  |  | TRUE |  |  |  | Estimated |  | Estimated |  | Gross | Adjusted Gross | Cost Per
| TON/GAL/MCF | Cost | Gross KWH | NET KWH | Mills/KWH |  |  | Gas | Gross Mw's | Nat Gas Burn | Estimated | Heat Rate | Heat Rate (X%) | Gross Megawatt
[7 empty] | Date | Price |  | (MCF/HR) | BTU/HR | (BTU/KWH) | (BTU/KWH) | ($/mwh)
Reid |  | 0 | 0 | 0 | 0 |  | 2024-01-01 | 3.3 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 39.9025
Coal | 0 | 0 |  |  |  |  | 2024-01-02 | 3.3 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 39.9025
Oil | 0 | 0 |  |  |  |  | 2024-01-03 | 3.04 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 36.7586
[7 empty] | 2024-01-04 | 3.25 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 39.2979
[5 empty] | 29.987 | * | 2024-01-05 | 3.25 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 39.2979
Gas Turbine |  | 416253.88 | 36070 | -82630 | -5037.5636 | * | 2024-01-06 | 3.31 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 40.0234
Oil | 0 | 0 |  |  |  |  | 2024-01-07 | 3.31 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 40.0234
Gas | 1522 | 416253.88 |  |  |  |  | 2024-01-08 | 3.31 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 40.0234
[7 empty] | 2024-01-09 | 3.13 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 37.8469
Wilson |  | 6527714.01 | 307322460 | 284530560 | 22.942 |  | 2024-01-10 | 3.44 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 41.5953
Coal | 133446.58 | 6360155.53 |  |  |  |  | 2024-01-11 | 3.75 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 45.3437
PetCoke | 0 | 0 |  |  |  |  | 2024-01-12 | 3.08 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 37.2423
Oil | 59830.96 | 167558.48 |  |  |  |  | 2024-01-13 | 3.8 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 45.9483
[7 empty] | 2024-01-14 | 35.95 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 434.6952
H1 (net of city take) |  | 0 | 0 | -67184 | 0 |  | 2024-01-15 | 28.88 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 349.2071
Coal | 0 | 0 |  |  |  |  | 2024-01-16 | 26.41 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 319.3407
Oil | 0 | 0 |  |  |  |  | 2024-01-17 | 9.11 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 110.155
[7 empty] | 2024-01-18 | 4.1 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 49.5758
H2 (net of city take) |  | 0 | 0 | -67183 | 0 |  | 2024-01-19 | 3.61 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 43.6509
Coal | 0 | 0 |  |  |  |  | 2024-01-20 | 3.66 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 44.2555
Oil | 0 | 0 |  |  |  |  | 2024-01-21 | 3.66 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 44.2555
[7 empty] | 2024-01-22 | 3.66 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 44.2555
Station Two |  | 0 | 0 | -134367 | 0 |  | 2024-01-23 | 3.18 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 38.4515
Coal | 0 | 0 |  |  |  |  | 2024-01-24 | 3.2 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 38.6933
Oil | 0 | 0 |  |  |  |  | 2024-01-25 | 2.87 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 34.7031
[7 empty] | 2024-01-26 | 3.25 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 39.2979
G1 |  | 0 | 0 | -1522567 | 0 |  | 2024-01-27 | 3.08 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 37.2423
Coal | 0 | 0 |  |  |  |  | 2024-01-28 | 2.69 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 32.5266
PetCoke | 0 | 0 |  |  |  |  | 2024-01-29 | 2.69 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 32.5266
Gas | 0 | 0 |  |  |  |  | 2024-01-30 | 2.69 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 32.5266
[7 empty] | 2024-01-31 | 2.48 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 29.9873
G2 |  | 0 | 0 | -1519415 | 0 |  | Average | 6.2813 | 65 | 785.9579 | 785957900 | 12091.66 | 12091.66 | 75.9517
Coal | 0 | 0
PetCoke | 0 | 0
Gas | 0 | 0 |  |  |  |  | January Average | [5 empty] | 75.9517 | $/MwH
[7 empty] | January Lowest Gas Price | [5 empty] | 29.9873 | $/MwH
Green |  | 0 | 0 | -3041982 | 0
Coal | 0 | 0
PetCoke | 0 | 0
Gas | 0 | 0
SYSTEM TOTAL |  | 6943967.89 | 307358530 | 281271581 | 24.6878
|  | Line Losses |  | 14541116
|  | System Average |  | 266730465 | 26.0337
| Less: Energy Used by Idled/Retired Units (Reid & Station II) |  |  | -134367
| Total (Net of Line Losses & Energy Used by Idled Units) |  |  | 266864832 | 26.0205
| Coal | 6360155.53
| Pet Coke | 0
| Oil | 167558.48
| Gas | 416253.88
6943967.89
* For the Reid CT, if it was AVAILABLE at some time during the month, but never ran during the month,or ran but had negative net generation,
use the lowest estimated $/MWH for the CT provided by ACES for the month for determining whether it was the highest cost available unit during the month.
Note on E15: Risley, Katie: $38657.78 is a sell back on ECO-Energy that will be recognized in February.

## Form B FuelBurned 02.2024
ComTrac
BIG RIVERS ELECTRIC CORPORATION
FUEL BURNED
| MONTH OF | 2024-02-29
TRUE
| TON/GAL/MCF | Cost | Gross KWH | NET KWH | Mills/KWH
Reid |  | 0 | 0 | 0 | 0
Coal | 0 | 0
Oil | 0 | 0
Gas Turbine |  | 20016.57 | 548680 | 446680 | 44.8119
Oil | 0 | 0
Gas | 8421 | 20016.57
Wilson |  | 5195560.25 | 236573810 | 217803730 | 23.8543
Coal | 103835.74 | 4984689.67
PetCoke | 0 | 0
Oil | 73953.88 | 210870.58
H1 (net of city take) |  | 0 | 0 | -45240 | 0
Coal | 0 | 0
Oil | 0 | 0
H2 (net of city take) |  | 0 | 0 | -45240 | 0
Coal | 0 | 0
Oil | 0 | 0
Station Two |  | 0 | 0 | -90480 | 0
Coal | 0 | 0
Oil | 0 | 0
G1 |  | 542881.8 | 20636744 | 17162510 | 31.6318
Coal | 0 | 0
PetCoke | 0 | 0
Gas | 232330 | 542881.8
G2 |  | 296263.71 | 10702565 | 7968035 | 37.1815
Coal | 0 | 0
PetCoke | 0 | 0
Gas | 127766 | 296263.71
Green |  | 839145.51 | 31339309 | 25130545 | 33.3915
Coal | 0 | 0
PetCoke | 0 | 0
Gas | 360096 | 839145.51
SYSTEM TOTAL |  | 6054722.33 | 268461799 | 243290475 | 24.8868
|  | Line Losses |  | 14338783
|  | System Average |  | 228951692 | 26.4454
| Less: Energy Used by Idled/Retired Units (Reid & Station II) |  |  | -90480
| Total (Net of Line Losses & Energy Used by Idled Units) |  |  | 229042172 | 26.435
| Coal | 4984689.67
| Pet Coke | 0
| Oil | 210870.58
| Gas | 859162.08
6054722.33

## Form B FuelBurned 03.2024
ComTrac
BIG RIVERS ELECTRIC CORPORATION
FUEL BURNED
| MONTH OF | 2024-03-31
TRUE
| TON/GAL/MCF | Cost | Gross KWH | NET KWH | Mills/KWH
Reid |  | 0 | 0 | 0 | 0
Coal | 0 | 0
Oil | 0 | 0
Gas Turbine |  | 26663.24 | 718350 | 619330 | 43.0517
Oil | 0 | 0
Gas | 11893 | 26663.24
Wilson |  | 2042628.55 | 94458450 | 85265180 | 23.9562
Coal | 41254.98 | 1985255.94
PetCoke | 0 | 0
Oil | 20121 | 57372.61
H1 (net of city take) |  | 0 | 0 | -36311 | 0
Coal | 0 | 0
Oil | 0 | 0
H2 (net of city take) |  | 0 | 0 | -36310 | 0
Coal | 0 | 0
Oil | 0 | 0
Station Two |  | 0 | 0 | -72621 | 0
Coal | 0 | 0
Oil | 0 | 0
G1 |  | 734391.55 | 30051452 | 25588881 | 28.6996
Coal | 0 | 0
PetCoke | 0 | 0
Gas | 328477 | 734391.55
G2 |  | 651688.55 | 25016750 | 20823514 | 31.2958
Coal | 0 | 0
PetCoke | 0 | 0
Gas | 293352 | 651688.55
Green |  | 1386080.1 | 55068202 | 46412395 | 29.8644
Coal | 0 | 0
PetCoke | 0 | 0
Gas | 621829 | 1386080.1
SYSTEM TOTAL |  | 3455371.89 | 150245002 | 132224284 | 26.1327
|  | Line Losses |  | 11060601
|  | System Average |  | 121163683 | 28.5182
| Less: Energy Used by Idled/Retired Units (Reid & Station II) |  |  | -72621
| Total (Net of Line Losses & Energy Used by Idled Units) |  |  | 121236304 | 28.5011
| Coal | 1985255.94
| Pet Coke | 0
| Oil | 57372.61
| Gas | 1412743.34
3455371.89

## Form B FuelBurned 04.2024
ComTrac
BIG RIVERS ELECTRIC CORPORATION
FUEL BURNED
| MONTH OF | 2024-04-30
TRUE
| TON/GAL/MCF | Cost | Gross KWH | NET KWH | Mills/KWH
Reid |  | 0 | 0 | 0 | 0
Coal | 0 | 0
Oil | 0 | 0
Gas Turbine |  | 160185.78 | 5031230 | 4954070 | 32.3342
Oil | 0 | 0
Gas | 76834 | 160185.78
Wilson |  | 3565983.11 | 146540130 | 133980220 | 26.6157
Coal | 65155.61 | 3143356.16
PetCoke | 0 | 0
Oil | 148806.13 | 422626.95
H1 (net of city take) |  | 0 | 0 | -31984 | 0
Coal | 0 | 0
Oil | 0 | 0
H2 (net of city take) |  | 0 | 0 | -31984 | 0
Coal | 0 | 0
Oil | 0 | 0
Station Two |  | 0 | 0 | -63968 | 0
Coal | 0 | 0
Oil | 0 | 0
G1 |  | 1618344.28 | 78332064 | 70669145 | 22.9003
Coal | 0 | 0
PetCoke | 0 | 0
Gas | 781575 | 1618344.28
G2 |  | 683370.71 | 28087811 | 23640314 | 28.907
Coal | 0 | 0
PetCoke | 0 | 0
Gas | 338811 | 683370.71
Green |  | 2301714.99 | 106419875 | 94309459 | 24.406
Coal | 0 | 0
PetCoke | 0 | 0
Gas | 1120386 | 2301714.99
SYSTEM TOTAL |  | 6027883.88 | 257991235 | 233179781 | 25.8508
|  | Line Losses |  | 10200656
|  | System Average |  | 222979125 | 27.0334
| Less: Energy Used by Idled/Retired Units (Reid & Station II) |  |  | -63968
| Total (Net of Line Losses & Energy Used by Idled Units) |  |  | 223043093 | 27.0256
| Coal | 3143356.16
| Pet Coke | 0
| Oil | 422626.95
| Gas | 2461900.77
6027883.88

## Form A Pg 2 11.2023
Form A
Page 2 of 4
BIG RIVERS ELECTRIC CORPORATION
FUEL COST SCHEDULE
Expense Month: November 2023
(A) | Company Generation
| Coal Burned | (+) | 5262483
| Pet Coke Burned | (+) | 0
| Oil Burned | (+) | 338519
| Gas Burned | (+) | 289870
| Propane Burned | (+) | 0
| MISO Make Whole Payments | (-) | 4871
| Fuel (assigned cost during Forced Outage) | (+) | 640622
| Fuel (substitute cost for Forced Outage) | (-) | 0
| Fuel (supplemental and back-up energy to Smelters) | (-) | 0
| Fuel (Domtar back-up / imbalance generation) | (-) | 0
| SUB-TOTAL |  | 6526623
(B) | Purchases
| Net energy cost - economy purchases | (+) | 5319835
| Identifiable fuel cost - other purchases | (+) | 1171370
| Identifiable fuel cost - Forced Outage purchases | (+) | 1088514
| Identifiable fuel cost (substitute for Forced Outage) | (-) | 1088514
| Less Purchases for supplemental and back-up energy to Smelters | (-) | 0
| Less Purchases for Non-Tariff Market Rate Sales to Members | (-) | 564264
| Less Purchases Above Highest Cost Units | (-) | 1263
| SUB-TOTAL |  | 5925678
(C) | Inter-System Sales
| Including Interchange-out |  | 3974837
(D) | Over or (Under) Recovery
| From Page 4, Line 13 |  | 215682
| TOTAL FUEL RECOVERY [(A)+(B)-(C)-(D)] = |  | 8261782

## Form A Pg 2 12.2023
Form A
Page 2 of 4
BIG RIVERS ELECTRIC CORPORATION
FUEL COST SCHEDULE
Expense Month: December 2023
(A) | Company Generation
| Coal Burned | (+) | 5638402
| Pet Coke Burned | (+) | 0
| Oil Burned | (+) | 151355
| Gas Burned | (+) | 259495
| Propane Burned | (+) | 0
| MISO Make Whole Payments | (-) | 30672
| Fuel (assigned cost during Forced Outage) | (+) | 740084
| Fuel (substitute cost for Forced Outage) | (-) | 0
| Fuel (supplemental and back-up energy to Smelters) | (-) | 0
| Fuel (Domtar back-up / imbalance generation) | (-) | 0
| SUB-TOTAL |  | 6758664
(B) | Purchases
| Net energy cost - economy purchases | (+) | 5297304
| Identifiable fuel cost - other purchases | (+) | 1070389
| Identifiable fuel cost - Forced Outage purchases | (+) | 836526
| Identifiable fuel cost (substitute for Forced Outage) | (-) | 836526
| Less Purchases for supplemental and back-up energy to Smelters | (-) | 0
| Less Purchases for Non-Tariff Market Rate Sales to Members | (-) | 507868
| Less Purchases Above Highest Cost Units | (-) | 57348
| SUB-TOTAL |  | 5802477
(C) | Inter-System Sales
| Including Interchange-out |  | 3233072
(D) | Over or (Under) Recovery
| From Page 4, Line 13 |  | 515162
| TOTAL FUEL RECOVERY [(A)+(B)-(C)-(D)] = |  | 8812907

## Form A Pg 2 01.2024
Form A
Page 2 of 4
BIG RIVERS ELECTRIC CORPORATION
FUEL COST SCHEDULE
Expense Month: January 2024
(A) | Company Generation
| Coal Burned | (+) | 6360156
| Pet Coke Burned | (+) | 0
| Oil Burned | (+) | 167558
| Gas Burned | (+) | 416254
| Propane Burned | (+) | 0
| MISO Make Whole Payments | (-) | 0
| Fuel (assigned cost during Forced Outage) | (+) | 1466471
| Fuel (substitute cost for Forced Outage) | (-) | 573209
| Fuel (supplemental and back-up energy to Smelters) | (-) | 0
| Fuel (Domtar back-up / imbalance generation) | (-) | 0
| SUB-TOTAL |  | 7837230
(B) | Purchases
| Net energy cost - economy purchases | (+) | 6465275
| Identifiable fuel cost - other purchases | (+) | 5367559
| Identifiable fuel cost - Forced Outage purchases | (+) | 203745
| Identifiable fuel cost (substitute for Forced Outage) | (-) | 893262
| Less Purchases for supplemental and back-up energy to Smelters | (-) | 0
| Less Purchases for Non-Tariff Market Rate Sales to Members | (-) | 483079
| Less Purchases Above Highest Cost Units | (-) | 4434071
| SUB-TOTAL |  | 6226167
(C) | Inter-System Sales
| Including Interchange-out |  | 4113467
(D) | Over or (Under) Recovery
| From Page 4, Line 13 |  | 686194
| TOTAL FUEL RECOVERY [(A)+(B)-(C)-(D)] = |  | 9263736

## Form A Pg 2 02.2024
Form A
Page 2 of 4
BIG RIVERS ELECTRIC CORPORATION
FUEL COST SCHEDULE
Expense Month: February 2024
(A) | Company Generation
| Coal Burned | (+) | 4984690
| Pet Coke Burned | (+) | 0
| Oil Burned | (+) | 210871
| Gas Burned | (+) | 859162
| Propane Burned | (+) | 0
| MISO Make Whole Payments | (-) | 14455
| Fuel (assigned cost during Forced Outage) | (+) | 627269
| Fuel (substitute cost for Forced Outage) | (-) | 1897
| Fuel (supplemental and back-up energy to Smelters) | (-) | 0
| Fuel (Domtar back-up / imbalance generation) | (-) | 0
| SUB-TOTAL |  | 6665640
(B) | Purchases
| Net energy cost - economy purchases | (+) | 5529064
| Identifiable fuel cost - other purchases | (+) | 752595
| Identifiable fuel cost - Forced Outage purchases | (+) | 766710
| Identifiable fuel cost (substitute for Forced Outage) | (-) | 766710
| Less Purchases for supplemental and back-up energy to Smelters | (-) | 0
| Less Purchases for Non-Tariff Market Rate Sales to Members | (-) | 412172
| Less Purchases Above Highest Cost Units | (-) | 99154
| SUB-TOTAL |  | 5770333
(C) | Inter-System Sales
| Including Interchange-out |  | 3214914
(D) | Over or (Under) Recovery
| From Page 4, Line 13 |  | -553610
| TOTAL FUEL RECOVERY [(A)+(B)-(C)-(D)] = |  | 9774669

## Form A Pg 2 03.2024
Form A
Page 2 of 4
BIG RIVERS ELECTRIC CORPORATION
FUEL COST SCHEDULE
Expense Month: March 2024
(A) | Company Generation
| Coal Burned | (+) | 1985256
| Pet Coke Burned | (+) | 0
| Oil Burned | (+) | 57373
| Gas Burned | (+) | 1412743
| Propane Burned | (+) | 0
| MISO Make Whole Payments | (-) | 21108
| Fuel (assigned cost during Forced Outage) | (+) | 30680
| Fuel (substitute cost for Forced Outage) | (-) | 19462
| Fuel (supplemental and back-up energy to Smelters) | (-) | 0
| Fuel (Domtar back-up / imbalance generation) | (-) | 0
| SUB-TOTAL |  | 3445482
(B) | Purchases
| Net energy cost - economy purchases | (+) | 3196978
| Identifiable fuel cost - other purchases | (+) | 5188122
| Identifiable fuel cost - Forced Outage purchases | (+) | 3811
| Identifiable fuel cost (substitute for Forced Outage) | (-) | 11218
| Less Purchases for supplemental and back-up energy to Smelters | (-) | 0
| Less Purchases for Non-Tariff Market Rate Sales to Members | (-) | 389820
| Less Purchases Above Highest Cost Units | (-) | 173646
| SUB-TOTAL |  | 7814227
(C) | Inter-System Sales
| Including Interchange-out |  | 3214264
(D) | Over or (Under) Recovery
| From Page 4, Line 13 |  | -85279
| TOTAL FUEL RECOVERY [(A)+(B)-(C)-(D)] = |  | 8130724

## Form A Pg 2 04.2024
Form A
Page 2 of 4
BIG RIVERS ELECTRIC CORPORATION
FUEL COST SCHEDULE
Expense Month: April 2024
(A) | Company Generation
| Coal Burned | (+) | 3143356
| Pet Coke Burned | (+) | 0
| Oil Burned | (+) | 422627
| Gas Burned | (+) | 2461901
| Propane Burned | (+) | 0
| MISO Make Whole Payments | (-) | 3154
| Fuel (assigned cost during Forced Outage) | (+) | 52731
| Fuel (substitute cost for Forced Outage) | (-) | 5713
| Fuel (supplemental and back-up energy to Smelters) | (-) | 0
| Fuel (Domtar back-up / imbalance generation) | (-) | 0
| SUB-TOTAL |  | 6071748
(B) | Purchases
| Net energy cost - economy purchases | (+) | 1324598
| Identifiable fuel cost - other purchases | (+) | 4173226
| Identifiable fuel cost - Forced Outage purchases | (+) | 36240
| Identifiable fuel cost (substitute for Forced Outage) | (-) | 47018
| Less Purchases for supplemental and back-up energy to Smelters | (-) | 0
| Less Purchases for Non-Tariff Market Rate Sales to Members | (-) | 473531
| Less Purchases Above Highest Cost Units | (-) | 209243
| SUB-TOTAL |  | 4804272
(C) | Inter-System Sales
| Including Interchange-out |  | 4788605
(D) | Over or (Under) Recovery
| From Page 4, Line 13 |  | -205228
| TOTAL FUEL RECOVERY [(A)+(B)-(C)-(D)] = |  | 6292643