## Meters
KU Meter Installation Cost by Rate
|  |  |  | 2 | 3 | 4 | 5 | 6 | 7
|  | Hours per meter | Burdened Labor Cost ($/Hour) | Avg. Cost of Meter | Avg. Cost of CTs | Avg. Count of CTs | Avg. Cost of PTs | Avg. Count of PTs | Other Cost | Install Cost ($/meter) | Count of Meters
| GS | 0.7584 | 79.0332 | 110.7946 | 10.7367 | 0.7584 | 1.9696 | 0.021256 | 36.3209 | 215.2384 | 91692 | RS | GS | School | PS Sec | PS Pri | TOD Sec | TOD Pri | RTS | FLS | LS & RLS | LE | TE | OSL | EV | SSP | BS
| PS Pri | 2.9973 | 79.0332 | 146.0625 | 915.4911 | 2.1652 | 1088.8393 | 1.8304 | 403.6607 | 4761.7776 | 224 | 136.4289 | 215.2384 | 740.603 | 1051.1823 | 4761.7776 | 1240.719 | 9676.7497 | 73214.3656 | 73214.3656 |  | 136.4289 | 136.4289 | 1051.1823
| PS Sec | 2.3901 | 79.0332 | 180.3266 | 110.7589 | 2.7047 | 21.9196 | 0.27887 | 376.2774 | 1051.1823 | 4131
| RS | 0.60205 | 79.0332 | 88.1042 | 0.21575 | 0.0033989 | 0.011013 | 1.7275e-05 | 0.74197 | 136.4289 | 463089
| RTS | 7.8562 | 79.0332 | 185 | 5893.75 | 6.0312 | 6012.5 | 6.0625 | 411 | 73214.3656 | 32
| School | 1.9026 | 79.0332 | 147.75 | 90.0255 | 1.8138 | 39.0306 | 0.35714 | 265.2628 | 740.603 | 392
| TOD Pri | 5.3596 | 79.0332 | 185 | 987.0875 | 3.9832 | 1196.4646 | 3.9495 | 411 | 9676.7497 | 297
| TOD Sec | 2.9143 | 79.0332 | 184.8833 | 122.2381 | 3.1262 | 44.2857 | 0.73095 | 411 | 1240.719 | 840
560697
| Blue Oval | 4.2 | 79.03 | 765 | 15357 | 18 | 10937 | 18 | 411 | 80640.61 | 6
Other cost includes the meter base, conduit, weatherhead, hangers, and conductor.

## Services
Labor Burden Rate | 94.88% |  |  | Labor burden = burden rate (.63101) + T&E burden (.31777) as of January 2025
Material Burden Rate | 13.47% |  |  | All material rates per project actual costs
GS Customer
Single Phase OH 50kW demand assuming pole already exists | Equipment | IN# | Quantity | Cost | Description | Non-Burdened | Burdened | Service Only
| Labor (Line Tech A) |  | 4 | 52.02 | 2 hour install - 8 man hours | 416.16 | 811.0043 | 811.0043
| Meter |  | 1 | 87 | Single Phase Demand meter, L+G Focus CL200 | 87 | 98.718
| Transformer | 7001465 | 1 | 3571.88 | 75kva 7200volt | 3571.88 | 4052.9765
| 2/0 Triplex | 7000410 | 150 | 1.26 | OH Triplex - feet | 189 | 214.4564 | 214.4564
| Wedge clamps | 7005143 | 2 | 3.61 | Attach at pole and weatherhead | 7.22 | 8.1925 | 8.1925
| Connectors | 7000422 | 6 | 1.38 | Average cost between 189-419, service connections | 8.28 | 9.3952 | 9.3952
| 1 wire rack | 7000911 | 1 | 7.88 | attach at pole and weatherhead | 7.88 | 8.9414 | 8.9414
| Cutout | 3023837 | 1 | 95.47 | For transformer installation | 95.47 | 108.3289 | 108.3289 |  | RS | GS | AES | PS-Sec | PS-Pri | TOD-Sec | TOD-Pri | RTS - Trans. | FLS - Trans. | LS & RLS | LE | TE | OSL | EV | SSP | BS
| MIF bracket | 7001703 | 1 | 45.28 | For transformer installation | 45.28 | 51.3788 | 51.3788 | Current Study | 1570.5701 | 1499.7838 | 4418.9493 | 2415.0021 |  | 4418.9493 | [6 empty] | 2415.0021
Average cost for machine bolts* | Bolts | 7000269 | 5 | 4.36 | For equipment on pole | 21.8 | 24.7362 | 24.7362
| #1 Stranded CU | 7000388 | 15 | 7.59 | Secondary risers for transformer - feet | 113.85 | 129.1845 | 129.1845
| #4 CU | 7005817 | 15 | 6.76 | Transformer connection and connection to groundrod - feet | 101.4 | 115.0576 | 115.0576
| Groundrod | 7000888 | 1 | 16.84 |  | 16.84 | 19.1082 | 19.1082
[5 empty] | Total | 4682.06 | 5651.4784 | 1499.7838
PS Secondary Customer
Single Phase OH 100kW assuming pole already exists | Equipment | IN# | Quantity | Cost | Description | Non-Burdened | Burdened | Service Only
| Labor (Line Tech A) |  | 4 | 52.02 | 2 hour install - 8 man hours | 416.16 | 811.0043 | 811.0043
| Meter |  | 1 | 78 | Single Phase Demand meter, L+G Focus CL320 | 156 | 177.0116
| Transformer | 7001467 | 1 | 5392 | 167kva 7200volt | 10784 | 12236.497
| 397 Triplex | 7000412 | 125 | 2.59 | OH Triplex - feet | 647.5 | 734.7118 | 734.7118
| 397 Service grips | 7004326 | 2 | 33.97 | Attach at pole and weatherhead | 135.88 | 154.1817 | 154.1817
| Connectors | 7000435 | 6 | 4.46 | Average cost between 189-419, service connections | 53.52 | 60.7286 | 60.7286
| 1 wire rack | 7000911 | 1 | 7.88 | attach at pole and weatherhead | 15.76 | 17.8827 | 17.8827
| Cutout | 3023837 | 1 | 95.47 | For transformer installation | 190.94 | 216.6577 | 216.6577
| MIF bracket | 7001703 | 1 | 45.28 | For transformer installation | 90.56 | 102.7575 | 102.7575
Average cost for machine bolts* | Bolts | 7000269 | 5 | 4.36 | For equipment on pole | 43.6 | 49.4725 | 49.4725
| 4/0 CU | 7002524 | 15 | 7.84 | Secondary risers for transformer - feet | 117.6 | 133.4395 | 133.4395
| #4 CU | 7005817 | 15 | 6.76 | Transformer connection and connection to groundrod - feet | 101.4 | 115.0576 | 115.0576
| Groundrod | 7000888 | 1 | 16.84 |  | 16.84 | 19.1082 | 19.1082
[5 empty] | Total | 12769.76 | 14828.5107 | 2415.0021
PS Primary Customer
Three Phase OH 150kW assuming pole already exists | Equipment | IN# | Quantity | Cost | Description | Non-Burdened | Burdened | Service Only
0
| Labor (Line Tech A) |  | 4 | 52.02 | 5 hour install - 20 man hours | 1040.4 | 2027.5107
| Meter |  | 1 | 8856.5 | 12.47kv metering, 3 CTs and 3 PTs with cluster mount, and KWH/KW meter. L+G RXRS4x | 8856.5 | 10049.382
| 8' X Arms | 3015303 | 2 | 163.17 | Attach at pole and weatherhead | 326.34 | 370.2947 | 370.2947
| 8' Dead End Assembly | 7010711 | 1 | 327.45 | To dead end primary | 327.45 | 371.5542 | 371.5542
| 1 wire rack | 7000911 | 2 | 7.88 | Primary neutral attachment to pole | 15.76 | 17.8827 | 17.8827
| Loadbreak Cutout | 3023836 | 3 | 167.12 | For each meter | 501.36 | 568.8882 | 568.8882
| Cutout hangers | 7003631 | 6 | 30.33 | Hold cutout and arresters | 181.98 | 206.4909 | 206.4909
Average cost for DA bolts* | DA bolts | 7000218 | 3 | 8.58 | Used to assemble double arms | 25.74 | 29.2069 | 29.2069
Average cost for machine bolts* | Bolts | 7000269 | 7 | 4.36 | For equipment on pole | 30.52 | 34.6307 | 34.6307
| Lightning arresters | 7000173 | 6 | 51.07 | 3 on each side of metering | 306.42 | 347.6917 | 347.6917
| #4 CU | 7005817 | 30 | 6.76 | Connections for metering equipment/groundrod | 202.8 | 230.1151 | 230.1151
| Groundrod | 7000888 | 1 | 16.84 |  | 16.84 | 19.1082 | 19.1082
| Epoxilator | 7001280 | 3 | 13.73 | used to dead end wire | 41.19 | 46.7379 | 2195.8634
| Shoes | 7000986 | 3 | 21.32 | dead end wire to | 63.96 | 72.5748
[5 empty] | Total | 11937.26 | 14392.0688
TODS Customer
Three Phase UG 1500kW assuming pole already exists | Equipment | IN# | Quantity | Cost | Description | Non-Burdened | Burdened | Service Only
Single meter point customer responsible for service wire
| Labor (Line Tech A) |  | 4 | 52.02 | 5 hour install - 20 man hours | 1040.4 | 2027.5107 | 2027.5107
| Meter |  | 1 | 1062.5 | 3 Secondary CTs with KWH/KW/Kvarh with TOU meter. RXRS4x | 1062.5 | 1205.6081
| 3-way MIF | 7010214 | 1 | 124.24 | To mount cutout and arresters | 124.24 | 140.9739 | 140.9739
| LB Cutouts | 3023836 | 3 | 167.12 | For transformer installation | 501.36 | 568.8882 | 568.8882
| Lightning arresters | 7000173 | 3 | 51.07 | For transformer installation | 153.21 | 173.8459 | 173.8459
| 1/0 3-phase UG Primary cable | 3023415 | 75 | 8.05 | Primary to feed padmount transformer feet - estimated an average length no real data to support | 603.75 | 685.0691 | 685.0691
| Padmount transformer | 7001771 | 1 | 118110.27 | 2000kva | 118110.27 | 134018.5423
| Pole terminators | 7001141 | 3 | 41.31 | For transformer installation | 123.93 | 140.6221 | 140.6221
| Elbow terminators | 934919 | 3 | 59.52 | For transformer installation | 178.56 | 202.6102 | 202.6102
| Elbow arresters | 7000172 | 3 | 132.32 | For transformer installation | 396.96 | 450.4265 | 450.4265
Average cost for machine bolts* | Bolts | 7000269 | 2 | 4.36 | For equipment on pole | 8.72 | 9.8945 | 9.8945
| Groundrod | 7000888 | 1 | 16.84 |  | 16.84 | 19.1082 | 19.1082
[5 empty] | Total | 122320.74 | 139643.0997 | 4418.9493
PS Primary Customer
Three Phase OH 9000kW assuming pole already exists | Equipment | IN# | Quantity | Cost | Description | Non-Burdened | Burdened
| Labor (Line Tech A) |  | 5 | 52.02 | 7 hour install - 35 man hours | 1820.7 | 3548.1437
| Meter |  | 1 | 8856.5 | 12.47kv metering, 3 CTs and 3 PTs with cluster mount, and KWH/KW/Kvarh TOU meter. RXRS4x | 8856.5 | 10049.382
| 8' X Arms | 3015303 | 2 | 163.17 | Attach at pole and weatherhead | 326.34 | 370.2947
| 8' Dead End Assembly | 7010711 | 1 | 327.45 | To dead end primary | 327.45 | 371.5542
| 1 wire rack | 7000911 | 2 | 7.88 | Primary neutral attachment to pole | 15.76 | 17.8827
| 900 amp underarm disconnect | 7010217 | 3 | 319.13 | For each meter | 957.39 | 1086.3409
Average cost for DA bolts* | DA bolts | 7000218 | 3 | 8.58 | Used to assemble double arms | 25.74 | 29.2069
Average cost for machine bolts* | Bolts | 7000269 | 3 | 4.36 | For equipment on pole | 13.08 | 14.8417
| Lightning arresters | 7000173 | 6 | 51.07 | 3 on each side of metering | 306.42 | 347.6917
| 300 CU | 7000403 | 30 | 7.03 | Connections for metering equipment - feet | 210.9 | 239.3061
| Groundrod | 7000888 | 1 | 16.84 |  | 16.84 | 19.1082
| Epoxilator | 7001280 | 3 | 13.73 | used to dead end wire | 41.19 | 46.7379
| 397 Shoes | 7010043 | 3 | 25.2 | dead end wire to | 75.6 | 85.7826
[5 empty] | Total | 12993.91 | 16226.2734
RS Customer
Single Phase OH 20kW demand assuming pole already exists | Equipment | IN# | Quantity | Cost | Description | Non-Burdened | Burdened | Service Only
| Labor (Line Tech A) |  | 4 | 53.58 | 2 hour install - 8 man hours | 428.64 | 835.3251 | 835.3251
| Meter |  | 1 | 87 | Single Phase Demand meter, L+G Focus CL200 | 87 | 98.718
| Transformer | 7001462 | 1 | 3571.88 | 25kva 7200volt | 3571.88 | 4052.9765
| 2/0 Triplex | 7000410 | 150 | 1.26 | OH Triplex - feet | 189 | 214.4564 | 214.4564
| Wedge clamps | 7005143 | 2 | 3.61 | Attach at pole and weatherhead | 7.22 | 8.1925 | 8.1925
| Connectors | 7000422 | 6 | 1.38 | Average cost between 189-419, service connections | 8.28 | 9.3952 | 9.3952
| 1 wire rack | 7000911 | 1 | 7.88 | attach at pole and weatherhead | 7.88 | 8.9414 | 8.9414
| Cutout | 3023837 | 1 | 95.47 | For transformer installation | 95.47 | 108.3289 | 108.3289
| MIF bracket | 7001703 | 1 | 45.28 | For transformer installation | 45.28 | 51.3788 | 51.3788
Average cost for machine bolts* | Bolts | 7000269 | 5 | 4.36 | For equipment on pole | 21.8 | 24.7362 | 24.7362
| #1 Stranded CU | 7000388 | 15 | 10.32 | Secondary risers for transformer - feet | 154.8 | 175.65 | 175.65
| #4 CU | 7005817 | 15 | 6.76 | Transformer connection and connection to groundrod - feet | 101.4 | 115.0576 | 115.0576
| Groundrod | 7000888 | 1 | 16.84 |  | 16.84 | 19.1082 | 19.1082
[5 empty] | Total | 4735.49 | 5722.2647 | 1570.5701