{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["A Phase Voltage","B Phase Voltage","C Phase Voltage"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"A Phase Voltage","index":0,"n_rows":12,"n_cols":289,"rows_kept":12,"cut":false,"hidden":false,"merged":[]}
["Date","00:00-00:05","00:05-00:10","00:10-00:15","00:15-00:20","00:20-00:25","00:25-00:30","00:30-00:35","00:35-00:40","00:40-00:45","00:45-00:50","00:50-00:55","00:55-01:00","01:00-01:05","01:05-01:10","01:10-01:15","01:15-01:20","01:20-01:25","01:25-01:30","01:30-01:35","01:35-01:40","01:40-01:45","01:45-01:50","01:50-01:55","01:55-02:00","02:00-02:05","02:05-02:10","02:10-02:15","02:15-02:20","02:20-02:25","02:25-02:30","02:30-02:35","02:35-02:40","02:40-02:45","02:45-02:50","02:50-02:55","02:55-03:00","03:00-03:05","03:05-03:10","03:10-03:15","03:15-03:20","03:20-03:25","03:25-03:30","03:30-03:35","03:35-03:40","03:40-03:45","03:45-03:50","03:50-03:55","03:55-04:00","04:00-04:05","04:05-04:10","04:10-04:15","04:15-04:20","04:20-04:25","04:25-04:30","04:30-04:35","04:35-04:40","04:40-04:45","04:45-04:50","04:50-04:55","04:55-05:00","05:00-05:05","05:05-05:10","05:10-05:15","05:15-05:20","05:20-05:25","05:25-05:30","05:30-05:35","05:35-05:40","05:40-05:45","05:45-05:50","05:50-05:55","05:55-06:00","06:00-06:05","06:05-06:10","06:10-06:15","06:15-06:20","06:20-06:25","06:25-06:30","06:30-06:35","06:35-06:40","06:40-06:45","06:45-06:50","06:50-06:55","06:55-07:00","07:00-07:05","07:05-07:10","07:10-07:15","07:15-07:20","07:20-07:25","07:25-07:30","07:30-07:35","07:35-07:40","07:40-07:45","07:45-07:50","07:50-07:55","07:55-08:00","08:00-08:05","08:05-08:10","08:10-08:15","08:15-08:20","08:20-08:25","08:25-08:30","08:30-08:35","08:35-08:40","08:40-08:45","08:45-08:50","08:50-08:55","08:55-09:00","09:00-09:05","09:05-09:10","09:10-09:15","09:15-09:20","09:20-09:25","09:25-09:30","09:30-09:35","09:35-09:40","09:40-09:45","09:45-09:50","09:50-09:55","09:55-10:00","10:00-10:05","10:05-10:10","10:10-10:15","10:15-10:20","10:20-10:25","10:25-10:30","10:30-10:35","10:35-10:40","10:40-10:45","10:45-10:50","10:50-10:55","10:55-11:00","11:00-11:05","11:05-11:10","11:10-11:15","11:15-11:20","11:20-11:25","11:25-11:30","11:30-11:35","11:35-11:40","11:40-11:45","11:45-11:50","11:50-11:55","11:55-12:00","12:00-12:05","12:05-12:10","12:10-12:15","12:15-12:20","12:20-12:25","12:25-12:30","12:30-12:35","12:35-12:40","12:40-12:45","12:45-12:50","12:50-12:55","12:55-13:00","13:00-13:05","13:05-13:10","13:10-13:15","13:15-13:20","13:20-13:25","13:25-13:30","13:30-13:35","13:35-13:40","13:40-13:45","13:45-13:50","13:50-13:55","13:55-14:00","14:00-14:05","14:05-14:10","14:10-14:15","14:15-14:20","14:20-14:25","14:25-14:30","14:30-14:35","14:35-14:40","14:40-14:45","14:45-14:50","14:50-14:55","14:55-15:00","15:00-15:05","15:05-15:10","15:10-15:15","15:15-15:20","15:20-15:25","15:25-15:30","15:30-15:35","15:35-15:40","15:40-15:45","15:45-15:50","15:50-15:55","15:55-16:00","16:00-16:05","16:05-16:10","16:10-16:15","16:15-16:20","16:20-16:25","16:25-16:30","16:30-16:35","16:35-16:40","16:40-16:45","16:45-16:50","16:50-16:55","16:55-17:00","17:00-17:05","17:05-17:10","17:10-17:15","17:15-17:20","17:20-17:25","17:25-17:30","17:30-17:35","17:35-17:40","17:40-17:45","17:45-17:50","17:50-17:55","17:55-18:00","18:00-18:05","18:05-18:10","18:10-18:15","18:15-18:20","18:20-18:25","18:25-18:30","18:30-18:35","18:35-18:40","18:40-18:45","18:45-18:50","18:50-18:55","18:55-19:00","19:00-19:05","19:05-19:10","19:10-19:15","19:15-19:20","19:20-19:25","19:25-19:30","19:30-19:35","19:35-19:40","19:40-19:45","19:45-19:50","19:50-19:55","19:55-20:00","20:00-20:05","20:05-20:10","20:10-20:15","20:15-20:20","20:20-20:25","20:25-20:30","20:30-20:35","20:35-20:40","20:40-20:45","20:45-20:50","20:50-20:55","20:55-21:00","21:00-21:05","21:05-21:10","21:10-21:15","21:15-21:20","21:20-21:25","21:25-21:30","21:30-21:35","21:35-21:40","21:40-21:45","21:45-21:50","21:50-21:55","21:55-22:00","22:00-22:05","22:05-22:10","22:10-22:15","22:15-22:20","22:20-22:25","22:25-22:30","22:30-22:35","22:35-22:40","22:40-22:45","22:45-22:50","22:50-22:55","22:55-23:00","23:00-23:05","23:05-23:10","23:10-23:15","23:15-23:20","23:20-23:25","23:25-23:30","23:30-23:35","23:35-23:40","23:40-23:45","23:45-23:50","23:50-23:55","23:55-24:00"]
["2025-06-11",124.7,124.8,124.7,124.8,124.9,124.8,124.9,125,125.2,125.2,125.2,125,125.2,125.2,125.3,125.3,125.3,125.3,125.3,125.4,125.5,125.4,125.4,125.4,125.4,125.5,125.6,125.4,125.2,125.1,125.3,125.3,125.2,125.2,125.2,125.4,125.4,125.3,125.3,125.4,125.3,125.4,125.4,125.4,125.4,125.4,125.4,125.3,125.2,125.4,125.4,125.3,125.5,125.5,125.4,125.2,125.3,125.3,125.2,125.2,125.2,125,125,125.1,125.1,125.1,124.8,124.8,124.8,124.8,124.8,124.7,124.5,124.5,125.3,124.5,124.3,124.1,124.3,124.9,124.9,124.9,124.9,124.8,124.5,124.2,124.2,124.1,124.1,124.2,124.2,124.4,124.4,124.3,124.2,124.1,124.8,124.7,124.7,124.7,124.6,124.8,124.7,124.6,124.6,124.5,124.5,124.5,124.5,124.4,124.5,124.4,124.3,124.1,124,123.6,124,124,124,123.9,123.8,124.4,124.4,124.5,124.4,124.2,123.9,124,124.4,123.3,123.3,123.3,123.2,123.1,123,123,123,122.9,123.3,122.9,122.9,122.8,122.8,122.9,123,122.5,122.2,122.3,122.2,122,122.5,122.5,122.7,123.5,123.2,123.3,123.1,123.2,123.1,123,123,123.1,123.1,123.1,123.9,123.5,123.8,124.1,124.1,124.2,123.8,123.9,123.9,124.1,124.2,124.1,123.5,123.6,123.6,123.3,123.1,123.2,123.4,123.5,123.4,123.6,123.6,123.5,123.4,123.5,123.6,123.7,123.8,123.7,123.2,123.2,123.1,122.9,122.3,122,122.5,122.5,122.6,122.7,122.9,124.2,124.2,124.1,125.1,125.4,125.5,125.5,125.6,126,126.1,125.4,125.4,125.2,125.3,125.3,125.3,125.3,125.2,125.5,125.5,124.8,124.7,124.7,124.9,124.9,124.7,124.9,125.1,125.1,125.3,125.5,125.5,124.7,124.6,125.1,125,125,124.7,124.6,124.9,124.9,124.9,124.9,124.8,125.1,125.1,125.3,125.3,125.4,125.3,124.8,124.8,124.7,124.9,125,125.1,125,124.8,124.9,124.9,125.2,125.1,125.2,125.2,125.3,125.3,125.3,125.4,125.5,125.5,125.6,125.6,125.6,125.7,125.6,125.7,125.8,125.8,125.2,125.2,125.3,125.5,125.7]
["2025-06-12",125.7,125.7,125.6,125.5,125.6,125.7,125.8,125.5,125.7,125.7,125.9,125.8,125.4,125.4,125.5,125.6,125.2,125.3,125.2,125.5,125.6,125.7,125.7,125.6,125.7,125.8,125.8,125.9,125.8,125.8,125.9,126,126.1,126,125.3,125.4,125.3,125.2,125.1,125.3,125.3,125.4,125.5,125.4,125.3,125.3,125.3,125.2,125.2,125.1,125.1,125.1,125.1,125.8,125.8,125.7,125.7,125.7,125.5,125.5,125.5,125.4,125.4,125.5,125.3,125.4,125.2,125.1,125,125.1,125,124.9,124.8,124.6,125,125.1,125,124.6,124.8,124.3,124.4,124.2,124,124.1,124.1,124.7,124.7,124.5,124.5,124.5,124.2,124.2,124.3,124.4,124.4,124.4,124.4,124.4,124.4,124.1,123.9,123.8,123.9,123.8,123.6,123.6,123.6,123.7,123.9,123.6,123.8,123.8,123.7,123.6,123.9,123.9,123.7,124.4,124.5,124.4,124.3,124.1,123.8,123.7,123.6,123.7,123.7,123.8,123.7,123.6,123.4,123.4,123.3,123.8,123.8,123.6,123.6,123.6,123.9,124.3,124.2,123.9,124,124,124.2,123.9,123.9,124.1,124.2,124.1,123.8,122.8,122.9,122.7,122.9,123,122.8,122.5,122.7,122.7,122.6,121.7,121.7,121.8,121.8,121.7,121.7,121.3,121.4,121.3,121.3,121.3,121.4,121.6,121.7,122.4,122.6,122.5,123.3,123.3,123.1,123,121.9,121.8,121.7,121.9,121.5,122.2,122.3,122.3,122.1,122.3,122.8,122.8,122.8,122.5,122.7,122.7,122.9,122.9,122.8,122.9,123,123.9,125,125,125,125,125,124.9,125,125,124.9,125,125,125.1,125.1,125.3,125.4,125.7,125.6,125.6,125.5,125.5,125.6,125.7,125.7,125.9,125.8,125.6,125.7,125.8,125.6,125.8,125.8,125.9,125.9,125.8,125.9,125.4,125.5,125.5,125.3,125.2,125,125,125.4,125.7,125.6,125.7,125.7,125.8,125.8,125.5,125.5,125.6,125.6,125.7,125.6,125.9,126,126,125.8,125.7,125.7,125.7,125.9,126,125.9,126,125,125.1,125.2,125.1,125.3,125.2,125.3,125.3,125.4,124.6,124.8,124.8,124.7,124.7,124.5,124.5,124.5,124.6]
["2025-06-13",124.8,124.9,125,125.2,125.3,125.4,125.4,125.5,125.5,125.6,125.7,125.6,125.6,125.8,125.8,126,125.9,125.8,126,126,125.3,125.3,125.3,125.4,125.4,125.6,125.6,124.6,124.7,124.7,124.7,124.8,124.8,124.8,124.9,124.9,124.9,124.9,124.9,124.9,124.9,124.9,125,125,125.1,125.1,125.1,125,124.9,124.7,124.7,124.8,124.8,124.8,124.9,124.8,125,125,124.8,124.8,124.7,124.5,124.4,124.4,124.4,124.5,124.6,124.5,124.4,124.4,124.5,124.4,124.4,124.4,124.2,124.1,124.7,124.7,124.7,124.6,124.6,124.5,125.2,125.2,125.1,124.7,124.4,124.5,124.3,124,124.4,124.4,124.3,124.4,124.3,124.3,124.2,124.2,124.4,124.3,124.1,124.2,124.2,123.8,124.2,124.1,124.1,124,124.1,124.1,124,123.8,123.7,123.7,123.7,123.8,123.7,122.3,122.1,122.2,122.4,122.2,121.9,121.9,122.7,122.7,122.6,122.4,122.3,121.6,121.6,121.6,121.3,121.4,121.2,121.2,121.2,121.3,121.2,121,121.2,121.1,121.1,121.2,121.1,120.5,120.5,121.1,121.8,122.9,123,122.6,123.1,123.2,123.3,123.2,123.2,123,123,123.3,123.5,124.4,124.2,124.1,124.1,124.1,124.1,124,123.8,123.9,124,124.1,124,122.5,121.7,121.5,121.3,121.5,121.4,121.6,121.7,121.6,121.7,121.7,121.6,121.6,121.6,121.4,121.5,121.4,121.4,121.5,121.5,121.7,121.7,121.6,121.4,121.4,121.7,121.9,121.9,122,122.3,125.1,125.2,125.4,125.4,125.4,125.4,125.5,125.5,125.6,125.5,125.5,125.6,125.5,125.6,125.6,125.6,125.7,125.8,125.9,125.8,125.8,126,125.9,125.3,125.3,125.5,125.8,125.7,125.8,125.8,125.8,125.9,125.7,125.7,125.8,125.9,125.9,126.1,126.1,125.5,125.2,125,124.9,125,125.1,125.2,125.4,125.3,125.3,125.3,125.2,125.2,125.3,125.4,125.4,125.5,125.1,125.1,125.2,125.2,125.1,125.3,125.3,124.8,124.7,124.9,124.9,125,125,125.1,125.1,125,125.2,125.4,125.4,125.5,125.4,125.5,125.5,125.4,125.6,125.7,124.7,124.9,124.8]
["2025-06-14",124.8,124.6,124.5,124.6,124.7,124.7,124.7,124.7,124.8,124.9,124.9,124.7,124.7,125.1,125.1,125.2,125.2,125.1,125.1,125.1,125.1,125.2,125.1,125.1,125.3,125.3,125.4,125.3,125.3,125.2,125.2,125.1,125.4,125.4,125.5,125.5,125.6,125.6,125.6,125.6,125.6,125.6,125.6,125.6,125.6,125.7,126,125.7,125.5,125.5,125.6,125.6,125.6,125.5,125.6,125.8,125.8,125.6,125.5,125.6,125.5,125.6,125.6,125.6,125.5,125.4,125.5,125.6,125.5,125.5,125.5,125.5,125.4,125.2,125.2,125.2,125.2,125.5,125.2,125.2,125.1,125.1,125.1,125,124.9,125.1,125.1,125.1,125.2,125.2,125.2,124.9,124.9,124.9,124.8,125.2,125.3,125.2,125.2,125.3,125.2,125.1,125,124.9,124.9,125.8,125.8,125.7,125.7,125.7,125.7,125.7,125.5,125.6,125.6,125.5,125.5,125.5,125.4,125.5,125.5,125.5,125.4,125.3,125.3,125.3,125.3,125.3,125.2,125.2,125.3,125.4,125.3,125.2,125.1,125.2,125,124.7,124.8,124.8,124.9,124.9,124.9,124.8,124.7,124.7,124.7,124.7,124.5,124.6,124.6,124.7,124.7,124.6,124.4,124.4,124.5,124.5,124.8,124.7,124.7,124.9,124.9,124.8,124.8,124.8,124.8,124.7,124.7,124.8,124.8,124.7,124.8,124.9,124.9,124.7,124.6,124.6,124.5,124.4,124.5,124.4,124.3,124.4,124.4,124.2,124.2,124.2,124.2,124.1,124.1,124.2,124.1,124.2,124.3,124.2,124.7,124.8,124.9,124.7,124.7,124.6,124.7,124.8,124.7,124.6,124.7,124.7,124.7,124.7,124.8,124.7,125.5,125.5,125.7,125.7,125.6,125.5,125.6,125.7,125.7,125.7,125.8,126,125.3,125.3,125.4,125.4,125.5,125.3,125.6,125.6,125.8,125.9,125.9,125.9,125.9,125.7,125.9,126,124.7,124.7,124.8,125,125,125,124.9,124.7,124.7,124.7,124.7,124.8,124.9,125,124.9,124.9,125.1,125,124.6,124.7,124.8,124.8,124.8,124.9,124.9,125,125.1,125.1,125.1,125,124.4,124.3,124.4,124.5,124.6,124.8,124.9,124.8,124.8,124.7,124.9,124.8,124.8,124.9,124.9,125.1,125.3,125.3]
["2025-06-15",125.2,125.2,125.2,124.7,124.7,124.4,124.6,124.6,124.7,124.7,124.8,124.7,124.7,124.8,125,125,125,125,124.9,125,125,125,124.9,125.1,125.1,125,125,124.9,125,125.1,125.2,125.3,125.1,125.2,125.1,125.2,125.1,124.8,124.8,125,125.1,125.1,125,124.8,124.9,124.9,124.9,124.8,125,124.9,124.9,124.9,125,124.9,124.8,124.8,124.8,124.8,124.9,124.9,124.8,124.9,125,124.9,124.9,124.8,124.9,124.8,124.6,124.8,124.8,124.8,124.9,124.8,124.7,124.5,124.5,124.6,124.5,124.5,124.5,124.5,124.5,124.6,124.8,124.6,124.5,124.5,124.5,124.5,124.4,124.4,124.3,124.3,124.2,124.2,124.2,124.6,125.1,125,124.9,124.9,124.8,125.9,125.9,125.9,125.7,125.7,125.5,125.4,125.3,125.2,125.2,125.3,125.5,125.4,125.3,125.1,125.1,125,124.9,125.2,125.2,125.2,125.2,125.1,125,124.8,124.8,124.9,125,124.7,124.7,124.7,124.5,124.6,124.7,124.7,124.3,124.4,124.4,124.3,124.3,124.4,124.3,124.8,124.8,125,124.8,124.8,124.6,124.6,124.4,124.4,124.4,124.7,124.7,125.4,125.4,125.3,125.1,125.1,125.1,125,125.1,125,125.1,125.1,125,124.8,125,125.1,125,125.1,124.9,124.9,124.9,124.8,124.9,124.8,124.8,124.7,124.8,124.8,124.7,124.7,124.9,125,125.1,125,124.8,124.7,124.8,124.7,124.6,124.6,124.8,124.8,124.7,124.8,124.8,124.8,124.8,124.7,124.6,124.7,124.7,124.6,124.5,125.3,125.3,125.3,125.4,125.4,125.5,125.5,125.7,125.7,125.9,125.8,125.7,125.7,125.6,125.7,125.7,125.9,126,126.1,125.5,125.5,125.5,125.6,125.6,125.8,125.8,125.8,125,125.2,125.2,125.1,125,125,124.8,125,125.1,125.2,125,125.2,125.1,125,125.1,125.2,125.1,125.1,125.3,125.4,125.3,125.3,125.5,125.6,125.7,125.7,125.6,125.7,125.7,125.7,125.6,125.8,125.8,125.9,125.9,125.9,125.3,125.4,125.5,125.7,125.7,125.7,125.5,125.5,125.5,125.5,124.9,125.1,125,125.1,125.1,125.3]
["2025-06-16",124.9,124.9,124.6,124.8,124.8,124.8,124.8,124.9,124.9,124.9,125.2,125.3,125.3,125.2,125.2,125.2,125.2,125.2,125.3,125.3,125.4,125.6,125.6,125.6,125.6,125.6,124.6,124.8,124.8,124.7,124.8,125,125,124.9,124.7,124.7,124.7,124.7,124.8,124.8,124.9,125,124.9,124.8,124.8,124.8,124.7,124.8,124.8,124.7,124.6,124.6,124.7,124.7,124.5,124.5,124.6,124.6,124.5,124.5,124.3,124.7,124.8,124.8,124.7,124.6,124.7,124.5,124.5,124.6,124.5,124.5,124.4,124.4,124.3,124.2,124.2,124.1,124.5,124.5,124.7,125,125.1,125.2,125.2,124.8,124.3,124.3,124.3,124.3,124.3,124.3,124.3,124.2,124.1,124.2,123.9,124.8,124.9,125,124.8,124.6,124.5,124.5,124.7,124.6,124.4,124.5,124.3,124.3,124.2,124,124.1,123.9,123.9,124,123.9,123.8,123.7,122.3,122,122.3,122.3,122.5,122.7,123,123,122.9,122.9,123,123.1,123,122.7,122.9,123.4,123.5,123.7,123.4,123.3,123.4,123.4,123.3,123.2,123.3,123.3,123.5,123.5,123,122.8,123.8,124,123.9,123.6,123.5,123.6,123.7,123.7,123.6,123.3,123.6,123.4,123.4,124.9,124.9,125.1,125.3,125.3,124.9,124.9,125,125.1,124.9,124.7,124.8,125,125.1,125.2,124.9,124.9,124.8,124.6,124.6,122.2,122.2,122.4,122.3,122.5,122.4,122.4,122.2,122.1,122,122.1,122.7,122.8,122.8,122.9,122.1,122.2,122.2,122.9,123.2,123.3,123.3,123.4,122.7,122.9,122.7,122.8,124.5,124.5,124.7,124.7,124.9,125,125,125.1,125,125.1,125,125,125.2,125.5,125.6,125.6,125.2,125.7,125.6,125.4,125.6,125.7,125.7,125.7,125.9,126,126,126,125.3,125.3,125.2,125.2,125.2,125.4,125.4,125.6,125.5,125.5,125.5,125.5,125.6,125.6,125.7,125.6,125.8,125.8,125.8,125.8,125.8,126,125.3,125.3,125.4,125.5,125.5,125.6,125,125.1,125.1,125,125.1,125.1,125.1,125,125,125.1,125.3,125.1,125.2,125.1,125.3,125.3,125.3,125.5,125.6,125.6,125.8,125.8,125.9]
["2025-06-17",125.9,125.8,125.8,125.9,125.9,125.3,125.3,125.4,125.6,125.6,125.7,125.5,125.6,125.7,125.8,125.6,125.7,125.7,125.6,125.6,125.7,125.4,125.3,125.4,125.5,125.5,125.4,125.4,125.5,125.7,125.6,125.7,125.6,125.7,125.7,125.6,125.6,125.4,125.3,125.5,125.5,125.5,125.5,125.5,125.5,125.6,125.5,125.4,125.4,125.3,125.4,125.4,125.4,125.4,125.3,125.2,125.1,125.1,125.4,125.4,125.1,125.1,125.1,125,124.8,124.8,124.8,124.9,124.9,124.8,124.8,124.8,124.8,124.9,124.9,124.7,124.7,124.6,124.5,124.5,124.5,124.5,124.3,123.4,123.9,123.7,123.6,123.5,123.3,124.3,124.2,124.1,124.2,124.3,124.4,124.4,124.3,123.7,123.5,123.7,123.6,123.7,122.5,122.1,122.2,122.2,122.1,122.1,122,122.2,122.2,122,122.6,122.5,122.8,122.6,122.4,121.6,121.5,121.7,121.8,121.7,121.6,121.6,121.7,121.7,121.5,121.2,122.3,122.6,122.4,122.4,122.5,122.6,122.6,122.6,122.6,122.4,121.8,121.6,121.5,121.5,121.5,121.5,121.5,121.6,121.6,121.5,121.3,121.5,121.5,121.5,121.3,121,121.2,121.8,121.8,121.5,121.3,121.4,121.2,122.4,122.9,123,123,123.6,123.6,123.2,123.4,123.4,123.3,123.3,123.2,123.6,123.5,123.6,123.8,123.7,123.7,123.6,123.6,123.8,123.9,123.8,123.8,123.8,123.5,123.5,123.5,123.4,123,123.2,123.7,123.9,124.1,123.8,124.1,123.7,123.9,123.6,124,124,124.1,124.6,125.1,125.1,125.4,125.3,125.3,125.1,125.2,125.4,125.3,125.3,125.3,125.4,125.4,125.4,125.4,125.4,125.3,125.2,125.2,125.4,125.4,125.6,125.4,125.5,125.7,125.9,125.9,125.8,125.8,125.9,125.9,125.2,125.2,125.5,125.6,125.4,125.3,125.3,125.2,125.3,125.4,125.3,125.4,125.4,125.8,125.8,125.8,125.7,125.7,125.7,125.9,125.2,125.2,125.3,125.5,125.5,125.4,125.5,125.5,125.5,125.7,125.7,125.3,125.3,125.4,125.7,125.9,125.9,125.8,125.7,125.7,125.7,125.9,126,125.3,124.7,124.7,124.9,124.9,124.8,124.9,125.2,125.3,125.2]
["2025-06-18",125.3,125.5,125.7,125.7,125.8,125.8,125.6,125.5,125.6,125.6,125.5,125.1,125.1,125.3,125.4,125.4,125.4,125.2,125.1,125.2,125.3,125.4,125.4,125.3,125.4,125.4,125.4,125.3,125.4,125.3,125.2,125.2,125.2,125.3,125.3,125.3,125.3,125.2,125.1,125.2,125.2,125.3,125.2,125.1,125.2,125.3,125.4,125.3,125.2,125.1,125,125,124.9,125,125,124.9,124.9,124.9,125,124.8,124.6,124.5,124.5,124.4,124.4,124.5,124.4,124.5,124.4,124.7,124.5,124.3,124.3,124.1,124.2,124.3,124.2,124,124.1,124.1,124,124.6,124.6,124.6,124.5,124,123.8,123.6,123.8,123.9,123.7,123.6,123.5,123.6,123.6,123.6,123.6,123.4,123.5,123.5,123.5,123.3,123.2,124.1,124,124,123.9,123.6,124,124,123.8,124.5,124.4,124.3,124.2,124,123.8,123.9,124,124,123.8,123.8,123.7,123.5,123.4,123.4,123.6,123.4,123.3,123.2,123.8,123.9,123.7,123.7,123.7,123.6,123.6,123.8,123.7,123.7,123.8,123.8,123.8,123.6,123.7,123.4,123.6,123.3,123,123.4,123.3,121.7,122.1,122,122,121.9,121.9,121.7,121.8,121.7,121.9,121.8,121.7,121.7,121.8,121.8,121.6,121.8,121.7,121.8,121.7,121.8,121.8,121.3,121.6,121.5,121.4,121.4,121.5,121.5,121.9,122,121.9,121.7,122.1,122.1,122,121.9,122.6,123.1,123.9,123.8,123.9,124.1,123.9,123.8,123.9,123.9,123.8,123.8,124,124,124.2,124.5,124.8,124.8,124.9,124.8,125,125.1,125.1,125.3,125.4,125.4,125.3,125.4,125.5,125.5,124.9,124.8,124.9,125.2,125.2,125.1,125.1,125.2,125.2,125.4,125.4,125.5,125.5,125.7,125.7,125.9,126,126,124.9,125.1,125.2,125.4,125.3,125.2,125.3,125.4,125.5,125.4,125.4,125.6,125.6,125.6,125.8,125.8,125.9,126,125.9,126,126,125.3,125.2,125.1,125.2,125.2,125.2,124.9,124.6,124.5,124.5,124.5,124.6,124.5,124.5,124.5,124.6,124.6,124.8,124.8,124.9,124.9,124.6,124.7,124.8,124.7,124.8,124.9,125,125,124.9,124.8]
["2025-06-19",124.8,124.9,124.8,125,125.2,125.1,125.1,125.2,125.3,125.4,125.4,125.2,125.1,125.3,125.3,125.3,124.6,124.6,124.7,124.9,124.9,124.9,125,125,124.9,125.1,125,124.9,125,125.3,125.3,125.1,124.9,124.8,125,125,124.9,125,125,125.1,125.2,125.1,125.1,125.1,125,125.1,125.1,125.1,125.1,125.1,125.2,125.3,125.2,125.2,125.1,125.1,125.1,125.1,125.2,125.2,125.1,125.2,125,125,125,125.1,124.9,124.8,125,124.9,124.9,124.8,124.8,124.8,124.9,124.9,124.6,124.6,124.6,124.6,124.5,124.5,124.5,124.4,124.3,124.2,123.6,123.6,123.3,123.4,123.5,123.7,124.1,124,124.1,124,123.9,124,123.9,123.6,123.5,123.5,123.3,123.7,123.6,123.5,123.4,123.5,123.4,123.5,123.5,123.5,123.3,123.1,123.1,122.3,122.3,122.5,122.3,123.7,123.4,123,122.7,122.9,122.8,122.8,122.5,122.7,122.6,122.5,122.6,122.6,122.5,122.5,122.1,122,122.3,122.7,123.1,122.8,123,123,123.1,123.3,123.5,123.2,123,123.1,123,123,122.8,123,122.9,122.9,122.2,121.9,122,122,122.2,122,122,122.1,121.9,122.1,122,122,121.9,121.9,122.1,122.1,122,121.9,122.1,122,122.1,121.7,121.6,121.5,121.4,121.5,121.8,122.1,121.7,121.8,122.2,122.1,122.8,122.7,122.8,122.7,122.8,123,122.6,122.7,122.7,122.7,122.5,122.5,122.6,122.4,122.6,123.1,123.3,123.8,124.7,124.8,124.7,124.7,124.8,124.8,124.8,124.9,124.9,125.1,125.1,125,125.2,125.3,125.3,125.3,125.3,125.4,125.5,125.5,125.6,125.3,125.4,125.5,125.7,125.7,125.5,125.6,125.8,125.8,125.7,125.8,125.9,125.9,126,125.3,125.5,125.4,125.5,125.5,125.5,125.6,124.9,125,125,125.1,125.1,125.1,125.2,125.3,125.2,125.3,125.3,125.2,125.2,125.2,125.2,125.4,125.4,125.3,125.4,125.4,125.4,125.4,125.4,125.4,125.3,125.2,125.3,125.3,125.4,125.6,125.6,125.6,125.5,125.4,125.6,125,125,124.9,125,125.2,125.3,125.3]
["2025-06-20",125.5,125.5,125.4,125.4,125.5,125.4,125.6,125.8,125.8,125.7,125.7,125.8,125.8,125.8,125.8,125.7,125.8,125.7,125.8,125.8,125.9,126,125.4,125.4,125.2,125.2,125.2,125.1,125.1,125.3,125.4,125.4,125.3,125.3,125.3,125.3,125.4,125.4,125.5,125.3,125.4,125.4,125.4,125.3,125.3,125.1,124.9,124.9,125.1,125.2,125.3,125.1,125.1,125.2,125.2,125,125.1,125,125,125.1,125,124.9,124.9,124.9,124.9,125.5,125.5,125.4,125.4,125.4,125.5,125.5,125.4,125.2,125.2,125.1,125.1,125,124.9,124.9,125,124.8,124.8,124.7,124.4,124.1,123.9,123.9,123.8,124,124.1,124.2,124.1,124.2,123.9,123.7,123.7,123.6,123.7,123.2,123.3,123.5,123.4,123.2,122.3,122.7,122.5,122.7,122.6,122.7,122.4,122.3,121.9,121.6,121.6,122.3,122.3,122.4,121.9,121.7,121.4,121.4,121.4,121.2,121,121,120.9,121.1,121.3,121.5,121.3,121.4,121.4,121.4,121.3,121.2,121.2,121.2,121.3,121.5,121.4,121.4,121.4,121.7,123.4,123.4,123.3,123.1,123.6,123.6,123.6,123.8,123.9,123.8,123.8,123.2,123.6,123.6,123.5,123.8,123.5,123.7,123.6,123.4,123.2,123.2,123.4,123.4,123.4,124,123.3,122.2,122.2,122.1,121.9,122.1,121.7,121.6,121.6,121.3,121.8,121.8,121.8,121.8,121.6,121.7,121.7,121.6,121.7,121.5,121.6,121.6,121.8,122,121.7,121.9,122.3,122.4,122.4,122.4,123.5,124,124.3,124.8,124.9,125.1,125.2,125.1,125.1,125.1,125.2,125.4,125.4,125.6,125.7,125.8,125.4,125.5,125.4,125.4,125.5,125.5,125.8,125.9,126,126,125.2,125.2,125.4,125.6,125.6,125.7,125.9,126,125.5,125.5,125.4,125.3,124.6,124.6,124.6,124.6,124.6,124.8,124.8,124.8,124.8,124.6,124.8,124.8,124.8,125,125,125.1,125.1,125.1,125.2,125.2,125.1,125,125.1,125.3,125.3,125.3,125.3,125.4,125.4,125.3,125.7,125.7,124.9,125,125,125,125.1,125.1,125.2,125.3,125.3,125.2,125.1,125.1,125.1,125.1,125.2,125.3,125.3,125.4]
["2025-06-21",125.5,125.5,125.5,125.6,125.6,125.5,125.4,125.6,125.8,125.8,125.8,125,124.9,124.9,125,125.2,125.2,125.3,125.4,125.6,125.7,125.6,125.5,125.6,125.6,125.5,125.6,125.6,125.6,125.6,125.5,125.4,125.4,125.5,125.6,125.6,125.4,125.6,125.7,125.7,125.5,125.7,125.6,125.5,125.5,125.6,125.6,125.7,125.5,125.4,125.5,125.6,125.6,125.5,125.4,125.5,125.5,125.4,125.5,125.5,125.6,125.5,125.5,125.4,125.5,125.5,125.3,125.4,125.5,125.5,125.4,125.4,125.4,125.3,125.2,125.3,125.2,125.4,125.4,125.2,125.2,125.3,125.2,125.3,125.2,125,124.9,124.9,124.9,124.8,124.8,124.8,124.8,124.9,124.8,124.4,124.3,124.3,124.2,124.1,124.1,124.1,124.7,125.4,125.3,125.2,125.2,125,124.7,125.8,125.7,125.8,125.6,125.6,125.6,125.5,125.3,125.2,125.2,125.1,125,124.8,124.8,124.8,124.8,124.6,124.5,125.4,125.4,125.4,125.3,125.3,125.3,125.2,125.3,125.3,125.2,125.1,125.1,125,124.9,124.9,124.9,125.1,125.5,125.3,125.4,125.2,125,125,125,124.9,124.9,125,125,125,125,124.9,124.7,124.7,124.6,124.7,124.7,124.6,124.7,124.9,124.9,124.8,124.7,124.5,124.4,124.5,124.6,124.5,124.2,124.5,124.3,124.4,124.4,124.5,124.7,124.7,124.7,124.6,124.6,124.6,124.6,124.7,124.5,124.3,124.4,124.4,124.5,124.5,124.7,124.7,124.7,124.5,124.4,124.6,124.5,124.5,124.6,124.6,124.6,124.7,124.7,124.5,124.7,124.6,124.6,124.6,124.7,124.7,124.7,124.8,125,124.9,124.7,124.7,124.7,124.7,124.7,124.8,125,125.2,125.3,125.4,125.4,125.4,125.4,124.4,124.7,124.8,125,125.1,125.2,125.3,125.2,125.2,125.2,125.2,125.3,125.3,125.4,125.5,125.4,125.5,125.5,125.4,125.4,125.4,125.3,125.3,125.2,125.4,125.6,125.7,125.7,125.6,125.7,125.8,125.8,125.8,125.9,126,125.6,125.6,125.6,125.6,125.6,124.8,124.8,124.8,124.8,125,125.1,125.2,125.3,125.3,125.2,125.2,125,125,125,125.3,125.3,125.3]

{"sheet":"B Phase Voltage","index":1,"n_rows":12,"n_cols":289,"rows_kept":12,"cut":false,"hidden":false,"merged":[]}
["Date","00:00-00:05","00:05-00:10","00:10-00:15","00:15-00:20","00:20-00:25","00:25-00:30","00:30-00:35","00:35-00:40","00:40-00:45","00:45-00:50","00:50-00:55","00:55-01:00","01:00-01:05","01:05-01:10","01:10-01:15","01:15-01:20","01:20-01:25","01:25-01:30","01:30-01:35","01:35-01:40","01:40-01:45","01:45-01:50","01:50-01:55","01:55-02:00","02:00-02:05","02:05-02:10","02:10-02:15","02:15-02:20","02:20-02:25","02:25-02:30","02:30-02:35","02:35-02:40","02:40-02:45","02:45-02:50","02:50-02:55","02:55-03:00","03:00-03:05","03:05-03:10","03:10-03:15","03:15-03:20","03:20-03:25","03:25-03:30","03:30-03:35","03:35-03:40","03:40-03:45","03:45-03:50","03:50-03:55","03:55-04:00","04:00-04:05","04:05-04:10","04:10-04:15","04:15-04:20","04:20-04:25","04:25-04:30","04:30-04:35","04:35-04:40","04:40-04:45","04:45-04:50","04:50-04:55","04:55-05:00","05:00-05:05","05:05-05:10","05:10-05:15","05:15-05:20","05:20-05:25","05:25-05:30","05:30-05:35","05:35-05:40","05:40-05:45","05:45-05:50","05:50-05:55","05:55-06:00","06:00-06:05","06:05-06:10","06:10-06:15","06:15-06:20","06:20-06:25","06:25-06:30","06:30-06:35","06:35-06:40","06:40-06:45","06:45-06:50","06:50-06:55","06:55-07:00","07:00-07:05","07:05-07:10","07:10-07:15","07:15-07:20","07:20-07:25","07:25-07:30","07:30-07:35","07:35-07:40","07:40-07:45","07:45-07:50","07:50-07:55","07:55-08:00","08:00-08:05","08:05-08:10","08:10-08:15","08:15-08:20","08:20-08:25","08:25-08:30","08:30-08:35","08:35-08:40","08:40-08:45","08:45-08:50","08:50-08:55","08:55-09:00","09:00-09:05","09:05-09:10","09:10-09:15","09:15-09:20","09:20-09:25","09:25-09:30","09:30-09:35","09:35-09:40","09:40-09:45","09:45-09:50","09:50-09:55","09:55-10:00","10:00-10:05","10:05-10:10","10:10-10:15","10:15-10:20","10:20-10:25","10:25-10:30","10:30-10:35","10:35-10:40","10:40-10:45","10:45-10:50","10:50-10:55","10:55-11:00","11:00-11:05","11:05-11:10","11:10-11:15","11:15-11:20","11:20-11:25","11:25-11:30","11:30-11:35","11:35-11:40","11:40-11:45","11:45-11:50","11:50-11:55","11:55-12:00","12:00-12:05","12:05-12:10","12:10-12:15","12:15-12:20","12:20-12:25","12:25-12:30","12:30-12:35","12:35-12:40","12:40-12:45","12:45-12:50","12:50-12:55","12:55-13:00","13:00-13:05","13:05-13:10","13:10-13:15","13:15-13:20","13:20-13:25","13:25-13:30","13:30-13:35","13:35-13:40","13:40-13:45","13:45-13:50","13:50-13:55","13:55-14:00","14:00-14:05","14:05-14:10","14:10-14:15","14:15-14:20","14:20-14:25","14:25-14:30","14:30-14:35","14:35-14:40","14:40-14:45","14:45-14:50","14:50-14:55","14:55-15:00","15:00-15:05","15:05-15:10","15:10-15:15","15:15-15:20","15:20-15:25","15:25-15:30","15:30-15:35","15:35-15:40","15:40-15:45","15:45-15:50","15:50-15:55","15:55-16:00","16:00-16:05","16:05-16:10","16:10-16:15","16:15-16:20","16:20-16:25","16:25-16:30","16:30-16:35","16:35-16:40","16:40-16:45","16:45-16:50","16:50-16:55","16:55-17:00","17:00-17:05","17:05-17:10","17:10-17:15","17:15-17:20","17:20-17:25","17:25-17:30","17:30-17:35","17:35-17:40","17:40-17:45","17:45-17:50","17:50-17:55","17:55-18:00","18:00-18:05","18:05-18:10","18:10-18:15","18:15-18:20","18:20-18:25","18:25-18:30","18:30-18:35","18:35-18:40","18:40-18:45","18:45-18:50","18:50-18:55","18:55-19:00","19:00-19:05","19:05-19:10","19:10-19:15","19:15-19:20","19:20-19:25","19:25-19:30","19:30-19:35","19:35-19:40","19:40-19:45","19:45-19:50","19:50-19:55","19:55-20:00","20:00-20:05","20:05-20:10","20:10-20:15","20:15-20:20","20:20-20:25","20:25-20:30","20:30-20:35","20:35-20:40","20:40-20:45","20:45-20:50","20:50-20:55","20:55-21:00","21:00-21:05","21:05-21:10","21:10-21:15","21:15-21:20","21:20-21:25","21:25-21:30","21:30-21:35","21:35-21:40","21:40-21:45","21:45-21:50","21:50-21:55","21:55-22:00","22:00-22:05","22:05-22:10","22:10-22:15","22:15-22:20","22:20-22:25","22:25-22:30","22:30-22:35","22:35-22:40","22:40-22:45","22:45-22:50","22:50-22:55","22:55-23:00","23:00-23:05","23:05-23:10","23:10-23:15","23:15-23:20","23:20-23:25","23:25-23:30","23:30-23:35","23:35-23:40","23:40-23:45","23:45-23:50","23:50-23:55","23:55-24:00"]
["2025-06-11",124.3,124.4,124.5,124.5,124.6,124.5,124.6,124.7,124.8,124.7,124.7,124.8,124.9,124.9,125,125,124.9,124.9,124.9,124.9,124.9,124.9,125,125.1,125.1,125.2,125.2,125.1,124.8,124.8,124.9,124.8,124.8,124.9,124.9,125.1,125,124.8,125,125,125,124.9,125,125,125,125.1,125,125,124.9,125,125,124.9,125,125,125,124.9,125,125,124.9,124.9,124.9,124.7,124.7,124.7,124.7,124.6,124.6,124.5,124.6,124.6,124.6,124.5,124.5,124.2,124.3,124.3,124.2,124,124.1,124,123.9,123.9,123.9,124,123.6,123.5,123.5,123.5,123.4,123.4,123.4,123.7,123.7,123.6,123.6,123.5,124.2,124,124.1,124,123.8,123.9,123.8,123.9,123.8,123.7,123.7,123.7,123.7,123.7,123.6,123.5,123.4,123.2,123.1,123.1,123.2,123.8,123.8,123.7,123.6,124.1,124.1,124.1,124.2,124.3,124.2,124.1,124.1,123.1,123.2,123,122.9,122.8,122.7,122.7,122.6,122.6,123.1,122.3,122.5,122.5,122.5,122.6,122.5,122.1,122.3,122.6,122.7,122.4,122.5,122.5,122.4,123.2,123,122.8,122.7,122.8,122.8,122.7,122.7,122.6,122.5,122.7,123.4,123.3,123.3,123.1,123.2,123.2,122.7,122.8,122.8,123,123.4,123.2,122.7,122.9,122.8,123,122.9,122.8,122.9,123,122.8,123.1,123.1,123.1,123,123,123.3,123.4,123.4,123.4,123.5,123.6,123.5,123.3,122.8,122.5,122.6,122.3,122.4,122.5,122.9,124,123.9,123.9,124.5,124.6,124.7,124.6,124.7,124.9,125.3,125.4,125.3,125.3,125.4,125.4,125.6,125.6,125.6,125.6,125.6,124.8,124.9,125,125.1,125.2,125.1,125.1,125.4,125.4,125.4,125.5,125.5,124.9,125.1,125.3,125.3,125.1,124.9,124.9,124.9,124.9,124.9,124.9,125,125.2,125.2,125.3,125.4,125.4,125.5,124.8,124.8,124.9,125,125.1,125.1,125,124.8,124.9,124.9,125,124.9,124.9,125.1,125.3,125.3,125.3,125.3,125.3,125.3,125.4,125.4,125.3,125.4,125.4,125.6,125.7,125.7,125.1,125.1,125.1,125.2,125.4]
["2025-06-12",125.4,125.4,125.5,125.4,125.4,125.5,125.5,125.4,125.4,125.5,125.5,125.4,125.2,125.2,125.3,125.4,125.3,125.2,125.2,125.3,125.4,125.5,125.5,125.5,125.5,125.6,125.6,125.6,125.6,125.6,125.7,125.7,125.7,125.7,125,125.2,125.2,125,125.1,125.1,125.2,125.2,125.2,125.2,125.2,125.2,125.2,125.1,125.1,125,125,125,124.9,125.6,125.6,125.5,125.5,125.5,125.4,125.4,125.4,125.3,125.3,125.2,125.1,125,125.1,125,124.9,125,125,124.9,124.8,124.5,124.7,124.9,124.8,124.7,124.7,124.3,124.3,124.3,124.2,124.2,124.3,124.8,124.7,124.6,124.5,124.6,124.4,124.4,124.5,124.6,124.5,124.5,124.4,124.3,124.2,123.9,123.8,123.8,123.9,123.7,123.4,123.6,123.4,123.5,123.6,123.6,123.6,123.6,123.7,123.7,124,124,123.7,124.4,124.3,124.4,124.2,124,123.9,123.7,123.6,123.6,123.7,123.7,123.5,123.4,123.4,123.4,123,123.2,123.2,123,123,123.1,123.2,123.5,123.5,123.3,123.6,123.3,123.5,123.1,123.1,123.5,123.5,123.4,123.4,122.1,122,122.2,122.3,122.4,122.3,122.4,122.3,122.5,122.5,121.7,121.6,121.6,121.5,121.5,121.5,121.5,121.4,121.2,121.1,121.1,121.3,121.7,121.7,122.5,122.5,122.6,122.6,122.5,122.5,122.3,121.3,121.1,121,121.2,121.4,122.2,122.2,122.1,122.7,122.5,122.6,122.8,122.7,122.6,122.7,122.9,122.9,122.8,122.8,122.8,123,123.4,124.3,124.2,124.3,124.4,124.2,124.1,124.2,124.3,124.2,124.3,124.3,124.5,124.6,124.6,124.8,124.8,124.8,124.9,125,125.2,125.3,125.3,125.2,125.4,125.3,125.1,125.1,125.2,125.2,125.2,125.3,125.4,125.4,125.4,125.5,125.5,125.6,125.5,125.4,125.3,125.1,125.2,125.6,125.8,125.2,125,125,125.1,125.2,125,125,125.2,125.2,125.3,125.2,125.3,125.3,125.4,125.1,125.1,125.2,125.2,125.4,125.5,125.5,125.5,125.1,125.1,125.1,125.2,125.3,125.3,125.4,125.5,125.5,124.7,124.6,124.6,124.7,124.7,124.5,124.5,124.5,124.6]
["2025-06-13",124.7,124.8,124.9,125,125.1,125.3,125.5,125.5,125.5,125.5,125.5,125.5,125.5,125.7,125.7,125.8,125.1,125,125.3,125.3,125.2,125.1,125.1,125.3,125.3,125.3,125.2,124.5,124.7,124.6,124.6,124.7,124.6,124.6,124.7,124.8,124.7,124.7,124.8,124.8,124.8,124.9,124.9,124.9,124.9,124.9,124.8,124.9,124.7,124.6,124.5,124.7,124.7,124.7,124.8,124.7,124.8,124.8,124.7,124.7,124.7,124.5,124.4,124.4,124.4,124.4,124.4,124.3,124.3,124.4,124.4,124.3,124.4,124.3,124.3,124.2,124.1,124,124,123.9,123.9,124.5,125.3,125.3,125.2,124.9,124.7,124.6,124.5,124.5,124.8,124.7,124.7,124.8,124.8,124.7,124.7,124.8,124.6,124.6,124.5,124.7,124.7,124.7,124.6,124.5,124.5,124.3,124.5,124.4,124.3,124.2,124.1,124.1,123.9,123.9,123.8,123.1,122.9,122.9,123,122.9,122.8,122.7,123.3,123.2,123.2,122.9,123,122.1,122.1,122.1,121.9,122.1,121.8,122.1,122.1,122.2,122.1,121.8,122,121.9,122,121.9,121.9,121.6,121.5,121.6,121.6,122.4,122.4,122.9,123.6,123.6,123.7,123.7,123.6,123.6,123.6,123.6,123.7,124.5,124.6,124.5,124.4,124.4,124.2,124.2,124.2,124.2,124,124,123.9,123.1,122.1,122.1,122,122.2,122,122,122.1,122.1,122.1,122.4,122.2,122.2,122.3,122.3,122.1,122,122.1,122.1,122.2,122.3,122.5,122.3,122.2,122.1,122.3,122.4,122.4,122.5,122.4,124.8,125.1,125.4,125.4,125.4,125.3,125.3,125.3,125.4,125.5,125.6,125.7,125.5,125.5,125.4,125.6,125.7,125.6,125.8,125.2,125.2,125.3,125.3,124.7,124.7,124.8,124.9,124.9,125,125,125,125,124.9,125.1,125.1,125.2,125.2,125.3,125.2,125.2,125,124.9,124.8,124.9,125,125,125.1,125.2,125.1,125,125.1,125.2,125.1,125.2,125.2,125.3,125,125,125,125,125,125.1,125.3,124.6,124.7,124.8,124.8,124.8,124.8,124.9,124.9,125.1,125.2,125.3,125.3,125.3,125.3,125.3,125.2,125.3,125.6,125.7,124.7,124.8,124.8]
["2025-06-14",124.6,124.6,124.5,124.4,124.4,124.4,124.5,124.6,124.7,124.7,124.7,124.5,124.6,124.9,124.9,124.9,125.1,125,125,125.1,125,125,125,125,125.1,125.1,125.1,125.2,125.2,125.1,125.2,125.3,125.3,125.3,125.5,125.4,125.4,125.4,125.5,125.6,125.6,125.5,125.5,125.5,125.5,125.5,125.7,125.5,125.5,125.4,125.4,125.4,125.5,125.5,125.5,125.6,125.4,125.3,125.4,125.4,125.4,125.4,125.5,125.5,125.4,125.3,125.3,125.4,125.4,125.5,125.5,125.6,125.3,125.2,125.2,125.2,125.3,125.3,125.1,125.1,125,125,125,125,125,125,125.1,125,125,125,125.1,124.8,124.7,124.6,124.5,125,125.1,125,125.1,125,125,124.9,124.9,124.9,124.8,125.7,125.7,125.7,125.5,125.5,125.5,125.6,125.5,125.4,125.5,125.4,125.4,125.4,125.3,125.3,125.3,125.2,125.3,125.2,125.2,125.2,125.2,125.1,125.1,125.2,125.1,125.1,125.1,125.1,125.1,125.1,124.9,124.8,124.8,124.7,124.7,124.7,124.8,124.8,124.7,124.8,124.7,124.7,124.5,124.5,124.6,124.4,124.5,124.5,124.4,124.3,124.4,124.4,124.7,124.7,124.6,124.6,124.7,124.7,124.7,124.7,124.7,124.7,124.7,124.8,124.8,124.7,124.7,124.8,124.7,124.6,124.6,124.6,124.5,124.4,124.5,124.3,124.3,124.3,124.3,124.3,124.2,124.2,124.3,124.2,124.1,124.1,124.2,124.1,124.1,124.1,124.1,124.1,124,124.1,124,124.1,124.1,124,124,124,124.1,124.2,124.2,124.1,124.2,124.3,124.9,124.9,124.9,125,124.9,125.1,125.2,125.2,125.2,125.1,125.2,125.4,125.4,125.3,125.4,125.4,125.6,125.7,125.6,125.8,125,125,125.1,125.1,125.1,125.1,125.3,125.4,124.8,124.8,124.8,124.9,124.9,124.9,124.8,124.7,124.7,124.6,124.8,124.8,124.8,124.8,124.6,124.7,124.8,124.8,124.4,124.6,124.6,124.8,124.7,124.8,124.7,124.8,124.8,125,125.1,125,124.3,124.3,124.4,124.4,124.4,124.5,124.5,124.6,124.7,124.6,124.6,124.7,124.7,124.8,124.8,125,124.9,125]
["2025-06-15",125.1,125,125.1,124.5,124.6,124.6,124.6,124.5,124.5,124.4,124.4,124.5,124.5,124.7,124.8,124.7,124.8,124.8,124.7,124.6,124.7,124.7,124.8,124.8,124.8,124.8,124.7,124.7,124.8,124.9,124.8,125,125,125,125,125,125,124.6,124.6,124.8,124.8,124.8,124.7,124.6,124.7,124.7,124.7,124.7,124.7,124.8,124.8,124.8,124.8,124.7,124.7,124.7,124.7,124.6,124.7,124.7,124.6,124.6,124.7,124.7,124.7,124.6,124.8,124.8,124.8,124.7,124.7,124.7,124.6,124.5,124.4,124.4,124.4,124.5,124.4,124.5,124.5,124.5,124.5,124.4,124.6,124.5,124.5,124.6,124.4,124.4,124.3,124.3,124.2,124.1,123.9,124,124,124.5,125,125,124.9,124.8,124.7,125.6,125.6,125.6,125.5,125.4,125.4,125.3,125.2,125.2,125.1,125.1,125.1,125.2,125.1,125,124.9,124.8,124.9,125.1,125.2,125.1,125,125,124.9,124.7,124.6,124.7,124.7,124.8,124.7,124.6,124.4,124.5,124.5,124.6,124.4,124.4,124.5,124.4,124.4,124.3,124.1,123.9,124,124.2,124.1,124,124,124.1,123.9,123.9,124,124.1,124.1,124.7,124.7,124.7,124.7,124.6,124.6,124.6,124.6,124.6,124.5,124.4,124.4,124.4,124.7,124.6,124.6,124.5,124.4,124.4,124.4,124.2,124.3,124.3,124.3,124.4,124.4,124.3,124.2,124.3,124.3,124.3,124.3,124.2,124.2,124.2,124.2,124.1,124.1,124.1,124.2,124.2,124.2,124.3,124.4,124.3,124.3,124.2,124.2,124.2,124.2,124.1,124,124.9,124.9,125,125,125.1,125.1,125.1,125.2,125.2,125.3,125.2,125.2,125.4,125.4,125.2,125.2,125.5,125.5,125.5,125.6,125.7,125.8,125.3,125.2,125.3,125.3,125.3,124.5,124.6,124.6,124.5,124.5,124.4,124.2,124.2,124.4,124.4,124.2,124.3,124.2,124.3,124.4,124.5,124.5,124.5,124.6,124.7,124.5,124.6,124.7,124.9,125,125,125,125.1,125,125.1,125,125,124.9,125.1,125.2,125.4,125.4,125.4,125.4,125.5,125.5,125.6,125.2,125.4,125.4,125.4,124.8,125,124.9,125.1,125,125]
["2025-06-16",124.5,124.4,124.4,124.5,124.5,124.6,124.7,124.6,124.7,124.6,124.8,124.9,124.9,124.9,124.9,124.9,125,125.1,125.1,125,125,125.2,125.3,125.4,125.3,125.2,124.4,124.5,124.5,124.5,124.5,124.6,124.6,124.6,124.5,124.5,124.5,124.5,124.6,124.7,124.6,124.7,124.6,124.6,124.6,124.6,124.6,124.6,124.5,124.5,124.4,124.4,124.3,124.2,124.3,124.4,124.4,124.4,124.3,124.3,124.2,124.6,124.6,124.6,124.6,124.5,124.5,124.4,124.3,124.4,124.3,124.3,124.2,124.2,124,124.1,124.1,124.1,124,123.8,123.9,124.3,124.4,124.4,124.4,123.9,123.7,123.6,123.6,123.6,123.8,123.7,123.5,123.2,123.1,123.2,123.1,123.6,123.8,123.8,123.7,123.6,123.3,123.3,123.4,123.5,123.5,123.4,123.3,123.4,123.2,122.9,123.2,123.1,123,122.9,122.9,123,122.9,122.2,122.1,122.3,122.2,122.1,122.2,122.6,122.8,122.5,122.6,122.6,122.9,122.8,122.6,122.6,122.8,122.9,122.9,122.7,122.6,122.7,122.7,122.7,122.5,122.5,122.6,122.5,122.5,122.3,122.1,123,123.2,123.1,123.5,123.5,123.3,123.4,123.4,123.3,123.4,123.4,123.3,123.3,124.2,124.1,124.3,124.3,124.3,124.1,124,124.2,124.1,124,123.9,123.8,124.1,124.1,124.1,123.9,123.9,124,124,124,122,122.1,122.2,122.1,122.2,122.3,122.4,121.9,122.1,122.1,122.2,122.6,122.6,122.6,122.9,122.9,122.8,122.7,123.9,123.9,124,124.2,124.2,122.8,122.9,122.8,122.7,123.6,124,124.2,124.1,124,124.2,124.2,124.2,124.3,124.4,124.5,124.4,124.5,124.7,124.8,125,124.6,125.2,125,124.8,125,125,124.9,124.9,124.9,125,125.1,125.1,125.2,125.2,125.2,125.2,125.1,125.2,125.2,125.2,125.2,125.3,125.3,125.4,125.4,125.4,125.4,125.6,125.6,124.9,124.9,124.9,125,125.1,125,125.1,125.2,125.1,125.3,125.1,124.4,124.4,124.5,124.5,124.7,124.7,124.7,124.7,124.7,124.8,124.8,124.7,124.7,124.9,125,125.1,125.1,125.3,125.4,125.3,125.3,125.5,125.6]
["2025-06-17",125.7,125,125,125,125,124.4,124.4,124.5,124.5,124.5,124.4,124.4,124.7,124.7,124.8,124.6,124.8,124.8,124.7,124.6,124.6,124.4,124.4,124.5,124.5,124.5,124.6,124.6,124.7,124.7,124.6,124.7,124.7,124.7,124.7,124.6,124.5,124.5,124.5,124.4,124.5,124.5,124.6,124.6,124.5,124.7,124.6,124.6,124.5,124.4,124.4,124.4,124.4,124.5,124.4,124.2,124.2,124.2,124.5,124.5,124.2,124.1,124,124,124,123.9,123.9,123.9,124,124,124.1,123.9,124.3,124.5,124.6,124.4,124.4,124.3,124.2,124.2,124.2,124.2,124.1,123.3,123.8,123.8,123.7,123.6,123.4,123.4,123.4,123.5,123.7,123.9,124,124.1,124,123.8,123.8,124,123.7,123.7,122.5,122.8,122.9,122.9,122.8,122.9,122.9,123.1,123,122.9,123.4,123.2,123,122.7,122.6,121.7,121.5,121.7,121.9,121.7,121.7,121.8,122,121.8,121.6,121.6,122.6,122.7,122.8,122.6,122.6,122.7,122.8,122.7,122.7,122.4,122.5,122.4,122.3,122.3,122.4,122.4,122.2,122.4,122.1,122.1,122,122.3,122.3,122.3,122.1,121.8,121.9,122.4,122,121.6,121.6,121.6,121.5,122.8,123.4,123.2,123.3,123.3,123.3,123.1,123.2,123.1,123.1,123.1,123.1,123.4,123.3,123.4,123.4,123.3,123.2,123.3,123.5,123.6,123.7,123.6,123.5,123.5,123.1,123.2,123.2,123.1,122.8,123.7,124.3,124.5,124.7,124.4,124.4,124.4,124.4,124.1,124.5,124.5,124.7,124.7,125.2,125.1,125.4,125.3,125.1,124.9,125.1,125.2,125.3,125.3,125.3,125.3,125.3,125.3,125.3,125.2,125.1,125.1,125.3,125.4,125.3,125.3,125.4,125.5,125.5,125,125,125.1,125.1,125.1,125.3,125.4,125.4,125.3,125.3,125.2,125.3,125.3,125.3,125.3,125.2,125.3,125.3,125.4,125.5,125.4,125.5,125.6,125.6,124.8,125.1,124.4,124.3,124.4,124.4,124.4,124.5,124.6,124.5,124.6,124.8,124.8,124.5,124.6,124.7,124.8,124.9,124.9,125,125,124.9,124.9,125,125.2,125.1,124.4,124.4,124.5,124.6,124.6,124.8,125,124.9,124.9]
["2025-06-18",125.1,125.2,125.2,125.4,125.4,125.5,125.4,125.3,125.2,125.2,125.1,124.9,124.9,124.7,124.9,124.9,125,124.9,124.9,125.1,125.1,125.2,125.1,125.1,125.1,125.1,125,125,125.2,125.1,125,124.9,125,125.1,125,125.1,125.1,125,125,125.1,125.1,125,125,124.9,125,125.1,125.1,124.9,124.9,124.9,124.9,124.8,124.8,124.7,124.7,124.7,124.7,124.5,124.5,124.5,124.3,124.2,124.2,124.2,124.1,124.1,124.2,124.2,124.1,124.4,124.3,124.2,124.1,123.9,124.1,124.1,123.9,123.8,123.9,123.9,123.9,123.9,124,123.9,123.9,123.6,123.1,122.9,123.1,123.2,123.3,123.7,123.4,123.7,123.7,123.9,123.7,123.5,123.7,123.6,123.6,123.4,123.6,123.7,123.6,123.6,123.5,123.4,123.3,123.3,123.2,123.9,123.9,123.7,123.6,123.5,123.3,123.4,123.4,123.3,123.2,123.2,123.2,123,122.9,123.5,123.5,123.4,123.3,123.4,123.8,123.6,123.6,123.6,123.8,123.7,123.6,123.6,123.9,123.6,123.7,123.8,123.8,123.6,123.6,123.4,123.7,123.7,123.4,123.2,123.4,121.8,122.1,122.2,122.3,122.2,122.1,122.4,122.4,122.3,122.6,122.1,122.4,122.1,122.4,122.4,122.3,122.5,122.5,122.6,122.5,122.6,122.6,122.2,122.5,122.5,122.3,122.3,122.3,122.4,122.7,122.6,122.5,122.4,122.5,122.4,122.3,122.3,122.9,123.4,124.1,124.1,124,124.3,124.2,124.1,124.2,124.2,124,124.2,124.2,124.2,124.4,124.5,124.9,124.9,125,125,125.1,125.2,125.2,125.2,125.5,125.5,125.4,125.6,125.6,125.7,125.1,125,125.1,125.2,125.2,125,125.1,125.1,125.2,125.4,125.5,125.6,125.5,125.5,125.5,125.6,125.8,125.2,124.9,125,125.2,125.2,125.2,125.2,125.2,125.3,125.3,125.3,125.4,125.4,125.4,125.6,125.6,125.7,125.7,125.7,125.7,125.2,125.4,125.3,125.1,125.1,125.1,125.1,125.1,124.7,124.4,124.4,124.4,124.4,124.5,124.5,124.5,124.5,124.5,124.6,124.6,124.6,124.7,124.7,124.4,124.5,124.5,124.5,124.6,124.6,124.7,124.7,124.7,124.6]
["2025-06-19",124.5,124.7,124.7,125,124.9,124.9,125,125,124.9,124.9,125.1,125.1,125,125.1,125.1,125.1,124.5,124.4,124.4,124.5,124.6,124.7,124.7,124.8,124.7,124.8,124.8,124.7,124.8,124.8,124.8,124.8,124.7,124.6,124.7,124.8,124.7,124.8,124.9,124.9,124.8,124.8,124.8,124.8,124.8,124.9,124.9,124.9,124.9,124.8,124.8,124.8,124.8,124.9,124.9,124.8,124.9,124.9,124.9,124.9,124.7,124.7,124.7,124.6,124.7,124.9,124.6,124.6,124.8,124.8,124.7,124.6,124.6,124.6,124.7,124.7,124.4,124.4,124.4,124.4,124.4,124.3,124.4,124.3,124,124,123.7,123.6,123.6,123.6,123.5,123.5,123.3,123.7,123.9,123.8,123.8,124,124,123.4,123.6,123.5,123.5,123.7,123.5,123.4,123.4,123.3,123.4,123.5,123.7,123.6,123.7,123.5,123.5,122.2,122.3,122.2,121.9,122.7,122.6,122.5,122.5,122.8,122.8,122.8,122.3,122.4,122.3,122.3,123.3,123.3,123,123,122.8,122.8,122.9,123.2,123.5,123.2,123.6,123.4,123.6,123.6,123.7,123.2,123.1,123.2,123,122.9,122.8,123,122.9,122.9,122,121.8,122,122,122,121.6,121.9,121.9,121.8,122,122,122.1,121.4,121.7,122,122,121.9,122.1,122.1,121.9,121.9,121.7,121.7,121.5,121.9,121.9,122.3,122.5,122.3,122.4,122.3,122.2,122.8,122.9,122.9,122.7,122.7,122.9,123.2,123.2,123.2,123.3,123.2,123.2,123.3,123.3,123.2,123.1,123.4,123.8,124.8,124.8,124.8,124.9,124.9,124.9,125,125,125,125.1,125.2,125.2,125.2,125.2,125.3,125.4,125.4,125.5,125.5,125.5,124.9,124.7,124.8,125,125,125,124.8,125,125.1,125.1,125,125.2,125.3,125.3,125.3,125.4,125.4,125.4,125.3,125.3,125.4,125.5,125,125,124.8,125,125.1,125.2,125.2,125.1,125.2,125.2,125.2,125.2,125.1,125.2,125.2,125.3,125.3,125.2,125.3,125.3,125.2,125.4,125.5,125.4,125.3,125.3,125.4,125.3,125.2,125.4,125.4,125.3,125.3,125.3,125.6,124.2,124.1,124.1,124.1,124.1,124.4,124.4]
["2025-06-20",124.4,124.5,124.6,124.6,124.5,124.5,124.7,124.7,124.7,124.6,124.7,124.8,124.8,124.9,124.8,124.7,124.8,124.8,124.6,124.7,124.8,124.9,124.3,124.3,124.1,124.2,124.1,124.1,124.1,124.1,124.1,124.2,124.3,124.2,124.2,124.2,124.3,124.4,124.4,124.3,124.3,124.3,124.2,124.2,124.3,124.1,124,123.9,124,124.2,124.3,124.2,124,124.1,124.1,124,124,123.9,124,124.1,123.9,124,124,123.8,123.8,124.5,124.5,124.5,124.5,124.4,124.5,124.5,124.5,124.3,124.3,124.2,124,124.1,124,124.1,124.1,123.9,123.9,123.9,123.6,123.4,123.1,123.4,122.9,123.2,123.2,123.3,123.4,123.4,123.4,123.2,123.3,123.6,123.4,123.5,123.5,123.4,123.3,123.1,122.1,122.1,122,122,122,122.1,121.9,122.5,122.1,121.6,121.7,122.5,122.5,122.3,122.4,122.1,122.1,122,121.9,121.8,121.7,121.7,121.5,121.7,121.9,122,122.1,122.2,122.2,122.2,122.1,122.2,122.2,122.1,122.1,122.3,121.9,121.7,122.2,122,123.7,123.5,123.9,123.6,123.4,123.4,123.4,123.4,123.7,123.7,123.7,123.4,123.5,123.4,123.3,123.4,123.3,123.4,123.3,123.2,123.2,122.9,123,123,123.2,123.9,123.1,122.1,122.1,122,121.7,122,121.9,122,122,121.7,122.2,122.1,122,121.9,121.9,122,122.1,122,122.2,122,121.9,121.7,121.9,122.1,122,122.1,122.3,122.2,122.2,122.3,123.4,123.8,123.9,124.1,124.2,124.7,124.8,124.7,124.6,124.6,124.8,124.9,125.1,125.2,125.2,125.3,125.1,125.1,125.1,125,125.1,125.1,125.2,125.4,125.3,125.5,125.4,125.4,125.6,125.7,125.7,125.2,125.3,125.4,125.4,125.5,125.6,125.4,124.5,124.7,124.6,124.8,124.8,124.7,124.8,124.8,124.7,124.8,124.9,124.9,124.9,125,125,125,125,125,125.1,125.1,125,125,125.1,125.3,125.3,125.2,125.1,125.3,125.3,125.5,125.8,125.8,125.1,125.1,125.2,125.2,125,125,125.1,125.3,125.3,125.3,125.2,125.2,125.2,125.2,125.2,125.2,125.2,125.3]
["2025-06-21",125.5,125.4,125.5,125.5,125.5,125.5,125.4,125.5,125.6,125.7,125.7,125,124.9,124.8,124.8,125,125.2,125.2,125.2,125.4,125.5,125.3,125.2,125.4,125.4,125.4,125.5,125.4,125.5,125.4,125.3,125.3,125.3,125.4,125.4,125.4,125.2,125.5,125.5,125.5,125.2,125.4,125.3,125.3,125.4,125.3,125.4,125.4,125.3,125.2,125.2,125.3,125.3,125.4,125.4,125.4,125.3,125.3,125.3,125.3,125.3,125.3,125.3,125.3,125.2,125.2,125.1,125.2,125.2,125.3,125.3,125.1,125.2,125.2,125.1,125.2,125.1,125.4,125.3,125.2,125.2,125.1,125.1,125.1,125.2,125.1,125,124.9,124.9,124.9,124.9,124.9,124.8,124.8,124.6,124.4,124.3,124.3,124.3,124.2,124.1,124.1,124,124.7,124.6,124.6,124.6,124.4,124.2,125,125,125.1,124.9,124.9,124.9,124.7,124.6,124.8,124.7,124.6,124.4,124.3,124.2,124.1,124,123.9,123.8,124.7,124.7,124.7,124.7,124.7,124.6,124.6,124.6,124.5,124.6,124.6,124.6,124.5,124.4,124.4,124.4,124.4,124.6,124.6,124.6,124.6,124.4,124.5,124.4,124.2,124.3,124.4,124.3,124.3,124.3,124.2,124.1,124.1,124.1,124.1,124.2,124.1,124.1,124.3,124.3,124.2,124.2,124,124,124.1,124.1,124,124,124,123.9,123.9,123.9,124,124.1,124.2,124.2,124.2,124.1,124.1,124,124,124,124.1,124.1,124,124.1,124.1,124.1,124.1,124.2,124.2,124.2,124.1,124.1,124.1,124.1,124.2,124.3,124.2,124.1,124.1,124.3,124.2,124.1,124.1,124.2,124.2,124.3,124.4,124.4,124.3,124.5,124.4,124.4,124.5,124.5,124.4,124.5,124.8,124.7,124.8,124.9,125,125,124.1,124.3,124.3,124.5,124.5,124.6,124.6,124.6,124.7,124.7,124.8,124.8,124.9,124.9,124.9,124.9,125,125.1,125.1,125,124.9,124.7,124.7,124.8,124.7,124.8,125,125.1,125,125.1,125.2,125.2,125.2,125.3,125.4,125.5,125.6,125.6,125.6,125.5,124.9,124.9,124.9,125,125,125.1,125.2,125.4,125.4,125.4,125.2,125.2,125.2,125.1,125.2,125.3,125.3]

{"sheet":"C Phase Voltage","index":2,"n_rows":12,"n_cols":289,"rows_kept":12,"cut":false,"hidden":false,"merged":[]}
["Date","00:00-00:05","00:05-00:10","00:10-00:15","00:15-00:20","00:20-00:25","00:25-00:30","00:30-00:35","00:35-00:40","00:40-00:45","00:45-00:50","00:50-00:55","00:55-01:00","01:00-01:05","01:05-01:10","01:10-01:15","01:15-01:20","01:20-01:25","01:25-01:30","01:30-01:35","01:35-01:40","01:40-01:45","01:45-01:50","01:50-01:55","01:55-02:00","02:00-02:05","02:05-02:10","02:10-02:15","02:15-02:20","02:20-02:25","02:25-02:30","02:30-02:35","02:35-02:40","02:40-02:45","02:45-02:50","02:50-02:55","02:55-03:00","03:00-03:05","03:05-03:10","03:10-03:15","03:15-03:20","03:20-03:25","03:25-03:30","03:30-03:35","03:35-03:40","03:40-03:45","03:45-03:50","03:50-03:55","03:55-04:00","04:00-04:05","04:05-04:10","04:10-04:15","04:15-04:20","04:20-04:25","04:25-04:30","04:30-04:35","04:35-04:40","04:40-04:45","04:45-04:50","04:50-04:55","04:55-05:00","05:00-05:05","05:05-05:10","05:10-05:15","05:15-05:20","05:20-05:25","05:25-05:30","05:30-05:35","05:35-05:40","05:40-05:45","05:45-05:50","05:50-05:55","05:55-06:00","06:00-06:05","06:05-06:10","06:10-06:15","06:15-06:20","06:20-06:25","06:25-06:30","06:30-06:35","06:35-06:40","06:40-06:45","06:45-06:50","06:50-06:55","06:55-07:00","07:00-07:05","07:05-07:10","07:10-07:15","07:15-07:20","07:20-07:25","07:25-07:30","07:30-07:35","07:35-07:40","07:40-07:45","07:45-07:50","07:50-07:55","07:55-08:00","08:00-08:05","08:05-08:10","08:10-08:15","08:15-08:20","08:20-08:25","08:25-08:30","08:30-08:35","08:35-08:40","08:40-08:45","08:45-08:50","08:50-08:55","08:55-09:00","09:00-09:05","09:05-09:10","09:10-09:15","09:15-09:20","09:20-09:25","09:25-09:30","09:30-09:35","09:35-09:40","09:40-09:45","09:45-09:50","09:50-09:55","09:55-10:00","10:00-10:05","10:05-10:10","10:10-10:15","10:15-10:20","10:20-10:25","10:25-10:30","10:30-10:35","10:35-10:40","10:40-10:45","10:45-10:50","10:50-10:55","10:55-11:00","11:00-11:05","11:05-11:10","11:10-11:15","11:15-11:20","11:20-11:25","11:25-11:30","11:30-11:35","11:35-11:40","11:40-11:45","11:45-11:50","11:50-11:55","11:55-12:00","12:00-12:05","12:05-12:10","12:10-12:15","12:15-12:20","12:20-12:25","12:25-12:30","12:30-12:35","12:35-12:40","12:40-12:45","12:45-12:50","12:50-12:55","12:55-13:00","13:00-13:05","13:05-13:10","13:10-13:15","13:15-13:20","13:20-13:25","13:25-13:30","13:30-13:35","13:35-13:40","13:40-13:45","13:45-13:50","13:50-13:55","13:55-14:00","14:00-14:05","14:05-14:10","14:10-14:15","14:15-14:20","14:20-14:25","14:25-14:30","14:30-14:35","14:35-14:40","14:40-14:45","14:45-14:50","14:50-14:55","14:55-15:00","15:00-15:05","15:05-15:10","15:10-15:15","15:15-15:20","15:20-15:25","15:25-15:30","15:30-15:35","15:35-15:40","15:40-15:45","15:45-15:50","15:50-15:55","15:55-16:00","16:00-16:05","16:05-16:10","16:10-16:15","16:15-16:20","16:20-16:25","16:25-16:30","16:30-16:35","16:35-16:40","16:40-16:45","16:45-16:50","16:50-16:55","16:55-17:00","17:00-17:05","17:05-17:10","17:10-17:15","17:15-17:20","17:20-17:25","17:25-17:30","17:30-17:35","17:35-17:40","17:40-17:45","17:45-17:50","17:50-17:55","17:55-18:00","18:00-18:05","18:05-18:10","18:10-18:15","18:15-18:20","18:20-18:25","18:25-18:30","18:30-18:35","18:35-18:40","18:40-18:45","18:45-18:50","18:50-18:55","18:55-19:00","19:00-19:05","19:05-19:10","19:10-19:15","19:15-19:20","19:20-19:25","19:25-19:30","19:30-19:35","19:35-19:40","19:40-19:45","19:45-19:50","19:50-19:55","19:55-20:00","20:00-20:05","20:05-20:10","20:10-20:15","20:15-20:20","20:20-20:25","20:25-20:30","20:30-20:35","20:35-20:40","20:40-20:45","20:45-20:50","20:50-20:55","20:55-21:00","21:00-21:05","21:05-21:10","21:10-21:15","21:15-21:20","21:20-21:25","21:25-21:30","21:30-21:35","21:35-21:40","21:40-21:45","21:45-21:50","21:50-21:55","21:55-22:00","22:00-22:05","22:05-22:10","22:10-22:15","22:15-22:20","22:20-22:25","22:25-22:30","22:30-22:35","22:35-22:40","22:40-22:45","22:45-22:50","22:50-22:55","22:55-23:00","23:00-23:05","23:05-23:10","23:10-23:15","23:15-23:20","23:20-23:25","23:25-23:30","23:30-23:35","23:35-23:40","23:40-23:45","23:45-23:50","23:50-23:55","23:55-24:00"]
["2025-06-11",124.2,124.3,124.3,124.4,124.4,124.3,124.4,124.6,124.6,124.3,124.7,124.6,124.7,124.7,124.8,124.8,124.7,124.7,124.7,124.7,124.5,124.9,124.8,124.9,124.9,124.9,125,124.9,124.7,124.6,124.6,124.4,124.7,124.8,124.8,124.9,124.9,124.8,124.9,125,125,124.9,124.5,124.9,125,125,125,125,124.9,125,125,124.9,124.9,124.6,124.9,124.9,124.9,124.9,124.8,124.8,124.8,124.6,124.6,124.6,124.4,124.7,124.7,124.6,124.6,124.7,124.7,124.5,124,124.2,124.2,124.3,124.4,124.5,124.3,124.3,124.5,124.6,124.6,124.6,124.6,124.6,124.6,124.6,124.5,124.3,124.2,124.9,124.9,124.8,124.7,124.6,125.1,125,125,125,124.6,124.4,124.8,124.8,124.7,124.6,124.6,124.6,124.7,124.7,124.3,124.2,124,124.3,124.2,123.8,124.1,124.1,124.1,123.9,123.6,124.1,124.2,124.4,124.6,124.5,123.9,124.1,124.5,123.4,123.4,123,122.8,122.7,123.1,123,123,123,123,123,122.9,122.9,122.9,123,123,123.3,123.2,123,122.8,122.8,122.9,122.7,122.8,123,123.7,124,123.9,123.5,123.6,123.8,124,124,123.7,123.1,124.1,124.2,124.2,124.3,124.3,124.5,124.3,124,124,123.7,123.3,123.7,123.6,123.7,123.3,123.5,123.6,123.6,123.8,123.7,123.6,123.9,123.9,123.9,124.1,123.9,123.9,123.7,123.8,124,123.6,123.9,123.9,123.5,123.1,122.9,123.2,123,123,123,123.2,124,124.1,124.1,124.7,124.9,124.9,124.7,125,125.2,125.1,125.1,125.3,125.5,125.5,125.5,125.5,124.8,124.8,124.8,124.7,124,124.3,124.3,124.4,124.5,124.4,124.5,124.6,124.6,124.6,124.7,124.7,124.3,124.4,124.6,124.7,124.5,124.3,124.4,124.5,124.1,124.3,124.6,124.6,124.8,124.9,125.1,125.2,125.1,125.1,124.2,124.2,124.5,124.6,124.7,124.8,124.8,124.6,124.7,124.7,124.7,124.5,124.6,125,125.2,125.2,125.3,125.3,125.4,125.4,125.5,125.2,125.1,125.5,125.7,125.7,125.7,125.1,124.5,124.6,124.7,124.7,124.6]
["2025-06-12",124.6,124.9,125,124.9,124.9,125.1,125.1,125,125,125.1,124.8,124.8,124.8,124.9,125,124.9,124.3,124.6,124.6,124.8,124.6,124.6,124.9,124.9,125,125.2,125.1,125.1,125.1,125.3,125.2,125,125,125.3,124.6,124.8,124.6,124.4,124.4,124.6,124.6,124.6,124.3,124.6,124.7,124.7,124.8,124.7,124.5,124.5,124.6,124.6,124.5,124.9,125.1,125.1,125.1,125,125,124.9,125,124.9,124.8,124.8,124.4,124.6,124.8,124.7,124.7,124.8,124.7,124.6,124.4,124.3,124.2,124.3,124.4,124.3,124.4,124.3,124.3,124.2,124.1,124.1,124.1,124.6,124.6,124.7,124.8,124.9,124.5,124.5,124.7,124.7,124.5,124.5,124.1,124.1,124.3,124.2,124.2,123.9,123.9,124,123.7,123.8,123.8,123.5,123.5,123.8,123.9,124.3,124.3,124.1,124.2,124.4,124.4,124.8,124.6,124.7,124.7,124.7,124.5,124.4,124.1,124.1,124.1,124.1,123.8,123.7,123.8,123.8,123.7,123.7,124,124,124.1,124.2,123.9,124.2,124.4,124.4,124.5,124.5,124.6,124.2,124.2,124.3,124,123.9,123.9,123.2,123.3,123,123,123.2,123,123.2,122.9,122.8,122.8,122.1,122,122,121.9,121.5,121.3,121.7,121.2,121,121.3,121.2,121.5,121.9,122.2,122.8,123.1,123,123,122.7,122.7,122.6,122,121.8,121.8,121.9,121.7,122.6,122.8,122.5,122.3,123,123.3,123.1,123.1,123.1,123.5,123.4,123.3,122.9,122.8,123.2,123.6,124.1,124.6,124.4,124.4,124.5,124.4,123.9,124,124.2,124.4,124.5,124.5,124.5,124.6,124.7,124.7,124.6,124.5,124.8,124.9,125.1,125.3,125.3,125.2,125.4,125.4,124.8,124.8,125.2,125.3,125.3,125.3,125.4,125.5,124.9,124.8,124.7,124.7,124.7,124.9,124.6,124.4,124.7,124.9,125.1,125.1,125.1,124.8,125,125.3,125,125,125.1,125,125.1,125.2,125.3,125.2,125.2,124.5,124.6,124.8,124.7,124.8,125,125.2,125.2,124.6,124.5,124.5,125,125.1,125.1,125.2,125.3,125.3,124.5,124.6,124.3,124.2,124.6,124.4,124.5,124.5,124.3]
["2025-06-13",124.6,124.7,124.9,124.6,124.7,125.2,125.2,125.3,125.3,125.4,125.5,125.4,125.5,125.5,125.4,125.6,125.6,125.6,125.6,125.2,125.2,125.2,125.3,125.3,125,125,125,124.5,124.6,124.6,124.7,124.7,124.7,124.7,124.6,124.3,124.8,124.9,124.8,124.9,124.9,125,124.9,124.9,124.8,124.7,124.7,124.8,124.7,124.7,124.6,124.8,124.8,124.7,124.8,124.7,124.6,124.8,124.8,124.8,124.7,124.6,124.5,124.5,124.5,124.5,124.3,124.3,124.6,124.7,124.7,124.8,124.8,124.6,124.4,124.3,124.2,123.8,124.1,124.2,124.2,124,124.8,124.8,124.7,124.7,124.7,124.5,124.3,124.4,124.8,124.7,124.7,124.8,124.7,124.6,124.7,124.7,124.4,124.4,124.5,124.7,124.8,124.1,124.7,124.8,124.7,124.6,124.4,124.1,124.3,124.3,124.3,124.3,124.4,124.4,124.5,123.1,122.9,123.2,123.2,123.5,123.5,123.4,124.2,124.1,124.1,123.9,123.5,122.5,122.4,122.3,122.5,122.6,122.6,122.4,122.3,122.2,122.2,121.9,121.8,122,122.2,122.2,122.1,121.4,121.5,121.8,121.9,122.4,122.5,123.3,123.8,124,124,123.9,124,123.4,123.8,123.8,123.6,124.4,124.8,124.7,124.8,124.7,124.6,124.6,124.5,124.5,124,124.5,124.5,123.3,122.5,122.6,122.4,122.4,122.2,122.1,122.1,122,122.6,122.5,122.4,122.1,122.2,122,122.2,121.6,121.6,121.6,122.3,122.3,122.3,122.3,122.1,122.1,122.4,122.2,122.2,122.1,122.2,124.6,124.8,124.6,124.8,124.7,124.8,124.7,124.5,124.8,124.9,124.9,125,125.2,125.1,124.8,125.1,125,124.7,124.8,125.3,125.3,125.6,125.6,124.9,125,125.2,125.2,125.1,125,125.3,125.3,125.4,125.2,125.2,125.4,125.4,125.6,125.2,125.2,125.5,125.6,125.3,125.1,125.2,125.4,125.4,125.4,125.2,124.5,124.7,124.8,124.9,125,125.1,125.1,125.1,124.8,124.7,124.5,124.7,125,125,125,124.4,124.5,124.7,124.7,124.7,124.4,124.4,124.8,125.1,125.2,125.2,125.1,125.2,125.2,125.2,124.9,125.1,125.4,125.4,124.6,124.8,124.7]
["2025-06-14",124.7,124.6,124.5,124.5,124.2,124.2,124.6,124.6,124.7,124.7,124.8,124.7,124.8,125,124.7,124.8,125.1,125.1,125.1,125.1,125.1,125.1,125.1,125.1,125.1,124.9,125.2,125.2,125.3,125.2,125.1,124.8,125.4,125.4,125.5,125.2,125.3,125.6,125.6,125.6,125.5,125.6,125.6,125.6,125.6,125.6,125.4,125.4,125.4,125.5,125.5,125.5,125.5,125.5,125.5,125.6,125.2,125.1,125.5,125.6,125.6,125.5,125.5,125.5,125.4,125.5,125.5,125.2,125.6,125.6,125.7,125.8,125.7,125.6,125.5,125.5,125.5,125.5,125,125.4,125.4,125.2,125.3,125.2,125.2,125.3,125.3,125.2,124.9,124.9,125.1,125.1,125,125.1,125,125.5,125.6,125.4,125.4,125,125.2,125.3,125.4,125.4,125.3,126,125.4,125.3,125.1,124.8,124.8,125.1,125.1,125.2,125.1,125.1,125.1,125,124.9,124.9,124.6,124.7,124.8,124.8,124.8,124.8,124.8,124.9,124.8,124.5,124.4,124.4,124.6,124.6,124.6,124.6,124.5,124.3,124.4,124.3,124.3,124,124.1,124.2,124,124,124.1,124.1,124,124.1,124,123.9,123.6,123.8,123.8,123.8,124.5,124.5,124.7,124.7,124.5,124.6,124.3,124.4,124.7,124.8,124.8,124.7,124.5,124.7,124.7,124.5,124.2,124.4,124.7,124.5,124.4,124.5,124.3,124.2,124.3,124.1,124.2,123.7,123.9,124,124,123.9,124,123.9,124.3,124.4,124.4,124,124,124.3,124.3,124.3,124.3,124.3,124.2,124.2,124.3,124.2,123.8,124.2,124.6,124.5,124.4,124.4,124.3,124.5,125.2,125.2,124.8,125,125.2,125.1,125.2,125.4,125.5,125.3,125.6,125.7,125.4,125.3,125.7,125.2,125.3,124.8,125.3,125.5,125.5,125.5,125.2,125.3,125.5,125.6,125.7,125.2,124.5,124.6,124.6,124.8,124.7,124.3,124.5,124.5,124.4,124.4,124.5,124.6,124.6,124.6,124.5,124.2,124.4,124.7,124.4,124.4,124.5,124.7,124.7,124.7,124.8,124.6,124.4,124.9,124.9,124.9,124.3,124.4,124.4,124.4,124.5,124.5,124.3,124.8,124.9,124.8,124.7,124.8,124.8,125,125,125.2,124.9,124.8]
["2025-06-15",125.3,125.2,125.1,124.7,124.7,124.2,124.6,124.7,124.6,124.4,124.5,124.6,124.7,124.8,124.9,124.8,125,125,124.9,124.6,124.6,124.9,125,125.1,125,125,125,125.1,125.1,125.1,124.9,125.2,125.3,125.2,125,125.2,125.2,124.9,124.8,124.9,124.7,124.7,124.9,125,125,125,125,125,125,125,125,124.6,125,125.1,125.1,125,124.9,124.9,125.1,125,125,124.8,124.8,125,125,124.9,125.1,125.1,124.6,125.1,125.1,125.1,124.8,124.7,124.9,124.9,125,124.9,124.8,124.9,124.9,124.9,124.7,124.5,125.1,125,124.9,124.8,124.7,124.7,124.6,124.6,124.6,124.2,124.1,124.5,124.5,124.3,124.7,124.5,124.5,124.5,124.4,124.9,125,125.2,125.1,125.1,125,125,124.8,124.7,124.7,124.7,124.5,124.4,124.6,124.5,124.4,124.4,124.4,124.6,124.6,124.5,124.6,124.2,124.1,124.3,124.1,124.1,124,124,124,123.9,123.9,123.8,123.4,124.2,124.1,124.2,124.2,124.1,124.2,124.1,124,123.7,123.4,123.5,123.8,123.8,123.7,123.7,124.2,124,124,124.1,123.9,124.4,124.7,124.7,124.6,124.5,124.4,124.5,124.7,124.7,124.4,124.2,124.3,124.2,124.5,124.4,124.4,124.4,124.2,124.2,124.1,123.6,124,124.1,124.2,124,123.8,123.9,124.1,124,123.9,123.6,123.6,124,124,123.8,124,124,123.8,123.6,123.7,123.3,123.3,123.9,123.9,123.8,123.7,123.7,123.6,123.7,123.7,123.2,123.2,124.3,124.4,124.5,124.6,124.6,124.7,124.8,124.8,124.4,124.5,124.9,124.8,124.9,124.9,124.8,124.9,125,125.1,124.9,125.1,125.4,125.5,125,125,125.1,125.2,125.2,124.3,124.1,124.2,124.3,124.2,124.4,124.2,124.2,124.2,124.2,124.1,124.1,124.1,124.2,124.3,124.3,124.5,124.4,124.5,124.6,124.5,124.3,124.5,125.1,125.1,125.1,125.1,125.1,125.1,125.1,125.1,125.1,124.9,125.4,125.5,125.6,125.1,125.1,125.3,125.4,125.4,125.3,124.8,124.9,125.2,125.2,124.6,124.7,124.7,124.9,125,125]
["2025-06-16",124.2,124.1,124.4,124.8,124.8,124.6,124.7,124.8,124.7,124.7,124.7,124.6,124.9,125,124.9,125,125.1,125.1,125.1,125.1,125.2,125,125.3,125.3,125.4,125.4,124.5,124.6,124.5,124.6,124.7,124.3,124.3,124.7,124.8,124.7,124.7,124.5,124.7,124.7,124.7,124.8,124.4,124.7,124.8,124.8,124.8,124.8,124.8,124.6,124.6,124.5,124.3,124.3,124.6,124.6,124.8,124.7,124.6,124.5,124.4,124.9,124.8,124.5,124.7,124.8,124.8,124.7,124.6,124.6,124.8,124.7,124.6,124.4,124.2,124.4,124.4,124.4,124.5,124.4,124.4,124.5,124.5,124.6,124.3,124.3,124.6,124.6,124.5,124.5,124.6,124.5,124.5,123.8,123.5,123.5,123.7,124.3,124.5,124.7,124.5,124.3,124.6,124.5,124,123.9,124.4,124.4,124.3,123.9,124,124,123.8,123.6,123.4,123.3,123.7,123.7,123.5,122.8,122.1,122.7,122.5,122.5,122.4,122.7,122.9,122.9,123,123,123,122.8,122.6,122.8,122.8,122.7,122.9,122.9,122.9,122.9,122.8,122.8,122.7,122.7,122.5,122.5,122.4,122.7,123,123.9,123.9,123.9,123.9,123.7,123.2,123.3,123.5,123.5,123,123.5,123.7,123.6,124.7,124.6,124.4,124.5,124.4,124.5,124.7,124.7,124.7,124.5,124.4,124.2,124.3,124.2,124.7,124.7,124.6,124.6,124.6,124.6,122.6,122.6,122.1,121.9,122.1,122.4,122.6,122.5,122.2,122.1,122.4,122.4,122.5,122.5,123,123.1,122.9,122.9,123.5,124,124.2,124.2,123.9,122.7,123.1,123,123,123.7,124,124.1,124,124,123.8,123.9,124.3,124.3,124.5,124.4,124.5,124.5,124.7,124.9,124.6,124.4,125.7,125.5,124.8,124.9,125,125.1,124.9,124.9,125,125.1,125.4,125.5,124.8,124.8,124.7,124.5,124.7,124.8,124.5,124.4,124.8,124.9,125,125.1,125.1,125.1,125.1,125.2,125.1,125.1,125.1,125.3,125.4,124.8,124.8,124.9,124.8,125.1,125,124.1,124.2,124.5,124.6,124.7,124.7,124.7,124.7,124.8,124.8,124.8,124.5,124.6,124.7,125,125.2,125.1,125.1,125.3,125.3,125.3,125.2,125.2]
["2025-06-17",125.7,124.8,124.8,124.9,125,124.4,124.4,124.5,124.4,124.2,124.5,124.7,124.7,124.7,124.7,124.7,124.6,124.6,124.5,124.4,124.5,124.4,124.4,124.5,124.5,124.6,124.4,124.6,124.7,124.5,124.4,124.6,124.7,124.8,124.8,124.7,124.6,124.6,124.5,124.4,124.2,124.3,124.6,124.5,124.6,124.7,124.7,124.7,124.5,124.6,124.6,124.3,124.3,124.7,124.7,124.5,124.5,124.4,124.7,124.6,124.3,124.2,124,124.2,124.2,124.2,124.3,124.4,124.3,124.3,124.4,124.2,123.8,124,124.3,124.3,124.2,124.1,124,124,124.1,124.1,124.4,123.4,123.9,124.3,124.1,124.1,123.6,124,124,123.8,124,123.6,123.5,123.9,123.8,123.9,123.9,123.8,123.7,123.6,122.7,122.5,122.2,122.3,122.5,122.5,122.7,123.3,123.3,123.1,123.6,123.3,123,122.8,123,122.1,122.1,122.5,122.6,122.4,122.4,122.4,122,121.9,121.9,122,123,123,122.8,123.3,123.4,123.4,123.5,123.2,123.2,123,123,122.9,122.8,122.3,122.3,122.3,122.2,122.1,121.9,121.8,122,122.3,122.4,122.4,122.1,121.8,122.1,122.6,121.8,121.6,121.8,121.9,121.8,122.9,123.8,123.7,123.6,123.5,123.2,122.5,124,123.9,123.9,123.7,123.7,124,124,124,123.8,123.6,123.5,124,124.1,124.2,124.2,124.2,124.2,124.2,123.8,123.6,123.7,123.7,123.4,123.7,124.2,124.4,124.5,124,123.7,123.4,123.6,123.7,123.8,124.1,124.6,124.8,124.8,124.6,124.6,124.3,124.1,124.3,124.5,124.7,124.8,124.9,124.8,124.7,124.8,124.4,124.3,124.5,124.5,124.5,124.6,124.7,124.9,124.9,124.7,124.6,124.5,124.7,125.1,125.1,125.2,125.2,125.5,124.8,124.8,124.8,124.4,124.4,124.8,124.8,124.8,124.8,124.7,124.8,124.9,124.9,125,124.7,124.9,125.1,125.1,125,125.3,124.8,124.7,124.7,124.6,124.5,124.5,125,124.9,125,125.2,125.1,124.8,124.8,124.9,125,125,125,125.4,125.4,125.5,125.4,125.5,125.5,125,124.2,123.9,124,124.5,124.5,124.6,124.8,124.8,124.9]
["2025-06-18",125.1,125.2,125.2,124.9,125.1,125.3,125.2,125.2,125.2,125.2,125.3,125.2,125.1,125,124.6,124.6,124.9,124.9,124.9,124.9,125.1,125.1,125.1,125.1,125,124.8,124.9,125.1,125.2,125.1,124.9,124.9,125,125.1,124.9,124.5,124.6,124.8,124.9,124.9,125,125.1,125,125,125,125.1,124.7,124.7,125,125,124.9,124.9,125,124.9,124.9,124.8,124.7,124.3,124.5,124.5,124.3,124.4,124.4,124.4,124.3,124.4,124.5,124.5,124.1,124.7,124.6,124.5,124.4,124.2,124.2,124.2,124.2,124.3,123.9,123.8,124.1,124,123.9,123.9,124,124.1,124,123.9,124.4,123.9,123.8,124.1,124.1,124,124.1,124.3,124.2,123.9,123.4,123.4,123.6,123.5,123.6,124.4,124.2,124.1,124.1,123.8,124,123.7,123.7,124.8,124.9,124.5,124.4,124.3,124,124.2,124.2,123.9,123.6,123.6,124,123.6,123.7,123.6,123.7,123.6,123.6,123.4,124.1,124.3,124.6,124.4,124.4,124.5,124.4,124.5,124.5,124.2,123.9,124,124.3,124.2,124.3,123.8,124,123.7,123.5,123.4,123.4,121.9,122.4,122.7,122.5,122.5,122.5,122.7,122.9,122.8,122.3,122.2,122.1,122,122.4,122.6,122.5,122.6,122.8,122.7,122.2,122.3,122.2,122.4,122.6,122.5,122.4,122.5,122.6,122.7,122.9,122.5,122.5,122.7,122.6,122.7,122.6,122.6,123.3,123.9,124.1,124.1,124.2,124.6,124.8,124.8,124.5,124.5,124.5,124.6,124.7,124.3,124.3,124.6,125.1,125.1,124.9,125,125.2,125.2,125.1,124.9,125.1,124.5,124.5,124.6,125,125,124.3,124.3,124.4,124.4,124.2,124.2,124.5,124.6,124.8,124.8,124.9,124.9,125.1,125,124.7,125,125,125.4,125.2,125.3,125.4,125.4,125.5,125.5,124.9,124.6,124.6,124.9,125,125.1,125.3,125.3,125.4,125.5,125.5,125.2,125.1,125.1,124.9,124.8,124.7,124.7,124.8,124.8,124.8,124.2,123.7,123.6,124,124,124,124.1,124.2,124.2,124.2,124.3,124.2,124.2,124.2,124.5,124.3,124.4,124.4,124.4,124.6,124.6,124.6,124.4,124.4,124.6]
["2025-06-19",124.6,124.8,124.8,125,125.2,125.1,125.2,125.3,124.9,124.9,125.2,125.4,125.3,125.4,125.3,125.4,124.7,124.7,124.8,124.5,124.6,125,125.1,125.1,125,125.2,125.1,125.1,125,125,124.9,124.9,125.1,125,125.2,125.2,125.2,125.3,125.3,125.3,125.3,125,125.3,125.3,125.3,125.4,125.3,125.3,125.3,125.3,125.2,125,125,125.4,125.4,125.3,125.4,125.4,125.4,125.4,125.3,125.3,124.9,124.9,125.2,125.3,125.2,125.2,125.5,125.5,125.4,125.2,125.2,124.9,125,125.1,125,125.1,125,125,125,124.9,124.9,124.9,124.5,124.5,124.7,124.6,124.6,124.5,124.4,124.3,124.3,124.1,124.1,123.8,123.8,124.3,124.4,124.2,124.1,123.8,123.7,123.7,123.7,124,123.9,123.9,124.3,124.4,124.5,124.4,123.9,123.8,123.8,122.7,122.7,122.5,122.9,123.6,123.5,123.3,123.3,123.3,123.3,123,123.2,122.7,122.6,122.6,123.1,122.9,122.9,122.9,122.4,122.3,122.8,122.8,122.9,122.7,122.8,123.3,123.3,123.3,123.2,122.8,122.7,122.7,122.4,122.2,122.2,122.4,122.7,122.7,121.4,121.5,121.5,121.5,121.5,121.6,121.8,121.6,121.9,122,122,122,122,121.9,121.7,121.7,121.3,121.1,121.6,121.9,121.9,121.6,121.5,121.3,121.6,121.7,121.5,121.8,121.4,121.9,122.1,121.9,122.5,122.6,122.5,122.7,122.7,122.7,122.6,122.8,122.9,122.7,122.7,122.8,122.8,122.5,122.7,122.4,122.6,123.2,123.9,123.9,123.9,124,124,124,124.1,124,123.8,123.9,124.2,124.2,124.3,124.3,124.4,124.5,124.5,124.5,124.4,124.4,124.4,124.6,124.6,124.6,124.7,124.7,124.6,124.7,124.7,124.5,124.5,124.9,124.9,125,125.2,125.3,125.4,125.4,125.4,125,125.1,124.5,124.2,124.2,124.3,124.4,124.5,124.4,124.6,124.5,124.3,124.2,124.7,124.7,124.7,124.7,124.6,124.9,124.9,124.7,124.5,124.5,124.8,125,125.1,125.1,125,125.1,125.2,125.1,125.2,124.9,125,125.3,125.2,125.2,125.5,124.8,124.8,124.8,124.9,124.9,124.6,124.9]
["2025-06-20",125.1,125.3,125.4,125.4,125.3,125.4,125.6,125.1,124.7,124.6,125.1,125.1,125.2,125.3,125.2,125,125.1,125.1,125.1,124.8,124.8,125.3,124.7,124.7,124.6,124.6,124.5,124.5,124.5,124.6,124.3,124.5,124.8,124.8,124.7,124.7,124.8,124.8,124.7,124.6,124.7,124.4,124.4,124.7,124.7,124.6,124.5,124.5,124.6,124.8,124.8,124.8,124.3,124.4,124.7,124.7,124.7,124.6,124.5,124.7,124.6,124.5,124.4,124,124.1,125,125.1,125.1,125.1,125.1,125.2,125.2,125,124.9,124.6,124.4,124.7,124.5,124.6,124.6,124.6,124.4,124.5,124.3,124.1,123.8,123.7,124.1,124.1,124.3,124.3,124.3,124.2,124.2,124.1,124,123.5,123.3,123.3,123.3,123.7,124.1,124.3,123.8,122.7,122.2,122,122.1,122.1,122.5,123,122.9,122.4,122.2,122.3,122.6,122.6,122.4,122.3,122,122.2,122.2,122.2,122.2,122.1,121.9,121.8,121.7,121.9,121.7,122.1,122.2,122.2,122.1,122.2,121.9,121.9,121.9,121.4,121.7,121.3,121.3,121.7,122.1,123.8,123.8,123.6,123.3,123.7,123.6,123.7,123.8,124,124,124,123.3,123.8,123.7,123.6,123.6,123.3,123.1,123.1,123.4,123.5,123.5,123.5,123.5,123.5,124,122.9,121.7,121.8,121.9,122.1,122.1,122,121.8,121.8,121.4,121.5,121.4,121.5,121.3,121.4,121.8,121.5,121.5,121.8,121.7,121.5,121.1,121.3,121.3,121.6,121.5,121.8,121.8,121.8,121.9,123.2,123.4,123.6,123.4,123.6,124,124.3,124.3,124.2,124.2,124.2,124.3,124.2,124.4,124.4,124.7,124.6,124.6,124.6,124.5,124.5,124.5,124.6,124.5,124.7,124.9,124.9,125.1,125.2,125.4,125.4,125.4,124.9,124.7,124.7,125.3,125.3,125.1,124.4,124.6,124.6,124.5,124.6,124.3,124.3,124.4,124.4,124,124.6,124.5,124.7,124.9,124.9,124.9,124.5,124.5,125,125.1,125,124.9,125.1,125.2,125.2,125.1,124.8,125,125.5,125.4,125,125,124.3,124.5,124.5,124.6,124.5,124.3,124.4,124.9,125,124.8,124.8,124.9,124.8,124.8,124.9,124.7,124.7,125]
["2025-06-21",125.1,125.1,125.3,125.3,125.3,125.3,125.3,125.5,125.2,125.2,125.6,125,124.9,124.9,125,125.1,125,125.1,125,125,125.3,125.2,125.4,125.5,125.5,125.4,125.5,125.5,125.3,125.1,125.1,125.4,125.4,125.4,125.5,125.5,125.4,125.6,125.6,125.3,125.1,125.5,125.6,125.6,125.5,125.6,125.6,125.7,125.5,125.4,125.2,125.2,125.4,125.4,125.4,125.5,125.6,125.5,125.5,125.6,125.6,125.2,125.4,125.5,125.6,125.6,125.6,125.6,125.6,125.7,125.6,125.2,125.3,125.6,125.5,125.5,125.5,125.6,125.7,125.5,125.4,125.3,124.9,125,125.4,125.2,125,124.9,124.9,125,125,125,124.6,124.4,124.5,124.6,124.4,124.3,124.3,124.2,124.1,124,123.8,124.1,124.2,124.4,124.3,124,123.9,124.7,124.7,124.7,124.4,124.2,124.1,124.2,124,124,123.9,124,123.7,123.6,123.6,123.8,123.7,123.7,123.8,124.7,124.7,124.8,124.7,124.5,124.6,124.4,124.2,124,124.3,124.4,124.4,124.4,124.2,124.2,124.2,124.2,124,124,124.2,124.1,124.1,124.1,124,124,123.8,123.8,123.8,123.5,123.6,123.7,123.5,123.6,123.5,123.6,123.5,123.5,123.3,123.1,123.2,123.7,123.8,124,124,123.8,123.8,123.8,123.3,123.4,123.4,123.6,123.7,123.8,123.9,123.9,123.9,123.9,123.8,123.5,123.4,123.7,123.7,123.8,123.8,123.8,123.9,123.9,124,123.6,123.6,123.8,123.9,123.9,123.8,123.8,123.9,124,123.9,123.6,123.6,123.9,124,124,124,124,124.1,124.1,124,123.9,124,124.1,124.2,124.2,124.2,124.2,124.3,124.3,124.3,124.1,124.2,124.5,124.6,124.9,124.8,123.9,124.2,124.2,124.4,124.1,124.1,124.6,124.7,124.7,124.5,124.7,124.8,124.8,124.9,124.5,124.4,124.4,124.9,125,125,125,124.7,124.7,124.8,124.7,124.7,124.7,125.3,125.3,125.2,125.3,125.4,125.4,124.8,124.8,124.9,125,125.1,125.1,125.2,124.6,124.5,124.6,124.7,124.7,124.4,124.8,125.3,125.2,125.1,125.1,125,125,125,124.9,124.9,125]