## First Sheet
Object Path ID | Resource Type Path ID | Start Date | End Date | Curve ID | Cost | Currency | Transaction Date | External Key
OPP-000XXX.CP1.NGCONFC |  | 2023-01-01 | 2026-05-01 | 3Y-NGCONFC | 2205000
OPP-000XXX.CP1.NGCONPC |  | 2023-01-01 | 2026-05-01 | 3Y-NGCONPC | 23420300
OPP-000XXX.CP1.NGCONT |  | 2023-01-01 | 2026-05-01 | 3Y-NGCONT | 6419800
OPP-000XXX.CP1.NGENGNC |  | 2023-01-01 | 2026-05-01 | 3Y-NGENGNC | 2325100
OPP-000XXX.CP1.NGFITSC |  | 2023-01-01 | 2026-05-01 | 3Y-NGFITSC | 2003200
OPP-000XXX.CP1.NGLANDC |  | 2023-01-01 | 2026-05-01 | 3Y-NGLANDC | 2756400
OPP-000XXX.CP1.NGMAFD |  | 2023-01-01 | 2026-05-01 | 3Y-NGMAFD | 1832200
OPP-000XXX.CP1.NGMATEC |  | 2023-01-01 | 2026-05-01 | 3Y-NGMATEC | 4839200
OPP-000XXX.CP1.NGMOTH |  | 2023-01-01 | 2026-05-01 | 3Y-NGMOTH | 128000
OPP-000XXX.CP1.NGMOVH |  | 2023-01-01 | 2026-05-01 | 3Y-NGMOVH | 5182400
OPP-000XXX.CP1.NGMPGL |  | 2023-01-01 | 2026-05-01 | 3Y-NGMPGL | 514000

## Master Tab
Input here will populate each tab with common information so that it does not need to be input on each tab.
Master Input Data
| Description | User Input | Notes
| Estimate Revision Number | F-Initiate 60% Refresh | Change number on each draft to be sent out
| Ecosys Oppurtunity Number | OPP-000XXX | Need to complete from Ecosys for Charter estimates.
| Project Name | Line AM07 Phase 3
| Date: | 2024-05-15 | Update with each revision
| Length of Indicative Schedule in Years | 3 | This is required for Ecosys spend curves. Need to put 1, 2, or 3.
| Customer | Duke Energy/PNG
| City / County / Township | Erlanger
| State | Kentucky
| Project manager | Kelsey Pace/B.Seiter
| Modeler | System Planning
| Lead Estimator | Benton Jones | Person who does the estimate
| Total Project Schedule | 40 | 1 Year Project - 17 months ¦ 2 Year Project - 35 months ¦ 3 Year Project - 46 months | **ADD +3 MONTHS IF RED STAKEHOLDER ENGAGEMENT
| Engineering Project Schedule | 22 | 1 Year Project - 5 months ¦ 2 Year Project - 15 months ¦ 3 Year Project - 16 months
| Construction Project Schedule | 10 | 1 Year Project - 4 months ¦ 2 Year Project - 9 months ¦ 3 Year Project - 10 months
| Estimate Requested By | PM
| Rate Requested |  | firm, interruptible, etc.
| Hourly Flow (MCFH) |  | change unit of measure as needed
Delivery Pressure (PSIG)
| Resource Center | GD70-Kentucky | Select from the Drop-down list
| Estimate Type | Class 4
| Length of Pipeline | 15,528 LF | Enter the overall pipe line footage. | *For Charters, use a 5% routing factor if proposed route appears to be thought out & follows property boundaries. Use 14% if straight line/does not follow property boundaries.
| Add Sales tax ( PNG Materials Only) | 7.75% | Input Percentage - Will automatically apply to materials
| Pipe Size | 24''
| Escalation (in Years) | 0 | Years until start date (not in-service date) (Put '0' if project is kicking off within 6 months)
| Escalation Rate (%) | 2.5% | Rate of Escalation (use '0' only for commit and build gates)
| Contingency (%) | 15% | Contingency %
| Start Date | 2023-01-01 | *Either start date from Ecosys or leave as 1/1/2022 for 2022 charters
| In-Service Date | 2025-11-30 | *This will auto-populate when total project schedule is completed | *For Charters, if the in-service date does not match this date then we need to let Renee's group know
| Close-Out Date | 2026-05-01 | *This will auto-populate when total project schedule is completed
| Ecosys In-Service Date | 2026-02-01 | *From Ecosys for Charters **IF HIGHLIGHTED RED THEN NOT FEASIBLE, CONTACT CHARTER GROUP** | *For Charters, if the in-service date does not match this date then we need to let Renee's group know
Estimate Steps
1 | Input information above - this transfers to headers on individual tabs
2 | Write Project description on the Review Format Tab (This can be updated as estimating progresses)
3 | Enter Pipe quantities on the Quantities Tab, enter quantities of HDD etc.
Select State
|  |  |  | North Carolina | 2500 | 2000
|  |  |  | South Carolina | 2000 | 1500
|  |  |  | Tennessee | 4100 | 3500
|  |  |  | Ohio | 4700 | 4000
|  |  |  | Kentucky | 3500 | 3000
|  |  |  | 2-State (LNG) | 5200 | 4500
[7 empty] | .CP1. | NGCONFC | Y-
NGCONPC
NGCONT
NGENGNC
NGFITSC
NGLANDC
NGMAFD
NGMATEC
NGMOTH
NGMOVH
NGMPGL
Formulas:
User Input = [User Input, row below]-(5*30.4)

## Estimate Uncertainty Tool
| PMCoE |  | Estimate Uncertainty
Cell requires user entry
[7 empty] | Identify | Class 5
| Project Name: |  | Line AM07 Phase 3 |  | Date: | 2024-05-15 | Initiate | Class 4
[7 empty] | Commit | Class 3
| Next Stage Gate: |  | Initiate |  | Minimum Class: | Class 4 | Build | Class 3
PMCoE Estimate Uncertainty Tool
| Informed Range |  |  | Best Case (Optimistic: O) | Estimate Value (Most Likely: ML) | Worst Case (Pessimistic: P)
| - % | + % | Cost Description
OK | -30% | 50% | Engineering | 1627570 | 2325100 | 3487650
OK | -30% | 50% | Land | 1929480 | 2756400 | 4134600
OK | -30% | 50% | Materials/Equipment | 3387440 | 4839200 | 7258800
OK | -30% | 50% | Construction Services | 17937710 | 25625300 | 38437950
OK | -30% | 50% | Field Inspections & Testing | 1129450 | 1613500 | 2420250
OK | -30% | 50% | PNG Labor | 359800 | 514000 | 771000
OK | -30% | 50% | Other | 89600 | 128000 | 192000
OK | -30% | 50% | AFUDC | 1282540 | 1832200 | 2748300
OK | -30% | 50% | Overhead & Allocations | 3627680 | 5182400 | 7773600
|  |  | Sub Total | 31371270 | 44816100 | 67224150 | O | 31371270
[7 empty] | ML*4 | 179264400
|  | 3.333% | A. Cummulative Risk EMV |  | 0 |  | P | 67224150
|  |  | B. Estimate Uncertainty PERT ((O+P+(ML*4))/6)-ML |  | 1493870 |  | Total | 277859820
|  |  | C. Contingency (A+B) |  | 1493870 |  | Divided by 6 | 46309970
|  |  |  | 31371270 | 46309970 | 67224150
|  |  |  | Best Case | Expected Case | Worst Case | ML | 44816100
|  |  | Project Informed Range | -32.26% |  | 45.16% | EU | 1493870
|  |  | Certainty* | P10 | P50 | P90
|  | * P10 and P90 are representitive values, but not statistically proven by this methodology. These values do not include any Risk EMV and are shown to allow the project to assess if their Project Informed Range is aligned with the AACEI Class of Estimate expectations. | [5 empty] | 46309970
AACEI Estimate Class Reference:
|  | Class | Typical Methodology | Low Range | High Range
| Class 5 | 5 | Capacity Factored. Parametric Models. Judgement, or Analogy | -20% | 30%
| Class 5 |  |  | -50% | 100%
| Class 4 | 4 | Equipment Factored. Parametric Models. | -15% | 20%
| Class 4 |  |  | -30% | 50%
| Class 3 | 3 | Semi-Detailed Unit Costs with Assembly Level Line Items. | -10% | 10%
| Class 3 |  |  | -20% | 30%
| Class 2 | 2 | Detailed Unit Cost with Detailed Take-Off. | -5% | 5%
| Class 2 |  |  | -15% | 20%
| Class 1 | 1 | Detailed Unit Cost with Detailed Take-Off. | -3% | 3%
| Class 1 |  |  | -10% | 15%
Note on B12: PMCoE: The maximum allowable value in the -% Informed Range Column is 0%
Note on C12: PMCoE: The minimum allowable value in the +% Informed Range Column is 0%
Note on A13: PMCoE: Note that any items highlighted red require correction.
Note on A14: PMCoE: Note that any items highlighted red require correction.
Note on A15: PMCoE: Note that any items highlighted red require correction.
Note on A16: PMCoE: Note that any items highlighted red require correction.
Note on A17: PMCoE: Note that any items highlighted red require correction.
Note on A18: PMCoE: Note that any items highlighted red require correction.
Note on A19: PMCoE: Note that any items highlighted red require correction.
Note on A20: PMCoE: Note that any items highlighted red require correction.
Note on A21: PMCoE: Note that any items highlighted red require correction.
Note on F25: PMCoE: ML is subtracted from the PERT formula to show only the Estimate Uncertainty value.

## Finance Breakdown
Line AM07 Phase 3
Funding Breakdown
2024-05-15
Description | Budget
Contract Labor | 31173000 | External Engineering, Construction Services, Field Inspection & Testing, Escalation
Material Purchased by PNG | 4839200 | Major Equipment and Testing
PNG Labor | 514000 | Internal Engineering and Construction Management
Land (Permanent Only) | 1753100 | Permanent Land purchases only
Other | 602900 | Land Rights (temporary land, land services, etc), Other Direct Costs - travel, meals, hotel, misc expenses
Sub-Total | 38882200
Contingency | 5728800 | Contingency
Sub-Total | 44611000
AFUDC | 0 | By Finance
Overheads | 0 | By Finance
Total | 44611000
Start Date | 2023-01-01 | By Project Manager
In-Service Date | 2025-11-30 | From Project Charter or Project Mgr.
Completion Date | 2026-02-01 | From Estimating
*ENSURE DISTRIBUTION COSTS HAVE BEEN REMOVED FROM ABOVE

## Assumptions
Line AM07 Phase 3
Notes and Assumptions
2024-05-15
| Estimate Revision: | F-Initiate 60% Refresh
1. Charter SOW: Phase 3 (of 5 Phases) includes the following: *Perform detailed engineering to support replacement of approximately 18,870 feet (3.6 miles) of 24" pipe designed for a pressure of 1000 psig. *Install new 24" steel pipeline that starts in the vicinity of coordinates [39° 1'33.74"N, 84°30'29.44"W] and ends at the North side of the I-275 crossing near Licking Pk. and ties into the piping to utilize existing I-275 crossing. *Abandon Line AM07 along this section. *Address remaining farm taps. *Preliminary proposed pipeline route that was field reviewed by Implementation is included in attachment. Right of Way (ROW) reclamation will be required. The following stations / branches have been identified as being impacted by the new line. Add isolation valves at each tap (as discussed with System Planning in 30/60/90 meetings) to assist in future upgrades of the regulator stations. Any major upgrades needed for these assets (with exceptions noted below) to operate at a 1000 psig MAOP will be handled by separate charters to be submitted at a future date: 1. Station 713 - Reconnect station inlet 2. Station 734 - Reconnect station inlet (UL06) 3. Station 859 - Reconnect station inlet 4. Station 804 - Reconnect station inlet 5. UL26 tap - Reconnect branch or extend distribution main and transfer services off of UL26
2. Estimate assumes AC Mitigation is not required
3. Estimate assumes basic environmental control design.
4. A Routing factor has not been assumed for the pipeline.
5. Estimate assumes SCADA is not included
6. Estimate assumes that a laydown yard is required.
7. Estimate assumes that traffic control is required.
8. Estimate assumes 20% Rock
Rev. C - Charter Refresh
1. Pipe length reduced to 10,491 LF
Rev. D - Initiate Gate
1. Line AM07 Pipe length increased to 15,528 LF
2. 816.24 LF of pipe routing for UL16 has been added to scope
3. 3,222.36 LF of pipe routing for UL06 has been added to scope
4. I-275 Covington Regulator Station has been added to scope
Rev E - Refresh
1. Construction to occur 2025. Escalation is added to the estimate per the push of the schedule. As of the date of this estimate, no Material Purchase Orders have been established.
2. Estimate revision assumes Engineering costs totaling $1,951,032 per Project PO's on Charge Project AW6387. Burns & McDonnell PO 10973347 ($1,911,498), Geotechnology Inc. PO 10686168 ($4,000), HDR Engineering PO 10703525-CO1 ($34,535). Estimate assumes a third party contractor for MAOP Verification which is estimated.
3. Revision assumes Land Services Costs of $438,384 per Percheron PO 11055449. Land acquisition costs for easements is estimated.
4. Revision updates rates per schedule push and indicative costs.
Rev F-Initiate Gate Refresh-Scope Adjustments:
Scope of Work Adjustments: The email image on this page details the new Pipeline Footages and modes of Pipelay per Burns & McDonnell 60% Route Study. Wholesale re-routes were required in the taylor & Taylor Mill Developments (AM07). This estimate revision assumes the results of this Route Study as basis for the new costs in this estimate. Also, changes in scope have developed in Environmental & Control Measures due to slopes in terrain in varied areas including the new Covington Station. This estimate revision assumes Covington Station will require additional costs for Site Prep & Retaining Wall. Material quantities are adjusted per the 60% Design Alignment Set
1. Estimate revision assumes a Burns & McDonnell Engineering Change Order (PO 10973347-CO3) total cost of $2,285,273.
2. Estimate Revision assumes a Geotechnology Inc. PO #10686168 to total $5,000 (Original $4,000).
3. Estimate revision assumes a Material Cost of $11,581 per Cornerstone PO 11561076 (Relief Valve).
4. Estimate revision assumes a Rail Permitting Cost of $67,510 per Schneider Engineering PO 11600198.
5. Estimate revision assumes Escalation only applied to Construction Services per existing Engineering at 60% and Material Procurement has started.
6. Estimate revision assumes MAOP Verification is included in the Burns & McDonnell Costs per PO 10973347.
7. Estimate revision assumes 20" UL06 Hydrotest & Commissioning cost to be a part of the 24" AM07 Hydrotest.

## Cost Change Log
This is to document the changes requested in the estimate from reviews.
Piedmont Natural Gas
Line AM07 Phase 3
Estimate Change Log
[5 empty] | Revision: |  |  | F-Initiate 60% Refresh
Item | Revision | Date | Description | Price Before Change | Price After Change | Change Amount | Change Directed By: | Estimate Changed By:
1 | A | 2020-06-18 | Original Estimate Was for total Length of Line AM07 then it was split into only 3 phases | 0 | 0 | 0 | Charter | G. Long
2 | B | 2020-08-03 | Split into 5 phases: 18,870 LF | 0 | 47210100 | 47210100 | Charter | K. Gillow
3 | C | 2021-07-17 | 10,491 LF | 47210100 | 34045100 | -13165000 | Charter | K. Gillow
4 | D | 2023-06-16 | Initiate Gate: Line AM07 Pipe length increased to 15,528 LF. UL06 and UL16 routes were added. Station was added. | 34045100 | 50894400 | 16849300 | Charter | G. Long
5 | E | 2023-12-13 | Initiate Gate Refresh: Rates adjusted per push in schedule. Escalation is added for 1 Year. | 50894400 | 58051500 | 7157100 | B. Seiter | Benton Jones
6 | F | 2024-05-15 | Initiate Gate Scope Change-Amended route with additional station construction requirements-quantities per 60% Design Alignment Set. Adjustments per assumptions that some Construction Services with Laydown, Hydro and Commisioning are covered with other Phases of AM07 Projects. | 58051500 | 51625600 | -6425900 | B. Seiter/K. Pace | Benton Jones
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26

## Cost Report
Line AM07 Phase 3
Erlanger
Project Cost Breakdown
GD70-Kentucky
2024-05-15
Revision: | F-Initiate 60% Refresh | Capital Improvement and Retirement |  | Capital Improvement |  |  |  |  | Retirement
|  |  |  | Size / Name | 24''/Line AM07 | 20" / UL06 | 8" / UL16 | Covington I-275 Regulator Station | Existing Line AM07
|  |  |  | Length / Qty | 17,770 LF | 1,430 LF | 548 LF |  | 10,419'
WBS 1 | Description |  |  | Total | Pipelay 1 | Pipelay 2 | Pipelay 3 | Station 1 | Pipe Abandon 1
NGENGNC | Engineering | 2325100 |  | 2182200 | 1182200 | 285700 | 142900 | 571400 | 142900
NGLANDC | Land - Permanent | 1753100 |  | 1753100 | 1500000 | 144000 | 21600 | 87500 | 0
NGLANDC | Land - Temporary | 474900 |  | 474900 | 406200 | 30000 | 17500 | 21200 | 0
NGLANDC | Land - Support | 438400 |  | 438400 | 238400 | 90000 | 10000 | 100000 | 0
NGLANDC | Land Legal | 90000 |  | 90000 | 60000 | 30000 | 0 | 0 | 0
NGMATEC | Materials/Equipment | 4839200 |  | 4833200 | 3910700 | 407500 | 78100 | 436900 | 6000
NGCONPC | Construction Serv - Pipeline | 23420300 |  | 23024300 | 20960100 | 1368100 | 696100 | 0 | 396000
NGCONFC | Construction Serv - Facility | 2205000 |  | 2205000 | 0 | 0 | 0 | 2205000 | 0
NGFITSC | Field Inspections | 1613500 |  | 1558000 | 1257700 | 82100 | 41800 | 176400 | 55500
NGFITSC | Field Testing | 389700 |  | 389700 | 314500 | 20600 | 10500 | 44100 | 0
NGMPGL | Duke Labor | 514000 |  | 494000 | 174000 | 120000 | 120000 | 80000 | 20000
NGMOTH | Other Direct Costs | 128000 |  | 124000 | 44000 | 20000 | 20000 | 40000 | 4000
Subtotal Direct Cost |  | 38191200 |  | 37566800 | 30047800 | 2598000 | 1158500 | 3762500 | 624400
| Project Contingency | 5728800 |  | 5635100 | 4507200 | 389700 | 173800 | 564400 | 93700
| Project Escalation | 691000 |  | 679700 | 563400 | 36800 | 18800 | 60700 | 11300
Total Contingency & Escalation |  | 6419800 |  | 6314800 | 5070600 | 426500 | 192600 | 625100 | 105000
Total Direct Cost |  | 44611000 |  | 43881600 | 35118400 | 3024500 | 1351100 | 4387600 | 729400
NGMAFD | AFUDC Debt | 1832200 |  | 1832200 | 1465400 | 126800 | 56500 | 183500 | 0 | AFUDC | 0.0575
NGMOVH | Overhead and Allocations | 5182400 |  | 5081100 | 4060500 | 325300 | 171400 | 523900 | 101300 | Overheads | 0.14
Total PNG Overhead Cost |  | 7014600 |  | 6913300 | 5525900 | 452100 | 227900 | 707400 | 101300
Project Total |  | 51625600 |  | 50794900 | 40644300 | 3476600 | 1579000 | 5095000 | 830700
Notes:
1. Contingency is not included on escalation.
2. Overheads and Allocations calculated using 14% of Total Direct Cost less Land Purchase, Materials/Equipment and FERC cost.
3. AFUDC calculated using 5.75% of total Direct Cost. (No AFUDC on Retirement Cost.)
4. Project Escalation is assumed for 1 Year at 2.5%.
|  | OVERHEAD RATE |  | AFUDC RATE
| Erlanger | 0.12 | 9% | 0.0502
| FBRG - Fort Bragg | 0.08 | 10.33% | 0.069
| GD10 - Ohio | 0.12 | 6% | 0.0452
| GD70 - Kentucky | 0.12 | 12% | 0.0502
| GDKO | 0.12 |  | 0.0452
| Kellogg | 0.12 |  | 0.0452
| Monfort Heights | 0.12 |  | 0.0452
| PAOC - Anderson | 0.12 |  | 0.068
| PBLN - Bentonville LNG | 0.02 |  | 0.068915
| PBOC - Burlington | 0.08 |  | 0.069
| PCLN - PNG Carolina LNG | 0.02 |  | 0.068915
| PCOC - Charlotte | 0.08 |  | 0.069
| PEOC - Elizabeth City | 0.08 |  | 0.069
| PFOC - Fayetteville | 0.08 |  | 0.069
| PGDO - Goldsboro | 0.08 |  | 0.069
| PGOC - Greensboro | 0.08 |  | 0.069
| PGRO - Greenville | 0.12 |  | 0.068
| PHLN - Huntersville LNG | 0.02 |  | 0.068915
| PHOC - Hickory | 0.08 |  | 0.069
| PHPC - High Point | 0.08 |  | 0.069
| PIOC - Indian Trail | 0.08 |  | 0.069
| PMOC - Mayland | 0.08 |  | 0.069
| PNOC - New Bern | 0.08 |  | 0.069
| PNOV - Nashville | 0.1 |  | 0.0685
| PROC - Reidsville | 0.08 |  | 0.069
| PROO - Rockingham | 0.08 |  | 0.069
| PSOC - Salisbury | 0.08 |  | 0.069
| PSPO - Spartanburg | 0.12 |  | 0.068
| PTOC - Tarboro | 0.08 |  | 0.0714
| PWIO - Wilmington | 0.08 |  | 0.069
| PWOC - Winston Salem | 0.08 |  | 0.069
| Todhunter | 0.12 |  | 0.0452
| PSOP - South Carolina | 0.12 |  | 0.068

## 24in AM07
Line AM07 Phase 3
2024-05-15 | 24'' |  |  |  | Revision # | F-Initiate 60% Refresh
Control Code | Component Description | Units | Unit of Measure | Unit Cost | Sub-totals | Totals | Instructions
Internal Engineering & Construction Management | [6 empty] | Yellow tab w/ red font is a calculated value. No input required.
G101 | PNG Labor | 40 | Month | 4350 | 174000
OTH001 | Other Direct Cost | 40 | Month | 1100 | 44000 |  | *$1,100 for 1st Pipeline, $500 for each additional
Sub-Total - Internal E&CM | [5 empty] | 218000
External Engineering
G801 | Burns & McDonnell PO 10973347 CO3 (Partial) | 1 | Lump Sum | 1142637 | 1142637 |  | 0% | Engineering Rate
G803 | HDR Engineering PO 10703525 | 1 | Lump Sum | 34535 | 34535
G804 | Records Research | 0 | Hour | 125 | 0
G805 | Estimating & Scoping | 0 | Hour | 125 | 0
G806 | Land Survey | 0 | Hour | 125 | 0
G807 | Land Acquistion Support (Engineering) | 0 | Hour | 125 | 0
G808 | Environmental Services & Permitting | 0 | Hour | 125 | 0
G809 | Geotechnology Inc. PO 10686168 (HDD Study) | 1 | Lump Sum | 5000 | 5000
G810 | Design - Pipeline | 0 | Hour | 125 | 0
G811 | Design - Facility | 0 | Hour | 125 | 0
G812 | Cathodic Protection | 0 | Hour | 125 | 0
G813 | Bid Package Development | 0 | Hour | 125 | 0
G814 | Construction Support | 0 | Hour | 125 | 0
G815 | As-Built Survey | 0 | Hour | 125 | 0
G815 | Project Close-out | 0 | Hour | 125 | 0
G663 | MAOP | 0 | Lump Sum | 0 | 0 |  | *Per costs that Robin provided.
Sub-Total - External Engineering | [5 empty] | 1182200
Land Services
G661 | Transmission - Fee Purchase - Rural | 0 | Acre | 0 | 0
G661 | Transmission - Fee Purchase - Urban |  | Acre | 125000 | 0 |  | *Urban Land is considered within city limits
G662 | Transmission - Permanent Easements - Rural | 0 | Acre | 0 | 0
G662 | Transmission - Permanent Easements - Urban | 10 | Acre | 150000 | 1500000
G662 | Transmission - Stations Easements - Rural | 0 | Acre | 0 | 0
G662 | Transmission - Stations Easements - Urban | 0 | Acre | 175000 | 0
G663 | Transmission - Temporary Easements - Rural | 0 | Acre | 0 | 0
G663 | Transmission - Temporary Easements - Urban | 10 | Acre | 31250 | 312500
G662 PA | Transmission - Access Roads | 4 | Each | 10000 | 40000
G663 | Transmission - Laydown Yard | 12 | Months | 4200 | 50400 |  | *Zero out if no laydown yard is required
G656 | Transmission - Damages | 1 | Per Parcel | 3250 | 3300 |  | *Small Damages (fence, gates, landscaping, driveway, etc.)
G656 | Transmission - Additional Damages | 0 | Acre | 0 | 0 |  | *Crop or Timber Damages
G301 | Contract Labor - Land Services (Percheron PO) | 1 | Lump Sum | 238384 | 238400
G301 | Contract Labor - Legal | 2 | Per Parcel | 30000 | 60000 |  | *10% of parcels are assumed to go to condemnation
Sub-Total - Land Services | [5 empty] | 2204600
Construction Services - Pipeline |  | 17770 | Overall LF of Pipe installed
820 | Mob/Demob | 1 | Lump Sum | 1905461.9 | 1905461.9 |  | 10%
821 | Clearing and Grubbing | 20 | acre | 40250 | 805000 |  | *Only use for wooded or brush areas where trees are under 10'. Not needed for fields or already cleared land.
821 | Tree Cutting Only/No Grubbing | 0 | acre | 0 | 0 |  | *Only use for wooded/forested area where trees are over 10' high
829 | Conventional Upland Lay | 15726 | Linear Foot | 565 | 8885190
829 | Conventional Upland Lay (Residential) | 0 | Linear Foot | 0 | 0 |  | *Add $125 to Upland Lay cost
830 | Conventional Wetland Lay | 0 | Linear Foot | 0 | 0
825 | Conventional Bore - Dirt | 0 | Linear Foot | 0 | 0
826 | Conventional Bore - Rock | 296 | Linear Foot | 4325 | 1280200
827 | Directional Drill – Dirt |  | Linear Foot | 0 | 0 |  | *This is an adder to the conventional uplay cost and qty does not count toward overall pipe installed
828 | Directional Drill – Rock (Updated Rate per Phase 2 Cost) | 1748 | Linear Foot | 1900 | 3321200 |  | *This is an adder to the conventional uplay cost and qty does not count toward overall pipe installed
828 | SCAR Guard Application | 1748 | Linear Foot | 170 | 297160 |  | *Assume entire Rock Bore and/or Rock Drill length on FBE pipe
822 | Rock Excavation – Blasting | 0 | Cubic Yard | 0 | 0
822 | Rock Excavation – Mechanical | 771 | Cubic Yard | 275 | 212025
829 | Anomoly Dig | 0 | Each | 0 | 0
829 | Retrofit Cost | 0 | Linear Foot | 0 | 0
829 | Material Verification | 0 | Each | 18000 | 0
829 | Bore Pit | 2 | Each | 54139 | 108278 |  | *Use dig price for each Bore/HDD Pits
829 | Extra Depth Ditch | 0 | Per 1 ft depth / LF | 40 | 0 |  | *Use only if we are doing a conventional bore under a railroad to get extra depth
829 | Padding – Job Site | 0 | Linear Foot | 0 | 0 |  | *Use based on % of assumed Rock Excavation and when running next to existing line (or crossing)
829 | Padding - Haul | 0 | Linear Foot | 0 | 0 |  | *Use based on % of assumed Rock Excavation and when running next to existing line (or crossing) (Nashville/KY Only if assuming 100% rock along entire route otherwise DNU)
829 | Sand Padding over Existing Lines | 0 | Cubic Yard | 0 | 0 |  | *DNU
822 | Rock Shield | 1543 | Linear Foot | 20 | 30860 |  | *Use based on % of assumed Rock Excavation
831 | Saddle Bag Weight | 0 | Each | 0 | 0 |  | * 2 per stream/creek open cut (less than 10'. Anything 10' or greater than bore)
831 | River Weight | 0 | Each | 0 | 0 |  | *1 per 80' of marsh/swamp wetland (standing water) (Any actual rivers would be drills)
831 | Concrete Coating | 0 | Linear Foot | 0 | 0 |  | *DNU
837 | Zinc Ribbon (AC Mitigation) | 17770 | Linear Foot | 19 | 337630 |  | *Length of route in immediate vicinity of Transmission powerlines (parallel routing or crossing) (min. $10k)
837 | Anode Bed | 1 | Each | 20400 | 20400 |  | *Per Station Site (MLV/Pig Trap)
835 | Temporary Clean-up / Temporary Stabilization | 15726 | Linear Foot | 14 | 220164 |  | *Length of upland + wetland lay (Minimum $2,500 per site)
833 | Hydro Test | 19518 | Lump Sum | 32 | 624576 |  | *Use LF cost but Minimum $50,000 (Length of total pipeline including HDDs + length of HDDs to account for pre-test) (OH/KY Min cost is TCAP Cost)
833 | Hydro Water Testing | 0 | Lump Sum | 25000 | 0 |  | *Only need if water source is not coming from a municipality
834 | Commissioning | 17770 | Lump Sum | 3 | 53310 |  | *Use LF cost but Minimum $20,000
837 | Re-coating of Exposed Pipe (Hand Application) | 0 | Linear Foot | 0 | 0 |  | *DNU
837 | Re-coating of Exposed Pipe (Spray Application) | 0 | Linear Foot | 0 | 0 |  | *DNU
837 | Armor Plate | 0 | Linear Foot | 0 | 0 |  | *DNU
829 | Daylight Existing Utilities (Pot Holing) | 10 | Lump Sum | 1500 | 15000 |  | *When installing in DOT ROW, crossing existing utility, retrofit, tie-in, etc.
829 | AirVac/Hydro Vac Excavation | 0 | Cubic Foot | 0 | 0 |  | *DNU unless Charter specifies
829 | Pipe Rack Construction (Dirt/Sand Berm) | 0 | Lump Sum | 0 | 0 |  | *DNU
829 | Transition Of Bevels | 0 | Each | 0 | 0 |  | *DNU
837 | Test Station Installation | 5 | Each | 1000 | 5000 |  | *2 per HDD/Bore + 1 per mile + MLV + L/R + Branch Connections + Foreign Line Crossing
829 | Temporary Stabilization | 0 | Linear Foot | 0 | 0 |  | *DNU
630 | Silt Fence (metal post & wire backing) | 15726 | Linear Foot | 16 | 251616 |  | *3X Length of Pipeline (Minimum $7,500 per site)
630 | Conventional Silt Fence | 0 | Linear Foot | 0 | 0 |  | *DNU
630 | Super Silt Fence (metal post & chainlink fence backing) | 0 | Linear Foot | 0 | 0 |  | *DNU
630 | Curlex Blanket with Staples (4 x 100) | 0 | Square Yard | 0 | 0 |  | *Need along banks, hillsides, steep grades
630 | Curlex Double Net Blanket with Staples (4 x 100) | 0 | Square Yard | 0 | 0 |  | *DNU
630 | Curlex Triple Net Blanket with Staples (4 x 100) | 0 | Square Yard | 0 | 0 |  | *DNU
630 | Curlex Premier Coconut Blanket with Staples (4 x 100) | 0 | Square Yard | 0 | 0 |  | *DNU
630 | Curlex Premier Straw/Coconut Blanket with Staples (4 x 100) | 0 | Square Yard | 0 | 0 |  | *DNU
630 | Hydroseeding Temporary Stabilization | 0 | Square Yard | 0 | 0 |  | *DNU
630 | Hydroseeding Permanent Stabilization | 0 | Square Yard | 0 | 0 |  | *DNU
630 | Rip Rap Placement | 0 | Ton | 0 | 0 |  | *DNU
630 | Gravel Placement | 100 | Ton | 67 | 6700 |  | *100 tons per L/R and MLV Site
630 | Geo Textile Fabric | 350 | Square Yard | 7 | 2450 |  | *350 SY per L/R and MLV Site
630 | Safety Fence | 800 | linear ft | 7 | 5600 |  | *Quote 200' per bore/drill pit and tie-in
630 | Culvert Pipe (CMP) | 0 | Inch Dia per LF | 0 | 0 |  | *DNU
630 | Sack Breakers | 0 | Each | 0 | 0 |  | *DNU
630 | Sediment Basin (excludes rock) | 0 | Each | 0 | 0 |  | *DNU
630 | Trench Breaker (Plug) | 0 | Each | 0 | 0 |  | *DNU
630 | Foam Breakers | 0 | Each | 0 | 0 |  | *DNU
630 | Construction (Timber) Mats | 100 | Linear Foot (Width) | 700 | 70000 |  | *100 minimum + 50 per HDD pit + Wetland Lay /1.5
630 | Laminated (Truck) Mats | 0 | Linear Foot (Width) | 0 | 0 |  | *DNU
630 | Bentonite Trench Seals in Wetlands | 0 | Each | 0 | 0 |  | *Two per standing water type wetland (marsh, swamp, bog, etc.)
630 | Permanent Seeding (seed straw, and tack) | 871200 | Square Foot | 0.1 | 87120 |  | *Area of permanent and temp easement
630 | Intermediate Seeding (seed straw, and tack) | 871200 | Square Foot | 0.07 | 60984 |  | *Area of permanent and temp easement
630 | Dry Crossing (Flume or Dam/Pump Method) | 0 | Each | 0 | 0 |  | *One per open cut creek or stream (less than 10'. Anything 10' or greater than bore)
630 | Sod | 0 | SF | 0 | 0 |  | *DNU
630 | Straw Wattle 9'' x 10' | 0 | Each | 0 | 0 |  | *DNU
630 | Sediment Log 8'' | 0 | Each | 0 | 0 |  | *DNU
630 | Sediment Log 10'' | 0 | Each | 0 | 0 |  | *DNU
630 | Sediment Log 12'' | 0 | Each | 0 | 0 |  | *DNU
630 | Sediment Log 20'' | 0 | Each | 0 | 0 |  | *DNU
630 | Erosion Eel 10'' | 0 | Each | 0 | 0 |  | *DNU
630 | Erosion Eel 12'' | 0 | Each | 0 | 0 |  | *DNU
630 | Erosion Eel 14'' | 0 | Each | 0 | 0 |  | *DNU
630 | Erosion Eel 20'' | 0 | Each | 0 | 0 |  | *DNU
630 | Permanent Waterbar Installation | 0 | Each | 0 | 0 |  | *DNU
630 | Temporary Waterbar Installation | 0 | Each | 0 | 0 |  | *DNU
630 | Filtration Sediment Bags 10' x 15' | 0 | Each | 0 | 0 |  | *DNU
630 | Dewater Structure | 0 | Lump Sum | 0 | 0 |  | *DNU
630 | Clear Water Diversion Pit | 0 | Lump Sum | 0 | 0 |  | *DNU
630 | Stabilized Construction Entrance 20'W x 50'L x 6''D | 4 | Each | 4500 | 18000 |  | *Per Access Road (Temp or Permanent)
831 | Well Points | 0 | Each | 0 | 0 |  | *1 per section of wetlands 1/2 mile or greater
832 | Air Bridges | 0 | Each | 0 | 0 |  | *1 per crossing of existing pipeline
832 | Chain Link Fence & Gates – New | 0 | Linear Foot | 0 | 0 |  | *200 LF per L/R - DO NOT INCLUDE FENCING FOR MLV SITES
832 | Chain Link Fence & Gates - Repair | 0 | Linear Foot | 0 | 0
832 | Temporary Pasture Fencing | 0 | Linear Foot | 0 | 0 |  | *LF of Farmland install w/ livestock
832 | Permanent Access Roads | 0 | Linear Foot | 0 | 0 |  | *100 LF per L/R & 500 LF per MLV
832 | Temporary Access Roads | 3000 | Linear Foot | 145 | 435000 |  | *Per Rules of Thumb w/ each being ~500 LF in length unless accurate measurements are possible
832 | Top Soil | 0 | Ton | 0 | 0 |  | *DNU
832 | Asphalt Removal | 0 | Square Foot | 0 | 0 |  | *When installing in asphalt
832 | Asphalt Restoration | 0 | Square Foot | 0 | 0 |  | *When installing in asphalt
832 | Sheet Piling | 0 | Day | 0 | 0 |  | *DNU
832 | Ditch Shoring | 0 | Day | 5000 | 0 |  | *Need for pipelay in Urban and Coastal (sand) conditions
832 | Road Plates (10' Long) | 0 | Each | 750 | 0 |  | *One per 10 LF of Open cut of parking lot/road (flow of traffic)
832 | Trench Boxes | 0 | Day | 0 | 0 |  | *Need near congested/roadside installs & narrow ROWs (1 Day per every 40' of install)
832 | Traffic Control (Flaggers) | 45 | Day | 5000 | 225000
832 | Traffic Control (Signage) | 90 | Day | 100 | 9000
832 | Traffic Control (Barriers) | 90 | Day | 100 | 9000
832 | Flowable Fill | 0 | Cubic Yard | 0 | 0 |  | *DNU
832 | Noise Reduction Barriers | 0 | Day | 0 | 0 |  | *DNU
837 | Rectifier/Groundbed (CP) | 1 | Each | 45000 | 45000 |  | *Need one every 10 miles
837 | ACVG Testing (less than 10 miles) | 0 | Mile | 9000 | 0 |  | *Required on all new pipelay greater than 1,000 LF
837 | ACVG Testing (greater than 10 miles) | 2.9 | Mile | 6000 | 17400 |  | *Required on all new pipelay greater than 1,000 LF
| MLV Installation | 1 | Each | 347030 | 347030 |  | *One MLV is required per 8 miles (in congested Urban areas this will be 1 MLV every 5 miles)
| MLV Foundations | 1 | Each | 7500 | 7500
| SCADA for MLV Sites | 1 | Each | 100000 | 100000 |  | *Per MLV
| Electrical/Controls for MLV Sites | 1 | Each | 50000 | 50000 |  | *Per MLV
| Security for MLV Sites | 1 | Each | 21000 | 21000 |  | *Per MLV
| L/R Installation | 0 | Each | 0 | 0
| L/R Foundations | 0 | Each | 30000 | 0
| Painting & Waxing Flanges | 1 | Lump Sum | 25000 | 25000 |  | *$25k for each MLV and L/R
| Staging & Laydown Yard | 5 | Acre | 65000 | 325000 |  | *5 acres minimum if one is required to 20 acres
| Railway Crossings | 0 | Each | 20000 | 0
| Civil or General Conditions (Rail Permitting) | 1 | Lump Sum | 67510 | 67510
| Stopple Pit | 4 | Each | 40000 | 160000
| Contractor Tap Support | 4 | Each | 10750 | 43000
| TDW - Hot Tap | 0 | Each | 0 | 0
| TDW - Tap & Stop | 4 | Each | 74100 | 296400
| TDW - Bypass | 2 | Each | 21800 | 43600
| HDD Geo-analytical Design | 1 | Each | 60000 | 60000 |  | *To be used on rock and wetland HDD's
| HDD Mudd Disposal | 1748 | Linear Foot | 17 | 29716
| HDD Mudd Engineer | 1 | Per HDD | 20000 | 20000 |  | *Note that this cost is per HDD. Long Rock Drills could increase this cost.
Sub-Total - Construction Services - Pipeline | [5 empty] | 20960100
Field Inspection & Testing
G880 | Construction Inspection | 1497.15 | Man-Days | 840 | 1257606 |  | 6% | Inspection Rate
G881 | Non-Destructive Testing | 157.2007 | Days | 2000 | 314401.5 |  | 1.5% | NDT Rate
Sub-Total - Field Inspection & Testing | [5 empty] | 1572100
Major Equipment & Materials
Pipe
G205 | 24" Standard Wall, X52, Coated, DRL | 17770 | Linear Foot | 120 | 2132400 |  | *Include Rock Bores & Drill Length
G205 | 24" Standard Wall, X52, Powercrete | 0 | Linear Foot | 124 | 0 |  | *For Dirt Bores & Drills
G205 | 24" Standard Wall, X52, Bare | 120 | Linear Foot | 112 | 13440 |  | *For Bypasses
Fittings
G205 | 24" 3R - 45 deg ell - Segmentable | 20 | Each | 1500 | 30000
G205 | 24" 3R - 90 deg ell - Segmentable | 20 | Each | 8029 | 160580
Equipment
G204 | 24" TDW Stopple | 4 | Each | 44300 | 177200
G204 | 24" TDW Spherical Tee | 0 | Each | 0 | 0
G204 | 24" L/R Module | 0 | Each | 0 | 0
G204 | 24" MLV Module | 1 | Each | 252030 | 252030
Miscellaneous
| Annode Bed Material | 1 | Each | 20000 | 20000 |  | *Per L/R & MLV
| Rectifier/Groundbed Material (CP) | 1 | Each | 45000 | 45000 |  | *Need one every 10 miles
| AC Mitigation Material | 1 | Each | 75000 | 75000 |  | *If AC Mitigation is required
G204 | SCAR Guard | 1748 | Linear Foot | 170 | 297160 |  | *Entire length of Rock Bore and Rock Drill
G205 | Misc. Materials (10% of Total Major) | 1 | Calculated | 320281 | 320281
G205 | Taxes & Freight (11% of All Material) | 1 | Calculated | 387540.01 | 387540.01
Sub-Total - Materials | [5 empty] | 3910700
Sub-Total | [5 empty] | 30047700
Escalation |  | 0 | Year at | 2.5% |  | 563400
Contingency |  |  |  | 15% |  | 4507200
Pipeline Estimate Total | [5 empty] | 35118300
[5 empty] | Cost per foot | 1976.269
[5 empty] | Cost per mile | 10434700.2814

## 8in UL16
Line AM07 Phase 3
2024-05-15 | 24'' |  |  |  | Revision # | F-Initiate 60% Refresh
Control Code | Component Description | Units | Unit of Measure | Unit Cost | Sub-totals | Totals | Instructions
Internal Engineering & Construction Management | [6 empty] | Yellow tab w/ red font is a calculated value. No input required.
G101 | PNG Labor | 40 | Month | 3000 | 120000
OTH001 | Other Direct Cost | 40 | Month | 500 | 20000 |  | *$1,100 for 1st Pipeline, $500 for each additional
Sub-Total - Internal E&CM | [5 empty] | 140000
External Engineering
G801 | Burns & McDonnell PO 10973347 CO3 (Partial) | 1 | Lump Sum | 142830 | 142830 |  | 0% | Engineering Rate
G802 | Route Development | 0 | Hour | 125 | 0
G803 | Project Managemenet | 0 | Hour | 125 | 0
G804 | Records Research | 0 | Hour | 125 | 0
G805 | Estimating & Scoping | 0 | Hour | 125 | 0
G806 | Land Survey | 0 | Hour | 125 | 0
G807 | Land Acquistion Support (Engineering) | 0 | Hour | 125 | 0
G808 | Environmental Services & Permitting | 0 | Hour | 125 | 0
G809 | Geotechnical Services | 0 | Hour | 125 | 0
G810 | Design - Pipeline | 0 | Hour | 125 | 0
G811 | Design - Facility | 0 | Hour | 125 | 0
G812 | Cathodic Protection | 0 | Hour | 125 | 0
G813 | Bid Package Development | 0 | Hour | 125 | 0
G814 | Construction Support | 0 | Hour | 125 | 0
G815 | As-Built Survey | 0 | Hour | 125 | 0
G815 | Project Close-out | 0 | Hour | 125 | 0
G663 | MAOP | 0 | Lump Sum | 0 | 0 |  | *Per costs that Robin provided.
Sub-Total - External Engineering | [5 empty] | 142900
Land Services
G661 | Transmission - Fee Purchase - Rural | 0 | Acre | 60000 | 0
G661 | Transmission - Fee Purchase - Urban | 0 | Acre | 0 | 0 |  | *Urban Land is considered within city limits
G662 | Transmission - Permanent Easements - Rural | 0.3 | Acre | 72000 | 21600
G662 | Transmission - Permanent Easements - Urban | 0 | Acre | 0 | 0
G662 | Transmission - Stations Easements - Rural | 0 | Acre | 84000 | 0
G662 | Transmission - Stations Easements - Urban | 0 | Acre | 0 | 0
G663 | Transmission - Temporary Easements - Rural | 0.5 | Acre | 15000 | 7500
G663 | Transmission - Temporary Easements - Urban | 0 | Acre | 0 | 0
G662 PA | Transmission - Access Roads | 1 | Each | 10000 | 10000
G663 | Transmission - Laydown Yard | 0 | Months | 4200 | 0 |  | *Zero out if no laydown yard is required
G656 | Transmission - Damages | 0 | Per Parcel | 3250 | 0 |  | *Small Damages (fence, gates, landscaping, driveway, etc.)
G656 | Transmission - Additional Damages | 0 | Acre | 0 | 0 |  | *Crop or Timber Damages
G301 | Contract Labor - Land Services (Percheron PO) | 1 | Lump Sum | 10000 | 10000
G301 | Contract Labor - Legal | 0 | Per Parcel | 30000 | 0 |  | *10% of parcels are assumed to go to condemnation
Sub-Total - Land Services | [5 empty] | 49100
Construction Services - Pipeline |  | 548 | Overall LF of Pipe installed
820 | Mob/Demob | 1 | Lump Sum | 63273.3 | 63273.3 |  | 10% | Use 5% to 10% for the construction services cost listed below. The larger the project, the lower the %; Always leave quantity as 1
821 | Clearing and Grubbing | 1 | acre | 40250 | 40250 |  | *Only use for wooded or brush areas where trees are under 10'. Not needed for fields or already cleared land.
821 | Tree Cutting Only/No Grubbing | 1 | acre | 39900 | 39900 |  | *Only use for wooded/forested area where trees are over 10' high
829 | 8" Conventional Upland Lay | 548 | Linear Foot | 285 | 156180
829 | 6" Conventional Upland Lay | 79 | Linear Foot | 260 | 20540 |  | *Add $125 to Upland Lay cost
830 | Conventional Wetland Lay | 0 | Linear Foot | 360 | 0
825 | Conventional Bore - Dirt | 0 | Linear Foot | 0 | 0
826 | Conventional Bore - Rock | 0 | Linear Foot | 0 | 0
827 | Directional Drill – Dirt | 0 | Linear Foot | 0 | 0 |  | *This is an adder to the conventional uplay cost and qty does not count toward overall pipe installed
828 | Directional Drill – Rock | 0 | Linear Foot | 1140 | 0 |  | *This is an adder to the conventional uplay cost and qty does not count toward overall pipe installed
828 | SCAR Guard Application | 0 | Linear Foot | 170 | 0 |  | *Assume entire Rock Bore and/or Rock Drill length on FBE pipe
822 | Rock Excavation – Blasting | 0 | Cubic Yard | 0 | 0
822 | Rock Excavation – Mechanical | 0 | Cubic Yard | 275 | 0
829 | Anomoly Dig | 0 | Each | 0 | 0
829 | Retrofit Cost | 0 | Linear Foot | 0 | 0
829 | Material Verification | 0 | Each | 18000 | 0
829 | Bore Pit | 0 | Each | 54139 | 0 |  | *Use dig price for each Bore/HDD Pits
829 | Extra Depth Ditch | 0 | Per 1 ft depth / LF | 40 | 0 |  | *Use only if we are doing a conventional bore under a railroad to get extra depth
829 | Padding – Job Site | 0 | Linear Foot | 0 | 0 |  | *Use based on % of assumed Rock Excavation and when running next to existing line (or crossing)
829 | Padding - Haul | 0 | Linear Foot | 0 | 0 |  | *Use based on % of assumed Rock Excavation and when running next to existing line (or crossing) (Nashville/KY Only if assuming 100% rock along entire route otherwise DNU)
829 | Sand Padding over Existing Lines | 0 | Cubic Yard | 0 | 0 |  | *DNU
822 | Rock Shield | 0 | Linear Foot | 20 | 0 |  | *Use based on % of assumed Rock Excavation
831 | Saddle Bag Weight | 0 | Each | 0 | 0 |  | * 2 per stream/creek open cut (less than 10'. Anything 10' or greater than bore)
831 | River Weight | 0 | Each | 0 | 0 |  | *1 per 80' of marsh/swamp wetland (standing water) (Any actual rivers would be drills)
831 | Concrete Coating | 0 | Linear Foot | 0 | 0 |  | *DNU
837 | Zinc Ribbon (AC Mitigation) | 0 | Linear Foot | 19 | 0 |  | *Length of route in immediate vicinity of Transmission powerlines (parallel routing or crossing) (min. $10k)
837 | Anode Bed | 0 | Each | 20400 | 0 |  | *Per Station Site (MLV/Pig Trap)
835 | Temporary Clean-up / Temporary Stabilization | 627 | Linear Foot | 14 | 8778 |  | *Length of upland + wetland lay (Minimum $2,500 per site)
833 | Hydro Test | 1 | Lump Sum | 100000 | 100000 |  | *Use LF cost but Minimum $50,000 (Length of total pipeline including HDDs + length of HDDs to account for pre-test) (OH/KY Min cost is TCAP Cost)
833 | Hydro Water Testing | 0 | Lump Sum | 25000 | 0 |  | *Only need if water source is not coming from a municipality
834 | Commissioning | 1 | Lump Sum | 20000 | 20000 |  | *Use LF cost but Minimum $20,000
837 | Re-coating of Exposed Pipe (Hand Application) | 0 | Linear Foot | 0 | 0 |  | *DNU
837 | Re-coating of Exposed Pipe (Spray Application) | 0 | Linear Foot | 0 | 0 |  | *DNU
837 | Armor Plate | 0 | Linear Foot | 0 | 0 |  | *DNU
829 | Daylight Existing Utilities (Pot Holing) | 1 | Lump Sum | 1500 | 1500 |  | *When installing in DOT ROW, crossing existing utility, retrofit, tie-in, etc.
829 | AirVac/Hydro Vac Excavation | 0 | Cubic Foot | 0 | 0 |  | *DNU unless Charter specifies
829 | Pipe Rack Construction (Dirt/Sand Berm) | 0 | Lump Sum | 0 | 0 |  | *DNU
829 | Transition Of Bevels | 0 | Each | 0 | 0 |  | *DNU
837 | Test Station Installation | 1 | Each | 1000 | 1000 |  | *2 per HDD/Bore + 1 per mile + MLV + L/R + Branch Connections + Foreign Line Crossing
829 | Temporary Stabilization | 0 | Linear Foot | 0 | 0 |  | *DNU
630 | Silt Fence (metal post & wire backing) | 1254 | Linear Foot | 16 | 20064 |  | *3X Length of Pipeline (Minimum $7,500 per site)
630 | Conventional Silt Fence | 0 | Linear Foot | 0 | 0 |  | *DNU
630 | Super Silt Fence (metal post & chainlink fence backing) | 0 | Linear Foot | 0 | 0 |  | *DNU
630 | Curlex Blanket with Staples (4 x 100) | 0 | Square Yard | 0 | 0 |  | *Need along banks, hillsides, steep grades
630 | Curlex Double Net Blanket with Staples (4 x 100) | 0 | Square Yard | 0 | 0 |  | *DNU
630 | Curlex Triple Net Blanket with Staples (4 x 100) | 0 | Square Yard | 0 | 0 |  | *DNU
630 | Curlex Premier Coconut Blanket with Staples (4 x 100) | 0 | Square Yard | 0 | 0 |  | *DNU
630 | Curlex Premier Straw/Coconut Blanket with Staples (4 x 100) | 0 | Square Yard | 0 | 0 |  | *DNU
630 | Hydroseeding Temporary Stabilization | 0 | Square Yard | 0 | 0 |  | *DNU
630 | Hydroseeding Permanent Stabilization | 0 | Square Yard | 0 | 0 |  | *DNU
630 | Rip Rap Placement | 0 | Ton | 0 | 0 |  | *DNU
630 | Gravel Placement | 0 | Ton | 67 | 0 |  | *100 tons per L/R and MLV Site
630 | Geo Textile Fabric | 0 | Square Yard | 7 | 0 |  | *350 SY per L/R and MLV Site
630 | Safety Fence | 400 | linear ft | 7 | 2800 |  | *Quote 200' per bore/drill pit and tie-in
630 | Culvert Pipe (CMP) | 0 | Inch Dia per LF | 0 | 0 |  | *DNU
630 | Sack Breakers | 0 | Each | 0 | 0 |  | *DNU
630 | Sediment Basin (excludes rock) | 0 | Each | 0 | 0 |  | *DNU
630 | Trench Breaker (Plug) | 0 | Each | 0 | 0 |  | *DNU
630 | Foam Breakers | 0 | Each | 0 | 0 |  | *DNU
630 | Construction (Timber) Mats | 100 | Linear Foot (Width) | 700 | 70000 |  | *100 minimum + 50 per HDD pit + Wetland Lay /1.5
630 | Laminated (Truck) Mats | 0 | Linear Foot (Width) | 0 | 0 |  | *DNU
630 | Bentonite Trench Seals in Wetlands | 0 | Each | 0 | 0 |  | *Two per standing water type wetland (marsh, swamp, bog, etc.)
630 | Permanent Seeding (seed straw, and tack) | 50000 | Square Foot | 0.1 | 5000 |  | *Area of permanent and temp easement
630 | Intermediate Seeding (seed straw, and tack) | 50000 | Square Foot | 0.07 | 3500 |  | *Area of permanent and temp easement
630 | Dry Crossing (Flume or Dam/Pump Method) | 0 | Each | 0 | 0 |  | *One per open cut creek or stream (less than 10'. Anything 10' or greater than bore)
630 | Sod | 0 | SF | 0 | 0 |  | *DNU
630 | Straw Wattle 9'' x 10' | 0 | Each | 0 | 0 |  | *DNU
630 | Sediment Log 8'' | 0 | Each | 0 | 0 |  | *DNU
630 | Sediment Log 10'' | 0 | Each | 0 | 0 |  | *DNU
630 | Sediment Log 12'' | 0 | Each | 0 | 0 |  | *DNU
630 | Sediment Log 20'' | 0 | Each | 0 | 0 |  | *DNU
630 | Erosion Eel 10'' | 0 | Each | 0 | 0 |  | *DNU
630 | Erosion Eel 12'' | 0 | Each | 0 | 0 |  | *DNU
630 | Erosion Eel 14'' | 0 | Each | 0 | 0 |  | *DNU
630 | Erosion Eel 20'' | 0 | Each | 0 | 0 |  | *DNU
630 | Permanent Waterbar Installation | 0 | Each | 0 | 0 |  | *DNU
630 | Temporary Waterbar Installation | 0 | Each | 0 | 0 |  | *DNU
630 | Filtration Sediment Bags 10' x 15' | 0 | Each | 0 | 0 |  | *DNU
630 | Dewater Structure | 0 | Lump Sum | 0 | 0 |  | *DNU
630 | Clear Water Diversion Pit | 0 | Lump Sum | 0 | 0 |  | *DNU
630 | Stabilized Construction Entrance 20'W x 50'L x 6''D | 1 | Each | 4500 | 4500 |  | *Per Access Road (Temp or Permanent)
831 | Well Points | 0 | Each | 0 | 0 |  | *1 per section of wetlands 1/2 mile or greater
832 | Air Bridges | 0 | Each | 0 | 0 |  | *1 per crossing of existing pipeline
832 | Chain Link Fence & Gates – New | 0 | Linear Foot | 0 | 0 |  | *200 LF per L/R - DO NOT INCLUDE FENCING FOR MLV SITES
832 | Chain Link Fence & Gates - Repair | 0 | Linear Foot | 0 | 0
832 | Temporary Pasture Fencing | 0 | Linear Foot | 0 | 0 |  | *LF of Farmland install w/ livestock
832 | Permanent Access Roads | 0 | Linear Foot | 0 | 0 |  | *100 LF per L/R & 500 LF per MLV
832 | Temporary Access Roads | 50 | Linear Foot | 145 | 7250 |  | *Per Rules of Thumb w/ each being ~500 LF in length unless accurate measurements are possible
832 | Top Soil | 0 | Ton | 0 | 0 |  | *DNU
832 | Asphalt Removal | 0 | Square Foot | 0 | 0 |  | *When installing in asphalt
832 | Asphalt Restoration | 0 | Square Foot | 0 | 0 |  | *When installing in asphalt
832 | Sheet Piling | 0 | Day | 0 | 0 |  | *DNU
832 | Ditch Shoring | 0 | Day | 5000 | 0 |  | *Need for pipelay in Urban and Coastal (sand) conditions
832 | Road Plates (10' Long) | 0 | Each | 750 | 0 |  | *One per 10 LF of Open cut of parking lot/road (flow of traffic)
832 | Trench Boxes | 0 | Day | 0 | 0 |  | *Need near congested/roadside installs & narrow ROWs (1 Day per every 40' of install)
832 | Traffic Control (Flaggers) | 0 | Day | 5000 | 0
832 | Traffic Control (Signage) | 0 | Day | 100 | 0
832 | Traffic Control (Barriers) | 0 | Day | 100 | 0
832 | Flowable Fill | 0 | Cubic Yard | 0 | 0 |  | *DNU
832 | Noise Reduction Barriers | 0 | Day | 0 | 0 |  | *DNU
837 | Rectifier/Groundbed (CP) | 1 | Each | 10000 | 10000 |  | *Need one every 10 miles
837 | ACVG Testing (less than 10 miles) | 1 | Mile | 9000 | 9000 |  | *Required on all new pipelay greater than 1,000 LF
837 | ACVG Testing (greater than 10 miles) | 0 | Mile | 6000 | 0 |  | *Required on all new pipelay greater than 1,000 LF
| MLV Installation | 0 | Each | 273884 | 0 |  | *One MLV is required per 8 miles (in congested Urban areas this will be 1 MLV every 5 miles)
| MLV Foundations | 0 | Each | 7500 | 0
| SCADA for MLV Sites | 0 | Each | 100000 | 0 |  | *Per MLV
| Electrical/Controls for MLV Sites | 0 | Each | 50000 | 0 |  | *Per MLV
| Security for MLV Sites | 0 | Each | 21000 | 0 |  | *Per MLV
| L/R Installation | 0 | Each | 0 | 0
| L/R Foundations | 0 | Each | 30000 | 0
| Painting & Waxing Flanges | 0 | Lump Sum | 25000 | 0 |  | *$25k for each MLV and L/R
| Staging & Laydown Yard | 0 | Acre | 65000 | 0 |  | *5 acres minimum if one is required to 20 acres
| Railway Crossings | 0 | Each | 20000 | 0
| Civil or General Conditions | 0 | Lump Sum | 0 | 0
| 8" Stopple Pit | 1 | Each | 43937 | 43937
| 6" Stopple Pit | 1 | Each | 32494 | 32494
| 8" Contractor Tap Support | 1 | Each | 15500 | 15500
| 6" Contractor Tap Support | 1 | Each | 15440 | 15440
| 8" TDW - Hot Tap | 1 | Each | 2550 | 2550
| 6" TDW - Hot Tap | 1 | Each | 2550 | 2550
| TDW - Bypass | 0 | Each | 21800 | 0
| HDD Geo-analytical Design | 0 | Each | 60000 | 0 |  | *To be used on rock and wetland HDD's
| HDD Mudd Disposal | 0 | Linear Foot | 17 | 0
| HDD Mudd Engineer | 0 | Per HDD | 20000 | 0 |  | *Note that this cost is per HDD. Long Rock Drills could increase this cost.
Sub-Total - Construction Services - Pipeline | [5 empty] | 696100
Field Inspection & Testing
G880 | Construction Inspection | 49.7214 | Man-Days | 840 | 41766 |  | 6% | Inspection Rate
G881 | Non-Destructive Testing | 5.2207 | Days | 2000 | 10441.5 |  | 1.5% | NDT Rate
Sub-Total - Field Inspection & Testing | [5 empty] | 52300
Major Equipment & Materials
Pipe
G205 | 8" Standard Wall, X52, Coated, DRL | 548 | Linear Foot | 54 | 29592
G205 | 6" Standard Wall, X52, Coated, DRL | 80 | Linear Foot | 44 | 3520
G205 | XX" Standard Wall, X52, Powercrete | 0 | Linear Foot | 0 | 0
G205 | XX" Standard Wall, X52, Bare | 0 | Linear Foot | 0 | 0
Fittings
G205 | 8" 3R - 45 deg ell - Segmentable | 0 | Each | 0 | 0
G205 | 8" 3R - 90 deg ell - Segmentable | 2 | Each | 764 | 1528
G205 | 6" 3R - 90 deg ell - Segmentable | 2 | Each | 424 | 848
Equipment
G204 | 8" TDW Spherical Tee (Requisition) | 1 | Each | 7403 | 7403
G204 | 6" TDW Spherical Tee (TDW PO 11581551) | 1 | Each | 11004 | 11004
G204 | XX" L/R Module | 0 | Each | 0 | 0
G204 | XX" MLV Module | 0 | Each | 0 | 0
Miscellaneous
| Annode Bed Material | 0 | Each | 20000 | 0 |  | *Need one every 10 miles
| Rectifier/Groundbed Material (CP) | 1 | Each | 10000 | 10000 |  | *Need one every 10 miles
| AC Mitigation Material | 0 | Each | 75000 | 0 |  | *If AC Mitigation is required
G204 | SCAR Guard | 0 | Linear Foot | 0 | 0
G205 | Misc. Materials (10% of Total Major) | 1 | Calculated | 6389.5 | 6389.5
G205 | Taxes & Freight (11% of All Material) | 1 | Calculated | 7731.295 | 7731.295
Sub-Total - Materials | [5 empty] | 78100
Sub-Total | [5 empty] | 1158500
Escalation |  | 0 | Year at | 2.5% |  | 18800
Contingency |  |  |  | 15% |  | 173800
Pipeline Estimate Total | [5 empty] | 1351100
[5 empty] | Cost per foot | 2465.5109
[5 empty] | Cost per mile | 13017897.8102

## 20in UL06
Line AM07 Phase 3
2024-05-15 | 24'' |  |  |  | Revision # | F-Initiate 60% Refresh
Control Code | Component Description | Units | Unit of Measure | Unit Cost | Sub-totals | Totals | Instructions
Internal Engineering & Construction Management | [6 empty] | Yellow tab w/ red font is a calculated value. No input required.
G101 | PNG Labor | 40 | Month | 3000 | 120000
OTH001 | Other Direct Cost | 40 | Month | 500 | 20000 |  | *$1,100 for 1st Pipeline, $500 for each additional
Sub-Total - Internal E&CM | [5 empty] | 140000
External Engineering
G801 | Burns & McDonnell PO 10973347 CO3 (Partial) | 1 | Lump Sum | 285659 | 285659 |  | 0% | Engineering Rate
G802 | Route Development | 0 | Hour | 125 | 0
G803 | Project Managemenet | 0 | Hour | 125 | 0
G804 | Records Research | 0 | Hour | 125 | 0
G805 | Estimating & Scoping | 0 | Hour | 125 | 0
G806 | Land Survey | 0 | Hour | 125 | 0
G807 | Land Acquistion Support (Engineering) | 0 | Hour | 125 | 0
G808 | Environmental Services & Permitting | 0 | Hour | 125 | 0
G809 | Geotechnical Services | 0 | Hour | 125 | 0
G810 | Design - Pipeline | 0 | Hour | 125 | 0
G811 | Design - Facility | 0 | Hour | 125 | 0
G812 | Cathodic Protection | 0 | Hour | 125 | 0
G813 | Bid Package Development | 0 | Hour | 125 | 0
G814 | Construction Support | 0 | Hour | 125 | 0
G815 | As-Built Survey | 0 | Hour | 125 | 0
G815 | Project Close-out | 0 | Hour | 125 | 0
G663 | MAOP | 0 | Lump Sum | 0 | 0 |  | *Per costs that Robin provided.
Sub-Total - External Engineering | [5 empty] | 285700
Land Services
G661 | Transmission - Fee Purchase - Rural | 0 | Acre | 60000 | 0
G661 | Transmission - Fee Purchase - Urban | 0 | Acre | 0 | 0 |  | *Urban Land is considered within city limits
G662 | Transmission - Permanent Easements - Rural | 2 | Acre | 72000 | 144000
G662 | Transmission - Permanent Easements - Urban | 0 | Acre | 0 | 0
G662 | Transmission - Stations Easements - Rural | 0 | Acre | 84000 | 0
G662 | Transmission - Stations Easements - Urban | 0 | Acre | 0 | 0
G663 | Transmission - Temporary Easements - Rural | 2 | Acre | 15000 | 30000
G663 | Transmission - Temporary Easements - Urban | 0 | Acre | 0 | 0
G662 PA | Transmission - Access Roads | 0 | Each | 10000 | 0
G663 | Transmission - Laydown Yard | 0 | Months | 4200 | 0 |  | *Zero out if no laydown yard is required
G656 | Transmission - Damages | 0 | Per Parcel | 3250 | 0 |  | *Small Damages (fence, gates, landscaping, driveway, etc.)
G656 | Transmission - Additional Damages | 0 | Acre | 0 | 0 |  | *Crop or Timber Damages
G301 | Contract Labor - Land Services (Percheron PO) | 1 | Lump Sum | 90000 | 90000
G301 | Contract Labor - Legal | 1 | Per Parcel | 30000 | 30000 |  | *10% of parcels are assumed to go to condemnation
Sub-Total - Land Services | [5 empty] | 294000
Construction Services - Pipeline |  | 1430 | Overall LF of Pipe installed
820 | Mob/Demob | 1 | Lump Sum | 124372.65 | 124372.65 |  | 10% | Use 5% to 10% for the construction services cost listed below. The larger the project, the lower the %; Always leave quantity as 1
821 | Clearing and Grubbing | 4 | acre | 40250 | 161000 |  | *Only use for wooded or brush areas where trees are under 10'. Not needed for fields or already cleared land.
821 | Tree Cutting Only/No Grubbing | 0 | acre | 0 | 0 |  | *Only use for wooded/forested area where trees are over 10' high
829 | Conventional Upland Lay | 1430 | Linear Foot | 453 | 647790
829 | Conventional Upland Lay (Residential) | 0 | Linear Foot | 0 | 0 |  | *Add $125 to Upland Lay cost
830 | Conventional Wetland Lay Adder | 0 | Linear Foot | 360 | 0
825 | Conventional Bore - Dirt | 0 | Linear Foot | 0 | 0
826 | Conventional Bore - Rock | 0 | Linear Foot | 0 | 0
827 | Directional Drill – Dirt | 0 | Linear Foot | 0 | 0 |  | *This is an adder to the conventional uplay cost and qty does not count toward overall pipe installed
828 | Directional Drill – Rock | 0 | Linear Foot | 1140 | 0 |  | *This is an adder to the conventional uplay cost and qty does not count toward overall pipe installed
828 | SCAR Guard Application | 0 | Linear Foot | 170 | 0 |  | *Assume entire Rock Bore and/or Rock Drill length on FBE pipe
822 | Rock Excavation – Blasting | 0 | Cubic Yard | 0 | 0
822 | Rock Excavation – Mechanical | 0 | Cubic Yard | 275 | 0
829 | Anomoly Dig | 0 | Each | 0 | 0
829 | Retrofit Cost | 0 | Linear Foot | 0 | 0
829 | Material Verification | 0 | Each | 18000 | 0
829 | Bore Pit | 0 | Each | 54139 | 0 |  | *Use dig price for each Bore/HDD Pits
829 | Extra Depth Ditch | 0 | Per 1 ft depth / LF | 40 | 0 |  | *Use only if we are doing a conventional bore under a railroad to get extra depth
829 | Padding – Job Site | 0 | Linear Foot | 0 | 0 |  | *Use based on % of assumed Rock Excavation and when running next to existing line (or crossing)
829 | Padding - Haul | 0 | Linear Foot | 0 | 0 |  | *Use based on % of assumed Rock Excavation and when running next to existing line (or crossing) (Nashville/KY Only if assuming 100% rock along entire route otherwise DNU)
829 | Sand Padding over Existing Lines | 0 | Cubic Yard | 0 | 0 |  | *DNU
822 | Rock Shield | 0 | Linear Foot | 20 | 0 |  | *Use based on % of assumed Rock Excavation
831 | Saddle Bag Weight | 0 | Each | 0 | 0 |  | * 2 per stream/creek open cut (less than 10'. Anything 10' or greater than bore)
831 | River Weight | 0 | Each | 0 | 0 |  | *1 per 80' of marsh/swamp wetland (standing water) (Any actual rivers would be drills)
831 | Concrete Coating | 0 | Linear Foot | 0 | 0 |  | *DNU
837 | Zinc Ribbon (AC Mitigation) | 0 | Linear Foot | 19 | 0 |  | *Length of route in immediate vicinity of Transmission powerlines (parallel routing or crossing) (min. $10k)
837 | Anode Bed | 0 | Each | 20400 | 0 |  | *Per Station Site (MLV/Pig Trap)
835 | Temporary Clean-up / Temporary Stabilization | 1430 | Linear Foot | 14 | 20020 |  | *Length of upland + wetland lay (Minimum $2,500 per site)
833 | Hydro Test (Lowered per part of AMO7 Cost) | 1 | Lump Sum | 50000 | 50000 |  | *Use LF cost but Minimum $50,000 (Length of total pipeline including HDDs + length of HDDs to account for pre-test) (OH/KY Min cost is TCAP Cost)
833 | Hydro Water Testing | 0 | Lump Sum | 25000 | 0 |  | *Only need if water source is not coming from a municipality
834 | Commissioning (Lowered per part of AMO7 Cost) | 1 | Lump Sum | 10000 | 10000 |  | *Use LF cost but Minimum $20,000
837 | Re-coating of Exposed Pipe (Hand Application) | 0 | Linear Foot | 0 | 0 |  | *DNU
837 | Re-coating of Exposed Pipe (Spray Application) | 0 | Linear Foot | 0 | 0 |  | *DNU
837 | Armor Plate | 0 | Linear Foot | 0 | 0 |  | *DNU
829 | Daylight Existing Utilities (Pot Holing) | 6 | Lump Sum | 1500 | 9000 |  | *When installing in DOT ROW, crossing existing utility, retrofit, tie-in, etc.
829 | AirVac/Hydro Vac Excavation | 0 | Cubic Foot | 0 | 0 |  | *DNU unless Charter specifies
829 | Pipe Rack Construction (Dirt/Sand Berm) | 0 | Lump Sum | 0 | 0 |  | *DNU
829 | Transition Of Bevels | 0 | Each | 0 | 0 |  | *DNU
837 | Test Station Installation | 3 | Each | 1000 | 3000 |  | *2 per HDD/Bore + 1 per mile + MLV + L/R + Branch Connections + Foreign Line Crossing
829 | Temporary Stabilization | 0 | Linear Foot | 0 | 0 |  | *DNU
630 | Silt Fence (metal post & wire backing) | 2860 | Linear Foot | 16 | 45760 |  | *3X Length of Pipeline (Minimum $7,500 per site)
630 | Conventional Silt Fence | 0 | Linear Foot | 0 | 0 |  | *DNU
630 | Super Silt Fence (metal post & chainlink fence backing) | 0 | Linear Foot | 0 | 0 |  | *DNU
630 | Curlex Blanket with Staples (4 x 100) | 0 | Square Yard | 0 | 0 |  | *Need along banks, hillsides, steep grades
630 | Curlex Double Net Blanket with Staples (4 x 100) | 0 | Square Yard | 0 | 0 |  | *DNU
630 | Curlex Triple Net Blanket with Staples (4 x 100) | 0 | Square Yard | 0 | 0 |  | *DNU
630 | Curlex Premier Coconut Blanket with Staples (4 x 100) | 0 | Square Yard | 0 | 0 |  | *DNU
630 | Curlex Premier Straw/Coconut Blanket with Staples (4 x 100) | 0 | Square Yard | 0 | 0 |  | *DNU
630 | Hydroseeding Temporary Stabilization | 0 | Square Yard | 0 | 0 |  | *DNU
630 | Hydroseeding Permanent Stabilization | 0 | Square Yard | 0 | 0 |  | *DNU
630 | Rip Rap Placement | 0 | Ton | 0 | 0 |  | *DNU
630 | Gravel Placement | 0 | Ton | 67 | 0 |  | *100 tons per L/R and MLV Site
630 | Geo Textile Fabric | 0 | Square Yard | 7 | 0 |  | *350 SY per L/R and MLV Site
630 | Safety Fence | 200 | linear ft | 7 | 1400 |  | *Quote 200' per bore/drill pit and tie-in
630 | Culvert Pipe (CMP) | 0 | Inch Dia per LF | 0 | 0 |  | *DNU
630 | Sack Breakers | 0 | Each | 0 | 0 |  | *DNU
630 | Sediment Basin (excludes rock) | 0 | Each | 0 | 0 |  | *DNU
630 | Trench Breaker (Plug) | 0 | Each | 0 | 0 |  | *DNU
630 | Foam Breakers | 0 | Each | 0 | 0 |  | *DNU
630 | Construction (Timber) Mats (Lowered per part of AMO7 Cost) | 50 | Linear Foot (Width) | 700 | 35000 |  | *100 minimum + 50 per HDD pit + Wetland Lay /1.5
630 | Laminated (Truck) Mats | 0 | Linear Foot (Width) | 0 | 0 |  | *DNU
630 | Bentonite Trench Seals in Wetlands | 0 | Each | 0 | 0 |  | *Two per standing water type wetland (marsh, swamp, bog, etc.)
630 | Permanent Seeding (seed straw, and tack) | 107250 | Square Foot | 0.1 | 10725 |  | *Area of permanent and temp easement
630 | Intermediate Seeding (seed straw, and tack) | 107250 | Square Foot | 0.07 | 7507.5 |  | *Area of permanent and temp easement
630 | Dry Crossing (Flume or Dam/Pump Method) | 0 | Each | 0 | 0 |  | *One per open cut creek or stream (less than 10'. Anything 10' or greater than bore)
630 | Sod | 0 | SF | 0 | 0 |  | *DNU
630 | Straw Wattle 9'' x 10' | 0 | Each | 0 | 0 |  | *DNU
630 | Sediment Log 8'' | 0 | Each | 0 | 0 |  | *DNU
630 | Sediment Log 10'' | 0 | Each | 0 | 0 |  | *DNU
630 | Sediment Log 12'' | 0 | Each | 0 | 0 |  | *DNU
630 | Sediment Log 20'' | 0 | Each | 0 | 0 |  | *DNU
630 | Erosion Eel 10'' | 0 | Each | 0 | 0 |  | *DNU
630 | Erosion Eel 12'' | 0 | Each | 0 | 0 |  | *DNU
630 | Erosion Eel 14'' | 0 | Each | 0 | 0 |  | *DNU
630 | Erosion Eel 20'' | 0 | Each | 0 | 0 |  | *DNU
630 | Permanent Waterbar Installation | 0 | Each | 0 | 0 |  | *DNU
630 | Temporary Waterbar Installation | 0 | Each | 0 | 0 |  | *DNU
630 | Filtration Sediment Bags 10' x 15' | 0 | Each | 0 | 0 |  | *DNU
630 | Dewater Structure | 0 | Lump Sum | 0 | 0 |  | *DNU
630 | Clear Water Diversion Pit | 0 | Lump Sum | 0 | 0 |  | *DNU
630 | Stabilized Construction Entrance 20'W x 50'L x 6''D | 1 | Each | 4500 | 4500 |  | *Per Access Road (Temp or Permanent)
831 | Well Points | 0 | Each | 0 | 0 |  | *1 per section of wetlands 1/2 mile or greater
832 | Air Bridges | 0 | Each | 0 | 0 |  | *1 per crossing of existing pipeline
832 | Chain Link Fence & Gates – New | 0 | Linear Foot | 0 | 0 |  | *200 LF per L/R - DO NOT INCLUDE FENCING FOR MLV SITES
832 | Chain Link Fence & Gates - Repair | 0 | Linear Foot | 0 | 0
832 | Temporary Pasture Fencing | 0 | Linear Foot | 0 | 0 |  | *LF of Farmland install w/ livestock
832 | Permanent Access Roads | 0 | Linear Foot | 0 | 0 |  | *100 LF per L/R & 500 LF per MLV
832 | Temporary Access Roads | 50 | Linear Foot | 145 | 7250 |  | *Per Rules of Thumb w/ each being ~500 LF in length unless accurate measurements are possible
832 | Top Soil | 0 | Ton | 0 | 0 |  | *DNU
832 | Asphalt Removal | 0 | Square Foot | 0 | 0 |  | *When installing in asphalt
832 | Asphalt Restoration | 0 | Square Foot | 0 | 0 |  | *When installing in asphalt
832 | Sheet Piling | 0 | Day | 0 | 0 |  | *DNU
832 | Ditch Shoring | 0 | Day | 5000 | 0 |  | *Need for pipelay in Urban and Coastal (sand) conditions
832 | Road Plates (10' Long) | 0 | Each | 750 | 0 |  | *One per 10 LF of Open cut of parking lot/road (flow of traffic)
832 | Trench Boxes | 0 | Day | 0 | 0 |  | *Need near congested/roadside installs & narrow ROWs (1 Day per every 40' of install)
832 | Traffic Control (Flaggers) | 6 | Day | 5000 | 30000
832 | Traffic Control (Signage) | 12 | Day | 100 | 1200
832 | Traffic Control (Barriers) | 12 | Day | 100 | 1200
832 | Flowable Fill | 0 | Cubic Yard | 0 | 0 |  | *DNU
832 | Noise Reduction Barriers | 0 | Day | 0 | 0 |  | *DNU
837 | Rectifier/Groundbed (CP) | 1 | Each | 10000 | 10000 |  | *Need one every 10 miles
837 | ACVG Testing (less than 10 miles) | 1 | Mile | 9000 | 9000 |  | *Required on all new pipelay greater than 1,000 LF
837 | ACVG Testing (greater than 10 miles) | 0 | Mile | 6000 | 0 |  | *Required on all new pipelay greater than 1,000 LF
| MLV Installation | 0 | Each | 273884 | 0 |  | *One MLV is required per 8 miles (in congested Urban areas this will be 1 MLV every 5 miles)
| MLV Foundations | 0 | Each | 7500 | 0
| SCADA for MLV Sites | 0 | Each | 100000 | 0 |  | *Per MLV
| Electrical/Controls for MLV Sites | 0 | Each | 50000 | 0 |  | *Per MLV
| Security for MLV Sites | 0 | Each | 21000 | 0 |  | *Per MLV
| L/R Installation | 0 | Each | 0 | 0
| L/R Foundations | 0 | Each | 30000 | 0
| Painting & Waxing Flanges | 0 | Lump Sum | 25000 | 0 |  | *$25k for each MLV and L/R
| Staging & Laydown Yard | 0 | Acre | 65000 | 0 |  | *5 acres minimum if one is required to 20 acres
| Railway Crossings | 0 | Each | 20000 | 0
| Civil or General Conditions | 0 | Lump Sum | 0 | 0
| 24" Stopple Pit | 1 | Each | 54139 | 54139
| 20" Stopple Pit | 1 | Each | 54139 | 54139
| 24" Contractor Tap Support | 1 | Each | 21273 | 21273
| 20" Contractor Tap Support | 1 | Each | 21273 | 21273
| 24" TDW - Hot Tap | 1 | Each | 16500 | 16500
| 20" TDW - Hot Tap | 1 | Each | 12050 | 12050
| TDW - Tap & Stop | 0 | Each | 0 | 0
| TDW - Bypass | 0 | Each | 0 | 0
| HDD Geo-analytical Design | 0 | Each | 60000 | 0 |  | *To be used on rock and wetland HDD's
| HDD Mudd Disposal | 0 | Linear Foot | 17 | 0
| HDD Mudd Engineer | 0 | Per HDD | 20000 | 0 |  | *Note that this cost is per HDD. Long Rock Drills could increase this cost.
Sub-Total - Construction Services - Pipeline | [5 empty] | 1368100
Field Inspection & Testing
G880 | Construction Inspection | 97.7214 | Man-Days | 840 | 82086 |  | 6% | Inspection Rate
G881 | Non-Destructive Testing | 10.2607 | Days | 2000 | 20521.5 |  | 1.5% | NDT Rate
Sub-Total - Field Inspection & Testing | [5 empty] | 102700
Major Equipment & Materials
Pipe
G205 | 20" Standard Wall, X52, Coated, DRL | 1440 | Linear Foot | 137 | 197280
G205 | XX" Standard Wall, X52, Powercrete | 0 | Linear Foot | 0 | 0
G205 | 24" Standard Wall, X52, Bare | 0 | Linear Foot | 0 | 0
G205 | 20" Standard Wall, X52, Bare | 0 | Linear Foot | 0 | 0
Fittings
G205 | 20" 3R - 45 deg ell - Segmentable | 6 | Each | 3210 | 19260
G205 | 20" 3R - 90 deg ell - Segmentable | 7 | Each | 2197 | 15379
Equipment
G204 | 24" TDW Stopple (Requisition) | 1 | Each | 52146 | 52146
G204 | 20" TDW Stopple Kit (TDW PO 11581551) | 1 | Each | 39646 | 39646
G204 | XX" L/R Module | 0 | Each | 0 | 0
G204 | 20" MLV Module | 0 | Each | 194300 | 0
Miscellaneous
| Annode Bed Material | 0 | Each | 20000 | 0 |  | *Need one every 10 miles
| Rectifier/Groundbed Material (CP) | 1 | Each | 10000 | 10000 |  | *Need one every 10 miles
| AC Mitigation Material | 0 | Each | 75000 | 0 |  | *If AC Mitigation is required
G204 | SCAR Guard | 0 | Linear Foot | 0 | 0
G205 | Misc. Materials (10% of Total Major) | 1 | Calculated | 33371.1 | 33371.1
G205 | Taxes & Freight (11% of All Material) | 1 | Calculated | 40379.031 | 40379.031
Sub-Total - Materials | [5 empty] | 407500
Sub-Total | [5 empty] | 2598000
Escalation |  | 0 | Year at | 2.5% |  | 36800
Contingency |  |  |  | 15% |  | 389700
Pipeline Estimate Total | [5 empty] | 3024500
[5 empty] | Cost per foot | 2115.035
[5 empty] | Cost per mile | 11167384.6154

## Station 1
Line AM07 Phase 3
2024-05-15 | STATION |  |  |  | Revision # | F-Initiate 60% Refresh
Control Code | Component Description | Units | Unit of Measure | Unit Cost | Sub-totals | Totals | Instructions
Internal Engineering & Construction Management | [6 empty] | Yellow tab w/ red font is a calculated value. No input required.
G101 | PNG Labor | 40 | Month | 2000 | 80000
OTH001 | Other Direct Cost | 40 | Month | 1000 | 40000 |  | *$850 for 1st Station, $400 for each additional
Sub-Total - Internal E&CM | [5 empty] | 120000
External Engineering
G801 | Burns & McDonnell PO 10973347 CO3 (Partial) | 1 | Lump Sum | 571318 | 571318 |  | 0% | Engineering Rate
G802 | Route Development | 0 | Hour | 125 | 0
G803 | Project Managemenet | 0 | Hour | 125 | 0
G804 | Records Research | 0 | Hour | 125 | 0
G805 | Estimating & Scoping | 0 | Hour | 125 | 0
G806 | Land Survey | 0 | Hour | 125 | 0
G807 | Land Acquistion Support (Engineering) | 0 | Hour | 125 | 0
G808 | Environmental Services & Permitting | 0 | Hour | 125 | 0
G809 | Geotechnical Services | 0 | Hour | 125 | 0
G810 | Design - Pipeline | 0 | Hour | 125 | 0
G811 | Design - Facility | 0 | Hour | 125 | 0
G812 | Cathodic Protection | 0 | Hour | 125 | 0
G813 | Bid Package Development | 0 | Hour | 125 | 0
G814 | Construction Support | 0 | Hour | 125 | 0
G815 | As-Built Survey | 0 | Hour | 125 | 0
G815 | Project Close-out | 0 | Hour | 125 | 0
G663 | MAOP | 0 | Lump Sum | 0 | 0 |  | *Per costs that Robin provided.
Sub-Total - External Engineering | [5 empty] | 571400
Land Services
G-661 | Transmission - Fee Purchase - Rural | 0 | Acre | 0 | 0
G-661 | Transmission - Fee Purchase - Urban | 0 | Acre | 125000 | 0 |  | *Urban Land is considered within city limits
G-662 | Transmission - Permanent Easements - Rural | 0 | Acre | 0 | 0
G-662 | Transmission - Permanent Easements - Urban | 0 | Acre | 150000 | 0
G-662 | Transmission - Stations Easements - Rural | 0 | Acre | 0 | 0
G-662 | Transmission - Stations Easements - Urban | 0.5 | Acre | 175000 | 87500
G-663 | Transmission - Temporary Easements - Rural | 0 | Acre | 0 | 0
G-663 | Transmission - Temporary Easements - Urban | 0.25 | Acre | 31250 | 7900
G-662 PA/G-663 TA | Transmission - Access Roads | 1 | Each | 10000 | 10000
G-663 | Transmission - Laydown Yard | 0 | Months | 4200 | 0
G-656 | Transmission - Damages | 1 | Per Parcel | 3250 | 3300 |  | *Small Damages (fence, gates, landscaping, driveway, etc.)
G-656 | Transmission - Additional Damages | 0 | Acre | 0 | 0 |  | *Crop or Timber Damages
G-301 | Contract Labor - Land Services (Per Percheron PO) | 1 | Per Parcel | 100000 | 100000
G-301 | Contract Labor - Legal | 0 | Per Parcel | 30000 | 0
Sub-Total - Land Services | [5 empty] | 208700
Construction Services - Facility
850 | Mob/Demob | 1 | Lump Sum | 200452.8 | 200452.8 |  | 10%
851 | Site Prep | 1 | Lump Sum | 250000 | 250000 |  | * $25k for flat site, $125k for slight grade, $250k+ for severe grade
851 | Clearing and Grubbing | 0.8 | acre | 40250 | 32200 |  | *Area of permanent and temporary easement (Site Prep)
851 | Tree Cutting Only/No Grubbing | 0 | acre | 0 | 0 |  | *Only use for wooded/forested area where trees are over 10' high
851 | Rock Excavation – Blasting | 0 | Cubic Yard | 0 | 0
851 | Rock Excavation – Mechanical | 0 | Cubic Yard | 0 | 0
852 | Concrete, Paving and Gravel | 1596 | Cubic Foot | 68 | 108528 |  | *Concrete per Rule of Thumb + if pavement is required
853 | Building Erection | 1 | Each | 25000 | 25000 |  | *$100k for pre-fab building/canopy, $25k for Bus-stop style overhang, Faux-brick Building $750k, Brick Building $1.25M, $500k for heater brick Building, $250k for RTU brick building
854 | Fabrication | 30 | Days | 15000 | 450000 |  | *Per Rule of Thumb
855 | Installation | 36 | Days | 11000 | 396000 |  | *Per Rule of Thumb
856 | Security, Fire Alarm, Instrumentation and Controls | 1 | Lump Sum | 125000 | 125000 |  | *$15k if using ERX. $100k if SCADA. Add'l $25k per each heater, meter, gas chromatograph, odorizor, Control Valve.
857 | Chain Link Fence & Gates – New | 0 | Linear Foot | 0 | 0 |  | *FENCING IS NOW INCLUDED IN SECURITY
857 | Chain Link Fence & Gates - Repair | 0 | Linear Foot | 0 | 0
857 | Landscaping Cost | 1 | Lump Sum | 25000 | 25000 |  | *$25k for basic, $100k for upgraded
858 | Tie-In | 0 | Each | 0 | 0 |  | *Covered by Contractor Tap Support
859 | Hydro Test | 1 | Lump Sum | 175000 | 175000 |  | *$25k/$100k for Small RS, $50k/$125k for Medium RS, $100k/$175K for Large RS (OH/KY Min cost is TCAP Cost)
860 | Zinc Ribbon / AC Mitigation | 1 | Lump Sum | 75000 | 75000 |  | *If Station is located in immediate vicinity of Transmission Power Lines
860 | Anode Bed | 1 | Each | 21100 | 21100 |  | *1 per 1/2 acre of site
861 | Commissioning | 1 | Lump Sum | 38000 | 38000 |  | *20,000 for station + $10,000 if SCADA + $8,000 per heater + $4,000 for meters + $3,000 for actuators + $7,500 for control valves
851 | AirVac/HydroVac Excation | 0 | Per Day | 1250 | 0
855 | Painting Above Ground Pipe (Hand Applied) | 0 | Lump Sum | 0 | 0 |  | *DNU
855 | Spray Coat Application | 1 | Lump Sum | 50000 | 50000 |  | *$30k for small, $50k for medium, $60k for large (includes waxing flanges)
630 | Silt Fence (metal post & wire backing) | 1200 | Linear Foot | 16 | 19200 |  | * Perimeter of station easement and temp workspace
630 | Conventional Silt Fence | 0 | Linear Foot | 0 | 0 |  | *DNU
630 | Curlex Blanket with Staples (4 x 100) | 0 | Square Yard | 0 | 0 |  | *If cutting into a bank or on a hill
630 | Hydroseeding Temporary Stabilization | 0 | Square Yard | 0 | 0 |  | *DNU
630 | Hydroseeding Permanent Stabilization | 0 | Square Yard | 0 | 0 |  | *DNU
630 | Gravel Placement | 500 | Ton | 68 | 34000 |  | *12" depth of gravel for area of Stations
630 | Geo Textile Fabric | 625 | Square Yard | 8 | 5000 |  | *Area of Stations
630 | Safety Fence | 200 | linear ft | 6 | 1200 |  | *150' per inlet & outlet tie-in
630 | Permanent Seeding (seed straw, and tack) | 10000 | Square Foot | 0.1 | 1000 |  | *Temp Workspace Area
630 | Intermediate Seeding (seed straw, and tack) | 0 | Square Foot | 0 | 0 |  | *DNU
630 | Dry Crossing (Flume or Dam/Pump Method) | 0 | Each | 0 | 0 |  | *DNU
630 | Sod | 0 | SF | 0 | 0 |  | *DNU
630 | Sediment Log | 0 | Each | 0 | 0 |  | *DNU
630 | Erosion Eel | 0 | Each | 0 | 0 |  | *DNU
831 | Well Points | 0 | Each | 0 | 0 |  | *1 per Station is Coastal Area, Floodplain, or Wetlands
832 | Air Bridges | 0 | Each | 0 | 0 |  | *DNU
832 | Temporary Pasture Fencing | 0 | Linear Foot | 0 | 0 |  | *DNU
832 | Permanent Access Road Entrance | 1 | Lump Sum | 4500 | 4500
832 | Permanent Access Roads | 100 | Linear Foot | 75 | 7500 |  | *(Min 100 LF)
832 | Temporary Access Roads | 0 | Linear Foot | 0 | 0 |  | *DNU
832 | Top Soil | 0 | Ton | 0 | 0 |  | *DNU
832 | Asphalt Removal/Restoration | 0 | Square Foot | 0 | 0 |  | *If station is being located on asphalt/pavement
832 | Temporary Fence Panels | 400 | Linear Foot | 20 | 8000 |  | *Quote length to match Station Size per Rule of Thumb
832 | Shoring | 0 | Linear Foot | 0 | 0 |  | *DNU
832 | Sheet Piling | 0 | Linear Foot | 0 | 0 |  | *DNU
832 | Composite matting | 0 | Square Foot | 0 | 0
| DATA line for SCADA | 1 | Lump Sum | 100000 | 100000
| Station Security | 1 | Lump Sum | 40000 | 40000 |  | *$21k for Small Station (bunk bed), $40k for Medium Station, $181k for Large Regulator Stations (10" inlet or greater), $1.2million for Compressor Stations, Duke M&Rs, OPP Stations at Supply Points
| Contractor Tap Support | 1 | Each | 10750 | 10750
| TDW Tap | 1 | Each | 2550 | 2550
| TDW Tap & Stop | 0 | Each | 0 | 0
| TDW Bypass | 0 | Each | 0 | 0
| Civil and General Conditions | 0 | Lump Sum | 0 | 0
Sub-Total - Construction Services - Station | [5 empty] | 2205000
Field Inspection & Testing
G880 | Construction Inspection | 210 | Man-Days | 840 | 176400 |  | 8% | Inspection Rate
G881 | Non-Destructive Testing | 22.05 | Days | 2000 | 44100 |  | 2% | NDT Rate
Sub-Total - Field Inspection & Testing | [5 empty] | 220500
Major Equipment & Materials
Pipe
G205 | 4" Standard Wall, X52, Bare | 280 | Linear Foot | 26 | 7280
G205 | 4" Standard Wall, X52, FBE | 280 | Linear Foot | 39 | 10920
G205 | 6" Standard Wall, X52, Bare | 80 | Linear Foot | 34 | 2720
G205 | 6" Standard Wall, X52, FBE | 160 | Linear Foot | 36 | 5760
Major Equipment
G204 | 4" WXW Valves | 3 | Each | 10521 | 31563
G204 | 4" FXF Valves | 6 | Each | 3982 | 23892
G204 | 6" WXW Valves | 1 | Each | 14400 | 14400
G204 | 6" FXF Valves | 2 | Each | 4680 | 9360
G204 | XX" Actuators | 0 | Each | 0 | 0
G204 | 4" Filter | 2 | Each | 12240 | 24480
G204 | 3" Regulators | 4 | Each | 7497 | 29988
G204 | XX" Control Valves | 0 | Each | 0 | 0
G204 | 4" x 6" Relief Valve (Cornerstone PO 11561076) | 1 | Each | 11581 | 11581
G204 | 4" Insulators | 5 | Each | 2840 | 14200
G204 | 6" Insulators | 3 | Each | 3620 | 10860
G204 | 0.1 MMBtu/Hr Heater | 1 | Each | 89700 | 89700
G204 | Meter | 0 | Each | 0 | 0
G204 | XX" Stopple | 0 | Each | 0 | 0
G204 | 24" Spherical (Removed-UL06 8" Spherical for Isolation) | 0 | Each | 0 | 0
Miscellaneous
| Cathodic Protection Supplies | 1 | Lump Sum | 10000 | 10000
| AC Mitigation Supplies | 1 | Lump Sum | 40000 | 40000
| ERX | 0 | Each | 5000 | 0
| Instrumentation | 0 | Each | 25000 | 0
| RTU | 1 | Each | 21100 | 21100
| RTU Building | 0 | Each | 0 | 0
G205 | Misc. Materials (10% of Total Major) | 1 | Calculated | 35780.4 | 35780.4
G205 | Taxes & Freight (11% of All Material) | 1 | Calculated | 43294.284 | 43294.284
Sub-Total - Materials | [5 empty] | 436900
Sub-Total | [5 empty] | 3762500
Escalation |  | 0 | Year at | 2.5% |  | 60700
Contingency |  |  |  | 15% |  | 564400
Pipeline Estimate Total | [5 empty] | 4387600

## Demo 1
Line AM07 Phase 3
2024-05-15 | Retirement |  |  |  | Revision # | F-Initiate 60% Refresh
Control Code | Component Description | Units | Unit of Measure | Unit Cost | Sub-totals | Totals | Instructions
Internal Engineering & Construction Management | [6 empty] | Yellow tab w/ red font is a calculated value. No input required.
G101 | PNG Labor | 40 | Month | 500 | 20000
OTH001 | Other Direct Cost | 40 | Month | 100 | 4000
Sub-Total - Internal E&CM | [5 empty] | 24000
External Engineering
G810 | Design - Pipeline Burns & McDonnell PO 10973347 CO3 (Partial) | 1 | Lump Sum | 142830 | 142830
G811 | Design - Facility | 0 | Hour | 125 | 0
G663 | MAOP | 1 | Lump Sum | 0 | 0 |  | *Per costs that Robin provided.
Sub-Total - External Engineering | [5 empty] | 142900
Land Services
G-663 | Transmission - Temp Work Space - Rural | 0 | Acre | 45000 | 0
G-663 | Transmission - Temp Work Space - Urban | 0 | Acre | 5000 | 0
G-662 PA/G-663 TA | Transmission - Access Roads | 0 | Each | 10000 | 0
G-301 | Contract Labor - Land Services | 0 | Per Parcel | 10000 | 0
Sub-Total - Land Services | [5 empty] | 0
Construction Services - Pipeline |  | 0 | Overall LF of Pipe to be Abandoned
850 | Mob/Demob | 1 | Lump Sum | 36000 | 36000 |  | 10% | Use 5% to 10% for the construction services cost listed below. The larger the project, the lower the %; Always leave quantity as 1
| Demo Equipment | 5 | Days | 7500 | 37500 |  | *2 days for up to 1 mile, 4 days for up to 5 miles, 8 days for up to 10 miles, 12 days for up to 15 miles, 16 days for up to 20 miles
823 | Grouting of Abandoned Pipe | 1 | Cubic Yard | 0 | 0
824 | Removal of Existing Pipeline | 100 | Linear Foot | 2125 | 212500 |  | *Min 5 LF per cut-out
| Tar Coated Steel Remediation & Removal | 10 | Per Dig/Site | 3750 | 37500
| Install & Remove Flare + Mob/Demob | 0 | Lump Sum | 50000 | 0
| Methane Recapture | 1 | Lump Sum | 25000 | 25000 |  | *Per ROT
G863 | Launcher/Receiver Removal | 0 | Each | 75000 | 0
G863 | Small Station Removal | 0 | Each | 35000 | 0
G863 | Medium Station Removal | 0 | Each | 50000 | 0
G863 | Large Station Removal | 0 | Each | 85000 | 0
| Haul Materials | 1 | Per Site | 10000 | 10000
| Nitrogen Clearing | 1 | Lump Sum | 25000 | 25000
| Line Locating | 1 | Week | 12500 | 12500
| Contractor Tap Support | 0 | Days | 0 | 0
| Seeding | 0 | SF | 0 | 0
| Clean up | 0 | LF | 0 | 0
| TDW Tap | 0 | Each | 0 | 0
396000
Field Inspection & Testing
G880 | Construction Inspection | 66 | Man-Days | 840 | 55440
G881 | Non-Destructive Testing | 0 | Days | 2000 | 0
Sub-Total - Field Inspection & Testing | [5 empty] | 55500
Major Equipment & Materials
G205 | Purge Materials | 1 | Lump Sum | 5000 | 5000
G204 | Stopple | 0 | Each | 0 | 0
G204 | Stopple | 0 | Each | 0 | 0
G205 | Misc. Materials (10% of Total Major) | 1 | Calculated | 500 | 500
G205 | Taxes & Freight (9% of All Material) | 1 | Calculated | 495 | 495
Sub-Total - Materials | [5 empty] | 6000
Sub-Total | [5 empty] | 624400
Escalation |  | 0 | Year at | 2.5% |  | 11300
Contingency |  |  |  | 15% |  | 93700
Pipeline Estimate Total | [5 empty] | 729400

## Dropdown Values
DropDown Values
Pipeline Length | Less than 2000 feet
< 1 mile
1-5 miles
> 5 miles
Retrofit Length | < 5 miles
5-10 miles
> 10 miles
Yes/No | Yes
No
Land | Urban
Rural
Suburban
Parcels | 0 parcels
< 20 parcels
20 - 50 parcels
> 50 parcels
Vegetation Management | 0-5%
6-33%
| 34%-66% | 6 | 6
67%-100%
Zoning Type | Farmlands
Existing Utility Right of Way
Electric Right of Way
Commercial/Industrial
Parks & Recreation
Residential
Nature Preserves
Mixed Use
4.2 Permit requirement | Open House
Public Notice
None of the above

## EJ Questionaire
Environmental Justice Assessment Trigger Questionnaire
Date: | 2024-05-15
Activity/Project Name: | Line AM07 Phase 3
Business Unit: | NGBU
Project Staff: | Major Projects
Activity/Project Scope or Description: |  | 1. Charter SOW: Phase 3 (of 5 Phases) includes the following: *Perform detailed engineering to support replacement of approximately 18,870 feet (3.6 miles) of 24" pipe designed for a pressure of 1000 psig. *Install new 24" steel pipeline that starts in the vicinity of coordinates [39° 1'33.74"N, 84°30'29.44"W] and ends at the North side of the I-275 crossing near Licking Pk. and ties into the piping to utilize existing I-275 crossing. *Abandon Line AM07 along this section. *Address remaining farm taps. *Preliminary proposed pipeline route that was field reviewed by Implementation is included in attachment. Right of Way (ROW) reclamation will be required. The following stations / branches have been identified as being impacted by the new line. Add isolation valves at each tap (as discussed with System Planning in 30/60/90 meetings) to assist in future upgrades of the regulator stations. Any major upgrades needed for these assets (with exceptions noted below) to operate at a 1000 psig MAOP will be handled by separate charters to be submitted at a future date: 1. Station 713 - Reconnect station inlet 2. Station 734 - Reconnect station inlet (UL06) 3. Station 859 - Reconnect station inlet 4. Station 804 - Reconnect station inlet 5. UL26 tap - Reconnect branch or extend distribution main and transfer services off of UL26
The intent of this questionnaire is to identify Duke Energy projects /activities that might have significant environmental or community impacts or required regulatory approvals and/or that are located in or near communities of environmental justice (EJ) concern to further assess for potential EJ risks and planning.
Review activity/project and answer the following questions: |  |  | Answer (Yes, No, Unknown)
Does the activity/project anticipate a public regulatory approval that may trigger EJ Assessment requirements? (i.e. federal permitting, NRC licensing, state Public Utility Commission approval) Transmission only, Should only apply to Ohio (OPSB) & Kentucky (CPCN).
Does the activity/project anticipate creating significant new, modifying, or increasing discharge, emissions, or waste generation - either amount or type? Compressor Station, Permanent Flare, Heaters over 10 mmBTU/hr (not associated with Duke M&R), Station located near Paper Mill, Pellet, Concrete, Brick Plant, chemical (large emission or smell producing plants)
Does the activity/project anticipate significant land use modification, land acquisition, easement acquisition and/or modifications to community aesthetics? Large Stations immediately outside or in the middle of developments, neighborhoods. 20+ miles of pipeline
Does the activity/project trigger routing or site selection studies? OPSB, 20+ miles of pipeline, if charter states a routing/site selection study will be required
Is the activity/project in a community with known, previous and/or on-going EJ concerns? ACP corridor, Tribal Lands, Known Opposition
If the answer is “Yes” or “Unknown” to any of the questions above, consult with Environmental and External Engagement Staff (Nicole Kiser) to determine if an initial EJ Assessment is needed.

## PE Level of Risk Template
Nat Gas Project Public Engagement Level-of-Risk Assessment
Charter/Project Name: |  | Date: |  |  |  |  | 0-10 level | 0-10 level | Impact - Magnitude of stateholder opposition (Defined by cost, or reputation)
Risk | Public Engagement Questionaire | Response | Priority | Calculation Menu | Probability | Impact | Probability | Impact | Probabilty - External stakeholder opposition
1. Attributes
1.1 | New Natural Gas Pipeline Length (in new footprint) (miles) (system infrastructure growth)? | Less than 2000 feet |  |  | 0 | 0 | 0,1,3,5 | 0,1,3,5
1.2 | Replace or Retrofit Natural Gas Pipeline Length (miles)(Integrity project)? * | < 1 mile |  |  | 0 | 0 | 0,1,2 | 0,1,1
1.3 | New Regulator Station(s)/Launcher/Receiver? | No |  |  | 0 | 0 | 0,3 | 0,2
1.4 | Expanding the footprint of existing Regulator Station? | No |  |  | 0 | 0 | 0,3 | 0,3
1.5 | New Compressor Station(s)? | No |  |  | 0 | 0 | 0,8 | 0,7 |  | Community Engagement Heat Map
1.6 | Expanding the footprint of existing Compressor Station? | No |  |  | 0 | 0 | 0,3 | 0,3 |  | Probability
1.7 | Requires flaring? | No |  |  | 0 | 0 | 0,2 | 0,5
2. Land
2.1 | Urban, Rural or Suburban? | Rural |  |  | 0 | 0 | urban = 7,suburban=6,rural=0 | urban = 7,suburban=5,rural=0
2.2 | New Easement acquisition required? | No |  |  | 0 | 0 | 0,3 | 0,3 |  |  | X
2.3 | New Land acquisition required (in fee)? | No |  |  | 0 | 0 | 0,4 | 0,4 |  |  | Impact
2.4 | Anticiapted number of parcels to be purchased? | 0 parcels |  |  | 0 | 0 | 0,2,4,6 | 0,2,4,6
2.5 | Amount of new Right of Way tree clearing required | 0-5% |  |  | 0 | 0 | 0,2,4,6 | 0,2,4,6 |  | 1 | Notify Community Relations
3. Environment, Historic, Archeological | [9 empty] | 2 | Local Community Relations Engagenment at Project Initiation
3.1 | Crossing navigable waterways? | No |  |  | 0 | 0 | 0,2 | 0,4 |  | 3 | Enable Strike Team 24 months prior to Project Kickoff
3.2 | Larger environmentally sensitive areas? * | No |  |  | 0 | 0 | 0,3 | 0,7
3.4 | State/Local permits required? | Yes |  |  | 0 | 0
3.4 | Sensitive, Protected, Historical Sites, Cultural Areas? (Not environmental) | No |  |  | 0 | 0 | 0,3 | 0,5
3.5 | Zoning Type? * | Existing Utility Right of Way |  |  | 0 | 0 | See dropdown value sheet
4. Additional Factors
4.1 | Past opposition from affected land owners and communities? | No |  |  | 0 | 0 | 0,8 | 0,8
4.2 | Permiting process requires : | None of the above |  |  | 0 | 0 | Open House =7,Public Notice=4, NA=0 | Open House =10,Public Notice=6, NA=0
1 | Is Easement Acquisition Required for New Nat Gas Project Line? | YES | 2 | YES | 5 | 7
2 | New Nat Gas Project R/W Length (miles)? | <1 | 2 | NO | 1 | 1
3 | Nat Gas Project Line Rebuild Length (Miles)? | N/A | 7 | N/A | 0 | 0
4 | Is Nat Gas Project traverse Commercial, Residential, Rural, Multiple or All land types | Residential Only | 3 | 0-10 | 3 | 3
5 | Does Nat. Gas Proejct involve rebuild/replacement with larger size, pressure, controls, or systems? | NO | 3 | 11-20 | 0 | 0 |  |  |  |  | Impact
6 | What is the expected number range of parcels involved with this project? | NO | 8 | 21+ | 0 | 0 |  |  |  |  | #N/A
7 | What level of vegetation management is required? | N/A | 7 |  | 0 | 0 |  |  |  |  | Notify Community Relations
8 | Is this a line abandonment/relocation project that requires community engagement? | NO | 8 | N/A | 0 | 0 |  |  |  |  | Local Community Relations Engagenment at Project Initiation
9 | Is a regulatory or state filing required? (ie: LIST SPECIFIC REG BODIES) | NO | 5 | <1 | 0 | 0 |  |  |  |  | Enable Strike Team 24 months prior to Project Kickoff
10 | Does this project include addition of new regulator station, compressor station, flare tower, etc. seen by the public? | NO | 7 | 1-5 | 0 | 0 |  |  |  |  | #N/A
11 | Does this project expand exisiting regulator station, compressor station, flare tower, etc. seen by the public? | NO |  | >5 | 0 | 0 |  |  |  |  | #N/A
12 | Is land acquisition/easement required for expanding right of way, new ROW, laydown space or access? | YES | 4 |  | 3 | 5 |  |  |  |  | #N/A
13 | Are there Current/Historic Community Sensitivities? | YES | 4 |  | 5 | 5 |  |  |  |  | #N/A
14 | Is zoning/rezoning required? | NO | 5 | N/A | 0 | 0 |  |  |  |  | #N/A
15 | Federal Permitting Required? | NO | 5 | High | 0 | 0 |  |  |  |  | #N/A
16 | Special Use or Conditional Use Permit Required? | NO | 5 | Med | 0 | 0 |  |  |  |  | #N/A
17 | Does project involve Environmentally Sensitive Areas | NO | 7 | Low | 0 | 0
18 | Project involve Sensitive, Protected, Historical Sites, Cultural Areas? | NO | 7 |  | 0 | 0
19 | Estimated number of Property Owners Impacted? | 0-10 | 4 | N/A | 2 | 3
|  |  | Final Total | Commercial Only | 0 | 0
Residential Only
|  |  |  | Rural Only |  |  |  | Community Engagement Heat Map
|  |  |  | 2 of the Above |  |  |  | Probability
All
"Notify Community Relations
Near term stakeholder engagement striketeam
Lead In community engagement prior to project kickoff
*Do Not Remove Below
[12 empty] | X Marks the Spot | Heat Level
[12 empty] | $O$14 | 1
* Notes
1.2 Response should be reflective of actual footage of construction not mileage researched
3.2 May not know environment sensitivity initially
3.2 Environmentally Sensitive - Named Environmental areas (shows up on a map with a name)
3.5 If entire project is in Utility ROW and no known preexisiting opposition to construction in or near that ROW then the project can default to 'Yellow' or Green'
Note on C30: Johnson, Kevin S: The intent is to recognize that a significant portion of the line is in a residential area
Note on C33: Johnson, Kevin S: High = Full Clearing / Danger Tree Removal Med = Side Trimming Low = Bushhogging
Note on C34: Johnson, Kevin S: Consider if the r/w will be returned to the property owner or retained by DE as a response to this question
Note on C43: Johnson, Kevin S: Examples would include wetlands, swamps, endangered species, sensitive natural resources, etc.
Note on C44: Johnson, Kevin S: Examples of Sensitive Areas are National Forest, National / State / Local Park, Federal Land, Nature Preserve, etc.

## AFUDC
| Projected | Cumulative | Cum. Charges | Monthly | Cumulative
Month | Charges | Charges | for AFUDC | AFUDC | AFUDC
2023-01-01 |  | 0 | 0 | 0 | 0 | 0% | 0% | 0%
2023-02-01 | 0 | 0 | 0 | 0 | 0 | 3% | 0.03% | 0%
2023-03-01 | 3756.68 | 3756.68 | 1878.34 | 9.0004 | 9.0004 | 4% | 0.04% | 0.01%
2023-04-01 | 3756.68 | 7513.36 | 5635.02 | 27.0011 | 36.0015 | 4.5% | 0.05% | 0.01%
2023-05-01 | 3756.68 | 11270.04 | 9391.7 | 45.0019 | 81.0034 | 3% | 0.05% | 0.01%
2023-06-01 | 7513.36 | 18783.4 | 15026.72 | 72.003 | 153.0064 | 3.75% | 0.05% | 0.02%
2023-07-01 | 7513.36 | 26296.76 | 22540.08 | 108.0046 | 261.011 | 4.25% | 0.51% | 0.02%
2023-08-01 | 22540.08 | 48836.84 | 37566.8 | 180.0076 | 441.0186 | 4% | 1.18% | 0.06%
2023-09-01 | 137118.82 | 185955.66 | 117396.25 | 562.5237 | 1003.5423 | 4.875% | 0.46% | 0.365%
2023-10-01 | 103308.7 | 289264.36 | 237610.01 | 1138.548 | 2142.0902 | 15.25% | 0.43% | 0.275%
2023-11-01 | 229157.48 | 518421.84 | 403843.1 | 1935.0815 | 4077.1718 | 18.5% | 0.67% | 0.61%
2023-12-01 | 225400.8 | 743822.64 | 631122.24 | 3024.1274 | 7101.2992 | 16% | 0.37% | 0.6%
2024-01-01 | 1314838 | 2058660.64 | 1401241.64 | 6714.2829 | 13815.582 | 10.5% | 0.83% | 3.5%
2024-02-01 | 1314838 | 3373498.64 | 2716079.64 | 13014.5483 | 26830.1303 | 4.875% | 0.54% | 3.5%
2024-03-01 | 939170 | 4312668.64 | 3843083.64 | 18414.7758 | 45244.9061 | 1.5% | 3.04% | 2.5%
2024-04-01 | 2441842 | 6754510.64 | 5533589.64 | 26515.117 | 71760.0231 | 1.25% | 2.73% | 6.5%
2024-05-01 | 751336 | 7505846.64 | 7130178.64 | 34165.4393 | 105925.4624 | 0.5% | 3.23% | 2%
2024-06-01 | 375668 | 7881514.64 | 7693680.64 | 36865.5531 | 142791.0155 | 0.25% | 4.5% | 1%
2024-07-01 | 589798.76 | 8471313.4 | 8176414.02 | 39178.6505 | 181969.666 |  | 5.3% | 1.57%
2024-08-01 | 131483.8 | 8602797.2 | 8537055.3 | 40906.7233 | 222876.3893 |  | 4.65% | 0.35%
2024-09-01 | 202860.72 | 8805657.92 | 8704227.56 | 41707.7571 | 264584.1464 |  | 8.06% | 0.54%
2024-10-01 | 202860.72 | 9008518.64 | 8907088.28 | 42679.798 | 307263.9444 |  | 9.52% | 0.54%
2024-11-01 | 657419 | 9665937.64 | 9337228.14 | 44740.8848 | 352004.8292 |  | 10.05% | 1.75%
2024-12-01 | 563502 | 10229439.64 | 9947688.64 | 47666.0081 | 399670.8373 |  | 12.91% | 1.5%
2025-01-01 | 563502 | 10792941.64 | 10511190.64 | 50366.1218 | 450036.9591 |  | 14.08% | 1.5%
2025-02-01 | 586042.08 | 11378983.72 | 11085962.68 | 53120.2378 | 503157.1969 |  | 8.52% | 1.56%
2025-03-01 | 4883684 | 16262667.72 | 13820825.72 | 66224.7899 | 569381.9868 |  | 3.22% | 13%
2025-04-01 | 4883684 | 21146351.72 | 18704509.72 | 89625.7757 | 659007.7626 |  | 2.25% | 13%
2025-05-01 | 3756680 | 24903031.72 | 23024691.72 | 110326.6478 | 769334.4104 |  | 1.38% | 10%
2025-06-01 | 3005344 | 27908375.72 | 26405703.72 | 126527.3303 | 895861.7407 |  | 0.23% | 8%
2025-07-01 | 3005344 | 30913719.72 | 29411047.72 | 140927.937 | 1036789.6777 |  | 0.12% | 8%
2025-08-01 | 2254008 | 33167727.72 | 32040723.72 | 153528.4678 | 1190318.1456 |  | 1% | 6%
2025-09-01 | 2629676 | 35797403.72 | 34482565.72 | 165228.9607 | 1355547.1063 |  |  | 7%
2025-10-01 | 751336 | 36548739.72 | 36173071.72 | 173329.302 | 1528876.4083 |  |  | 2%
2025-11-01 | 375668 | 36924407.72 | 36736573.72 | 176029.4157 | 1704905.824 |  |  | 1%
2025-12-01 | 187834 | 37112241.72 | 37018324.72 | 177379.4726 | 1882285.2966 |  |  | 0.5%
2026-01-01 | 18783.4 | 37131025.12 | 37121633.42 | 177874.4935 | 2060159.7901 |  |  | 0.05%
2026-02-01 | 18783.4 | 37149808.52 | 37140416.82 | 177964.4973 | 2238124.2874 |  |  | 0.05%
2026-03-01 | 11270.04 | 37161078.56 | 37155443.54 | 178036.5003 | 2416160.7877 |  |  | 0.03%
2026-04-01 | 11270.04 | 37172348.6 | 37166713.58 | 178090.5026 | 2594251.2902 |  |  | 0.03%
2026-05-01 | 3756.68 | 37176105.28 | 37174226.94 | 178126.5041 | 2772377.7943 |  |  | 0.01%
2026-06-01 | 3756.68 | 37179861.96 | 37177983.62 | 178144.5048 | 2950522.2992 |  |  | 0.01%
2026-07-01 | 3756.68 | 37183618.64 | 37181740.3 | 178162.5056 | 3128684.8048 |  |  | 0.01%
2026-08-01 | 3756.68 | 37187375.32 | 37185496.98 | 178180.5064 | 3306865.3111 |  |  | 0.01%
2026-09-01 | 3756.68 | 37191132 | 37189253.66 | 178198.5071 | 3485063.8183 |  |  | 0.01%
2026-10-01 | 375668 | 37566800 | 37378966 | 179107.5454 | 3664171.3637 |  |  | 1%
|  |  | 1 Year Proj AFUDC |  | 142791.0155
|  |  | 2 Year Proj AFUDC |  | 1190318.1456
|  |  | 3 Year Proj AFUDC |  | 3664171.3637
Formulas:
Month = DATE(YEAR([Month, row above]),MONTH([Month, row above])+1,DAY([Month, row above]))
Note on A6: Note: If this project has retirement components, omit all retirement related costs. AFUDC is applied only to capital (not capital retirement) projects.
Note on A22: For example, if this template will be used for an Advance, enter the date of the projected Planning Funding. If filling out template for a Fully Funded or last phase of phased project, leave blank.
Note on A23: A project number should be placed into closure when all of the assets (i.e. units of property) it covers are either “ready for service” or (more commonly) “placed in service”. The fact that a project number will accept charges for several additional months after it is placed into closure is irrelevant.
Note on D46: AFUDC compounding changes this month.