## Avoided Energy
Weighted Average - weighted by the PV Watts solar output profile
Annually | $ / MWH
Spring 2025 - Weighted Average Power Prices
2025 |  | 46.5656
2026 |  | 55.2236
2027 |  | 52.9301
2028 |  | 52.5889
2029 |  | 52.6145
2030 |  | 51.6796
2031 |  | 49.3439
2032 |  | 49.3117
2033 |  | 52.4552
2034 |  | 55.6476
2035 |  | 57.4425
2036 |  | 58.8393
2037 |  | 59.4277
2038 |  | 60.0798
2039 |  | 59.497
2040 |  | 59.8996
2041 |  | 60.3404
2042 |  | 60.3389
2043 |  | 59.8622
2044 |  | 59.649
2045 |  | 58.4113
2046 |  | 57.2907
2047 |  | 54.224
2048 |  | 54.6506
2049 |  | 52.2744
2050 |  | 51.3198

## Avoided Capacity
AVOIDED Capacity - PJM Net CONE
| 2025/2026 | PJM Net CONE UCAP ($/MW-day) |  | 205.25
|  | PJM Net CONE UCAP ($/kW-yr) |  | 74.9163
| 2026/2027 | PJM Net CONE UCAP ($/MW-day) |  | 194.21
|  | PJM Net CONE UCAP ($/kW-yr) |  | 70.8867
|  | Escalation Rate for CT Cost |  | 1.58%
|  | Fixed O&M ($/kW-Yr) |  |  | Included in Net CONE
|  | Year | CT $/kW |  | Capacity $/kW | Fixed Solar ELCC | $/kW Adjusted | PJM ELCC - Fixed Solar
[8 empty] | Delivery Year | ELCC
[8 empty] | 2024/2025 | 33%
|  | 2025 | 74.9163 |  | 74.9163 | 19.29% | 14.45 | 2025/2026 | 9.5%
1 |  | 2026 | 70.8867 |  | 70.8867 | 8.625% | 6.11 | 2026/2027 | 8%
2 |  | 2027 | 72.0067 |  | 72.0067 | 7.417% | 5.34 | 2027/2028 | 7%
3 |  | 2028 | 73.1444 |  | 73.1444 | 6.417% | 4.69 | 2028/2029 forward | 6%
4 |  | 2029 | 74.3 |  | 74.3 | 6% | 4.46 | Source: PJM Website available reports - https://www.pjm.com/planning/resource-adequacy-planning/effective-load-carrying-capability
5 |  | 2030 | 75.474 |  | 75.474 | 6% | 4.53 |  | https://www.pjm.com/-/media/DotCom/planning/res-adeq/elcc/elcc-class-ratings-for-2024-2025.pdf
6 |  | 2031 | 76.6665 |  | 76.6665 | 6% | 4.6 |  | https://www.pjm.com/-/media/DotCom/planning/res-adeq/elcc/2025-2026-bra-elcc-class-ratings.pdf
7 |  | 2032 | 77.8778 |  | 77.8778 | 6% | 4.67 |  | https://www.pjm.com/-/media/DotCom/planning/res-adeq/elcc/2025-26-3ia-elcc-class-ratings.pdf
8 |  | 2033 | 79.1083 |  | 79.1083 | 6% | 4.75 |  | https://www.pjm.com/-/media/DotCom/planning/res-adeq/elcc/2026-27-bra-elcc-class-ratings.pdf
9 |  | 2034 | 80.3582 |  | 80.3582 | 6% | 4.82 |  | https://www.pjm.com/-/media/DotCom/planning/res-adeq/elcc/preliminary-elcc-class-ratings.pdf
10 |  | 2035 | 81.6278 |  | 81.6278 | 6% | 4.9
11 |  | 2036 | 82.9176 |  | 82.9176 | 6% | 4.98
12 |  | 2037 | 84.2277 |  | 84.2277 | 6% | 5.05
13 |  | 2038 | 85.5585 |  | 85.5585 | 6% | 5.13
14 |  | 2039 | 86.9103 |  | 86.9103 | 6% | 5.21
15 |  | 2040 | 88.2835 |  | 88.2835 | 6% | 5.3
16 |  | 2041 | 89.6783 |  | 89.6783 | 6% | 5.38
17 |  | 2042 | 91.0953 |  | 91.0953 | 6% | 5.47
18 |  | 2043 | 92.5346 |  | 92.5346 | 6% | 5.55
19 |  | 2044 | 93.9966 |  | 93.9966 | 6% | 5.64
20 |  | 2045 | 95.4818 |  | 95.4818 | 6% | 5.73
21 |  | 2046 | 96.9904 |  | 96.9904 | 6% | 5.82
22 |  | 2047 | 98.5228 |  | 98.5228 | 6% | 5.91
23 |  | 2048 | 100.0795 |  | 100.0795 | 6% | 6
24 |  | 2049 | 101.6607 |  | 101.6607 | 6% | 6.1
25 |  | 2050 | 103.267 |  | 103.267 | 6% | 6.2

## Avoided T and D
| Avoided Distribution - DEK |  |  |  |  | Avoided Transmission - DEK
| DSM Evaluation Rate ($/kW-year) |  | 58.74 |  |  | Attachment H Rate ($/kW-year) |  | 5.39
| (2024 $) |  |  |  |  | (2024 $)
| Distribution Inflation Rate |  | 3.5% |  |  | Transmission Inflation Rate |  | 3.5%
| Year | Distribution Capacity $/kW-year | ELCC Fixed Solar | Avoided Distribution Capacity $/kW-year | Year | Transmission Capacity $/kW-year | ELCC Fixed Solar | Avoided Transmission Capacity $/kW-year
| 2024 | 58.74 |  |  | 2024 | 5.39
| 2025 | 60.7959 | 19.29% | 11.73 | 2025 | 5.5786 | 19.29% | 1.08
1 | 2026 | 62.9238 | 8.625% | 5.43 | 2026 | 5.7739 | 8.625% | 0.5
2 | 2027 | 65.1261 | 7.417% | 4.83 | 2027 | 5.976 | 7.417% | 0.44
3 | 2028 | 67.4055 | 6.417% | 4.33 | 2028 | 6.1851 | 6.417% | 0.4
4 | 2029 | 69.7647 | 6% | 4.19 | 2029 | 6.4016 | 6% | 0.38
5 | 2030 | 72.2065 | 6% | 4.33 | 2030 | 6.6257 | 6% | 0.4
6 | 2031 | 74.7337 | 6% | 4.48 | 2031 | 6.8576 | 6% | 0.41
7 | 2032 | 77.3494 | 6% | 4.64 | 2032 | 7.0976 | 6% | 0.43
8 | 2033 | 80.0566 | 6% | 4.8 | 2033 | 7.346 | 6% | 0.44
9 | 2034 | 82.8586 | 6% | 4.97 | 2034 | 7.6031 | 6% | 0.46
10 | 2035 | 85.7586 | 6% | 5.15 | 2035 | 7.8692 | 6% | 0.47
11 | 2036 | 88.7602 | 6% | 5.33 | 2036 | 8.1447 | 6% | 0.49
12 | 2037 | 91.8668 | 6% | 5.51 | 2037 | 8.4297 | 6% | 0.51
13 | 2038 | 95.0821 | 6% | 5.7 | 2038 | 8.7248 | 6% | 0.52
14 | 2039 | 98.41 | 6% | 5.9 | 2039 | 9.0301 | 6% | 0.54
15 | 2040 | 101.8543 | 6% | 6.11 | 2040 | 9.3462 | 6% | 0.56
16 | 2041 | 105.4192 | 6% | 6.33 | 2041 | 9.6733 | 6% | 0.58
17 | 2042 | 109.1089 | 6% | 6.55 | 2042 | 10.0119 | 6% | 0.6
18 | 2043 | 112.9277 | 6% | 6.78 | 2043 | 10.3623 | 6% | 0.62
19 | 2044 | 116.8802 | 6% | 7.01 | 2044 | 10.725 | 6% | 0.64
20 | 2045 | 120.971 | 6% | 7.26 | 2045 | 11.1003 | 6% | 0.67
21 | 2046 | 125.205 | 6% | 7.51 | 2046 | 11.4888 | 6% | 0.69
22 | 2047 | 129.5872 | 6% | 7.78 | 2047 | 11.891 | 6% | 0.71
23 | 2048 | 134.1227 | 6% | 8.05 | 2048 | 12.3071 | 6% | 0.74
24 | 2049 | 138.817 | 6% | 8.33 | 2049 | 12.7379 | 6% | 0.76
25 | 2050 | 143.6756 | 6% | 8.62 | 2050 | 13.1837 | 6% | 0.79

## Anc Services
Ancillary Services
|  | $/MWH | Sum
| 2025 | 0 | 0
| 2026 | 0 | 0
| 2027 | 0 | 0
| 2028 | 0 | 0
| 2029 | 0 | 0
| 2030 | 0 | 0
| 2031 | 0 | 0
| 2032 | 0 | 0
| 2033 | 0 | 0
| 2034 | 0 | 0
| 2035 | 0 | 0
| 2036 | 0 | 0
| 2037 | 0 | 0
| 2038 | 0 | 0
| 2039 | 0 | 0
| 2040 | 0 | 0
| 2041 | 0 | 0
| 2042 | 0 | 0
| 2043 | 0 | 0
| 2044 | 0 | 0
| 2045 | 0 | 0
| 2046 | 0 | 0
| 2047 | 0 | 0
| 2048 | 0 | 0
| 2049 | 0 | 0
| 2050 | 0 | 0

## ACEGC Rate Calculations
Duke Energy Kentucky
Net Metering Avoided Cost Proposal
Case No. 2025-00258
Page 1 of 1
Avoided Energy Cost
| Levelized | Transmission |  |  | Distribution
| Annual Cost | Losses | Avoided Cost |  | Losses | Avoided Cost
25 Year Horizon | $ / MWH | 0.639% | $/MWH | $/KWH | 4.304% | $/MWH | $/KWH
Starting 2026
Weighted by Ex. Gen. | 55.008 | 0.352 | 55.36 | 0.05536 | 2.383 | 57.743 | 0.057743
Avoided Ancillary Services Cost with IRA Impacts
| Levelized |  |  | Avoided |  |  | Avoided
| Annual Cost | Losses | Total Trans. | Cost | Losses | Total Dist | Cost
| $/MWH | $/MWH | $/MWH | $/kWh | $/MWH | $/MWH | $/kWh
Starting 2026
25 Year Horizon
Weighted by Ex. Gen. | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoided Capacity Cost
| Levelized | DEK Solar |  | Avoided |  |  | Avoided
| Annual Cost | Production | Losses | Cost |  | Losses | Cost
| $ / kW-yr | per kW | $/MWH | $/kWh |  | $/MWH | $/kWh
Starting 2026
25 Year Horizon | 5.139 | 1509 | 0.033 | 0.003427 |  | 0.223 | 0.003575
Avoided Transmission Cost
Levelized
| Annual Cost | KWh to kW |  | Avoided
| $ / kW-yr | Conversion | Losses | Cost $/kWh
Starting 2026
25 Year Horizon | 0.497 | 1509 | 0.639% | 0.000331
Avoided Distribution Cost
Levelized
| Annual Cost | KWh to kW |  |  |  |  | Avoided
| $ / kW-yr | Conversion |  |  |  | Losses | Cost $/kWh
Starting 2026
25 Year Horizon | 5.422 | 1509 |  |  |  | 4.304% | 0.003772
Avoided Environmental Cost
Included in Energy above. | [6 empty] | 0
(Distribution Connected)
TOTAL AVOIDED COST INCLUDING T&D | [6 empty] | 0.065421
Weighted Average Cost of Capital |  |  | 7.414%
Residential Solar Profile
Annual kWh / kW-AC: |  | 1509