## T&D Avoided Methodology (hidden)
DEC and DEP
Avoided T&D Cost - High Level Methodology - EXAMPLE ONLY
| TRANSMISSION |  | Derived From
| Capacity Cost per kW per Year before Capitalization | 138.5529 | Average annual growth Expenditures / Average Annual Incremental kW
| Annualized Capacity Cost per kW per Year | 18.29 | Annualize above by applying carrying charge to Capacity to get $/ kW-year
| System O&M Cost per kW per Year | 1.51 | Average Annual O&M Expenditures / Average Annual Diversified Peak (IRP) (FERC FORM 1)
| Total Annual Cost per kW | 19.8 | Annual O&M + Annual Capitalization = Total Transmission in $/kW/year
DISTRIBUTION
| Capacity Cost per kW per Year before Capitalization | 238.5843 | Average annual growth Expenditures / Average Annual Incremental kW
| Annualized Capacity Cost per kW per Year | 31.49 | Annualize above by applying carrying charge to Capacity to get $/ kW-year
| System O&M Cost per kW per Year | 6.68 | Average Annual O&M Expenditures / Average Annual Diversified Peak (IRP) (FERC FORM 1)
| Total Annual Cost per kW | 38.17 | Annual O&M + Annual Capitalization = Total Distribution in $/kW/year
| Total T&D $/kW-year | 57.97
Notes on Source Data:
1.) | Handy Whitman Index - Utility Construction Cost (Southern Atlantic Region)
2.) | Current IRP
3.) | FERC FORM 1 Annual Duke Filings
4.) | Retail Peak (Diversified and Non-diversified)
5.) | Carrying Charge - by State. NC and SC are different

## Results
DEK Avoided Transmission & Distribution Cost
Year of Value
2024$
TRANSMISSION
Capacity Cost per kW per Year before Capitalization | 59.2213
Annualized Capacity Cost per kW per Year | 3.86
System O&M Cost per kW per Year | 1.53
Total Annual Cost per kW | 5.39
DISTRIBUTION
Capacity Cost per kW per Year before Capitalization | 694.4614
Annualized Capacity Cost per kW per Year | 45.78
System O&M Cost per kW per Year | 12.96
Total Annual Cost per kW | 58.74
Total T&D $/kW-year | 64.13

## Inputs
DUKE ENERGY KENTUCKY, LLC
TRANSMISSION AND DISTRIBUTION AVOIDED COST
1. INPUT FOR TRANSMISSION
Transmission: Load Growth Related Capital Additions
Load
Growth
Line |  | Related
No | Year | $
1 | 2018 | 1677765.15
2 | 2019 | 4360956.92
3 | 2020 | 23191394.6
4 | 2021 | 8818219.44
5 | 2022 | 1228544.43
6 | 2023 | 3500081.46
7 | 2024 | 5440974.54
Source: Compiled by Midwest Transmission Finance, John Metcalf. (7-18-2025)
rev1 updated the dollars based on data in DEK's financial system as of 10-7-2025
2. INPUT FOR DISTRIBUTION
Distribution: Load Growth Related Capital Additions
Load
Growth
Line |  | Related
No | Year | $
1 | 2018 | 6023392.97
2 | 2019 | 20028884.404
3 | 2020 | 17352795.76
4 | 2021 | 9522151.42
5 | 2022 | 14116681.33
6 | 2023 | 13382310.45
7 | 2024 | 17754139.4
Source: Compiled by Midwest Transmission Finance, John Metcalf. (7-18-2025)
rev1 updated the dollars based on data in DEK's financial system as of 10-7-2025
3. HANDY WHITMAN INDEX (Electric Utility Construction Cost- North Central Region - Duke Energy Portal)
At July 1 of each year |  | 1973 = 100
Line | July 1, | Trans | Trans | Distr | Distr
No | Year | Index | Factor | Index | Factor
|  | (a) | (b) | (c) | (d)
1 | 2018 | 753 | 0.67716 | 752 | 0.57317
2 | 2019 | 771 | 0.69335 | 774 | 0.58994
3 | 2020 | 793 | 0.71313 | 817 | 0.62271
4 | 2021 | 804 | 0.72302 | 839 | 0.63948
5 | 2022 | 898 | 0.80755 | 933 | 0.71113
6 | 2023 | 1054 | 0.94784 | 1188 | 0.90549
7 | 2024 | 1112 | 1 | 1312 | 1
4. O&M Expenses for Transmission
a) Source: FERC Form 1 p 321 col (b) line 93 for col (a): Transmission Expenses- Operation - Station Expense (acct 562)
b) Source: FERC Form 1 p 321 col (b) line 94 for col (b): Transmission Expenses- Operation - Overhead Lines (acct 563)
c) Source: FERC Form 1 p 321 col (b) line 102 for col (c): Transmission Expenses- Operation - Underground (acct 564). NOTE: currently shows no values
d) Source: FERC Form 1 p 321 col (b) line 102 for col (d): Transmission Expenses- Maintenance - Structures (acct 569)
e) Source: FERC Form 1 p 321 col (b) line 107 for col (e): Transmission Expenses- Maintenance - Station Equipment (acct 570)
f) Source: FERC Form 1 p 321 col (b) line 108 for col (f): Transmission Expenses- Maintenance - Overhead Lines (acct 571)
(g) avoidable Transmission O&M expense
|  | Operation | Operation | Operation | Maintenance | Maintenance | Maintenance
|  | Station | Overhead | Underground | Structures | Equip | Overhead | Total
Line | FERC Acct | 562 | 563 | 564 | 569 | 570 | 571
No | Year | $ | $ | $ | $ | $ | $ | $
|  | (a) | (b) | (c) | (d) | (e) | (f) | (g)
1 | 2018 | 148685 | 33532 | 0 | 29250 | 255031 | 428751 | 895249
2 | 2019 | 172155 | 44384 | 0 | 10315 | 141479 | 304632 | 672965
3 | 2020 | 97322 | 41917 | 0 | 28462 | 249717 | 1023598 | 1441016
4 | 2021 | 115176 | 15778 | 0 | 28359 | 180022 | 310946 | 650281
5 | 2022 | 127509 | 116780 | 0 | 27569 | 237523 | 637356 | 1146737
6 | 2023 | 69187 | 78268 | 0 | 17031 | 136516 | 786506 | 1087508
7 | 2024 | 38953 | 98464 | 0 | 22194 | 198525 | 563238 | 921374
5. O&M Expenses for Distribution
a) Source: FERC Form 1 p 322 col (b) line 136 for col (a): Distribution Expenses- Operation - Station Expense (acct 582)
b) Source: FERC Form 1 p 322 col (b) line 137 for col (b): Distribution Expenses- Operation - Overhead Lines (acct 583)
c) Source: FERC Form 1 p 322 col (b) line 138 for col (c): DistributionExpenses- Operation - Underground (acct 584)
d) Source: FERC Form 1 p 322 col (b) line 148 for col (b): Distribution Expenses- Maintenance - Station Equipment (acct 592)
e) Source: FERC Form 1 p 322 col (b) line 149 for col (e): Distribution Expenses- Maintenance - Overhead Lines (acct 593), covers overhead accts 364, 365, 369 services
f) Source: FERC Form 1 p 322 col (b) line 150 for col (f): Distribution Expenses- Maintenance - Underground Lines (acct 594), covers underground accts 366, 367, 369 services
g) Accounts 593 and 594 include expenses for Plant in Service - Services acct 369. Acct 369 does not have its own O&M acct; so an amount based upon the Plant in Service is
removed from both 593 and 594. See Table 7 below for more details
Col (g) is col (e) reduced by the percentage for Services from Table 7, column (f)
h) is col (f) reduced by the percentage for Services from Table 7, column (f)
i) Total avoidable Distribution O&M expense: sum of columns a through d + g + h
|  | Operation | Operation | Operation | Maintenance | Maintenance | Maintenance | Maintenance | Maintenance | Distribution
|  | Station | Overhead | Underground | Station | Overhead | Underground | Overhead | Underground | Total
Line | FERC Acct | 582 | 583 | 584 | 592 | 593 | 594 | 593 w/o 369 | 594 w/o 369 | O&M
No | Year | $ | $ | $ | $ | $ | $ | $ | $ | $
|  | (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i)
1 | 2018 | 61654 | 192433 | 318756 | 302347 | 7798853 | 268976 | 7251779.5177 | 250107.8873 | 8377077.4051
2 | 2019 | 32629 | 161521 | 256704 | 368536 | 9463186 | 180861 | 8816588.475 | 168503.1878 | 9804481.6629
3 | 2020 | 52188 | 341290 | 263049 | 248871 | 6666053 | 238188 | 6221456.1767 | 222301.8935 | 7349156.0702
4 | 2021 | 92075 | 232087 | 352338 | 361551 | 6352091 | 190198 | 5974551.493 | 178893.4927 | 7191495.9857
5 | 2022 | 99295 | 224989 | 402156 | 362911 | 9286304 | 212988 | 8772385.8694 | 201200.9214 | 10062937.7909
6 | 2023 | 19923 | 236689 | 527015 | 417132 | 6561383 | 280733 | 6199667.9242 | 265256.7874 | 7665683.7116
7 | 2024 | 34849 | 359088 | 629010 | 324855 | 7341418 | 286150 | 6988446.923 | 272392.0756 | 8608640.9986
6. Distribution Plant in Service
Because accounts 593 and 594 include maintenance on Services (account 369) in addition to maintenance on accounts 364 through 367, a reduction is made based upon Plant
in Service covered by each account. See Table 8 below concerning FERC coverage
These accounts are selected as being avoidable for Avoided Cost estimation: 364, 365, 366, and 367
a) Source: FERC Form 1 p 205 col (g) line 64 for col (a): Distribution Plant in Service - Poles, Towers, & Fixtures (acct 364)
b) Source: FERC Form 1 p 205 col (g) line 65 for col (b): Distribution Plant in Service - Overhead Conductors & Devices (acct 365)
c) Source: FERC Form 1 p 205 col (g) line 66 for col (c): Distribution Plant in Service - Underground Conduit (acct 366)
d) Source: FERC Form 1 p 205 col (g) line 67 for col (d): Distribution Plant in Service - Underground Conduit & Devices (acct 367)
e) Source: FERC Form 1 p 205 col (g) line 69 for col (e): Distribution Plant in Service - Services (acct 369) which is not separated into Overhead and Underground
(f) is the Ratio of Services to total Plant in Service maintained under accounts 593 & 594: Services as share of the sum of columns a through e
|  | Poles, Towers, | Overhead | Underground | Underground | Services | Ratio
|  | & Fixtures | Conductors | Conduit | Conductor |  | Acct 369
Line | FERC Acct | 364 | 365 | 366 | 367 | 369 | % of 364-367 & 369
No | Year | bar: (a) to (e)
|  | (a) | (b) | (c) | (d) | (e) | (f)
1 | 2018 | 63697773 | 129337051 | 22947112 | 62849021 | 21034978 | 0.070148
2 | 2019 | 67504649 | 134880040 | 30116966 | 65604173 | 21862707 | 0.068328
3 | 2020 | 72966758 | 141144880 | 41176284 | 75463130 | 23636085 | 0.066696
4 | 2021 | 74482036 | 152067838 | 43372544 | 81870581 | 22230247 | 0.059435
5 | 2022 | 76775574 | 156529479 | 43936408 | 85664699 | 21260357 | 0.055342
6 | 2023 | 79009021 | 161459055 | 48115495 | 95355408 | 22400638 | 0.055128
7 | 2024 | 80775296 | 166909974 | 52595299 | 103775441 | 20407980 | 0.048079

## Trans O&M
DUKE ENERGY KENTUCKY, LLC
AVERAGE COST OF TRANSMISSION O&M
| Load Growth |  | Retail Load
| Related | HW | Growth O&M
Year | O&M | Factor | (2024 $)
| (a) | (d) | (e)
2020 | 1441016 | 0.71313 | 2020693.3064
2021 | 650281 | 0.72302 | 899393.6219
2022 | 1146737 | 0.80755 | 1420012.8552
2023 | 1087508 | 0.94784 | 1147351.8937
2024 | 921374 | 1 | 921374
Average Annual O&M Expenditures |  |  | 1281765.1355
Average Annual O&M Expenditures |  |  | 1281765.1355
2024 System Peak |  |  | 837.8
System O&M Cost per kW per Year |  |  | 1.53
Expenditures are inflated to 2024$ using the Handy Whitman
North Central Construction Cost Index for Transmission

## Trans Capital
DUKE ENERGY KENTUCKY, LLC
AVERAGE COST OF TRANSMISSION ADDITIONS
| Load Growth |  | Retail Load Growth
| Related | HW | Related Additions
Year | Additions | Factor | (2024 $)
| (a) | (d) | (e)
2020 | 23191394.6 | 0.71313 | 32520593.6888
2021 | 8818219.44 | 0.72302 | 12196343.3051
2022 | 1228544.43 | 0.80755 | 1521315.5971
2023 | 3500081.46 | 0.94784 | 3692685.5631
2024 | 5440974.54 | 1 | 5440974.54
Average Annual Growth Related Expenditures |  |  | 11074382.5388
5-Year Average Annual Growth, MW |  |  | 187
Capacity Cost per kW per Year |  |  | 59.2213
Annualized Capacity Cost per kW per Year |  |  | 3.86
Expenditures are inflated to 2024 $ using the Handy Whitman
North Central Construction Cost Index for Transmission

## Dist O&M
DUKE ENERGY KENTUCKY, LLC
AVERAGE COST OF DISTRIBUTION O&M
Load
| Growth |  | Retail Load
| Related | HW | Growth O&M
Year | O&M $ | Factor | (2024 $)
| (a) | (b) | (c)
2020 | 7349156.0702 | 0.62271 | 11801827.1286
2021 | 7191495.9857 | 0.63948 | 11245819.7059
2022 | 10062937.7909 | 0.71113 | 14150669.2193
2023 | 7665683.7116 | 0.90549 | 8465805.5805
2024 | 8608640.9986 | 1 | 8608640.9986
Average Annual O&M Expenditures |  |  | 10854552.5266
Average Annual O&M Expenditures |  |  | 10854552.5266
2024 Diversified Peak |  |  | 837.8
System O&M Cost per kW per Year |  |  | 12.96
Expenditures are inflated to 2024 $ using the Handy Whitman
North Central Construction Cost Index for Distribution

## Dist Capital
DUKE ENERGY KENTUCKY, LLC
AVERAGE COST OF DISTRIBUTION ADDITIONS
Load
| Growth |  | Retail Load Growth
| Related | HW | Related Additions
Year | Additions $ | Factor | (2024 $)
| (a) | (b) | (c)
2020 | 17352795.76 | 0.62271 | 27866423.546
2021 | 9522151.42 | 0.63948 | 14890420.3374
2022 | 14116681.33 | 0.71113 | 19851110.2947
2023 | 13382310.45 | 0.90549 | 14779117.2646
2024 | 17754139.4 | 1 | 17754139.4
Average Annual Growth Related Expenditures |  |  | 19028242.1686
5-Year Average Annual Growth, MW |  |  | 27.4
Capacity Cost per kW |  |  | 694.4614
Annualized Capacity Cost per kW per Year |  |  | 45.78
Expenditures are inflated to 2024 $ using the Handy Whitman
North Central Construction Cost Index for Distribution

## Peak
DUKE ENERGY KENTUCKY, LLC
Transmission & Distribution Capacity Added - FERC Form 1
DEK Retail Peaks
[5 empty] | Total | Total
|  | Retail Peaks | Annual | Annual | Transmission | Distribution
|  |  | Incremental | Incremental | Capacity | Capacity
| Year | MW | Transmission MW | Distribution MW | MW/MVA | MW/MVA
| 2019 |  |  |  | 1664 | 1142
| 2020 | 809 | 180 | 59 | 1844 | 1201
| 2021 | 838 | 355 | 33 | 2199 | 1234
| 2022 | 831 | 400 | 0 | 2599 | 1234
| 2023 | 834 | 0 | 11 | 2599 | 1245
| 2024 | 877 | 0 | 34 | 2599 | 1279
Peak & 5-Year Average Annual Growth, MW |  | 837.8 | 187 | 27.4
Source: Nick Melillo - FERC Form 1 data; Joe Gilpin - Retail Peaks

## Carrying Charge
DUKE ENERGY KENTUCKY, LLC
Real Levelized Fixed Charge Rate
DEK
| Transmission (Real LFCR %) | 6.517%
| Distribution (Real LFCR %) | 6.593%
Source: Jennifer Poppler/Kathy Abernethy, Wholesale & Renewables Analytics

## Losses (hidden)
DUKE ENERGY CAROLINAS, INC.
LINE LOSSSES
2020
Loss Factors
Losses-type 4, Non-Residential, 100 kV Served Customer
| TRNS | DIST
| 2019 | 2019
Line #
7 |  | 1.0203
15 | 1.0471
19 | 1.0622 | 1.0622
Incremental Diff | 0.01512 | 0.0419
Loss Factor | 1.0151 | 1.0419
TRNS | Losses from Generation to High Side of Tx Transformer
DIST | Losses from Generation to High Side of Distribution Transformer