## Ex Post DSMore
DSMore Table: DEK 2024 Non-Residential Smart $aver® Prescriptive Program Evaluation | [6 empty] | For completeness sake, this table includes measures not included in this evaluation. Values are ex ante DSMore values.
Values are for planning purposes. Two measures (Air Cooled Chiller_Any greater than 150 tons; Combination Oven_10 pan) have different retrospective values for 2019 records.
The last entry reflects case lighting with controls in NC applications. We provided that for DEC/DEP and DEI. Here, we have no instances of that measure in NC but if it is going to be incented, this would be the value to use.
MeasureName | Unit of Measure | Jurisdiction | State | ProdCode | SRC_PGM_MEAS_ID | MEAS_ID | EM&V Gross Target Annual kWh Savings/Unit | EM&V Gross Target Annual Summer Coincident kW/Unit | EM&V Gross Target Annual Winter Coincident kW/Unit | Combined Free Rider % - Spillover% | In 2019-2023 Eval?
Air Cooled Chiller_Any greater than 150 tons | per ton | DEK | KY | NRHVAC | 10957 | 6122 | 435.109 | 0.11519 | 0 | 18.2% | 1
Air Cooled Chiller_Any less than 150 tons | per ton | DEK | KY | NRHVAC | 10958 | 6123 | 314.199 | 0.079791 | 0 | 18.2% | 0
Air Receiver Tanks for Load, No Load Compressors | per gallon | DEK | KY | NRPROC | 16135 | 8820 | 62.399 | 0.009 | 0.009 | 18.2% | 0
Anti-sweat Heater Controls | per door | DEK | KY | NRFS | 2163 | 292 | 1673.972 | 0 | 0.098 | 18.2% | 0
ARC 10 to 15 Ton Gas Heat | per ton | DEK | KY | NRHVAC | 10184 | 5661 | 649.893 | 0.166 | 0.167 | 18.2% | 0
ARC greater than 15 Ton Gas Heat | per ton | DEK | KY | NRHVAC | 10185 | 5662 | 803.613 | 0.203 | 0.209 | 18.2% | 0
ARC HP 10 to 15 Ton | per ton | DEK | KY | NRHVAC | 10186 | 5663 | 774.779 | 0.167 | 0.279 | 18.2% | 0
ARC HP greater than 15 Ton | per ton | DEK | KY | NRHVAC | 10187 | 5664 | 937.134 | 0.204 | 0.313 | 18.2% | 0
Barrel Wraps (Inj Mold & Extruders) kW per ton | kW per ton | DEK | KY | NRPROC | 3927 | 1192 | 49.999 | 0.008 | 0.008 | 18.2% | 0
CEE Tier 1 Room AC less than 14,000 Btu per hr | per HVAC | DEK | KY | NRHVAC | 3676 | 1134 | 129 | 0.137 | 0 | 18.2% | 0
Clothes Dryer C&I - Electric | per clothes dryer | DEK | KY | NRPROC | 17810 | 10092 | 1241.543 | 0.022 | 0.022 | 18.2% | 0
Clothes Washer C&I | per clothes washer | DEK | KY | NRPROC | 17809 | 10091 | 465.468 | 0.008 | 0.008 | 18.2% | 0
Clothes Washer MF Common Area | per clothes washer | DEK | KY | NRPROC | 17814 | 10096 | 484.6127 | 0.014839 | 0.014839 | 18.2% | 0
Clothes Washer MF Tnt | per clothes washer | DEK | KY | NRPROC | 17812 | 10094 | 133.1885 | 0.017156 | 0.017156 | 18.2% | 0
Combination Oven_10 pan | per oven | DEK | KY | NRFS | 10150 | 5758 | 6305.2867 | 1.166 | 1.0077 | 18.2% | 1
Combination Oven_20 pan | per oven | DEK | KY | NRFS | 10151 | 5759 | 11644.3775 | 2.1534 | 1.861 | 18.2% | 0
Compressed Air Audit and Leak Repair | per SCFM | DEK | KY | NRPROC | 16136 | 8821 | 1247.974 | 0.173 | 0.173 | 18.2% | 0
Convection Oven Full-Sized | per oven | DEK | KY | NRFS | 10152 | 5760 | 2084.524 | 0.385 | 0.333 | 18.2% | 0
CoolRoof New Replace on Burnout College-sq ft | per sq ft | DEK | KY | NRHVAC | 8350 | 4501 | 0.535 | 0 | 0 | 18.2% | 0
CoolRoof New Replace on Burnout Hotel-sq ft | per sq ft | DEK | KY | NRHVAC | 8360 | 4503 | 0.538 | 0.001 | 0 | 18.2% | 0
CoolRoof New Replace on Burnout Medium Offic-sq ft | per sq ft | DEK | KY | NRHVAC | 8370 | 4505 | 0.23 | 0 | 0 | 18.2% | 0
CoolRoof New Replace on Burnout Other-sq ft | per sq ft | DEK | KY | NRHVAC | 8380 | 4507 | 0.35022 | 0.00019443 | 0 | 18.2% | 1
CoolRoof New Replace on Burnout Retail-sq ft | per sq ft | DEK | KY | NRHVAC | 8385 | 4508 | 0.587 | 0 | 0 | 18.2% | 0
CoolRoof New Replace on Burnout School-sq ft | per sq ft | DEK | KY | NRHVAC | 8390 | 4509 | 0.41 | 0 | 0 | 18.2% | 0
CoolRoof New Replace on Burnout Strip Mall-sq ft | per sq ft | DEK | KY | NRHVAC | 8395 | 4510 | 0.459 | 0 | 0 | 18.2% | 0
Dairy Heat Reclaimer | per heat reclaimer | DEK | KY | NRPROC | 16139 | 8824 | 22329.438 | 0.553 | 0.927 | 18.2% | 0
Dairy Scroll Compressor | per compressor hp | DEK | KY | NRPROC | 16141 | 8826 | 699.084 | 0.082 | 0.219 | 18.2% | 0
Daylighting Control with Occupancy Sensors | per watt controlled | DEK | KY | NRLTG | 16142 | 8827 | 1.076 | 0.001 | 0.001 | 12.1% | 0
DCV Retrofit Medium Office - per sq ft | per sq ft | DEK | KY | NRHVAC | 17730 | 10012 | 0.14 | 0.001 | 0 | 18.2% | 0
DCV Retrofit Motel - per sq ft | per sq ft | DEK | KY | NRHVAC | 17720 | 10002 | 0.216 | 0 | 0 | 18.2% | 0
DCV Retrofit Restaurant - per sq ft | per sq ft | DEK | KY | NRHVAC | 17724 | 10006 | 0.011 | 0 | 0 | 18.2% | 0
DCV Retrofit Retail - per sq ft | per sq ft | DEK | KY | NRHVAC | 17721 | 10003 | 0.175 | 0.001 | 0 | 18.2% | 0
DCV Retrofit School - per sq ft | per sq ft | DEK | KY | NRHVAC | 17722 | 10004 | 0.216 | 0.001 | 0 | 18.2% | 0
DCV Retrofit Small Office - per sq ft | per sq ft | DEK | KY | NRHVAC | 17727 | 10009 | 0.109 | 0 | 0 | 18.2% | 0
DCV Retrofit Strip Mall - per sq ft | per sq ft | DEK | KY | NRHVAC | 17725 | 10007 | 0.207 | 0.001 | 0 | 18.2% | 0
Demand Control Ventilation for Kitchen Exhaust Hood | per hp | DEK | KY | NRFS | 16143 | 8828 | 4196.58 | 0.541 | 0.542 | 18.2% | 0
Dishwasher Multi-Tank -HT- CNV New -rplc on BO | per dishwasher | DEK | KY | NRFS | 10175 | 5652 | 30432.199 | 3.746 | 3.24 | 18.2% | 0
Dishwasher Multi-Tank -HT- CNV w-Boost Htr (Elec) New -rplc on BO | per dishwasher | DEK | KY | NRFS | 6982 | 3121 | 30432.199 | 3.746 | 3.24 | 18.2% | 0
Dishwasher Multi-Tank -HT- CNV w-Boost Htr (Gas) New -rplc on BO | per dishwasher | DEK | KY | NRFS | 6983 | 3122 | 21182.059 | 2.607 | 2.255 | 18.2% | 0
Dishwasher Multi-Tank -LT- CNV New -rplc on BO | per dishwasher | DEK | KY | NRFS | 6940 | 3079 | 22319.814 | 2.747 | 2.376 | 18.2% | 0
Dishwasher Sngl Tank -HT- CNV New -rplc on BO | per dishwasher | DEK | KY | NRFS | 10179 | 5656 | 10009.644 | 1.232 | 1.066 | 18.2% | 0
Dishwasher Sngl Tank -HT- CNV w-Boost Htr (Elec) New -rplc on BO | per dishwasher | DEK | KY | NRFS | 6984 | 3123 | 9949.5861 | 1.2256 | 1.0596 | 18.2% | 1
Dishwasher Sngl Tank -HT- CNV w-Boost Htr (Gas) New -rplc on BO | per dishwasher | DEK | KY | NRFS | 6985 | 3124 | 7526.5938 | 0.92641 | 0.80116 | 18.2% | 1
Dishwasher Sngl Tank -HT- Door New -rplc on BO | per dishwasher | DEK | KY | NRFS | 10180 | 5657 | 13096.6905 | 1.6123 | 1.3946 | 18.2% | 1
Dishwasher Sngl Tank -HT- Door w-Boost Htr (Elec) New -rplc on BO | per dishwasher | DEK | KY | NRFS | 6986 | 3125 | 13096.6905 | 1.6123 | 1.3946 | 18.2% | 1
Dishwasher Sngl Tank -HT- Door w-Boost Htr (Gas) New -rplc on BO | per dishwasher | DEK | KY | NRFS | 6987 | 3126 | 9160.08 | 1.127 | 0.975 | 18.2% | 0
Dishwasher Under Counter -HT- New -rplc on BO | per dishwasher | DEK | KY | NRFS | 10181 | 5658 | 3373.793 | 0.415 | 0.359 | 18.2% | 0
Dishwasher Under Counter -HT- w-Boost Htr (Elec) New -rplc on BO | per dishwasher | DEK | KY | NRFS | 6923 | 3062 | 3374.24 | 0.416 | 0.359 | 18.2% | 0
Dishwasher Under Counter -HT- w-Boost Htr (Gas) New -rplc on BO | per dishwasher | DEK | KY | NRFS | 6924 | 3063 | 2754.828 | 0.339 | 0.293 | 18.2% | 0
Dishwasher Under Counter -LT- New -rplc on BO | per dishwasher | DEK | KY | NRFS | 6943 | 3082 | 3013 | 0.371 | 0.321 | 18.2% | 0
Door Gaskets - Cooler and Freezer | per linear foot | DEK | KY | NRFS | 3736 | 1146 | 98 | 0.008 | 0.01 | 18.2% | 0
DX RTU Tune-up_ AC_ Fixed Orifice_ +10pct chg adj | per ton | DEK | KY | NRHVAC | 10190 | 5667 | 88.939 | 0.097 | 0 | 18.2% | 0
DX RTU Tune-up_ AC_ Fixed Orifice_ +15pct chg adj | per ton | DEK | KY | NRHVAC | 10191 | 5668 | 141.256 | 0.154 | 0 | 18.2% | 0
DX RTU Tune-up_ AC_ Fixed Orifice_ +20pct chg adj | per ton | DEK | KY | NRHVAC | 10192 | 5669 | 200.112 | 0.217 | 0 | 18.2% | 0
DX RTU Tune-up_ AC_ Fixed Orifice_ +25pct chg adj | per ton | DEK | KY | NRHVAC | 10193 | 5670 | 326.944 | 0.355 | 0 | 18.2% | 0
DX RTU Tune-up_ AC_ Fixed Orifice_ +30pct chg adj | per ton | DEK | KY | NRHVAC | 10194 | 5671 | 470.105 | 0.511 | 0 | 18.2% | 0
DX RTU Tune-up_ AC_ Fixed Orifice_ +5pct chg adj | per ton | DEK | KY | NRHVAC | 10195 | 5672 | 42.129 | 0.046 | 0 | 18.2% | 0
DX RTU Tune-up_ AC_ TXV_ +20pct chg adj | per ton | DEK | KY | NRHVAC | 10199 | 5676 | 60.249 | 0.065 | 0 | 18.2% | 0
DX RTU Tune-up_ AC_ TXV_ +25pct chg adj | per ton | DEK | KY | NRHVAC | 10200 | 5677 | 79.165 | 0.086 | 0 | 18.2% | 0
DX RTU Tune-up_ AC_ TXV_ +30pct chg adj | per ton | DEK | KY | NRHVAC | 10201 | 5678 | 109.152 | 0.119 | 0 | 18.2% | 0
DX RTU Tune-up_ AC_ TXV_ -20pct chg adj | per ton | DEK | KY | NRHVAC | 10203 | 5680 | 33.352 | 0.036 | 0 | 18.2% | 0
DX RTU Tune-up_ HP_ Fixed Orifice_ +10pct chg adj | per ton | DEK | KY | NRHVAC | 10204 | 5681 | 383.669 | 0.097 | 0.099 | 18.2% | 0
DX RTU Tune-up_ HP_ Fixed Orifice_ +15pct chg adj | per ton | DEK | KY | NRHVAC | 10205 | 5682 | 609.356 | 0.154 | 0.157 | 18.2% | 0
DX RTU Tune-up_ HP_ Fixed Orifice_ +20pct chg adj | per ton | DEK | KY | NRHVAC | 10206 | 5683 | 863.255 | 0.217 | 0.222 | 18.2% | 0
DX RTU Tune-up_ HP_ Fixed Orifice_ +25pct chg adj | per ton | DEK | KY | NRHVAC | 10207 | 5684 | 1410.388 | 0.355 | 0.363 | 18.2% | 0
DX RTU Tune-up_ HP_ Fixed Orifice_ +30pct chg adj | per ton | DEK | KY | NRHVAC | 10208 | 5685 | 2027.964 | 0.511 | 0.522 | 18.2% | 0
DX RTU Tune-up_ HP_ Fixed Orifice_ +5pct chg adj | per ton | DEK | KY | NRHVAC | 10209 | 5686 | 181.738 | 0.046 | 0.047 | 18.2% | 0
DX RTU Tune-up_ HP_ TXV_ +25pct chg adj | per ton | DEK | KY | NRHVAC | 10214 | 5691 | 341.507 | 0.086 | 0.088 | 18.2% | 0
DX RTU Tune-up_ HP_ TXV_ +30pct chg adj | per ton | DEK | KY | NRHVAC | 10215 | 5692 | 470.866 | 0.119 | 0.121 | 18.2% | 0
DX RTU Tune-up_ HP_ TXV_ -20pct chg adj | per ton | DEK | KY | NRHVAC | 10217 | 5694 | 143.876 | 0.036 | 0.037 | 18.2% | 0
EC Plug Fan_10 HP | per 10HP fan | DEK | KY | NRIT | 10260 | 5737 | 32999.611 | 0 | 0 | 18.2% | 0
EC Plug Fan_15 HP | per 15HP fan | DEK | KY | NRIT | 10261 | 5738 | 48807.489 | 0 | 0 | 18.2% | 0
EC Plug Fan_20 HP | per 20HP fan | DEK | KY | NRIT | 10257 | 5734 | 65076.652 | 0 | 0 | 18.2% | 0
EC Plug Fan_3 HP | per 3HP fan | DEK | KY | NRIT | 10258 | 5735 | 10143.232 | 0 | 0 | 18.2% | 0
EC Plug Fan_5 HP | per 5HP fan | DEK | KY | NRIT | 10259 | 5736 | 16905.387 | 0 | 0 | 18.2% | 0
EC Plug Fan_7.5 HP | per 7.5HP fan | DEK | KY | NRIT | 10263 | 5740 | 24940.091 | 0 | 0 | 18.2% | 0
ECM for HVAC fan_ 1 HP | per motor | DEK | KY | NRHVAC | 10218 | 5695 | 2895 | 0.66 | 0.674 | 18.2% | 0
ECM for HVAC fan_ 3 qrtr HP | per motor | DEK | KY | NRHVAC | 10219 | 5696 | 2171.25 | 0.495 | 0.505 | 18.2% | 0
ECM for HVAC fan_ half HP | per motor | DEK | KY | NRHVAC | 10220 | 5697 | 1447.5 | 0.33 | 0.337 | 18.2% | 0
ECM for HVAC fan_ qrtr HP | per motor | DEK | KY | NRHVAC | 10221 | 5698 | 723.75 | 0.165 | 0.168 | 18.2% | 0
ECM for HVAC fan_ third HP | per motor | DEK | KY | NRHVAC | 10222 | 5699 | 955.35 | 0.218 | 0.222 | 18.2% | 0
ECM Refrigerated or Freezer Display Case Motors - ECM replacing PSC | per hp | DEK | KY | NRFS | 17718 | 10000 | 7443.991 | 0.849 | 0.85 | 18.2% | 0
ECM Refrigerated or Freezer Display Case Motors - ECM replacing SP | per hp | DEK | KY | NRFS | 17716 | 9998 | 23230.508 | 2.649 | 2.652 | 18.2% | 0
ECM Walk-In Cooler and Freezer Motors - ECM replacing PSC | per hp | DEK | KY | NRFS | 17717 | 9999 | 6992.995 | 0.844 | 0.845 | 18.2% | 0
ECM Walk-In Cooler and Freezer Motors - ECM replacing SP | per hp | DEK | KY | NRFS | 17715 | 9997 | 19558.749 | 2.362 | 2.364 | 18.2% | 0
Energy Star Room AC over 14,000 Btu hr | per HVAC | DEK | KY | NRHVAC | 2173 | 518 | 212 | 0.224 | 0 | 18.2% | 0
Energy Star Room AC under 14,000 Btu hr | per HVAC | DEK | KY | NRHVAC | 2174 | 519 | 129 | 0.137 | 0 | 18.2% | 0
Engine Block Heater Timer | per timer | DEK | KY | NRPROC | 16144 | 8829 | 415.025 | 0 | 0.371 | 18.2% | 0
Engineered Nozzles - COMPRESS AIR | per nozzle | DEK | KY | NRPROC | 2176 | 534 | 2879.94 | 1.08 | 1.08 | 18.2% | 0
Escalator Motor Efficiency Controller | per hp | DEK | KY | NRPAM | 16145 | 8830 | 136.19 | 0.025 | 0.025 | 18.2% | 0
Fan High Efficiency 14 to 23 inches | per fan | DEK | KY | NRHVAC | 16154 | 8839 | 479.477 | 0.094 | 0.094 | 18.2% | 0
Fan High Efficiency 14 to 23 inches - C&I | per fan | DEK | KY | NRHVAC | 17735 | 10017 | 282.238 | 0.075 | 0.058 | 18.2% | 0
Fan High Efficiency 24 to 35 inches | per fan | DEK | KY | NRHVAC | 16155 | 8840 | 712.76 | 0.14 | 0.14 | 18.2% | 0
Fan High Efficiency 24 to 35 inches - C&I | per fan | DEK | KY | NRHVAC | 17736 | 10018 | 419.558 | 0.111 | 0.086 | 18.2% | 0
Fan High Efficiency 36 to 47 inches | per fan | DEK | KY | NRHVAC | 16156 | 8841 | 750.396 | 0.147 | 0.147 | 18.2% | 0
Fan High Efficiency 36 to 47 inches - C&I | per fan | DEK | KY | NRHVAC | 17737 | 10019 | 441.711 | 0.117 | 0.09 | 18.2% | 0
Fan High Efficiency 48 to 61 inches | per fan | DEK | KY | NRHVAC | 16157 | 8842 | 1302.814 | 0.256 | 0.256 | 18.2% | 0
Fan High Efficiency 48 to 61 inches - C&I | per fan | DEK | KY | NRHVAC | 17738 | 10020 | 766.886 | 0.203 | 0.156 | 18.2% | 0
Fan High Volume Low Speed | per fan | DEK | KY | NRHVAC | 17719 | 10001 | 19446.2069 | 2.5472 | 2.5472 | 18.2% | 1
Faucet Aerator 0.5 gpm (DI) cmrcl, public use | per aerator | DEK | KY | NRHVAC | 6862 | 2999 | 1730.964 | 0.035 | 0.035 | 18.2% | 1
Faucet Aerator 0.5 gpm (DI) cmrcl, pvt use | per aerator | DEK | KY | NRHVAC | 6863 | 3000 | 241.995 | 0.035 | 0.035 | 18.2% | 1
Faucet Aerator 0.5 gpm (DI) School, public use | per aerator | DEK | KY | NRHVAC | 6864 | 3001 | 1299.973 | 0.035 | 0.035 | 18.2% | 0
Faucet Aerator 1.0 gpm (DI) cmrcl, public use | per aerator | DEK | KY | NRHVAC | 6865 | 3002 | 1221.975 | 0.025 | 0.025 | 18.2% | 1
Faucet Aerator 1.0 gpm (DI) cmrcl, pvt use | per aerator | DEK | KY | NRHVAC | 6866 | 3003 | 170.996 | 0.025 | 0.025 | 18.2% | 0
Faucet Aerator 1.0 gpm (DI) School, public use | per aerator | DEK | KY | NRHVAC | 6867 | 3004 | 916.981 | 0.025 | 0.025 | 18.2% | 0
FHAC_No Variable Speed_1975-1985 | per HP | DEK | KY | NRFS | 10153 | 5630 | 623.079 | 0.086 | 0.086 | 18.2% | 0
FHAC_No Variable Speed_1985-1996 | per HP | DEK | KY | NRFS | 10154 | 5631 | 471.576 | 0.065 | 0.065 | 18.2% | 0
FHAC_No Variable Speed_1996-2003 | per HP | DEK | KY | NRFS | 10155 | 5632 | 300.894 | 0.042 | 0.042 | 18.2% | 0
FHAC_No Variable Speed_less than 1975 | per HP | DEK | KY | NRFS | 10156 | 5633 | 620.591 | 0.086 | 0.086 | 18.2% | 0
FHAC_Variable Speed_1975-1985 | per HP | DEK | KY | NRFS | 10157 | 5634 | 890.551 | 0.123 | 0.123 | 18.2% | 0
FHAC_Variable Speed_1985-1996 | per HP | DEK | KY | NRFS | 10158 | 5635 | 890.551 | 0.123 | 0.123 | 18.2% | 0
FHAC_Variable Speed_1996-2003 | per HP | DEK | KY | NRFS | 10159 | 5636 | 890.551 | 0.123 | 0.123 | 18.2% | 0
FHAC_Variable Speed_less than 1975 | per HP | DEK | KY | NRFS | 10160 | 5637 | 890.551 | 0.123 | 0.123 | 18.2% | 0
FHWC_No Variable Speed_1975-1985 | per HP | DEK | KY | NRFS | 10161 | 5638 | 1165.633 | 0.161 | 0.161 | 18.2% | 0
FHWC_No Variable Speed_1985-1996 | per HP | DEK | KY | NRFS | 10162 | 5639 | 669.22 | 0.093 | 0.093 | 18.2% | 0
FHWC_No Variable Speed_1996-2003 | per HP | DEK | KY | NRFS | 10163 | 5640 | 452.266 | 0.063 | 0.063 | 18.2% | 0
FHWC_No Variable Speed_less than 1975 | per HP | DEK | KY | NRFS | 10164 | 5641 | 1156.98 | 0.16 | 0.16 | 18.2% | 0
FHWC_Variable Speed_1975-1985 | per HP | DEK | KY | NRFS | 10165 | 5642 | 1266.219 | 0.175 | 0.175 | 18.2% | 0
FHWC_Variable Speed_1985-1996 | per HP | DEK | KY | NRFS | 10166 | 5643 | 841.981 | 0.116 | 0.117 | 18.2% | 0
FHWC_Variable Speed_1996-2003 | per HP | DEK | KY | NRFS | 10167 | 5644 | 577.904 | 0.08 | 0.08 | 18.2% | 0
FHWC_Variable Speed_less than 1975 | per HP | DEK | KY | NRFS | 10168 | 5645 | 1256.994 | 0.174 | 0.174 | 18.2% | 0
Floating Suction_1975-1985 | per HP | DEK | KY | NRFS | 10169 | 5646 | 282.628 | 0 | 0 | 18.2% | 0
Floating Suction_1985-1996 | per HP | DEK | KY | NRFS | 10170 | 5647 | 222.573 | 0 | 0 | 18.2% | 0
Floating Suction_1996-2003 | per HP | DEK | KY | NRFS | 10171 | 5648 | 197.692 | 0 | 0 | 18.2% | 0
Floating Suction_less than 1975 | per HP | DEK | KY | NRFS | 10172 | 5649 | 280.005 | 0 | 0 | 18.2% | 0
Fluorescent Delamping 2ft T8 | per lamp removed | DEK | KY | NRLTG | 16147 | 8832 | 37.426 | 0.007 | 0.005 | 12.1% | 0
Fluorescent Delamping 3ft T8 | per lamp removed | DEK | KY | NRLTG | 16149 | 8834 | 55.757 | 0.01 | 0.007 | 12.1% | 0
Fluorescent Delamping 3ft T8 with Reflector | per lamp removed | DEK | KY | NRLTG | 16148 | 8833 | 55.757 | 0.01 | 0.007 | 12.1% | 0
Fluorescent Delamping 4ft T8 | per lamp removed | DEK | KY | NRLTG | 16151 | 8836 | 74.088 | 0.014 | 0.01 | 12.1% | 0
Fluorescent Delamping 4ft T8 with Reflector | per lamp removed | DEK | KY | NRLTG | 16150 | 8835 | 74.088 | 0.014 | 0.01 | 12.1% | 0
Fluorescent Delamping 8ft T8 | per lamp removed | DEK | KY | NRLTG | 16153 | 8838 | 147.413 | 0.028 | 0.019 | 12.1% | 0
Fluorescent Delamping 8ft T8 with Reflector | per lamp removed | DEK | KY | NRLTG | 16152 | 8837 | 147.413 | 0.028 | 0.019 | 12.1% | 0
Freezer -C&I- Glass Door 15 to 30 ft3 - var | per freezer | DEK | KY | NRFS | 2898 | 882 | 2004 | 0.192 | 0.192 | 18.2% | 0
Freezer -C&I- Glass Door 30 to 50ft3 - var | per freezer | DEK | KY | NRFS | 2900 | 884 | 3868.92 | 0.371 | 0.371 | 18.2% | 0
Freezer -C&I- Glass Door less than 15ft3 - var | per freezer | DEK | KY | NRFS | 2896 | 880 | 1693 | 0.162 | 0.162 | 18.2% | 0
Freezer -C&I- Glass Door more than 50ft3 - var | per freezer | DEK | KY | NRFS | 2902 | 886 | 7117.852 | 0.683 | 0.683 | 18.2% | 0
Freezer -C&I- Solid Door 30 to 50ft3 - var | per freezer | DEK | KY | NRFS | 2916 | 900 | 1727.964 | 0.165 | 0.165 | 18.2% | 0
Freezer -C&I- Solid Door less than 15ft3 - var | per freezer | DEK | KY | NRFS | 2912 | 896 | 594.988 | 0.057 | 0.057 | 18.2% | 0
Freezer -C&I- Solid Door more than 50ft3 - var | per freezer | DEK | KY | NRFS | 2918 | 902 | 3757 | 0.36 | 0.36 | 18.2% | 0
Fryer (Large Vat) | per fryer | DEK | KY | NRFS | 10173 | 5650 | 2660.766 | 0.492 | 0.425 | 18.2% | 0
Fryer (Standard Vat) | per fryer | DEK | KY | NRFS | 10174 | 5651 | 1057.702 | 0.195 | 0.169 | 18.2% | 0
High Bay 2L T5 HO replacing HID retrofit | per fixture (ballast + bulb) | DEK | KY | NRLTG | 2179 | 317 | 326.993 | 0.067 | 0.067 | 12.1% | 0
High Bay 3L T5 HO replacing HID retrofit | per fixture (ballast + bulb) | DEK | KY | NRLTG | 2183 | 318 | 488.019 | 0.089 | 0.08 | 12.1% | 0
High Bay 4L T5 HO replacing HID retrofit | per fixture (ballast + bulb) | DEK | KY | NRLTG | 2180 | 319 | 1012.187 | 0.185 | 0.167 | 12.1% | 0
High Bay 6L T5 HO (2 fixtures) retrofit replc 1000W HID | per 2 fixtures (ballasts + bulbs) | DEK | KY | NRLTG | 2131 | 491 | 1581.542 | 0.289 | 0.261 | 12.1% | 0
High Bay 8L T5 HO replacing HID retrofit | per fixture (ballast + bulb) | DEK | KY | NRLTG | 2182 | 321 | 1645.07 | 0.3 | 0.271 | 12.1% | 0
High Efficiency Pumps 1.5HP | per pump | DEK | KY | NRPAM | 2126 | 486 | 325.68 | 0.074 | 0.073 | 18.2% | 0
High Efficiency Pumps 10HP | per pump | DEK | KY | NRPAM | 2128 | 488 | 2171.2 | 0.495 | 0.489 | 18.2% | 1
High Efficiency Pumps 15HP | per pump | DEK | KY | NRPAM | 2130 | 490 | 3256.8 | 0.743 | 0.733 | 18.2% | 0
High Efficiency Pumps 20HP | per pump | DEK | KY | NRPAM | 2134 | 494 | 4028.2 | 0.854 | 0.854 | 18.2% | 1
High Efficiency Pumps 2HP | per pump | DEK | KY | NRPAM | 2133 | 493 | 402.82 | 0.085 | 0.085 | 18.2% | 0
High Efficiency Pumps 3HP | per pump | DEK | KY | NRPAM | 2136 | 496 | 604.23 | 0.128 | 0.128 | 18.2% | 0
High Efficiency Pumps 5HP | per pump | DEK | KY | NRPAM | 2138 | 498 | 1007.05 | 0.214 | 0.214 | 18.2% | 0
High Efficiency Pumps 7.5HP | per pump | DEK | KY | NRPAM | 2139 | 499 | 1628.4 | 0.371 | 0.366 | 18.2% | 1
Holding Cabinet Full Size Insulated | per cabinet | DEK | KY | NRFS | 2188 | 327 | 5259.491 | 0.806 | 0.806 | 18.2% | 0
HVAC DX AC 135-240kBtuh 11.7 EER (Tier 0_1) | per ton | DEK | KY | NRHVAC | 10223 | 5700 | 80.427 | 0.063 | 0 | 18.2% | 1
HVAC DX AC 135-240kBtuh 11.7 EER (Tier 0_1) - EER only | per ton | DEK | KY | NRHVAC | 17747 | 10029 | 51.265 | 0.048 | 0 | 18.2% | 0
HVAC DX AC 135-240kBtuh 12.2 EER (Tier 2) | per ton | DEK | KY | NRHVAC | 10224 | 5701 | 119.982 | 0.094 | 0 | 18.2% | 1
HVAC DX AC 135-240kBtuh 12.2 EER (Tier 2) - EER only | per ton | DEK | KY | NRHVAC | 17744 | 10026 | 82.641 | 0.079 | 0 | 18.2% | 1
HVAC DX AC 240-760kBtuh 10.5 EER (Tier 0_1) | per ton | DEK | KY | NRHVAC | 10225 | 5702 | 76.816 | 0.06 | 0 | 18.2% | 0
HVAC DX AC 240-760kBtuh 10.5 EER (Tier 0_1) - EER only | per ton | DEK | KY | NRHVAC | 17748 | 10030 | 77.282 | 0.042 | 0 | 18.2% | 0
HVAC DX AC 240-760kBtuh 10.8 EER (Tier 2) | per ton | DEK | KY | NRHVAC | 10226 | 5703 | 106.689 | 0.084 | 0 | 18.2% | 1
HVAC DX AC 240-760kBtuh 10.8 EER (Tier 2) - EER only | per ton | DEK | KY | NRHVAC | 17745 | 10027 | 109.806 | 0.066 | 0 | 18.2% | 1
HVAC DX AC 65-135kBtuh 11.7 EER (Tier 0_1) | per ton | DEK | KY | NRHVAC | 10227 | 5704 | 61.417 | 0.048 | 0 | 18.2% | 1
HVAC DX AC 65-135kBtuh 11.7 EER (Tier 0_1) - EER only | per ton | DEK | KY | NRHVAC | 17746 | 10028 | 61.144 | 0.034 | 0 | 18.2% | 1
HVAC DX AC 65-135kBtuh 12.2 EER (Tier 2) | per ton | DEK | KY | NRHVAC | 10228 | 5705 | 100.972 | 0.079 | 0 | 18.2% | 1
HVAC DX AC 65-135kBtuh 12.2 EER (Tier 2) - EER only | per ton | DEK | KY | NRHVAC | 17743 | 10025 | 101.392 | 0.065 | 0 | 18.2% | 1
HVAC DX AC greater than 760kBtuh 10.4 EER (Tier 2) | per ton | DEK | KY | NRHVAC | 10229 | 5706 | 102.862 | 0.081 | 0 | 18.2% | 0
HVAC DX AC greater than 760kBtuh 10.4 EER (Tier 2) - EER only | per ton | DEK | KY | NRHVAC | 17756 | 10038 | 96.918 | 0.062 | 0 | 18.2% | 1
HVAC DX AC greater than 760kBtuh 9.9 EER (Tier 0_1) | per ton | DEK | KY | NRHVAC | 10230 | 5707 | 48.026 | 0.038 | 0 | 18.2% | 0
HVAC DX AC greater than 760kBtuh 9.9 EER (Tier 0_1) - EER only | per ton | DEK | KY | NRHVAC | 17757 | 10039 | 76.816 | 0.018 | 0 | 18.2% | 0
HVAC DX AC less than 65kBtuh 14 SEER (Tier 0_1) | per ton | DEK | KY | NRHVAC | 10231 | 5708 | 62.044 | 0.054 | 0 | 18.2% | 1
HVAC DX AC less than 65kBtuh 15 SEER (Tier 0_1) - EER only | per ton | DEK | KY | NRHVAC | 17753 | 10035 | 62.044 | 0.084 | 0 | 18.2% | 0
HVAC DX AC less than 65kBtuh 15 SEER (Tier 2) | per ton | DEK | KY | NRHVAC | 10232 | 5709 | 115.815 | 0.1 | 0 | 18.2% | 1
HVAC DX AC less than 65kBtuh 16 SEER (Tier 2) - EER only | per ton | DEK | KY | NRHVAC | 17749 | 10031 | 89.857 | 0.111 | 0 | 18.2% | 0
HVAC DX HP 135-240kBtuh 10.9 EER 3.3 COP (Tier 1) | per ton | DEK | KY | NRHVAC | 10233 | 5710 | 143.728 | 0.094 | 0.019 | 18.2% | 0
HVAC DX HP 135-240kBtuh 10.9 EER 3.3 COP (Tier 1) - EER only | per ton | DEK | KY | NRHVAC | 17755 | 10037 | 72.449 | 0.023 | 0.019 | 18.2% | 0
HVAC DX HP 65-135kBtuh 11.3 EER 3.4 COP (Tier 1) | per ton | DEK | KY | NRHVAC | 10234 | 5711 | 123.321 | 0.079 | 0.018 | 18.2% | 0
HVAC DX HP 65-135kBtuh 11.3 EER 3.4 COP (Tier 1) - EER only | per ton | DEK | KY | NRHVAC | 17754 | 10036 | 71.187 | 0.021 | 0.018 | 18.2% | 1
HVAC DX HP greater than 240 kBtuh 10.3 EER 3.3 COP (Tier 1) | per ton | DEK | KY | NRHVAC | 10235 | 5712 | 130.436 | 0.084 | 0.019 | 18.2% | 0
HVAC DX HP greater than 240 kBtuh 10.3 EER 3.3 COP (Tier 1) - EER only | per ton | DEK | KY | NRHVAC | 17758 | 10040 | 88.088 | 0.073 | 0.019 | 18.2% | 0
HVAC DX HP Packaged less than 65kBtuh 14 SEER 8 HSPF (Tier 1) | per ton | DEK | KY | NRHVAC | 10236 | 5713 | 103.713 | 0.054 | 0.033 | 18.2% | 0
HVAC DX HP Packaged less than 65kBtuh 15 SEER 8.5 HSPF (Tier 1) - EER only | per ton | DEK | KY | NRHVAC | 17760 | 10042 | 193.539 | 0.039 | 0.084 | 18.2% | 0
HVAC DX HP Packaged less than 65kBtuh 15 SEER 8.5 HSPF (Tier 2) | per ton | DEK | KY | NRHVAC | 10238 | 5715 | 90.598 | 0.047 | 0.029 | 18.2% | 0
HVAC DX HP Packaged less than 65kBtuh 16 SEER 9 HSPF (Tier 2) - EER only | per ton | DEK | KY | NRHVAC | 17759 | 10041 | 291.664 | 0.056 | 0.128 | 18.2% | 0
HVAC DX HP Split less than 65kBtuh 15 SEER 9 HSPF (Tier 2) | per ton | DEK | KY | NRHVAC | 10240 | 5717 | 146.519 | 0.047 | 0.074 | 18.2% | 1
HVAC DX mini split AC 15 SEER | per ton | DEK | KY | NRHVAC | 10242 | 5719 | 115.815 | 0.1 | 0 | 18.2% | 0
HVAC DX mini split AC 16 SEER | per ton | DEK | KY | NRHVAC | 10243 | 5720 | 179.152 | 0.141 | 0 | 18.2% | 1
HVAC DX mini split AC 18 SEER | per ton | DEK | KY | NRHVAC | 10244 | 5721 | 265.41 | 0.209 | 0 | 18.2% | 0
HVAC DX mini split AC 20 SEER | per ton | DEK | KY | NRHVAC | 10245 | 5722 | 334.417 | 0.263 | 0 | 18.2% | 0
HVAC DX mini split HP 15 SEER 8.5 HSPF | per ton | DEK | KY | NRHVAC | 10246 | 5723 | 90.598 | 0.047 | 0.029 | 18.2% | 0
HVAC DX mini split HP 16 SEER 8.5 HSPF | per ton | DEK | KY | NRHVAC | 10248 | 5725 | 137.648 | 0.087 | 0.029 | 18.2% | 0
HVAC DX mini split HP 18 SEER 9.6 HSPF | per ton | DEK | KY | NRHVAC | 10250 | 5727 | 331.403 | 0.155 | 0.122 | 18.2% | 0
HVAC DX mini split HP 20 SEER 9.6 HSPF | per ton | DEK | KY | NRHVAC | 10252 | 5729 | 394.136 | 0.209 | 0.122 | 18.2% | 1
HVAC DX PTAC 12000 Btuh 10.7 EER | per HVAC | DEK | KY | NRHVAC | 10254 | 5731 | 51.732 | 0.041 | 0 | 18.2% | 0
HVAC DX PTAC 15000 Btuh 9.8 EER | per HVAC | DEK | KY | NRHVAC | 10255 | 5732 | 77.436 | 0.061 | 0 | 18.2% | 0
HVAC DX PTAC 7600 Btuh 12.2 EER | per HVAC | DEK | KY | NRHVAC | 10256 | 5733 | 34.602 | 0.027 | 0 | 18.2% | 0
HVAC PTHP 12000 Btuh 11.4 EER 3.3 COP | per HVAC | DEK | KY | NRHVAC | 17728 | 10010 | 150.579 | 0.075 | 0.044 | 18.2% | 0
HVAC PTHP 15000 Btuh 10.2 EER 3.2 COP | per HVAC | DEK | KY | NRHVAC | 17729 | 10011 | 195.894 | 0.08 | 0.075 | 18.2% | 0
HVAC PTHP 7600 Btuh 12.4 EER 3.4 COP | per HVAC | DEK | KY | NRHVAC | 17726 | 10008 | 46.919 | 0.026 | 0.011 | 18.2% | 0
HVAC Water Source HP less than 17 kBtuh | per ton | DEK | KY | NRHVAC | 16160 | 8845 | 318.767 | 0.159 | 0.073 | 18.2% | 0
Icemaker (Greater Than 1000 lbs_day) | per ice maker | DEK | KY | NRFS | 2205 | 350 | 3541.181 | 0.404 | 0.404 | 18.2% | 0
LED 2ft T8 or T12 Delamping | per lamp removed | DEK | KY | NRLTG | 17771 | 10053 | 34.371 | 0.006 | 0.004 | 12.1% | 0
LED 2ft Tube 1-LED, rplcg or in lieu of T8 fluor | per lamp | DEK | KY | NRLTG | 16165 | 8850 | 33.5069 | 0.0059665 | 0.0038369 | 12.1% | 1
LED 4ft Case Lights, T8 to LED | per fixture | DEK | KY | NRLTG | 10264 | 5741 | 86.505 | 0.015 | 0 | 12.1% | 0
LED 4ft T8 or T12 Delamping | per lamp removed | DEK | KY | NRLTG | 17770 | 10052 | 64.923 | 0.012 | 0.008 | 12.1% | 0
LED 4ft T8 or T12 Delamping with Reflector | per lamp removed | DEK | KY | NRLTG | 17773 | 10055 | 64.923 | 0.012 | 0.008 | 12.1% | 0
LED 4ft Tube 1-LED, rplcg or in lieu of T5HO fluor | per lamp | DEK | KY | NRLTG | 17801 | 10083 | 149.5485 | 0.02663 | 0.017125 | 12.1% | 1
LED 4ft Tube 1-LED, rplcg or in lieu of T5SO fluor | per lamp | DEK | KY | NRLTG | 17800 | 10082 | 75.2308 | 0.013396 | 0.0086147 | 12.1% | 1
LED 4ft Tube 1-LED, rplcg or in lieu of T8 fluor | per lamp | DEK | KY | NRLTG | 16166 | 8851 | 64.8226 | 0.011543 | 0.0074228 | 12.1% | 1
LED 5ft Case Lights, T8 to LED | per fixture | DEK | KY | NRLTG | 10266 | 5743 | 109.27 | 0.019 | 0 | 12.1% | 0
LED 6ft Case Lights, T8 to LED | per fixture | DEK | KY | NRLTG | 17774 | 10056 | 273.784 | 0.037 | 0.033 | 12.1% | 0
LED 6ft Case Lights, T8 to LED - With Controls | per fixture | DEK | KY | NRLTG | 17786 | 10068 | 364.865 | 0.049 | 0.044 | 12.1% | 0
LED Canopy replacing 176-250W HID Lamp | per lamp | DEK | KY | NRLTG | 17778 | 10060 | 649.158 | 0.122 | 0.084 | 12.1% | 0
LED Canopy replacing 251-400W HID Lamp | per lamp | DEK | KY | NRLTG | 17779 | 10061 | 1101.293 | 0.207 | 0.142 | 12.1% | 0
LED Canopy replacing up to 175W HID Lamp | per lamp | DEK | KY | NRLTG | 17782 | 10064 | 330.445 | 0.062 | 0.043 | 12.1% | 0
LED Display Case, rplcg or ILO INCD or FL display case ltng | per fixture | DEK | KY | NRLTG | 6989 | 3128 | 68.0009 | 0.013314 | 0 | 12.1% | 1
LED Downlight up to 18W | per lamp | DEK | KY | NRLTG | 3811 | 1161 | 222.575 | 0.046599 | 0.04655 | 12.1% | 1
LED Exit Signs Electronic Fixtures (Retrofit Only) | per fixture | DEK | KY | NRLTG | 2209 | 352 | 211.3142 | 0.029481 | 0.0247 | 12.1% | 1
LED FLD rplcng or ILO greater than 500W HAL, INCD, or HID | per lamp | DEK | KY | NRLTG | 17797 | 10079 | 2855.2039 | 0 | 0.39425 | 12.1% | 1
LED FLD rplcng or ILO GRT 100W HAL, INCD, or HID | per fixture | DEK | KY | NRLTG | 6928 | 3067 | 767.8638 | 0 | 0.10603 | 12.1% | 1
LED FLD rplcng or ILO up to 100W HAL, INCD, or HID | per fixture | DEK | KY | NRLTG | 6929 | 3068 | 172.0002 | 0 | 0.02375 | 12.1% | 1
LED Garage replacing above 400W HID retrofit Lamp | per lamp | DEK | KY | NRLTG | 17791 | 10073 | 3004.979 | 0 | 0 | 12.1% | 0
LED Highbay Fixture replacing 2-lamp 8ft T12 fixture | per fixture | DEK | KY | NRLTG | 17793 | 10075 | 899.5549 | 0.12551 | 0.075161 | 12.1% | 1
LED Highbay Fixture replacing 4-lamp 4ft T5HO fixture | per fixture | DEK | KY | NRLTG | 17795 | 10077 | 691.5971 | 0.096493 | 0.057786 | 12.1% | 1
LED Highbay Fixture replacing 6-lamp 4ft T8 fixture | per fixture | DEK | KY | NRLTG | 17792 | 10074 | 777.078 | 0.10842 | 0.064928 | 12.1% | 1
LED Highbay replacing 251-400W HID | per fixture | DEK | KY | NRLTG | 6930 | 3069 | 1719.6302 | 0.23993 | 0.14368 | 12.1% | 1
LED Highbay replacing 251-400W HID Lamp | per lamp | DEK | KY | NRLTG | 17780 | 10062 | 1898.1253 | 0.26483 | 0.1586 | 12.1% | 1
LED Highbay replacing greater than 400W HID | per fixture | DEK | KY | NRLTG | 6931 | 3070 | 4618.088 | 0.64433 | 0.38586 | 12.1% | 1
LED Highbay replacing greater than 400W HID Lamp | per lamp | DEK | KY | NRLTG | 17788 | 10070 | 4375.0308 | 0.61042 | 0.36555 | 12.1% | 1
LED Indoor Channel Sign, greater than 2 feet | per letter | DEK | KY | NRLTG | 16169 | 8854 | 328.433 | 0.062 | 0.042 | 12.1% | 0
LED Indoor Channel Sign, less than or equal to 2 feet | per letter | DEK | KY | NRLTG | 16170 | 8855 | 127.936 | 0.024 | 0.016 | 12.1% | 0
LED Indoor Sport Lighting | per lamp | DEK | KY | NRLTG | 16171 | 8856 | 2280.5461 | 0.52613 | 0.40757 | 12.1% | 1
LED Linear Ambient Fixture | per fixture | DEK | KY | NRLTG | 21999 | 12160 | 76.2025 | 0.015936 | 0.012107 | 12.1% | 0
LED Lowbay replacing 176W-250W HID | per fixture | DEK | KY | NRLTG | 6932 | 3071 | 1019.4594 | 0.15406 | 0.1007 | 12.1% | 1
LED Lowbay replacing 176W-250W HID Lamp | per lamp | DEK | KY | NRLTG | 17781 | 10063 | 599.1576 | 0.11602 | 0.0798 | 12.1% | 1
LED Lowbay replacing up to 175W HID | per fixture | DEK | KY | NRLTG | 6933 | 3072 | 364.093 | 0.055158 | 0.0361 | 12.1% | 1
LED Lowbay replacing up to 175W HID Lamp | per lamp | DEK | KY | NRLTG | 17783 | 10065 | 330.076 | 0.062 | 0.043 | 12.1% | 0
LED Outdoor Channel Sign, greater than 2 feet | per letter | DEK | KY | NRLTG | 16172 | 8857 | 376.93 | 0 | 0 | 12.1% | 0
LED Outdoor Channel Sign, less than or equal to 2 feet | per letter | DEK | KY | NRLTG | 16173 | 8858 | 143.186 | 0 | 0 | 12.1% | 0
LED Panel 1x4 replacing or in lieu of T8 FL | per fixture | DEK | KY | NRLTG | 6934 | 3073 | 99.3283 | 0.018223 | 0.01141 | 12.1% | 1
LED Panel 2x2 replacing or in lieu of T8 FL | per fixture | DEK | KY | NRLTG | 6936 | 3075 | 39.3175 | 0.0072134 | 0.0045164 | 12.1% | 1
LED Panel 2x4 replacing or in lieu of T8 FL | per fixture | DEK | KY | NRLTG | 6938 | 3077 | 171.2034 | 0.03141 | 0.019666 | 12.1% | 1
LED Poultry Lights | per lamp | DEK | KY | NRLTG | 16175 | 8860 | 257.638 | 0.038 | 0.034 | 12.1% | 0
Lighting Power Density for New Construction | per sq ft | DEK | KY | NRLTG | 16176 | 8861 | 0.85 | 0 | 0 | 12.1% | 0
Low Flow Showerhead 1.5 gpm (DI) cmrcl, public use | per showerhead | DEK | KY | NRHVAC | 6979 | 3118 | 852.982 | 0.032 | 0.032 | 18.2% | 0
Low Flow Showerhead 1.5 gpm (DI) cmrcl, pvt use | per showerhead | DEK | KY | NRHVAC | 6868 | 3005 | 426.991 | 0.032 | 0.032 | 18.2% | 1
Low Pressure Sprinkler Nozzles Solid Set | per nozzle | DEK | KY | NRPROC | 16180 | 8865 | 9.25 | 0.003 | 0 | 18.2% | 0
Milk Vacuum Pump VFD | per hp | DEK | KY | NRPAM | 16181 | 8866 | 1750.823 | 0.185 | 0.404 | 18.2% | 0
Notched V-Belts for Non-HVAC Systems | per motor HP | DEK | KY | NRPROC | 22006 | 12161 | 34.872 | 0.0044 | 0.0061 | 18.2% | 0
PC Power Management from Network | per computer and monitor controlled | DEK | KY | NRIT | 6944 | 3083 | 200 | 0.02 | 0 | 18.2% | 0
Photocells with Time Clocks Exterior | per watt controlled | DEK | KY | NRLTG | 16184 | 8869 | 2.023 | 0 | 0 | 12.1% | 0
Pre Rinse Sprayers | per sprayer | DEK | KY | NRFS | 3841 | 1167 | 1387.5952 | 0.1153 | 0.1153 | 18.2% | 1
Refrigerators -C&I- ENERGY STAR ER | per refrigerator | DEK | KY | NRFS | 17708 | 9990 | 179.682 | 0.029 | 0.024 | 18.2% | 0
Refrigerators -C&I- Glass Door less than 15ft3 - var | per refrigerator | DEK | KY | NRFS | 2904 | 888 | 722 | 0.069 | 0.069 | 18.2% | 0
Remote Mounted Daylight Sensor | per control | DEK | KY | NRLTG | 6945 | 3084 | 378.714 | 0.086 | 0.077 | 12.1% | 0
Remote Mounted Daylight Sensor per watt | per watt controlled | DEK | KY | NRLTG | 16187 | 8872 | 1.003 | 0.001 | 0.001 | 12.1% | 0
Roof Insulation | per sq ft of roof insulated | DEK | KY | NRHVAC | 22020 | 12163 | 4.6143 | 0.0003 | 0.0034 | 18.2% | 0
Setback Programmable Thermostat | per thermostat | DEK | KY | NRHVAC | 2225 | 384 | 1158.555 | 0 | 0.03 | 18.2% | 1
Steamer_3 pan | per steam cooker | DEK | KY | NRFS | 2232 | 522 | 11195.431 | 2.143 | 2.146 | 18.2% | 0
Steamer_4 pan | per steam cooker | DEK | KY | NRFS | 2233 | 525 | 12467.275 | 2.387 | 2.389 | 18.2% | 0
Steamer_5 pan | per steam cooker | DEK | KY | NRFS | 2234 | 526 | 13840.186 | 2.65 | 2.653 | 18.2% | 0
Steamer_6 pan | per steam cooker | DEK | KY | NRFS | 2235 | 527 | 15088.9955 | 2.8915 | 2.8915 | 18.2% | 1
Strip Curtains - Freezers | per sq ft | DEK | KY | NRFS | 17704 | 9986 | 79.21 | 0.009 | 0.009 | 18.2% | 0
Strip Curtains - Refrigerated Warehouse | per sq ft | DEK | KY | NRFS | 17711 | 9993 | 287 | 0.033 | 0.033 | 18.2% | 0
Suction Pipe Insulation - Coolers | per linear foot | DEK | KY | NRFS | 17707 | 9989 | 11.3 | 0.002 | 0.002 | 18.2% | 0
Suction Pipe Insulation - Freezers | per linear foot | DEK | KY | NRFS | 17709 | 9991 | 14.935 | 0.003 | 0.003 | 18.2% | 0
Switch or Fixture Mounted Daylight Sensor per watt | per watt controlled | DEK | KY | NRLTG | 16188 | 8873 | 1.003 | 0.001 | 0.001 | 12.1% | 0
Switching Controls for Multi-Level Lighting | per watt controlled | DEK | KY | NRLTG | 16189 | 8874 | 1.003 | 0.001 | 0.001 | 12.1% | 0
Time Clocks External Lighting | per watt controlled | DEK | KY | NRLTG | 16190 | 8875 | 1.451 | 0 | 0 | 12.1% | 0
Variable speed drive on HVAC chiller | per hp | DEK | KY | NRHVAC | 16192 | 8877 | 198.957 | 0.054 | 0 | 18.2% | 0
VFD HVAC Fan | per fan hp | DEK | KY | NRPAM | 3636 | 1112 | 1011.7 | 0.07 | 0.146 | 18.2% | 0
VFD on Chilled Water Pump | per hp | DEK | KY | NRPAM | 17816 | 10098 | 101.608 | 0 | 0 | 18.2% | 1
VFD on Hot Water Pump | per hp | DEK | KY | NRPAM | 17815 | 10097 | 608.5184 | 0 | 0 | 18.2% | 1
VFD Process Pump 1-50 HP | per hp | DEK | KY | NRPAM | 3646 | 1114 | 1012 | 0.209 | 0.209 | 18.2% | 1
VFDs on chilled water pumps 10HP | per pump | DEK | KY | NRIT | 6949 | 3088 | 23003.869 | 0 | 0 | 18.2% | 0
VFDs on chilled water pumps 10HP w Economizer | per pump | DEK | KY | NRIT | 6950 | 3089 | 11381.829 | 0 | 0 | 18.2% | 0
VFDs on chilled water pumps 15HP | per pump | DEK | KY | NRIT | 6951 | 3090 | 34023.465 | 0 | 0 | 18.2% | 0
VFDs on chilled water pumps 15HP w Economizer | per pump | DEK | KY | NRIT | 6952 | 3091 | 16834.092 | 0 | 0 | 18.2% | 0
VFDs on chilled water pumps 20HP | per pump | DEK | KY | NRIT | 6953 | 3092 | 45364.62 | 0 | 0 | 18.2% | 0
VFDs on chilled water pumps 20HP w Economizer | per pump | DEK | KY | NRIT | 6954 | 3093 | 22445.455 | 0 | 0 | 18.2% | 0
VFDs on chilled water pumps 25HP w Economizer | per pump | DEK | KY | NRIT | 6956 | 3095 | 27876.968 | 0 | 0 | 18.2% | 0
VFDs on chilled water pumps 30HP w Economizer | per pump | DEK | KY | NRIT | 6958 | 3097 | 33274.613 | 0 | 0 | 18.2% | 0
VFDs on chilled water pumps 40HP w Economizer | per pump | DEK | KY | NRIT | 6960 | 3099 | 44366.15 | 0 | 0 | 18.2% | 0
VFDs on chilled water pumps 50HP w Economizer | per pump | DEK | KY | NRIT | 6962 | 3101 | 55222.946 | 0 | 0 | 18.2% | 0
VFDs on chilled water pumps 5HP | per pump | DEK | KY | NRIT | 6963 | 3102 | 11784.664 | 0 | 0 | 18.2% | 0
VFDs on chilled water pumps 5HP w Economizer | per pump | DEK | KY | NRIT | 6964 | 3103 | 5830.803 | 0 | 0 | 18.2% | 0
VFDs on chilled water pumps 7.5HP | per pump | DEK | KY | NRIT | 6965 | 3104 | 17385.617 | 0 | 0 | 18.2% | 0
VFDs on chilled water pumps 7.5HP w Economizer | per pump | DEK | KY | NRIT | 6966 | 3105 | 8602.036 | 0 | 0 | 18.2% | 0
VFDs on CRAC CRAH AHU Fan 10HP | per fan | DEK | KY | NRIT | 6967 | 3106 | 22261.957 | 0 | 0 | 18.2% | 0
VFDs on CRAC CRAH AHU Fan 15HP | per fan | DEK | KY | NRIT | 6968 | 3107 | 32926.152 | 0 | 0 | 18.2% | 0
VFDs on CRAC CRAH AHU Fan 20HP | per fan | DEK | KY | NRIT | 6969 | 3108 | 43901.536 | 0 | 0 | 18.2% | 0
VFDs on CRAC CRAH AHU Fan 2HP | per fan | DEK | KY | NRIT | 6970 | 3109 | 4720.05 | 0 | 0 | 18.2% | 0
VFDs on CRAC CRAH AHU Fan 3HP | per fan | DEK | KY | NRIT | 6971 | 3110 | 6842.753 | 0 | 0 | 18.2% | 0
VFDs on CRAC CRAH AHU Fan 5HP | per fan | DEK | KY | NRIT | 6972 | 3111 | 11404.589 | 0 | 0 | 18.2% | 0
VFDs on CRAC CRAH AHU Fan 7.5HP | per fan | DEK | KY | NRIT | 6973 | 3112 | 16824.902 | 0 | 0 | 18.2% | 0
VSD Air COMP replacing load no load COMP | per hp | DEK | KY | NRPROC | 6974 | 3113 | 500.99 | 0.121 | 0.12 | 18.2% | 1
VSD Air COMP replacing variable displacement COMP | per hp | DEK | KY | NRPROC | 6975 | 3114 | 187.996 | 0.045 | 0.045 | 18.2% | 0
VSD Air Compressors | per hp | DEK | KY | NRPROC | 3851 | 1169 | 629.137 | 0.151 | 0.151 | 18.2% | 0
Walk-In Cooler Automatic Door-Closer Retrofit | per automatic door-closer | DEK | KY | NRFS | 6976 | 3115 | 660.677 | 0 | 0.074 | 18.2% | 0
Walk-In Freezer Automatic Door-Closer Retrofit | per automatic door-closer | DEK | KY | NRFS | 6977 | 3116 | 1726.775 | 0 | 0.193 | 18.2% | 0
Wall Insulation | per sq ft of wall insulated | DEK | KY | NRHVAC | 22027 | 12164 | 23.8541 | 0.0028038 | 0.01622 | 18.2% | 0
Water Cooled Chiller_Centrifugal at least 150 tons and less than 300 tons | per ton | DEK | KY | NRHVAC | 10959 | 6124 | 399.5056 | 0.063978 | 0 | 18.2% | 0
Water Cooled Chiller_Centrifugal at least 300 tons and less than 600 tons | per ton | DEK | KY | NRHVAC | 10960 | 6125 | 357.6156 | 0.025731 | 0 | 18.2% | 0
Water Cooled Chiller_Centrifugal at least 600 tons | per ton | DEK | KY | NRHVAC | 10961 | 6126 | 346.8446 | 0.024464 | 0 | 18.2% | 0
Water Cooled Chiller_Centrifugal less than 150 tons | per ton | DEK | KY | NRHVAC | 10962 | 6127 | 399.5056 | 0.063978 | 0 | 18.2% | 0
Water Cooled Screw or Scroll at least 150 tons and less than 300 tons | per ton | DEK | KY | NRHVAC | 10999 | 6128 | 293.9659 | 0.038665 | 0 | 18.2% | 0
Water Cooled Screw or Scroll at least 300 tons | per ton | DEK | KY | NRHVAC | 11000 | 6129 | 305.149 | 0.023078 | 0 | 18.2% | 0
Water Cooled Screw or Scroll at least 75 tons and less than 150 tons | per ton | DEK | KY | NRHVAC | 11001 | 6130 | 162.4787 | 0.048366 | 0 | 18.2% | 0
Water Cooled Screw or Scroll less than 75 tons | per ton | DEK | KY | NRHVAC | 11002 | 6131 | 166.4416 | 0.048678 | 0 | 18.2% | 0
Water Heater Pipe Insulation | per linear foot of pipe wrapped | DEK | KY | NRHVAC | 6978 | 3117 | 76.998 | 0.007 | 0.007 | 18.2% | 1
Zero Energy Doors_High-Temp Cooler | per door | DEK | KY | NRFS | 10182 | 5659 | 1319.667 | 0.15 | 0.151 | 18.2% | 0
Zero Energy Doors_Med-Temp Cooler | per door | DEK | KY | NRFS | 10183 | 5660 | 1391.6231 | 0.15886 | 0.15886 | 18.2% | 1
LED A Lamps | per lamp | DEK | KY | NRLTG | 16167 | 8852 | 214.762 | 0.026974 | 0.018007 | 12.1% | 1 | <-- Discontinued measure
LED Decorative, Globe, 3-Way Lamps | per lamp | DEK | KY | NRLTG | 16168 | 8853 | 424.6368 | 0.046596 | 0.031657 | 12.1% | 1 | <-- Discontinued measure
LED PAR, BR, MR Lamps | per lamp | DEK | KY | NRLTG | 16174 | 8859 | 243.1479 | 0.044392 | 0.030162 | 12.1% | 1 | <-- Discontinued measure
LED Track Ltng (rplcng or ILO INCD, HAL, CFL, or HID track Ltng) | per fixture | DEK | KY | NRLTG | 6992 | 3131 | 182.5722 | 0.040893 | 0 | 12.1% | 1 | <-- Discontinued measure
Occupancy Sensors under 500 watts | per sensor | DEK | KY | NRLTG | 2216 | 368 | 252.7085 | 0.11697 | 0.07505 | 12.1% | 1 | <-- Discontinued measure
LED 6ft Case Lights, T8 to LED - With Controls_nc | per fixture | DEK | KY | NRLTG | 17786nc | 10068nc | 91.081 | 0.012 | 0.011 | 12.1% | 0 | 0
Note on H1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: We are using unrounded values of 12.06 for Lighting and 18.21 for non-lighting
Note on H4: Vecchio, Peter J.: Please provide value out to furthest known decimal place.
Note on I4: Vecchio, Peter J.: Please provide the summer peak kW savings, if known, out to furthest known decimal place. If unknown, or to let DSMore calculate the non-coincident kW peak, use 9999.
Note on J4: Vecchio, Peter J.: Please provide the winter peak kW savings, if known, out to furthest known decimal place. If unknown, or to let DSMore calculate the non-coincident kW peak, use 9999.
Note on K4: Vecchio, Peter J.: If given FR% and SO%, then the number we are looking for here is FR%-SO% or Free Rider% = 1-NTG