## Sheet1
Mckinney Station |  |  |  | Allen Station |  |  |  | East Prestonsburg Station
2020 through 2025 |  |  |  | 2020 through 2025 |  |  |  | 2020 through 2025
No Outages |  |  |  | No Outages |  |  |  | No Outages
Prestonsburg Station |  |  |  | Middle Creek Station |  |  |  | Kenwood Station
2020 through 2023 |  |  |  | 2020 through 2022 |  |  |  | 2020 through 2025
No Outages |  |  |  | No Outages |  |  |  | No Outages
2024 |  |  |  | 2023
T or D | Month | Outage | Duration (h) | T or D | Month | Outage | Duration (h)
Distribution | May | 1 | 1.15 | Distribution | June | 1 | 10.2167
2025 |  |  |  | 2024 -2025
No Outages |  |  |  | No Outages
Prestonsburg - Thelma 46kV Line |  |  |  | Thelma - Thelma 46kV Circuit
Prestonsburg - Thelma 46kV Circuit |  |  |  | 2020
2020 |  |  |  | Month | Outages | Duration (h)
Month | Outages | Duration (h) |  | March | 1 | 0, momentary outage
February | 2 | 0 each, momentary outages. |  | April | 1 | 0, momentary outage
March | 1 | 0, momentary outage. |  | 2021
May | 1 | 0, momentary outage. |  | Month | Outages | Duration (h)
June | 1 | 0, momentary outage. |  | February | 1 | 67.03
August | 1 | 0, momentary outage. |  | 2022
2021 |  |  |  | Month | Outages | Duration (h)
Month | Outages | Duration (h) |  | June | 4 | 3 outages were momentary and of 0 duration.
February | 1 | 280.43 |  |  |  | 3.85
September | 1 | 0, momentary outage. |  | July | 1 | 5
2022 |  |  |  | 2023
Month | Outages | Duration (h) |  | Month | Outages | Duration (h)
March | 1 | 0, momentary outage. |  | August | 1 | 0, momentary outage
2023 |  |  |  | 2024
Month | Outages | Duration (h) |  | Month | Outages | Duration (h)
April | 1 | 22.55 |  | May | 1 | 0, momentary outage
June | 2 | 0 each, momentary outages. |  | 2025
2024 |  |  |  | Month | Outages | Duration (h)
Month | Outages | Duration (h) |  | April | 1 | 76.37
May | 2 | 0 each, momentary outages. |  | November | 1 | 0, momentary outage
July | 1 | 0, momentary outage.
August | 1 | 19.12
2025
Month | Outages | Duration (h)
June | 1 | 0, momentary outage.
July | 1 | 0, momentary outage.
September | 1 | 0, momentary outage.