## 2022
Bluegrass Water Utility Operating Company, LLC
Case No. 2025-00354
Exhibit PSC 7-10 - Delaplain Flow Data 2022-2026
Delaplain WWTP - Est. Flow Totalizer
Datetime | Start Reading | End reading | Diff
2022-01-01 07:00 | - | - | 8472300 | Data was calculated from Daily Average from the DMR
2022-02-01 07:00 | - | - | 9587200 | Data was calculated from Daily Average from the DMR
2022-03-01 07:00 | - | - | 7498900 | Data was calculated from Daily Average from the DMR
2022-04-01 07:00 | - | - | 7770000 | Data was calculated from Daily Average from the DMR
2022-05-01 07:00 | - | - | 6944000 | Data was calculated from Daily Average from the DMR
2022-06-01 07:00 | - | - | 6882000 | Data was calculated from Daily Average from the DMR
2022-07-01 07:00 | - | - | 7812000 | Data was calculated from Daily Average from the DMR
2022-08-01 07:00 | - | - | 7316000 | Data was calculated from Daily Average from the DMR
2022-09-01 07:00 | - | - | 6939000 | Data was calculated from Daily Average from the DMR
2022-10-01 07:00 | - | - | 6708400 | Data was calculated from Daily Average from the DMR
2022-11-01 07:00 | - | - | 5817000 | Data was calculated from Daily Average from the DMR
2022-12-01 07:00 | - | - | 8224300 | Data was calculated from Daily Average from the DMR
|  | Total | 89971100

## 2023
Bluegrass Water Utility Operating Company, LLC
Case No. 2025-00354
Exhibit PSC 7-10 - Delaplain Flow Data 2022-2026
Delaplain WWTP - Est. Flow Totalizer
Datetime | Start Reading | End reading | Diff
2023-01-01 07:00 | - | - | 10955400 | Data was calculated from Daily Average from the DMR
2023-02-01 07:00 | - | - | 7361200 | Data was calculated from Daily Average from the DMR
2023-03-01 07:00 | - | - | 8655200 | Data was calculated from Daily Average from the DMR
2023-04-01 07:00 | - | - | 5748000 | Data was calculated from Daily Average from the DMR
2023-05-01 07:00 | - | - | 5859000 | Data was calculated from Daily Average from the DMR
2023-06-01 07:00 | - | - | 6480000 | Data was calculated from Daily Average from the DMR
2023-07-01 07:00 | - | - | 7533000 | Data was calculated from Daily Average from the DMR
2023-08-01 07:00 | - | - | 7750000 | Data was calculated from Daily Average from the DMR
2023-09-01 07:00 | - | - | 6660000 | Data was calculated from Daily Average from the DMR
2023-10-01 07:00 | - | - | 7099000 | Data was calculated from Daily Average from the DMR
2023-11-01 07:00 | - | - | 6210000 | Data was calculated from Daily Average from the DMR
2023-12-01 07:00 | - | - | 6334608 | Data was calculated from Daily Average from the DMR
|  | Total | 86645408

## 2024
Bluegrass Water Utility Operating Company, LLC
Case No. 2025-00354
Exhibit PSC 7-10 - Delaplain Flow Data 2022-2026
Delaplain WWTP - Flow Totalizer
Datetime | Start Reading | End reading | Diff
2024-01-01 07:00 | - | - | 10633000 | Data was calculated from Daily Average from the DMR
2024-02-01 07:00 | - | - | 6160000 | Data was calculated from Daily Average from the DMR
2024-03-01 07:00 | - | - | 8091000 | Data was calculated from Daily Average from the DMR
2024-04-01 07:00 | - | - | 9525000 | Data was calculated from Daily Average from the DMR
2024-05-01 07:00 | - | - | 6200000 | Data was calculated from Daily Average from the DMR
2024-06-01 07:00 | - | - | 9180000 | Data was calculated from Daily Average from the DMR
2024-07-01 07:00 | - | - | 8091000 | Data was calculated from Daily Average from the DMR
2024-08-01 07:00 | - | - | 7595000 | Data was calculated from Daily Average from the DMR
2024-09-01 07:00 | - | - | 7230000 | Data was calculated from Daily Average from the DMR
2024-10-01 07:00 | - | - | 6727000 | Data was calculated from Daily Average from the DMR
2024-11-01 07:00 | 231000 | 9146000 | 8915000 | Data is calculated from SCADA system, via the difference in the first read of every month.
2024-12-01 07:00 | 9146000 | 19069000 | 9923000 | Data is calculated from SCADA system, via the difference in the first read of every month.
|  | Total | 98270000

## 2025
Bluegrass Water Utility Operating Company, LLC
Case No. 2025-00354
Exhibit PSC 7-10 - Delaplain Flow Data 2022-2026
Delaplain WWTP - Flow Totalizer
Datetime | Start Reading | End reading | Diff
2025-01-01 07:00 | 19069000 | 28297000 | 9228000 | Data is calculated from SCADA system, via the difference in the first read of every month.
2025-02-01 07:00 | 28297000 | 44450000 | 16153000 | Data is calculated from SCADA system, via the difference in the first read of every month.
2025-03-01 07:00 | 44450000 | 56734000 | 12284000 | Data is calculated from SCADA system, via the difference in the first read of every month.
2025-04-01 07:00 | 56734000 | 77033000 | 20299000 | Data is calculated from SCADA system, via the difference in the first read of every month.
2025-05-01 07:00 | 77033000 | 89965000 | 12932000 | Data is calculated from SCADA system, via the difference in the first read of every month.
2025-06-01 07:00 | 89965000 | 103323000 | 13358000 | Data is calculated from SCADA system, via the difference in the first read of every month.
2025-07-01 07:00 | 103323000 | 112172000 | 8849000 | Data is calculated from SCADA system, via the difference in the first read of every month.
2025-08-01 07:00 | 112172000 | 118622000 | 6450000 | Data is calculated from SCADA system, via the difference in the first read of every month.
2025-09-01 07:00 | 118622000 | 125352000 | 6730000 | Data is calculated from SCADA system, via the difference in the first read of every month.
2025-10-01 07:00 | 125352000 | 136076000 | 10724000 | Data is calculated from SCADA system, via the difference in the first read of every month.
2025-11-01 07:00 | 136076000 | 147152000 | 11076000 | Data is calculated from SCADA system, via the difference in the first read of every month.
2025-12-01 07:00 | 147152000 | 158759000 | 11607000 | Data is calculated from SCADA system, via the difference in the first read of every month.
|  | Total | 139690000

## 2026
Bluegrass Water Utility Operating Company, LLC
Case No. 2025-00354
Exhibit PSC 7-10 - Delaplain Flow Data 2022-2026
Delaplain WWTP - Flow Totalizer
Datetime | Start Reading | End reading | Diff
2026-01-01 07:00 | 158759000 | 167123000 | 8364000 | Data is calculated from SCADA system, via the difference in the first read of every month.
2026-02-01 07:00 | 167123000 | 175736000 | 8613000 | Data is calculated from SCADA system, via the difference in the first read of every month.
2026-03-01 07:00 | 175736000 | 189732000 | 13996000 | Data is calculated from SCADA system, via the difference in the first read of every month.
2026-04-01 07:00 | 189732000 | 197564000 | 7832000 | Data is calculated from SCADA system, via the difference in the first read of every month.
2026-05-01 07:00 | 197564000 | 214975000 | 17411000 | Data is calculated from SCADA system, via the difference in the first read of every month.
2026-06-01 07:00 | 214975000 | 228893000 | 13918000 | Data is calculated from SCADA system, via the difference in the first read of every month.
2026-07-01 07:00 | 228893000 | 241207000 | 12314000 | Data is calculated from SCADA system, via the difference in the first read of every month.
2026-08-01 07:00 | 241207000 | 253936000 | 12729000 | Data is calculated from SCADA system, via the difference in the first read of every month.
2026-09-01 07:00 | 253936000 | 255672000 | 1736000 | Data is calculated from SCADA system, via the difference in the first read of every month.
|  | Total | 96913000