## Sheet1
Bluegrass Water Utility Operating Company
PSC DR 26
Capital Projects
| Description | Service Area | Service Type | Estimated Cost | Estimated Completion Date | Note
| Enzyme Treatment to FlowEQ Lagoon + PAA install | KY-Airview | Wastewater | 50000 | 2026-03-31 | Completed by March 31, 2026
| Drainage repairs / Effluent Line | KY-Magruder Village | Wastewater | 10000 | 2027-01-31 | Completed After March 31, but on or before January 2027
| Flow meter installation | KY-Magruder Village | Wastewater | 16000 | 2027-01-31 | Completed After March 31, but on or before January 2027
| Influent Flow Meter | KY-Delaplain | Wastewater | 20000 | 2027-01-31 | Completed After March 31, but on or before January 2027
| Add grating | KY-Airview | Wastewater | 10000 | 2026-12-31 | Completed After March 31, but on or before January 2027
| Water service for facility | KY-Magruder Village | Wastewater | 9000 | 2026-12-31 | Completed After March 31, but on or before January 2027
| Fence Replacement | KY-Yung Farm Estates | Wastewater | 6000 | 2026-12-31 | Completed After March 31, but on or before January 2027
| Decant Pump or Decanting Pivot Arm with Arilift | KY-Yung Farm Estates | Wastewater | 9000 | 2026-12-31 | Completed After March 31, but on or before January 2027
| New Headers | KY-Fox Run | Wastewater | 25000 | 2026-12-31 | Completed After March 31, but on or before January 2027
| Change out for more efficent/smaller blowers | KY-Fox Run | Wastewater | 36000 | 2026-12-31 | Completed After March 31, but on or before January 2027
| New aeriator and Headers | KY-Kingwood | Wastewater | 40000 | 2026-12-31 | Completed After March 31, but on or before January 2027
| Add grating | KY-Kingwood | Wastewater | 10000 | 2026-12-31 | Completed After March 31, but on or before January 2027
| Potable water line | KY-Lake Columbia | Wastewater | 10000 | 2026-12-31 | Completed After March 31, but on or before January 2027
| Safety Rails | KY-Great Oaks | Wastewater | 10000 | 2026-12-31 | Completed After March 31, but on or before January 2027
| Potable water lines | KY-Woodland | Wastewater | 10000 | 2026-12-31 | Completed After March 31, but on or before January 2027
| Install PAA disinfection | KY-River Bluffs | Wastewater | 40000 | 2027-01-31 | Completed After March 31, but on or before January 2027
| Valve Vault+ Electric + Mobilization | KY-Delaplain | Wastewater | 311000 | 2026-01-31 | Completed by March 31, 2026
| Filter(and building) + Electric + Mobilization | KY-Delaplain | Wastewater | 536000 | 2026-01-31 | Completed by March 31, 2026
| Pump Station + Electric + Mobilization | KY-Delaplain | Wastewater | 477000 | 2026-01-31 | Completed by March 31, 2026
| Chemical Feed + Electric + Mobilization | KY-Delaplain | Wastewater | 248000 | 2026-01-31 | Completed by March 31, 2026
| IFAS System (Aeration) + Electric + Mobilization | KY-Delaplain | Wastewater | 517000 | 2026-01-31 | Completed by March 31, 2026
| Electrical | KY-Delaplain | Wastewater | 45000 | 2026-01-31 | Completed by March 31, 2026
| Pump Station | KY-Delaplain | Wastewater | 90000 | 2026-01-31 | Completed by March 31, 2026
| Install new Roof on Building | KY-Kingwood | Wastewater | 66476.73 | 2025-12-31 | Completed by March 31, 2026
| Replace secton of Main | KY-Airview | Wastewater | 11361.35 | 2025-12-31 | Completed by March 31, 2026
| Install New Sewer Pump | KY-Springcrest | Wastewater | 8757.2 | 2025-12-31 | Completed by March 31, 2026
| Lift station rehab - connect discharge line, float replacement, pump refurbishment | KY-Fox Run | Wastewater | 2420 | 2025-12-31 | Completed by March 31, 2026
| Refurbish Pump | KY-Persimmon Rige | Wastewater | 7818.54 | 2025-12-31 | Completed by March 31, 2026
| Digester | KY-Great Oaks | Wastewater | 30000 | 2025-12-31 | Completed by March 31, 2026
| Gravity Sewer and Manholes | KY-Timberland | Wastewater | 154048.69 | 2025-12-31 | Completed by March 31, 2026