## Detailed Cost Report
Detailed Cost Report-Summary
Service Area: ERLKL | [5 empty] | Work Order Number: 59290845 | [5 empty] | Version: 12-DESIGN
Service Address: 2835 Senour Rd , INDEPENDENCE , KY 41051-6836 | [11 empty] | Work Order Owner: Addo, Douglas
GL Account: V932~S471~69100~RSOH~KRSOH~I~??????~0107000~75084~??????????~????????
Work Order Description: DKA - 2835 SENOUR RD - HANDS 41 - PERM CONST - RESIDENTIAL SERV - Janine Moeller
Construction Details:
Task Type / CU Name | [5 empty] | CU Description |  |  |  |  | Field ID |  | CU Action | CU Quantity | Process |  | Project |  | Activity |  | Labor |  | Materials |  | Service Cost |  | Total |  | Labor Hours
OVERHEAD PRIMARY | [12 empty] | I | 15 | RSOH |  | KRSOH |  | I |  | 636.89 |  | 1324.29 |  | 0 |  | 1961.18 |  | 5.478
BKT-EM-POLE-1P-FG-M | [5 empty] | Bracket Equipment Mount Pole Single Phase Fiberglass |  |  |  |  | 14K-201E |  | I | 1 | RSOH |  | KRSOH |  | I |  | 0 |  | 44.77 |  | 0 |  | 44.77 |  | 0
CONN-OH-HLC-2/0CU-8CUSOL-M | [5 empty] | Connector OH Hot Line Clamp 2/0CU-8CUSOL Line to 2/0CU-8CUSOL Tap |  |  |  |  | 14K-201E |  | I | 1 | RSOH |  | KRSOH |  | I |  | 1.98 |  | 12.23 |  | 0 |  | 14.21 |  | 0.017
CONN-OH-STRP-BLT-2/0CU-M | [5 empty] | Connector OH Stirrup Bolted 2/0CU-6CU Line |  |  |  |  | 14K-201E |  | I | 1 | RSOH |  | KRSOH |  | I |  | 1.98 |  | 27.4 |  | 0 |  | 29.38 |  | 0.017
CONN-OH-TF-STEM-2POS-500AL-M | [5 empty] | Connector OH Transformer Stem 1/2in stud to 2 position single set screw 500 AL |  |  |  |  | 14K-201E |  | I | 3 | RSOH |  | KRSOH |  | I |  | 1.98 |  | 59.14 |  | 0 |  | 61.12 |  | 0.017
FUSE-CUTOUT-100-15KV-POLY-EQUIP-M | [5 empty] | (UOP) EQUIPMENT PROTECTION ONLY: 15kV 100A Non-Loadbreak Fuse Cutout with Polymer Insulator (Non-Mapable) |  |  |  |  | 14K-201E |  | I | 1 | RSOH |  | KRSOH |  | I |  | 0 |  | 102.11 |  | 0 |  | 102.11 |  | 0
FUSE-LINK-5-D-M | [5 empty] | Fuse Link 5 D |  |  |  |  | 14K-201E |  | I | 1 | RSOH |  | KRSOH |  | I |  | 2.33 |  | 2.89 |  | 0 |  | 5.22 |  | 0.02
HDWR-MACH-SM-12IN-GALV-M | [5 empty] | Hardware Machine Bolt 5/8in diameter 12in long Galvanized Steel |  |  |  |  | 14K-201E |  | I | 2 | RSOH |  | KRSOH |  | I |  | 2.33 |  | 4.21 |  | 0 |  | 6.54 |  | 0.02
LEAD-TF-6-CU-COVER-M | [5 empty] | Lead Trans/Reg/Cap 6 Copper Covered |  |  |  |  | 14K-201E |  | I | 1 | RSOH |  | KRSOH |  | I |  | 1.98 |  | 5.57 |  | 0 |  | 7.55 |  | 0.017
OLAB-BKT-EQUIP-1P-M | [5 empty] | OH Labor Bracket equipment single phase |  |  |  |  | 14K-201E |  | I | 1 | RSOH |  | KRSOH |  | I |  | 68.59 |  | 0 |  | 0 |  | 68.59 |  | 0.59
OLAB-CUTOUT-FUSE/SW-M | [5 empty] | OH Labor Cutout fuse or switch (per cutout) |  |  |  |  | 14K-201E |  | I | 1 | RSOH |  | KRSOH |  | I |  | 130.21 |  | 0 |  | 0 |  | 130.21 |  | 1.12
OLAB-TF-MD-1P-M | [5 empty] | OH Labor Transformer 10kVA up to 50kVA single phase (per transformer) |  |  |  |  | 14K-201E |  | I | 1 | RSOH |  | KRSOH |  | I |  | 425.51 |  | 0 |  | 0 |  | 425.51 |  | 3.66
TF-OH-25-12KV-120/240V-1P-M | [5 empty] | (UOP) Pole Mount 25kVA Single Bushing Transformer for 12.47/7.2kV Primary and 120/240V Secondary |  |  |  |  | 14K-201E |  | I | 1 | RSOH |  | KRSOH |  | I |  | 0 |  | 1065.97 |  | 0 |  | 1065.97 |  | 0
DOLLARONLY | [12 empty] | I | 60 | RSOH |  | KRSOH |  | I |  | 0 |  | 0 |  | 60 |  | 60 |  | 0
CADD-FLAGGING-M | [5 empty] | Cost Adder flagging (per dollar) |  |  |  |  | 14K-201E |  | I | 60 | RSOH |  | KRSOH |  | I |  | 0 |  | 0 |  | 60 |  | 60 |  | 0
Grand Total: | [13 empty] | 75 | [6 empty] | 636.89 |  | 1324.29 |  | 60 |  | 2021.18 |  | 5.478
Project Details:
Project |  | Process |  | Activity |  |  | CU Action |  | CU Name | CU Description | [5 empty] | Labor |  | Labor Overhead |  | Material |  | Material Overhead |  | Service Cost |  | Service Cost Overhead |  | Total |  | Labor Cost %
KRSOH |  | RSOH |  | I |  |  | I | [8 empty] | 636.89 |  | 280.87 |  | 1324.29 |  | 225.12 |  | 60 |  | 26.46 |  | 2553.63 |  | 100%
[16 empty] | 0 |  | 280.87 |  | 0 |  | 225.12 |  | 0 |  | 26.46 |  | 532.45 |  | 30.6%
[9 empty] | BKT-EM-POLE-1P-FG-M | Bracket Equipment Mount Pole Single Phase Fiberglass | [5 empty] | 0 |  | 0 |  | 44.77 |  | 0 |  | 0 |  | 0 |  | 44.77 |  | 0%
[9 empty] | CADD-FLAGGING-M | Cost Adder flagging (per dollar) | [5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 60 |  | 0 |  | 60 |  | 5.975%
[9 empty] | CONN-OH-HLC-2/0CU-8CUSOL-M | Connector OH Hot Line Clamp 2/0CU-8CUSOL Line to 2/0CU-8CUSOL Tap | [5 empty] | 1.98 |  | 0 |  | 12.23 |  | 0 |  | 0 |  | 0 |  | 14.21 |  | 0.1972%
[9 empty] | CONN-OH-STRP-BLT-2/0CU-M | Connector OH Stirrup Bolted 2/0CU-6CU Line | [5 empty] | 1.98 |  | 0 |  | 27.4 |  | 0 |  | 0 |  | 0 |  | 29.38 |  | 0.1972%
[9 empty] | CONN-OH-TF-STEM-2POS-500AL-M | Connector OH Transformer Stem 1/2in stud to 2 position single set screw 500 AL | [5 empty] | 1.98 |  | 0 |  | 59.14 |  | 0 |  | 0 |  | 0 |  | 61.12 |  | 0.1972%
[9 empty] | FUSE-CUTOUT-100-15KV-POLY-EQUIP-M | (UOP) EQUIPMENT PROTECTION ONLY: 15kV 100A Non-Loadbreak Fuse Cutout with Polymer Insulator (Non-Mapable) | [5 empty] | 0 |  | 0 |  | 102.11 |  | 0 |  | 0 |  | 0 |  | 102.11 |  | 0%
[9 empty] | FUSE-LINK-5-D-M | Fuse Link 5 D | [5 empty] | 2.33 |  | 0 |  | 2.89 |  | 0 |  | 0 |  | 0 |  | 5.22 |  | 0.232%
[9 empty] | HDWR-MACH-SM-12IN-GALV-M | Hardware Machine Bolt 5/8in diameter 12in long Galvanized Steel | [5 empty] | 2.33 |  | 0 |  | 4.21 |  | 0 |  | 0 |  | 0 |  | 6.54 |  | 0.232%
[9 empty] | LEAD-TF-6-CU-COVER-M | Lead Trans/Reg/Cap 6 Copper Covered | [5 empty] | 1.98 |  | 0 |  | 5.57 |  | 0 |  | 0 |  | 0 |  | 7.55 |  | 0.1972%
[9 empty] | OLAB-BKT-EQUIP-1P-M | OH Labor Bracket equipment single phase | [5 empty] | 68.59 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 68.59 |  | 6.83%
[9 empty] | OLAB-CUTOUT-FUSE/SW-M | OH Labor Cutout fuse or switch (per cutout) | [5 empty] | 130.21 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 130.21 |  | 12.97%
[9 empty] | OLAB-TF-MD-1P-M | OH Labor Transformer 10kVA up to 50kVA single phase (per transformer) | [5 empty] | 425.51 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 425.51 |  | 42.37%
[9 empty] | TF-OH-25-12KV-120/240V-1P-M | (UOP) Pole Mount 25kVA Single Bushing Transformer for 12.47/7.2kV Primary and 120/240V Secondary | [5 empty] | 0 |  | 0 |  | 1065.97 |  | 0 |  | 0 |  | 0 |  | 1065.97 |  | 0%
Total | [15 empty] | 636.89 |  | 280.87 |  | 1324.29 |  | 225.12 |  | 60 |  | 26.46 |  | 2553.63 |  | 100%
Type | [5 empty] | Activity |  | Cost
Capital | [5 empty] | I |  | 2553.63
Total Cost | [7 empty] | 2553.63
Total CIAC:
Breakdown of cost by FERC Account
FERC | [5 empty] | Percentage
36500 | [5 empty] | 23.76 %
3.39 %
36800 | [5 empty] | 72.85 %
Breakdown of cost by Point/Span
| Point/Span |  | Cost |  | Percentage
| P1 |  | $2553.63 |  | 100 %