## Option 1
Option 1: Mitchell Unit 2 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Nameplate Capacity | 790 | 790 | 790 | 790 | 790 | 790 | 790 | 790 | 790 | 790 | 790 | 790 | 790 | 790
Accredited Capacity1 | 662.2833 | 664.9167 | 662.2833 | 655.7 | 651.0917 | 643.1917 | 639.9 | 635.2917 | 632 | ELCCs not Available
Annual Generation |  | See KPCO_R_KPSC_1_10_ConfidentialAttachment2 | [7 empty] | Not used in analysis
Sustaining Capital Expenditures | Not used in analysis
Fixed O&M | Not used in analysis
Non-fuel variable O&M | Not used in analysis
Heat Rate | Not used in analysis
Fuel Cost | Not used in analysis
Forced or random outage rate | Not forecasted nor used in analysis
1. Accredited Capacity based off PJM Forecasted ELCCs
| 26/27 | 27/28 | 28/29 | 29/30 | 30/31 | 31/32 | 32/33 | 33/34 | 34/35 | 35/36
PJM Coal ELCC | 0.85 | 0.83 | 0.85 | 0.83 | 0.83 | 0.82 | 0.81 | 0.81 | 0.8 | 0.8
26/27 Source | 26/27: https://www.pjm.com/-/media/DotCom/planning/res-adeq/elcc/2026-27-3ia-elcc-class-ratings.pdf
27/28 Source | 26/27: https://www.pjm.com/-/media/DotCom/planning/res-adeq/elcc/2027-28-bra-elcc-class-ratings.pdf
28/29 Source | 26/27: https://www.pjm.com/-/media/DotCom/planning/res-adeq/elcc/28-29-bra-elcc-class-ratings.pdf
29/30 + Souce | 26/27: https://www.pjm.com/-/media/DotCom/planning/res-adeq/elcc/preliminary-elcc-class-ratings.pdf

## Option 2
Option 2: Mitchell Unit 2 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Nameplate Capacity | 790 | 790 | 790 | 790 | 790 | 790 | 790 | 790 | 790 | 790 | 790 | 790 | 790 | 790
Accredited Capacity | 631 | Assumed Retired
Annual Generation | See KPCO_R_KPSC_1_10_ConfidentialAttachment3
Sustaining Capital Expenditures | Not used in analysis / Retired
Fixed O&M | See KPCO_R_KPSC_1_10_ConfidentialAttachment3
Non-fuel variable O&M
Heat Rate
Fuel Cost
Forced or random outage rate | Not forecasted nor used in analysis

## Option 3
Option 4: Mitchell Unit 2 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Nameplate Capacity | 790 | 790
Accredited Capacity1 | 662.2833 | 664.9167 | 659.7683 | 653.21 | 648.6192 | 640.7492 | 637.47 | 632.8792 | 629.6 | ELCCs not Available
Annual Generation |  | See KPCO_R_KPSC_1_10_ConfidentialAttachment4 | [7 empty] | Not used in analysis
Sustaining Capital Expenditures | Not used in analysis
Fixed O&M | See KPCO_R_KPSC_1_10_ConfidentialAttachment4 | [8 empty] | Not used in analysis
Non-fuel variable O&M | See KPCO_R_KPSC_1_10_ConfidentialAttachment4 | [8 empty] | Not used in analysis
Heat Rate | Not used in analysis
Fuel Cost | See KPCO_R_KPSC_1_10_ConfidentialAttachment4 | [8 empty] | Not used in analysis
Forced or random outage rate | Not forecasted nor used in analysis
1. Accredited Capacity based off PJM Forecasted ELCCs
| 26/27 | 27/28 | 28/29 | 29/30 | 30/31 | 31/32 | 32/33 | 33/34 | 34/35 | 35/36
PJM Coal ELCC | 0.85 | 0.83 | 0.85 | 0.83 | 0.83 | 0.82 | 0.81 | 0.81 | 0.8 | 0.8
26/27 Source | 26/27: https://www.pjm.com/-/media/DotCom/planning/res-adeq/elcc/2026-27-3ia-elcc-class-ratings.pdf
27/28 Source | 26/27: https://www.pjm.com/-/media/DotCom/planning/res-adeq/elcc/2027-28-bra-elcc-class-ratings.pdf
28/29 Source | 26/27: https://www.pjm.com/-/media/DotCom/planning/res-adeq/elcc/28-29-bra-elcc-class-ratings.pdf
29/30 + Souce | 26/27: https://www.pjm.com/-/media/DotCom/planning/res-adeq/elcc/preliminary-elcc-class-ratings.pdf

## Option 4
Option 4: Mitchell Unit 2 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Nameplate Capacity | 790
Accredited Capacity1 | 662.2833 | 656.5 | 653.9 | 647.4 | 642.85 | 635.05 | 631.8 | 627.25 | 624 | ELCCs not Available
Annual Generation |  | See KPCO_R_KPSC_1_10_ConfidentialAttachment5 | [7 empty] | Not used in analysis
Sustaining Capital Expenditures | Not used in analysis
Fixed O&M | See KPCO_R_KPSC_1_10_ConfidentialAttachment5 | [8 empty] | Not used in analysis
Non-fuel variable O&M | See KPCO_R_KPSC_1_10_ConfidentialAttachment5 | [8 empty] | Not used in analysis
Heat Rate | Not used in analysis
Fuel Cost | See KPCO_R_KPSC_1_10_ConfidentialAttachment5 | [8 empty] | Not used in analysis
Forced or random outage rate | Not forecasted nor used in analysis
1. Accredited Capacity based off PJM Forecasted ELCCs
| 26/27 | 27/28 | 28/29 | 29/30 | 30/31 | 31/32 | 32/33 | 33/34 | 34/35 | 35/36
PJM Coal ELCC | 0.85 | 0.83 | 0.85 | 0.83 | 0.83 | 0.82 | 0.81 | 0.81 | 0.8 | 0.8
26/27 Source | 26/27: https://www.pjm.com/-/media/DotCom/planning/res-adeq/elcc/2026-27-3ia-elcc-class-ratings.pdf
27/28 Source | 26/27: https://www.pjm.com/-/media/DotCom/planning/res-adeq/elcc/2027-28-bra-elcc-class-ratings.pdf
28/29 Source | 26/27: https://www.pjm.com/-/media/DotCom/planning/res-adeq/elcc/28-29-bra-elcc-class-ratings.pdf
29/30 + Souce | 26/27: https://www.pjm.com/-/media/DotCom/planning/res-adeq/elcc/preliminary-elcc-class-ratings.pdf