## KPCO Capacity Position
Operating Company | KPCO
Season | Annual
Planning Year | Internal Demand | Forecast Pool Requirement | Load Obligation (UCAP) | UCAP Resources | UCAP Sales | Net Position | Pre-LOA | LOA | ESA |  | 2026/2027 |  | 2027/2028 |  | 2028/2029 |  | 2029/2030 |  | 2030/2031 |  | 2031/2032 |  | 2032/2033 |  | 2033/2034 |  | 2034/2035 |  | 2035/2036 |  | 2036/2037 |  | 2037/2038 |  | 2038/2039 |  | 2039/2040 |  | 2040/2041
PY2026 | 890.4289 | 0.917 | 816.5233 | 851.2 | 21.1 | 14 | 0 |  |  |  | 2026 |  | 2027 |  | 2028 |  | 2029 |  | 2030 |  | 2031 |  | 2032 |  | 2033 |  | 2034 |  | 2035 |  | 2036 |  | 2037 |  | 2038 |  | 2039 |  | 2040
PY2027 | 888.9436 | 0.926 | 823.1617 | 834.7 | 0 | 12 | 0 |  |  |  | PY2026 |  | PY2027 |  | PY2028 |  | PY2029 |  | PY2030 |  | PY2031 |  | PY2032 |  | PY2033 |  | PY2034 |  | PY2035 |  | PY2036 |  | PY2037 |  | PY2038 |  | PY2039 |  | PY2040
PY2028 | 888.4084 | 0.9275 | 823.9988 | 833.8 | 0 | 10 | 0 |  |  | Capacity Contingency
PY2029 | 886.6371 | 0.9347 | 828.7397 | 522 | 0 | -307 | 0 |  |  | FPR Load Obligation (Sept 2025) | 816.5233 |  | 823.1617 |  | 823.9988 |  | 828.7397 |  | 826.5592 |  | 824.4252 |  | 793.0342 |  | 775.0614 |  | 745.5707 |  | 745.0741 |  | 743.4379 |  | 745.6683 |  | 746.2182 |  | 746.4406 |  | 741.5497
PY2030 | 889.1558 | 0.9296 | 826.5592 | 521.9 | 0 | -305 | 0 |  |  | Pre-LOA | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
PY2031 | 889.1558 | 0.9272 | 824.4252 | 521.7 |  | -303 | 0 |  |  | LOA | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
PY2032 | 861.0577 | 0.921 | 793.0342 | 518.1 |  | -275 | 0 |  |  | ESA | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
PY2033 | 861.275 | 0.8999 | 775.0614 | 518.1 |  | -257 | 0 |  |  | UCAP Sales | 21.1 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
PY2034 | 856.0922 | 0.8709 | 745.5707 | 514.6 |  | -231 | 0 |  |  | Mitchell 1 |  | 291.3 |  | 284.5 |  | 284.4 |  | 284.4 |  | 284.4 |  | 281 |  | 277.5 |  | 277.5 |  | 274.1 |  | 274.1 |  | 274.1 |  | 274.1 |  | 274.1 |  | 274.1 |  | 0
PY2035 | 855.522 | 0.8709 | 745.0741 | 514.6 |  | -230 | 0 |  |  | Mitchell 2 |  | 312.3 |  | 308.3 |  | 308.3 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
PY2036 | 853.6432 | 0.8709 | 743.4379 | 514.6 |  | -229 | 0 |  |  | Demand Response |  | 1.7 |  | 3.7 |  | 2.9 |  | 2.7 |  | 2.6 |  | 2.5 |  | 2.4 |  | 2.4 |  | 2.3 |  | 2.3 |  | 2.3 |  | 2.3 |  | 2.3 |  | 2.3 |  | 2.3
PY2037 | 856.2043 | 0.8709 | 745.6683 | 514.6 |  | -231 | 0 |  |  | Big Sandy 1 |  | 245.9 |  | 238.2 |  | 238.2 |  | 234.9 |  | 234.9 |  | 238.2 |  | 238.2 |  | 238.2 |  | 238.2 |  | 238.2 |  | 238.2 |  | 238.2 |  | 238.2 |  | 238.2 |  | 0
PY2038 | 856.8357 | 0.8709 | 746.2182 | 514.6 |  | -232 | 0 |  |  | Chart 1 Totals (Capacity) |  | 851.2 |  | 834.7 |  | 833.8 |  | 522 |  | 521.9 |  | 521.7 |  | 518.1 |  | 518.1 |  | 514.6 |  | 514.6 |  | 514.6 |  | 514.6 |  | 514.6 |  | 514.6 |  | 2.3
PY2039 | 857.0911 | 0.8709 | 746.4406 | 514.6 |  | -232 | 0 |  |  | Chart 2 Total (Load) | 837.6233 |  | 823.1617 |  | 823.9988 |  | 828.7397 |  | 826.5592 |  | 824.4252 |  | 793.0342 |  | 775.0614 |  | 745.5707 |  | 745.0741 |  | 743.4379 |  | 745.6683 |  | 746.2182 |  | 746.4406 |  | 741.5497
PY2040 | 851.4751 | 0.8709 | 741.5497 | 240.5 |  | -501 | 0 |  |  | Net Position (Surplus) | 13.5767 |  | 11.5383 |  | 9.8012
PY2041 | 853.0657 | 0.8709 | 742.9349 | 2.3 |  | -741 | 0 |  |  | Net Position (Shortfall) | [7 empty] | 306.7397 |  | 304.6592 |  | 302.7252 |  | 274.9342 |  | 256.9614 |  | 230.9707 |  | 230.4741 |  | 228.8379 |  | 231.0683 |  | 231.6182 |  | 231.8406 |  | 739.2497
PY2042 | 853.6099 | 0.8709 | 743.4088 | 2.3 |  | -741 | 0
PY2043 | 854.3954 | 0.8709 | 744.093 | 2.3 |  | -742 | 0
PY2044 | 853.3567 | 0.8709 | 743.1883 | 2.3 |  | -741 | 0
PY2045 | 851.4865 | 0.8709 | 741.5596 | 2.3 |  | -739 | 0
PY2046 | 852.2398 | 0.8709 | 742.2156 | 2.3 |  | -740 | 0
PY2047 | 853.1687 | 0.8709 | 743.0246 | 2.3 |  | -741 | 0
PY2048 | 852.9645 | 0.8709 | 742.8468 | 2.3 |  | -741 | 0
PY2049 | 856.1332 | 0.8709 | 745.6064 | 2.3 |  | -743 | 0
PY2050 | 857.5804 | 0.8709 | 746.8667 | 2.3 |  | -745 | 0
PY2051 | 854.7687 | 0.8709 | 744.4181 | 2.3 |  | -742 | 0
PY2052 | 854.2294 | 0.8709 | 743.9484 | 2.3 |  | -742 | 0
PY2053 | 857.6316 | 0.8709 | 746.9113 | 2.3 |  | -745 | 0
PY2054 | 859.2672 | 0.8709 | 748.3358 | 2.3 |  | -746 | 0
PY2055 | 860.497 | 0.8709 | 749.4068 | 2.3 |  | -747 | 0
PY2056 | 860.2391 | 0.8709 | 749.1823 | 2.3 |  | -747 | 0
PY2057 | 859.9281 | 0.8709 | 748.9114 | 2.3 |  | -747 | 0
PY2058 | 861.1291 | 0.8709 | 749.9573 | 2.3 |  | -748 | 0
PY2059 | 862.5963 | 0.8709 | 751.2351 | 2.3 |  | -749 | 0
PY2060 | 862.2872 | 0.8709 | 750.9659 | 2.3 |  | -749 | 0
PY2061 |  |  | 0 |  |  | 0 | 0
Season | Winter
Planning Year | Internal Demand | Forecast Pool Requirement | Load Obligation (UCAP) | UCAP Resources | UCAP Sales | Net Position | Pre-LOA | LOA | ESA
PY2026 | 890.4289 | 0.917 | 816.5233 | 851.2 | 21.1 | 14 | 0 | 0 |  |  | 2026/2027 |  | 2027/2028 |  | 2028/2029 |  | 2029/2030 |  | 2030/2031 |  | 2031/2032 |  | 2032/2033 |  | 2033/2034 |  | 2034/2035 |  | 2035/2036 |  | 2036/2037 |  | 2037/2038 |  | 2038/2039 |  | 2039/2040 |  | 2040/2041
PY2027 | 888.9436 | 0.926 | 823.1617 | 834.7 | 0 | 12 | 0 | 0 |  |  | 2026 |  | 2027 |  | 2028 |  | 2029 |  | 2030 |  | 2031 |  | 2032 |  | 2033 |  | 2034 |  | 2035 |  | 2036 |  | 2037 |  | 2038 |  | 2039 |  | 2040
PY2028 | 888.4084 | 0.9275 | 823.9988 | 833.8 | 0 | 10 | 0 | 0 |  |  | PY2026 |  | PY2027 |  | PY2028 |  | PY2029 |  | PY2030 |  | PY2031 |  | PY2032 |  | PY2033 |  | PY2034 |  | PY2035 |  | PY2036 |  | PY2037 |  | PY2038 |  | PY2039 |  | PY2040
PY2029 | 886.6371 | 0.9347 | 828.7397 | 522 | 0 | -307 | 0 | 0 |  | Capacity Contingency
PY2030 | 889.1558 | 0.9296 | 826.5592 | 521.9 | 0 | -305 | 0 | 0 |  | FPR Load Obligation (Sept 2025) | 816.5233 |  | 823.1617 |  | 823.9988 |  | 828.7397 |  | 826.5592 |  | 1115.5377 |  | 1001.2403 |  | 954.3799 |  | 922.5591 |  | 915.897 |  | 912.7564 |  | 906.6205 |  | 907.1825 |  | 903.5048 |  | 901.5053
PY2031 | 1203.1253 | 0.9272 | 1115.5377 | 514.8 | 0 | -601 | 0 | 0 |  | Pre-LOA | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
PY2032 | 1087.123 | 0.921 | 1001.2403 | 514.8 |  | -486 | 0 | 0 |  | LOA | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
PY2033 | 1060.5399 | 0.8999 | 954.3799 | 514.8 |  | -440 | 0 | 0 |  | ESA | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
PY2034 | 1059.317 | 0.8709 | 922.5591 | 514.8 |  | -408 | 0 | 0 |  | UCAP Sales | 21.1 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
PY2035 | 1051.6673 | 0.8709 | 915.897 | 514.8 |  | -401 | 0 | 0 |  | Mitchell 1 |  | 291.3 |  | 284.5 |  | 284.4 |  | 284.4 |  | 284.4 |  | 281 |  | 281 |  | 281 |  | 281 |  | 281 |  | 281 |  | 281 |  | 281 |  | 281 |  | 0
PY2036 | 1048.0611 | 0.8709 | 912.7564 | 514.8 |  | -398 | 0 | 0 |  | Mitchell 2 |  | 312.3 |  | 308.3 |  | 308.3 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
PY2037 | 1041.0156 | 0.8709 | 906.6205 | 514.8 |  | -392 | 0 | 0 |  | Demand Response |  | 1.7 |  | 3.7 |  | 2.9 |  | 2.7 |  | 2.6 |  | 2.2 |  | 2.2 |  | 2.2 |  | 2.2 |  | 2.2 |  | 2.2 |  | 2.2 |  | 2.2 |  | 2.2 |  | 2.2
PY2038 | 1041.661 | 0.8709 | 907.1825 | 514.8 |  | -392 | 0 | 0 |  | Big Sandy 1 |  | 245.9 |  | 238.2 |  | 238.2 |  | 234.9 |  | 234.9 |  | 231.6 |  | 231.6 |  | 231.6 |  | 231.6 |  | 231.6 |  | 231.6 |  | 231.6 |  | 231.6 |  | 231.6 |  | 0
PY2039 | 1037.4381 | 0.8709 | 903.5048 | 514.8 |  | -389 | 0 | 0 |  | Chart 1 Totals (Capacity) |  | 851.2 |  | 834.7 |  | 833.8 |  | 522 |  | 521.9 |  | 514.8 |  | 514.8 |  | 514.8 |  | 514.8 |  | 514.8 |  | 514.8 |  | 514.8 |  | 514.8 |  | 514.8 |  | 2.2
PY2040 | 1035.1421 | 0.8709 | 901.5053 | 233.8 |  | -668 | 0 | 0 |  | Chart 2 Total (Load) | 837.6233 |  | 823.1617 |  | 823.9988 |  | 828.7397 |  | 826.5592 |  | 1115.5377 |  | 1001.2403 |  | 954.3799 |  | 922.5591 |  | 915.897 |  | 912.7564 |  | 906.6205 |  | 907.1825 |  | 903.5048 |  | 901.5053
PY2041 | 1028.0932 | 0.8709 | 895.3663 | 2.2 |  | -893 | 0 | 0 |  | Net Position (Surplus) | 13.5767 |  | 11.5383 |  | 9.8012
PY2042 | 1026.2174 | 0.8709 | 893.7327 | 2.2 |  | -892 | 0 | 0 |  | Net Position (Shortfall) | [7 empty] | 306.7397 |  | 304.6592 |  | 600.7377 |  | 486.4403 |  | 439.5799 |  | 407.7591 |  | 401.097 |  | 397.9564 |  | 391.8205 |  | 392.3825 |  | 388.7048 |  | 899.3053
PY2043 | 1023.619 | 0.8709 | 891.4698 | 2.2 |  | -889 | 0 | 0
PY2044 | 1020.9124 | 0.8709 | 889.1126 | 2.2 |  | -887 | 0 | 0
PY2045 | 1014.5923 | 0.8709 | 883.6085 | 2.2 |  | -881 | 0 | 0
PY2046 | 1013.3994 | 0.8709 | 882.5695 | 2.2 |  | -880 | 0 | 0
PY2047 | 1010.4026 | 0.8709 | 879.9596 | 2.2 |  | -878 | 0 | 0
PY2048 | 1006.9299 | 0.8709 | 876.9353 | 2.2 |  | -875 | 0 | 0
PY2049 | 1002.0797 | 0.8709 | 872.7112 | 2.2 |  | -871 | 0 | 0
PY2050 | 1002.5651 | 0.8709 | 873.1339 | 2.2 |  | -871 | 0 | 0
PY2051 | 1000.1469 | 0.8709 | 871.028 | 2.2 |  | -869 | 0 | 0
PY2052 | 997.7882 | 0.8709 | 868.9737 | 2.2 |  | -867 | 0 | 0
PY2053 | 993.4223 | 0.8709 | 865.1715 | 2.2 |  | -863 | 0 | 0
PY2054 | 994.8527 | 0.8709 | 866.4173 | 2.2 |  | -864 | 0 | 0
PY2055 | 993.3706 | 0.8709 | 865.1264 | 2.2 |  | -863 | 0 | 0
PY2056 | 992.1051 | 0.8709 | 864.0243 | 2.2 |  | -862 | 0 | 0
PY2057 | 988.1344 | 0.8709 | 860.5663 | 2.2 |  | -858 | 0 | 0
PY2058 | 989.4566 | 0.8709 | 861.7178 | 2.2 |  | -860 | 0 | 0
PY2059 | 987.0999 | 0.8709 | 859.6653 | 2.2 |  | -857 | 0 | 0
PY2060 | 986.0418 | 0.8709 | 858.7438 | 2.2 |  | -857 | 0 | 0
PY2061 | 982.0924 |  | 0 |  |  | 0 | 0 | 0
Note on D3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: This includes the company peak load and the PJM required reserve capacity
Note on AE61: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Winter begins here
Note on A64: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Winter begins here

## Resource Table
Nameplate Capacity:
Resource Name: | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | Planning Year | Load Obligation | Accredited Resources
Big Sandy 1 | 295.4 | 295.4 | 295.4 | 295.4 | 295.4 | 295.4 | 295.4 | 295.4 | 295.4 | 295.4 | 295.4 | 295.4 | 295.4 | 295.4 | 295.4 | PY2026 | 816.5233 | 851.2
Mitchell 1 | 385.1 | 385.1 | 385 | 385 | 385 | 385 | 385 | 385 | 385 | 385 | 385 | 385 | 385 | 385 | 0 | PY2027 | 823.1617 | 834.7
Mitchell 2 | 395.1 | 395.1 | 395.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | PY2028 | 823.9988 | 833.8
AEPSCG AEP DR | 2.3 | 4 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | PY2029 | 828.7397 | 830.3
[16 empty] | PY2030 | 826.5592 | 830.2
[16 empty] | PY2031 | 824.4252 | 1114.2
Accredited Capacity: | [15 empty] | PY2032 | 793.0342 | 1115.9
Resource Name: | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | PY2033 | 775.0614 | 1124.9
Big Sandy 1 | 245.9 | 238.2 | 238.2 | 234.9 | 234.9 | 238.2 | 238.2 | 238.2 | 238.2 | 238.2 | 238.2 | 238.2 | 238.2 | 238.2 | 238.2 | PY2034 | 745.5707 | 1122.2
Mitchell 1 | 291.3 | 284.5 | 284.4 | 284.4 | 284.4 | 281 | 277.5 | 277.5 | 274.1 | 274.1 | 274.1 | 274.1 | 274.1 | 274.1 | 0 | PY2035 | 745.0741 | 1126.7
Mitchell 2 | 312.3 | 308.3 | 308.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | PY2036 | 743.4379 | 1126.7
AEPSCG AEP DR | 1.7 | 3.7 | 2.9 | 2.7 | 2.6 | 2.5 | 2.4 | 2.4 | 2.3 | 2.3 | 2.3 | 2.3 | 2.3 | 2.3 | 2.3 | PY2037 | 745.6683 | 1126.7
[16 empty] | PY2038 | 746.2182 | 1126.7
[16 empty] | PY2039 | 746.4406 | 1126.7
[16 empty] | PY2040 | 741.5497 | 555.5
This includes the company peak load and the PJM required reserve capacity

## UCAP Data_Winter
Resource ID: | Resource Type: | Resource: | OpCo: | Jurisdictional Allocation | Resource Grouping: | PY2026 | PY2027 | PY2028 | PY2029 | PY2030 | PY2031 | PY2032 | PY2033 | PY2034 | PY2035 | PY2036 | PY2037 | PY2038 | PY2039 | PY2040 | PY2041 | PY2042 | PY2043 | PY2044 | PY2045 | PY2046 | PY2047 | PY2048 | PY2049 | PY2050 | PY2051 | PY2052 | PY2053 | PY2054 | PY2055 | PY2056 | PY2057 | PY2058 | PY2059 | PY2060
89040101 | Steam | Big Sandy 1 | KPCO | N/A | Big Sandy 1 | 229.5 | 231.6 | 231.6 | 231.6 | 231.6 | 231.6 | 231.6 | 231.6 | 231.6 | 231.6 | 231.6 | 231.6 | 231.6 | 231.6 | 231.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
89280104 | Coal | Mitchell 1 | KPCO | N/A | Mitchell 1 | 281 | 281 | 281 | 281 | 281 | 281 | 281 | 281 | 281 | 281 | 281 | 281 | 281 | 281 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
89280105 | Coal | Mitchell 2 | KPCO | N/A | Mitchell 2 | 301.3 | 304.5 | 304.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2367103 | Demand Resource | AEPSCG AEP DR | KPCO | N/A | Demand Response | 1.4 | 2.5 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2
[6 empty] | 813.2 | 819.6 | 819.3 | 514.8 | 514.8 | 514.8 | 514.8 | 514.8 | 514.8 | 514.8 | 514.8 | 514.8 | 514.8 | 514.8 | 233.8 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2

## UCAP Data_Annual
Resource ID: | Resource Type: | Resource: | OpCo: | Jurisdictional Allocation | Resource Grouping: | PY2026 | PY2027 | PY2028 | PY2029 | PY2030 | PY2031 | PY2032 | PY2033 | PY2034 | PY2035 | PY2036 | PY2037 | PY2038 | PY2039 | PY2040 | PY2041 | PY2042 | PY2043 | PY2044 | PY2045 | PY2046 | PY2047 | PY2048 | PY2049 | PY2050 | PY2051 | PY2052 | PY2053 | PY2054 | PY2055 | PY2056 | PY2057 | PY2058 | PY2059 | PY2060
89040101 | Steam | Big Sandy 1 | KPCO | N/A | Big Sandy 1 | 245.9 | 238.2 | 238.2 | 234.9 | 234.9 | 238.2 | 238.2 | 238.2 | 238.2 | 238.2 | 238.2 | 238.2 | 238.2 | 238.2 | 238.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
89280104 | Coal | Mitchell 1 | KPCO | N/A | Mitchell 1 | 291.3 | 284.5 | 284.4 | 284.4 | 284.4 | 281 | 277.5 | 277.5 | 274.1 | 274.1 | 274.1 | 274.1 | 274.1 | 274.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
89280105 | Coal | Mitchell 2 | KPCO | N/A | Mitchell 2 | 312.3 | 308.3 | 308.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2367103 | Demand Resource | AEPSCG AEP DR | KPCO | N/A | Demand Response | 1.7 | 3.7 | 2.9 | 2.7 | 2.6 | 2.5 | 2.4 | 2.4 | 2.3 | 2.3 | 2.3 | 2.3 | 2.3 | 2.3 | 2.3 | 2.3 | 2.3 | 2.3 | 2.3 | 2.3 | 2.3 | 2.3 | 2.3 | 2.3 | 2.3 | 2.3 | 2.3 | 2.3 | 2.3 | 2.3 | 2.3 | 2.3 | 2.3 | 2.3 | 2.3
[6 empty] | 851.2 | 834.7 | 833.8 | 522 | 521.9 | 521.7 | 518.1 | 518.1 | 514.6 | 514.6 | 514.6 | 514.6 | 514.6 | 514.6 | 240.5 | 2.3 | 2.3 | 2.3 | 2.3 | 2.3 | 2.3 | 2.3 | 2.3 | 2.3 | 2.3 | 2.3 | 2.3 | 2.3 | 2.3 | 2.3 | 2.3 | 2.3 | 2.3 | 2.3 | 2.3

## ICAP Data
Resource ID: | Resource Type: | Resource: | OpCo: | Jurisdictional Allocation | Resource Grouping: | PY2026 | PY2027 | PY2028 | PY2029 | PY2030 | PY2031 | PY2032 | PY2033 | PY2034 | PY2035 | PY2036 | PY2037 | PY2038 | PY2039 | PY2040 | PY2041 | PY2042 | PY2043 | PY2044 | PY2045 | PY2046 | PY2047 | PY2048 | PY2049 | PY2050 | PY2051 | PY2052 | PY2053 | PY2054 | PY2055 | PY2056 | PY2057 | PY2058 | PY2059 | PY2060 | PY2061
89040101 | Steam | Big Sandy 1 | KPCO | N/A | Existing Capacity | 295.4 | 295.4 | 295.4 | 295.4 | 295.4 | 295.4 | 295.4 | 295.4 | 295.4 | 295.4 | 295.4 | 295.4 | 295.4 | 295.4 | 295.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
89280104 | Coal | Mitchell 1 | KPCO | N/A | Existing Capacity | 385.1 | 385.1 | 385 | 385 | 385 | 385 | 385 | 385 | 385 | 385 | 385 | 385 | 385 | 385 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
89280105 | Coal | Mitchell 2 | KPCO | N/A | Existing Capacity | 395.1 | 395.1 | 395.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2367103 | Demand Resource | AEPSCG AEP DR | KPCO | N/A | Demand Response | 2.3 | 4 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5

## ELCC_Annual
Resource ID: | Resource Type: | Resource: | OpCo: | Jurisdictional Allocation | Resource Grouping: | PY2026 | PY2027 | PY2028 | PY2029 | PY2030 | PY2031 | PY2032 | PY2033 | PY2034 | PY2035 | PY2036 | PY2037 | PY2038 | PY2039 | PY2040 | PY2041 | PY2042 | PY2043 | PY2044 | PY2045 | PY2046 | PY2047 | PY2048 | PY2049 | PY2050 | PY2051 | PY2052 | PY2053 | PY2054 | PY2055 | PY2056 | PY2057 | PY2058 | PY2059 | PY2060 | CO Check | PY2025 | PY2026 | PY2027 | PY2028 | PY2029
89040101 | Steam | Big Sandy 1 | KPCO |  | Existing Capacity | 0.75 | 0.72 | 0.72 | 0.71 | 0.71 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | 0.72 | #N/A | #N/A | 0 | 0 | 0 | 0
89280104 | Coal | Mitchell 1 | KPCO |  | Existing Capacity | 0.85 | 0.83 | 0.83 | 0.83 | 0.83 | 0.82 | 0.81 | 0.81 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | #N/A | #N/A | 0 | 0 | 0 | 0
89280105 | Coal | Mitchell 2 | KPCO |  | Existing Capacity | 0.85 | 0.83 | 0.83 | 0.83 | 0.83 | 0.82 | 0.81 | 0.81 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | #N/A | #N/A | 0 | 0 | 0 | 0
2367103 | Demand Resource | AEPSCG AEP DR | KPCO |  | Demand Response | 0.72 | 0.92 | 0.82 | 0.77 | 0.74 | 0.7 | 0.68 | 0.68 | 0.67 | 0.66 | 0.66 | 0.66 | 0.66 | 0.66 | 0.66 | 0.66 | 0.66 | 0.66 | 0.66 | 0.66 | 0.66 | 0.66 | 0.66 | 0.66 | 0.66 | 0.66 | 0.66 | 0.66 | 0.66 | 0.66 | 0.66 | 0.66 | 0.66 | 0.66 | 0.66 | #N/A | #N/A | 0 | 0 | 0 | 0

## ELCC_Winter
Resource ID: | Resource Type: | Resource: | OpCo: | Jurisdictional Allocation | Resource Grouping: | PY2026 | PY2027 | PY2028 | PY2029 | PY2030 | PY2031 | PY2032 | PY2033 | PY2034 | PY2035 | PY2036 | PY2037 | PY2038 | PY2039 | PY2040 | PY2041 | PY2042 | PY2043 | PY2044 | PY2045 | PY2046 | PY2047 | PY2048 | PY2049 | PY2050 | PY2051 | PY2052 | PY2053 | PY2054 | PY2055 | PY2056 | PY2057 | PY2058 | PY2059 | PY2060
89040101 | Steam | Big Sandy 1 | KPCO |  | Existing Capacity | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7
89280104 | Coal | Mitchell 1 | KPCO |  | Existing Capacity | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82
89280105 | Coal | Mitchell 2 | KPCO |  | Existing Capacity | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82 | 0.82
2367103 | Demand Resource | AEPSCG AEP DR | KPCO |  | Demand Response | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63

## PAF
Resource ID: | Resource Type: | Resource: | OpCo: | Jurisdictional Allocation | Resource Grouping: | PY2026 | PY2027 | PY2028 | PY2029 | PY2030 | PY2031 | PY2032 | PY2033 | PY2034 | PY2035 | PY2036 | PY2037 | PY2038 | PY2039 | PY2040 | PY2041 | PY2042 | PY2043 | PY2044 | PY2045 | PY2046 | PY2047 | PY2048 | PY2049 | PY2050 | PY2051 | PY2052 | PY2053 | PY2054 | PY2055 | PY2056 | PY2057 | PY2058 | PY2059 | PY2060 | CO Check | PY2025 | PY2026 | PY2027 | PY2028 | PY2029 | Comments
89040101 | Steam | Big Sandy 1 | KPCO |  | Existing Capacity | 1.11 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | #N/A | #N/A | 0 | 0 | 0 | 0
89280104 | Coal | Mitchell 1 | KPCO |  | Existing Capacity | 0.89 | 0.89 | 0.89 | 0.89 | 0.89 | 0.89 | 0.89 | 0.89 | 0.89 | 0.89 | 0.89 | 0.89 | 0.89 | 0.89 | 0.89 | 0.89 | 0.89 | 0.89 | 0.89 | 0.89 | 0.89 | 0.89 | 0.89 | 0.89 | 0.89 | 0.89 | 0.89 | 0.89 | 0.89 | 0.89 | 0.89 | 0.89 | 0.89 | 0.89 | 0.89 | #N/A | #N/A | 0 | 0 | 0 | 0
89280105 | Coal | Mitchell 2 | KPCO |  | Existing Capacity | 0.93 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | #N/A | #N/A | 0 | 0 | 0 | 0
2367103 | Demand Resource | AEPSCG AEP DR | KPCO |  | Demand Response | [35 empty] | #N/A | #N/A | 0 | 0 | 0 | 0 | bar: PY2026 to PY2060
[41 empty] | #N/A | #N/A | 0 | 0 | 0 | 0
Note on K1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 2029 held constant for the planning horizon

## CIR
Resource ID: | Resource Type: | Resource: | OpCo: | Jurisdictional Allocation | Resource Grouping: | PY2026 | PY2027 | PY2028 | PY2029 | PY2030 | PY2031 | PY2032 | PY2033 | PY2034 | PY2035 | PY2036 | PY2037 | PY2038 | PY2039 | PY2040 | PY2041 | PY2042 | PY2043 | PY2044 | PY2045 | PY2046 | PY2047 | PY2048 | PY2049 | PY2050 | PY2051 | PY2052 | PY2053 | PY2054 | PY2055 | PY2056 | PY2057 | PY2058 | PY2059 | PY2060 | CO Check | PY2026 | PY2027 | PY2028 | PY2029 | PY2030 | Comments
89040101 | Steam | Big Sandy 1 | KPCO |  | Existing Capacity | 295.4 | 295.4 | 295.4 | 295.4 | 295.4 | 295.4 | 295.4 | 295.4 | 295.4 | 295.4 | 295.4 | 295.4 | 295.4 | 295.4 | 295.4 | 295.4 | 295.4 | 295.4 | 295.4 | 295.4 | 295.4 | 295.4 | 295.4 | 295.4 | 295.4 | 295.4 | 295.4 | 295.4 | 295.4 | 295.4 | 295.4 | 295.4 | 295.4 | 295.4 | 295.4 | good | 0 | 0 | 0 | 0 | 0
89280104 | Coal | Mitchell 1 | KPCO |  | Existing Capacity | 770.1 | 770.1 | 770.1 | 770.1 | 770.1 | 770.1 | 770.1 | 770.1 | 770.1 | 770.1 | 770.1 | 770.1 | 770.1 | 770.1 | 770.1 | 770.1 | 770.1 | 770.1 | 770.1 | 770.1 | 770.1 | 770.1 | 770.1 | 770.1 | 770.1 | 770.1 | 770.1 | 770.1 | 770.1 | 770.1 | 770.1 | 770.1 | 770.1 | 770.1 | 770.1 | good | 0 | 0 | 0 | 0 | 0
89280105 | Coal | Mitchell 2 | KPCO |  | Existing Capacity | 790.2 | 790.2 | 790.2 | 790.2 | 790.2 | 790.2 | 790.2 | 790.2 | 790.2 | 790.2 | 790.2 | 790.2 | 790.2 | 790.2 | 790.2 | 790.2 | 790.2 | 790.2 | 790.2 | 790.2 | 790.2 | 790.2 | 790.2 | 790.2 | 790.2 | 790.2 | 790.2 | 790.2 | 790.2 | 790.2 | 790.2 | 790.2 | 790.2 | 790.2 | 790.2 | good | 0 | 0 | 0 | 0 | 0
2367103 | Demand Resource | AEPSCG AEP DR | KPCO |  | Demand Response | 2.3 | 4 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | bad | -2.3 | -4 | -3.5 | -3.5 | -3.5 | In CO report there is no CIR listed
Note on K1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 2029 held constant for the planning horizon

## ELCC Data
https://www.pjm.com/-/media/DotCom/planning/res-adeq/elcc/2027-28-bra-elcc-class-ratings.pdf
https://www.pjm.com/-/media/DotCom/planning/res-adeq/elcc/preliminary-elcc-class-ratings.pdf
https://www.pjm.com/-/media/DotCom/planning/res-adeq/elcc/2026-27-3ia-elcc-class-ratings.pdf
https://www.pjm.com/-/media/DotCom/planning/res-adeq/elcc/2025-26-3ia-elcc-class-ratings.pdf
Annual:
ELCC Class | PY2025 | PY2026 | PY2027 | PY2028 | PY2029 | PY2030 | PY2031 | PY2032 | PY2033 | PY2034 | PY2035 | PY2036 | PY2037 | PY2038 | PY2039 | PY2040 | PY2041 | PY2042 | PY2043 | PY2044 | PY2045 | PY2046 | PY2047 | PY2048 | PY2049 | PY2050 | PY2051 | PY2052 | PY2053 | PY2054 | PY2055 | PY2056 | PY2057 | PY2058 | PY2059 | PY2060
Onshore Wind | 38% | 38% | 41% | 37% | 35% | 34% | 31% | 26% | 22% | 20% | 19% | 19% | 19% | 19% | 19% | 19% | 19% | 19% | 19% | 19% | 19% | 19% | 19% | 19% | 19% | 19% | 19% | 19% | 19% | 19% | 19% | 19% | 19% | 19% | 19% | 19%
Offshore Wind | 62% | 64% | 67% | 61% | 57% | 53% | 47% | 38% | 32% | 28% | 26% | 26% | 26% | 26% | 26% | 26% | 26% | 26% | 26% | 26% | 26% | 26% | 26% | 26% | 26% | 26% | 26% | 26% | 26% | 26% | 26% | 26% | 26% | 26% | 26% | 26%
Fixed-Tilt Solar | 10% | 10% | 7% | 6% | 6% | 6% | 6% | 6% | 6% | 6% | 6% | 6% | 6% | 6% | 6% | 6% | 6% | 6% | 6% | 6% | 6% | 6% | 6% | 6% | 6% | 6% | 6% | 6% | 6% | 6% | 6% | 6% | 6% | 6% | 6% | 6%
Tracking Solar | 14% | 13% | 8% | 7% | 7% | 7% | 7% | 7% | 7% | 7% | 7% | 7% | 7% | 7% | 7% | 7% | 7% | 7% | 7% | 7% | 7% | 7% | 7% | 7% | 7% | 7% | 7% | 7% | 7% | 7% | 7% | 7% | 7% | 7% | 7% | 7%
Landfill Intermittent | 51% | 49% | 48% | 51% | 51% | 50% | 50% | 50% | 50% | 51% | 51% | 51% | 51% | 51% | 51% | 51% | 51% | 51% | 51% | 51% | 51% | 51% | 51% | 51% | 51% | 51% | 51% | 51% | 51% | 51% | 51% | 51% | 51% | 51% | 51% | 51%
Hydro Intermittent | 37% | 38% | 39% | 37% | 37% | 38% | 39% | 39% | 38% | 38% | 38% | 38% | 38% | 38% | 38% | 38% | 38% | 38% | 38% | 38% | 38% | 38% | 38% | 38% | 38% | 38% | 38% | 38% | 38% | 38% | 38% | 38% | 38% | 38% | 38% | 38%
4-hr Storage | 55% | 54% | 58% | 50% | 42% | 37% | 30% | 25% | 25% | 24% | 23% | 23% | 23% | 23% | 23% | 23% | 23% | 23% | 23% | 23% | 23% | 23% | 23% | 23% | 23% | 23% | 23% | 23% | 23% | 23% | 23% | 23% | 23% | 23% | 23% | 23%
6-hr Storage | 65% | 61% | 67% | 60% | 52% | 48% | 41% | 36% | 36% | 35% | 33% | 33% | 33% | 33% | 33% | 33% | 33% | 33% | 33% | 33% | 33% | 33% | 33% | 33% | 33% | 33% | 33% | 33% | 33% | 33% | 33% | 33% | 33% | 33% | 33% | 33%
8-hr Storage | 68% | 65% | 70% | 64% | 58% | 54% | 49% | 44% | 45% | 43% | 42% | 42% | 42% | 42% | 42% | 42% | 42% | 42% | 42% | 42% | 42% | 42% | 42% | 42% | 42% | 42% | 42% | 42% | 42% | 42% | 42% | 42% | 42% | 42% | 42% | 42%
10-hr Storage | 77% | 73% | 78% | 73% | 68% | 64% | 59% | 55% | 56% | 54% | 53% | 53% | 53% | 53% | 53% | 53% | 53% | 53% | 53% | 53% | 53% | 53% | 53% | 53% | 53% | 53% | 53% | 53% | 53% | 53% | 53% | 53% | 53% | 53% | 53% | 53%
Demand Resource | 77% | 72% | 92% | 82% | 77% | 74% | 70% | 68% | 68% | 67% | 66% | 66% | 66% | 66% | 66% | 66% | 66% | 66% | 66% | 66% | 66% | 66% | 66% | 66% | 66% | 66% | 66% | 66% | 66% | 66% | 66% | 66% | 66% | 66% | 66% | 66%
Nuclear | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 96% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95%
Coal | 83% | 85% | 83% | 83% | 83% | 83% | 82% | 81% | 81% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80%
Gas Combined Cycle | 78% | 77% | 74% | 75% | 75% | 75% | 76% | 77% | 78% | 78% | 78% | 78% | 78% | 78% | 78% | 78% | 78% | 78% | 78% | 78% | 78% | 78% | 78% | 78% | 78% | 78% | 78% | 78% | 78% | 78% | 78% | 78% | 78% | 78% | 78% | 78%
Gas CT | 63% | 63% | 61% | 61% | 62% | 63% | 64% | 66% | 68% | 69% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70%
Gas CT Dual Fuel | 79% | 79% | 77% | 77% | 77% | 77% | 78% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80%
Diesel Utility | 92% | 93% | 92% | 91% | 91% | 91% | 91% | 91% | 91% | 91% | 91% | 91% | 91% | 91% | 91% | 91% | 91% | 91% | 91% | 91% | 91% | 91% | 91% | 91% | 91% | 91% | 91% | 91% | 91% | 91% | 91% | 91% | 91% | 91% | 91% | 91%
Steam | 74% | 75% | 72% | 72% | 71% | 71% | 72% | 72% | 72% | 72% | 72% | 72% | 72% | 72% | 72% | 72% | 72% | 72% | 72% | 72% | 72% | 72% | 72% | 72% | 72% | 72% | 72% | 72% | 72% | 72% | 72% | 72% | 72% | 72% | 72% | 72%
The most recent official numbers for 2026/27 are here: https://www.pjm.com/-/media/DotCom/committees-groups/committees/pc/2025/20250313-special/2026-2027-irm-fpr-elcc-and-winter-risk.pdf
Winter
ELCC Class | PY2025 | PY2026 | PY2027 | PY2028 | PY2029 | PY2030 | PY2031 | PY2032 | PY2033 | PY2034 | PY2035 | PY2036 | PY2037 | PY2038 | PY2039 | PY2040 | PY2041 | PY2042 | PY2043 | PY2044 | PY2045 | PY2046 | PY2047 | PY2048 | PY2049 | PY2050 | PY2051 | PY2052 | PY2053 | PY2054 | PY2055 | PY2056 | PY2057 | PY2058 | PY2059 | PY2060
Onshore Wind | 46% | 46% | 46% | 46% | 46% | 46% | 46% | 46% | 46% | 46% | 46% | 46% | 46% | 46% | 46% | 46% | 46% | 46% | 46% | 46% | 46% | 46% | 46% | 46% | 46% | 46% | 46% | 46% | 46% | 46% | 46% | 46% | 46% | 46% | 46% | 46%
Offshore Wind | 77% | 77% | 77% | 77% | 77% | 77% | 77% | 77% | 77% | 77% | 77% | 77% | 77% | 77% | 77% | 77% | 77% | 77% | 77% | 77% | 77% | 77% | 77% | 77% | 77% | 77% | 77% | 77% | 77% | 77% | 77% | 77% | 77% | 77% | 77% | 77%
Fixed-Tilt Solar | bar: PY2025 to PY2060
Tracking Solar | bar: PY2025 to PY2060
Landfill Intermittent
Hydro Intermittent | 39% | 39% | 39% | 39% | 39% | 39% | 39% | 39% | 39% | 39% | 39% | 39% | 39% | 39% | 39% | 39% | 39% | 39% | 39% | 39% | 39% | 39% | 39% | 39% | 39% | 39% | 39% | 39% | 39% | 39% | 39% | 39% | 39% | 39% | 39% | 39%
4-hr Storage | 43% | 43% | 43% | 43% | 43% | 43% | 43% | 43% | 43% | 43% | 43% | 43% | 43% | 43% | 43% | 43% | 43% | 43% | 43% | 43% | 43% | 43% | 43% | 43% | 43% | 43% | 43% | 43% | 43% | 43% | 43% | 43% | 43% | 43% | 43% | 43%
6-hr Storage
8-hr Storage | 57% | 57% | 57% | 57% | 57% | 57% | 57% | 57% | 57% | 57% | 57% | 57% | 57% | 57% | 57% | 57% | 57% | 57% | 57% | 57% | 57% | 57% | 57% | 57% | 57% | 57% | 57% | 57% | 57% | 57% | 57% | 57% | 57% | 57% | 57% | 57%
10-hr Storage
Demand Resource | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63% | 63%
Nuclear | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95%
Coal | 82% | 82% | 82% | 82% | 82% | 82% | 82% | 82% | 82% | 82% | 82% | 82% | 82% | 82% | 82% | 82% | 82% | 82% | 82% | 82% | 82% | 82% | 82% | 82% | 82% | 82% | 82% | 82% | 82% | 82% | 82% | 82% | 82% | 82% | 82% | 82%
Gas Combined Cycle | 71% | 71% | 71% | 71% | 71% | 71% | 71% | 71% | 71% | 71% | 71% | 71% | 71% | 71% | 71% | 71% | 71% | 71% | 71% | 71% | 71% | 71% | 71% | 71% | 71% | 71% | 71% | 71% | 71% | 71% | 71% | 71% | 71% | 71% | 71% | 71%
Gas CT | 54% | 54% | 54% | 54% | 54% | 54% | 54% | 54% | 54% | 54% | 54% | 54% | 54% | 54% | 54% | 54% | 54% | 54% | 54% | 54% | 54% | 54% | 54% | 54% | 54% | 54% | 54% | 54% | 54% | 54% | 54% | 54% | 54% | 54% | 54% | 54%
Gas CT Dual Fuel | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75% | 75%
Diesel Utility | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90%
Steam | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70%
Note on C29: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Only available values are for 2026/27. Assume these values are constant for all other years.

## Load Forecast Table
Annual Sources:
Vintage: September 2025
Annual: | PY2026 | PY2027 | PY2028 | PY2029 | PY2030 | PY2031 | PY2032 | PY2033 | PY2034 | PY2035 | PY2036 | PY2037 | PY2038 | PY2039 | PY2040 | PY2041 | PY2042 | PY2043 | PY2044 | PY2045 | PY2046 | PY2047 | PY2048 | PY2049 | PY2050 | PY2051 | PY2052 | PY2053 | PY2054 | PY2055 | PY2056 | PY2057 | PY2058 | PY2059 | PY2060
KPCO | 890.4289 | 888.9436 | 888.4084 | 886.6371 | 889.1558 | 889.1558 | 861.0577 | 861.275 | 856.0922 | 855.522 | 853.6432 | 856.2043 | 856.8357 | 857.0911 | 851.4751 | 853.0657 | 853.6099 | 854.3954 | 853.3567 | 851.4865 | 852.2398 | 853.1687 | 852.9645 | 856.1332 | 857.5804 | 854.7687 | 854.2294 | 857.6316 | 859.2672 | 860.497 | 860.2391 | 859.9281 | 861.1291 | 862.5963 | 862.2872
Vintage: September 2025
Winter: | PY2026 | PY2027 | PY2028 | PY2029 | PY2030 | PY2031 | PY2032 | PY2033 | PY2034 | PY2035 | PY2036 | PY2037 | PY2038 | PY2039 | PY2040 | PY2041 | PY2042 | PY2043 | PY2044 | PY2045 | PY2046 | PY2047 | PY2048 | PY2049 | PY2050 | PY2051 | PY2052 | PY2053 | PY2054 | PY2055 | PY2056 | PY2057 | PY2058 | PY2059 | PY2060
KPCO | 1204.845 | 1202.8386 | 1202.1158 | 1199.7231 | 1203.1253 | 1087.123 | 1060.5399 | 1059.317 | 1051.6673 | 1048.0611 | 1041.0156 | 1041.661 | 1037.4381 | 1035.1421 | 1028.0932 | 1026.2174 | 1023.619 | 1020.9124 | 1014.5923 | 1013.3994 | 1010.4026 | 1006.9299 | 1002.0797 | 1002.5651 | 1000.1469 | 997.7882 | 993.4223 | 994.8527 | 993.3706 | 992.1051 | 988.1344 | 989.4566 | 987.0999 | 986.0418 | 982.0924

## Misc Input
| PY2025 | PY2026 | PY2027 | PY2028 | PY2029 | PY2030 | PY2031 | PY2032 | PY2033 | PY2034 | PY2035 | PY2036 | PY2037 | PY2038 | PY2039 | PY2040 | PY2041 | PY2042 | PY2043 | PY2044 | PY2045 | PY2046 | PY2047 | PY2048 | PY2049 | PY2050 | PY2051 | PY2052 | PY2053 | PY2054 | PY2055 | PY2056 | PY2057 | PY2058 | PY2059 | PY2060
FPR | 0.938 | 0.917 | 0.926 | 0.9275 | 0.9347 | 0.9296 | 0.9272 | 0.921 | 0.8999 | 0.8709 | 0.8709 | 0.8709 | 0.8709 | 0.8709 | 0.8709 | 0.8709 | 0.8709 | 0.8709 | 0.8709 | 0.8709 | 0.8709 | 0.8709 | 0.8709 | 0.8709 | 0.8709 | 0.8709 | 0.8709 | 0.8709 | 0.8709 | 0.8709 | 0.8709 | 0.8709 | 0.8709 | 0.8709 | 0.8709 | 0.8709
KPCO PJM Diversity Factor | PY2025: 0.93788