## STAFF-DR-01-005
| Reagent | October 25 | November 25 | Variance | Explanation
1 | Ammonia | 0 | 28518.49 | 100% | Station was in planned fall outage from 9/6/25 to 11/8/25
2 | Lime | 0 | 1357999.4 | 100% | Station was in planned fall outage from 9/6/25 to 11/8/25
3 | Hydrated Lime | 4091.48 | 22967.56 | 461.4% | Station was in planned fall outage from 9/6/25 to 11/8/25
4 | Magnesium Hydroxide | 0 | 0 | 0%
5 | pH Control Treatment | 0 | 0 | 0%
6 | Total | 4091.48 | 1409485.45
| Reagent | November 25 | December 25 | Variance | Explanation
7 | Ammonia | 28518.49 | 24493.19 | -14.11% | The station received 22% less ammonia in December than November due to ammonia tank maintenance.
8 | Lime | 1357999.4 | 2181883.9 | 60.67% | The station had a 41% increase service hours and 52% increase net generation in December.
9 | Hydrated Lime | 22967.56 | 64050.44 | 178.9% | The station had a 41% increase service hours and 52% increase net generation in December. There were 6 more hydrated lime trucks received in December than November.
10 | Magnesium Hydroxide | 0 | 0 | 0%
11 | pH Control Treatment | 0 | 0 | 0%
12 | Total | 1409485.45 | 2270427.53
| Reagent | December 25 | January 26 | Variance | Explanation
13 | Ammonia | 24493.19 | 101625.65 | 314.9% | The station received 5 more ammonia trucks in January than December. Filling tank after fall outage and maintenance on unloading valves.
14 | Lime | 2181883.9 | 1751211 | -19.74% | Lime expense was higher in December than in January due to increased consumption and higher unit costs.
15 | Hydrated Lime | 64050.44 | 28884.09 | -54.9% | Received three less hydrated lime trucks in January than December due to system maintenance limiting lime flow.
16 | Magnesium Hydroxide | 0 | 0 | 0%
17 | pH Control Treatment | 0 | 0 | 0%
18 | Total | 2270427.53 | 1881720.74
| Reagent | January 26 | February 26 | Variance | Explanation
19 | Ammonia | 101625.65 | 27014.14 | -73.42% | The amount of ammonia trucks received was reduced to a normal level after filling the tank in January.
20 | Lime | 1751211 | 1513512.53 | -13.57% | The station's net generations was -11.79% in February than January.
21 | Hydrated Lime | 28884.09 | 22271.55 | -22.89% | The station's net generations was -11.79% in February than January. System maintenance resulted in fewer trucks being unloaded.
22 | Magnesium Hydroxide | 0 | 0 | 0%
23 | pH Control Treatment | 0 | 0 | 0%
24 | Total | 1881720.74 | 1562798.22
| Reagent | February 26 | March 26 | Variance | Explanation
25 | Ammonia | 27014.14 | 42082.43 | 55.78% | The station received 1 more truck for ammonia in March than February.
26 | Lime | 1513512.53 | 1501605.41 | -0.7867%
27 | Hydrated Lime | 22271.55 | 21274.05 | -4.479%
28 | Magnesium Hydroxide | 0 | 0 | 0%
29 | pH Control Treatment | 0 | 0 | 0%
30 | Total | 1562798.22 | 1564961.89