## Notes
2002-03-25 | Model in MetrixND resulted in a scaler decline in heat beginning in 2001 and continuing thru 2022. The problem was visible when looking at xresheat, not just heat use. XRESHEAT uses resindices. Looking there showed the resindices are based on 1998. Actual saturations for Owen for HPheat for 1998 showed a 26.2% compared to a consistent 18% prior and post. Gived 1998 was the base, I edited 1998 to 18.5%. In addition, I added 4% to all years past 2002 where there was a decline that could be attributed to sampling error in the end-use survey. These 2 edits fixed the model.

## ResIndices
Year | Month | Heating | Cooling | NonHVAC | EWHeat | OtherIndex
1985 | 6 | 2591.927 | 1386.5281 | 620.3663 | 211.2081 | 409.1582
1985 | 7 | 2599.7594 | 1387.6302 | 590.8049 | 179.5269 | 411.278
1985 | 8 | 2607.5917 | 1388.7323 | 583.3444 | 168.9665 | 414.378
1985 | 9 | 2615.4241 | 1389.8343 | 601.5218 | 190.0873 | 411.4345
1985 | 10 | 2623.2564 | 1390.9364 | 628.0623 | 211.2081 | 416.8542
1985 | 11 | 2631.0888 | 1392.0385 | 655.0489 | 232.3289 | 422.72
1985 | 12 | 2638.9211 | 1393.1405 | 690.3541 | 264.0101 | 426.344
1986 | 1 | 2646.7535 | 1394.2426 | 709.5986 | 276.4935 | 433.1051
1986 | 2 | 2654.5858 | 1395.3447 | 695.7238 | 265.8592 | 429.8646
1986 | 3 | 2662.4182 | 1396.4467 | 681.9251 | 255.2248 | 426.7003
1986 | 4 | 2670.2505 | 1397.5488 | 656.1522 | 233.9561 | 422.1962
1986 | 5 | 2678.0829 | 1398.6509 | 640.5716 | 223.3217 | 417.2499
1986 | 6 | 2685.9152 | 1399.7529 | 626.632 | 212.6873 | 413.9447
1986 | 7 | 2696.379 | 1401.9719 | 596.9199 | 180.7842 | 416.1357
1986 | 8 | 2706.8428 | 1404.1908 | 589.4011 | 170.1499 | 419.2512
1986 | 9 | 2717.3066 | 1406.4097 | 607.611 | 191.4186 | 416.1924
1986 | 10 | 2727.7704 | 1408.6287 | 634.2841 | 212.6873 | 421.5968
1986 | 11 | 2738.2343 | 1410.8476 | 661.4081 | 233.9561 | 427.452
1986 | 12 | 2748.6981 | 1413.0666 | 696.9289 | 265.8592 | 431.0697
1987 | 1 | 2759.1619 | 1415.2855 | 716.1312 | 278.2286 | 437.9027
1987 | 2 | 2769.6257 | 1417.5044 | 702.1881 | 267.5275 | 434.6606
1987 | 3 | 2780.0895 | 1419.7234 | 688.3226 | 256.8264 | 431.4962
1987 | 4 | 2790.5533 | 1421.9423 | 662.4094 | 235.4242 | 426.9852
1987 | 5 | 2801.0171 | 1424.1613 | 646.775 | 224.7231 | 422.052
1987 | 6 | 2811.4809 | 1426.3802 | 632.8215 | 214.022 | 418.7995
1987 | 7 | 2833.7967 | 1429.7125 | 602.9771 | 181.9187 | 421.0584
1987 | 8 | 2856.1125 | 1433.0448 | 595.4072 | 171.2176 | 424.1896
1987 | 9 | 2878.4284 | 1436.3771 | 613.6405 | 192.6198 | 421.0207
1987 | 10 | 2900.7442 | 1439.7093 | 640.4342 | 214.022 | 426.4122
1987 | 11 | 2923.06 | 1443.0416 | 667.6832 | 235.4242 | 432.259
1987 | 12 | 2945.3758 | 1446.3739 | 703.3992 | 267.5275 | 435.8717
1988 | 1 | 2967.6916 | 1449.7062 | 723.4132 | 280.6252 | 442.7881
1988 | 2 | 2990.0074 | 1453.0385 | 709.3755 | 269.8319 | 439.5436
1988 | 3 | 3012.3232 | 1456.3708 | 695.4165 | 259.0386 | 436.3779
1988 | 4 | 3034.639 | 1459.703 | 669.311 | 237.4521 | 431.8589
1988 | 5 | 3056.9548 | 1463.0353 | 653.595 | 226.6588 | 426.9362
1988 | 6 | 3079.2707 | 1466.3676 | 639.5977 | 215.8655 | 423.7322
1988 | 7 | 3088.9684 | 1467.6578 | 609.5408 | 183.4857 | 426.0551
1988 | 8 | 3098.6661 | 1468.9479 | 601.8944 | 172.6924 | 429.202
1988 | 9 | 3108.3638 | 1470.2381 | 620.2081 | 194.279 | 425.9292
1988 | 10 | 3118.0615 | 1471.5283 | 647.1762 | 215.8655 | 431.3107
1988 | 11 | 3127.7592 | 1472.8184 | 674.6035 | 237.4521 | 437.1515
1988 | 12 | 3137.4569 | 1474.1086 | 710.5926 | 269.8319 | 440.7607
1989 | 1 | 3147.1546 | 1475.3987 | 730.6559 | 282.8847 | 447.7712
1989 | 2 | 3156.8523 | 1476.6889 | 716.5276 | 272.0046 | 444.5231
1989 | 3 | 3166.55 | 1477.979 | 702.4793 | 261.1244 | 441.3549
1989 | 4 | 3176.2477 | 1479.2692 | 676.1906 | 239.364 | 436.8266
1989 | 5 | 3185.9454 | 1480.5594 | 660.3956 | 228.4838 | 431.9118
1989 | 6 | 3195.6431 | 1481.8495 | 646.3546 | 217.6036 | 428.751
1989 | 7 | 3205.1243 | 1484.4984 | 616.0965 | 184.9631 | 431.1334
1989 | 8 | 3214.6056 | 1487.1473 | 608.3791 | 174.0829 | 434.2961
1989 | 9 | 3224.0868 | 1489.7962 | 626.7697 | 195.8433 | 430.9264
1989 | 10 | 3233.568 | 1492.4451 | 653.9048 | 217.6036 | 436.3011
1989 | 11 | 3243.0493 | 1495.094 | 681.5028 | 239.364 | 442.1388
1989 | 12 | 3252.5305 | 1497.7429 | 717.7509 | 272.0046 | 445.7464
1990 | 1 | 3262.0117 | 1500.3918 | 733.9842 | 281.1178 | 452.8664
1990 | 2 | 3271.493 | 1503.0407 | 719.9192 | 270.3056 | 449.6136
1990 | 3 | 3280.9742 | 1505.6896 | 705.9348 | 259.4934 | 446.4414
1990 | 4 | 3290.4554 | 1508.3385 | 679.7712 | 237.8689 | 441.9023
1990 | 5 | 3299.9367 | 1510.9873 | 664.0487 | 227.0567 | 436.992
1990 | 6 | 3309.4179 | 1513.6362 | 650.113 | 216.2445 | 433.8685
1990 | 7 | 3314.6219 | 1514.2108 | 620.113 | 183.8078 | 436.3052
1990 | 8 | 3319.8259 | 1514.7853 | 612.4795 | 172.9956 | 439.4839
1990 | 9 | 3325.0299 | 1515.3598 | 630.6456 | 194.62 | 436.0256
1990 | 10 | 3330.2339 | 1515.9344 | 657.6418 | 216.2445 | 441.3973
1990 | 11 | 3335.4379 | 1516.5089 | 685.1039 | 237.8689 | 447.235
1990 | 12 | 3340.6419 | 1517.0834 | 721.1486 | 270.3056 | 450.843
1991 | 1 | 3345.8458 | 1517.658 | 737.4669 | 279.3516 | 458.1153
1991 | 2 | 3351.0498 | 1518.2325 | 723.4637 | 268.6073 | 454.8564
1991 | 3 | 3356.2538 | 1518.807 | 709.5415 | 257.863 | 451.6785
1991 | 4 | 3361.4578 | 1519.3816 | 683.5013 | 236.3744 | 447.1268
1991 | 5 | 3366.6618 | 1519.9561 | 667.8476 | 225.6301 | 442.2174
1991 | 6 | 3371.8658 | 1520.5306 | 654.0101 | 214.8858 | 439.1242
1991 | 7 | 3380.8924 | 1520.4281 | 624.2622 | 182.653 | 441.6092
1991 | 8 | 3389.919 | 1520.3255 | 616.7125 | 171.9087 | 444.8038
1991 | 9 | 3398.9456 | 1520.223 | 634.6639 | 193.3973 | 441.2667
1991 | 10 | 3407.9721 | 1520.1205 | 661.5255 | 214.8858 | 446.6397
1991 | 11 | 3416.9987 | 1520.0179 | 688.8556 | 236.3744 | 452.4812
1991 | 12 | 3426.0253 | 1519.9154 | 724.6993 | 268.6073 | 456.092
1992 | 1 | 3435.0519 | 1519.8128 | 736.8568 | 273.352 | 463.5048
1992 | 2 | 3444.0785 | 1519.7103 | 723.0765 | 262.8384 | 460.2381
1992 | 3 | 3453.1051 | 1519.6077 | 709.3775 | 252.3249 | 457.0526
1992 | 4 | 3462.1316 | 1519.5052 | 683.7842 | 231.2978 | 452.4864
1992 | 5 | 3471.1582 | 1519.4026 | 668.3578 | 220.7843 | 447.5735
1992 | 6 | 3480.1848 | 1519.3001 | 654.7735 | 210.2708 | 444.5027
1992 | 7 | 3490.5417 | 1518.2601 | 625.759 | 178.7301 | 447.0289
1992 | 8 | 3500.8986 | 1517.2202 | 618.4562 | 168.2166 | 450.2396
1992 | 9 | 3511.2555 | 1516.1802 | 635.8783 | 189.2437 | 446.6346
1992 | 10 | 3521.6125 | 1515.1403 | 662.2847 | 210.2708 | 452.014
1992 | 11 | 3531.9694 | 1514.1003 | 689.1614 | 231.2978 | 457.8636
1992 | 12 | 3542.3263 | 1513.0603 | 724.3183 | 262.8384 | 461.4799
1993 | 1 | 3552.6832 | 1512.0204 | 736.5892 | 267.5205 | 469.0687
1993 | 2 | 3563.0401 | 1510.9804 | 723.0236 | 257.2312 | 465.7923
1993 | 3 | 3573.397 | 1509.9405 | 709.5389 | 246.942 | 462.5969
1993 | 4 | 3583.7539 | 1508.9005 | 684.3773 | 226.3635 | 458.0138
1993 | 5 | 3594.1108 | 1507.8606 | 669.1668 | 216.0742 | 453.0926
1993 | 6 | 3604.4678 | 1506.8206 | 655.8197 | 205.785 | 450.0348
1993 | 7 | 3609.8842 | 1504.2631 | 627.5111 | 174.9172 | 452.5939
1993 | 8 | 3615.3007 | 1501.7056 | 620.4487 | 164.628 | 455.8207
1993 | 9 | 3620.7172 | 1499.148 | 637.3676 | 185.2065 | 452.1612
1993 | 10 | 3626.1336 | 1496.5905 | 663.3377 | 205.785 | 457.5527
1993 | 11 | 3631.5501 | 1494.033 | 689.7789 | 226.3635 | 463.4154
1993 | 12 | 3636.9666 | 1491.4755 | 724.2717 | 257.2312 | 467.0404
1994 | 1 | 3642.383 | 1488.9179 | 739.9529 | 265.3769 | 474.576
1994 | 2 | 3647.7995 | 1486.3604 | 726.4501 | 255.1701 | 471.2799
1994 | 3 | 3653.216 | 1483.8029 | 713.0313 | 244.9633 | 468.068
1994 | 4 | 3658.6324 | 1481.2454 | 688.0111 | 224.5497 | 463.4614
1994 | 5 | 3664.0489 | 1478.6878 | 672.853 | 214.3429 | 458.5101
1994 | 6 | 3669.4654 | 1476.1303 | 659.5668 | 204.1361 | 455.4307
1994 | 7 | 3682.7539 | 1475.5095 | 631.5209 | 173.5157 | 458.0052
1994 | 8 | 3696.0425 | 1474.8886 | 624.5571 | 163.3089 | 461.2482
1994 | 9 | 3709.3311 | 1474.2678 | 641.2956 | 183.7225 | 457.5731
1994 | 10 | 3722.6197 | 1473.6469 | 667.1276 | 204.1361 | 462.9915
1994 | 11 | 3735.9082 | 1473.0261 | 693.4387 | 224.5497 | 468.8889
1994 | 12 | 3749.1968 | 1472.4052 | 727.7044 | 255.1701 | 472.5343
1995 | 1 | 3762.4854 | 1471.7844 | 742.0983 | 262.7883 | 479.3099
1995 | 2 | 3775.7739 | 1471.1636 | 728.6577 | 252.6811 | 475.9766
1995 | 3 | 3789.0625 | 1470.5427 | 715.3039 | 242.5738 | 472.7301
1995 | 4 | 3802.3511 | 1469.9219 | 690.4413 | 222.3594 | 468.0819
1995 | 5 | 3815.6396 | 1469.301 | 675.3084 | 212.2521 | 463.0563
1995 | 6 | 3828.9282 | 1468.6802 | 662.0199 | 202.1449 | 459.875
1995 | 7 | 3834.3122 | 1467.483 | 634.2244 | 171.8231 | 462.4013
1995 | 8 | 3839.6963 | 1466.2858 | 627.3765 | 161.7159 | 465.6606
1995 | 9 | 3845.0803 | 1465.0887 | 644.008 | 181.9304 | 462.0776
1995 | 10 | 3850.4643 | 1463.8915 | 669.7131 | 202.1449 | 467.5682
1995 | 11 | 3855.8483 | 1462.6943 | 695.9042 | 222.3594 | 473.5448
1995 | 12 | 3861.2324 | 1461.4972 | 729.9183 | 252.6811 | 477.2373
1996 | 1 | 3866.6164 | 1460.3 | 739.8386 | 256.629 | 483.2096
1996 | 2 | 3872.0004 | 1459.1028 | 726.5963 | 246.7586 | 479.8376
1996 | 3 | 3877.3844 | 1457.9056 | 713.4192 | 236.8883 | 476.5309
1996 | 4 | 3882.7685 | 1456.7085 | 688.9631 | 217.1476 | 471.8155
1996 | 5 | 3888.1525 | 1455.5113 | 673.9651 | 207.2773 | 466.6879
1996 | 6 | 3893.5365 | 1454.3141 | 660.733 | 197.4069 | 463.3261
1996 | 7 | 3893.1188 | 1453.6935 | 633.4742 | 167.7959 | 465.6783
1996 | 8 | 3892.7011 | 1453.0728 | 626.8796 | 157.9255 | 468.954
1996 | 9 | 3892.2835 | 1452.4522 | 643.2827 | 177.6662 | 465.6165
1996 | 10 | 3891.8658 | 1451.8315 | 668.6624 | 197.4069 | 471.2555
1996 | 11 | 3891.4481 | 1451.2108 | 694.4864 | 217.1476 | 477.3388
1996 | 12 | 3891.0304 | 1450.5902 | 727.8633 | 246.7586 | 481.1046
1997 | 1 | 3890.6127 | 1449.9695 | 738.9438 | 251.4465 | 487.4974
1997 | 2 | 3890.195 | 1449.3489 | 725.8583 | 241.7754 | 484.0828
1997 | 3 | 3889.7774 | 1448.7282 | 712.8168 | 232.1044 | 480.7124
1997 | 4 | 3889.3597 | 1448.1076 | 688.6886 | 212.7624 | 475.9262
1997 | 5 | 3888.942 | 1447.4869 | 673.7786 | 203.0914 | 470.6872
1997 | 6 | 3888.5243 | 1446.8662 | 660.5492 | 193.4203 | 467.1289
1997 | 7 | 3881.194 | 1446.2263 | 633.7034 | 164.4073 | 469.2961
1997 | 8 | 3873.8636 | 1445.5863 | 627.3245 | 154.7363 | 472.5882
1997 | 9 | 3866.5333 | 1444.9464 | 643.5947 | 174.0783 | 469.5164
1997 | 10 | 3859.203 | 1444.3064 | 668.7324 | 193.4203 | 475.312
1997 | 11 | 3851.8726 | 1443.6665 | 694.2739 | 212.7624 | 481.5115
1997 | 12 | 3844.5423 | 1443.0265 | 727.1316 | 241.7754 | 485.3562
1998 | 1 | 3837.212 | 1442.3866 | 737.7092 | 245.4195 | 492.2897
1998 | 2 | 3829.8816 | 1441.7466 | 724.8217 | 235.9803 | 488.8415
1998 | 3 | 3822.5513 | 1441.1067 | 711.9514 | 226.5411 | 485.4104
1998 | 4 | 3815.2209 | 1440.4667 | 688.2191 | 207.6626 | 480.5564
1998 | 5 | 3807.8906 | 1439.8268 | 673.446 | 198.2234 | 475.2226
1998 | 6 | 3800.5603 | 1439.1868 | 660.2746 | 188.7842 | 471.4904
1998 | 7 | 3784.5839 | 1438.5325 | 633.9414 | 160.4666 | 473.4748
1998 | 8 | 3768.6075 | 1437.8782 | 627.8109 | 151.0274 | 476.7835
1998 | 9 | 3752.6312 | 1437.224 | 643.8642 | 169.9058 | 473.9584
1998 | 10 | 3736.6548 | 1436.5697 | 668.6903 | 188.7842 | 479.9061
1998 | 11 | 3720.6785 | 1435.9154 | 693.8679 | 207.6626 | 486.2053
1998 | 12 | 3704.7021 | 1435.2611 | 726.1015 | 235.9803 | 490.1212
1999 | 1 | 3688.7257 | 1434.6068 | 737.5595 | 239.426 | 498.1335
1999 | 2 | 3672.7494 | 1433.9526 | 724.8643 | 230.2173 | 494.647
1999 | 3 | 3656.773 | 1433.2983 | 712.1592 | 221.0086 | 491.1506
1999 | 4 | 3640.7966 | 1432.644 | 688.8154 | 202.5912 | 486.2241
1999 | 5 | 3624.8203 | 1431.9897 | 674.1665 | 193.3826 | 480.784
1999 | 6 | 3608.8439 | 1431.3354 | 661.0311 | 184.1739 | 476.8573
1999 | 7 | 3592.9959 | 1430.672 | 635.1902 | 156.5478 | 478.6425
1999 | 8 | 3577.1479 | 1430.0085 | 629.3069 | 147.3391 | 481.9678
1999 | 9 | 3561.2998 | 1429.3451 | 645.1737 | 165.7565 | 479.4172
1999 | 10 | 3545.4518 | 1428.6817 | 669.7025 | 184.1739 | 485.5286
1999 | 11 | 3529.6038 | 1428.0182 | 694.5302 | 202.5912 | 491.939
1999 | 12 | 3513.7558 | 1427.3548 | 726.1505 | 230.2173 | 495.9332
2000 | 1 | 3497.9078 | 1426.6914 | 738.1164 | 233.4658 | 504.6506
2000 | 2 | 3482.0597 | 1426.0279 | 725.608 | 224.4863 | 501.1216
2000 | 3 | 3466.2117 | 1425.3645 | 713.0629 | 215.5069 | 497.5561
2000 | 4 | 3450.3637 | 1424.701 | 690.1012 | 197.548 | 492.5532
2000 | 5 | 3434.5157 | 1424.0376 | 675.5653 | 188.5685 | 486.9968
2000 | 6 | 3418.6677 | 1423.3742 | 662.4472 | 179.5891 | 482.8581
2000 | 7 | 3402.9587 | 1422.7068 | 637.0824 | 152.6507 | 484.4317
2000 | 8 | 3387.2498 | 1422.0395 | 631.445 | 143.6713 | 487.7737
2000 | 9 | 3371.5409 | 1421.3722 | 647.1501 | 161.6302 | 485.5199
2000 | 10 | 3355.8319 | 1420.7049 | 671.3934 | 179.5891 | 491.8044
2000 | 11 | 3340.123 | 1420.0375 | 695.8839 | 197.548 | 498.3359
2000 | 12 | 3324.414 | 1419.3702 | 726.9006 | 224.4863 | 502.4143
2001 | 1 | 3308.7051 | 1418.7029 | 738.6506 | 227.5385 | 511.1121
2001 | 2 | 3292.9962 | 1418.0356 | 726.3264 | 218.787 | 507.5394
2001 | 3 | 3277.2872 | 1417.3682 | 713.9397 | 210.0356 | 503.9041
2001 | 4 | 3261.5783 | 1416.7009 | 691.357 | 192.5326 | 498.8245
2001 | 5 | 3245.8693 | 1416.0336 | 676.9305 | 183.7811 | 493.1494
2001 | 6 | 3230.1604 | 1415.3663 | 663.8254 | 175.0296 | 488.7958
2001 | 7 | 3215.0839 | 1415.3773 | 638.9327 | 148.7752 | 490.1575
2001 | 8 | 3200.0073 | 1415.3884 | 633.5401 | 140.0237 | 493.5164
2001 | 9 | 3184.9308 | 1415.3995 | 649.0883 | 157.5267 | 491.5616
2001 | 10 | 3169.8543 | 1415.4106 | 673.0495 | 175.0296 | 498.0199
2001 | 11 | 3154.7778 | 1415.4217 | 697.2075 | 192.5326 | 504.675
2001 | 12 | 3139.7012 | 1415.4328 | 727.6256 | 218.787 | 508.8385
2002 | 1 | 3124.6247 | 1415.4439 | 739.1488 | 222.0454 | 517.1034
2002 | 2 | 3109.5482 | 1415.455 | 726.962 | 213.5052 | 513.4568
2002 | 3 | 3094.4717 | 1415.466 | 714.6845 | 204.965 | 509.7195
2002 | 4 | 3079.3951 | 1415.4771 | 692.4096 | 187.8846 | 504.525
2002 | 5 | 3064.3186 | 1415.4882 | 678.0106 | 179.3444 | 498.6663
2002 | 6 | 3049.2421 | 1415.4993 | 664.8048 | 170.8042 | 494.0006
2002 | 7 | 3034.4802 | 1415.7697 | 640.2717 | 145.1836 | 495.0882
2002 | 8 | 3019.7184 | 1416.0402 | 635.12 | 136.6433 | 498.4766
2002 | 9 | 3004.9565 | 1416.3106 | 650.6483 | 153.7238 | 496.9246
2002 | 10 | 2990.1946 | 1416.5811 | 674.4327 | 170.8042 | 503.6285
2002 | 11 | 2975.4327 | 1416.8515 | 698.3605 | 187.8846 | 510.4759
2002 | 12 | 2960.6708 | 1417.1219 | 728.2726 | 213.5052 | 514.7674
2003 | 1 | 2945.909 | 1417.3924 | 737.2548 | 216.6218 | 520.633
2003 | 2 | 2931.1471 | 1417.6628 | 725.201 | 208.2902 | 516.9108
2003 | 3 | 2916.3852 | 1417.9332 | 713.031 | 199.9586 | 513.0724
2003 | 4 | 2901.6233 | 1418.2037 | 691.0621 | 183.2954 | 507.7667
2003 | 5 | 2886.8615 | 1418.4741 | 676.6805 | 174.9637 | 501.7168
2003 | 6 | 2872.0996 | 1418.7445 | 663.3501 | 166.6321 | 496.718
2003 | 7 | 2857.542 | 1418.3238 | 639.15 | 141.6373 | 497.5127
2003 | 8 | 2842.9845 | 1417.903 | 634.2304 | 133.3057 | 500.9247
2003 | 9 | 2828.4269 | 1417.4822 | 649.7816 | 149.9689 | 499.8127
2003 | 10 | 2813.8693 | 1417.0614 | 673.3956 | 166.6321 | 506.7635
2003 | 11 | 2799.3117 | 1416.6406 | 697.1043 | 183.2954 | 513.8089
2003 | 12 | 2784.7542 | 1416.2199 | 726.5207 | 208.2902 | 518.2305
2004 | 1 | 2770.1966 | 1415.7991 | 733.6636 | 210.4899 | 523.1737
2004 | 2 | 2755.639 | 1415.3783 | 721.7838 | 202.3942 | 519.3896
2004 | 3 | 2741.0815 | 1414.9575 | 709.7659 | 194.2984 | 515.4675
2004 | 4 | 2726.5239 | 1414.5368 | 688.1807 | 178.1069 | 510.0739
2004 | 5 | 2711.9663 | 1414.116 | 673.8679 | 170.0111 | 503.8569
2004 | 6 | 2697.4088 | 1413.6952 | 660.4632 | 161.9153 | 498.5478
2004 | 7 | 2686.1815 | 1413.1407 | 636.6846 | 137.628 | 499.0566
2004 | 8 | 2674.9541 | 1412.5863 | 632.0104 | 129.5323 | 502.4782
2004 | 9 | 2663.7268 | 1412.0318 | 647.5252 | 145.7238 | 501.8014
2004 | 10 | 2652.4995 | 1411.4773 | 670.8804 | 161.9153 | 508.9651
2004 | 11 | 2641.2722 | 1410.9228 | 694.2872 | 178.1069 | 516.1804
2004 | 12 | 2630.0449 | 1410.3684 | 723.1072 | 202.3942 | 520.713
2005 | 1 | 2618.8176 | 1409.8139 | 733.8903 | 205.4541 | 528.4362
2005 | 2 | 2607.5903 | 1409.2594 | 722.1594 | 197.552 | 524.6073
2005 | 3 | 2596.363 | 1408.705 | 710.2856 | 189.65 | 520.6357
2005 | 4 | 2585.1357 | 1408.1505 | 689.033 | 173.8458 | 515.1872
2005 | 5 | 2573.9084 | 1407.596 | 674.8096 | 165.9437 | 508.8659
2005 | 6 | 2562.6811 | 1407.0416 | 661.4277 | 158.0416 | 503.3861
2005 | 7 | 2562.7881 | 1404.68 | 638.1036 | 134.3354 | 503.7682
2005 | 8 | 2562.8952 | 1402.3184 | 633.6358 | 126.4333 | 507.2025
2005 | 9 | 2563.0022 | 1399.9568 | 648.9703 | 142.2375 | 506.7329
2005 | 10 | 2563.1092 | 1397.5952 | 672.0542 | 158.0416 | 514.0125
2005 | 11 | 2563.2163 | 1395.2336 | 695.1816 | 173.8458 | 521.3358
2005 | 12 | 2563.3233 | 1392.8721 | 723.4877 | 197.552 | 525.9356
2006 | 1 | 2563.4303 | 1390.5105 | 736.4945 | 203.539 | 532.9555
2006 | 2 | 2563.5373 | 1388.1489 | 724.7609 | 195.7105 | 529.0504
2006 | 3 | 2563.6444 | 1385.7873 | 712.8819 | 187.8821 | 524.9998
2006 | 4 | 2563.7514 | 1383.4257 | 691.6859 | 172.2253 | 519.4606
2006 | 5 | 2563.8584 | 1381.0642 | 677.3699 | 164.3969 | 512.973
2006 | 6 | 2563.9655 | 1378.7026 | 663.8077 | 156.5684 | 507.2392
2006 | 7 | 2564.1912 | 1376.7248 | 640.5401 | 133.0832 | 507.457
2006 | 8 | 2564.417 | 1374.747 | 636.1733 | 125.2547 | 510.9186
2006 | 9 | 2564.6428 | 1372.7692 | 651.6401 | 140.9116 | 510.7286
2006 | 10 | 2564.8685 | 1370.7914 | 674.7535 | 156.5684 | 518.1851
2006 | 11 | 2565.0943 | 1368.8136 | 697.9079 | 172.2253 | 525.6826
2006 | 12 | 2565.32 | 1366.8358 | 726.0998 | 195.7105 | 530.3893
2007 | 1 | 2565.5458 | 1364.858 | 740.5648 | 201.6843 | 538.8805
2007 | 2 | 2565.7716 | 1362.8802 | 728.7831 | 193.9272 | 534.8558
2007 | 3 | 2565.9973 | 1360.9024 | 716.8549 | 186.1701 | 530.6847
2007 | 4 | 2566.2231 | 1358.9246 | 695.6564 | 170.656 | 525.0004
2007 | 5 | 2566.4488 | 1356.9468 | 681.1684 | 162.8989 | 518.2695
2007 | 6 | 2566.6746 | 1354.969 | 667.3391 | 155.1418 | 512.1973
2007 | 7 | 2566.9756 | 1353.0622 | 644.103 | 131.8705 | 512.2324
2007 | 8 | 2567.2767 | 1351.1553 | 639.8646 | 124.1134 | 515.7512
2007 | 9 | 2567.5777 | 1349.2485 | 655.5081 | 139.6276 | 515.8805
2007 | 10 | 2567.8787 | 1347.3417 | 678.7355 | 155.1418 | 523.5937
2007 | 11 | 2568.1798 | 1345.4349 | 702.0072 | 170.656 | 531.3513
2007 | 12 | 2568.4808 | 1343.528 | 730.144 | 193.9272 | 536.2168
2008 | 1 | 2568.7819 | 1341.6212 | 745.8163 | 199.8681 | 545.9482
2008 | 2 | 2569.0829 | 1339.7144 | 733.9827 | 192.1808 | 541.8019
2008 | 3 | 2569.3839 | 1337.8076 | 722.0024 | 184.4936 | 537.5088
2008 | 4 | 2569.685 | 1335.9007 | 700.7951 | 169.1191 | 531.6759
2008 | 5 | 2569.986 | 1333.9939 | 686.1336 | 161.4319 | 524.7017
2008 | 6 | 2570.287 | 1332.0871 | 672.0455 | 153.7447 | 518.3009
2008 | 7 | 2570.7295 | 1330.3368 | 648.8535 | 130.683 | 518.1705
2008 | 8 | 2571.1719 | 1328.5866 | 644.7469 | 122.9957 | 521.7512
2008 | 9 | 2571.6144 | 1326.8363 | 660.5439 | 138.3702 | 522.1737
2008 | 10 | 2572.0569 | 1325.0861 | 683.8875 | 153.7447 | 530.1428
2008 | 11 | 2572.4993 | 1323.3358 | 707.2808 | 169.1191 | 538.1617
2008 | 12 | 2572.9418 | 1321.5856 | 735.3676 | 192.1808 | 543.1868
2009 | 1 | 2573.3843 | 1319.8353 | 748.0602 | 198.0832 | 549.977
2009 | 2 | 2573.8267 | 1318.0851 | 736.2058 | 190.4646 | 545.7412
2009 | 3 | 2574.2692 | 1316.3349 | 724.206 | 182.8461 | 541.36
2009 | 4 | 2574.7116 | 1314.5846 | 703.0317 | 167.6089 | 535.4228
2009 | 5 | 2575.1541 | 1312.8344 | 688.2537 | 159.9903 | 528.2634
2009 | 6 | 2575.5966 | 1311.0841 | 673.9689 | 152.3717 | 521.5972
2009 | 7 | 2576.0258 | 1309.4238 | 650.835 | 129.516 | 521.319
2009 | 8 | 2576.455 | 1307.7635 | 646.8347 | 121.8974 | 524.9373
2009 | 9 | 2576.8842 | 1306.1032 | 662.7573 | 137.1345 | 525.6227
2009 | 10 | 2577.3134 | 1304.4429 | 686.1534 | 152.3717 | 533.7817
2009 | 11 | 2577.7426 | 1302.7826 | 709.6056 | 167.6089 | 541.9967
2009 | 12 | 2578.1718 | 1301.1223 | 737.6053 | 190.4646 | 547.1406
2010 | 1 | 2578.601 | 1299.462 | 750.9975 | 196.3426 | 554.6548
2010 | 2 | 2579.0302 | 1297.8017 | 739.1207 | 188.791 | 550.3297
2010 | 3 | 2579.4594 | 1296.1414 | 727.101 | 181.2393 | 545.8616
2010 | 4 | 2579.8886 | 1294.4811 | 705.9564 | 166.1361 | 539.8204
2010 | 5 | 2580.3178 | 1292.8208 | 691.0641 | 158.5844 | 532.4797
2010 | 6 | 2580.747 | 1291.1605 | 676.5936 | 151.0328 | 525.5608
2010 | 7 | 2581.2374 | 1289.6181 | 653.5292 | 128.3779 | 525.1513
2010 | 8 | 2581.7278 | 1288.0758 | 649.6358 | 120.8262 | 528.8096
2010 | 9 | 2582.2182 | 1286.5334 | 665.6625 | 135.9295 | 529.733
2010 | 10 | 2582.7087 | 1284.9911 | 689.1089 | 151.0328 | 538.0761
2010 | 11 | 2583.1991 | 1283.4487 | 712.6202 | 166.1361 | 546.4842
2010 | 12 | 2583.6895 | 1281.9064 | 740.5356 | 188.791 | 551.7446
2011 | 1 | 2584.1799 | 1280.364 | 753.2117 | 194.657 | 558.5547
2011 | 2 | 2584.6704 | 1278.8217 | 741.3279 | 187.1702 | 554.1576
2011 | 3 | 2585.1608 | 1277.2793 | 729.304 | 179.6834 | 549.6206
2011 | 4 | 2585.6512 | 1275.7369 | 708.207 | 164.7098 | 543.4972
2011 | 5 | 2586.1416 | 1274.1946 | 693.2328 | 157.223 | 536.0099
2011 | 6 | 2586.6321 | 1272.6522 | 678.6206 | 149.7362 | 528.8844
2011 | 7 | 2587.1417 | 1271.1895 | 655.6422 | 127.2757 | 528.3665
2011 | 8 | 2587.6513 | 1269.7267 | 651.8442 | 119.7889 | 532.0552
2011 | 9 | 2588.1608 | 1268.264 | 667.9393 | 134.7626 | 533.1768
2011 | 10 | 2588.6704 | 1266.8012 | 691.403 | 149.7362 | 541.6668
2011 | 11 | 2589.18 | 1265.3385 | 714.9402 | 164.7098 | 550.2304
2011 | 12 | 2589.6896 | 1263.8757 | 742.7546 | 187.1702 | 555.5844
2012 | 1 | 2590.1992 | 1262.413 | 756.9113 | 193.0212 | 563.8901
2012 | 2 | 2590.7088 | 1260.9503 | 745.0121 | 185.5973 | 559.4148
2012 | 3 | 2591.2184 | 1259.4875 | 732.9756 | 178.1734 | 554.8022
2012 | 4 | 2591.728 | 1258.0248 | 711.9123 | 163.3256 | 548.5866
2012 | 5 | 2592.2376 | 1256.562 | 696.8461 | 155.9017 | 540.9444
2012 | 6 | 2592.7472 | 1255.0993 | 682.0894 | 148.4778 | 533.6116
2012 | 7 | 2593.2436 | 1253.6907 | 659.2022 | 126.2062 | 532.996
2012 | 8 | 2593.7401 | 1252.2822 | 655.5057 | 118.7823 | 536.7234
2012 | 9 | 2594.2365 | 1250.8737 | 671.6555 | 133.6301 | 538.0254
2012 | 10 | 2594.7329 | 1249.4652 | 695.1503 | 148.4778 | 546.6725
2012 | 11 | 2595.2294 | 1248.0566 | 718.7279 | 163.3256 | 555.4022
2012 | 12 | 2595.7258 | 1246.6481 | 746.4538 | 185.5973 | 560.8565
2013 | 1 | 2596.2222 | 1245.2396 | 758.6173 | 191.4235 | 567.1938
2013 | 2 | 2596.7187 | 1243.8311 | 746.7339 | 184.0611 | 562.6728
2013 | 3 | 2597.2151 | 1242.4225 | 734.7163 | 176.6986 | 558.0176
2013 | 4 | 2597.7115 | 1241.014 | 713.727 | 161.9737 | 551.7533
2013 | 5 | 2598.2079 | 1239.6055 | 698.6257 | 154.6113 | 544.0144
2013 | 6 | 2598.7044 | 1238.197 | 683.7862 | 147.2488 | 536.5374
2013 | 7 | 2599.1556 | 1236.8779 | 661.0009 | 125.1615 | 535.8394
2013 | 8 | 2599.6068 | 1235.5589 | 657.3805 | 117.7991 | 539.5814
2013 | 9 | 2600.058 | 1234.2399 | 673.5591 | 132.524 | 541.0351
2013 | 10 | 2600.5092 | 1232.9209 | 697.0243 | 147.2488 | 549.7754
2013 | 11 | 2600.9604 | 1231.6018 | 720.5798 | 161.9737 | 558.606
2013 | 12 | 2601.4117 | 1230.2828 | 748.1812 | 184.0611 | 564.1202
2014 | 1 | 2601.8629 | 1228.9638 | 760.5844 | 189.8616 | 570.7228
2014 | 2 | 2602.3141 | 1227.6448 | 748.7128 | 182.5592 | 566.1536
2014 | 3 | 2602.7653 | 1226.3257 | 736.7094 | 175.2568 | 561.4525
2014 | 4 | 2603.2165 | 1225.0067 | 715.7857 | 160.6521 | 555.1336
2014 | 5 | 2603.6677 | 1223.6877 | 700.646 | 153.3497 | 547.2963
2014 | 6 | 2604.1189 | 1222.3687 | 685.7276 | 146.0474 | 539.6802
2014 | 7 | 2604.6606 | 1221.2031 | 663.0498 | 124.1403 | 538.9096
2014 | 8 | 2605.2024 | 1220.0375 | 659.5095 | 116.8379 | 542.6716
2014 | 9 | 2605.7441 | 1218.8718 | 675.7017 | 131.4426 | 544.259
2014 | 10 | 2606.2858 | 1217.7062 | 699.1445 | 146.0474 | 553.0972
2014 | 11 | 2606.8275 | 1216.5406 | 722.6842 | 160.6521 | 562.0321
2014 | 12 | 2607.3692 | 1215.375 | 750.1679 | 182.5592 | 567.6087
2015 | 1 | 2607.9109 | 1214.2094 | 762.6011 | 188.3352 | 574.2658
2015 | 2 | 2608.4526 | 1213.0438 | 750.7452 | 181.0916 | 569.6537
2015 | 3 | 2608.9943 | 1211.8782 | 738.7593 | 173.8479 | 564.9113
2015 | 4 | 2609.536 | 1210.7126 | 717.904 | 159.3606 | 558.5434
2015 | 5 | 2610.0777 | 1209.547 | 702.7353 | 152.1169 | 550.6184
2015 | 6 | 2610.6194 | 1208.3814 | 687.752 | 144.8733 | 542.8788
2015 | 7 | 2611.1703 | 1207.3308 | 665.1855 | 123.1423 | 542.0432
2015 | 8 | 2611.7212 | 1206.2802 | 661.7221 | 115.8986 | 545.8235
2015 | 9 | 2612.2721 | 1205.2296 | 677.9155 | 130.3859 | 547.5295
2015 | 10 | 2612.823 | 1204.179 | 701.3286 | 144.8733 | 556.4554
2015 | 11 | 2613.3739 | 1203.1284 | 724.8438 | 159.3606 | 565.4832
2015 | 12 | 2613.9248 | 1202.0778 | 752.2074 | 181.0916 | 571.1158
2016 | 1 | 2614.4757 | 1201.0272 | 764.9965 | 186.8454 | 578.1511
2016 | 2 | 2615.0266 | 1199.9766 | 753.1553 | 179.659 | 573.4963
2016 | 3 | 2615.5775 | 1198.926 | 741.1849 | 172.4727 | 568.7123
2016 | 4 | 2616.1284 | 1197.8754 | 720.3933 | 158.0999 | 562.2934
2016 | 5 | 2616.6793 | 1196.8248 | 705.1975 | 150.9136 | 554.284
2016 | 6 | 2617.2302 | 1195.7742 | 690.1586 | 143.7272 | 546.4314
2016 | 7 | 2617.7138 | 1194.7922 | 667.71 | 122.1681 | 545.5419
2016 | 8 | 2618.1973 | 1193.8101 | 664.3254 | 114.9818 | 549.3436
2016 | 9 | 2618.6809 | 1192.8281 | 680.5025 | 129.3545 | 551.148
2016 | 10 | 2619.1644 | 1191.846 | 703.8878 | 143.7272 | 560.1606
2016 | 11 | 2619.648 | 1190.864 | 727.3791 | 158.0999 | 569.2792
2016 | 12 | 2620.1315 | 1189.8819 | 754.6258 | 179.659 | 574.9667
2017 | 1 | 2620.6151 | 1188.8999 | 765.5752 | 185.3908 | 580.1844
2017 | 2 | 2621.0986 | 1187.9178 | 753.7783 | 178.2604 | 575.5179
2017 | 3 | 2621.5822 | 1186.9358 | 741.8533 | 171.1299 | 570.7234
2017 | 4 | 2622.0657 | 1185.9538 | 721.1637 | 156.8691 | 564.2946
2017 | 5 | 2622.5493 | 1184.9717 | 705.9943 | 149.7387 | 556.2556
2017 | 6 | 2623.0328 | 1183.9897 | 690.9566 | 142.6083 | 548.3483
2017 | 7 | 2623.6081 | 1183.1404 | 668.6341 | 121.217 | 547.4171
2017 | 8 | 2624.1834 | 1182.2912 | 665.3038 | 114.0866 | 551.2172
2017 | 9 | 2624.7587 | 1181.4419 | 681.4433 | 128.3475 | 553.0959
2017 | 10 | 2625.3341 | 1180.5927 | 704.7439 | 142.6083 | 562.1356
2017 | 11 | 2625.9094 | 1179.7435 | 728.1524 | 156.8691 | 571.2833
2017 | 12 | 2626.4847 | 1178.8942 | 755.2481 | 178.2604 | 576.9878
2018 | 1 | 2627.06 | 1178.045 | 766.873 | 183.97 | 582.903
2018 | 2 | 2627.6353 | 1177.1958 | 755.1069 | 176.8942 | 578.2127
2018 | 3 | 2628.2106 | 1176.3465 | 743.2129 | 169.8184 | 573.3944
2018 | 4 | 2628.7859 | 1175.4973 | 722.6047 | 155.6669 | 566.9378
2018 | 5 | 2629.3613 | 1174.648 | 707.44 | 148.5911 | 558.8489
2018 | 6 | 2629.9366 | 1173.7988 | 692.3846 | 141.5154 | 550.8692
2018 | 7 | 2630.445 | 1172.9956 | 670.1843 | 120.2881 | 549.8963
2018 | 8 | 2630.9535 | 1172.1924 | 666.9184 | 113.2123 | 553.7061
2018 | 9 | 2631.4619 | 1171.3892 | 683.0221 | 127.3638 | 555.6582
2018 | 10 | 2631.9703 | 1170.5859 | 706.2647 | 141.5154 | 564.7493
2018 | 11 | 2632.4788 | 1169.7827 | 729.6167 | 155.6669 | 573.9498
2018 | 12 | 2632.9872 | 1168.9795 | 756.5805 | 176.8942 | 579.6863
2019 | 1 | 2633.4957 | 1168.1763 | 768.5991 | 182.5816 | 586.0175
2019 | 2 | 2634.0041 | 1167.3731 | 756.8619 | 175.5592 | 581.3026
2019 | 3 | 2634.5125 | 1166.5699 | 744.9963 | 168.5369 | 576.4594
2019 | 4 | 2635.021 | 1165.7667 | 724.4651 | 154.4921 | 569.9729
2019 | 5 | 2635.5294 | 1164.9634 | 709.3031 | 147.4698 | 561.8334
2019 | 6 | 2636.0379 | 1164.1602 | 694.2292 | 140.4474 | 553.7818
2019 | 7 | 2636.6089 | 1163.2845 | 672.1486 | 119.3803 | 552.7683
2019 | 8 | 2637.1799 | 1162.4087 | 668.9473 | 112.3579 | 556.5894
2019 | 9 | 2637.7509 | 1161.5329 | 685.0144 | 126.4026 | 558.6118
2019 | 10 | 2638.322 | 1160.6572 | 708.204 | 140.4474 | 567.7566
2019 | 11 | 2638.893 | 1159.7814 | 731.5032 | 154.4921 | 577.0111
2019 | 12 | 2639.464 | 1158.9057 | 758.3398 | 175.5592 | 582.7806
2020 | 1 | 2640.0351 | 1158.0299 | 772.1843 | 181.1993 | 590.985
2020 | 2 | 2640.6061 | 1157.1541 | 760.463 | 174.2301 | 586.2329
2020 | 3 | 2641.1771 | 1156.2784 | 748.6122 | 167.2609 | 581.3514
2020 | 4 | 2641.7481 | 1155.4026 | 728.1395 | 153.3224 | 574.817
2020 | 5 | 2642.3192 | 1154.5269 | 712.9585 | 146.3532 | 566.6052
2020 | 6 | 2642.8902 | 1153.6511 | 697.8457 | 139.384 | 558.4617
2020 | 7 | 2643.4612 | 1152.7753 | 675.8828 | 118.4764 | 557.4064
2020 | 8 | 2644.0323 | 1151.8996 | 672.757 | 111.5072 | 561.2497
2020 | 9 | 2644.6033 | 1151.0238 | 688.7903 | 125.4456 | 563.3446
2020 | 10 | 2645.1743 | 1150.148 | 711.9522 | 139.384 | 572.5682
2020 | 11 | 2645.7453 | 1149.2723 | 735.2238 | 153.3224 | 581.9013
2020 | 12 | 2646.3164 | 1148.3965 | 761.9495 | 174.2301 | 587.7194
2021 | 1 | 2646.8196 | 1147.5797 | 773.6803 | 179.8481 | 593.8322
2021 | 2 | 2647.3229 | 1146.7629 | 761.9979 | 172.9309 | 589.067
2021 | 3 | 2647.8261 | 1145.9461 | 750.1853 | 166.0137 | 584.1716
2021 | 4 | 2648.3294 | 1145.1293 | 729.8013 | 152.1792 | 577.6221
2021 | 5 | 2648.8327 | 1144.3125 | 714.6419 | 145.2619 | 569.38
2021 | 6 | 2648.9293 | 1143.8494 | 699.531 | 138.3447 | 561.1863
2021 | 7 | 2649.4326 | 1143.0326 | 677.6873 | 117.593 | 560.0943
2021 | 8 | 2649.9358 | 1142.2158 | 674.6164 | 110.6758 | 563.9407
2021 | 9 | 2650.4391 | 1141.399 | 690.6071 | 124.5102 | 566.0969
2021 | 10 | 2650.9423 | 1140.5822 | 713.6977 | 138.3447 | 575.353
2021 | 11 | 2651.4456 | 1139.7654 | 736.8966 | 152.1792 | 584.7174
2021 | 12 | 2651.9489 | 1138.9486 | 763.4856 | 172.9309 | 590.5547
2022 | 1 | 2652.457 | 1138.2051 | 775.8247 | 178.5266 | 597.2981
2022 | 2 | 2652.9652 | 1137.4616 | 764.1652 | 171.6602 | 592.505
2022 | 3 | 2653.4734 | 1136.7181 | 752.3738 | 164.7937 | 587.58
2022 | 4 | 2653.9816 | 1135.9746 | 732.0552 | 151.0609 | 580.9942
2022 | 5 | 2654.4897 | 1135.2311 | 716.8905 | 144.1945 | 572.696
2022 | 6 | 2655.0274 | 1134.9273 | 701.7548 | 137.3281 | 564.4266
2022 | 7 | 2655.5356 | 1134.1838 | 680.023 | 116.7289 | 563.2941
2022 | 8 | 2656.0438 | 1133.4403 | 677.0185 | 109.8625 | 567.156
2022 | 9 | 2656.5519 | 1132.6968 | 692.9753 | 123.5953 | 569.38
2022 | 10 | 2657.0601 | 1131.9533 | 716.0267 | 137.3281 | 578.6986
2022 | 11 | 2657.5683 | 1131.2098 | 739.1846 | 151.0609 | 588.1237
2022 | 12 | 2658.0765 | 1130.4663 | 765.6589 | 171.6602 | 593.9987
2023 | 1 | 2658.5908 | 1129.7848 | 778.327 | 177.2336 | 601.0934
2023 | 2 | 2659.1052 | 1129.1033 | 766.6888 | 170.4169 | 596.2719
2023 | 3 | 2659.6196 | 1128.4218 | 754.9166 | 163.6002 | 591.3164
2023 | 4 | 2660.134 | 1127.7403 | 734.6597 | 149.9669 | 584.6929
2023 | 5 | 2660.6484 | 1127.0587 | 719.488 | 143.1502 | 576.3379
2023 | 6 | 2661.2001 | 1126.7493 | 704.3266 | 136.3335 | 567.993
2023 | 7 | 2661.7145 | 1126.0677 | 682.7036 | 115.8835 | 566.8202
2023 | 8 | 2662.2289 | 1125.3862 | 679.7655 | 109.0668 | 570.6987
2023 | 9 | 2662.7433 | 1124.7047 | 695.6889 | 122.7002 | 572.9887
2023 | 10 | 2663.2577 | 1124.0232 | 718.7053 | 136.3335 | 582.3718
2023 | 11 | 2663.772 | 1123.3417 | 741.8253 | 149.9669 | 591.8584
2023 | 12 | 2664.2864 | 1122.6602 | 768.189 | 170.4169 | 597.7721
2024 | 1 | 2664.7957 | 1122.0447 | 782.6512 | 175.9676 | 606.6836
2024 | 2 | 2665.3049 | 1121.4292 | 771.0212 | 169.1996 | 601.8216
2024 | 3 | 2665.8142 | 1120.8137 | 759.2541 | 162.4316 | 596.8225
2024 | 4 | 2666.3234 | 1120.1982 | 739.0393 | 148.8957 | 590.1437
2024 | 5 | 2666.8327 | 1119.5827 | 723.8389 | 142.1277 | 581.7112
2024 | 6 | 2667.3111 | 1119.3633 | 708.6311 | 135.3597 | 573.2714
2024 | 7 | 2667.8204 | 1118.7478 | 687.1122 | 115.0557 | 572.0564
2024 | 8 | 2668.3296 | 1118.1323 | 684.25 | 108.2877 | 575.9622
2024 | 9 | 2668.8389 | 1117.5168 | 700.1447 | 121.8237 | 578.321
2024 | 10 | 2669.3481 | 1116.9014 | 723.1527 | 135.3597 | 587.793
2024 | 11 | 2669.8574 | 1116.2859 | 746.2607 | 148.8957 | 597.365
2024 | 12 | 2670.3666 | 1115.6704 | 772.5319 | 169.1996 | 603.3323
2025 | 1 | 2670.91 | 1115.138 | 783.9257 | 174.7317 | 609.194
2025 | 2 | 2671.4534 | 1114.6057 | 772.3315 | 168.0112 | 604.3203
2025 | 3 | 2671.9968 | 1114.0733 | 760.5971 | 161.2908 | 599.3064
2025 | 4 | 2672.5402 | 1113.541 | 740.4604 | 147.8499 | 592.6105
2025 | 5 | 2673.0836 | 1113.0086 | 725.2802 | 141.1294 | 584.1508
2025 | 6 | 2673.8319 | 1112.9752 | 710.0765 | 134.409 | 575.6676
2025 | 7 | 2674.3753 | 1112.4429 | 688.6657 | 114.2476 | 574.4181
2025 | 8 | 2674.9187 | 1111.9105 | 685.8562 | 107.5272 | 578.3291
2025 | 9 | 2675.4621 | 1111.3782 | 701.7079 | 120.9681 | 580.7398
2025 | 10 | 2676.0055 | 1110.8458 | 724.6552 | 134.409 | 590.2463
2025 | 11 | 2676.5489 | 1110.3135 | 747.6969 | 147.8499 | 599.847
2025 | 12 | 2677.0923 | 1109.7811 | 773.8442 | 168.0112 | 605.833
2026 | 1 | 2677.6164 | 1109.2458 | 785.2013 | 173.4965 | 611.7048
2026 | 2 | 2678.1405 | 1108.7104 | 773.643 | 166.8236 | 606.8194
2026 | 3 | 2678.6645 | 1108.1751 | 761.9413 | 160.1506 | 601.7907
2026 | 4 | 2679.1886 | 1107.6397 | 741.8825 | 146.8047 | 595.0778
2026 | 5 | 2679.7127 | 1107.1043 | 726.7227 | 140.1318 | 586.5909
2026 | 6 | 2680.1207 | 1106.5509 | 711.523 | 133.4589 | 578.0642
2026 | 7 | 2680.6447 | 1106.0155 | 690.2203 | 113.44 | 576.7803
2026 | 8 | 2681.1688 | 1105.4802 | 687.4636 | 106.7671 | 580.6965
2026 | 9 | 2681.6929 | 1104.9448 | 703.2721 | 120.113 | 583.1591
2026 | 10 | 2682.2169 | 1104.4094 | 726.1588 | 133.4589 | 592.6999
2026 | 11 | 2682.741 | 1103.8741 | 749.1342 | 146.8047 | 602.3294
2026 | 12 | 2683.2651 | 1103.3387 | 775.1577 | 166.8236 | 608.3341
2027 | 1 | 2683.7696 | 1102.8004 | 786.4782 | 172.2622 | 614.216
2027 | 2 | 2684.2742 | 1102.262 | 774.9556 | 165.6367 | 609.3189
2027 | 3 | 2684.7787 | 1101.7237 | 763.2866 | 159.0112 | 604.2753
2027 | 4 | 2685.2833 | 1101.1854 | 743.3058 | 145.7603 | 597.5455
2027 | 5 | 2685.7878 | 1100.647 | 728.1662 | 139.1348 | 589.0313
2027 | 6 | 2686.1753 | 1100.0908 | 712.9706 | 132.5094 | 580.4612
2027 | 7 | 2686.6798 | 1099.5525 | 691.7761 | 112.633 | 579.1431
2027 | 8 | 2687.1844 | 1099.0142 | 689.072 | 106.0075 | 583.0645
2027 | 9 | 2687.6889 | 1098.4758 | 704.8373 | 119.2584 | 585.5789
2027 | 10 | 2688.1935 | 1097.9375 | 727.6634 | 132.5094 | 595.154
2027 | 11 | 2688.698 | 1097.3992 | 750.5725 | 145.7603 | 604.8122
2027 | 12 | 2689.2026 | 1096.8608 | 776.4723 | 165.6367 | 610.8356
2028 | 1 | 2689.6874 | 1096.3195 | 787.7562 | 171.0287 | 616.7276
2028 | 2 | 2690.1723 | 1095.7783 | 776.2693 | 164.4506 | 611.8187
2028 | 3 | 2690.6572 | 1095.237 | 764.633 | 157.8726 | 606.7604
2028 | 4 | 2691.142 | 1094.6957 | 744.7301 | 144.7166 | 600.0135
2028 | 5 | 2691.6269 | 1094.1545 | 729.6108 | 138.1385 | 591.4722
2028 | 6 | 2691.9937 | 1093.5956 | 714.4193 | 131.5605 | 582.8588
2028 | 7 | 2692.4785 | 1093.0543 | 693.333 | 111.8264 | 581.5065
2028 | 8 | 2692.9634 | 1092.513 | 690.6816 | 105.2484 | 585.4332
2028 | 9 | 2693.4483 | 1091.9717 | 706.4036 | 118.4045 | 587.9991
2028 | 10 | 2693.9331 | 1091.4305 | 729.169 | 131.5605 | 597.6085
2028 | 11 | 2694.418 | 1090.8892 | 752.012 | 144.7166 | 607.2954
2028 | 12 | 2694.9029 | 1090.3479 | 777.7881 | 164.4506 | 613.3375
2029 | 1 | 2695.3679 | 1089.8038 | 789.0355 | 169.7959 | 619.2395
2029 | 2 | 2695.8329 | 1089.2596 | 777.5842 | 163.2653 | 614.3189
2029 | 3 | 2696.2979 | 1088.7154 | 765.9806 | 156.7347 | 609.2459
2029 | 4 | 2696.7629 | 1088.1713 | 746.1555 | 143.6735 | 602.4821
2029 | 5 | 2697.2279 | 1087.6271 | 731.0564 | 137.1429 | 593.9136
2029 | 6 | 2697.5737 | 1087.0655 | 715.8691 | 130.6123 | 585.2568
2029 | 7 | 2698.0388 | 1086.5214 | 694.8909 | 111.0204 | 583.8705
2029 | 8 | 2698.5038 | 1085.9772 | 692.2922 | 104.4898 | 587.8024
2029 | 9 | 2698.9688 | 1085.433 | 707.9708 | 117.551 | 590.4198
2029 | 10 | 2699.4338 | 1084.8889 | 730.6756 | 130.6123 | 600.0634
2029 | 11 | 2699.8988 | 1084.3447 | 753.4525 | 143.6735 | 609.779
2029 | 12 | 2700.3638 | 1083.8005 | 779.105 | 163.2653 | 615.8397
2030 | 1 | 2700.8088 | 1083.2535 | 790.3159 | 168.564 | 621.7519
2030 | 2 | 2701.2537 | 1082.7065 | 778.9003 | 162.0808 | 616.8195
2030 | 3 | 2701.6987 | 1082.1594 | 767.3294 | 155.5976 | 611.7318
2030 | 4 | 2702.1437 | 1081.6124 | 747.5821 | 142.6311 | 604.951
2030 | 5 | 2702.5887 | 1081.0654 | 732.5032 | 136.1479 | 596.3553
2030 | 6 | 2702.9135 | 1080.5012 | 717.3199 | 129.6646 | 587.6553
2030 | 7 | 2703.3584 | 1079.9542 | 696.45 | 110.2149 | 586.2351
2030 | 8 | 2703.8034 | 1079.4072 | 693.9039 | 103.7317 | 590.1722
2030 | 9 | 2704.2484 | 1078.8602 | 709.5391 | 116.6982 | 592.8409
2030 | 10 | 2704.6934 | 1078.3131 | 732.1833 | 129.6646 | 602.5186
2030 | 11 | 2705.1383 | 1077.7661 | 754.8941 | 142.6311 | 612.263
2030 | 12 | 2705.5833 | 1077.2191 | 780.4231 | 162.0808 | 618.3423
2031 | 1 | 2706.0081 | 1076.6692 | 791.5975 | 167.3329 | 624.2646
2031 | 2 | 2706.4328 | 1076.1194 | 780.2175 | 160.897 | 619.3205
2031 | 3 | 2706.8576 | 1075.5696 | 768.6792 | 154.4611 | 614.2181
2031 | 4 | 2707.2824 | 1075.0197 | 749.0097 | 141.5894 | 607.4203
2031 | 5 | 2707.7072 | 1074.4699 | 733.951 | 135.1535 | 598.7975
2031 | 6 | 2708.1319 | 1073.92 | 718.7719 | 128.7176 | 590.0543
2031 | 7 | 2708.5567 | 1073.3702 | 698.0103 | 109.41 | 588.6003
2031 | 8 | 2708.9815 | 1072.8203 | 695.5166 | 102.9741 | 592.5426
2031 | 9 | 2709.4063 | 1072.2705 | 711.1084 | 115.8459 | 595.2626
2031 | 10 | 2709.831 | 1071.7207 | 733.6919 | 128.7176 | 604.9743
2031 | 11 | 2710.2558 | 1071.1708 | 756.3367 | 141.5894 | 614.7474
2031 | 12 | 2710.6806 | 1070.621 | 781.7423 | 160.897 | 620.8453
2032 | 1 | 2711.085 | 1070.0683 | 792.8803 | 166.1026 | 626.7777
2032 | 2 | 2711.4894 | 1069.5157 | 781.5358 | 159.714 | 621.8218
2032 | 3 | 2711.8938 | 1068.9631 | 770.0302 | 153.3255 | 616.7048
2032 | 4 | 2712.2981 | 1068.4105 | 750.4385 | 140.5483 | 609.8901
2032 | 5 | 2712.7025 | 1067.8579 | 735.3999 | 134.1598 | 601.2401
2032 | 6 | 2713.1069 | 1067.3052 | 720.2249 | 127.7712 | 592.4537
2032 | 7 | 2713.5113 | 1066.7526 | 699.5716 | 108.6055 | 590.966
2032 | 8 | 2713.9157 | 1066.2 | 697.1305 | 102.217 | 594.9135
2032 | 9 | 2714.3201 | 1065.6474 | 712.6788 | 114.9941 | 597.6847
2032 | 10 | 2714.7245 | 1065.0948 | 735.2016 | 127.7712 | 607.4304
2032 | 11 | 2715.1289 | 1064.5421 | 757.7805 | 140.5483 | 617.2321
2032 | 12 | 2715.5333 | 1063.9895 | 783.0627 | 159.714 | 623.3486
2033 | 1 | 2715.9172 | 1063.4342 | 794.1643 | 164.8731 | 629.2912
2033 | 2 | 2716.301 | 1062.8788 | 782.8553 | 158.5318 | 624.3235
2033 | 3 | 2716.6848 | 1062.3234 | 771.3824 | 152.1905 | 619.1918
2033 | 4 | 2717.0687 | 1061.7681 | 751.8683 | 139.508 | 612.3603
2033 | 5 | 2717.4525 | 1061.2127 | 736.8498 | 133.1667 | 603.6831
2033 | 6 | 2717.8364 | 1060.6574 | 721.6791 | 126.8254 | 594.8536
2033 | 7 | 2718.2202 | 1060.102 | 701.134 | 107.8016 | 593.3324
2033 | 8 | 2718.6041 | 1059.5466 | 698.7455 | 101.4604 | 597.2851
2033 | 9 | 2718.9879 | 1058.9913 | 714.2501 | 114.1429 | 600.1072
2033 | 10 | 2719.3718 | 1058.4359 | 736.7123 | 126.8254 | 609.8869
2033 | 11 | 2719.7556 | 1057.8806 | 759.2253 | 139.508 | 619.7173
2033 | 12 | 2720.1395 | 1057.3252 | 784.3842 | 158.5318 | 625.8524
2034 | 1 | 2720.5026 | 1056.7671 | 795.4494 | 163.6444 | 631.8051
2034 | 2 | 2720.8657 | 1056.2091 | 784.176 | 157.3503 | 626.8256
2034 | 3 | 2721.2288 | 1055.651 | 772.7356 | 151.0563 | 621.6793
2034 | 4 | 2721.5919 | 1055.093 | 753.2992 | 138.4683 | 614.8309
2034 | 5 | 2721.9551 | 1054.5349 | 738.3009 | 132.1743 | 606.1266
2034 | 6 | 2722.3182 | 1053.9769 | 723.1343 | 125.8803 | 597.254
2034 | 7 | 2722.6813 | 1053.4188 | 702.6976 | 106.9982 | 595.6993
2034 | 8 | 2723.0444 | 1052.8607 | 700.3615 | 100.7042 | 599.6573
2034 | 9 | 2723.4076 | 1052.3027 | 715.8225 | 113.2922 | 602.5303
2034 | 10 | 2723.7707 | 1051.7446 | 738.2241 | 125.8803 | 612.3438
2034 | 11 | 2724.1338 | 1051.1866 | 760.6711 | 138.4683 | 622.2028
2034 | 12 | 2724.4969 | 1050.6285 | 785.7068 | 157.3503 | 628.3565
2035 | 1 | 2724.8392 | 1050.0678 | 796.7358 | 162.4164 | 634.3193
2035 | 2 | 2725.1814 | 1049.5071 | 785.4978 | 156.1697 | 629.3281
2035 | 3 | 2725.5236 | 1048.9463 | 774.09 | 149.9229 | 624.1672
2035 | 4 | 2725.8658 | 1048.3856 | 754.7312 | 137.4293 | 617.3019
2035 | 5 | 2726.2081 | 1047.8249 | 739.753 | 131.1825 | 608.5705
2035 | 6 | 2726.5503 | 1047.2642 | 724.5906 | 124.9357 | 599.6549
2035 | 7 | 2726.8925 | 1046.7034 | 704.2622 | 106.1954 | 598.0669
2035 | 8 | 2727.2347 | 1046.1427 | 701.9786 | 99.9486 | 602.03
2035 | 9 | 2727.577 | 1045.582 | 717.3959 | 112.4421 | 604.9537
2035 | 10 | 2727.9192 | 1045.0213 | 739.7368 | 124.9357 | 614.8011
2035 | 11 | 2728.2614 | 1044.4606 | 762.1181 | 137.4293 | 624.6888
2035 | 12 | 2728.6037 | 1043.8998 | 787.0306 | 156.1697 | 630.861