## CapCostCompTable
Type | Cost in 2015 ($2008/kW)
| Current Model Cost | 2H - 08 | [5 empty] | Spread Between Pulv Coal and other technology | [5 empty] | Ratio to Pulv | [6 empty] | Spread b/tween AEP and Consultants ($/kW)
| AEP Fundamentals | EIA AEO 2008 | WoodMac | CERA - AP | CERA - BP | CERA - GF | Global Insight | AEP Fundamentals | EIA AEO 2008 | WoodMac | CERA - AP | CERA - BP | CERA - GF |  | AEP Fundamentals | EIA AEO 2008 | WoodMac | CERA - AP | CERA - BP | CERA - GF |  | AEP Fundamentals | EIA AEO 2008 | WoodMac | CERA - AP | CERA - BP | CERA - GF
Pulv Coal | 3314 | 1506.4336 | 2500 | 3303.3708 | 3117.9775 | 3589.8876 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 100% | 100% | 100% | 100% | 100% | 100% |  | 0 | 1807.5664 | 814 | 10.6292 | 196.0225 | -275.8876
IGCC | 3833 | 1741.1525 | 3000 | 5761.8 | 5040.7303 | 0 |  | 519 | 234.7189 | 500 | 2458.4292 | 1922.7528 | N/A |  | 115.7% | 115.6% | 120% | 174.4% | 161.7% |  |  | 0 | 2091.8475 | 833 | -1928.8 | -1207.7303 | 3833
CC | 1001 | 717.6242 | 800 | 1057.2917 | 1156.25 | 973.9583 |  | -2313 | -788.8094 | -1700 | -2246.0791 | -1961.7275 | -2615.9293 |  | 30.21% | 47.64% | 32% | 32.01% | 37.08% | 27.13% |  | 0 | 283.3758 | 201 | -56.2917 | -155.25 | 27.0417
CT | 910 | 500.2206 | 619.2121 | 581.5104 | 635.9375 | 535.6771 |  | -2404 | -1006.213 | -1880.7879 | -2721.8604 | -2482.04 | -3054.2106 |  | 27.46% | 33.21% | 24.77% | 17.6% | 20.4% | 14.92% |  | 0 | 409.7794 | 290.7879 | 328.4896 | 274.0625 | 374.3229
Nuclear | 6970 | 2250.9927 | 3800 | 7313.1868 | 7897.4359 | 5016.4835 |  | 3656 | 744.5591 | 1300 | 4009.816 | 4779.4584 | 1426.5959 |  | 210.3% | 149.4% | 152% | 221.4% | 253.3% | 139.7% |  | 0 | 4719.0073 | 3170 | -343.1868 | -927.4359 | 1953.5165
Wind | 1886.04 | 1408.3134 | 2000 | 1838.2 | 2413.4615 | 1413.4615 | 2915 | -1427.96 | -98.1202 | -500 | -1465.1708 | -704.516 | -2176.4261 |  | 56.91% | 93.49% | 80% | 55.65% | 77.4% | 39.37% |  | 0 | 477.7266 | -113.96 | 47.84 | -527.4215 | 472.5785
Solar | 2554.6154 | 5346 |  | 3047.4877 | 2527.4476 | 3990.3265
|  |  |  | Asian Phoenix | Break Point | Global Fissures
Note: CERA & Woodmac as of 10/06/08
Global Insight as of 10/8/06: only Wind available at this time
EIA Inflation
2.5%
Starting Point
Type | $2008/kW Cost
| Current Model Cost | 2H - 08 | [5 empty] | Spread Between Pulv Coal and other technology | [6 empty] | Ratio to Pulv | [6 empty] | Spread b/tween AEP and Consultants ($/kW)
| AEP Fundamentals | EIA AEO 2008 | WoodMac | CERA - AP | CERA - BP | CERA - GF | Global Insight | AEP Fundamentals | EIA AEO 2008 | WoodMac | CERA - AP | CERA - BP | CERA - GF |  | AEP Fundamentals | EIA AEO 2008 | WoodMac | CERA - AP | CERA - BP | CERA - GF |  | AEP Fundamentals | EIA AEO 2008 | WoodMac | CERA - AP | CERA - BP | CERA - GF
Pulv Coal | 3021.198 | 1469.6913 | 2500 | 3000 | 3000 | 3000 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 100% | 100% | 100% | 100% | 100% | 100% |  | 0 | 1551.5066 | 521.198 | 21.198 | 21.198 | 21.198
IGCC | 3676.0457 | 1698.6854 | 3000 | 4850 | 4850 | 0 |  | 654.8477 | 228.9941 | 500 | 1850 | 1850 | N/A |  | 121.7% | 115.6% | 120% | 161.7% | 161.7% |  |  | 0 | 1977.3603 | 676.0457 | -1173.9543 | -1173.9543 | 3676.0457
CC | 935.2353 | 700.1212 | 800 | 1000 | 1000 | 1000 |  | -2085.9626 | -769.5702 | -1700 | -2000 | -2000 | -2000 |  | 30.96% | 47.64% | 32% | 33.33% | 33.33% | 33.33% |  | 0 | 235.1142 | 135.2353 | -64.7647 | -64.7647 | -64.7647
CT | 757.1755 | 488.0201 | 619.2121 | 550 | 550 | 550 |  | -2264.0225 | -981.6712 | -1880.7879 | -2450 | -2450 | -2450 |  | 25.06% | 33.21% | 24.77% | 18.33% | 18.33% | 18.33% |  | 0 | 269.1554 | 137.9634 | 207.1755 | 207.1755 | 207.1755
Nuclear | 5179.3524 | 2196.0905 | 3800 | 5500 | 5500 | 5500 |  | 2158.1545 | 726.3992 | 1300 | 2500 | 2500 | 2500 |  | 171.4% | 149.4% | 152% | 183.3% | 183.3% | 183.3% |  | 0 | 2983.2619 | 1379.3524 | -320.6476 | -320.6476 | -320.6476
Wind | 2002 | 1373.9643 | 2000 | 2000 | 2000 | 2000 | 1981 | -1019.198 | -95.727 | -500 | -1000 | -1000 | -1000 |  | 66.27% | 93.49% | 80% | 66.67% | 66.67% | 66.67% |  | 0 | 628.0357 | 2 | 2 | 2 | 2
Solar | 4150 | 4439.7927 |  | 4775 | 4775 | 4775
|  |  |  | Asian Phoenix | Break Point | Global Fissures
Note: CERA & Woodmac as of 10/06/08
Global Insight as of 10/8/06: only Wind available at this time

## Abbrev Summary
"ALTERNATIVE" Technology Types to be Screened / Modeled
Centralized / Concentrated Resources
| INTERMITTENT |  |  | BASELOAD | [5 empty] | BATTERY
Category | Wind |  | Solar | (Increm) Hydro | Biomass |  |  |  |  | Sodium Sulfur
Design-Type / Location | East-Farm | West-Farm | (Concentrating) | (Efficiency) | Co-fire/milling | Co-fire/cyclones | Pulv. Injection | Dedicated burners | Biomass-CFB
Summer (MW) (Biomass=% Heat) | 300 | 300 | 64 | 6 | 1.5% | 10% | 7.833% | 10% | 50 | 1
Cost ($/kW) | 2002 | 2002 | 4150 | 2438 | 209 | 275 | 664 | 734 | 2975 | 2000
(Avg.) HR (HHV)/(Biomass) Eff.Impact | n/ap | n/ap | n/ap | n/ap | ? | ? | ? | ? | 13864 | 4609
(Avg.) Capacity Factor | 33% | 43% | 13.7% | 60% | 37% | 31% | 82% | 82% | 65% | ?
Approx.CO2 Offset (equiv. kton/year) | 748 | 1025 | 0.95 | 30 | ? | ? | ? | ? | 245 | ?
Earliest Install | 2009 | 2009 | 2015 | 2012 | 2012 | 2012 | 2012 | 2012 | 2012 | 2009
Distributed Resources
| INTERMITTENT |  |  |  | BASELOAD
Category | Wind |  | Solar Photovoltaic |  | Landfill Gas | Fuel Cell
Design-Type / Location | Residential | Distributed | Res.(Roof-top) | Comm(Roof-top) | Microturbine | RR Solid Oxide
Summer (MW) | 1.8 (kW) | 10 | 2 (kW) | 50 (kW) | 0.8 | 1
Cost ($/kW) | 7070 | 1802 | 8966 | 6849 | 1385 | 2500
(Avg.) HR (HHV) | n/ap | n/ap | n/ap | n/ap | 13652 | 6400
(Avg.) Capacity Factor | 30.5% | 33% | 13.7% | 13.7% | 90% | 80%
Approx.CO2 Offset (equiv. kton/year) | 4 | 25 | 2.1 | 52 | 5.4 | 6
Earliest Install | 2012 | 2012 | 2015 | 2015 | 2009 | 2012
Source: AEP-New Technology Development file matrix: "New Gen_Renewables_2008 v1.0_110507.xls"

## AnnualCosts07
AEP System
Annual Costs of New Capacity
For Use in Aurora Model
| Solid Fuel | [7 empty] | Natural Gas | [5 empty] | Nuclear | Wind | Geothermal | Solar | Biomass
| Pulverized Coal (Supercritical, 600MW nominal) |  |  |  | IGCC |  |  |  | NGCC |  |  | CT |  |  | "1700"
| East (Bit) |  | West (PRB) |  | East (Bit) |  | West (PRB) |  | "300" | "400" | "500" | "100" | "200" | Aero
Owning Cost | Without CC | With CC | Without CC | With CC | Without CC | With CC | Without CC | With CC |  | (GE 7H) |  | (81MW) | (160MW) | (200MW)
Dancison Overnight, 2007 $/kW | 2400 | 4310 | 2092 | 3876 | 3079 | 4139 | 2775 | 3815 | 1156 | 988 | 859 | 656 | 593 | 698 | 4027
As capitalized, 2007 $/kW | 2621.0248 | 4712.8482 | 2283.673 | 4250.1769 | 3367.199 | 4528.5513 | 3033.7487 | 4172.5401 | 1220.9998 | 1043.6804 | 907.3075 | 675.7446 | 611.3923 | 720.0775 | 4450.771 | 1800 | 2175 | 3900 | 3014.1785
Cost, $/MW-week (b) | 6860.0284 | 12334.974 | 5977.075 | 11124.0207 | 8812.9959 | 11852.6121 | 7940.2539 | 10920.8214 | 3195.7323 | 2731.6329 | 2374.7029 | 1768.6316 | 1600.2017 | 1884.6643 | 11649.0371 | 4711.1538 | 5692.6442 | 10207.5 | 7889.0326
Fixed O&M
Dancison, 2007 $/kW-year | 39.15 | 65.79 | 36.44 | 61.96 | 45.02 | 59.79 | 41.63 | 56.16 | 16.33 | 13.55 | 11.64 | 11.02 | 7.9 | 8.54 | 58.69
$/MW-week | 752.8846 | 1265.1923 | 700.7692 | 1191.5385 | 865.7692 | 1149.8077 | 800.5769 | 1080 | 314.0385 | 260.5769 | 223.8462 | 211.9231 | 151.9231 | 164.2308 | 1128.6538 | 0 | 0 | 0 | 0
(a) Based on New Generation Technology Cost v2.0 111507.xls | [15 empty] | #REF!
(b) Carrying Charge Rate, 40 year life: | 13.61% | [14 empty] | #REF!
1.02
#REF!
costs taken from file: New Generation Technology Costs v2.0 111507
| 2400 | 4310 | 2092 | 3876 | 3079 | 4139 | 2775 | 3815 | 1156 | 988 | 859 | 656 | 593 | 698 | 4027
| 2621.0248 | 4712.8482 | 2283.673 | 4250.1769 | 3367.199 | 4528.5513 | 3033.7487 | 4172.5401 | 1220.9998 | 1043.6804 | 907.3075 | 675.7446 | 611.3923 | 720.0775 | 4450.771
| 9.209% | 9.347% | 9.162% | 9.654% | 9.36% | 9.412% | 9.324% | 9.372% | 5.623% | 5.636% | 5.624% | 3.01% | 3.102% | 3.163% | 10.52%

## AnnualCosts08&09
AEP System
Annual Costs of New Capacity
For Use in Aurora Model
[10 empty] | 500 | 600
| Solid Fuel | [7 empty] | Natural Gas | [5 empty] | Nuclear | Wind | Geothermal | Solar | Biomass
| Pulverized Coal (UltraSupercritical, 600MW nominal) |  |  |  | IGCC |  |  |  | CC |  |  | CT |  |  | "1700"
| East (Bit) |  | West (PRB) |  | East (Bit) |  | West (PRB) |  | "300" | "400" | "500" | "100" | "200" | Aero
Owning Cost | Without CC | With CC | Without CC | With CC | Without CC | With CC | Without CC | With CC |  | (GE 7H) |  | (81MW) | (160MW) | (200MW)
Dancison Overnight, 2008 $/kW | 2753 | 4468.5633 | 2099.0112 | 4237.6842 | 3342.7371 | 4351.7366 | 3298.6615 | 4288.3004 | 1156 | 1057.1922 | 885.8518 | 851.2299 | 730.2817 | 793.6936 | 4200.523
As capitalized, 2008 $/kW | 3021.198 | 5753.2871 | 2412.5503 | 5110.263 | 3676.0457 | 5328.9758 | 3627.5289 | 5255.8515 | 1220.9998 | 1114.8074 | 935.2353 | 887.491 | 757.1755 | 826.6745 | 5179.3524 | 2002 | 2175 | 4150 | 2975
Cost, $/MW-week (b) | 7907.4047 | 15058.1225 | 6314.3865 | 13375.1307 | 9621.3427 | 13947.5694 | 9494.3593 | 13756.1805 | 3413.5219 | 2917.7941 | 2447.7986 | 2322.8371 | 1981.7612 | 2163.6615 | 13555.959 | 5239.85 | 5692.6442 | 10861.8269 | 7786.4904
Fixed O&M
Dancison, 2008 $/kW-year ('c) | 48.4447 | 88.7361 | 41.1747 | 82.1176 | 64.16 | 85.9 | 63.75 | 85.41 | 20.1745 | 16.74 | 14.13 | 15.49 | 13.85 | 14.5 | 123.67
$/MW-week | 931.6291 | 1706.4639 | 791.8219 | 1579.185 | 1233.8462 | 1651.9231 | 1225.9615 | 1642.5 | 387.9708 | 321.9231 | 271.7308 | 297.8846 | 266.3462 | 278.8462 | 2378.2692 | 40 | 150 | 50 | 60
(a) Based on New Generation Technology Cost v2.0 111507.xls | [15 empty] | #REF!
(b) Carrying Charge Rate, 40 year life: | 13.61% | [7 empty] | (2007 costs) |  |  | (2007 costs) |  |  |  | #REF!
('c) use Fixed O&M from 2007 | [15 empty] | 1.02
[9 empty] | 1.0682 | 1.0682 | 1.0308 | 1.3134 | 1.2384 | 1.148 |  | #REF!
Cost, $/MW-week (b) (Overnight) | 7205.4481 | 11695.6052 | 5493.7581 | 11091.3233 | 8748.9716 | 11389.8337 | 8633.6122 | 11223.8016 | 3025.6077 | 2766.9972 | 2318.5467 | 2227.9305 | 1911.3719 | 2077.3402 | 10994.0613
Nominal COD | 2014 | 2020 | 2014 | 2020 | 2014 | 2020 | 2014 | 2020 |  | 2011.5 | 2011.5 | 2010.5 | 2010.5 | 2010.5 | 2021
| 5+ | 10+ | 5+ | 10+ | 5+ | 10+ | 5+ | 10+ |  | 4 | 4 | 3 | 3 | 3 | 10+
2008
Dancison Overnight, 2008 $/kW | 2527.2773 | 4106.0229 | 2127.4681 | 3577.0156 | 3439.4908 | 4974.8342 | 3807.067 | 5115.5976 | 1156 | 1057.1922 | 885.8518 | 656 | 550.8947 | 793.6936 | 4200.523
As capitalized, 2008 $/kW | 2772.4893 | 4980.1149 | 2333.8881 | 4338.4923 | 3778.1368 | 6080.5724 | 4181.7553 | 6308.3533 | 1220.9998 | 1114.8074 | 935.2353 | 675.7446 | 571.2052 | 826.6745 | 5179.3524 | 1800 | 2175 | 3900 | 3188.3627
Cost, $/MW-week (b) | 7256.4577 | 13034.493 | 6108.5034 | 11355.1692 | 9888.5464 | 15914.7289 | 10944.9403 | 16510.9017 | 3195.7323 | 2917.7941 | 2447.7986 | 1768.6316 | 1495.0198 | 2163.6615 | 13555.959 | 4711.1538 | 5692.6442 | 10207.5 | 8344.9263
2007
Dancison Overnight, 2007 $/kW | 2400 | 4310 | 2092 | 3876 | 3079 | 4139 | 2775 | 3815 | 1156 | 988 | 859 | 656 | 593 | 698 | 4027
As capitalized, 2007 $/kW | 2621.0248 | 4712.8482 | 2283.673 | 4250.1769 | 3367.199 | 4528.5513 | 3033.7487 | 4172.5401 | 1220.9998 | 1043.6804 | 907.3075 | 675.7446 | 611.3923 | 720.0775 | 4450.771 | 1800 | 2175 | 3900 | 3014.1785
Cost, $/MW-week (b) | 6860.0284 | 12334.974 | 5977.075 | 11124.0207 | 8812.9959 | 11852.6121 | 7940.2539 | 10920.8214 | 3195.7323 | 2731.6329 | 2374.7029 | 1768.6316 | 1600.2017 | 1884.6643 | 11649.0371 | 4711.1538 | 5692.6442 | 10207.5 | 7889.0326
Delta (2008 - 2007)
Dancison Overnight, 2007 $/kW | 127.2773 | -203.9771 | 35.4681 | -298.9844 | 360.4908 | 835.8342 | 1032.067 | 1300.5976 | 0 | 69.1922 | 26.8518 | 0 | -42.1053 | 95.6936 | 173.523 | 0 | 0 | 0 | 0
As capitalized, 2007 $/kW | 151.4645 | 267.2667 | 50.2151 | 88.3154 | 410.9377 | 1552.0211 | 1148.0065 | 2135.8132 | 0 | 71.127 | 27.9278 | 0 | -40.187 | 106.597 | 728.5814 | 0 | 0 | 0 | 174.1842
Cost, $/MW-week (b) | 396.4293 | 699.5191 | 131.4284 | 231.1486 | 1075.5505 | 4062.1167 | 3004.6864 | 5590.0803 | 0 | 186.1612 | 73.0957 | 0 | -105.1819 | 278.9971 | 1906.9218 | 0 | 0 | 0 | 455.8937
Note on K12: AEP: 2007 Costs
Note on N12: AEP: Data taken from IRP CTs tab
Note on B17: AEP: Individual tabs

## AnnualCosts2010
AEP System
Annual Costs of New Capacity
For Use in Aurora Model
[9 empty] | 250 | 390 | 620 | 50 | 166 | 200
| Solid Fuel | [7 empty] | Natural Gas | [5 empty] | Nuclear | Wind | Geothermal | Solar | Biomass
| Pulverized Coal (UltraSupercritical, 600MW nominal) |  |  |  | IGCC |  |  |  | NGCC |  |  | CT |  |  | "1700" | 300
| East (Bit) |  | West (PRB) |  | East (Bit) |  | West (PRB) |  | "300" | "400" | "600" | 50 | "200" | Aero
Owning Cost | Without CC | With CC | Without CC | With CC | Without CC | With CC | Without CC | With CC |  |  |  |  | (160MW) | (200MW)
Dancison Overnight, 2010 $/kW | 2972 | 4485 | 2521 | 3907 | 3438 | 5073 | 3514 | 4848 | 1064 | 915 | 950 | 1193 | 877 | 1199 | 5991 | 1953 |  | 3000 | 3130
As capitalized, 2010 $/kW | 3314 | 5485 | 2811 | 4852 | 3833 | 6153 | 3918 | 5928 | 1122 | 1012 | 1001 | 1032 | 910 | 1244 | 6970 | 2028 | 2175 | 3115.3846 | 3250 | 1.0385
Cost, $/MW-week (b) | 8673.7577 | 14355.9327 | 7357.2519 | 12699.1769 | 10032.1404 | 16104.2942 | 10254.6115 | 15515.4 | 2936.6192 | 2648.7154 | 2619.925 | 2701.0615 | 2381.75 | 3255.9308 | 18242.6346 | 5307.9 | 5692.6442 | 8153.9201 | 8506.25
Fixed O&M
Dancison, 2010 $/kW-year | 31.54 | 46.31 | 28.02 | 41.54 | 41.85 | 59.82 | 43.68 | 57.83 | 11.85 | 13.28 | 5.36 | 2.75 | 8.07 | 9.88 | 67.3
$/MW-week | 606.5385 | 890.5769 | 538.8462 | 798.8462 | 804.8077 | 1150.3846 | 840 | 1112.1154 | 227.8846 | 255.3846 | 103.0769 | 52.8846 | 155.1923 | 190 | 1294.2308 | 40 | 150 | 50 | 60
(a) Based on New Generation Technology Cost: 2010 IRP Cost Model New Units 100120 v2.1.xls
(b) Carrying Charge Rate, 40 year life: | 13.61%
* Increased UltraSC PulvCoal COD to 20 yrs: 2030
* Increased IGCC COD to 20 yrs: 2030
** Estimate 7 yrs COD for Coal W/O CC, and 13 yrs for Coal W/ CC
** Replace CC500 with CC600
** Replace CT100 with CT50
Cost, $/MW-week (b) (Overnight) | 7778.6385 | 11738.625 | 6598.2327 | 10225.8212 | 8998.3038 | 13277.6019 | 9197.2192 | 12688.7077 | 2784.8154 | 2394.8365 | 2486.4423 | 3122.4481 | 2295.3788 | 3138.1519 | 15680.2904
Nominal COD | 2014 | 2020 | 2014 | 2020 | 2014 | 2020 | 2014 | 2020 |  | 2011.5 | 2011.5 | 2010.5 | 2010.5 | 2010.5 | 2021
| 5+ | 10+ | 5+ | 10+ | 5+ | 10+ | 5+ | 10+ |  | 4 | 4 | 3 | 3 | 3 | 10+
2008
Dancison Overnight, 2008 $/kW | 2527.2773 | 4106.0229 | 2127.4681 | 3577.0156 | 3439.4908 | 4974.8342 | 3807.067 | 5115.5976 | 1156 | 1057.1922 | 885.8518 | 656 | 550.8947 | 793.6936 | 4200.523
As capitalized, 2008 $/kW | 2772.4893 | 4980.1149 | 2333.8881 | 4338.4923 | 3778.1368 | 6080.5724 | 4181.7553 | 6308.3533 | 1220.9998 | 1114.8074 | 935.2353 | 675.7446 | 571.2052 | 826.6745 | 5179.3524 | 1800 | 2175 | 3900 | 3188.3627
Cost, $/MW-week (b) | 7256.4577 | 13034.493 | 6108.5034 | 11355.1692 | 9888.5464 | 15914.7289 | 10944.9403 | 16510.9017 | 3195.7323 | 2917.7941 | 2447.7986 | 1768.6316 | 1495.0198 | 2163.6615 | 13555.959 | 4711.1538 | 5692.6442 | 10207.5 | 8344.9263
2007
Dancison Overnight, 2007 $/kW | 2400 | 4310 | 2092 | 3876 | 3079 | 4139 | 2775 | 3815 | 1156 | 988 | 859 | 656 | 593 | 698 | 4027
As capitalized, 2007 $/kW | 2621.0248 | 4712.8482 | 2283.673 | 4250.1769 | 3367.199 | 4528.5513 | 3033.7487 | 4172.5401 | 1220.9998 | 1043.6804 | 907.3075 | 675.7446 | 611.3923 | 720.0775 | 4450.771 | 1800 | 2175 | 3900 | 3014.1785
Cost, $/MW-week (b) | 6860.0284 | 12334.974 | 5977.075 | 11124.0207 | 8812.9959 | 11852.6121 | 7940.2539 | 10920.8214 | 3195.7323 | 2731.6329 | 2374.7029 | 1768.6316 | 1600.2017 | 1884.6643 | 11649.0371 | 4711.1538 | 5692.6442 | 10207.5 | 7889.0326
Delta (2008 - 2007)
Dancison Overnight, 2007 $/kW | 127.2773 | -203.9771 | 35.4681 | -298.9844 | 360.4908 | 835.8342 | 1032.067 | 1300.5976 | 0 | 69.1922 | 26.8518 | 0 | -42.1053 | 95.6936 | 173.523 | 0 | 0 | 0 | 0
As capitalized, 2007 $/kW | 151.4645 | 267.2667 | 50.2151 | 88.3154 | 410.9377 | 1552.0211 | 1148.0065 | 2135.8132 | 0 | 71.127 | 27.9278 | 0 | -40.187 | 106.597 | 728.5814 | 0 | 0 | 0 | 174.1842
Cost, $/MW-week (b) | 396.4293 | 699.5191 | 131.4284 | 231.1486 | 1075.5505 | 4062.1167 | 3004.6864 | 5590.0803 | 0 | 186.1612 | 73.0957 | 0 | -105.1819 | 278.9971 | 1906.9218 | 0 | 0 | 0 | 455.8937
Note on C13: AEP: Estimated 7 yrs COD: $342/kW total
Note on D13: AEP: Estimated 13 yrs COD: $1000/kW total
Note on E13: AEP: Estimated 7 yrs COD: $290/kW total
Note on F13: AEP: Estimated 13 yrs COD: $945/kW total
Note on G13: AEP: Estimated 7 yrs COD: $395/kW total
Note on H13: AEP: Estimated 13 yrs COD: $1080/kW total
Note on I13: AEP: Estimated 7 yrs COD: $404/kW total
Note on J13: AEP: Estimated 13 yrs COD: $1080/kW total
Note on R18: AEP: Estimated: AEP Renewables
Note on S18: AEP: Estimated: AEP Renewables
Note on T18: AEP: Estimated: AEP Renewables
Note on U18: AEP: Estimated: AEP Renewables
Note on N13: AEP: Average of 2 50MW units listed on new IRP. Basic 100MW unit has been removed.

## SteelHistory
| Unit value (98$/t) | Forecast (98$/t) |  | Forecast 2
1900 | 700
1901 | 620
1902 | 660
1903 | 630
1904 | 530
1905 | 590
1906 | 610
1907 | 620
1908 | 590
1909 | 530
1910 | 550
1911 | 490
1912 | 470
1913 | 501
1914 | 414
1915 | 466
1916 | 817
1917 | 980
1918 | 688
1919 | 505
1920 | 536
1921 | 379
1922 | 364
1923 | 489
1924 | 462
1925 | 420
1926 | 403 |  |  |  |  | 58
1927 | 379 |  |  |  |  | 803
1928 | 393 |  |  |  |  | 403 | 1000
1929 | 403 |  |  |  |  | 1.9926 | 403
1930 | 374 |  |  |  |  | 1.012 | -101
1931 | 385 | [5 empty] | 2.4814 |  | 1917
1932 | 415 | [5 empty] | 1.009 |  | 1978
1933 | 453 | [7 empty] | 61
1934 | 485
1935 | 472
1936 | 496
1937 | 633
1938 | 627
1939 | 597
1940 | 591
1941 | 586
1942 | 528
1943 | 498
1944 | 489
1945 | 491
1946 | 494
1947 | 485
1948 | 512
1949 | 561
1950 | 575
1951 | 569
1952 | 573
1953 | 607
1954 | 630
1955 | 669
1956 | 707
1957 | 744 |  |  |  |  | 1.8462 | 1.0206
1958 | 755
1959 | 763
1960 | 751
1961 | 747
1962 | 738
1963 | 736
1964 | 738
1965 | 731
1966 | 714
1967 | 699
1968 | 683
1969 | 670.1
1970 | 656.7
1971 | 678.9
1972 | 724.7
1973 | 760.7
1974 | 808.9
1975 | 874.9
1976 | 897.5
1977 | 923.6
1978 | 989.8
1979 | 990.4
1980 | 944.4
1981 | 957.5
1982 | 941.1
1983 | 945
1984 | 944.6
1985 | 921.8 |  |  |  |  | 2.2873 | 1.0144 | 2.0344
1986 | 813.1
1987 | 803.6
1988 | 771.6
1989 | 730.4
1990 | 720.3
1991 | 718.3
1992 | 617.2
1993 | 608.9
1994 | 627.3
1995 | 633.5
1996 | 658.5
1997 | 666.1
1998 | 625.2
1999 | 568.9
2000 | 562.4
2001 | 511
2002 | 520.1
2003 | 531.4
2004 | 709.2
2005 | 700
2006 | 700 |  |  |  | 1.847 | 1.0078
2007 | 704.3581 |  | 454.3581
2008 | 984.2117 |  | 734.2117 | 895
2009 |  | 792.8776 | 542.8776 | 675
2010 |  | 762.5206 | 512.5206 | 650
2011 |  | 733.1453 | 483.1453 | 625
2012 |  | 704.725 | 454.725 | 600
2013 |  | 706.9541 | 456.9541 | 615
2014 |  | 713.674 | 463.674 | 636.525
2015 |  | 720.4927 | 470.4927 | 658.8034
2016 |  | 727.4117 | 477.4117 | 681.8615
2017 |  | 734.4325 | 484.4325 | 705.7266
2018 |  | 741.5565 | 491.5565 | 730.4271
2019 |  | 748.7853 | 498.7853 | 755.992
2020 |  | 756.1203 | 506.1203 | 782.4517
2021 |  | 763.5633 | 513.5633 | 809.8376
2022 |  | 771.1157 | 521.1157 | 838.1819
2023 |  | 778.7791 | 528.7791 | 867.5182
2024 |  | 786.5553 | 536.5553 | 897.8814
2025 |  | 794.4458 | 544.4458 | 929.3072
2026 |  | 802.4524 | 552.4524 | 961.833
2027 |  | 810.5767 | 560.5767 | 995.4971
2028 |  | 818.8205 | 568.8205 | 1030.3395
2029 |  | 827.1855 | 577.1855 | 1066.4014
2030 |  | 835.6735 | 585.6735 | 1103.7255
2.2049
1.0077
1.1858
1.009

## Base Costs
Type | Unit | Capital Cost ($/kW-yr) | Capital Cost ($/MW-wk) | FOM ($/kW-yr) | FOM ($/MW-wk) | Total Cost ($/MW-wk) | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053
CT50 | CT 50 |  | 2447.7223 |  | 47.9244 | 2495.6467 | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
CT200 | CT 200 |  | 2158.3598 |  | 140.6364 | 2298.9962 | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
CTAero | CT AeroDeriv |  | 2950.549 |  | 172.1794 | 3122.7284 | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
CC300 | CC 300 |  | 2661.1864 |  | 206.5108 | 2867.6972 | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
CC600 | CC 600 |  | 2374.1957 |  | 93.4091 | 2467.6048 | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
PulvEast | Pulv Coal East |  | 7860.2245 |  | 549.6497 | 8409.8742 | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
PulvWest | Pulv Coal West |  | 6667.197 |  | 488.3064 | 7155.5035 | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
IGCCEast | IGCC Coal East |  | 9091.2011 |  | 729.3228 | 9820.5239 | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
IGCCWest | IGCC Coal West |  | 9292.8061 |  | 761.2143 | 10054.0204 | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
IGCCCCSEast | IGCC CCS East |  | 14593.8326 |  | 1042.4872 | 15636.3198 | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
IGCCCCSWest | IGCC CCS West |  | 14060.1722 |  | 1007.8073 | 15067.9795 | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Nuclear | Nuclear |  | 16531.6127 |  | 1172.8417 | 17704.4544 | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 68% | 68% | 68% | 68% | 68% | 68% | 68% | 68% | 68% | 68% | 68% | 68% | 68% | 68% | 68% | 68% | 68% | 68% | 68% | 68% | 68% | 68% | 68%
CCHS | CC Hsystem |  | 2400.2858 |  | 231.4315 | 2631.7173 | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
Solar | Solar |  | 7389.1437 |  | 45.3104 | 7434.4541 | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 95% | 90% | 85% | 82% | 80% | 78% | 76% | 74% | 72% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70%
Refuse | Refuse |  | 7708.4277 |  | 54.3725 | 7762.8002 | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 80.84% | 81.39% | 81.75% | 82.12% | 82.56% | 83.01% | 83.5% | 83.99% | 84.49% | 85% | 85.51% | 86.04% | 86.57% | 87.1% | 87.65% | 88.2% | 88.76% | 89.33% | 89.91% | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Geothermal | Geothermal |  | 5158.717 |  | 135.9311 | 5294.6481 | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 110% | 115% | 115% | 115% | 115% | 115% | 115% | 115% | 115% | 115% | 115% | 115% | 115% | 115% | 115% | 115% | 115% | 115% | 115% | 115% | 115% | 115% | 115% | 115% | 115% | 115% | 115% | 115% | 115% | 115% | 115% | 115% | 115% | 115% | 115% | 115% | 115% | 115% | 115% | 115% | 115% | 115%
Wind | Wind |  | 4810.0589 |  | 36.2483 | 4846.3072 | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 97% | 95% | 93% | 93% | 93% | 93% | 93% | 93% | 93% | 93% | 93% | 93% | 93% | 93% | 93% | 93% | 93% | 93% | 93% | 93% | 93% | 93% | 93% | 93% | 93% | 93% | 93% | 93% | 93% | 93% | 93% | 93% | 93% | 93% | 93% | 93% | 93% | 93% | 93% | 93% | 93% | 93%
|  | CT 100 | 1415.4923 | 1.7292 | 197.525 | bar: 2005 to 2009
|  | CT 200 | 1263.9782 | 1.7076 | 141.6178 |  | 2011: 1800; 2015: Reference
|  | CT AeroDeriv | 1516.7739 | 1.9453 | 0 |  | 2011: 2100
Reference |  | CC 300 | 2399.8899 | 1.1089 | 238.3224 |  | 2011: 1.1667
|  | CC 600 | 1995.3261 | 1.1899 | 170.681 | bar: 2005 to 2009
|  | Pulv Coal East | 4810.5494 | 1.634 | 713.2236 | bar: 2005 to 2009
|  | Pulv Coal West | 4292.6707 | 1.5532 | 643.9171 | bar: 2005 to 2009
|  | IGCC Coal East | 6286.6711 | 1.4461 | 791.8115 | bar: 2005 to 2009
|  | IGCC Coal West | 6111.8892 | 1.5204 | 641.8783 | bar: 2005 to 2009
|  | IGCC CCS East | 8449.4114 | 1.7272 | 1050.9419 |  | 2015: Input Aurora
| 543 | IGCC CCS West | 8307.25 | 1.6925 | 910.9114 | Turn to constant $ | 2006: Q1-2009; 2008: 877; 2011: Split assumed 50% non related materials market - 50% Flat roll trend; 2014: Labor Escalator; 2015: Inflation Factor; 2016: Delta
1 | 888 | Nuclear | 6610.3273 | 2.5009 | 1342.1083 | 870.5882 | 2006: 2008; 2008: 870.5882; 2009: 0.99269; 2010: 877; 2011: 873.7941; 2012: 0.99634; 2013: 0.99634; 2014: 1.03; 2015: 1.03; 2016: 1
2 | 540 | CC Hsystem | 2430.9546 | 0.98738 | 215.6839 | 519.0311 | 2006: 2009; 2008: 519.0311; 2009: 0.59183; 2010: 877; 2011: 687.6349; 2012: 0.78408; 2013: 0.78408; 2014: 1.03; 2015: 1.03; 2016: 1
3 | 550 | Solar | 7712 | 0.95814 |  | 518.2773 | 2006: 2010; 2008: 518.2773; 2009: 0.59097; 2010: 877; 2011: 687.2731; 2012: 0.78366; 2013: 0.79347; 2014: 1.03; 2015: 1.03; 2016: 1
4 | 575 | Refuse | 6352.339 | 1.2135 |  | 531.2111 | 2006: 2011; 2008: 531.2111; 2009: 0.60571; 2010: 877; 2011: 704.1056; 2012: 0.80286; 2013: 0.80286; 2014: 1.03; 2015: 1.03; 2016: 1
5 | 605 | Geothermal | 6309 | 0.81768 |  | 547.9671 | 2006: 2012; 2008: 547.9671; 2009: 0.62482; 2010: 877; 2011: 712.4836; 2012: 0.81241; 2013: 0.80837; 2014: 1.03; 2015: 1.03; 2016: 1
6 | 620 | Wind | 3126 | 1.5387 |  | 550.5423 | 2006: 2013; 2008: 550.5423; 2009: 0.62776; 2010: 877; 2011: 713.7711; 2012: 0.81388; 2013: 0.81388; 2014: 1.03; 2015: 1.03; 2016: 1
7 | 640 |  |  |  |  | 557.1585 | 2006: 2014; 2008: 557.1585; 2009: 0.6353; 2010: 877; 2011: 717.0793; 2012: 0.81765; 2013: 0.81752; 2014: 1.03; 2015: 1.03; 2016: 1
8 | 660 |  |  |  |  | 563.3036 | 2006: 2015; 2008: 563.3036; 2009: 0.64231; 2010: 877; 2011: 720.1518; 2012: 0.82115; 2013: 0.82115; 2014: 1.03; 2015: 1.03; 2016: 1
9 | 682 |  |  |  |  | 570.6671 | 2006: 2016; 2008: 570.6671; 2009: 0.6507; 2010: 877; 2011: 723.8335; 2012: 0.82535; 2013: 0.82565; 2014: 1.03; 2015: 1.03; 2016: 1
10 | 705.87 |  |  |  |  | 579.0593 | 2006: 2017; 2008: 579.0593; 2009: 0.66027; 2010: 877; 2011: 728.0296; 2012: 0.83014; 2013: 0.83014; 2014: 1.03; 2015: 1.03; 2016: 1
11 | 730.5754 |  |  |  |  | 587.5748 | 2006: 2018; 2008: 587.5748; 2009: 0.66998; 2010: 877; 2011: 732.2874; 2012: 0.83499; 2013: 0.83499; 2014: 1.03; 2015: 1.03; 2016: 1
12 | 756.1456 |  |  |  |  | 596.2156 | 2006: 2019; 2008: 596.2156; 2009: 0.67984; 2010: 877; 2011: 736.6078; 2012: 0.83992; 2013: 0.83992; 2014: 1.03; 2015: 1.03; 2016: 1
13 | 782.6107 |  |  |  |  | 604.9835 | 2006: 2020; 2008: 604.9835; 2009: 0.68983; 2010: 877; 2011: 740.9918; 2012: 0.84492; 2013: 0.84492; 2014: 1.03; 2015: 1.03; 2016: 1
14 | 810.0021 |  |  |  |  | 613.8803 | 2006: 2021; 2008: 613.8803; 2009: 0.69998; 2010: 877; 2011: 745.4402; 2012: 0.84999; 2013: 0.84999; 2014: 1.03; 2015: 1.03; 2016: 1
15 | 838.3521 |  |  |  |  | 622.908 | 2006: 2022; 2008: 622.908; 2009: 0.71027; 2010: 877; 2011: 749.954; 2012: 0.85514; 2013: 0.85514; 2014: 1.03; 2015: 1.03; 2016: 1
16 | 867.6945 |  |  |  |  | 632.0684 | 2006: 2023; 2008: 632.0684; 2009: 0.72072; 2010: 877; 2011: 754.5342; 2012: 0.86036; 2013: 0.86036; 2014: 1.03; 2015: 1.03; 2016: 1
17 | 898.0638 |  |  |  |  | 641.3635 | 2006: 2024; 2008: 641.3635; 2009: 0.73132; 2010: 877; 2011: 759.1818; 2012: 0.86566; 2013: 0.86566; 2014: 1.03; 2015: 1.03; 2016: 1
18 | 929.496 |  |  |  |  | 650.7953 | 2006: 2025; 2008: 650.7953; 2009: 0.74207; 2010: 877; 2011: 763.8977; 2012: 0.87103; 2013: 0.87103; 2014: 1.03; 2015: 1.03; 2016: 1
19 | 962.0284 |  |  |  |  | 660.3659 | 2006: 2026; 2008: 660.3659; 2009: 0.75298; 2010: 877; 2011: 768.6829; 2012: 0.87649; 2013: 0.87649; 2014: 1.03; 2015: 1.03; 2016: 1
20 | 995.6993 |  |  |  |  | 670.0771 | 2006: 2027; 2008: 670.0771; 2009: 0.76406; 2010: 877; 2011: 773.5386; 2012: 0.88203; 2013: 0.88203; 2014: 1.03; 2015: 1.03; 2016: 1
21 | 1030.5488 |  |  |  |  | 679.9312 | 2006: 2028; 2008: 679.9312; 2009: 0.77529; 2010: 877; 2011: 778.4656; 2012: 0.88765; 2013: 0.88765; 2014: 1.03; 2015: 1.03; 2016: 1
22 | 1066.618 |  |  |  |  | 689.9302 | 2006: 2029; 2008: 689.9302; 2009: 0.78669; 2010: 877; 2011: 783.4651; 2012: 0.89335; 2013: 0.89335; 2014: 1.03; 2015: 1.03; 2016: 1
23 | 1103.9497 |  |  |  |  | 700.0762 | 2006: 2030; 2008: 700.0762; 2009: 0.79826; 2010: 877; 2011: 788.5381; 2012: 0.89913; 2013: 0.89913; 2014: 1.03; 2015: 1.03; 2016: 1
[9 empty] | 1.546 | 1355.8242
| 454.3581 | [5 empty] | 2007: 452.8366
2008 | 728.4693 | [5 empty] | 2010: 657.75
2009 | 434.302
2010 | 433.6712
2011 | 444.4937
2012 | 458.5144 | [5 empty] | 2017: Notes:; 2018: Adjusted wind power escalation based on research provided by Global Insight - USAS Q2 08 report (wind power sourcing)
2013 | 460.6691 | [5 empty] | 2018: Adjusted solar power escalation based on research provided by CERA Advisory Service - Concentrating Solar Power Decision Brief (Apr 08)
2014 | 466.2053
2015 | 471.3473
2016 | 477.5087
2017 | 484.5309
2018 | 491.6563
2019 | 498.8866
2020 | 506.2231
2021 | 513.6676
2022 | 521.2215
2023 | 528.8866
2024 | 536.6643
2025 | 544.5564
2026 | 552.5646
2027 | 560.6906
2028 | 568.936
2029 | 577.3027
2030 | 585.7925
Scenario #1
|  |  |  | (turn to constant) |  |  | 2005: % Delta
| H208 Base (Final) |  | 1H09 Base Case (Ref) | H109 Reference - Constant | H208 Base - Constant |  | 2005: H109 - H208 const
2008 | 895 | 1 | 888 | 870.5882 | 877.451 | 870.5882 | 2005: 0.7821%
2009 | 675 | 2 | 540 | 519.0311 | 648.7889 | 519.0311 | 2005: 20%
2010 | 650 | 3 | 550 | 518.2773 | 612.5095 | 518.2773 | 2005: 15.38%
2011 | 625 | 4 | 575 | 531.2111 | 577.4034 | 531.2111 | bar: 2005
2012 | 600 | 5 | 605 | 547.9671 | 543.4385 | 547.9671 | 2005: -0.8333%
2013 | 615 | 6 | 620 | 550.5423 | 546.1024 | 550.5423 | 2005: -0.813%
2014 | 636.525 | 7 | 640 | 557.1585 | 554.1333 | 558.6385 | 2005: -0.5459%
2015 | 658.8034 | 8 | 660 | 563.3036 | 562.2823 | 566.8537 | 2005: -0.1816%
2016 | 681.8615 | 9 | 682 | 570.6671 | 570.5512 | 575.1898 | 2005: -0.02031%
2017 | 705.7266 | 10 | 705.87 | 579.0593 | 578.9417 | 583.6485 | 2005: -0.02031%
2018 | 730.4271 | 11 | 730.5754 | 587.5748 | 587.4555 | 592.2316 | 2005: -0.02031%
2019 | 755.992 | 12 | 756.1456 | 596.2156 | 596.0946 | 600.9409 | 2005: -0.02031%
2020 | 782.4517 | 13 | 782.6107 | 604.9835 | 604.8606 | 609.7782 | 2005: -0.02031%
2021 | 809.8376 | 14 | 810.0021 | 613.8803 | 613.7557 | 618.7455 | 2005: -0.02031%
2022 | 838.1819 | 15 | 838.3521 | 622.908 | 622.7815 | 627.8447 | 2005: -0.02031%
2023 | 867.5182 | 16 | 867.6945 | 632.0684 | 631.94 | 637.0778 | 2005: -0.02031%
2024 | 897.8814 | 17 | 898.0638 | 641.3635 | 641.2333 | 646.4465 | 2005: -0.02031%
2025 | 929.3072 | 18 | 929.496 | 650.7953 | 650.6632 | 655.9531 | 2005: -0.02031%
2026 | 961.833 | 19 | 962.0284 | 665 | 660.2317 | 665.5995 | 2005: -0.7222%
2027 | 995.4971 | 20 | 995.6993 | 670.0771 | 669.941 | 675.3877 | 2005: -0.02031%
2028 | 1030.3395 | 21 | 1030.5488 | 679.9312 | 679.7931 | 685.3199 | 2005: -0.02031%
2029 | 1066.4014 | 22 | 1066.618 | 689.9302 | 689.7901 | 695.3981 | 2005: -0.02031%
2030 | 1103.7255 | 23 | 1103.9497 | 700.0762 | 699.934 | 705.6246 | 2005: -0.02031%
|  |  | 2007 | 2008
Type | Unit |  | Capital Cost ($/MW-wk) | Capital Cost ($/MW-wk) | Delta
CT100 | CT 100 |  | 1768.6316 | 2322.8371 | 554.2054
CT200 | CT 200 |  | 1600.2017 | 1981.7612 | 381.5596
CTAero | CT AeroDeriv |  | 1884.6643 | 2163.6615 | 278.9971
CC300 | CC 300 |  | 3195.7323 | 3413.5219 | 217.7896
CC500 | CC 500 |  | 2374.7029 | 2447.7986 | 73.0957
PulvEast | Pulv Coal East |  | 6860.0284 | 7907.4047 | 1047.3763
PulvWest | Pulv Coal West |  | 5977.075 | 6314.3865 | 337.3115
IGCCEast | IGCC Coal East |  | 8812.9959 | 9621.3427 | 808.3468
IGCCWest | IGCC Coal West |  | 7940.2539 | 9494.3593 | 1554.1054
IGCCCCSEast | IGCC CCS East |  | 11852.6121 | 13947.5694 | 2094.9572
IGCCCCSWest | IGCC CCS West |  | 10920.8214 | 13756.1805 | 2835.3591
Nuclear | Nuclear |  | 11649.0371 | 13555.959 | 1906.9218
CCHS | CC Hsystem |  | 2731.6329 | 2917.7941 | 186.1612
Solar | Solar |  | 10207.5 | 10861.8269 | 654.3269
Refuse | Refuse |  | 7889.0326 | 7786.4904 | -102.5423
Geothermal | Geothermal |  | 5692.6442 | 5692.6442 | 0
Wind | Wind |  | 4711.1538 | 5239.85 | 528.6962
|  |  | 2007 | 2008
|  |  | Capital Cost ($/MW-wk) | Capital Cost ($/MW-wk)
|  |  | 1768.6316 | 1768.6316
|  |  | 1600.2017 | 1495.0198
|  |  | 1884.6643 | 2163.6615
|  |  | 3195.7323 | 3195.7323
|  |  | 2374.7029 | 2447.7986
|  |  | 6860.0284 | 7256.4577
|  |  | 5977.075 | 6108.5034
|  |  | 8812.9959 | 9888.5464
|  |  | 7940.2539 | 10944.9403
|  |  | 11852.6121 | 15914.7289
|  |  | 10920.8214 | 16510.9017
|  |  | 11649.0371 | 13555.959
|  |  | 2731.6329 | 2917.7941
|  |  | 10207.5 | 10207.5
|  |  | 7889.0326 | 8344.9263
|  |  | 5692.6442 | 5692.6442
|  |  | 4711.1538 | 4711.1538
[13 empty] | Global Insight |  | AEP
[13 empty] | Construction Labor Prices (2007 = 100) |  | Construction Labor Prices (2007 = 100)
| BB H208 Low - Infl | BB H208 Base - Infl |  | H208 Low - NPV | H208 Base - NPV
2008 | 900 | 915 | 1 | 882.3529 | 897.0588 |  | 2011: US Index; 2012: % Change; 2013: US Index; 2014: % Change
2009 | 710 | 800 | 2 | 682.4298 | 768.935 |  | 2010: 1999; 2011: 72.9396; 2012: 3.9558; 2014: 3%
2010 | 750 | 825 | 3 | 706.7418 | 777.4159 |  | 2010: 2000; 2011: 76.1637; 2012: 4.4203; 2014: 3%
2011 | 630 | 715 | 4 | 582.0226 | 660.5495 |  | 2010: 2001; 2011: 79.277; 2012: 4.0876; 2014: 3%
2012 | 575 | 665 | 5 | 520.7952 | 602.311 |  | 2010: 2002; 2011: 81.6731; 2012: 3.0224; 2014: 3%
2013 | 500 | 600 | 6 | 443.9857 | 532.7828 |  | 2010: 2003; 2011: 84.0655; 2012: 2.9292; 2014: 3%
2014 | 515 | 635 | 7 | 448.3385 | 552.8057 |  | 2010: 2004; 2011: 86.8704; 2012: 3.3366; 2014: 3%
2015 | 495 | 585 | 8 | 422.4777 | 499.2919 |  | 2010: 2005; 2011: 90.3365; 2012: 3.9899; 2014: 3%
2016 | 510.345 | 603.135 | 9 | 427.0339 | 504.6764 |  | 2010: 2006; 2011: 94.7089; 2012: 4.8402; 2014: 3%
2017 | 526.1657 | 621.8322 | 10 | 431.6391 | 510.119 |  | 2010: 2007; 2011: 100; 2012: 5.5867; 2013: 100; 2014: 3%
2018 | 542.4768 | 641.109 | 11 | 436.2941 | 515.6203 |  | 2010: 2008; 2011: 106.0143; 2012: 6.0143; 2013: 103; 2014: 3%
2019 | 559.2936 | 660.9834 | 12 | 440.9992 | 521.1809 |  | 2010: 2009; 2011: 112.0557; 2012: 5.6987; 2013: 106.09; 2014: 3%
2020 | 576.6317 | 681.4738 | 13 | 445.7551 | 526.8014 |  | 2010: 2010; 2011: 116.9493; 2012: 4.3671; 2013: 109.2727; 2014: 3%
2021 | 594.5073 | 702.5995 | 14 | 450.5622 | 532.4826 |  | 2010: 2011; 2011: 120.6137; 2012: 3.1334; 2013: 112.5509; 2014: 3%
2022 | 612.937 | 724.3801 | 15 | 455.4212 | 538.2251 |  | 2010: 2012; 2011: 123.6844; 2012: 2.5459; 2013: 115.9274; 2014: 3%
2023 | 631.9381 | 746.8359 | 16 | 460.3326 | 544.0295 |  | 2010: 2013; 2011: 126.7724; 2012: 2.4967; 2013: 119.4052; 2014: 3%
2024 | 651.5282 | 769.9878 | 17 | 465.297 | 549.8965 |  | 2010: 2014; 2011: 130.1574; 2012: 2.6701; 2013: 122.9874; 2014: 3%
2025 | 671.7255 | 793.8574 | 18 | 470.3149 | 555.8267 |  | 2010: 2015; 2011: 133.7611; 2012: 2.7688; 2013: 126.677; 2014: 3%
2026 | 692.549 | 818.467 | 19 | 475.3869 | 561.8209 |  | 2010: 2016; 2011: 137.4651; 2012: 2.7691; 2013: 130.4773; 2014: 3%
2027 | 714.018 | 843.8395 | 20 | 480.5137 | 567.8798 |  | 2010: 2017; 2011: 141.2473; 2012: 2.7514; 2013: 134.3916; 2014: 3%
2028 | 736.1526 | 869.9985 | 21 | 485.6957 | 574.004 |  | 2010: 2018; 2011: 145.126; 2012: 2.746; 2013: 138.4234; 2014: 3%
2029 | 758.9733 | 896.9685 | 22 | 490.9336 | 580.1942
2030 | 782.5015 | 924.7745 | 23 | 496.228 | 586.4512
Note on F1: AEP: New 2010 costs
Note on D1: AEP: ** New 2010 Costs
Note on O32: AEP: * Labor wage growth under 2% for 2009 and 2010

## EIA_CapitalCosts
Table 39. Cost and Performance Characteristics of New Central Station Electricity Generating Technologies
|  |  |  | Base |  |  | Total
|  |  |  | Overnight | Project | Technological | Overnight | Variable | Fixed | Heatrate | nth-of-a-kind
| Online | Size | Lead time | Cost in 2007 | Contingency | Optimism | Cost in 20073 | O&M4 | O&M | in 2007 | Heatrate
Technology | Year1 | (mW) | (years) | (2006 $/kW) | Factor | Factor2 | (2006 $/kW) | (2006 mills/kWh) | ($2006/kW) | (Btu/kWhr) | (Btu/kWhr)
Scrubbed Coal New7 | 2011 | 600 | 4 | 1433.8452 | 1.07 | 1 | 1534.2144 | 4.465 | 26.7868 | 9200 | 8740
Integrated Coal-Gasification Comb Cycle (IGCC)7 | 2011 | 550 | 4 | 1657.254 | 1.07 | 1 | 1773.2618 | 2.8424 | 37.618 | 8765 | 7450
IGCC with carbon sequestration | 2011 | 380 | 4 | 2301.8434 | 1.07 | 1.03 | 2536.8617 | 4.3201 | 44.2709 | 10781 | 8307
Conv Gas/Oil Comb Cycle | 2010 | 250 | 3 | 683.045 | 1.05 | 1 | 717.1973 | 2.0096 | 12.145 | 7196 | 6800
Adv Gas/Oil Comb Cycle (CC) | 2010 | 400 | 3 | 653.7455 | 1.08 | 1 | 706.0452 | 1.9459 | 11.379 | 6752 | 6333
Adv CC with carbon sequestration | 2010 | 400 | 3 | 1254.3856 | 1.08 | 1.04 | 1408.926 | 2.8615 | 19.36 | 8613 | 7493
Conv Comb Turbine5 | 2009 | 160 | 2 | 476.1172 | 1.05 | 1 | 499.923 | 3.4714 | 11.7835 | 10832.9473 | 10450
Adv Comb Turbine | 2009 | 230 | 2 | 450.4801 | 1.05 | 1 | 473.0041 | 3.0844 | 10.2437 | 9289 | 8550
Fuel Cells | 2010 | 10 | 3 | 4653.1298 | 1.05 | 1.1 | 5374.3649 | 46.6245 | 5.4984 | 7930 | 6960
Adv Nuclear | 2014 | 1350 | 6 | 2142.5273 | 1.1 | 1.05 | 2474.619 | 0.48089 | 66.0481 | 10400 | 10400
Distributed Generation - Base | 2009 | 5 | 2 | 972.3778 | 1.05 | 1 | 1020.9967 | 6.9316 | 15.594 | 9200 | 8900
Distributed Generation - Peak | 2010 | 2 | 3 | 1168.3183 | 1.05 | 1 | 1226.7342 | 6.9316 | 15.594 | 10257 | 9880
Biomass | 2011 | 80 | 4 | 2490.4591 | 1.07 | 1.054 | 2808.69 | 6.5287 | 62.6994 | 8911 | 8911
MSW - Landfill Gas | 2010 | 30 | 3 | 1772.6209 | 1.07 | 1 | 1896.7043 | 0.011147 | 111.1471 | 13648 | 13648
Geothermal6,7 | 2011 | 50 | 4 | 1056.9324 | 1.05 | 1 | 1109.779 | 0 | 160.176 | 35376.2539 | 33675.9023
Conventional Hydropower6 | 2011 | 500 | 4 | 1410.3542 | 1.1 | 1 | 1551.3897 | 3.4138 | 13.5868 | 10021.9912 | 10021.999
Wind | 2010 | 50 | 3 | 1340.453 | 1.07 | 1 | 1434.2847 | 0 | 29.4779 | 10022 | 10022
Wind Offshore | 2011 | 100 | 4 | 2547.2269 | 1.1 | 1.025 | 2871.9983 | 0 | 87.0546 | 10022 | 10022
Solar Thermal7 | 2010 | 100 | 3 | 3499.4613 | 1.07 | 1 | 3744.4236 | 0 | 55.2407 | 10022 | 10022
Photovoltaic7 | 2009 | 5 | 2 | 5380.1241 | 1.05 | 1 | 5649.1303 | 0 | 11.3663 | 10022 | 10022
1 - Online year represents the first year that a new unit could be completed, given an order date of 2007.
2 - The technological optimism factor is applied to the first four units of a new, unproven design, it reflects the demonstrated tendency to underestimate actual costs for a first-of-a-kind unit.
3 - Overnight capital cost including contingency factors, excluding regional multipliers and learning effects. Interest charges are also excluded
These represent costs of new projects initiated in 2007.
4 - O&M = Operations and maintenance.
5 - Combustion turbine units can be built by the model prior to 2009 if necessary to meet a given region's reserve margin.
6 - Because geothermal and hydro cost and performance characteristics are specific for each site, the table entries represent the cost of the least expensive plant that could be built in the Northwest Power Pool region, where most of the proposed sites are located.
7 - Capital costs are shown before investment tax credits are applied.
Sources: The values shown in this table are developed by the Energy Information Administration, Office of Integrated Analysis and Forecasting, from analysis of reports and discussions with various sources from industry, government, and the Department of Energy Fuel Offices and National Laboratories. They are not based on any specific technology model, but rather, are meant to represent the cost and performance of typical plants under normal operating conditions for each plant type. Key sources reviewed are listed in the 'Notes and Sources' section at the end of the chapter.

## WoodMac_CapitalCosts
| Overnight Construction Cost ($/kW) | Development Cost ($/kW) | Interest During Construction | Heat Rate | Construction Years
SC Coal (no CCS) | 2500 | 200 | 8% | 8700 | 6
SC Coal (w/ CCS) | 4000 | 250 | 8% | 12500 | 6
Nuclear | 3800 | 500 | 8% | 10000 | 10
IGCC (no CCS) | 3000 | 200 | 8% | 8900 | 5
IGCC (w/ CCS) | 3700 | 250 | 8% | 10500 | 8
Wind | 2000 | 100 | 8% | NA | 3
Updated: May 2008
| Overnight Construction Cost ($/kW) | Development Cost ($/kW) | Interest During Construction | Heat Rate | Construction Years
SC Coal (no CCS) | 2500 | 200 | 8% | 8700 | 6
SC Coal (w/ CCS) | 4000 | 250 | 8% | 12500 | 6
Nuclear | 3800 | 500 | 8% | 10000 | 10
IGCC (no CCS) | 3000 | 200 | 8% | 8900 | 5
IGCC (w/ CCS) | 3700 | 250 | 8% | 10500 | 8
Wind | 2000 | 100 | 8% | NA | 3
Gas CC | 800 | 150 | 8% | 6900 | 3
Solar
Wood Mackenzie GHG Scenario
November 2007
Generic Plant Overnight Cost (2005 $/kW)
| CC | CT
ERCOT | 750 | 575
Florida | 750 | 575
PJM (SW MAAC) | 750 | 575
PJM (RTO) | 750 | 575
PJM (APS) | 750 | 575
Midwest ISO | 750 | 575
MRO US | 750 | 575
NEPOOL (Mass Hub) | 937.5 | 718.75
NEPOOL (Maine) | 937.5 | 718.75
NEPOOL (Southwest CT) | 937.5 | 718.75
New York (Zones J & K) | 1500 | 1150
New York (Non-NYC Area) | 937.5 | 718.75
Entergy | 750 | 575
Southern | 750 | 575
TVA | 750 | 575
VACAR | 750 | 575
SPP | 750 | 575
Southwest | 937.5 | 718.75
California | 937.5 | 718.75
Rocky Mountains | 825 | 632.5
Northwest | 825 | 632.5
Quebec | 750 | 575
Ontario | 750 | 575
Maritime | 750 | 575
MRO Canada | 750 | 575
NWPP Canada | 750 | 575
Mexico | 937.5 | 718.75

## CERA_CapitalCosts
CERA
Table 11
New Capacity Characteristics and Costs
Cost Item | Plant Type | Northeast1 | New York City | Mid-Atlantic | Midwest | South2 | West (non-CA)3 | California
Capital Costs ($ per kW)4 | Combustion Turbine5,6,7,8 | 490 | 1210 | 470 | 410 | 400 | 440 | 500
| Combined Cycle9,10 | 820 | 1520 | 770 | 750 | 660 | 730 | 820
| Nuclear11 | 3000 | NA | 3000 | 3000 | 3000 | 3000 | NA
| Wind12,13 | 1880 | NA | 1830 | 1780 | 1730 | 1780 | 1810
| Supercritical Coal14,15 | NA | NA | NA | 2200 | 1830 | 2090 | NA
| Updated CERA Capital Costs | 2008-10-06 | CERA capital cost assumptions for 2008 NA Scenarios
| Asian Phoenix | Real 2008 $/KW | [12 empty] | AEP Solar
|  | Year | Gas-CC | Gas-CT | Coal-SCPC | Coal-IGCC | Coal-CFB | Wind | Wind-Offshore | Geo | Bio | Solar-PV | Solar-Con | Nuc | $/kW
|  | 2005 | [9 empty] | ** |  |  |  | 2005
|  | 2006 | [13 empty] | 2006
|  | 2007 | [13 empty] | 2007
|  | 2008 | 1000 | 550 | 3000 | 4850 | 2600 | 2000 | 2800 | 4000 | 3500 | 5800 | 3750 | 5500 | 4150 | 2008
|  | 2009 | 1015.625 | 558.5938 | 3067.4157 | 5044 | 2658.427 | 2010 | 2638.6304 | 4020 | 3517.5 | 5308.6936 | 3482.5781 | 6174.9084 | 3610.0479 | 2009
|  | 2010 | 1031.25 | 567.1875 | 3134.8315 | 5238 | 2716.8539 | 2020 | 2477.2608 | 4040 | 3535 | 4817.3872 | 3215.1562 | 6849.8168 | 3525.5981 | 2010
|  | 2011 | 1036.4583 | 570.0521 | 3168.5393 | 5342.76 | 2746.0674 | 1983.64 | 2422.6568 | 3967.28 | 3471.37 | 4609.0288 | 3036.001 | 6942.4908 | 3441.1483 | 2011
|  | 2012 | 1041.6667 | 572.9167 | 3202.2472 | 5447.52 | 2775.2809 | 1947.28 | 2368.0528 | 3894.56 | 3407.74 | 4400.6704 | 2856.8458 | 7035.1648 | 3404.1189 | 2012
|  | 2013 | 1046.875 | 575.7812 | 3235.9551 | 5552.28 | 2804.4944 | 1910.92 | 2313.4487 | 3821.84 | 3344.11 | 4192.312 | 2677.6906 | 7127.8388 | 3367.0895 | 2013
|  | 2014 | 1052.0833 | 578.6458 | 3269.6629 | 5657.04 | 2833.7079 | 1874.56 | 2258.8447 | 3749.12 | 3280.48 | 3983.9536 | 2498.5354 | 7220.5128 | 3386.2305 | 2014
|  | 2015 | 1057.2917 | 581.5104 | 3303.3708 | 5761.8 | 2862.9213 | 1838.2 | 2204.2407 | 3676.4 | 3216.85 | 3775.5952 | 2319.3802 | 7313.1868 | 3320 | 2015
|  | 2016 | 1057.2917 | 581.5104 | 3285.1847 | 5740.0665 | 2847.1601 | 1793.1718 | 2150.2461 | 3586.3437 | 3138.0507 | 3528.6918 | 2128.3567 | 7196.1758 | 3237 | 2016
|  | 2017 | 1057.2917 | 581.5104 | 3266.9986 | 5718.3329 | 2831.3988 | 1748.1437 | 2096.2515 | 3496.2873 | 3059.2514 | 3281.7883 | 1937.3332 | 7079.1648 | 3154 | 2017
|  | 2018 | 1057.2917 | 581.5104 | 3248.8125 | 5696.5994 | 2815.6375 | 1703.1155 | 2042.2568 | 3406.231 | 2980.4521 | 3034.8848 | 1746.3097 | 6962.1538 | 3071 | 2018
|  | 2019 | 1057.2917 | 581.5104 | 3230.6264 | 5674.8659 | 2799.8762 | 1658.0873 | 1988.2622 | 3316.1746 | 2901.6528 | 2787.9813 | 1555.2861 | 6845.1429 | 2988 | 2019
|  | 2020 | 1057.2917 | 581.5104 | 3212.4402 | 5653.1324 | 2784.1149 | 1613.0591 | 1934.2676 | 3226.1183 | 2822.8535 | 2541.0779 | 1364.2626 | 6728.1319 | 2905 | 2020
|  | 2021 | 1057.2917 | 581.5104 | 3194.2541 | 5631.3988 | 2768.3536 | 1613.0591 | 1934.2676 | 3226.1183 | 2822.8535 | 2456.9752 | 1364.2626 | 6728.1319 | 2905 | 2021
|  | 2022 | 1057.2917 | 581.5104 | 3176.068 | 5609.6653 | 2752.5923 | 1613.0591 | 1934.2676 | 3226.1183 | 2822.8535 | 2372.8725 | 1364.2626 | 6728.1319 | 2905 | 2022
|  | 2023 | 1057.2917 | 581.5104 | 3157.8819 | 5587.9318 | 2736.831 | 1613.0591 | 1934.2676 | 3226.1183 | 2822.8535 | 2288.7698 | 1364.2626 | 6728.1319 | 2905 | 2023
|  | 2024 | 1057.2917 | 581.5104 | 3139.6958 | 5566.1982 | 2721.0697 | 1613.0591 | 1934.2676 | 3226.1183 | 2822.8535 | 2204.6671 | 1364.2626 | 6728.1319 | 2905 | 2024
|  | 2025 | 1057.2917 | 581.5104 | 3121.5097 | 5544.4647 | 2705.3084 | 1613.0591 | 1934.2676 | 3226.1183 | 2822.8535 | 2120.5645 | 1364.2626 | 6728.1319 | 2905 | 2025
|  | 2026 | 1064.1129 | 587.6316 | 3103.4114 | 5522.7312 | 2689.6232 | 1613.0591 | 1934.2676 | 3226.1183 | 2822.8535 | 2033.0336 | 1364.2626 | 6728.1319 | 2905 | 2026
|  | 2027 | 1070.9341 | 593.7527 | 3085.3131 | 5500.9977 | 2673.938 | 1613.0591 | 1934.2676 | 3226.1183 | 2822.8535 | 1945.5028 | 1364.2626 | 6728.1319 | 2905 | 2027
|  | 2028 | 1077.7554 | 599.8739 | 3067.2148 | 5479.2641 | 2658.2528 | 1613.0591 | 1934.2676 | 3226.1183 | 2822.8535 | 1857.9719 | 1364.2626 | 6728.1319 | 2905 | 2028
|  | 2029 | 1084.5766 | 605.9951 | 3049.1165 | 5457.5306 | 2642.5676 | 1613.0591 | 1934.2676 | 3226.1183 | 2822.8535 | 1770.4411 | 1364.2626 | 6728.1319 | 2905 | 2029
|  | 2030 | 1091.3978 | 612.1162 | 3031.0182 | 5435.7971 | 2626.8824 | 1613.0591 | 1934.2676 | 3226.1183 | 2822.8535 | 1682.9102 | 1364.2626 | 6728.1319 | 2905 | 2030
| Break Point | Real 2008 $/KW
|  | Year | Gas-CC | Gas-CT | Coal-SCPC | Coal-IGCC | Coal-CFB | Wind | Wind-Offshore | Geo | Bio | Solar-PV | Solar-Con | Nuc
|  | 2005 | [9 empty] | **
2006
2007
|  | 2008 | 1000 | 550 | 3000 | 4850 | 2600 | 2000 | 2800 | 4000 | 3500 | 5800 | 3750 | 5500
|  | 2009 | 1054.6875 | 580.0781 | 3092.6966 | 4999.8596 | 2680.3371 | 2024.0385 | 2638.6304 | 4048.0769 | 3542.0673 | 5232.6353 | 3432.345 | 6456.9597
|  | 2010 | 1109.375 | 610.1562 | 3185.3933 | 5149.7191 | 2760.6742 | 2048.0769 | 2477.2608 | 4096.1538 | 3584.1346 | 4665.2706 | 3114.69 | 7413.9194
|  | 2011 | 1118.75 | 615.3125 | 3171.9101 | 5127.9213 | 2748.9888 | 2121.1538 | 2422.6568 | 4242.3077 | 3712.0192 | 4351.2236 | 2883.7239 | 7510.6227
|  | 2012 | 1128.125 | 620.4688 | 3158.427 | 5106.1236 | 2737.3034 | 2194.2308 | 2368.0528 | 4388.4615 | 3839.9038 | 4037.1767 | 2652.7578 | 7607.326
|  | 2013 | 1137.5 | 625.625 | 3144.9438 | 5084.3258 | 2725.618 | 2267.3077 | 2313.4487 | 4534.6154 | 3967.7885 | 3723.1297 | 2421.7916 | 7704.0293
|  | 2014 | 1146.875 | 630.7812 | 3131.4607 | 5062.5281 | 2713.9326 | 2340.3846 | 2258.8447 | 4680.7692 | 4095.6731 | 3409.0828 | 2190.8255 | 7800.7326
|  | 2015 | 1156.25 | 635.9375 | 3117.9775 | 5040.7303 | 2702.2472 | 2413.4615 | 2204.2407 | 4826.9231 | 4223.5577 | 3095.0358 | 1959.8594 | 7897.4359
|  | 2016 | 1156.25 | 635.9375 | 3101.9879 | 5008.418 | 2688.3895 | 2354.3419 | 2150.2461 | 4708.6838 | 4120.0983 | 2793.7911 | 1743.242 | 7841.0256
|  | 2017 | 1156.25 | 635.9375 | 3085.9983 | 4976.1056 | 2674.5318 | 2295.2222 | 2096.2515 | 4590.4444 | 4016.6389 | 2492.5464 | 1526.6247 | 7784.6154
|  | 2018 | 1156.25 | 635.9375 | 3070.0086 | 4943.7932 | 2660.6742 | 2236.1026 | 2042.2568 | 4472.2051 | 3913.1795 | 2191.3016 | 1310.0074 | 7728.2051
|  | 2019 | 1156.25 | 635.9375 | 3054.019 | 4911.4808 | 2646.8165 | 2176.9829 | 1988.2622 | 4353.9658 | 3809.7201 | 1890.0569 | 1093.39 | 7671.7949
|  | 2020 | 1156.25 | 635.9375 | 3038.0294 | 4879.1685 | 2632.9588 | 2117.8632 | 1934.2676 | 4235.7265 | 3706.2607 | 1588.8121 | 876.7727 | 7615.3846
|  | 2021 | 1156.25 | 635.9375 | 3026.5169 | 4879.1685 | 2622.9813 | 2117.8632 | 1934.2676 | 4235.7265 | 3706.2607 | 1561.3972 | 876.7727 | 7558.9744
|  | 2022 | 1156.25 | 635.9375 | 3015.0043 | 4879.1685 | 2613.0037 | 2117.8632 | 1934.2676 | 4235.7265 | 3706.2607 | 1533.9822 | 876.7727 | 7502.5641
|  | 2023 | 1156.25 | 635.9375 | 3003.4918 | 4879.1685 | 2603.0262 | 2117.8632 | 1934.2676 | 4235.7265 | 3706.2607 | 1506.5672 | 876.7727 | 7446.1538
|  | 2024 | 1156.25 | 635.9375 | 2991.9793 | 4879.1685 | 2593.0487 | 2117.8632 | 1934.2676 | 4235.7265 | 3706.2607 | 1479.1522 | 876.7727 | 7389.7436
|  | 2025 | 1156.25 | 635.9375 | 2980.4667 | 4879.1685 | 2583.0712 | 2117.8632 | 1934.2676 | 4235.7265 | 3706.2607 | 1451.7372 | 876.7727 | 7333.3333
|  | 2026 | 1156.25 | 635.9375 | 2980.4667 | 4879.1685 | 2583.0712 | 2117.8632 | 1934.2676 | 4235.7265 | 3706.2607 | 1420.121 | 876.7727 | 7305.1282
|  | 2027 | 1156.25 | 635.9375 | 2980.4667 | 4879.1685 | 2583.0712 | 2117.8632 | 1934.2676 | 4235.7265 | 3706.2607 | 1388.5048 | 876.7727 | 7276.9231
|  | 2028 | 1156.25 | 635.9375 | 2980.4667 | 4879.1685 | 2583.0712 | 2117.8632 | 1934.2676 | 4235.7265 | 3706.2607 | 1356.8886 | 876.7727 | 7248.7179
|  | 2029 | 1156.25 | 635.9375 | 2980.4667 | 4879.1685 | 2583.0712 | 2117.8632 | 1934.2676 | 4235.7265 | 3706.2607 | 1325.2724 | 876.7727 | 7220.5128
|  | 2030 | 1156.25 | 635.9375 | 2980.4667 | 4879.1685 | 2583.0712 | 2117.8632 | 1934.2676 | 4235.7265 | 3706.2607 | 1293.6562 | 876.7727 | 7192.3077
| Global Fissures | Real 2008 $/KW
|  | Year | Gas-CC | Gas-CT | Coal-SCPC | Coal-IGCC | Coal-CFB | Wind | Wind-Offshore | Geo | Bio | Solar-PV | Solar-Con | Nuc
|  | 2005 | [9 empty] | **
2006
2007
|  | 2008 | 1000 | 550 | 3000 |  | 2600 | 2000 | 2800 | 4000 | 3500 | 5800 | 3750 | 5500
|  | 2009 | 984.375 | 541.4062 | 3278.0899 |  | 2841.0112 | 1831.7308 | 2638.6304 | 4000 | 3500 | 5386.3875 | 3750 | 5550.3663
|  | 2010 | 968.75 | 532.8125 | 3556.1798 |  | 3082.0225 | 1663.4615 | 2477.2608 | 4000 | 3500 | 4972.775 | 3750 | 5600.7326
|  | 2011 | 969.7917 | 533.3854 | 3562.9213 |  | 3087.8652 | 1613.4615 | 2457.7861 | 4000 | 3500 | 4824.3506 | 3750 | 5483.8828
|  | 2012 | 970.8333 | 533.9583 | 3569.6629 |  | 3093.7079 | 1563.4615 | 2438.3114 | 4000 | 3500 | 4675.9262 | 3750 | 5367.033
|  | 2013 | 971.875 | 534.5312 | 3576.4045 |  | 3099.5506 | 1513.4615 | 2418.8367 | 4000 | 3500 | 4527.5019 | 3750 | 5250.1832
|  | 2014 | 972.9167 | 535.1042 | 3583.1461 |  | 3105.3933 | 1463.4615 | 2399.3619 | 4000 | 3500 | 4379.0775 | 3750 | 5133.3333
|  | 2015 | 973.9583 | 535.6771 | 3589.8876 |  | 3111.236 | 1413.4615 | 2379.8872 | 4000 | 3500 | 4230.6531 | 3750 | 5016.4835
|  | 2016 | 973.9583 | 535.6771 | 3536.7041 |  | 3065.1436 | 1395.6278 | 2349.86 | 4000 | 3500 | 4035.2159 | 3750 | 4916.1538
|  | 2017 | 973.9583 | 535.6771 | 3483.5206 |  | 3019.0512 | 1377.7941 | 2319.8329 | 4000 | 3500 | 3839.7786 | 3750 | 4815.8242
|  | 2018 | 973.9583 | 535.6771 | 3430.3371 |  | 2972.9588 | 1359.9603 | 2289.8057 | 4000 | 3500 | 3644.3414 | 3750 | 4715.4945
|  | 2019 | 973.9583 | 535.6771 | 3377.1536 |  | 2926.8664 | 1342.1266 | 2259.7785 | 4000 | 3500 | 3448.9042 | 3750 | 4615.1648
|  | 2020 | 973.9583 | 535.6771 | 3323.97 |  | 2880.774 | 1324.2929 | 2229.7513 | 4000 | 3500 | 3253.4669 | 3750 | 4514.8352
|  | 2021 | 973.9583 | 535.6771 | 3297.3783 |  | 2857.7278 | 1324.2929 | 2229.7513 | 4000 | 3500 | 3145.7861 | 3750 | 4514.8352
|  | 2022 | 973.9583 | 535.6771 | 3270.7865 |  | 2834.6816 | 1324.2929 | 2229.7513 | 4000 | 3500 | 3038.1053 | 3750 | 4514.8352
|  | 2023 | 973.9583 | 535.6771 | 3244.1948 |  | 2811.6355 | 1324.2929 | 2229.7513 | 4000 | 3500 | 2930.4245 | 3750 | 4514.8352
|  | 2024 | 973.9583 | 535.6771 | 3217.603 |  | 2788.5893 | 1324.2929 | 2229.7513 | 4000 | 3500 | 2822.7437 | 3750 | 4514.8352
|  | 2025 | 973.9583 | 535.6771 | 3191.0112 |  | 2765.5431 | 1324.2929 | 2229.7513 | 4000 | 3500 | 2715.0629 | 3750 | 4514.8352
|  | 2026 | 973.9583 | 535.6771 | 3191.0112 |  | 2765.5431 | 1324.2929 | 2229.7513 | 4000 | 3500 | 2602.9929 | 3750 | 4514.8352
|  | 2027 | 973.9583 | 535.6771 | 3191.0112 |  | 2765.5431 | 1324.2929 | 2229.7513 | 4000 | 3500 | 2490.9229 | 3750 | 4514.8352
|  | 2028 | 973.9583 | 535.6771 | 3191.0112 |  | 2765.5431 | 1324.2929 | 2229.7513 | 4000 | 3500 | 2378.8528 | 3750 | 4514.8352
|  | 2029 | 973.9583 | 535.6771 | 3191.0112 |  | 2765.5431 | 1324.2929 | 2229.7513 | 4000 | 3500 | 2266.7828 | 3750 | 4514.8352
|  | 2030 | 973.9583 | 535.6771 | 3191.0112 |  | 2765.5431 | 1324.2929 | 2229.7513 | 4000 | 3500 | 2154.7127 | 3750 | 4514.8352
Note on M19: AEP: PV = photovoltaic (utility scale)
Note on N19: AEP: Con = concentrating (without storage)
Note on M49: AEP: PV = photovoltaic (utility scale)
Note on M79: AEP: PV = photovoltaic (utility scale)

## GlobalInsight_CapitalCosts
Global Insight Forecast Data
$ / kW
Wind
| 2005 | 1325
| 2006 | 1464
| 2007 | 1710
| 2008 | 1981
| 2009 | 2086
| 2010 | 2209
| 2011 | 2358
| 2012 | 2502
| 2013 | 2643
| 2015 | 2780
| 2015 | 2915
* Data provided 10/8/08
* Only wind forecasts are available at this time;
Other power generation types TBD

## Capital Cost Comparison
Type | 2H - 08 Cost in 2015 ($2008/kW) |  |  |  |  | Cost in 2015 ($2008/kW)
| Current Model Cost | 1H - 08 |  |  |  | 2H - 08
| AEP Fundamentals | EIA AEO 2008 | WoodMac | CERA |  | EIA | WoodMac | CERA - AP | CERA - BP | CERA - GF | Global Insight
Pulv Coal | 3314 | 1506.4336 | 2500 | 2200 |  | 1726 | 2865 | 3303.3708 | 3117.9775 | 3589.8876
IGCC | 3833 | 1741.1525 | 3000 | n/a |  | 1995 | 3438 | 5761.8 | 5040.7303 | 0
CC | 1001 | 717.6242 | 807.668 | 750 |  | 823 | 917 | 1057.2917 | 1156.25 | 973.9583
CT | 910 | 500.2206 | 619.2121 | 410 |  | 573 | 709 | 581.5104 | 635.9375 | 535.6771
Nuclear | 6970 | 2250.9927 | 3800 | 3000 |  | 2578 | 4355 | 7313.1868 | 7897.4359 | 5016.4835
Wind | 1886.04 | 1408.3134 | 2000 | 1780 |  | 1613 | 2292 | 1838.2 | 2413.4615 | 1413.4615 | 2915
Solar | 2554.6154 | 4664.5572 |  |  |  | 5346 |  | 3047.4877 | 2527.4476 | 3990.3265
| Base Case | EIA Inflation |  |  |  |  | (No Change) | Asian Phoenix | Break Point | Global Fissures
2.5%
* Current Model Revised with new AEP Gen Costs 10/31/08
* Modified steel forecast = Base Rev 02 11/5/08
* Reset Qtrly Factor to 612 = Q1 2009 fcast
Type | Cost in 2015 ($2008/kW)
| Prev Model Cost | (BaseCase_Rev_10) |  |  |  | 2008
| AEP Fundamentals |  |  |  |  | EIA | WoodMac
Pulv Coal | 2474.5851 |  |  |  | Pulv Coal | 1506.4336 | 2500
IGCC | 3179.0697 |  |  |  | IGCC | 1741.1525 | 3000
CC | 1043.4036 |  |  |  | CC | 717.6242 | 800
CT | 703.1011 |  |  |  | CT | 500.2206 | 619.2121
Nuclear | 4202.1012 |  |  |  | Nuclear | 2250.9927 | 3800
Wind | 1440 |  |  |  | Wind | 1408.3134 | 2000
Solar |  |  |  |  | Solar | 4665
2015
[6 empty] | EIA | WoodMac
[5 empty] | Pulv Coal | 1726 | 2865
[5 empty] | IGCC | 1995 | 3438
[5 empty] | CC | 823 | 917
[5 empty] | CT | 573 | 709
[5 empty] | Nuclear | 2578 | 4355
[5 empty] | Wind | 1613 | 2292
[5 empty] | Solar | 5346
[6 empty] | Inflation Rate: | 1.825%
Note on C10: AEP: Average of CSP & PV
Note on I10: AEP: Average of CSP & PV
Note on J10: AEP: Average of CSP & PV
Note on K10: AEP: Average of CSP & PV

## $-kW Basis
|  | PulvEast | PulvWest | IGCCEast | IGCCWest | IGCCCCSEast | IGCCCCSWest | Wind | Solar | Refuse | Nuclear | CT50 | CT200 | CC600 | CC300 | CCHS | CTAero |  |  | PulvEast | PulvWest | IGCCEast | IGCCWest | IGCCCCSEast | IGCCCCSWest | Wind | Solar | Refuse | Nuclear | CT50 | CT200 | CC600 | CC300 | CCHS | CTAero
|  | Capital Component | [17 empty] | Capital Component
| RefCase | Real $/kW | [17 empty] | Nominal $/kW
|  | PC East | PC West | IGCC East | IGCC West | IGCC CCS East | IGCC CCS West | Wind | Solar | Biomass | Nuclear | CT50 | CT200 | CC600 | CC300 | CC400-Hsystem | CTAero | Inflation Rate | Multiplier | PC East | PC West | IGCC East | IGCC West | IGCC CCS East | IGCC CCS West | Wind | Solar | Biomass | Nuclear | CT50 | CT200 | CC600 | CC300 | CC400-Hsystem | CTAero
| 2006 | [16 empty] | 3.15% | 1
11 | 2007 | 2621.0248 | 2283.673 | 3367.199 | 3033.7487 | 4528.5513 | 4172.5401 | 1800 | 3900 | 3014.1785 | 4450.771 | 675.7446 | 611.3923 | 907.3075 | 1220.9998 | 1043.6804 | 720.0775 | 2.67% | 1.0267 | 2691.0062 | 2344.6471 | 3457.1032 | 3114.7498 | 4649.4636 | 4283.9469 | 1848.06 | 4004.13 | 3094.6571 | 4569.6066 | 693.787 | 627.7164 | 931.5326 | 1253.6005 | 1071.5467 | 739.3035
12 | 2008 | 3021.198 | 2412.5503 | 3676.0457 | 3627.5289 | 5328.9758 | 5255.8515 | 2002 | 4150 | 2975 | 5179.3524 | 675.7446 | 757.1755 | 935.2353 | 1220.9998 | 1114.8074 | 826.6745 | 2.12% | 1.0485 | 3167.6235 | 2529.4771 | 3854.2091 | 3803.3409 | 5587.2502 | 5510.5818 | 2099.029 | 4351.1341 | 3119.1865 | 5430.3751 | 708.4953 | 793.8728 | 980.5625 | 1280.1769 | 1168.8377 | 866.7401
13 | 2009 | 3021.198 | 2412.5503 | 3676.0457 | 3627.5289 | 5328.9758 | 5255.8515 | 2002 | 4150 | 2975 | 5179.3524 | 675.7446 | 757.1755 | 935.2353 | 1220.9998 | 1114.8074 | 826.6745 | 1.98% | 1.0692 | 3230.3424 | 2579.5607 | 3930.5224 | 3878.647 | 5697.8777 | 5619.6913 | 2140.5898 | 4437.2865 | 3180.9464 | 5537.8966 | 722.5235 | 809.5915 | 999.9776 | 1305.5244 | 1191.9807 | 883.9016
14 | 2010 | 3314 | 2811 | 3833 | 3918 | 6153 | 5928 | 2028 | 3115.3846 | 3250 | 6970 | 1032 | 910 | 1001 | 1122 | 1114.8074 | 826.6745 | 0% | 1 | 3314 | 2811 | 3833 | 3918 | 6153 | 5928 | 2028 | 3115.3846 | 3250 | 6970 | 1032 | 910 | 1001 | 1122 | 1114.8074 | 826.6745
15 | 2011 | 3314 | 2811 | 3833 | 3918 | 6153 | 5928 | 2028 | 3115.3846 | 3250 | 6970 | 1032 | 910 | 1001 | 1122 | 1114.8074 | 826.6745 | 0.8528% | 1.0085 | 3342.2608 | 2834.9714 | 3865.6867 | 3951.4115 | 6205.471 | 5978.5522 | 2045.2942 | 3141.9517 | 3277.715 | 7029.4381 | 1040.8006 | 917.7602 | 1009.5362 | 1131.5681 | 1124.3142 | 833.7241
16 | 2012 | 3314 | 2811 | 3833 | 3918 | 6153 | 5928 | 1967.16 | 2959.6154 | 2627.1945 | 6970 | 1032 | 910 | 1001 | 1122 | 1114.8074 | 826.6745 | 1.447% | 1.0231 | 3390.6099 | 2875.982 | 3921.6076 | 4008.5725 | 6295.2391 | 6065.0378 | 2012.6349 | 3028.0329 | 2687.9275 | 7131.1257 | 1055.8568 | 931.0365 | 1024.1402 | 1147.9373 | 1140.5785 | 845.7847
17 | 2013 | 3314 | 2811 | 3833 | 3918 | 6153 | 5928 | 1926.6 | 2803.8462 | 2645.104 | 6970 | 1032 | 910 | 1001 | 1122 | 1114.8074 | 826.6745 | 1.641% | 1.0399 | 3446.2662 | 2923.1908 | 3985.9802 | 4074.3727 | 6398.5746 | 6164.5945 | 2003.4932 | 2915.7515 | 2750.6736 | 7248.1822 | 1073.1885 | 946.3193 | 1040.9513 | 1166.7805 | 1159.3009 | 859.6682
18 | 2014 | 3314 | 2811 | 3833 | 3918 | 6153 | 5928 | 1886.04 | 2648.0769 | 2656.9268 | 6970 | 1032 | 910 | 1001 | 1122 | 1114.8074 | 826.6745 | 1.41% | 1.0546 | 3494.8516 | 2964.4019 | 4042.1745 | 4131.8131 | 6488.7816 | 6251.5029 | 1988.965 | 2792.5878 | 2801.9206 | 7350.3669 | 1088.3183 | 959.6605 | 1055.6266 | 1183.2298 | 1175.6447 | 871.7878
19 | 2015 | 3314 | 2811 | 3833 | 3918 | 6153 | 5928 | 1886.04 | 2554.6154 | 2668.7496 | 6970 | 1032 | 910 | 1001 | 1122 | 1114.8074 | 826.6745 | 1.561% | 1.071 | 3549.4058 | 3010.6759 | 4105.2723 | 4196.3102 | 6590.0706 | 6349.088 | 2020.0125 | 2736.0793 | 2858.3209 | 7465.1052 | 1105.3068 | 974.6407 | 1072.1048 | 1201.6999 | 1193.9964 | 885.3963
20 | 2016 | 3314 | 2811 | 3833 | 3918 | 6153 | 5928 | 1886.04 | 2492.3077 | 2683.3465 | 6970 | 1032 | 910 | 1001 | 1122 | 1114.8074 | 826.6745 | 1.548% | 1.0876 | 3604.3378 | 3057.2703 | 4168.8071 | 4261.254 | 6692.0612 | 6447.349 | 2051.275 | 2710.6575 | 2918.4331 | 7580.6381 | 1122.413 | 989.7246 | 1088.6971 | 1220.2978 | 1212.4751 | 899.099
21 | 2017 | 3314 | 2811 | 3833 | 3918 | 6153 | 5928 | 1886.04 | 2430 | 2697.9433 | 6970 | 1032 | 910 | 1001 | 1122 | 1114.8074 | 826.6745 | 1.624% | 1.1053 | 3662.8663 | 3106.9152 | 4236.5017 | 4330.4496 | 6800.7291 | 6552.0433 | 2084.5843 | 2685.8072 | 2981.957 | 7703.7351 | 1140.6391 | 1005.7961 | 1106.3757 | 1240.1134 | 1232.1637 | 913.6989
22 | 2018 | 3314 | 2811 | 3833 | 3918 | 6153 | 5928 | 1886.04 | 2367.6923 | 2713.7219 | 6970 | 1032 | 910 | 1001 | 1122 | 1114.8074 | 826.6745 | 1.654% | 1.1235 | 3723.4378 | 3158.2932 | 4306.5592 | 4402.0608 | 6913.1904 | 6660.3921 | 2119.0563 | 2660.2158 | 3048.9966 | 7831.1291 | 1159.5015 | 1022.4286 | 1124.6715 | 1260.6208 | 1252.5396 | 928.8084
23 | 2019 | 3314 | 2811 | 3833 | 3918 | 6153 | 5928 | 1886.04 | 2305.3846 | 2729.7325 | 6970 | 1032 | 910 | 1001 | 1122 | 1114.8074 | 826.6745 | 1.642% | 1.142 | 3784.5866 | 3210.1608 | 4377.2844 | 4474.3544 | 7026.7235 | 6769.7736 | 2153.8569 | 2632.7483 | 3117.3534 | 7959.7371 | 1178.5436 | 1039.2196 | 1143.1416 | 1281.3235 | 1273.1096 | 944.0619
24 | 2020 | 3314 | 2811 | 3833 | 3918 | 6153 | 5928 | 1886.04 | 2243.0769 | 2745.9786 | 6970 | 1032 | 910 | 1001 | 1122 | 1114.8074 | 826.6745 | 1.64% | 1.1607 | 3846.6703 | 3262.8214 | 4449.0909 | 4547.7532 | 7141.9922 | 6880.8272 | 2189.1895 | 2603.6141 | 3187.3489 | 8090.3113 | 1197.8768 | 1056.2673 | 1161.8941 | 1302.3428 | 1293.9941 | 959.5486
25 | 2021 | 3314 | 2811 | 3833 | 3918 | 6153 | 5928 | 1886.04 | 2180.7692 | 2762.4636 | 6970 | 1032 | 910 | 1001 | 1122 | 1114.8074 | 826.6745 | 1.746% | 1.181 | 3913.8335 | 3319.7906 | 4526.7724 | 4627.1574 | 7266.692 | 7000.9671 | 2227.4129 | 2575.4881 | 3262.469 | 8231.5689 | 1218.7918 | 1074.7099 | 1182.1808 | 1325.0818 | 1316.5874 | 976.3024
26 | 2022 | 3314 | 2811 | 3833 | 3918 | 6153 | 5928 | 1886.04 | 2180.7692 | 2779.191 | 6970 | 1032 | 910 | 1001 | 1122 | 1114.8074 | 826.6745 | 1.796% | 1.2022 | 3984.1066 | 3379.3976 | 4608.0509 | 4710.2383 | 7397.166 | 7126.6699 | 2267.4063 | 2621.7312 | 3341.1567 | 8379.3673 | 1240.6753 | 1094.0064 | 1203.407 | 1348.8738 | 1340.2268 | 993.832
27 | 2023 | 3314 | 2811 | 3833 | 3918 | 6153 | 5928 | 1886.04 | 2180.7692 | 2796.1644 | 6970 | 1032 | 910 | 1001 | 1122 | 1114.8074 | 826.6745 | 1.794% | 1.2238 | 4055.5857 | 3440.0276 | 4690.7242 | 4794.7449 | 7529.8789 | 7254.5299 | 2308.0859 | 2668.7678 | 3421.8721 | 8529.7019 | 1262.9343 | 1113.634 | 1224.9974 | 1373.074 | 1364.2719 | 1011.6624
28 | 2024 | 3314 | 2811 | 3833 | 3918 | 6153 | 5928 | 1886.04 | 2180.7692 | 2813.3874 | 6970 | 1032 | 910 | 1001 | 1122 | 1114.8074 | 826.6745 | 1.796% | 1.2458 | 4128.4222 | 3501.8089 | 4774.9675 | 4880.8564 | 7665.1122 | 7384.818 | 2349.5381 | 2716.6977 | 3504.783 | 8682.8916 | 1285.6161 | 1133.6343 | 1246.9978 | 1397.7338 | 1388.7736 | 1029.8314
29 | 2025 | 3314 | 2811 | 3833 | 3918 | 6153 | 5928 | 1886.04 | 2180.7692 | 2830.8636 | 6970 | 1032 | 910 | 1001 | 1122 | 1114.8074 | 826.6745 | 1.791% | 1.2681 | 4202.3726 | 3564.5351 | 4860.4991 | 4968.2848 | 7802.4136 | 7517.0986 | 2391.6243 | 2765.3605 | 3589.7235 | 8838.424 | 1308.6447 | 1153.9406 | 1269.3346 | 1422.7707 | 1413.65 | 1048.2783
30 | 2026 | 3314 | 2811 | 3833 | 3918 | 6153 | 5928 | 1886.04 | 2180.7692 | 2848.5969 | 6970 | 1032 | 910 | 1001 | 1122 | 1114.8074 | 826.6745 | 1.785% | 1.2907 | 4277.3868 | 3628.1636 | 4947.2611 | 5056.9708 | 7941.69 | 7651.282 | 2434.3158 | 2814.7234 | 3676.69 | 8996.1936 | 1332.0046 | 1174.5389 | 1291.9928 | 1448.1678 | 1438.8843 | 1066.9905
31 | 2027 | 3314 | 2811 | 3833 | 3918 | 6153 | 5928 | 1886.04 | 2180.7692 | 2866.591 | 6970 | 1032 | 910 | 1001 | 1122 | 1114.8074 | 826.6745 | 1.772% | 1.3136 | 4353.1902 | 3692.4616 | 5034.9361 | 5146.59 | 8082.432 | 7786.8774 | 2477.4565 | 2864.6057 | 3765.4846 | 9155.6234 | 1355.6102 | 1195.354 | 1314.8894 | 1473.8321 | 1464.3841 | 1085.8996
32 | 2028 | 3314 | 2811 | 3833 | 3918 | 6153 | 5928 | 1886.04 | 2180.7692 | 2884.8497 | 6970 | 1032 | 910 | 1001 | 1122 | 1114.8074 | 826.6745 | 1.773% | 1.3369 | 4430.3884 | 3757.9426 | 5124.2241 | 5237.8581 | 8225.7634 | 7924.9676 | 2521.391 | 2915.4058 | 3856.6701 | 9317.9865 | 1379.6502 | 1216.552 | 1338.2072 | 1499.9686 | 1490.353 | 1105.1566
33 | 2029 | 3314 | 2811 | 3833 | 3918 | 6153 | 5928 | 1886.04 | 2180.7692 | 2903.3769 | 6970 | 1032 | 910 | 1001 | 1122 | 1114.8074 | 826.6745 | 1.778% | 1.3606 | 4509.1433 | 3824.744 | 5215.3127 | 5330.9666 | 8371.9851 | 8065.8423 | 2566.2114 | 2967.2302 | 3950.4352 | 9483.6236 | 1404.175 | 1238.1775 | 1361.9953 | 1526.6321 | 1516.8456 | 1124.8019
34 | 2030 | 3314 | 2811 | 3833 | 3918 | 6153 | 5928 | 1886.04 | 2180.7692 | 2922.1766 | 6970 | 1032 | 910 | 1001 | 1122 | 1114.8074 | 826.6745 | 1.774% | 1.3848 | 4589.1204 | 3892.5822 | 5307.8149 | 5425.5202 | 8520.4762 | 8208.9034 | 2611.7274 | 3019.859 | 4046.536 | 9651.8314 | 1429.0803 | 1260.1387 | 1386.1525 | 1553.7095 | 1543.7494 | 1144.7522
|  | 1965.7686 | 1712.7548 | 2525.3993 | 2275.3116 | 3396.4135 | 3129.4051 | 1350 | 4485 | 2260.6339 | 3338.0782 | 777.1063 | 703.1011 | 1043.4036 | 1404.1498 | 1200.2325 | 828.0891
|  | 1.6859 | 1.6412 | 1.5178 | 1.722 | 1.8116 | 1.8943 | 1.3971 | 0.48624 | 1.2926 | 2.088 | 1.328 | 1.2943 | 0.95936 | 0.79906 | 0.92883 | 0.99829