## Excess Gen Price
|  | LG&E NMS 2 Export Rate |  | Source
|  | Energy* | 0.024775 | Seelye Suppl Testimony
|  | Ancillary Services | 0.0008242 | 4% * G Capacity, Seelye Suppl Rebuttal
|  | Generation Capacity* | 0.020605 | KU/LG&E LevelCT Approach
|  | Transmission Capacity | 0.0073173
|  | Distribution Capacity | 0.001287
|  | Carbon Cost | 0.013378 | KU/LG&E Provided Exact Value
|  | Environmental Compliance Cost | 0.0010493
|  | Jobs Benefit | 0
|  | NMS 2 Price for Excess Gen | 0.06924
*With losses
Kentucky Power |  | KU NMS 2 Export Rate |  | Source
Energy | 0.038932 | Energy* | 0.025255 | Seelye Suppl Testimony
Ancillary Services | 0.00063 | Ancillary Services | 0.0008424 | 4% * G Capacity, Seelye Suppl Rebuttal
G Capacity | 0.028155 | Generation Capacity* | 0.02106 | KU/LG&E LevelCT Approach
T Capacity | 0.012452 | Transmission Capacity | 0.0073173 | Calculated based on simplified MN VOS Approach
D Capacity | 0.01046 | Distribution Capacity | 0.0018465 | Calculated based on simplified MN VOS Approach
Carbon cost | 0.0057785 | Carbon cost | 0.013378 | Data anc calculation provided in PSC-8-Q21
Enviro Comp Cost | 0.0010547 | Environmental Compliance Cost | 0.003965 | Calculated using data from PSC-7-##
Job's benefit | - | Jobs Benefit | 0
NMS Price for Excess Gen | 0.09746 | NMS 2 Price for Excess Gen | 0.07366
*With losses
|  | QF | 0.046315
|  | fixed tilt QF from PPT | 0.043895

## Avoided Energy
Proposed Avoided Energy |  | 20-Year Energy Payment for Contract Beginning:
| 2-Year PPA | 2022 | 2023 | 2024 | 2025 | 2026
Solar: Single-Axis Tracking | 22.9384 | 23.8475 | 23.9199 | 24.0319 | 24.1358 | 24.2565
Solar: Fixed Tilt | 23.191 | 24.0737 | 24.1419 | 24.2564 | 24.3596 | 24.4823
Wind | 22.5129 | 23.7094 | 23.8275 | 23.9694 | 24.1071 | 24.2372
Other | 22.0384 | 22.9838 | 23.0742 | 23.1848 | 23.2888 | 23.3943
| QF Avoided Energy, KU (with line losses) |  |  | QF Avoided Energy, LG&E (with line losses)
| 2-Year PPA | 2022 | 2023 | 2-Year PPA | 2022 | 2023
Solar: Single-Axis Tracking | 24.03 | 24.98 | 25.06 | 23.57 | 24.51 | 24.58
Solar: Fixed Tilt | 24.29 | 25.22 | 25.29 | 23.83 | 24.74 | 24.81
Wind | 23.58 | 24.84 | 24.96 | 23.14 | 24.37 | 24.49
Other | 23.08 | 24.08 | 24.17 | 22.65 | 23.62 | 23.71
Source: PSC-7-Q30_Att1 Modified
Note on B4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Values from 2020_PSC_DR7_KU_LGE_Attach_Q30_Att_1_AC_Model

## Avoided Generation
| QF Avoided Capacity, 2025 Need, KU (with line losses) |  |  | QF Avoided Capacity, LG&E (with line losses)
| 2-Year PPA | 2022 | 2023 | 2-Year PPA | 2022 | 2023
Solar: Single-Axis Tracking | 0 | 16.62 | 18.4 | 0 | 16.26 | 18.01
Solar: Fixed Tilt | 0 | 19.99 | 22.13 | 0 | 19.56 | 21.65
Wind | 0 | 13.11 | 14.51 | 0 | 12.82 | 14.2
Other | 0 | 11.59 | 12.83 | 0 | 11.34 | 12.56
Source: PSC-7-Q30_Att1 Modified

## D Cost ('19-'24)
Combined
Year | New Dist. Capacity | Capital Cost - Capacity projects
| (MW) | ($ Thousands)
2019 | 52.7 | 11653
2020 | 0 | 75
2021 | 46.4 | 7261
2022 | 22.4 | 12905
2023 | 119.4 | 11057
Total | 240.9 | 42951
Cost per kW |  | 178.2939
KU |  |  | LG&E
Year | New Dist. Capacity | Capital Cost - Capacity projects | Year | New Dist. Capacity | Capital Cost - Capacity projects
| (MW) | ($ Thousands) |  | (MW) | ($ Thousands)
2019 | 52.7 | 11653 | 2019 | 0 | 0
2020 | 0 | 75 | 2020 | 0 | 0
2022 | 46.4 | 7261 | 2022 | 0 | 0
2023 | 22.4 | 9705 | 2023 | 0 | 3200
2024 | 74.6 | 8357 | 2024 | 44.8 | 2700
Total | 196.1 | 37051 | Total | 44.8 | 5900
Cost per kW |  | 188.9393 | Cost per kW |  | 131.6964
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Data for both KU and LG&E from Q16 and Q17 in Response to Commission Staff’s Eighth Request for Information Dated August 3, 2021

## Avoided Distribution combined
Inputs
Distribution cost ($/kW) | 178.2939
Distribution Cost Escalation | 3%
PV Capacity Factor | 16.68%
WACC | 6.75% |  | Year | Distribution Cost | Capital Cost | Deferred capital cost
Annual Energy | 1461.035 |  |  | $/kW | $/kW | $/kW
PV Availability Factor | 28.8% | 1 | 2021 | 178.2939 | 178.2939
Outputs |  | 26 | 2046 | 373.3078 |  | 373.3078 | NPV of savings
Deferral Savings (NPV $/kW) | 105.37 |  |  | Discounted Value | 178.2939 | 72.9239 | 105.37
Avoided Dist ($/kW-year) | 8.8392
Avoided Dist ($/kWh) | 0.0060499
PV-Adj Avoided Dist ($/kWh) | 0.0017424
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Q17 from DR8
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Q30 Att_1_AC_Model, tab 'LevelCT', cell J53
Note on A8: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Data from attachment to Q34 in Response to Commission Staff’s Seventh Request for Information Dated July 22, 2021

## Avoided Distribution KU
Inputs
Distribution cost ($/kW) | 188.9393
Distribution Cost Escalation | 3%
PV Capacity Factor | 16.68%
WACC | 6.75% |  | Year | Distribution Cost | Capital Cost | Deferred capital cost
Annual Energy | 1461.035 |  |  | $/kW | $/kW | $/kW
PV Availability Factor | 28.8% | 1 | 2021 | 188.9393 | 188.9393
Outputs |  | 26 | 2046 | 395.597 |  | 395.597 | NPV of savings
Deferral Savings (NPV $/kW) | 111.6613 |  |  | Discounted Value | 188.9393 | 77.278 | 111.6613
Avoided Dist ($/kW-year) | 9.3669
Avoided Dist ($/kWh) | 0.0064112
PV-Adj Avoided Dist ($/kWh) | 0.0018465
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Q17 from DR8
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Q30 Att_1_AC_Model, tab 'LevelCT', cell J53
Note on A8: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Data from attachment to Q34 in Response to Commission Staff’s Seventh Request for Information Dated July 22, 2021

## Avoided Distribution LG&E
Inputs
Distribution cost ($/kW) | 131.6964
Distribution Cost Escalation | 3%
PV Capacity Factor | 16.68%
WACC | 6.75% |  | Year | Distribution Cost | Capital Cost | Deferred capital cost
Annual Energy | 1461.035 |  |  | $/kW | $/kW | $/kW
PV Availability Factor | 28.8% | 1 | 2021 | 131.6964 | 131.6964
Outputs |  | 26 | 2046 | 275.7431 |  | 275.7431 | NPV of savings
Deferral Savings (NPV $/kW) | 77.8313 |  |  | Discounted Value | 131.6964 | 53.8651 | 77.8313
Avoided Dist ($/kW-year) | 6.529
Avoided Dist ($/kWh) | 0.0044688
PV-Adj Avoided Dist ($/kWh) | 0.001287
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Q17 from DR8
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Q30 Att_1_AC_Model, tab 'LevelCT', cell J53
Note on A8: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Data from attachment to Q34 in Response to Commission Staff’s Seventh Request for Information Dated July 22, 2021

## Avoided Enviro Compliance
ownership
|  | MW Net Capacity (2019 Summer) | LG&E | KU | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | KU O&M | TOTAL | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061 | 2062 | 2063 | 2064 | 2065
Annual Capacity Factors | Brown 3 | 409 |  | 100% | 23.5 | 21.7 | 25.6 | 24.6 | 23.1 | 19.8 | 18.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Ghent
| Ghent 1 | 475 |  | 100% | 59.8 | 58.9 | 65.5 | 63.9 | 59.8 | 63.7 | 63.2 | 60.4 | 54.2 | 59 | 61.9 | 61.1 | 61.9 | 55.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | CCR | 159344470 | 2021: 7835515; 2022: 7462936; 2023: 8990941; 2024: 10616046; 2025: 10743798; 2026: 10958674; 2027: 11177847; 2028: 11401404; 2029: 11629432; 2030: 11862021; 2031: 12099262; 2032: 12341247; 2033: 12588072; 2034: 6416571; 2035: 6544903; 2036: 6675801
| Ghent 2 | 485 |  | 100% | 64.5 | 62.4 | 64.3 | 56.7 | 62.4 | 61.4 | 54 | 60.4 | 58.1 | 56.2 | 59.2 | 60.3 | 58.5 | 64.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | ELG | 61046704 | 2021: -; 2022: -; 2023: -; 2024: 2439208; 2025: 5060045; 2026: 5161246; 2027: 5264471; 2028: 5369760; 2029: 5477155; 2030: 5586699; 2031: 5698433; 2032: 5812401; 2033: 5928649; 2034: 3022035; 2035: 3082476; 2036: 3144126
| Ghent 3 | 481 |  | 100% | 59.8 | 57.7 | 55.4 | 55.7 | 54.2 | 51 | 55.1 | 53.5 | 50.9 | 49.3 | 54.5 | 51.6 | 52.9 | 50.9 | 48.9 | 47.3 | 55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Total Ghent | 220391175 | 2021: 7835515; 2022: 7462936; 2023: 8990941; 2024: 13055254; 2025: 15803843; 2026: 16119920; 2027: 16442318; 2028: 16771165; 2029: 17106588; 2030: 17448720; 2031: 17797694; 2032: 18153648; 2033: 18516721; 2034: 9438607; 2035: 9627379; 2036: 9819926
| Ghent 4 | 478 |  | 100% | 54.7 | 50.3 | 51.9 | 47 | 51.9 | 47.6 | 48.5 | 40.3 | 44.4 | 46.6 | 47.6 | 46.8 | 47.5 | 43.4 | 41.7 | 39.2 | 42 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | EW Brown | 0
| Mill Creek 1 | 300 | 100% |  | 70.4 | 76.3 | 69.5 | 80.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | CCR | 23882633 | 2021: 3112401; 2022: 3288641; 2023: 3232352; 2024: 3504169; 2025: 3511002; 2026: 3581222; 2027: 3652846
| Mill Creek 2 | 297 | 100% |  | 24 | 30.8 | 30.3 | 31.7 | 79.6 | 71.2 | 79.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | ELG | 0 | bar: 2021 to 2027
| Mill Creek 3 | 391 | 100% |  | 63.7 | 76.5 | 66.6 | 81.6 | 75 | 82.3 | 68.4 | 79.8 | 73.3 | 79.3 | 74.7 | 79.1 | 74.4 | 72.3 | 61.8 | 68.6 | 60.3 | 57.8 | 63.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Total EW Brown | 23882633 | 2021: 3112401; 2022: 3288641; 2023: 3232352; 2024: 3504169; 2025: 3511002; 2026: 3581222; 2027: 3652846
| Mill Creek 4 | 477 | 100% |  | 72.9 | 63.7 | 72.9 | 71.3 | 78.2 | 73.6 | 79 | 70.2 | 76.4 | 68 | 77.6 | 73.9 | 77.9 | 66.8 | 68.7 | 64 | 61.4 | 52.5 | 61.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Trimble County | 0
| Trimble County 1 | 370 | 100% |  | 71.6 | 80 | 76 | 79.7 | 70 | 81.3 | 77.8 | 81 | 76.9 | 81.2 | 74.4 | 80 | 68 | 77.8 | 71.9 | 75.9 | 69.1 | 62.8 | 57.9 | 58.2 | 49 | 48.5 | 46.2 | 49 | 60.2 | 0 | 0 | 0 | 0 | 0 | CCR | 139483924 | 1549698 | 1675499 | 2591408 | 2667215 | 2775947 | 2831466 | 2888096 | 2945858 | 3004775 | 3064870 | 3126168 | 3188691 | 3252465 | 3317514 | 3383864 | 3451542 | 3520572 | 3590984 | 3662804 | 3736060 | 3810781 | 3886996 | 3964736 | 4044031 | 2464845 | 2514142 | 2564425 | 2615713 | 2668028 | 2721388 | 2775816 | 2831332 | 2887959 | 2945718 | 3004633 | 3064725 | 3126020 | 3188540 | 3252311 | 3317357 | 3383704 | 3451378 | 3520406 | 3590814 | 3662630
| Trimble County 2 | 549 | 19% | 81% | 62 | 59.3 | 54.5 | 60.8 | 61.9 | 55.3 | 61 | 60.7 | 59.6 | 60.3 | 60.3 | 60.3 | 60.9 | 52.4 | 57.4 | 56.3 | 53.3 | 50.7 | 47.7 | 44.9 | 38.5 | 34.7 | 39.3 | 38 | 34.7 | 36.3 | 35.7 | 37.8 | 37.3 | 36.9 | ELG | 64569553 | - | - | 618201 | 1281370 | 1328003 | 1354563 | 1381655 | 1409288 | 1437473 | 1466223 | 1495547 | 1525458 | 1555968 | 1587087 | 1618829 | 1651205 | 1684229 | 1717914 | 1752272 | 1787318 | 1823064 | 1859525 | 1896716 | 1934650 | 1179173 | 1202757 | 1226812 | 1251348 | 1276375 | 1301902 | 1327940 | 1354499 | 1381589 | 1409221 | 1437405 | 1466154 | 1495477 | 1525386 | 1555894 | 1587012 | 1618752 | 1651127 | 1684150 | 1717833 | 1752189
Total Energy (MWh) | Brown | 409 |  |  | 84196740 | 77747628 | 91720704 | 88137864 | 82763604 | 70940232 | 65924256 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Total Trimble County | 204053480 | 1549698 | 1675499 | 3209609 | 3948585 | 4103951 | 4186030 | 4269750 | 4355145 | 4442248 | 4531093 | 4621715 | 4714149 | 4808432 | 4904601 | 5002693 | 5102747 | 5204802 | 5308898 | 5415076 | 5523377 | 5633845 | 5746522 | 5861452 | 5978681 | 3644018 | 3716899 | 3791237 | 3867061 | 3944403 | 4023291 | 4103757 | 4185832 | 4269548 | 4354939 | 4442038 | 4530879 | 4621496 | 4713926 | 4808205 | 4904369 | 5002456 | 5102505 | 5204556 | 5308647 | 5414820
| Ghent | 1919 |  |  | 1003877604 | 963938136 | 996481536 | 938280972 | 959635224 | 940125828 | 927649836 | 902112684 | 872755296 | 887126076 | 938036568 | 923812080 | 927902124 | 899885016 | 380652660 | 363442764 | 407611560 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Mill Creek | 1465 |  |  | 770249280 | 808845840 | 794207880 | 872238456 | 790744176 | 774672204 | 770960592 | 566659872 | 570303156 | 555754548 | 580112604 | 579722784 | 580338612 | 526764204 | 498739212 | 502391256 | 463098276 | 417346548 | 476833080 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | KU Capital | TOTAL | 2021: 2021; 2022: 2022; 2023: 2023; 2024: 2024; 2025: 2025
| Trimble County | 919 |  |  | 530242800 | 544483932 | 508434780 | 550725432 | 524575956 | 529460532 | 545529000 | 554458068 | 535878984 | 553182612 | 531142452 | 549293172 | 513284316 | 504169536 | 509092656 | 516767292 | 480299412 | 447375828 | 417066228 | 404572716 | 343974540 | 324078828 | 338746572 | 341569920 | 362000868 | 174575412 | 171689868 | 181789272 | 179384652 | 177460956 | Ghent
Avg CF | Brown |  |  |  | 23.5 | 21.7 | 25.6 | 24.6 | 23.1 | 19.8 | 18.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | CCR | 77080493 | 2021: 39544326; 2022: 24594870; 2023: 9657422; 2024: 3213452; 2025: 70423
| Ghent |  |  |  | 59.7175 | 57.3416 | 59.2775 | 55.8154 | 57.0857 | 55.9251 | 55.183 | 53.6638 | 51.9175 | 52.7723 | 55.8008 | 54.9547 | 55.198 | 53.5313 | 22.6438 | 21.6201 | 24.2475 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | ELG | 127784546 | 2021: 32992546; 2022: 55055000; 2023: 18030000; 2024: 21707000; 2025: -
| Mill Creek |  |  |  | 60.0191 | 63.0266 | 61.886 | 67.9663 | 61.6161 | 60.3638 | 60.0745 | 44.1551 | 44.439 | 43.3053 | 45.2033 | 45.173 | 45.221 | 41.0463 | 38.8626 | 39.1472 | 36.0854 | 32.5203 | 37.1556 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Total Ghent | 204865039 | 2021: 72536872; 2022: 79649870; 2023: 27687422; 2024: 24920452; 2025: 70423
| Trimble County |  |  |  | 65.8651 | 67.6341 | 63.1561 | 68.4094 | 65.1612 | 65.7679 | 67.7639 | 68.873 | 66.5652 | 68.7146 | 65.9768 | 68.2314 | 63.7585 | 62.6263 | 63.2379 | 64.1912 | 59.6613 | 55.5716 | 51.8066 | 50.2547 | 42.7274 | 40.256 | 42.078 | 42.4287 | 44.9666 | 21.6852 | 21.3268 | 22.5813 | 22.2826 | 22.0436 | EW Brown
Lifetime | 20 | [33 empty] | CCR | 6528902 | 2021: 6477352; 2022: 12313; 2023: 13079; 2024: 13079; 2025: 13079
WACC | 6.75% | [33 empty] | ELG | 710416 | 2021: 72800; 2022: 637616; 2023: -; 2024: -; 2025: -
Last Year Online | Brown | 2027 | [32 empty] | Total EW Brown | 7239318 | 2021: 6550152; 2022: 649929; 2023: 13079; 2024: 13079; 2025: 13079
| Ghent | 2034 | [32 empty] | Trimble County
| Mill Creek | 2028 | [32 empty] | CCR | 34456319 | 2021: 12424129; 2022: 6958906; 2023: 15022484; 2024: 25359; 2025: 25441
| Trimble County | 2034 | [32 empty] | ELG | 21118866 | 2021: 6746586; 2022: 10023120; 2023: 4349160; 2024: -; 2025: -
2021 NPV (Capital) | Brown | 6736567.037 | [32 empty] | Total Trimble County | 55575185 | 2021: 19170715; 2022: 16982026; 2023: 19371644; 2024: 25359; 2025: 25441
| Ghent | 179847308.9539
| Mill Creek | 58159345.972 | [32 empty] | LG&E O&M | TOTAL | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061 | 2062 | 2063 | 2064 | 2065
| Trimble County | 52902565.8393 | [32 empty] | Mill Creek
Cost per MW | Brown | 16470.8241 | [32 empty] | CCR | 5584973 | 2021: -482440; 2022: 41300; 2023: -192716; 2024: 184541; 2025: 475822; 2026: 485338; 2027: 495045; 2028: 376217; 2029: 383742; 2030: 391417; 2031: 399245; 2032: 407230; 2033: 415374; 2034: 423682; 2035: 432155; 2036: 440799; 2037: 449615; 2038: 458607
| Ghent | 93719.2855 | [32 empty] | ELG | 45291906 | 2021: -; 2022: -; 2023: -; 2024: 1644148; 2025: 3441759; 2026: 3510594; 2027: 3580806; 2028: 2721290; 2029: 2775715; 2030: 2831230; 2031: 2887854; 2032: 2945611; 2033: 3004524; 2034: 3064614; 2035: 3125906; 2036: 3188425; 2037: 3252193; 2038: 3317237
| Mill Creek | 39699.2123 | [32 empty] | Total Mill Creek | 50876879 | 2021: -482440; 2022: 41300; 2023: -192716; 2024: 1828689; 2025: 3917581; 2026: 3995933; 2027: 4075851; 2028: 3097507; 2029: 3159457; 2030: 3222646; 2031: 3287099; 2032: 3352841; 2033: 3419898; 2034: 3488296; 2035: 3558062; 2036: 3629223; 2037: 3701808; 2038: 3775844
| Trimble County | 57565.36 | [32 empty] | Trimble County
Average CF | Brown | 22.39% | [32 empty] | CCR | 155991416 | 1773099 | 1921384 | 2915512 | 2995479 | 3101980 | 3164019 | 3227300 | 3291846 | 3357683 | 3424836 | 3493333 | 3563200 | 3634464 | 3707153 | 3781296 | 3856922 | 3934060 | 4012741 | 4092996 | 4174856 | 4258353 | 4343520 | 4430391 | 4518999 | 2754339 | 2809426 | 2865614 | 2922926 | 2981385 | 3041013 | 3101833 | 3163870 | 3227147 | 3291690 | 3357524 | 3424674 | 3493168 | 3563031 | 3634292 | 3706977 | 3781117 | 3856739 | 3933874 | 4012552 | 4092803
| Ghent | 49.81% | [32 empty] | ELG | 69950348 | - | - | 669718 | 1388151 | 1438670 | 1467444 | 1496792 | 1526728 | 1557263 | 1588408 | 1620176 | 1652580 | 1685631 | 1719344 | 1753731 | 1788806 | 1824582 | 1861073 | 1898295 | 1936261 | 1974986 | 2014486 | 2054775 | 2095871 | 1277438 | 1302986 | 1329046 | 1355627 | 1382739 | 1410394 | 1438602 | 1467374 | 1496722 | 1526656 | 1557189 | 1588333 | 1620100 | 1652502 | 1685552 | 1719263 | 1753648 | 1788721 | 1824495 | 1860985 | 1898205
| Mill Creek | 48.8% | [32 empty] | Total Trimble County | 225941758 | 1773099 | 1921384 | 3585229 | 4383630 | 4540650 | 4631463 | 4724092 | 4818574 | 4914945 | 5013244 | 5113509 | 5215779 | 5320095 | 5426497 | 5535027 | 5645727 | 5758642 | 5873815 | 5991291 | 6111117 | 6233339 | 6358006 | 6485166 | 6614869 | 4031776 | 4112412 | 4194660 | 4278553 | 4364124 | 4451407 | 4540435 | 4631244 | 4723869 | 4818346 | 4914713 | 5013007 | 5113267 | 5215533 | 5319843 | 5426240 | 5534765 | 5645460 | 5758370 | 5873537 | 5991008
| Trimble County | 53.19%
Capital Recovery Factor |  | 9.257% | [32 empty] | LG&E Capital | TOTAL | 2021: 2021; 2022: 2022; 2023: 2023; 2024: 2024; 2025: 2025
Mill Creek
[35 empty] | CCR | 6083502 | 2021: 5841051; 2022: 57918; 2023: 61511; 2024: 61511; 2025: 61511
[35 empty] | ELG | 60731067 | 2021: 15770067; 2022: 23993000; 2023: 10007000; 2024: 10961000; 2025: -
Annualized Cost | Brown | 623581.7501 | [32 empty] | Total Mill Creek | 66814569 | 2021: 21611118; 2022: 24050918; 2023: 10068511; 2024: 11022511; 2025: 61511
| Ghent | 16647871.0978 | [32 empty] | Trimble County
| Mill Creek | 5383618.4734 | [32 empty] | CCR | 37339026 | 2021: 13472249; 2022: 7538837; 2023: 16273904; 2024: 27018; 2025: 27018
| Trimble County | 4897015.7072 | [32 empty] | ELG | 22878771 | 2021: 7308801; 2022: 10858380; 2023: 4711590; 2024: -; 2025: -
Levelized Cost ($/MWh) | LG&E | 1.0493 | [32 empty] | Total Trimble County | 60217797 | 2021: 20781050; 2022: 18397217; 2023: 20985494; 2024: 27018; 2025: 27018
Levelized Cost ($/kWh) | LG&E | 0.0010493
Levelized Cost ($/MWh) | KU | 3.965 | [32 empty] | KU + LG&E O&M | 725145925 | 13788273 | 14389760 | 18825415 | 26720327 | 31877027 | 32514568 | 33164857 | 29042391 | 29623238 | 30215703 | 30820017 | 31436417 | 32065146 | 23258001 | 23723161 | 24197623 | 14665252 | 14958557 | 11406367 | 11634494 | 11867184 | 12104528 | 12346618 | 12593550 | 7675794 | 7829311 | 7985897 | 8145614 | 8308527 | 8474698 | 8644192 | 8817076 | 8993417 | 9173285 | 9356751 | 9543886 | 9734763 | 9929459 | 10128048 | 10330609 | 10537221 | 10747965 | 10962926 | 11182184 | 11405828
Levelized Cost ($/kWh) | KU | 0.003965 | [32 empty] | KU + LG&E Capital | 394711908 | 2021: 140649907; 2022: 139729960; 2023: 78126150; 2024: 36008419; 2025: 197472
[37 empty] | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061 | 2062 | 2063 | 2064 | 2065
[35 empty] | Total cost (O&M + Capital) | Brown | 140649907 2021: 9662553; 139729960 2022: 3938570; 78126150 2023: 3245431; 36008419 2024: 3517248; 197472 2025: 3524081; 197472 2026: 3581222; 197472 2027: 3652846
[36 empty] | Ghent | 140649907 2021: 80372387; 139729960 2022: 87112806; 78126150 2023: 36678363; 36008419 2024: 37975706; 197472 2025: 15874266; 197472 2026: 16119920; 197472 2027: 16442318; 197472 2028: 16771165; 197472 2029: 17106588; 197472 2030: 17448720; 197472 2031: 17797694; 197472 2032: 18153648; 197472 2033: 18516721; 197472 2034: 9438607; 197472 2035: 9627379; 197472 2036: 9819926
[36 empty] | Mill Creek | 140649907 2021: 21128678; 139729960 2022: 24092218; 78126150 2023: 9875795; 36008419 2024: 12851200; 197472 2025: 3979092; 197472 2026: 3995933; 197472 2027: 4075851; 197472 2028: 3097507; 197472 2029: 3159457; 197472 2030: 3222646; 197472 2031: 3287099; 197472 2032: 3352841; 197472 2033: 3419898; 197472 2034: 3488296; 197472 2035: 3558062; 197472 2036: 3629223; 197472 2037: 3701808; 197472 2038: 3775844
[36 empty] | Trimble County | 43274562 | 38976126 | 47151976 | 8384592 | 8697060 | 8817493 | 8993842 | 9173719 | 9357193 | 9544337 | 9735224 | 9929928 | 10128527 | 10331098 | 10537720 | 10748474 | 10963444 | 11182713 | 11406367 | 11634494 | 11867184 | 12104528 | 12346618 | 12593550 | 7675794 | 7829311 | 7985897 | 8145614 | 8308527 | 8474698 | 8644192 | 8817076 | 8993417 | 9173285 | 9356751 | 9543886 | 9734763 | 9929459 | 10128048 | 10330609 | 10537221 | 10747965 | 10962926 | 11182184 | 11405828
Source: https://psc.ky.gov/pscecf/2020-00349/rick.lovekamp%40lge-ku.com/11252020084757/10-KU_Testimony_1of4%28Thompson_Blake_Bellar_Sinclair_Wolfe_Saunders%29.pdf#page=139
Note on E2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: From 2018 IRP, Table 8-2: KU and LG&E Existing and Planned Electric Generation Facilities at 8-7.
Note on AM2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Attachment 1 to Response to PSC-8 Question No. 27
Note on C3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Attachment to Response to PSC-8 Question No. 28
Note on E12: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: These numbers represent the Companies' 75% ownership shares of Trimble County units 1 & 2
Note on AM16: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Attachment 2 to Response to PSC-8 Question No. 27
Note on AM30: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Attachment 1 to Response to PSC-8 Question No. 27
Note on AM41: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Attachment 2 to Response to PSC-8 Question No. 27

## Avoided Transmission
[8 empty] | $/kW | $/kW-yr | $/kWh
Effective Date | Firm PTP Rate ($/MW-year) |  | Escalation |  |  |  | NPV | 442.4991 | 37.1199 | 0.025407
| As Filed | As Revised |  |  | Year | Cost
2016-06-01 | 20195 |  |  |  |  | $/kW-yr
2017-06-01 | 22278 |  | 10.31% | 1 | 2021 | 26.3024
2018-06-01 | 23771 |  | 6.702% | 2 | 2022 | 27.0915
2019-06-01 | 24437 | 24255 | 2.802% | 3 | 2023 | 27.9042
2020-06-01 | 27272 | 27279 | 11.6% | 4 | 2024 | 28.7413
2021-06-01 | 33929 |  | 24.41% | 5 | 2025 | 29.6036
5-Year Average | 26302.4 |  |  | 6 | 2026 | 30.4917
|  |  |  | 7 | 2027 | 31.4064
|  |  |  | 8 | 2028 | 32.3486
|  |  |  | 9 | 2029 | 33.3191
Inputs |  |  |  | 10 | 2030 | 34.3187
Transmission cost ($/kW-yr) | 26.3024 |  |  | 11 | 2031 | 35.3482
Transmission Cost Escalation | 3% |  |  | 12 | 2032 | 36.4087
PV Capacity Factor | 16.68% |  |  | 13 | 2033 | 37.5009
WACC | 6.75% |  |  | 14 | 2034 | 38.626
Annual Energy | 1461.035 |  |  | 15 | 2035 | 39.7847
PV Availability Factor | 28.8% |  |  | 16 | 2036 | 40.9783
Outputs |  |  |  | 17 | 2037 | 42.2076
Avoided Transm ($/kW) | 442.4991 |  |  | 18 | 2038 | 43.4739
Avoided Transm ($/kW-year) | 37.1199 |  |  | 19 | 2039 | 44.7781
Avoided Transm ($/kWh) | 0.025407 |  |  | 20 | 2040 | 46.1214
PV-Adj Avoided Transm ($/kWh) | 0.0073173 |  |  | 21 | 2041 | 47.5051
|  |  |  | 22 | 2042 | 48.9302
|  |  |  | 23 | 2043 | 50.3981
|  |  |  | 24 | 2044 | 51.9101
|  |  |  | 25 | 2045 | 53.4674
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: PTP data from Q19 in Response to Commission Staff’s Eighth Request for Information Dated August 3, 2021
Note on A16: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Using the distribution cost escalator as a proxy for transmission escalation
Note on A17: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Q30 Att_1_AC_Model, tab 'LevelCT', cell J53
Note on A20: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Data from attachment to Q34 in Response to Commission Staff’s Seventh Request for Information Dated July 22, 2021

## Avoided CO2
| 2018IRP CO2 ($/ton) | Existing and Expansion Units CO2 Emissions (tons) | Net Load (GWh) | $/kWh | Discount Rate | 6.75%
2022 | 0 | 28859221 | 31805.1558 | 0
2023 | 0 | 28769120 | 31773.455 | 0
2024 | 0 | 29203936 | 31768.489 | 0
2025 | 0 | 28476969 | 31631.5369 | 0
2026 | 17 | 28312937 | 31538.4905 | 0.015261
2027 | 18.17 | 28166522 | 31430.4152 | 0.016283
2028 | 19.37 | 26072956 | 31361.7935 | 0.016103
2029 | 20.62 | 25573069 | 31200.6529 | 0.016901
2030 | 21.9 | 25634384 | 31054.0902 | 0.018078
2031 | 23.23 | 25905057 | 31018.7517 | 0.0194
2032 | 24.59 | 25994265 | 31024.8144 | 0.020603
2033 | 26 | 25753257 | 30978.7234 | 0.021614
2034 | 27.44 | 22796310 | 30969.7928 | 0.020198
2035 | 28.94 | 21409836 | 30970.0603 | 0.020006
2036 | 30.47 | 21372634 | 31009.2177 | 0.021001
2037 | 32.05 | 19246798 | 30996.4152 | 0.019901
2038 | 33.68 | 17788962 | 31019.1323 | 0.019315
2039 | 35.36 | 15779800 | 31041.097 | 0.017975
2040 | 37.09 | 14745550 | 31073.2254 | 0.017601
2041 | 38.87 | 14401678 | 31048.841 | 0.018029
2042 | 46.51 | 14241961 | 31057.3929 | 0.021328
2043 | 48.56 | 14410578 | 31069.9561 | 0.022523
2044 | 44.52 | 14479064 | 31116.3018 | 0.020716
2045 | 46.51 | 13812494 | 31097.8817 | 0.020658
2046 | 48.56 | 13447829 | 31113.1574 | 0.020989
|  |  | NPV of 22-46 | 0.15948
|  |  | life (years) | 25
|  |  | Discount factor | 6.75%
|  |  | Capital Recovery Factor | 0.083887
|  |  | avoided cost | 0.013378
Note on A1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Source: 2020_PSC_DR8_KU_LGE_Attach_to_Q21_-_Avoided_CO2_Cost.xlsx
Note on B1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Per Response to MA-KFTC-KSES-MHC-3 Question No. 1(2a), The Companies do not have an updated CO2 price forecast (from the CO2 price forecasts from the 2018 IRP)