## Event Data
METER_NUMBER | EVENTDATE | LOGTIME | EVENT_TYPE_NAME | EVENT_TYPE_NOTES | EVENTTEXT
| 2026-04-17 01:23 | 2026-04-17 01:37 | Endpoint Time Synchronization | Event indicating a set time was initiated. | Meter time drifted 21 seconds from network and was corrected.
| 2026-04-17 01:23 | 2026-04-17 01:37 | Time Sync Alert | Used to subscribe the radio type sync event log. | Time Zone alert received. (Module DST = True; Module TIme = 04/17/2026 01:23:22)
| 2026-05-19 09:50 | 2026-05-19 09:50 | Service Disconnect Started | A disconnect operation has started. | Service disconnect operation started
| 2026-05-19 09:50 | 2026-05-19 09:50 | Service Disconnect Successful | Disconnect operation completed successfully. | Service disconnect operation succeeded
| 2026-05-19 13:58 | 2026-05-19 17:38 | Radio detected momentary outage | Communication module detected outage less than the sustained outage duration value. | Lost Power Time = 05/19/2026 18:58:13 GMT Restored Power Time = 05/19/2026 18:58:15 GMT Sustained Outage Count = 8 Momentary Outage Count = 15 EPF Status = Ok
| 2026-05-19 17:37 | 2026-05-19 17:37 | Service Connect Started | A connect operation has started. | Service connect operation started
| 2026-05-19 17:37 | 2026-05-19 17:37 | Service Connect Successful | Connect operation completed successfully. | Service connect operation succeeded
| 2026-05-23 01:23 | 2026-05-23 01:37 | Endpoint Time Synchronization | Event indicating a set time was initiated. | Meter time drifted 21 seconds from network and was corrected.
| 2026-05-23 01:23 | 2026-05-23 01:37 | Time Sync Alert | Used to subscribe the radio type sync event log. | Time Zone alert received. (Module DST = True; Module TIme = 05/23/2026 01:23:22)
| 2026-07-19 09:56 | 2026-07-19 09:58 | Endpoint Power Outage | Alarm indicating the communication module has suffered a power outage (last gasp) with a duration greater than the sustained outage duration, which is defaulted to 30 seconds.
| 2026-07-19 13:30 | 2026-07-19 13:32 | Endpoint Power Restore | Event confirming that the communication module has had power restored.
| 2026-07-23 10:42 | 2026-07-23 11:07 | Service Disconnect Started | A disconnect operation has started. | Service disconnect operation started
| 2026-07-23 10:42 | 2026-07-23 11:07 | Service Disconnect Successful | Disconnect operation completed successfully. | Service disconnect operation succeeded
| 2026-07-23 10:42 | 2026-07-23 11:07 | Service Connect Started | A connect operation has started. | Service connect operation started
| 2026-07-23 10:42 | 2026-07-23 11:07 | Service Connect Successful | Connect operation completed successfully. | Service connect operation succeeded
| 2026-08-06 01:23 | 2026-08-06 01:37 | Endpoint Time Synchronization | Event indicating a set time was initiated. | Meter time drifted 21 seconds from network and was corrected.
| 2026-08-06 01:23 | 2026-08-06 01:37 | Time Sync Alert | Used to subscribe the radio type sync event log. | Time Zone alert received. (Module DST = True; Module TIme = 08/06/2026 01:23:22)
| 2026-08-12 19:23 | 2026-08-13 12:03 | Radio detected momentary outage | Communication module detected outage less than the sustained outage duration value. | Lost Power Time = 08/13/2026 00:22:26 GMT Restored Power Time = 08/13/2026 00:22:28 GMT Sustained Outage Count = 9 Momentary Outage Count = 16 EPF Status = Ok