|  |  |  | 2033 | 7 | -15.1823 | -10.1295 | -10.1295 | 2033 | 7 | 7.2322 | 7.2344 | 7.2344
|  |  |  | 2033 | 8 | -15.1823 | -10.1295 | -10.1295 | 2033 | 8 | 7.1832 | 7.1854 | 7.1854
|  |  |  | 2033 | 9 | -15.1823 | -10.1295 | -10.1295 | 2033 | 9 | 7.0937 | 7.0959 | 7.0959
|  |  |  | 2033 | 10 | -15.1823 | -10.1295 | -10.1295 | 2033 | 10 | 7.0774 | 7.0796 | 7.0796
|  |  |  | 2033 | 11 | -15.1823 | -10.1295 | -10.1295 | 2033 | 11 | 7.1106 | 7.1128 | 7.1128
|  |  |  | 2033 | 12 | -15.1823 | -10.1295 | -10.1295 | 2033 | 12 | 7.1363 | 7.1385 | 7.1385
|  |  |  | 2034 | 1 | -15.2829 | -10.1796 | -10.1796 | 2034 | 1 | 7.1821 | 7.1843 | 7.1843
|  |  |  | 2034 | 2 | -15.2829 | -10.1796 | -10.1796 | 2034 | 2 | 7.1257 | 7.1279 | 7.1279
|  |  |  | 2034 | 3 | -15.2829 | -10.1796 | -10.1796 | 2034 | 3 | 7.0872 | 7.0894 | 7.0894
|  |  |  | 2034 | 4 | -15.2829 | -10.1796 | -10.1796 | 2034 | 4 | 7.1061 | 7.1083 | 7.1083
|  |  |  | 2034 | 5 | -15.2829 | -10.1796 | -10.1796 | 2034 | 5 | 7.1165 | 7.1187 | 7.1187
|  |  |  | 2034 | 6 | -15.2829 | -10.1796 | -10.1796 | 2034 | 6 | 7.1265 | 7.1287 | 7.1287
|  |  |  | 2034 | 7 | -15.2829 | -10.1796 | -10.1796 | 2034 | 7 | 7.2625 | 7.2647 | 7.2647
|  |  |  | 2034 | 8 | -15.2829 | -10.1796 | -10.1796 | 2034 | 8 | 7.2124 | 7.2146 | 7.2146
|  |  |  | 2034 | 9 | -15.2829 | -10.1796 | -10.1796 | 2034 | 9 | 7.1191 | 7.1213 | 7.1213
|  |  |  | 2034 | 10 | -15.2829 | -10.1796 | -10.1796 | 2034 | 10 | 7.1063 | 7.1085 | 7.1085
|  |  |  | 2034 | 11 | -15.2829 | -10.1796 | -10.1796 | 2034 | 11 | 7.1381 | 7.1403 | 7.1403
|  |  |  | 2034 | 12 | -15.2829 | -10.1796 | -10.1796 | 2034 | 12 | 7.1636 | 7.1658 | 7.1658
|  |  |  | 2035 | 1 | -15.3845 | -10.2301 | -10.2301 | 2035 | 1 | 7.213 | 7.2152 | 7.2152
|  |  |  | 2035 | 2 | -15.3845 | -10.2301 | -10.2301 | 2035 | 2 | 7.1532 | 7.1554 | 7.1554
|  |  |  | 2035 | 3 | -15.3845 | -10.2301 | -10.2301 | 2035 | 3 | 7.1122 | 7.1144 | 7.1144
|  |  |  | 2035 | 4 | -15.3845 | -10.2301 | -10.2301 | 2035 | 4 | 7.1353 | 7.1376 | 7.1376
|  |  |  | 2035 | 5 | -15.3845 | -10.2301 | -10.2301 | 2035 | 5 | 7.1437 | 7.146 | 7.146
|  |  |  | 2035 | 6 | -15.3845 | -10.2301 | -10.2301 | 2035 | 6 | 7.1516 | 7.1538 | 7.1538
|  |  |  | 2035 | 7 | -15.3845 | -10.2301 | -10.2301 | 2035 | 7 | 7.2958 | 7.298 | 7.298
|  |  |  | 2035 | 8 | -15.3845 | -10.2301 | -10.2301 | 2035 | 8 | 7.2417 | 7.244 | 7.244
|  |  |  | 2035 | 9 | -15.3845 | -10.2301 | -10.2301 | 2035 | 9 | 7.1445 | 7.1467 | 7.1467
|  |  |  | 2035 | 10 | -15.3845 | -10.2301 | -10.2301 | 2035 | 10 | 7.1355 | 7.1377 | 7.1377
|  |  |  | 2035 | 11 | -15.3845 | -10.2301 | -10.2301 | 2035 | 11 | 7.1657 | 7.1679 | 7.1679
|  |  |  | 2035 | 12 | -15.3845 | -10.2301 | -10.2301 | 2035 | 12 | 7.1918 | 7.1941 | 7.1941
|  |  |  | 2036 | 1 | -15.4871 | -10.2811 | -10.2811 | 2036 | 1 | 7.2418 | 7.2441 | 7.2441
|  |  |  | 2036 | 2 | -15.4871 | -10.2811 | -10.2811 | 2036 | 2 | 7.1815 | 7.1837 | 7.1837
|  |  |  | 2036 | 3 | -15.4871 | -10.2811 | -10.2811 | 2036 | 3 | 7.1371 | 7.1394 | 7.1394
|  |  |  | 2036 | 4 | -15.4871 | -10.2811 | -10.2811 | 2036 | 4 | 7.1648 | 7.167 | 7.167
|  |  |  | 2036 | 5 | -15.4871 | -10.2811 | -10.2811 | 2036 | 5 | 7.1691 | 7.1713 | 7.1713
|  |  |  | 2036 | 6 | -15.4871 | -10.2811 | -10.2811 | 2036 | 6 | 7.1792 | 7.1814 | 7.1814
|  |  |  | 2036 | 7 | -15.4871 | -10.2811 | -10.2811 | 2036 | 7 | 7.3294 | 7.3316 | 7.3316
|  |  |  | 2036 | 8 | -15.4871 | -10.2811 | -10.2811 | 2036 | 8 | 7.2654 | 7.2676 | 7.2676
|  |  |  | 2036 | 9 | -15.4871 | -10.2811 | -10.2811 | 2036 | 9 | 7.1758 | 7.178 | 7.178
|  |  |  | 2036 | 10 | -15.4871 | -10.2811 | -10.2811 | 2036 | 10 | 7.1627 | 7.165 | 7.165
|  |  |  | 2036 | 11 | -15.4871 | -10.2811 | -10.2811 | 2036 | 11 | 7.1889 | 7.1912 | 7.1912
|  |  |  | 2036 | 12 | -15.4871 | -10.2811 | -10.2811 | 2036 | 12 | 7.2221 | 7.2244 | 7.2244
|  |  |  | 2037 | 1 | -15.5907 | -10.3327 | -10.3327 | 2037 | 1 | 7.2687 | 7.2709 | 7.2709
|  |  |  | 2037 | 2 | -15.5907 | -10.3327 | -10.3327 | 2037 | 2 | 7.2086 | 7.2108 | 7.2108
|  |  |  | 2037 | 3 | -15.5907 | -10.3327 | -10.3327 | 2037 | 3 | 7.1657 | 7.168 | 7.168
|  |  |  | 2037 | 4 | -15.5907 | -10.3327 | -10.3327 | 2037 | 4 | 7.1922 | 7.1945 | 7.1945
|  |  |  | 2037 | 5 | -15.5907 | -10.3327 | -10.3327 | 2037 | 5 | 7.1945 | 7.1968 | 7.1968
|  |  |  | 2037 | 6 | -15.5907 | -10.3327 | -10.3327 | 2037 | 6 | 7.2094 | 7.2117 | 7.2117
|  |  |  | 2037 | 7 | -15.5907 | -10.3327 | -10.3327 | 2037 | 7 | 7.3632 | 7.3655 | 7.3655
|  |  |  | 2037 | 8 | -15.5907 | -10.3327 | -10.3327 | 2037 | 8 | 7.2949 | 7.2972 | 7.2972
|  |  |  | 2037 | 9 | -15.5907 | -10.3327 | -10.3327 | 2037 | 9 | 7.2035 | 7.2057 | 7.2057
|  |  |  | 2037 | 10 | -15.5907 | -10.3327 | -10.3327 | 2037 | 10 | 7.1879 | 7.1902 | 7.1902
|  |  |  | 2037 | 11 | -15.5907 | -10.3327 | -10.3327 | 2037 | 11 | 7.2193 | 7.2216 | 7.2216
|  |  |  | 2037 | 12 | -15.5907 | -10.3327 | -10.3327 | 2037 | 12 | 7.2508 | 7.2531 | 7.2531
|  |  |  | 2038 | 1 | -15.6953 | -10.3847 | -10.3847 | 2038 | 1 | 7.2955 | 7.2978 | 7.2978
|  |  |  | 2038 | 2 | -15.6953 | -10.3847 | -10.3847 | 2038 | 2 | 7.2365 | 7.2388 | 7.2388
|  |  |  | 2038 | 3 | -15.6953 | -10.3847 | -10.3847 | 2038 | 3 | 7.1946 | 7.1969 | 7.1969
|  |  |  | 2038 | 4 | -15.6953 | -10.3847 | -10.3847 | 2038 | 4 | 7.2198 | 7.2221 | 7.2221
|  |  |  | 2038 | 5 | -15.6953 | -10.3847 | -10.3847 | 2038 | 5 | 7.2222 | 7.2245 | 7.2245
|  |  |  | 2038 | 6 | -15.6953 | -10.3847 | -10.3847 | 2038 | 6 | 7.2374 | 7.2397 | 7.2397
|  |  |  | 2038 | 7 | -15.6953 | -10.3847 | -10.3847 | 2038 | 7 | 7.3883 | 7.3906 | 7.3906
|  |  |  | 2038 | 8 | -15.6953 | -10.3847 | -10.3847 | 2038 | 8 | 7.3277 | 7.33 | 7.33
|  |  |  | 2038 | 9 | -15.6953 | -10.3847 | -10.3847 | 2038 | 9 | 7.2313 | 7.2336 | 7.2336
|  |  |  | 2038 | 10 | -15.6953 | -10.3847 | -10.3847 | 2038 | 10 | 7.2132 | 7.2155 | 7.2155
|  |  |  | 2038 | 11 | -15.6953 | -10.3847 | -10.3847 | 2038 | 11 | 7.25 | 7.2523 | 7.2523
|  |  |  | 2038 | 12 | -15.6953 | -10.3847 | -10.3847 | 2038 | 12 | 7.2806 | 7.2829 | 7.2829
|  |  |  | 2039 | 1 | -15.8009 | -10.4373 | -10.4373 | 2039 | 1 | 7.3272 | 7.3295 | 7.3295
|  |  |  | 2039 | 2 | -15.8009 | -10.4373 | -10.4373 | 2039 | 2 | 7.2646 | 7.2669 | 7.2669
|  |  |  | 2039 | 3 | -15.8009 | -10.4373 | -10.4373 | 2039 | 3 | 7.2219 | 7.2242 | 7.2242
|  |  |  | 2039 | 4 | -15.8009 | -10.4373 | -10.4373 | 2039 | 4 | 7.2453 | 7.2476 | 7.2476
|  |  |  | 2039 | 5 | -15.8009 | -10.4373 | -10.4373 | 2039 | 5 | 7.2522 | 7.2545 | 7.2545
|  |  |  | 2039 | 6 | -15.8009 | -10.4373 | -10.4373 | 2039 | 6 | 7.2655 | 7.2678 | 7.2678
|  |  |  | 2039 | 7 | -15.8009 | -10.4373 | -10.4373 | 2039 | 7 | 7.4163 | 7.4186 | 7.4186
|  |  |  | 2039 | 8 | -15.8009 | -10.4373 | -10.4373 | 2039 | 8 | 7.3607 | 7.3631 | 7.3631
|  |  |  | 2039 | 9 | -15.8009 | -10.4373 | -10.4373 | 2039 | 9 | 7.2593 | 7.2616 | 7.2616
|  |  |  | 2039 | 10 | -15.8009 | -10.4373 | -10.4373 | 2039 | 10 | 7.2408 | 7.2431 | 7.2431
|  |  |  | 2039 | 11 | -15.8009 | -10.4373 | -10.4373 | 2039 | 11 | 7.2785 | 7.2808 | 7.2808
|  |  |  | 2039 | 12 | -15.8009 | -10.4373 | -10.4373 | 2039 | 12 | 7.3076 | 7.3099 | 7.3099
|  |  |  | 2040 | 1 | -15.9077 | -10.4904 | -10.4904 | 2040 | 1 | 7.3567 | 7.359 | 7.359
|  |  |  | 2040 | 2 | -15.9077 | -10.4904 | -10.4904 | 2040 | 2 | 7.2936 | 7.296 | 7.296
|  |  |  | 2040 | 3 | -15.9077 | -10.4904 | -10.4904 | 2040 | 3 | 7.2475 | 7.2498 | 7.2498
|  |  |  | 2040 | 4 | -15.9077 | -10.4904 | -10.4904 | 2040 | 4 | 7.2731 | 7.2755 | 7.2755
|  |  |  | 2040 | 5 | -15.9077 | -10.4904 | -10.4904 | 2040 | 5 | 7.2825 | 7.2848 | 7.2848
|  |  |  | 2040 | 6 | -15.9077 | -10.4904 | -10.4904 | 2040 | 6 | 7.2912 | 7.2935 | 7.2935
|  |  |  | 2040 | 7 | -15.9077 | -10.4904 | -10.4904 | 2040 | 7 | 7.4507 | 7.4531 | 7.4531
|  |  |  | 2040 | 8 | -15.9077 | -10.4904 | -10.4904 | 2040 | 8 | 7.3909 | 7.3933 | 7.3933
|  |  |  | 2040 | 9 | -15.9077 | -10.4904 | -10.4904 | 2040 | 9 | 7.2833 | 7.2856 | 7.2856
|  |  |  | 2040 | 10 | -15.9077 | -10.4904 | -10.4904 | 2040 | 10 | 7.2733 | 7.2756 | 7.2756
|  |  |  | 2040 | 11 | -15.9077 | -10.4904 | -10.4904 | 2040 | 11 | 7.3068 | 7.3091 | 7.3091
|  |  |  | 2040 | 12 | -15.9077 | -10.4904 | -10.4904 | 2040 | 12 | 7.3357 | 7.338 | 7.338
|  |  |  | 2041 | 1 | -16.0154 | -10.544 | -10.544 | 2041 | 1 | 7.3888 | 7.3911 | 7.3911
|  |  |  | 2041 | 2 | -16.0154 | -10.544 | -10.544 | 2041 | 2 | 7.3213 | 7.3237 | 7.3237
|  |  |  | 2041 | 3 | -16.0154 | -10.544 | -10.544 | 2041 | 3 | 7.273 | 7.2754 | 7.2754
|  |  |  | 2041 | 4 | -16.0154 | -10.544 | -10.544 | 2041 | 4 | 7.3037 | 7.306 | 7.306
|  |  |  | 2041 | 5 | -16.0154 | -10.544 | -10.544 | 2041 | 5 | 7.3107 | 7.3131 | 7.3131
|  |  |  | 2041 | 6 | -16.0154 | -10.544 | -10.544 | 2041 | 6 | 7.3169 | 7.3193 | 7.3193
|  |  |  | 2041 | 7 | -16.0154 | -10.544 | -10.544 | 2041 | 7 | 7.4854 | 7.4878 | 7.4878
|  |  |  | 2041 | 8 | -16.0154 | -10.544 | -10.544 | 2041 | 8 | 7.418 | 7.4204 | 7.4204
|  |  |  | 2041 | 9 | -16.0154 | -10.544 | -10.544 | 2041 | 9 | 7.3137 | 7.3161 | 7.3161
|  |  |  | 2041 | 10 | -16.0154 | -10.544 | -10.544 | 2041 | 10 | 7.3014 | 7.3037 | 7.3037
|  |  |  | 2041 | 11 | -16.0154 | -10.544 | -10.544 | 2041 | 11 | 7.3329 | 7.3353 | 7.3353
|  |  |  | 2041 | 12 | -16.0154 | -10.544 | -10.544 | 2041 | 12 | 7.366 | 7.3683 | 7.3683
|  |  |  | 2042 | 1 | -16.1243 | -10.5981 | -10.5981 | 2042 | 1 | 7.4186 | 7.421 | 7.421
|  |  |  | 2042 | 2 | -16.1243 | -10.5981 | -10.5981 | 2042 | 2 | 7.3499 | 7.3523 | 7.3523
|  |  |  | 2042 | 3 | -16.1243 | -10.5981 | -10.5981 | 2042 | 3 | 7.3008 | 7.3032 | 7.3032
|  |  |  | 2042 | 4 | -16.1243 | -10.5981 | -10.5981 | 2042 | 4 | 7.3319 | 7.3343 | 7.3343
|  |  |  | 2042 | 5 | -16.1243 | -10.5981 | -10.5981 | 2042 | 5 | 7.3368 | 7.3392 | 7.3392
|  |  |  | 2042 | 6 | -16.1243 | -10.5981 | -10.5981 | 2042 | 6 | 7.3482 | 7.3505 | 7.3505
|  |  |  | 2042 | 7 | -16.1243 | -10.5981 | -10.5981 | 2042 | 7 | 7.5171 | 7.5195 | 7.5195
|  |  |  | 2042 | 8 | -16.1243 | -10.5981 | -10.5981 | 2042 | 8 | 7.4451 | 7.4475 | 7.4475
|  |  |  | 2042 | 9 | -16.1243 | -10.5981 | -10.5981 | 2042 | 9 | 7.3443 | 7.3467 | 7.3467
|  |  |  | 2042 | 10 | -16.1243 | -10.5981 | -10.5981 | 2042 | 10 | 7.3296 | 7.332 | 7.332
|  |  |  | 2042 | 11 | -16.1243 | -10.5981 | -10.5981 | 2042 | 11 | 7.3591 | 7.3615 | 7.3615
|  |  |  | 2042 | 12 | -16.1243 | -10.5981 | -10.5981 | 2042 | 12 | 7.3965 | 7.3989 | 7.3989
|  |  |  | 2043 | 1 | -16.2342 | -10.6528 | -10.6528 | 2043 | 1 | 7.4462 | 7.4486 | 7.4486
|  |  |  | 2043 | 2 | -16.2342 | -10.6528 | -10.6528 | 2043 | 2 | 7.3787 | 7.3811 | 7.3811
|  |  |  | 2043 | 3 | -16.2342 | -10.6528 | -10.6528 | 2043 | 3 | 7.3306 | 7.333 | 7.333
|  |  |  | 2043 | 4 | -16.2342 | -10.6528 | -10.6528 | 2043 | 4 | 7.3604 | 7.3628 | 7.3628
|  |  |  | 2043 | 5 | -16.2342 | -10.6528 | -10.6528 | 2043 | 5 | 7.3629 | 7.3653 | 7.3653
|  |  |  | 2043 | 6 | -16.2342 | -10.6528 | -10.6528 | 2043 | 6 | 7.3797 | 7.3821 | 7.3821
|  |  |  | 2043 | 7 | -16.2342 | -10.6528 | -10.6528 | 2043 | 7 | 7.5524 | 7.5548 | 7.5548
|  |  |  | 2043 | 8 | -16.2342 | -10.6528 | -10.6528 | 2043 | 8 | 7.4757 | 7.4781 | 7.4781
|  |  |  | 2043 | 9 | -16.2342 | -10.6528 | -10.6528 | 2043 | 9 | 7.373 | 7.3754 | 7.3754
|  |  |  | 2043 | 10 | -16.2342 | -10.6528 | -10.6528 | 2043 | 10 | 7.3555 | 7.3579 | 7.3579
|  |  |  | 2043 | 11 | -16.2342 | -10.6528 | -10.6528 | 2043 | 11 | 7.3908 | 7.3932 | 7.3932
|  |  |  | 2043 | 12 | -16.2342 | -10.6528 | -10.6528 | 2043 | 12 | 7.4261 | 7.4285 | 7.4285
|  |  |  | 2044 | 1 | -16.3452 | -10.708 | -10.708 | 2044 | 1 | 7.4738 | 7.4763 | 7.4763
|  |  |  | 2044 | 2 | -16.3452 | -10.708 | -10.708 | 2044 | 2 | 7.4085 | 7.4109 | 7.4109
|  |  |  | 2044 | 3 | -16.3452 | -10.708 | -10.708 | 2044 | 3 | 7.3607 | 7.3632 | 7.3632
|  |  |  | 2044 | 4 | -16.3452 | -10.708 | -10.708 | 2044 | 4 | 7.3864 | 7.3889 | 7.3889
|  |  |  | 2044 | 5 | -16.3452 | -10.708 | -10.708 | 2044 | 5 | 7.394 | 7.3965 | 7.3965
|  |  |  | 2044 | 6 | -16.3452 | -10.708 | -10.708 | 2044 | 6 | 7.4086 | 7.4111 | 7.4111
|  |  |  | 2044 | 7 | -16.3452 | -10.708 | -10.708 | 2044 | 7 | 7.5743 | 7.5767 | 7.5767
|  |  |  | 2044 | 8 | -16.3452 | -10.708 | -10.708 | 2044 | 8 | 7.5133 | 7.5157 | 7.5157
|  |  |  | 2044 | 9 | -16.3452 | -10.708 | -10.708 | 2044 | 9 | 7.4018 | 7.4043 | 7.4043
|  |  |  | 2044 | 10 | -16.3452 | -10.708 | -10.708 | 2044 | 10 | 7.3815 | 7.384 | 7.384
|  |  |  | 2044 | 11 | -16.3452 | -10.708 | -10.708 | 2044 | 11 | 7.4229 | 7.4253 | 7.4253
|  |  |  | 2044 | 12 | -16.3452 | -10.708 | -10.708 | 2044 | 12 | 7.4549 | 7.4573 | 7.4573
|  |  |  | 2045 | 1 | -16.4574 | -10.7637 | -10.7637 | 2045 | 1 | 7.5067 | 7.5092 | 7.5092
|  |  |  | 2045 | 2 | -16.4574 | -10.7637 | -10.7637 | 2045 | 2 | 7.4368 | 7.4393 | 7.4393
|  |  |  | 2045 | 3 | -16.4574 | -10.7637 | -10.7637 | 2045 | 3 | 7.3891 | 7.3915 | 7.3915
|  |  |  | 2045 | 4 | -16.4574 | -10.7637 | -10.7637 | 2045 | 4 | 7.4125 | 7.415 | 7.415
|  |  |  | 2045 | 5 | -16.4574 | -10.7637 | -10.7637 | 2045 | 5 | 7.4254 | 7.4278 | 7.4278
|  |  |  | 2045 | 6 | -16.4574 | -10.7637 | -10.7637 | 2045 | 6 | 7.4378 | 7.4402 | 7.4402
|  |  |  | 2045 | 7 | -16.4574 | -10.7637 | -10.7637 | 2045 | 7 | 7.6064 | 7.6088 | 7.6088
|  |  |  | 2045 | 8 | -16.4574 | -10.7637 | -10.7637 | 2045 | 8 | 7.5443 | 7.5467 | 7.5467
|  |  |  | 2045 | 9 | -16.4574 | -10.7637 | -10.7637 | 2045 | 9 | 7.4286 | 7.4311 | 7.4311
|  |  |  | 2045 | 10 | -16.4574 | -10.7637 | -10.7637 | 2045 | 10 | 7.4128 | 7.4152 | 7.4152
|  |  |  | 2045 | 11 | -16.4574 | -10.7637 | -10.7637 | 2045 | 11 | 7.4522 | 7.4546 | 7.4546
|  |  |  | 2045 | 12 | -16.4574 | -10.7637 | -10.7637 | 2045 | 12 | 7.4837 | 7.4862 | 7.4862
|  |  |  | 2046 | 1 | -16.5706 | -10.82 | -10.82 | 2046 | 1 | 7.5399 | 7.5424 | 7.5424
|  |  |  | 2046 | 2 | -16.5706 | -10.82 | -10.82 | 2046 | 2 | 7.4661 | 7.4686 | 7.4686
|  |  |  | 2046 | 3 | -16.5706 | -10.82 | -10.82 | 2046 | 3 | 7.4155 | 7.418 | 7.418
|  |  |  | 2046 | 4 | -16.5706 | -10.82 | -10.82 | 2046 | 4 | 7.4441 | 7.4466 | 7.4466
|  |  |  | 2046 | 5 | -16.5706 | -10.82 | -10.82 | 2046 | 5 | 7.4545 | 7.457 | 7.457
|  |  |  | 2046 | 6 | -16.5706 | -10.82 | -10.82 | 2046 | 6 | 7.4642 | 7.4667 | 7.4667
|  |  |  | 2046 | 7 | -16.5706 | -10.82 | -10.82 | 2046 | 7 | 7.6422 | 7.6447 | 7.6447
|  |  |  | 2046 | 8 | -16.5706 | -10.82 | -10.82 | 2046 | 8 | 7.5755 | 7.578 | 7.578
|  |  |  | 2046 | 9 | -16.5706 | -10.82 | -10.82 | 2046 | 9 | 7.4554 | 7.4579 | 7.4579
|  |  |  | 2046 | 10 | -16.5706 | -10.82 | -10.82 | 2046 | 10 | 7.4443 | 7.4468 | 7.4468
|  |  |  | 2046 | 11 | -16.5706 | -10.82 | -10.82 | 2046 | 11 | 7.4816 | 7.4841 | 7.4841
|  |  |  | 2046 | 12 | -16.5706 | -10.82 | -10.82 | 2046 | 12 | 7.5139 | 7.5163 | 7.5163
|  |  |  | 2047 | 1 | -16.685 | -10.8769 | -10.8769 | 2047 | 1 | 7.5707 | 7.5732 | 7.5732
|  |  |  | 2047 | 2 | -16.685 | -10.8769 | -10.8769 | 2047 | 2 | 7.4956 | 7.4981 | 7.4981
|  |  |  | 2047 | 3 | -16.685 | -10.8769 | -10.8769 | 2047 | 3 | 7.4418 | 7.4443 | 7.4443
|  |  |  | 2047 | 4 | -16.685 | -10.8769 | -10.8769 | 2047 | 4 | 7.4759 | 7.4784 | 7.4784
|  |  |  | 2047 | 5 | -16.685 | -10.8769 | -10.8769 | 2047 | 5 | 7.4838 | 7.4863 | 7.4863
|  |  |  | 2047 | 6 | -16.685 | -10.8769 | -10.8769 | 2047 | 6 | 7.4907 | 7.4932 | 7.4932
|  |  |  | 2047 | 7 | -16.685 | -10.8769 | -10.8769 | 2047 | 7 | 7.6783 | 7.6808 | 7.6808
|  |  |  | 2047 | 8 | -16.685 | -10.8769 | -10.8769 | 2047 | 8 | 7.6032 | 7.6057 | 7.6057
|  |  |  | 2047 | 9 | -16.685 | -10.8769 | -10.8769 | 2047 | 9 | 7.4871 | 7.4896 | 7.4896
|  |  |  | 2047 | 10 | -16.685 | -10.8769 | -10.8769 | 2047 | 10 | 7.4734 | 7.4759 | 7.4759
|  |  |  | 2047 | 11 | -16.685 | -10.8769 | -10.8769 | 2047 | 11 | 7.5085 | 7.511 | 7.511
|  |  |  | 2047 | 12 | -16.685 | -10.8769 | -10.8769 | 2047 | 12 | 7.5453 | 7.5478 | 7.5478
|  |  |  | 2048 | 1 | -16.8005 | -10.9343 | -10.9343 | 2048 | 1 | 7.6016 | 7.6042 | 7.6042
|  |  |  | 2048 | 2 | -16.8005 | -10.9343 | -10.9343 | 2048 | 2 | 7.5232 | 7.5257 | 7.5257
|  |  |  | 2048 | 3 | -16.8005 | -10.9343 | -10.9343 | 2048 | 3 | 7.4728 | 7.4753 | 7.4753
|  |  |  | 2048 | 4 | -16.8005 | -10.9343 | -10.9343 | 2048 | 4 | 7.5053 | 7.5078 | 7.5078
|  |  |  | 2048 | 5 | -16.8005 | -10.9343 | -10.9343 | 2048 | 5 | 7.508 | 7.5106 | 7.5106
|  |  |  | 2048 | 6 | -16.8005 | -10.9343 | -10.9343 | 2048 | 6 | 7.5263 | 7.5288 | 7.5288
|  |  |  | 2048 | 7 | -16.8005 | -10.9343 | -10.9343 | 2048 | 7 | 7.7147 | 7.7173 | 7.7173
|  |  |  | 2048 | 8 | -16.8005 | -10.9343 | -10.9343 | 2048 | 8 | 7.631 | 7.6336 | 7.6336
|  |  |  | 2048 | 9 | -16.8005 | -10.9343 | -10.9343 | 2048 | 9 | 7.519 | 7.5216 | 7.5216
|  |  |  | 2048 | 10 | -16.8005 | -10.9343 | -10.9343 | 2048 | 10 | 7.5 | 7.5025 | 7.5025
|  |  |  | 2048 | 11 | -16.8005 | -10.9343 | -10.9343 | 2048 | 11 | 7.5385 | 7.541 | 7.541
|  |  |  | 2048 | 12 | -16.8005 | -10.9343 | -10.9343 | 2048 | 12 | 7.577 | 7.5795 | 7.5795
|  |  |  | 2049 | 1 | -16.9171 | -10.9923 | -10.9923 | 2049 | 1 | 7.6272 | 7.6297 | 7.6297
|  |  |  | 2049 | 2 | -16.9171 | -10.9923 | -10.9923 | 2049 | 2 | 7.5551 | 7.5577 | 7.5577
|  |  |  | 2049 | 3 | -16.9171 | -10.9923 | -10.9923 | 2049 | 3 | 7.5039 | 7.5065 | 7.5065
|  |  |  | 2049 | 4 | -16.9171 | -10.9923 | -10.9923 | 2049 | 4 | 7.5348 | 7.5373 | 7.5373
|  |  |  | 2049 | 5 | -16.9171 | -10.9923 | -10.9923 | 2049 | 5 | 7.5376 | 7.5402 | 7.5402
|  |  |  | 2049 | 6 | -16.9171 | -10.9923 | -10.9923 | 2049 | 6 | 7.5562 | 7.5587 | 7.5587
|  |  |  | 2049 | 7 | -16.9171 | -10.9923 | -10.9923 | 2049 | 7 | 7.7403 | 7.7429 | 7.7429
|  |  |  | 2049 | 8 | -16.9171 | -10.9923 | -10.9923 | 2049 | 8 | 7.6664 | 7.669 | 7.669
|  |  |  | 2049 | 9 | -16.9171 | -10.9923 | -10.9923 | 2049 | 9 | 7.5488 | 7.5513 | 7.5513
|  |  |  | 2049 | 10 | -16.9171 | -10.9923 | -10.9923 | 2049 | 10 | 7.5266 | 7.5292 | 7.5292
|  |  |  | 2049 | 11 | -16.9171 | -10.9923 | -10.9923 | 2049 | 11 | 7.5715 | 7.5741 | 7.5741
|  |  |  | 2049 | 12 | -16.9171 | -10.9923 | -10.9923 | 2049 | 12 | 7.6089 | 7.6115 | 7.6115
|  |  |  | 2050 | 1 | -17.0349 | -11.0508 | -11.0508 | 2050 | 1 | 7.6612 | 7.6638 | 7.6638
|  |  |  | 2050 | 2 | -17.0349 | -11.0508 | -11.0508 | 2050 | 2 | 7.5852 | 7.5878 | 7.5878
|  |  |  | 2050 | 3 | -17.0349 | -11.0508 | -11.0508 | 2050 | 3 | 7.5332 | 7.5358 | 7.5358
|  |  |  | 2050 | 4 | -17.0349 | -11.0508 | -11.0508 | 2050 | 4 | 7.5616 | 7.5642 | 7.5642
|  |  |  | 2050 | 5 | -17.0349 | -11.0508 | -11.0508 | 2050 | 5 | 7.57 | 7.5726 | 7.5726
|  |  |  | 2050 | 6 | -17.0349 | -11.0508 | -11.0508 | 2050 | 6 | 7.5862 | 7.5888 | 7.5888
|  |  |  | 2050 | 7 | -17.0349 | -11.0508 | -11.0508 | 2050 | 7 | 7.7696 | 7.7722 | 7.7722
|  |  |  | 2050 | 8 | -17.0349 | -11.0508 | -11.0508 | 2050 | 8 | 7.7021 | 7.7046 | 7.7046
|  |  |  | 2050 | 9 | -17.0349 | -11.0508 | -11.0508 | 2050 | 9 | 7.5787 | 7.5813 | 7.5813
|  |  |  | 2050 | 10 | -17.0349 | -11.0508 | -11.0508 | 2050 | 10 | 7.5562 | 7.5588 | 7.5588
|  |  |  | 2050 | 11 | -17.0349 | -11.0508 | -11.0508 | 2050 | 11 | 7.602 | 7.6045 | 7.6045
|  |  |  | 2050 | 12 | -17.0349 | -11.0508 | -11.0508 | 2050 | 12 | 7.6374 | 7.64 | 7.64

## 5ExpPlan
Resource Expansion Plan Inputs
Unit | In-Service Date
Brown BESS | 2026-11-01
Mill Creek 5 | 2027-06-01
Brown 12 | 2028-09-01
CC1X1 01 | 2034-01-01
CC1X1 02 | 2037-01-01
CC1X1 03 | 2039-01-01
CC1X1 04 | 2040-01-01
Unit | Out-of-Service Date
Brown 3 | 2028-03-01
Ghent 1 | 2034-01-01
Ghent 2 | 2028-05-01
Ghent 3 | 2037-01-01
Ghent 4 | 2037-01-01
Haefling | 2025-01-01
Mill Creek 1 | 2025-01-01
Mill Creek 2 | 2027-03-01
Mill Creek 3 | 2039-01-01
Mill Creek 4 | 2039-01-01
Trimble County 1 | 2045-01-01
Paddy's Run 12 | 2025-01-01
OVEC KU | 2040-07-01
OVEC LGE | 2040-07-01

## 6.1TransConst
CONFIDENTIAL INFORMATION REDACTED
Transmission Constraints
MW
From LGE to KU

## 6.2SpinRes
Spinning Reserve Requirements
MW
Contingency Reserves | 238
Regulating Reserves | 75
Total Spinning Reserves | 313

## 6.3OSSConst
Off-System Sales Constraints
When these units are in operation, OSS is not allowed:
Brown 5
Brown 5 ICE
Brown 6
Brown 7
Brown 8
Brown 8 ICE
Brown 9
Brown 9 ICE
Brown 10
Brown 10 ICE
Brown 11
Brown 11 ICE
Haefling
Paddy's Run 12
Paddy's Run 13

## 6.4DispOrd
Dispatch Order Rules
Unit | Commit
Brown 3 | 3
Ghent 1 | 3
Ghent 2 | 3
Ghent 3 | 3
Ghent 4 | 3
Brown 5 | 3
Brown 5 ICE | 3
Brown 6 | 3
Brown 7 | 3
Brown 8 | 3
Brown 8 ICE | 3
Brown 9 | 3
Brown 9 ICE | 3
Brown 10 | 3
Brown 10 ICE | 3
Brown 11 | 3
Brown 11 ICE | 3
Haefling | 4
Mill Creek 1 | 3
Mill Creek 2 | 3
Mill Creek 3 | 3
Mill Creek 4 | 3
Trimble County 1 | 3
Trimble County 2 | 3
Paddy's Run 12 | 4
Paddy's Run 13 | 3
Trimble Co 5 | 3
Trimble Co 6 | 3
Trimble Co 7 | 3
Trimble Co 8 | 3
Trimble Co 9 | 3
Trimble Co 10 | 3
Cane Run 7 | 3
OVEC KU | Must Run
OVEC LGE | Must Run
Mill Creek 5 | 3
Brown 12 | 3
CC1X1 | 3
CSR KU | 5
CSR LGE | 5